## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2024 | 14062 | 0.2 | 36 | 12.61 | 41354.172 | 0.06 | 6625.122 | 1.14 | 234.0135
Pearl Rotana Capital Centre | 2 | 3 | 2024 | 14707 | 0.2 | 35 | 12.61 | 36954.792 | 0.06 | 6852.594 | 1.14 | 194.0085
Pearl Rotana Capital Centre | 3 | 3 | 2024 | 14190 | 0.2 | 32 | 12.61 | 38714.544 | 0.06 | 5999.574 | 1.14 | 257.985
Pearl Rotana Capital Centre | 4 | 3 | 2024 | 14386 | 0.2 | 33 | 12.61 | 38054.637 | 0.06 | 5146.554 | 1.14 | 270.9945
Pearl Rotana Capital Centre | 5 | 3 | 2024 | 14388 | 0.2 | 32 | 12.61 | 36514.854 | 0.06 | 4919.082 | 1.14 | 309.015
Pearl Rotana Capital Centre | 6 | 3 | 2024 | 14445 | 0.2 | 28 | 12.61 | 43113.924 | 0.06 | 5146.554 | 1.14 | 297.0135
Pearl Rotana Capital Centre | 7 | 3 | 2024 | 14195 | 0.2 | 34 | 12.61 | 40254.327 | 0.06 | 5260.29 | 1.14 | 273.0105
Pearl Rotana Capital Centre | 8 | 3 | 2024 | 13748 | 0.2 | 33 | 12.61 | 42454.017 | 0.06 | 5004.384 | 1.14 | 252
Pearl Rotana Capital Centre | 9 | 3 | 2024 | 13629 | 0.2 | 33 | 12.61 | 34975.071 | 0.06 | 5061.252 | 1.14 | 246.015
Pearl Rotana Capital Centre | 10 | 3 | 2024 | 14165 | 0.2 | 31 | 12.61 | 60931.413 | 0.06 | 5061.252 | 1.14 | 199.9935
Pearl Rotana Capital Centre | 11 | 3 | 2024 | 14668 | 0.2 | 33 | 12.61 | 56092.095 | 0.06 | 5374.026 | 1.14 | 211.995
Pearl Rotana Capital Centre | 12 | 3 | 2024 | 14033 | 0.2 | 31 | 12.61 | 46193.49 | 0.06 | 4663.176 | 1.14 | 225.0045
Pearl Rotana Capital Centre | 13 | 3 | 2024 | 14329 | 0.2 | 31 | 12.61 | 38054.637 | 0.06 | 5032.818 | 1.14 | 257.0085
Pearl Rotana Capital Centre | 14 | 3 | 2024 | 14306 | 0.2 | 35 | 12.61 | 41134.203 | 0.06 | 5487.762 | 1.14 | 234.0135
Pearl Rotana Capital Centre | 15 | 3 | 2024 | 14427 | 0.2 | 32 | 12.61 | 33875.226 | 0.06 | 6170.178 | 1.14 | 206.01
Pearl Rotana Capital Centre | 16 | 3 | 2024 | 14163 | 0.2 | 34 | 12.61 | 41134.203 | 0.06 | 7023.198 | 1.14 | 214.9875
Pearl Rotana Capital Centre | 17 | 3 | 2024 | 14796 | 0.2 | 34 | 12.61 | 34535.133 | 0.06 | 7762.482 | 1.14 | 270.9945
Pearl Rotana Capital Centre | 18 | 3 | 2024 | 14431 | 0.2 | 32 | 12.61 | 48173.211 | 0.06 | 7677.18 | 1.14 | 239.9985
Pearl Rotana Capital Centre | 19 | 3 | 2024 | 14449 | 0.2 | 33 | 12.61 | 40694.265 | 0.06 | 6539.82 | 1.14 | 242.0145
Pearl Rotana Capital Centre | 20 | 3 | 2024 | 14464 | 0.2 | 32 | 12.61 | 51032.808 | 0.06 | 5914.272 | 1.14 | 277.011
Pearl Rotana Capital Centre | 21 | 3 | 2024 | 14634 | 0.2 | 36 | 12.61 | 39814.389 | 0.06 | 5828.97 | 1.14 | 239.9985
Pearl Rotana Capital Centre | 22 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 51692.715 | 0.06 | 5942.706 | 1.14 | 0
Pearl Rotana Capital Centre | 23 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 49712.994 | 0.06 | 5743.668 | 1.14 | 0
Pearl Rotana Capital Centre | 24 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 62471.196 | 0.06 | 6170.178 | 1.14 | 0
Pearl Rotana Capital Centre | 25 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 39374.451 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 26 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 27 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 62471.196 | 0.06 | 6170.178 | 1.14 | 0
Pearl Rotana Capital Centre | 28 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 39374.451 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 29 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 30 | 3 | 2025 | 0 | 1.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 31 | 3 | 2026 | 0 | 2.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2024 | 7337 | 6592 | 133 | 105 | 21 | 15 | 3980.83 | 4673 | 10 | 234.0135
Pearl Rotana Capital Centre | 2 | 3 | 2024 | 7738 | 6833 | 136 | 102 | 21 | 14 | 4265.175 | 4758 | 7 | 194.0085
Pearl Rotana Capital Centre | 3 | 3 | 2024 | 7538 | 6519 | 133 | 109 | 18 | 14 | 4265.175 | 4744 | 7 | 257.985
Pearl Rotana Capital Centre | 4 | 3 | 2024 | 7549 | 6703 | 134 | 97 | 19 | 14 | 4549.52 | 5466 | 6 | 270.9945
Pearl Rotana Capital Centre | 5 | 3 | 2024 | 7501 | 6759 | 128 | 84 | 19 | 13 | 5402.555 | 6412 | 8 | 309.015
Pearl Rotana Capital Centre | 6 | 3 | 2024 | 7571 | 6742 | 132 | 100 | 18 | 10 | 5118.21 | 5967 | 7 | 297.0135
Pearl Rotana Capital Centre | 7 | 3 | 2024 | 7706 | 6359 | 130 | 88 | 19 | 15 | 5118.21 | 6041 | 8 | 273.0105
Pearl Rotana Capital Centre | 8 | 3 | 2024 | 7658 | 5956 | 134 | 105 | 19 | 14 | 5686.9 | 6705 | 13 | 252
Pearl Rotana Capital Centre | 9 | 3 | 2024 | 7543 | 6086 | 0 | 107 | 20 | 13 | 5118.21 | 5958 | 9 | 246.015
Pearl Rotana Capital Centre | 10 | 3 | 2024 | 7485 | 6586 | 94 | 111 | 18 | 13 | 5686.9 | 5940 | 8 | 199.9935
Pearl Rotana Capital Centre | 11 | 3 | 2024 | 7727 | 6812 | 129 | 61 | 18 | 15 | 5402.555 | 6415 | 9 | 211.995
Pearl Rotana Capital Centre | 12 | 3 | 2024 | 7334 | 6568 | 131 | 86 | 17 | 14 | 5118.21 | 5787 | 8 | 225.0045
Pearl Rotana Capital Centre | 13 | 3 | 2024 | 7461 | 6738 | 130 | 96 | 16 | 15 | 5118.21 | 6001 | 12 | 257.0085
Pearl Rotana Capital Centre | 14 | 3 | 2024 | 7470 | 6706 | 130 | 99 | 18 | 17 | 5686.9 | 6708 | 10 | 234.0135
Pearl Rotana Capital Centre | 15 | 3 | 2024 | 7567 | 6726 | 134 | 85 | 19 | 13 | 5686.9 | 6600 | 10 | 206.01
Pearl Rotana Capital Centre | 16 | 3 | 2024 | 7377 | 6656 | 130 | 95 | 18 | 16 | 5971.245 | 6711 | 13 | 214.9875
Pearl Rotana Capital Centre | 17 | 3 | 2024 | 7793 | 6870 | 133 | 99 | 18 | 16 | 6255.59 | 6710 | 10 | 270.9945
Pearl Rotana Capital Centre | 18 | 3 | 2024 | 7534 | 6763 | 134 | 104 | 16 | 16 | 6539.935 | 8101 | 11 | 239.9985
Pearl Rotana Capital Centre | 19 | 3 | 2024 | 7500 | 6817 | 132 | 91 | 18 | 15 | 6539.935 | 7715 | 11 | 242.0145
Pearl Rotana Capital Centre | 20 | 3 | 2024 | 7559 | 6775 | 130 | 103 | 18 | 14 | 6539.935 | 7749 | 12 | 277.011
Pearl Rotana Capital Centre | 21 | 3 | 2024 | 7613 | 6889 | 132 | 94 | 19 | 17 | 6539.935 | 7496 | 11 | 239.9985
Pearl Rotana Capital Centre | 22 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 23 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 24 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 25 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 26 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 27 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 28 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 29 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 30 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 31 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Mar 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - MARCH 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-03-01 | 18677916 | 7337 | 19638549 | 6592 | 447817 | 133 | 14062 | 2812.4 | 75209 | 105 | 823.2 | 34769 | 21 | 19757 | 15 | 36 | 50691 | 34 | 35.8938 | 606.3035 | 66536 | 14 | 3980.83 | 1370.2017 | 4243.4694 | 5613.6711 | 5876453 | 4673 | 74.29% | 337 | 13157306 | 4896 | 979.2 | 6114379 | 2112 | 422.4 | 113369 | 165 | 33 | 5775 | 10 | 78.4 | 2717 | 1 | 7.84 | 83 | 1 | 7.84
2024-03-02 | 18685654 | 7738 | 19645382 | 6833 | 447953 | 136 | 14707 | 2941.4 | 75311 | 102 | 799.68 | 34790 | 21 | 19771 | 14 | 35 | 50725 | 34 | 35.8938 | 606.3035 | 66551 | 15 | 4265.175 | 1468.0732 | 4243.4694 | 5711.5427 | 5881211 | 4758 | 61.59% | 289 | 13161564 | 4258 | 851.6 | 6116452 | 2073 | 414.6 | 113544 | 175 | 35 | 5782 | 7 | 54.88 | 2718 | 1 | 7.84 | 84 | 1 | 7.84
2024-03-03 | 18693192 | 7538 | 19651901 | 6519 | 448086 | 133 | 14190 | 2838 | 75420 | 109 | 854.56 | 34808 | 18 | 19785 | 14 | 32 | 50756 | 31 | 32.7267 | 571.307 | 66566 | 15 | 4265.175 | 1468.0732 | 4243.4694 | 5711.5427 | 5885955 | 4744 | 81.9% | 374 | 13165810 | 4246 | 849.2 | 6118500 | 2048 | 409.6 | 113722 | 178 | 35.6 | 5789 | 7 | 54.88 | 2720 | 2 | 15.68 | 84 | 0 | 0
2024-03-04 | 18700741 | 7549 | 19658604 | 6703 | 448220 | 134 | 14386 | 2877.2 | 75517 | 97 | 760.48 | 34827 | 19 | 19799 | 14 | 33 | 50788 | 32 | 33.7824 | 582.9725 | 66582 | 16 | 4549.52 | 1565.9448 | 4243.4694 | 5809.4142 | 5891421 | 5466 | 86.03% | 345 | 13170989 | 5179 | 1035.8 | 6120673 | 2173 | 434.6 | 113911 | 189 | 37.8 | 5795 | 6 | 47.04 | 2721 | 1 | 7.84 | 84 | 0 | 0
2024-03-05 | 18708242 | 7501 | 19665363 | 6759 | 448348 | 128 | 14388 | 2877.6 | 75601 | 84 | 658.56 | 34846 | 19 | 19812 | 13 | 32 | 50818 | 30 | 31.671 | 559.6416 | 66601 | 19 | 5402.555 | 1859.5594 | 4243.4694 | 6103.0289 | 5897833 | 6412 | 98.1% | 409 | 13176180 | 5191 | 1038.2 | 6122874 | 2201 | 440.2 | 114152 | 241 | 48.2 | 5803 | 8 | 62.72 | 2722 | 1 | 7.84 | 84 | 0 | 0
2024-03-06 | 18715813 | 7571 | 19672105 | 6742 | 448480 | 132 | 14445 | 2889 | 75701 | 100 | 784 | 34864 | 18 | 19822 | 10 | 28 | 50846 | 28 | 29.5596 | 536.3106 | 66619 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5903800 | 5967 | 94.29% | 384 | 13181438 | 5258 | 1051.6 | 6125120 | 2246 | 449.2 | 114364 | 212 | 42.4 | 5810 | 7 | 54.88 | 2722 | 0 | 0 | 84 | 0 | 0
2024-03-07 | 18723519 | 7706 | 19678464 | 6359 | 448610 | 130 | 14195 | 2839 | 75789 | 88 | 689.92 | 34883 | 19 | 19837 | 15 | 34 | 50878 | 32 | 33.7824 | 582.9725 | 66637 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5909841 | 6041 | 86.67% | 378 | 13186736 | 5298 | 1059.6 | 6127356 | 2236 | 447.2 | 114568 | 204 | 40.8 | 5818 | 8 | 62.72 | 2722 | 0 | 0 | 84 | 0 | 0
2024-03-08 | 18731177 | 7658 | 19684420 | 5956 | 448744 | 134 | 13748 | 2749.6 | 75894 | 105 | 823.2 | 34902 | 19 | 19851 | 14 | 33 | 50910 | 32 | 33.7824 | 582.9725 | 66657 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5916546 | 6705 | 80% | 343 | 13191812 | 5076 | 1015.2 | 6129544 | 2188 | 437.6 | 114816 | 248 | 49.6 | 5831 | 13 | 101.92 | 2723 | 1 | 7.84 | 85 | 1 | 7.84
2024-03-09 | 18738720 | 7543 | 19690506 | 6086 | 448744 | 0 | 13629 | 2725.8 | 76001 | 107 | 838.88 | 34922 | 20 | 19864 | 13 | 33 | 50941 | 31 | 32.7267 | 571.307 | 66675 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5922504 | 5958 | 78.1% | 336 | 13195848 | 4036 | 807.2 | 6131609 | 2065 | 413 | 115020 | 204 | 40.8 | 5840 | 9 | 70.56 | 2732 | 9 | 70.56 | 86 | 1 | 7.84
2024-03-10 | 18746205 | 7485 | 19697092 | 6586 | 448838 | 94 | 14165 | 2833 | 76112 | 111 | 870.24 | 34940 | 18 | 19877 | 13 | 31 | 50971 | 30 | 31.671 | 559.6416 | 66695 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5928444 | 5940 | 63.49% | 290 | 13199935 | 4087 | 817.4 | 6133626 | 2017 | 403.4 | 115241 | 221 | 44.2 | 5848 | 8 | 62.72 | 2734 | 2 | 15.68 | 87 | 1 | 7.84
2024-03-11 | 18753932 | 7727 | 19703904 | 6812 | 448967 | 129 | 14668 | 2933.6 | 76173 | 61 | 478.24 | 34958 | 18 | 19892 | 15 | 33 | 51003 | 32 | 33.7824 | 582.9725 | 66714 | 19 | 5402.555 | 1859.5594 | 4243.4694 | 6103.0289 | 5934859 | 6415 | 67.3% | 301 | 13204842 | 4907 | 981.4 | 6135796 | 2170 | 434 | 115455 | 214 | 42.8 | 5857 | 9 | 70.56 | 2734 | 0 | 0 | 88 | 1 | 7.84
2024-03-12 | 18761266 | 7334 | 19710472 | 6568 | 449098 | 131 | 14033 | 2806.6 | 76259 | 86 | 674.24 | 34975 | 17 | 19906 | 14 | 31 | 51033 | 30 | 31.671 | 559.6416 | 66732 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5940646 | 5787 | 71.43% | 301 | 13209698 | 4856 | 971.2 | 6137890 | 2094 | 418.8 | 115652 | 197 | 39.4 | 5865 | 8 | 62.72 | 2735 | 1 | 7.84 | 88 | 0 | 0
2024-03-13 | 18768727 | 7461 | 19717210 | 6738 | 449228 | 130 | 14329 | 2865.8 | 76355 | 96 | 752.64 | 34991 | 16 | 19921 | 15 | 31 | 51062 | 29 | 30.6153 | 547.9761 | 66750 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5946647 | 6001 | 81.59% | 390 | 13214652 | 4954 | 990.8 | 6140041 | 2151 | 430.2 | 115855 | 203 | 40.6 | 5877 | 12 | 94.08 | 2736 | 1 | 7.84 | 89 | 1 | 7.84
2024-03-14 | 18776197 | 7470 | 19723916 | 6706 | 449358 | 130 | 14306 | 2861.2 | 76454 | 99 | 776.16 | 35009 | 18 | 19938 | 17 | 35 | 51097 | 35 | 36.9495 | 617.969 | 66770 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5953355 | 6708 | 74.29% | 366 | 13219511 | 4859 | 971.8 | 6142172 | 2131 | 426.2 | 116080 | 225 | 45 | 5887 | 10 | 78.4 | 2737 | 1 | 7.84 | 90 | 1 | 7.84
2024-03-15 | 18783764 | 7567 | 19730642 | 6726 | 449492 | 134 | 14427 | 2885.4 | 76539 | 85 | 666.4 | 35028 | 19 | 19951 | 13 | 32 | 51127 | 30 | 31.671 | 559.6416 | 66790 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5959955 | 6600 | 65.4% | 334 | 13224334 | 4823 | 964.6 | 6144281 | 2109 | 421.8 | 116296 | 216 | 43.2 | 5897 | 10 | 78.4 | 2737 | 0 | 0 | 90 | 0 | 0
2024-03-16 | 18791141 | 7377 | 19737298 | 6656 | 449622 | 130 | 14163 | 2832.6 | 76634 | 95 | 744.8 | 35046 | 18 | 19967 | 16 | 34 | 51161 | 34 | 35.8938 | 606.3035 | 66811 | 21 | 5971.245 | 2055.3025 | 4243.4694 | 6298.772 | 5966666 | 6711 | 68.25% | 362 | 13228437 | 4103 | 820.6 | 6146220 | 1939 | 387.8 | 116527 | 231 | 46.2 | 5910 | 13 | 101.92 | 2739 | 2 | 15.68 | 91 | 1 | 7.84
2024-03-17 | 18798934 | 7793 | 19744168 | 6870 | 449755 | 133 | 14796 | 2959.2 | 76733 | 99 | 776.16 | 35064 | 18 | 19983 | 16 | 34 | 51193 | 32 | 33.7824 | 582.9725 | 66833 | 22 | 6255.59 | 2153.1741 | 4243.4694 | 6396.6435 | 5973376 | 6710 | 86.03% | 444 | 13232731 | 4294 | 858.8 | 6148306 | 2086 | 417.2 | 116763 | 236 | 47.2 | 5920 | 10 | 78.4 | 2741 | 2 | 15.68 | 92 | 1 | 7.84
2024-03-18 | 18806468 | 7534 | 19750931 | 6763 | 449889 | 134 | 14431 | 2886.2 | 76837 | 104 | 815.36 | 35080 | 16 | 19999 | 16 | 32 | 51225 | 32 | 33.7824 | 582.9725 | 66856 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 5981477 | 8101 | 76.19% | 349 | 13237663 | 4932 | 986.4 | 6150443 | 2137 | 427.4 | 117044 | 281 | 56.2 | 5931 | 11 | 86.24 | 2742 | 1 | 7.84 | 94 | 2 | 15.68
2024-03-19 | 18813968 | 7500 | 19757748 | 6817 | 450021 | 132 | 14449 | 2889.8 | 76928 | 91 | 713.44 | 35098 | 18 | 20014 | 15 | 33 | 51257 | 32 | 33.7824 | 582.9725 | 66879 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 5989192 | 7715 | 76.83% | 320 | 13242649 | 4986 | 997.2 | 6152583 | 2140 | 428 | 117316 | 272 | 54.4 | 5942 | 11 | 86.24 | 2743 | 1 | 7.84 | 96 | 2 | 15.68
2024-03-20 | 18821527 | 7559 | 19764523 | 6775 | 450151 | 130 | 14464 | 2892.8 | 77031 | 103 | 807.52 | 35116 | 18 | 20028 | 14 | 32 | 51288 | 31 | 32.7267 | 571.307 | 66902 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 5996941 | 7749 | 87.94% | 381 | 13247643 | 4994 | 998.8 | 6154734 | 2151 | 430.2 | 117589 | 273 | 54.6 | 5954 | 12 | 94.08 | 2744 | 1 | 7.84 | 97 | 1 | 7.84
2024-03-21 | 18829140 | 7613 | 19771412 | 6889 | 450283 | 132 | 14634 | 2926.8 | 77125 | 94 | 736.96 | 35135 | 19 | 20045 | 17 | 36 | 51322 | 34 | 35.8938 | 606.3035 | 66925 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 6004437 | 7496 | 76.19% | 346 | 13252687 | 5044 | 1008.8 | 6156904 | 2170 | 434 | 117839 | 250 | 50 | 5965 | 11 | 86.24 | 2745 | 1 | 7.84 | 98 | 1 | 7.84
2024-03-22 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-23 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-24 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-25 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-26 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-27 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-28 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-29 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-30 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-31 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
|  | 158561 |  | 139455 |  | 2599 | 300615 | 60123 |  | 2021 | 15844.64 |  | 387 |  | 303 | 690 |  | 665 | 702.0405 | 12160.7645 |  | 403 | 114591.035 | 39442.2342 | 89112.8581 | 128555.0924 |  | 132657 | 77.9% | 7379 |  | 100277 | 20055.4 |  | 44637 | 8927.4 |  | 4635 | 927 |  | 200 | 1568 |  | 29 | 227.36 |  | 16 | 125.44
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 394642.65 | CHW Fixed Charges YTD 2023
| Actual March 2024 |  | 60123 |  |  | 300615 |  |  | Actual March 2024 |  | 15844.64 | 2021 |  | Actual March 2024 |  |  | 12160.7645 |  | 702.0405 |  | Actual March 2024 |  | 128555.0924 |  | 114591.035 |  |  |  | 132657 | 18065.965 |  | 379465.26 | CHW Fixed Charges YTD 2022
| Budget March 2024 |  | 98626.5 |  |  | 493132.5 |  |  | Budget March 2024 |  | 23584.25 | 3008.1952 |  | Budget March 2024 |  |  | 17940.87 |  | 1035.3729 |  | Budget March 2024 |  | 193048.33 |  | 178677.455 | [6 empty] | 61500.78 | CHW Consumption Charges (Budgeted 2023 MTD)
| Actual March 2023 |  | 97535.8 |  |  | 487679 |  |  | Actual March 2023 |  | 22375.36 | 2854 |  | Actual March 2023 |  |  | 16247.56 |  | 882.1321 |  | Actual March 2023 |  | 184957.55 |  | 170215.8079 | [6 empty] | 58469.13 | CHW Consumption Charges (Actual 2022 MTD)
| Actual YTD 2024 |  | 60123 |  |  | 300615 |  |  | Actual YTD 2024 |  | 15844.64 | 2021 |  | Actual YTD 2024 |  |  | 12160.7645 |  | -664.1842 |  | Actual YTD 2024 |  | 128555.0924 |  | -773060.8879 | [6 empty] | -266087.5576 | CHW Consumption Charges (Actual 2023 YTD)
| Budget YTD 2024 |  | 286618.5 |  |  | 1433092.5 |  |  | Budget YTD 2024 |  | 73011.81 | 9312.7309 |  | Budget YTD 2024 |  |  | 55046.55 |  | 3216.8824 |  | Budget YTD 2024 |  | 558585.26 |  | 476300.4358 | [6 empty] | 163942.61 | CHW Consumption Charges (Budgeted 2023 YTD)
| Actual YTD 2023 |  | 280810.6 |  |  | 1404053 |  |  | Actual YTD 2023 |  | 63041.44 | 8041 |  | Actual YTD 2023 |  |  | 48040.97 |  | 2582.8932 |  | Actual YTD 2023 |  | 530478.5 |  | 439630.9753 | [6 empty] | 151013.24 | CHW Consumption Charges (Actual 2022 YTD)
[7 empty] | 2024-03-01 | 2024-03-22 | 21
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 98626.5 |  | Electricity |  |  | 3181.5 |  | Electricity |  |  | 2863 |  | Electricity |  |  |  | 66811.5 |  |  | Electricity |  | 60123 |  | 6688.5 | Electricity |  | 66811.5 |  | Electricity |  | 60123 | 6688.5 | -6688.5
Water | 23584.25 |  | Water |  |  | 760.7823 |  | Water |  |  | 754.5067 |  | Water |  |  |  | 15976.4274 |  |  | Water |  | 15844.64 |  | 131.7874 | Water |  | 15976.4274 |  | Water |  | 15844.64 | 131.7874 | -131.7874
Gas | 17940.87 |  | Gas |  |  | 578.7377 |  | Gas |  |  | 579.084 |  | Gas |  |  |  | 12153.4926 |  |  | Gas |  | 12160.7645 |  | -7.2719 | Gas |  | 12153.4926 |  | Gas |  | 12160.7645 | -7.2719 | 7.2719
Chilled Water | 193048.33 |  | Chilled Water |  |  | 6227.3655 |  | Chilled Water |  |  | 6121.6711 |  | Chilled Water |  |  |  | 130774.6752 |  |  | Chilled Water |  | 128555.0924 |  | 2219.5828 | Chilled Water |  | 130774.6752 |  | Chilled Water |  | 128555.0924 | 2219.5828 | -2219.5828
| 333199.95 | [15 empty] | 225716.0952 |  |  |  |  | 216683.4969 |  | 9032.5982 |  | Total Energy cost | 225716.0952 |  |  |  | 216683.4969 | 9032.5982
| 13333.8355 | [21 empty] | 4.002% | [7 empty] | 4.002%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 97535.8 |  | Electricity |  |  | 3146.3161 |  | Electricity |  |  |  |  | Electricity |  |  |  | 60123 |  |  | Electricity |  | #VALUE! |  |  | 88753 | 88753 |  |  | 8782.8 | 192057.6
Water | 22375.36 |  | Water |  |  | 721.7858 |  | Water |  |  | 15157.5019 |  | Water |  |  |  | 15844.64 |  |  | Water |  | -687.1381 |  |  | 23389.7067 | 23389.7067 |  |  | -1014.3467 | 39651.7333
Gas | 16247.56 |  | Gas |  |  | 524.1148 |  | Gas |  |  | 11006.4116 |  | Gas |  |  |  | 12160.7645 |  |  | Gas |  | -1154.3529 |  |  | 17951.6048 | 17951.6048 |  |  | -1704.0448 | 30089.3652
Chilled Water | 184957.55 |  | Chilled Water |  |  | 5966.3726 |  | Chilled Water |  |  | 125293.8242 |  | Chilled Water |  |  |  | 128555.0924 |  |  | Chilled Water |  | -3261.2682 |  |  | 189771.8031 | 189771.8031 |  |  | -4814.2531 | 249859.1722
| 321116.27 | [9 empty] | 151457.7377 | [5 empty] | 216683.4969 |  |  |  |  | #VALUE! |  |  | 319866.1145 | 319866.1145 |  |  | 1250.1555 | 511657.8708
| -138289.7487 | [21 empty] | -43.07%