## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2024 | 14062 | 0.2 | 36 | 12.61 | 105 | 7.84 | 6625.122 | 1.14 | 234.0135
Pearl Rotana Capital Centre | 2 | 3 | 2024 | 14707 | 0.2 | 35 | 12.61 | 102 | 7.84 | 6852.594 | 1.14 | 194.0085
Pearl Rotana Capital Centre | 3 | 3 | 2024 | 14190 | 0.2 | 32 | 12.61 | 109 | 7.84 | 5999.574 | 1.14 | 257.985
Pearl Rotana Capital Centre | 4 | 3 | 2024 | 14386 | 0.2 | 33 | 12.61 | 97 | 7.84 | 5146.554 | 1.14 | 270.9945
Pearl Rotana Capital Centre | 5 | 3 | 2024 | 14388 | 0.2 | 32 | 12.61 | 84 | 7.84 | 4919.082 | 1.14 | 309.015
Pearl Rotana Capital Centre | 6 | 3 | 2024 | 14445 | 0.2 | 28 | 12.61 | 100 | 7.84 | 5146.554 | 1.14 | 297.0135
Pearl Rotana Capital Centre | 7 | 3 | 2024 | 14195 | 0.2 | 34 | 12.61 | 88 | 7.84 | 5260.29 | 1.14 | 273.0105
Pearl Rotana Capital Centre | 8 | 3 | 2024 | 13748 | 0.2 | 33 | 12.61 | 105 | 7.84 | 5004.384 | 1.14 | 252
Pearl Rotana Capital Centre | 9 | 3 | 2024 | 13629 | 0.2 | 33 | 12.61 | 107 | 7.84 | 5061.252 | 1.14 | 246.015
Pearl Rotana Capital Centre | 10 | 3 | 2024 | 14165 | 0.2 | 31 | 12.61 | 111 | 7.84 | 5061.252 | 1.14 | 199.9935
Pearl Rotana Capital Centre | 11 | 3 | 2024 | 14668 | 0.2 | 33 | 12.61 | 61 | 7.84 | 5374.026 | 1.14 | 211.995
Pearl Rotana Capital Centre | 12 | 3 | 2024 | 14033 | 0.2 | 31 | 12.61 | 86 | 7.84 | 4663.176 | 1.14 | 225.0045
Pearl Rotana Capital Centre | 13 | 3 | 2024 | 14329 | 0.2 | 31 | 12.61 | 96 | 7.84 | 5032.818 | 1.14 | 257.0085
Pearl Rotana Capital Centre | 14 | 3 | 2024 | 14306 | 0.2 | 35 | 12.61 | 99 | 7.84 | 5487.762 | 1.14 | 234.0135
Pearl Rotana Capital Centre | 15 | 3 | 2024 | 14427 | 0.2 | 32 | 12.61 | 85 | 7.84 | 6170.178 | 1.14 | 206.01
Pearl Rotana Capital Centre | 16 | 3 | 2024 | 14163 | 0.2 | 34 | 12.61 | 95 | 7.84 | 7023.198 | 1.14 | 214.9875
Pearl Rotana Capital Centre | 17 | 3 | 2024 | 14796 | 0.2 | 34 | 12.61 | 99 | 7.84 | 7762.482 | 1.14 | 270.9945
Pearl Rotana Capital Centre | 18 | 3 | 2024 | 14431 | 0.2 | 32 | 12.61 | 104 | 7.84 | 7677.18 | 1.14 | 239.9985
Pearl Rotana Capital Centre | 19 | 3 | 2024 | 14449 | 0.2 | 33 | 12.61 | 91 | 7.84 | 6539.82 | 1.14 | 242.0145
Pearl Rotana Capital Centre | 20 | 3 | 2024 | 14464 | 0.2 | 32 | 12.61 | 103 | 7.84 | 5914.272 | 1.14 | 277.011
Pearl Rotana Capital Centre | 21 | 3 | 2024 | 14634 | 0.2 | 36 | 12.61 | 94 | 7.84 | 5828.97 | 1.14 | 239.9985
Pearl Rotana Capital Centre | 22 | 3 | 2024 | 14343 | 0.2 | 33 | 12.61 | 104 | 7.84 | 5942.706 | 1.14 | 209.0025
Pearl Rotana Capital Centre | 23 | 3 | 2024 | 14468 | 0.2 | 35 | 12.61 | 102 | 7.84 | 5743.668 | 1.14 | 227.997
Pearl Rotana Capital Centre | 24 | 3 | 2024 | 14243 | 0.2 | 32 | 12.61 | 89 | 7.84 | 6170.178 | 1.14 | 233.0055
Pearl Rotana Capital Centre | 25 | 3 | 2024 | 14657 | 0.2 | 35 | 12.61 | 110 | 7.84 | 6881.028 | 1.14 | 296.0055
Pearl Rotana Capital Centre | 26 | 3 | 2024 | 14526 | 0.2 | 33 | 12.61 | 87 | 7.84 | 6881.028 | 1.14 | 276.003
Pearl Rotana Capital Centre | 27 | 3 | 2024 | 14798 | 0.2 | 28 | 12.61 | 116 | 7.84 | 6170.178 | 1.14 | 301.9905
Pearl Rotana Capital Centre | 28 | 3 | 2024 | 14844 | 0.2 | 30 | 12.61 | 123 | 7.84 | 6881.028 | 1.14 | 253.008
Pearl Rotana Capital Centre | 29 | 3 | 2024 | 15028 | 0.2 | 36 | 12.61 | 106 | 7.84 | 6881.028 | 1.14 | 238.9905
Pearl Rotana Capital Centre | 30 | 3 | 2025 | 14999 | 1.2 | 36 | 12.61 | 93 | 7.84 | 6881.028 | 1.14 | 222.9885
Pearl Rotana Capital Centre | 31 | 3 | 2026 | 14278 | 2.2 | 33 | 12.61 | 96 | 7.84 | 6881.028 | 1.14 | 223.9965

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2024 | 7337 | 6592 | 133 | 105 | 21 | 15 | 3980.83 | 4673 | 10 | 234.0135
Pearl Rotana Capital Centre | 2 | 3 | 2024 | 7738 | 6833 | 136 | 102 | 21 | 14 | 4265.175 | 4758 | 7 | 194.0085
Pearl Rotana Capital Centre | 3 | 3 | 2024 | 7538 | 6519 | 133 | 109 | 18 | 14 | 4265.175 | 4744 | 7 | 257.985
Pearl Rotana Capital Centre | 4 | 3 | 2024 | 7549 | 6703 | 134 | 97 | 19 | 14 | 4549.52 | 5466 | 6 | 270.9945
Pearl Rotana Capital Centre | 5 | 3 | 2024 | 7501 | 6759 | 128 | 84 | 19 | 13 | 5402.555 | 6412 | 8 | 309.015
Pearl Rotana Capital Centre | 6 | 3 | 2024 | 7571 | 6742 | 132 | 100 | 18 | 10 | 5118.21 | 5967 | 7 | 297.0135
Pearl Rotana Capital Centre | 7 | 3 | 2024 | 7706 | 6359 | 130 | 88 | 19 | 15 | 5118.21 | 6041 | 8 | 273.0105
Pearl Rotana Capital Centre | 8 | 3 | 2024 | 7658 | 5956 | 134 | 105 | 19 | 14 | 5686.9 | 6705 | 13 | 252
Pearl Rotana Capital Centre | 9 | 3 | 2024 | 7543 | 6086 | 0 | 107 | 20 | 13 | 5118.21 | 5958 | 9 | 246.015
Pearl Rotana Capital Centre | 10 | 3 | 2024 | 7485 | 6586 | 94 | 111 | 18 | 13 | 5686.9 | 5940 | 8 | 199.9935
Pearl Rotana Capital Centre | 11 | 3 | 2024 | 7727 | 6812 | 129 | 61 | 18 | 15 | 5402.555 | 6415 | 9 | 211.995
Pearl Rotana Capital Centre | 12 | 3 | 2024 | 7334 | 6568 | 131 | 86 | 17 | 14 | 5118.21 | 5787 | 8 | 225.0045
Pearl Rotana Capital Centre | 13 | 3 | 2024 | 7461 | 6738 | 130 | 96 | 16 | 15 | 5118.21 | 6001 | 12 | 257.0085
Pearl Rotana Capital Centre | 14 | 3 | 2024 | 7470 | 6706 | 130 | 99 | 18 | 17 | 5686.9 | 6708 | 10 | 234.0135
Pearl Rotana Capital Centre | 15 | 3 | 2024 | 7567 | 6726 | 134 | 85 | 19 | 13 | 5686.9 | 6600 | 10 | 206.01
Pearl Rotana Capital Centre | 16 | 3 | 2024 | 7377 | 6656 | 130 | 95 | 18 | 16 | 5971.245 | 6711 | 13 | 214.9875
Pearl Rotana Capital Centre | 17 | 3 | 2024 | 7793 | 6870 | 133 | 99 | 18 | 16 | 6255.59 | 6710 | 10 | 270.9945
Pearl Rotana Capital Centre | 18 | 3 | 2024 | 7534 | 6763 | 134 | 104 | 16 | 16 | 6539.935 | 8101 | 11 | 239.9985
Pearl Rotana Capital Centre | 19 | 3 | 2024 | 7500 | 6817 | 132 | 91 | 18 | 15 | 6539.935 | 7715 | 11 | 242.0145
Pearl Rotana Capital Centre | 20 | 3 | 2024 | 7559 | 6775 | 130 | 103 | 18 | 14 | 6539.935 | 7749 | 12 | 277.011
Pearl Rotana Capital Centre | 21 | 3 | 2024 | 7613 | 6889 | 132 | 94 | 19 | 17 | 6539.935 | 7496 | 11 | 239.9985
Pearl Rotana Capital Centre | 22 | 3 | 2024 | 7381 | 6829 | 133 | 104 | 18 | 15 | 5971.245 | 6882 | 11 | 209.0025
Pearl Rotana Capital Centre | 23 | 3 | 2024 | 7545 | 6818 | 105 | 102 | 18 | 17 | 6255.59 | 7156 | 11 | 227.997
Pearl Rotana Capital Centre | 24 | 3 | 2024 | 7460 | 6650 | 133 | 89 | 18 | 14 | 6539.935 | 7312 | 10 | 233.0055
Pearl Rotana Capital Centre | 25 | 3 | 2024 | 7686 | 6839 | 132 | 110 | 17 | 18 | 6539.935 | 7784 | 8 | 296.0055
Pearl Rotana Capital Centre | 26 | 3 | 2024 | 7657 | 6738 | 131 | 87 | 18 | 15 | 5971.245 | 6968 | 10 | 276.003
Pearl Rotana Capital Centre | 27 | 3 | 2024 | 7893 | 6772 | 133 | 116 | 18 | 10 | 5118.21 | 5842 | 9 | 301.9905
Pearl Rotana Capital Centre | 28 | 3 | 2024 | 7747 | 6962 | 135 | 123 | 19 | 11 | 5402.555 | 6199 | 9 | 253.008
Pearl Rotana Capital Centre | 29 | 3 | 2024 | 7832 | 7063 | 133 | 106 | 19 | 17 | 5686.9 | 6329 | 11 | 238.9905
Pearl Rotana Capital Centre | 30 | 3 | 2024 | 7796 | 7075 | 128 | 93 | 19 | 17 | 5686.9 | 6488 | 10 | 222.9885
Pearl Rotana Capital Centre | 31 | 3 | 2024 | 7370 | 6775 | 133 | 96 | 18 | 15 | 5971.245 | 6581 | 7 | 223.9965
3047

## Mar 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - MARCH 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-03-01 | 18677916 | 7337 | 19638549 | 6592 | 447817 | 133 | 14062 | 2812.4 | 75209 | 105 | 823.2 | 34769 | 21 | 19757 | 15 | 36 | 50691 | 34 | 35.8938 | 606.3035 | 66536 | 14 | 3980.83 | 1370.2017 | 4243.4694 | 5613.6711 | 5876453 | 4673 | 74.29% | 337 | 13157306 | 4896 | 979.2 | 6114379 | 2112 | 422.4 | 113369 | 165 | 33 | 5775 | 10 | 78.4 | 2717 | 1 | 7.84 | 83 | 1 | 7.84
2024-03-02 | 18685654 | 7738 | 19645382 | 6833 | 447953 | 136 | 14707 | 2941.4 | 75311 | 102 | 799.68 | 34790 | 21 | 19771 | 14 | 35 | 50725 | 34 | 35.8938 | 606.3035 | 66551 | 15 | 4265.175 | 1468.0732 | 4243.4694 | 5711.5427 | 5881211 | 4758 | 61.59% | 289 | 13161564 | 4258 | 851.6 | 6116452 | 2073 | 414.6 | 113544 | 175 | 35 | 5782 | 7 | 54.88 | 2718 | 1 | 7.84 | 84 | 1 | 7.84
2024-03-03 | 18693192 | 7538 | 19651901 | 6519 | 448086 | 133 | 14190 | 2838 | 75420 | 109 | 854.56 | 34808 | 18 | 19785 | 14 | 32 | 50756 | 31 | 32.7267 | 571.307 | 66566 | 15 | 4265.175 | 1468.0732 | 4243.4694 | 5711.5427 | 5885955 | 4744 | 81.9% | 374 | 13165810 | 4246 | 849.2 | 6118500 | 2048 | 409.6 | 113722 | 178 | 35.6 | 5789 | 7 | 54.88 | 2720 | 2 | 15.68 | 84 | 0 | 0
2024-03-04 | 18700741 | 7549 | 19658604 | 6703 | 448220 | 134 | 14386 | 2877.2 | 75517 | 97 | 760.48 | 34827 | 19 | 19799 | 14 | 33 | 50788 | 32 | 33.7824 | 582.9725 | 66582 | 16 | 4549.52 | 1565.9448 | 4243.4694 | 5809.4142 | 5891421 | 5466 | 86.03% | 345 | 13170989 | 5179 | 1035.8 | 6120673 | 2173 | 434.6 | 113911 | 189 | 37.8 | 5795 | 6 | 47.04 | 2721 | 1 | 7.84 | 84 | 0 | 0
2024-03-05 | 18708242 | 7501 | 19665363 | 6759 | 448348 | 128 | 14388 | 2877.6 | 75601 | 84 | 658.56 | 34846 | 19 | 19812 | 13 | 32 | 50818 | 30 | 31.671 | 559.6416 | 66601 | 19 | 5402.555 | 1859.5594 | 4243.4694 | 6103.0289 | 5897833 | 6412 | 98.1% | 409 | 13176180 | 5191 | 1038.2 | 6122874 | 2201 | 440.2 | 114152 | 241 | 48.2 | 5803 | 8 | 62.72 | 2722 | 1 | 7.84 | 84 | 0 | 0
2024-03-06 | 18715813 | 7571 | 19672105 | 6742 | 448480 | 132 | 14445 | 2889 | 75701 | 100 | 784 | 34864 | 18 | 19822 | 10 | 28 | 50846 | 28 | 29.5596 | 536.3106 | 66619 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5903800 | 5967 | 94.29% | 384 | 13181438 | 5258 | 1051.6 | 6125120 | 2246 | 449.2 | 114364 | 212 | 42.4 | 5810 | 7 | 54.88 | 2722 | 0 | 0 | 84 | 0 | 0
2024-03-07 | 18723519 | 7706 | 19678464 | 6359 | 448610 | 130 | 14195 | 2839 | 75789 | 88 | 689.92 | 34883 | 19 | 19837 | 15 | 34 | 50878 | 32 | 33.7824 | 582.9725 | 66637 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5909841 | 6041 | 86.67% | 378 | 13186736 | 5298 | 1059.6 | 6127356 | 2236 | 447.2 | 114568 | 204 | 40.8 | 5818 | 8 | 62.72 | 2722 | 0 | 0 | 84 | 0 | 0
2024-03-08 | 18731177 | 7658 | 19684420 | 5956 | 448744 | 134 | 13748 | 2749.6 | 75894 | 105 | 823.2 | 34902 | 19 | 19851 | 14 | 33 | 50910 | 32 | 33.7824 | 582.9725 | 66657 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5916546 | 6705 | 80% | 343 | 13191812 | 5076 | 1015.2 | 6129544 | 2188 | 437.6 | 114816 | 248 | 49.6 | 5831 | 13 | 101.92 | 2723 | 1 | 7.84 | 85 | 1 | 7.84
2024-03-09 | 18738720 | 7543 | 19690506 | 6086 | 448744 | 0 | 13629 | 2725.8 | 76001 | 107 | 838.88 | 34922 | 20 | 19864 | 13 | 33 | 50941 | 31 | 32.7267 | 571.307 | 66675 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5922504 | 5958 | 78.1% | 336 | 13195848 | 4036 | 807.2 | 6131609 | 2065 | 413 | 115020 | 204 | 40.8 | 5840 | 9 | 70.56 | 2732 | 9 | 70.56 | 86 | 1 | 7.84
2024-03-10 | 18746205 | 7485 | 19697092 | 6586 | 448838 | 94 | 14165 | 2833 | 76112 | 111 | 870.24 | 34940 | 18 | 19877 | 13 | 31 | 50971 | 30 | 31.671 | 559.6416 | 66695 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5928444 | 5940 | 63.49% | 290 | 13199935 | 4087 | 817.4 | 6133626 | 2017 | 403.4 | 115241 | 221 | 44.2 | 5848 | 8 | 62.72 | 2734 | 2 | 15.68 | 87 | 1 | 7.84
2024-03-11 | 18753932 | 7727 | 19703904 | 6812 | 448967 | 129 | 14668 | 2933.6 | 76173 | 61 | 478.24 | 34958 | 18 | 19892 | 15 | 33 | 51003 | 32 | 33.7824 | 582.9725 | 66714 | 19 | 5402.555 | 1859.5594 | 4243.4694 | 6103.0289 | 5934859 | 6415 | 67.3% | 301 | 13204842 | 4907 | 981.4 | 6135796 | 2170 | 434 | 115455 | 214 | 42.8 | 5857 | 9 | 70.56 | 2734 | 0 | 0 | 88 | 1 | 7.84
2024-03-12 | 18761266 | 7334 | 19710472 | 6568 | 449098 | 131 | 14033 | 2806.6 | 76259 | 86 | 674.24 | 34975 | 17 | 19906 | 14 | 31 | 51033 | 30 | 31.671 | 559.6416 | 66732 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5940646 | 5787 | 71.43% | 301 | 13209698 | 4856 | 971.2 | 6137890 | 2094 | 418.8 | 115652 | 197 | 39.4 | 5865 | 8 | 62.72 | 2735 | 1 | 7.84 | 88 | 0 | 0
2024-03-13 | 18768727 | 7461 | 19717210 | 6738 | 449228 | 130 | 14329 | 2865.8 | 76355 | 96 | 752.64 | 34991 | 16 | 19921 | 15 | 31 | 51062 | 29 | 30.6153 | 547.9761 | 66750 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5946647 | 6001 | 81.59% | 390 | 13214652 | 4954 | 990.8 | 6140041 | 2151 | 430.2 | 115855 | 203 | 40.6 | 5877 | 12 | 94.08 | 2736 | 1 | 7.84 | 89 | 1 | 7.84
2024-03-14 | 18776197 | 7470 | 19723916 | 6706 | 449358 | 130 | 14306 | 2861.2 | 76454 | 99 | 776.16 | 35009 | 18 | 19938 | 17 | 35 | 51097 | 35 | 36.9495 | 617.969 | 66770 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5953355 | 6708 | 74.29% | 366 | 13219511 | 4859 | 971.8 | 6142172 | 2131 | 426.2 | 116080 | 225 | 45 | 5887 | 10 | 78.4 | 2737 | 1 | 7.84 | 90 | 1 | 7.84
2024-03-15 | 18783764 | 7567 | 19730642 | 6726 | 449492 | 134 | 14427 | 2885.4 | 76539 | 85 | 666.4 | 35028 | 19 | 19951 | 13 | 32 | 51127 | 30 | 31.671 | 559.6416 | 66790 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 5959955 | 6600 | 65.4% | 334 | 13224334 | 4823 | 964.6 | 6144281 | 2109 | 421.8 | 116296 | 216 | 43.2 | 5897 | 10 | 78.4 | 2737 | 0 | 0 | 90 | 0 | 0
2024-03-16 | 18791141 | 7377 | 19737298 | 6656 | 449622 | 130 | 14163 | 2832.6 | 76634 | 95 | 744.8 | 35046 | 18 | 19967 | 16 | 34 | 51161 | 34 | 35.8938 | 606.3035 | 66811 | 21 | 5971.245 | 2055.3025 | 4243.4694 | 6298.772 | 5966666 | 6711 | 68.25% | 362 | 13228437 | 4103 | 820.6 | 6146220 | 1939 | 387.8 | 116527 | 231 | 46.2 | 5910 | 13 | 101.92 | 2739 | 2 | 15.68 | 91 | 1 | 7.84
2024-03-17 | 18798934 | 7793 | 19744168 | 6870 | 449755 | 133 | 14796 | 2959.2 | 76733 | 99 | 776.16 | 35064 | 18 | 19983 | 16 | 34 | 51193 | 32 | 33.7824 | 582.9725 | 66833 | 22 | 6255.59 | 2153.1741 | 4243.4694 | 6396.6435 | 5973376 | 6710 | 86.03% | 444 | 13232731 | 4294 | 858.8 | 6148306 | 2086 | 417.2 | 116763 | 236 | 47.2 | 5920 | 10 | 78.4 | 2741 | 2 | 15.68 | 92 | 1 | 7.84
2024-03-18 | 18806468 | 7534 | 19750931 | 6763 | 449889 | 134 | 14431 | 2886.2 | 76837 | 104 | 815.36 | 35080 | 16 | 19999 | 16 | 32 | 51225 | 32 | 33.7824 | 582.9725 | 66856 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 5981477 | 8101 | 76.19% | 349 | 13237663 | 4932 | 986.4 | 6150443 | 2137 | 427.4 | 117044 | 281 | 56.2 | 5931 | 11 | 86.24 | 2742 | 1 | 7.84 | 94 | 2 | 15.68
2024-03-19 | 18813968 | 7500 | 19757748 | 6817 | 450021 | 132 | 14449 | 2889.8 | 76928 | 91 | 713.44 | 35098 | 18 | 20014 | 15 | 33 | 51257 | 32 | 33.7824 | 582.9725 | 66879 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 5989192 | 7715 | 76.83% | 320 | 13242649 | 4986 | 997.2 | 6152583 | 2140 | 428 | 117316 | 272 | 54.4 | 5942 | 11 | 86.24 | 2743 | 1 | 7.84 | 96 | 2 | 15.68
2024-03-20 | 18821527 | 7559 | 19764523 | 6775 | 450151 | 130 | 14464 | 2892.8 | 77031 | 103 | 807.52 | 35116 | 18 | 20028 | 14 | 32 | 51288 | 31 | 32.7267 | 571.307 | 66902 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 5996941 | 7749 | 87.94% | 381 | 13247643 | 4994 | 998.8 | 6154734 | 2151 | 430.2 | 117589 | 273 | 54.6 | 5954 | 12 | 94.08 | 2744 | 1 | 7.84 | 97 | 1 | 7.84
2024-03-21 | 18829140 | 7613 | 19771412 | 6889 | 450283 | 132 | 14634 | 2926.8 | 77125 | 94 | 736.96 | 35135 | 19 | 20045 | 17 | 36 | 51322 | 34 | 35.8938 | 606.3035 | 66925 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 6004437 | 7496 | 76.19% | 346 | 13252687 | 5044 | 1008.8 | 6156904 | 2170 | 434 | 117839 | 250 | 50 | 5965 | 11 | 86.24 | 2745 | 1 | 7.84 | 98 | 1 | 7.84
2024-03-22 | 18836521 | 7381 | 19778241 | 6829 | 450416 | 133 | 14343 | 2868.6 | 77229 | 104 | 815.36 | 35153 | 18 | 20060 | 15 | 33 | 51355 | 33 | 34.8381 | 594.638 | 66946 | 21 | 5971.245 | 2055.3025 | 4243.4694 | 6298.772 | 6011319 | 6882 | 66.35% | 312 | 13257570 | 4883 | 976.6 | 6159065 | 2161 | 432.2 | 118069 | 230 | 46 | 5976 | 11 | 86.24 | 2746 | 1 | 7.84 | 99 | 1 | 7.84
2024-03-23 | 18844066 | 7545 | 19785059 | 6818 | 450521 | 105 | 14468 | 2893.6 | 77331 | 102 | 799.68 | 35171 | 18 | 20077 | 17 | 35 | 51390 | 35 | 36.9495 | 617.969 | 66968 | 22 | 6255.59 | 2153.1741 | 4243.4694 | 6396.6435 | 6018475 | 7156 | 72.38% | 360 | 13261701 | 4131 | 826.2 | 6161054 | 1989 | 397.8 | 118304 | 235 | 47 | 5987 | 11 | 86.24 | 2747 | 1 | 7.84 | 100 | 1 | 7.84
2024-03-24 | 18851526 | 7460 | 19791709 | 6650 | 450654 | 133 | 14243 | 2848.6 | 77420 | 89 | 697.76 | 35189 | 18 | 20091 | 14 | 32 | 51422 | 32 | 33.7824 | 582.9725 | 66991 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 6025787 | 7312 | 73.97% | 341 | 13265926 | 4225 | 845 | 6163056 | 2002 | 400.4 | 118546 | 242 | 48.4 | 5997 | 10 | 78.4 | 2748 | 1 | 7.84 | 101 | 1 | 7.84
2024-03-25 | 18859212 | 7686 | 19798548 | 6839 | 450786 | 132 | 14657 | 2931.4 | 77530 | 110 | 862.4 | 35206 | 17 | 20109 | 18 | 35 | 51456 | 34 | 35.8938 | 606.3035 | 67014 | 23 | 6539.935 | 2251.0456 | 4243.4694 | 6494.5151 | 6033571 | 7784 | 93.97% | 426 | 13270985 | 5059 | 1011.8 | 6165234 | 2178 | 435.6 | 118816 | 270 | 54 | 6005 | 8 | 62.72 | 2749 | 1 | 7.84 | 102 | 1 | 7.84
2024-03-26 | 18866869 | 7657 | 19805286 | 6738 | 450917 | 131 | 14526 | 2905.2 | 77617 | 87 | 682.08 | 35224 | 18 | 20124 | 15 | 33 | 51489 | 33 | 34.8381 | 594.638 | 67035 | 21 | 5971.245 | 2055.3025 | 4243.4694 | 6298.772 | 6040539 | 6968 | 87.62% | 380 | 13275903 | 4918 | 983.6 | 6167357 | 2123 | 424.6 | 119060 | 244 | 48.8 | 6015 | 10 | 78.4 | 2750 | 1 | 7.84 | 103 | 1 | 7.84
2024-03-27 | 18874762 | 7893 | 19812058 | 6772 | 451050 | 133 | 14798 | 2959.6 | 77733 | 116 | 909.44 | 35242 | 18 | 20134 | 10 | 28 | 51514 | 25 | 26.3925 | 501.3141 | 67053 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 6046381 | 5842 | 95.87% | 439 | 13280909 | 5006 | 1001.2 | 6169602 | 2245 | 449 | 119260 | 200 | 40 | 6024 | 9 | 70.56 | 2751 | 1 | 7.84 | 104 | 1 | 7.84
2024-03-28 | 18882509 | 7747 | 19819020 | 6962 | 451185 | 135 | 14844 | 2968.8 | 77856 | 123 | 964.32 | 35261 | 19 | 20145 | 11 | 30 | 51542 | 28 | 29.5596 | 536.3106 | 67072 | 19 | 5402.555 | 1859.5594 | 4243.4694 | 6103.0289 | 6052580 | 6199 | 80.32% | 379 | 13285876 | 4967 | 993.4 | 6171799 | 2197 | 439.4 | 119477 | 217 | 43.4 | 6033 | 9 | 70.56 | 2752 | 1 | 7.84 | 105 | 1 | 7.84
2024-03-29 | 18890341 | 7832 | 19826083 | 7063 | 451318 | 133 | 15028 | 3005.6 | 77962 | 106 | 831.04 | 35280 | 19 | 20162 | 17 | 36 | 51577 | 35 | 36.9495 | 617.969 | 67092 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 6058909 | 6329 | 75.87% | 391 | 13290671 | 4795 | 959 | 6173972 | 2173 | 434.6 | 119688 | 211 | 42.2 | 6044 | 11 | 86.24 | 2754 | 2 | 15.68 | 106 | 1 | 7.84
2024-03-30 | 18898137 | 7796 | 19833158 | 7075 | 451446 | 128 | 14999 | 2999.8 | 78055 | 93 | 729.12 | 35299 | 19 | 20179 | 17 | 36 | 51611 | 34 | 35.8938 | 606.3035 | 67112 | 20 | 5686.9 | 1957.431 | 4243.4694 | 6200.9004 | 6065397 | 6488 | 70.79% | 360 | 13294959 | 4288 | 857.6 | 6176061 | 2089 | 417.8 | 119907 | 219 | 43.8 | 6054 | 10 | 78.4 | 2755 | 1 | 7.84 | 107 | 1 | 7.84
2024-03-31 | 18905507 | 7370 | 19839933 | 6775 | 451579 | 133 | 14278 | 2855.6 | 78151 | 96 | 752.64 | 35317 | 18 | 20194 | 15 | 33 | 51644 | 33 | 34.8381 | 594.638 | 67133 | 21 | 5971.245 | 2055.3025 | 4243.4694 | 6298.772 | 6071978 | 6581 | 71.11% | 332 | 13299071 | 4112 | 822.4 | 6178017 | 1956 | 391.2 | 120132 | 225 | 45 | 6061 | 7 | 54.88 | 2755 | 0 | 0 | 109 | 2 | 15.68
|  | 234928 |  | 207976 |  | 3895 | 446799 | 89359.8 |  | 3047 | 23888.48 |  | 569 |  | 452 | 1021 |  | 987 | 1041.9759 | 18013.8207 |  | 611 | 173734.795 | 59799.5164 | 131547.5525 | 191347.0689 |  | 200198 | 78.2% | 11099 |  | 146661 | 29332.2 |  | 65750 | 13150 |  | 6928 | 1385.6 |  | 296 | 2320.64 |  | 39 | 305.76 |  | 27 | 211.68
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 394642.65 | CHW Fixed Charges YTD 2023
| Actual March 2024 |  | 89359.8 |  |  | 446799 |  |  | Actual March 2024 |  | 23888.48 | 3047 |  | Actual March 2024 |  |  | 18013.8207 |  | 1041.9759 |  | Actual March 2024 |  | 191347.0689 |  | 173734.795 |  |  |  | 200198 | 26463.205 |  | 379465.26 | CHW Fixed Charges YTD 2022
| Budget March 2024 |  | 98626.5 |  |  | 493132.5 |  |  | Budget March 2024 |  | 23584.25 | 3008.1952 |  | Budget March 2024 |  |  | 17940.87 |  | 1035.3729 |  | Budget March 2024 |  | 193048.33 |  | 178677.455 | [6 empty] | 61500.78 | CHW Consumption Charges (Budgeted 2023 MTD)
| Actual March 2023 |  | 97535.8 |  |  | 487679 |  |  | Actual March 2023 |  | 22375.36 | 2854 |  | Actual March 2023 |  |  | 16247.56 |  | 882.1321 |  | Actual March 2023 |  | 184957.55 |  | 170215.8079 | [6 empty] | 58469.13 | CHW Consumption Charges (Actual 2022 MTD)
| Actual YTD 2024 |  | 89359.8 |  |  | 446799 |  |  | Actual YTD 2024 |  | 23888.48 | 3047 |  | Actual YTD 2024 |  |  | 18013.8207 |  | -134.4959 |  | Actual YTD 2024 |  | 191347.0689 |  | -590632.1356 | [6 empty] | -203295.5811 | CHW Consumption Charges (Actual 2023 YTD)
| Budget YTD 2024 |  | 286618.5 |  |  | 1433092.5 |  |  | Budget YTD 2024 |  | 73011.81 | 9312.7309 |  | Budget YTD 2024 |  |  | 55046.55 |  | 3216.8824 |  | Budget YTD 2024 |  | 558585.26 |  | 476300.4358 | [6 empty] | 163942.61 | CHW Consumption Charges (Budgeted 2023 YTD)
| Actual YTD 2023 |  | 280810.6 |  |  | 1404053 |  |  | Actual YTD 2023 |  | 63041.44 | 8041 |  | Actual YTD 2023 |  |  | 48040.97 |  | 2582.8932 |  | Actual YTD 2023 |  | 530478.5 |  | 439630.9753 | [6 empty] | 151013.24 | CHW Consumption Charges (Actual 2022 YTD)
[7 empty] | 2024-03-01 | 2024-05-10 | 70
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 98626.5 |  | Electricity |  |  | 3181.5 |  | Electricity |  |  | 1276.5686 |  | Electricity |  |  |  | 222705 |  |  | Electricity |  | 89359.8 |  | 133345.2 | Electricity |  | 222705 |  | Electricity |  | 89359.8 | 133345.2 | -133345.2
Water | 23584.25 |  | Water |  |  | 760.7823 |  | Water |  |  | 341.264 |  | Water |  |  |  | 53254.7581 |  |  | Water |  | 23888.48 |  | 29366.2781 | Water |  | 53254.7581 |  | Water |  | 23888.48 | 29366.2781 | -29366.2781
Gas | 17940.87 |  | Gas |  |  | 578.7377 |  | Gas |  |  | 257.3403 |  | Gas |  |  |  | 40511.6419 |  |  | Gas |  | 18013.8207 |  | 22497.8212 | Gas |  | 40511.6419 |  | Gas |  | 18013.8207 | 22497.8212 | -22497.8212
Chilled Water | 193048.33 |  | Chilled Water |  |  | 6227.3655 |  | Chilled Water |  |  | 2733.5296 |  | Chilled Water |  |  |  | 435915.5839 |  |  | Chilled Water |  | 191347.0689 |  | 244568.5149 | Chilled Water |  | 435915.5839 |  | Chilled Water |  | 191347.0689 | 244568.5149 | -244568.5149
| 333199.95 | [15 empty] | 752386.9839 |  |  |  |  | 322609.1696 |  | 429777.8142 |  | Total Energy cost | 752386.9839 |  |  |  | 322609.1696 | 429777.8142
| 190330.1749 | [21 empty] | 57.12% | [7 empty] | 57.12%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 97535.8 |  | Electricity |  |  | 3146.3161 |  | Electricity |  |  |  |  | Electricity |  |  |  | 89359.8 |  |  | Electricity |  | #VALUE! |  |  | 39573.6257 | 39573.6257 |  |  | 57962.1743 | 241236.9743
Water | 22375.36 |  | Water |  |  | 721.7858 |  | Water |  |  | 50525.0065 |  | Water |  |  |  | 23888.48 |  |  | Water |  | 26636.5265 |  |  | 10579.184 | 10579.184 |  |  | 11796.176 | 52462.256
Gas | 16247.56 |  | Gas |  |  | 524.1148 |  | Gas |  |  | 36688.0387 |  | Gas |  |  |  | 18013.8207 |  |  | Gas |  | 18674.218 |  |  | 7977.5492 | 7977.5492 |  |  | 8270.0108 | 40063.4208
Chilled Water | 184957.55 |  | Chilled Water |  |  | 5966.3726 |  | Chilled Water |  |  | 417646.0806 |  | Chilled Water |  |  |  | 191347.0689 |  |  | Chilled Water |  | 226299.0117 |  |  | 84739.4162 | 84739.4162 |  |  | 100218.1338 | 354891.559
| 321116.27 | [9 empty] | 504859.1258 | [5 empty] | 322609.1696 |  |  |  |  | #VALUE! |  |  | 142869.7751 | 142869.7751 |  |  | 178246.4949 | 688654.2101
| 115920.3095 | [21 empty] | 36.1%