## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 5 | 2023 | 14863 | 0.2 | 28 | 12.61 | 80 | 7.84 | 7108.625 | 1.14 | 222.012
Pearl Rotana Capital Centre | 2 | 5 | 2023 | 14969 | 0.2 | 26 | 12.61 | 94 | 7.84 | 7961.66 | 1.14 | 234.0135
Pearl Rotana Capital Centre | 3 | 5 | 2023 | 16164 | 0.2 | 30 | 12.61 | 101 | 7.84 | 7961.66 | 1.14 | 226.989
Pearl Rotana Capital Centre | 4 | 5 | 2023 | 15629 | 0.2 | 29 | 12.61 | 109 | 7.84 | 6255.59 | 1.14 | 206.9865
Pearl Rotana Capital Centre | 5 | 5 | 2023 | 16692 | 0.2 | 31 | 12.61 | 148 | 7.84 | 9099.04 | 1.14 | 182.007
Pearl Rotana Capital Centre | 6 | 5 | 2023 | 15545 | 0.2 | 29 | 12.61 | 97 | 7.84 | 7677.315 | 1.14 | 215.964
Pearl Rotana Capital Centre | 7 | 5 | 2023 | 15410 | 0.2 | 28 | 12.61 | 109 | 7.84 | 7961.66 | 1.14 | 273.0105
Pearl Rotana Capital Centre | 8 | 5 | 2023 | 15764 | 0.2 | 30 | 12.61 | 94 | 7.84 | 7677.315 | 1.14 | 315
Pearl Rotana Capital Centre | 9 | 5 | 2023 | 15629 | 0.2 | 31 | 12.61 | 101 | 7.84 | 7677.315 | 1.14 | 315
Pearl Rotana Capital Centre | 10 | 5 | 2023 | 15700 | 0.2 | 30 | 12.61 | 87 | 7.84 | 7961.66 | 1.14 | 218.988
Pearl Rotana Capital Centre | 11 | 5 | 2023 | 15562 | 0.2 | 33 | 12.61 | 91 | 7.84 | 7392.97 | 1.14 | 163.8
Pearl Rotana Capital Centre | 12 | 5 | 2023 | 15031 | 0.2 | 32 | 12.61 | 81 | 7.84 | 7961.66 | 1.14 | 140.994
Pearl Rotana Capital Centre | 13 | 5 | 2023 | 14772 | 0.2 | 29 | 12.61 | 70 | 7.84 | 8530.35 | 1.14 | 144.9945
Pearl Rotana Capital Centre | 14 | 5 | 2023 | 15005 | 0.2 | 29 | 12.61 | 76 | 7.84 | 7961.66 | 1.14 | 230.9895
Pearl Rotana Capital Centre | 15 | 5 | 2023 | 15607 | 0.2 | 33 | 12.61 | 92 | 7.84 | 8814.695 | 1.14 | 315
Pearl Rotana Capital Centre | 16 | 5 | 2023 | 15930 | 0.2 | 34 | 12.61 | 84 | 7.84 | 8814.695 | 1.14 | 277.011
Pearl Rotana Capital Centre | 17 | 5 | 2023 | 15519 | 0.2 | 34 | 12.61 | 96 | 7.84 | 8530.35 | 1.14 | 245.007
Pearl Rotana Capital Centre | 18 | 5 | 2023 | 15626 | 0.2 | 32 | 12.61 | 83 | 7.84 | 8530.35 | 1.14 | 245.007
Pearl Rotana Capital Centre | 19 | 5 | 2023 | 15211 | 0.2 | 30 | 12.61 | 83 | 7.84 | 8530.35 | 1.14 | 162.0045
Pearl Rotana Capital Centre | 20 | 5 | 2023 | 15720 | 0.2 | 28 | 12.61 | 81 | 7.84 | 9099.04 | 1.14 | 174.006
Pearl Rotana Capital Centre | 21 | 5 | 2023 | 15601 | 0.2 | 29 | 12.61 | 89 | 7.84 | 8530.35 | 1.14 | 222.012
Pearl Rotana Capital Centre | 22 | 5 | 2023 | 15697 | 0.2 | 30 | 12.61 | 71 | 7.84 | 9099.04 | 1.14 | 261.009
Pearl Rotana Capital Centre | 23 | 5 | 2023 | 15813 | 0.2 | 33 | 12.61 | 89 | 7.84 | 9099.04 | 1.14 | 301.014
Pearl Rotana Capital Centre | 24 | 5 | 2023 | 15802 | 0.2 | 36 | 12.61 | 97 | 7.84 | 8814.695 | 1.14 | 297.99
Pearl Rotana Capital Centre | 25 | 5 | 2023 | 16356 | 0.2 | 32 | 12.61 | 105 | 7.84 | 9099.04 | 1.14 | 308.007
Pearl Rotana Capital Centre | 26 | 5 | 2023 | 15990 | 0.2 | 33 | 12.61 | 99 | 7.84 | 9383.385 | 1.14 | 252
Pearl Rotana Capital Centre | 27 | 5 | 2023 | 16127 | 0.2 | 33 | 12.61 | 102 | 7.84 | 9383.385 | 1.14 | 271.089
Pearl Rotana Capital Centre | 28 | 5 | 2023 | 15788 | 0.2 | 31 | 12.61 | 100 | 7.84 | 9667.73 | 1.14 | 257.985
Pearl Rotana Capital Centre | 29 | 5 | 2023 | 16015 | 0.2 | 32 | 12.61 | 94 | 7.84 | 8814.695 | 1.14 | 235.998
Pearl Rotana Capital Centre | 30 | 5 | 2023 | 15849 | 1.2 | 31 | 12.61 | 88 | 7.84 | 10805.11 | 1.14 | 246.015
Pearl Rotana Capital Centre | 31 | 5 | 2023 | 15988 | 2.2 | 28 | 12.61 | 95 | 7.84 | 10805.11 | 1.14 | 198.9855

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 5 | 2023 | 7674 | 7077 | 112 | 80 | 16 | 12 | 7108.625 | 8038 | 0 | 222.012
Pearl Rotana Capital Centre | 2 | 5 | 2023 | 7803 | 7055 | 111 | 94 | 17 | 9 | 7961.66 | 8850 | 0 | 234.0135
Pearl Rotana Capital Centre | 3 | 5 | 2023 | 8540 | 7515 | 109 | 101 | 18 | 12 | 7961.66 | 8621 | 0 | 226.989
Pearl Rotana Capital Centre | 4 | 5 | 2023 | 8127 | 7374 | 128 | 109 | 18 | 11 | 6255.59 | 8424 | 0 | 206.9865
Pearl Rotana Capital Centre | 5 | 5 | 2023 | 8888 | 7711 | 93 | 148 | 18 | 13 | 9099.04 | 8500 | 0 | 182.007
Pearl Rotana Capital Centre | 6 | 5 | 2023 | 8197 | 7239 | 109 | 97 | 18 | 11 | 7677.315 | 8166 | 0 | 215.964
Pearl Rotana Capital Centre | 7 | 5 | 2023 | 7984 | 7317 | 109 | 109 | 18 | 10 | 7961.66 | 8571 | 0 | 273.0105
Pearl Rotana Capital Centre | 8 | 5 | 2023 | 8304 | 7346 | 114 | 94 | 19 | 11 | 7677.315 | 8705 | 0 | 315
Pearl Rotana Capital Centre | 9 | 5 | 2023 | 8166 | 7348 | 115 | 101 | 18 | 13 | 7677.315 | 8746 | 0 | 315
Pearl Rotana Capital Centre | 10 | 5 | 2023 | 8113 | 7474 | 113 | 87 | 19 | 11 | 7961.66 | 9010 | 0 | 218.988
Pearl Rotana Capital Centre | 11 | 5 | 2023 | 8099 | 7349 | 114 | 91 | 18 | 15 | 7392.97 | 8520 | 0 | 163.8
Pearl Rotana Capital Centre | 12 | 5 | 2023 | 7923 | 6993 | 115 | 81 | 20 | 12 | 7961.66 | 8809 | 0 | 140.994
Pearl Rotana Capital Centre | 13 | 5 | 2023 | 7781 | 6877 | 114 | 70 | 19 | 10 | 8530.35 | 9300 | 0 | 144.9945
Pearl Rotana Capital Centre | 14 | 5 | 2023 | 7890 | 7001 | 114 | 76 | 20 | 9 | 7961.66 | 8939 | 0 | 230.9895
Pearl Rotana Capital Centre | 15 | 5 | 2023 | 8104 | 7391 | 112 | 92 | 18 | 15 | 8814.695 | 9942 | 0 | 315
Pearl Rotana Capital Centre | 16 | 5 | 2023 | 8393 | 7422 | 115 | 84 | 19 | 15 | 8814.695 | 9798 | 0 | 277.011
Pearl Rotana Capital Centre | 17 | 5 | 2023 | 8137 | 7266 | 116 | 96 | 17 | 17 | 8530.35 | 10202 | 0 | 245.007
Pearl Rotana Capital Centre | 18 | 5 | 2023 | 8057 | 7457 | 112 | 83 | 18 | 14 | 8530.35 | 9119 | 0 | 245.007
Pearl Rotana Capital Centre | 19 | 5 | 2023 | 7884 | 7215 | 112 | 83 | 18 | 12 | 8530.35 | 9755 | 0 | 162.0045
Pearl Rotana Capital Centre | 20 | 5 | 2023 | 8164 | 7448 | 108 | 81 | 18 | 10 | 9099.04 | 9670 | 0 | 174.006
Pearl Rotana Capital Centre | 21 | 5 | 2023 | 7996 | 7494 | 111 | 89 | 16 | 13 | 8530.35 | 9699 | 0 | 222.012
Pearl Rotana Capital Centre | 22 | 5 | 2023 | 7991 | 7593 | 113 | 71 | 17 | 13 | 9099.04 | 10393 | 0 | 261.009
Pearl Rotana Capital Centre | 23 | 5 | 2023 | 8118 | 7581 | 114 | 89 | 18 | 15 | 9099.04 | 10554 | 0 | 301.014
Pearl Rotana Capital Centre | 24 | 5 | 2023 | 8073 | 7616 | 113 | 97 | 18 | 18 | 8814.695 | 10232 | 0 | 297.99
Pearl Rotana Capital Centre | 25 | 5 | 2023 | 8360 | 7883 | 113 | 105 | 18 | 14 | 9099.04 | 10564 | 0 | 308.007
Pearl Rotana Capital Centre | 26 | 5 | 2023 | 8200 | 7676 | 114 | 99 | 19 | 14 | 9383.385 | 10354 | 0 | 252
Pearl Rotana Capital Centre | 27 | 5 | 2023 | 8261 | 7749 | 117 | 102 | 18 | 15 | 9383.385 | 10462 | 0 | 271.089
Pearl Rotana Capital Centre | 28 | 5 | 2023 | 8114 | 7567 | 107 | 100 | 18 | 13 | 9667.73 | 9966 | 0 | 257.985
Pearl Rotana Capital Centre | 29 | 5 | 2023 | 8187 | 7721 | 107 | 94 | 19 | 13 | 8814.695 | 11000 | 0 | 235.998
Pearl Rotana Capital Centre | 30 | 5 | 2023 | 8170 | 7572 | 107 | 88 | 18 | 13 | 10805.11 | 12229 | 0 | 246.015
Pearl Rotana Capital Centre | 31 | 5 | 2023 | 8214 | 7670 | 104 | 95 | 18 | 10 | 10805.11 | 12284 | 0 | 198.9855

## may 23
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION MAY 2023
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading |  | Hotel Occupancy % | Adl. & Chl.
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons.
2023-05-01 | 16273359 | 7674 | 17470804 | 7077 | 410787 | 112 | 14863 | 2972.6 | 45167 | 80 | 627.2 | 28926 | 16 | 15867 | 12 | 28 | 41101 | 29 | 30.6153 | 547.9765 | 57069 | 25 | 7108.625 | 2441.8127 | 4080.2717 | 6522.0844 | 2680415 | 8038 | 70.48% | 285
2023-05-02 | 16281162 | 7803 | 17477859 | 7055 | 410898 | 111 | 14969 | 2993.8 | 45261 | 94 | 736.96 | 28943 | 17 | 15876 | 9 | 26 | 41126 | 25 | 26.3925 | 501.3145 | 57097 | 28 | 7961.66 | 2734.8302 | 4080.2717 | 6815.1019 | 2689265 | 8850 | 74.29% | 283
2023-05-03 | 16289702 | 8540 | 17485374 | 7515 | 411007 | 109 | 16164 | 3232.8 | 45362 | 101 | 791.84 | 28961 | 18 | 15888 | 12 | 30 | 41155 | 29 | 30.6153 | 547.9765 | 57125 | 28 | 7961.66 | 2734.8302 | 4080.2717 | 6815.1019 | 2697886 | 8621 | 72.06% | 283
2023-05-04 | 16297829 | 8127 | 17492748 | 7374 | 411135 | 128 | 15629 | 3125.8 | 45471 | 109 | 854.56 | 28979 | 18 | 15899 | 11 | 29 | 41184 | 29 | 30.6153 | 547.9765 | 57147 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2706310 | 8424 | 65.71% | 271
2023-05-05 | 16306717 | 8888 | 17500459 | 7711 | 411228 | 93 | 16692 | 3338.4 | 45619 | 148 | 1160.32 | 28997 | 18 | 15912 | 13 | 31 | 41214 | 30 | 31.671 | 559.642 | 57179 | 32 | 9099.04 | 3125.5202 | 4080.2717 | 7205.792 | 2714810 | 8500 | 57.78% | 178
2023-05-06 | 16314914 | 8197 | 17507698 | 7239 | 411337 | 109 | 15545 | 3109 | 45716 | 97 | 760.48 | 29015 | 18 | 15923 | 11 | 29 | 41242 | 28 | 29.5596 | 536.311 | 57206 | 27 | 7677.315 | 2637.1577 | 4080.2717 | 6717.4294 | 2722976 | 8166 | 68.56% | 281
2023-05-07 | 16322898 | 7984 | 17515015 | 7317 | 411446 | 109 | 15410 | 3082 | 45825 | 109 | 854.56 | 29033 | 18 | 15933 | 10 | 28 | 41270 | 28 | 29.5596 | 536.311 | 57234 | 28 | 7961.66 | 2734.8302 | 4080.2717 | 6815.1019 | 2731547 | 8571 | 86.67% | 315
2023-05-08 | 16331202 | 8304 | 17522361 | 7346 | 411560 | 114 | 15764 | 3152.8 | 45919 | 94 | 736.96 | 29052 | 19 | 15944 | 11 | 30 | 41300 | 30 | 31.671 | 559.642 | 57261 | 27 | 7677.315 | 2637.1577 | 4080.2717 | 6717.4294 | 2740252 | 8705 | 100% | 354
2023-05-09 | 16339368 | 8166 | 17529709 | 7348 | 411675 | 115 | 15629 | 3125.8 | 46020 | 101 | 791.84 | 29070 | 18 | 15957 | 13 | 31 | 41331 | 31 | 32.7267 | 571.3074 | 57288 | 27 | 7677.315 | 2637.1577 | 4080.2717 | 6717.4294 | 2748998 | 8746 | 100% | 357
2023-05-10 | 16347481 | 8113 | 17537183 | 7474 | 411788 | 113 | 15700 | 3140 | 46107 | 87 | 682.08 | 29089 | 19 | 15968 | 11 | 30 | 41360 | 29 | 30.6153 | 547.9765 | 57316 | 28 | 7961.66 | 2734.8302 | 4080.2717 | 6815.1019 | 2758008 | 9010 | 69.52% | 248
2023-05-11 | 16355580 | 8099 | 17544532 | 7349 | 411902 | 114 | 15562 | 3112.4 | 46198 | 91 | 713.44 | 29107 | 18 | 15983 | 15 | 33 | 41393 | 33 | 34.8381 | 594.6384 | 57342 | 26 | 7392.97 | 2539.4852 | 4080.2717 | 6619.7569 | 2766528 | 8520 | 52% | 199
2023-05-12 | 16363503 | 7923 | 17551525 | 6993 | 412017 | 115 | 15031 | 3006.2 | 46279 | 81 | 635.04 | 29127 | 20 | 15995 | 12 | 32 | 41425 | 32 | 33.7824 | 582.9729 | 57370 | 28 | 7961.66 | 2734.8302 | 4080.2717 | 6815.1019 | 2775337 | 8809 | 44.76% | 184
2023-05-13 | 16371284 | 7781 | 17558402 | 6877 | 412131 | 114 | 14772 | 2954.4 | 46349 | 70 | 548.8 | 29146 | 19 | 16005 | 10 | 29 | 41454 | 29 | 30.6153 | 547.9765 | 57400 | 30 | 8530.35 | 2930.1752 | 4080.2717 | 7010.447 | 2784637 | 9300 | 46.03% | 180
2023-05-14 | 16379174 | 7890 | 17565403 | 7001 | 412245 | 114 | 15005 | 3001 | 46425 | 76 | 595.84 | 29166 | 20 | 16014 | 9 | 29 | 41483 | 29 | 30.6153 | 547.9765 | 57428 | 28 | 7961.66 | 2734.8302 | 4080.2717 | 6815.1019 | 2793576 | 8939 | 73.33% | 242
2023-05-15 | 16387278 | 8104 | 17572794 | 7391 | 412357 | 112 | 15607 | 3121.4 | 46517 | 92 | 721.28 | 29184 | 18 | 16029 | 15 | 33 | 41516 | 33 | 34.8381 | 594.6384 | 57459 | 31 | 8814.695 | 3027.8477 | 4080.2717 | 7108.1195 | 2803518 | 9942 | 100% | 331
2023-05-16 | 16395671 | 8393 | 17580216 | 7422 | 412472 | 115 | 15930 | 3186 | 46601 | 84 | 658.56 | 29203 | 19 | 16044 | 15 | 34 | 41549 | 33 | 34.8381 | 594.6384 | 57490 | 31 | 8814.695 | 3027.8477 | 4080.2717 | 7108.1195 | 2813316 | 9798 | 87.94% | 291
2023-05-17 | 16403808 | 8137 | 17587482 | 7266 | 412588 | 116 | 15519 | 3103.8 | 46697 | 96 | 752.64 | 29220 | 17 | 16061 | 17 | 34 | 41583 | 34 | 35.8938 | 606.3039 | 57520 | 30 | 8530.35 | 2930.1752 | 4080.2717 | 7010.447 | 2823518 | 10202 | 77.78% | 260
2023-05-18 | 16411865 | 8057 | 17594939 | 7457 | 412700 | 112 | 15626 | 3125.2 | 46780 | 83 | 650.72 | 29238 | 18 | 16075 | 14 | 32 | 41615 | 32 | 33.7824 | 582.9729 | 57550 | 30 | 8530.35 | 2930.1752 | 4080.2717 | 7010.447 | 2832637 | 9119 | 77.78% | 260
2023-05-19 | 16419749 | 7884 | 17602154 | 7215 | 412812 | 112 | 15211 | 3042.2 | 46863 | 83 | 650.72 | 29256 | 18 | 16087 | 12 | 30 | 41645 | 30 | 31.671 | 559.642 | 57580 | 30 | 8530.35 | 2930.1752 | 4080.2717 | 7010.447 | 2842392 | 9755 | 51.43% | 204
2023-05-20 | 16427913 | 8164 | 17609602 | 7448 | 412920 | 108 | 15720 | 3144 | 46944 | 81 | 635.04 | 29274 | 18 | 16097 | 10 | 28 | 41674 | 29 | 30.6153 | 547.9765 | 57612 | 32 | 9099.04 | 3125.5202 | 4080.2717 | 7205.792 | 2852062 | 9670 | 55.24% | 224
2023-05-21 | 16435909 | 7996 | 17617096 | 7494 | 413031 | 111 | 15601 | 3120.2 | 47033 | 89 | 697.76 | 29290 | 16 | 16110 | 13 | 29 | 41698 | 24 | 25.3368 | 489.649 | 57642 | 30 | 8530.35 | 2930.1752 | 4080.2717 | 7010.447 | 2861761 | 9699 | 70.48% | 251
2023-05-22 | 16443900 | 7991 | 17624689 | 7593 | 413144 | 113 | 15697 | 3139.4 | 47104 | 71 | 556.64 | 29307 | 17 | 16123 | 13 | 30 | 41728 | 30 | 31.671 | 559.642 | 57674 | 32 | 9099.04 | 3125.5202 | 4080.2717 | 7205.792 | 2872154 | 10393 | 82.86% | 293
2023-05-23 | 16452018 | 8118 | 17632270 | 7581 | 413258 | 114 | 15813 | 3162.6 | 47193 | 89 | 697.76 | 29325 | 18 | 16138 | 15 | 33 | 41761 | 33 | 34.8381 | 594.6384 | 57706 | 32 | 9099.04 | 3125.5202 | 4080.2717 | 7205.792 | 2882708 | 10554 | 95.56% | 346
2023-05-24 | 16460091 | 8073 | 17639886 | 7616 | 413371 | 113 | 15802 | 3160.4 | 47290 | 97 | 760.48 | 29343 | 18 | 16156 | 18 | 36 | 41796 | 35 | 36.9495 | 617.9694 | 57737 | 31 | 8814.695 | 3027.8477 | 4080.2717 | 7108.1195 | 2892940 | 10232 | 94.6% | 338
2023-05-25 | 16468451 | 8360 | 17647769 | 7883 | 413484 | 113 | 16356 | 3271.2 | 47395 | 105 | 823.2 | 29361 | 18 | 16170 | 14 | 32 | 41828 | 32 | 33.7824 | 582.9729 | 57769 | 32 | 9099.04 | 3125.5202 | 4080.2717 | 7205.792 | 2903504 | 10564 | 97.78% | 354
2023-05-26 | 16476651 | 8200 | 17655445 | 7676 | 413598 | 114 | 15990 | 3198 | 47494 | 99 | 776.16 | 29380 | 19 | 16184 | 14 | 33 | 41862 | 34 | 35.8938 | 606.3039 | 57802 | 33 | 9383.385 | 3223.1927 | 4080.2717 | 7303.4645 | 2913858 | 10354 | 80% | 215
2023-05-27 | 16484912 | 8261 | 17663194 | 7749 | 413715 | 117 | 16127 | 3225.4 | 47596 | 102 | 799.68 | 29398 | 18 | 16199 | 15 | 33 | 41895 | 33 | 34.8381 | 594.6384 | 57835 | 33 | 9383.385 | 3223.1927 | 4080.2717 | 7303.4645 | 2924320 | 10462 | 86.06% | 334
2023-05-28 | 16493026 | 8114 | 17670761 | 7567 | 413822 | 107 | 15788 | 3157.6 | 47696 | 100 | 784 | 29416 | 18 | 16212 | 13 | 31 | 41925 | 30 | 31.671 | 559.642 | 57869 | 34 | 9667.73 | 3320.8653 | 4080.2717 | 7401.137 | 2934286 | 9966 | 81.9% | 323
2023-05-29 | 16501213 | 8187 | 17678482 | 7721 | 413929 | 107 | 16015 | 3203 | 47790 | 94 | 736.96 | 29435 | 19 | 16225 | 13 | 32 | 41957 | 32 | 33.7824 | 582.9729 | 57900 | 31 | 8814.695 | 3027.8477 | 4080.2717 | 7108.1195 | 2945286 | 11000 | 74.92% | 295
2023-05-30 | 16509383 | 8170 | 17686054 | 7572 | 414036 | 107 | 15849 | 3169.8 | 47878 | 88 | 689.92 | 29453 | 18 | 16238 | 13 | 31 | 41989 | 32 | 33.7824 | 582.9729 | 57938 | 38 | 10805.11 | 3711.5553 | 4080.2717 | 7791.827 | 2957515 | 12229 | 78.1% | 307
2023-05-31 | 16517597 | 8214 | 17693724 | 7670 | 414140 | 104 | 15988 | 3197.6 | 47973 | 95 | 744.8 | 29471 | 18 | 16248 | 10 | 28 | 42017 | 28 | 29.5596 | 536.311 | 57976 | 38 | 10805.11 | 3711.5553 | 4080.2717 | 7791.827 | 2969799 | 12284 | 63.17% | 241
|  | 251912 |  | 229997 |  | 3465 | 485374 | 97074.8 |  | 2886 | 22626.24 |  | 561 |  | 393 | 954 |  | 945 | 997.6365 | 17523.8827 |  | 932 | 265009.54 | 91030.777 | 126488.4237 | 217519.2007 |  | 297422 | 75.38% | 8527
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour
| Actual May 2023 |  | 97074.8 |  |  | 485374 |  |  | Actual May 2023 |  | 22626.24 | 2886 |  | Actual May 2023 |  |  | 17523.8827 |  | 997.6365 |  | Actual May 2023 |  | 217519.2007 |  | 265009.54 |  |  |  | 297422 | 32412.46
| Budget May 2023 |  | 97405.875 |  |  | 487029.375 |  |  | Budget May 2023 |  | 22754.1299 | 2902.3125 |  | Budget May 2023 |  |  | 18049.5128 |  | 1045.2048 |  | Budget May 2023 |  | 208877.2206 |  | 239853.1894 | [5 empty] | 82389.5706 | CHW Consumption Charges (Budgeted 2023 MTD)
| Actual May 2022 |  | 96266 |  |  | 481330 |  |  | Actual May 2022 |  | 21388 | 2728.0612 |  | Actual May 2022 |  |  | 17215.34 |  | 969.714 |  | Actual May 2022 |  | 199844.26 |  | 228184.1307 | [5 empty] | 78221.52 | CHW Consumption Charges (Actual 2022 MTD)
| Actual YTD 2023 |  | 466520.2 |  |  | 2332601 |  |  | Actual YTD 2023 |  | 107502.08 | 13712 |  | Actual YTD 2023 |  |  | 81791.2027 |  | 4460.7423 |  | Actual YTD 2023 |  | 930091.9707 |  | 866531.9381 | [5 empty] | 297653.7207 | CHW Consumption Charges (Actual 2023 YTD)
| Budget YTD 2023 |  | 474631 |  |  | 2373155 |  |  | Budget YTD 2023 |  | 103848 | 13245.9184 |  | Budget YTD 2023 |  |  | 84106 |  | 4670.2262 |  | Budget YTD 2023 |  | 944583 |  | 908718.3406 | [5 empty] | 312144.75 | CHW Consumption Charges (Budgeted 2023 YTD)
| Actual YTD 2022 |  | 472794.4 |  |  | 2363972 |  |  | Actual YTD 2022 |  | 94801.64 | 12092.0459 |  | Actual YTD 2022 |  |  | 76092.85 |  | 4816.8895 |  | Actual YTD 2022 |  | 902905.26 |  | 859952.042 | [5 empty] | 294791.56 | CHW Consumption Charges (Actual 2022 YTD)
[6 empty] | 2023-05-01 |  | 2024-05-13 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual | [10 empty] | 632438.25 | CHW Fixed Charges YTD 2023
Electricity | 97405.875 |  | Electricity |  |  | 3142.125 |  | Electricity |  |  | 3131.4452 |  | Electricity |  |  |  | 97405.875 |  |  | Electricity |  | 97074.8 |  | 331.075 | [6 empty] | 608113.7 | CHW Fixed Charges YTD 2022
Water | 22754.1299 |  | Water |  |  | 734.0042 |  | Water |  |  | 729.8787 |  | Water |  |  |  | 22754.1299 |  |  | Water |  | 22626.24 |  | 127.8899
Gas | 18049.5128 |  | Gas |  |  | 582.2423 |  | Gas |  |  | 565.2865 |  | Gas |  |  |  | 18049.5128 |  |  | Gas |  | 17523.8827 |  | 525.6301
Chilled Water | 208877.2206 |  | Chilled Water |  |  | 6737.9749 |  | Chilled Water |  |  | 7016.7484 |  | Chilled Water |  |  |  | 208877.2206 |  |  | Chilled Water |  | 217519.2007 |  | -8641.9802
| 347086.7383 | [15 empty] | 347086.7383 |  |  |  |  | 354744.1235 |  | -7657.3852
| -7657.3852 | [21 empty] | -2.206%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 96266 |  | Electricity |  |  | 3105.3548 |  | Electricity |  |  | 96266 |  | Electricity |  |  |  | 97074.8 |  |  | Electricity |  | -808.8 |  |  | 93943.3548 | 93943.3548 |  |  | 2322.6452 | 378851.0452
Water | 21388 |  | Water |  |  | 689.9355 |  | Water |  |  | 21388 |  | Water |  |  |  | 22626.24 |  |  | Water |  | -1238.24 |  |  | 21896.3613 | 21896.3613 |  |  | -508.3613 | 72905.2787
Gas | 17215.34 |  | Gas |  |  | 555.3335 |  | Gas |  |  | 17215.34 |  | Gas |  |  |  | 17523.8827 |  |  | Gas |  | -308.5427 |  |  | 16958.5962 | 16958.5962 |  |  | 256.7438 | 59134.2538
Chilled Water | 199844.26 |  | Chilled Water |  |  | 6446.589 |  | Chilled Water |  |  | 199844.26 |  | Chilled Water |  |  |  | 217519.2007 |  |  | Chilled Water |  | -17674.9407 |  |  | 210502.4523 | 210502.4523 |  |  | -10658.1923 | 649449.5897
| 334713.6 | [9 empty] | 334713.6 | [5 empty] | 354744.1235 |  |  |  |  | -20030.5235 |  |  | 343300.7646 | 343300.7646 |  |  | -8587.1646 | 1160340.1674
| -20030.5235 | [21 empty] | -5.984%