## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 6 | 2024 | 14322 | 0.2 | 35.8938 | 16.592 | 103 | 7.84 | 9952.075 | 0.75616 | 191.9925 | 268
Pearl Rotana Capital Centre | 2 | 6 | 2024 | 14499 | 0.2 | 36.9495 | 16.592 | 85 | 7.84 | 10805.11 | 0.75616 | 261.009 | 319
Pearl Rotana Capital Centre | 3 | 6 | 2024 | 14601 | 0.2 | 38.0052 | 16.592 | 100 | 7.84 | 10520.765 | 0.75616 | 305.991 | 399
Pearl Rotana Capital Centre | 4 | 6 | 2024 | 14594 | 0.2 | 39.0609 | 16.592 | 101 | 7.84 | 10805.11 | 0.75616 | 312.0075 | 414
Pearl Rotana Capital Centre | 5 | 6 | 2024 | 14851 | 0.2 | 41.1723 | 16.592 | 105 | 7.84 | 10236.42 | 0.75616 | 276.003 | 359
Pearl Rotana Capital Centre | 6 | 6 | 2024 | 14352 | 0.2 | 42.228 | 16.592 | 113 | 7.84 | 9099.04 | 0.75616 | 293.9895 | 428
Pearl Rotana Capital Centre | 7 | 6 | 2024 | 14069 | 0.2 | 42.228 | 16.592 | 102 | 7.84 | 9952.075 | 0.75616 | 281.988 | 424
Pearl Rotana Capital Centre | 8 | 6 | 2024 | 13810 | 0.2 | 38.0052 | 16.592 | 96 | 7.84 | 9383.385 | 0.75616 | 292.005 | 446
Pearl Rotana Capital Centre | 9 | 6 | 2024 | 14140 | 0.2 | 39.0609 | 16.592 | 110 | 7.84 | 10520.765 | 0.75616 | 273.987 | 367
Pearl Rotana Capital Centre | 10 | 6 | 2024 | 14209 | 0.2 | 40.1166 | 16.592 | 98 | 7.84 | 10805.11 | 0.75616 | 268.002 | 328
Pearl Rotana Capital Centre | 11 | 6 | 2024 | 14399 | 0.2 | 40.1166 | 16.592 | 99 | 7.84 | 10520.765 | 0.75616 | 252 | 309
Pearl Rotana Capital Centre | 12 | 6 | 2024 | 14269 | 0.2 | 39.0609 | 16.592 | 90 | 7.84 | 9952.075 | 0.75616 | 230.013 | 285
Pearl Rotana Capital Centre | 13 | 6 | 2024 | 14331 | 0.2 | 39.0609 | 16.592 | 94 | 7.84 | 10236.42 | 0.75616 | 226.989 | 298
Pearl Rotana Capital Centre | 14 | 6 | 2024 | 14274 | 0.2 | 39.0609 | 16.592 | 95 | 7.84 | 10236.42 | 0.75616 | 225.0045 | 350
Pearl Rotana Capital Centre | 15 | 6 | 2024 | 14238 | 0.2 | 40.1166 | 16.592 | 84 | 7.84 | 9099.04 | 0.75616 | 171.0135 | 264
Pearl Rotana Capital Centre | 16 | 6 | 2024 | 14146 | 0.2 | 38.0052 | 16.592 | 93 | 7.84 | 9667.73 | 0.75616 | 211.995 | 348
Pearl Rotana Capital Centre | 17 | 6 | 2024 | 14404 | 0.2 | 38.0052 | 16.592 | 98 | 7.84 | 11089.455 | 0.75616 | 258.993 | 420
Pearl Rotana Capital Centre | 18 | 6 | 2024 | 14369 | 0.2 | 39.0609 | 16.592 | 109 | 7.84 | 11089.455 | 0.75616 | 253.9845 | 394
Pearl Rotana Capital Centre | 19 | 6 | 2024 | 14178 | 0.2 | 38.0052 | 16.592 | 104 | 7.84 | 11089.455 | 0.75616 | 222.9885 | 321
Pearl Rotana Capital Centre | 20 | 6 | 2024 | 14116 | 0.2 | 41.1723 | 16.592 | 88 | 7.84 | 10805.11 | 0.75616 | 225.0045 | 316
Pearl Rotana Capital Centre | 21 | 6 | 2024 | 14180 | 0.2 | 42.228 | 16.592 | 100 | 7.84 | 10805.11 | 0.75616 | 268.002 | 439
Pearl Rotana Capital Centre | 22 | 6 | 2024 | 14184 | 0.2 | 43.2837 | 16.592 | 109 | 7.84 | 12226.835 | 0.75616 | 223.9965 | 333
Pearl Rotana Capital Centre | 23 | 6 | 2024 | 13748 | 0.2 | 36.9495 | 16.592 | 88 | 7.84 | 11373.8 | 0.75616 | 262.9935 | 344
Pearl Rotana Capital Centre | 24 | 6 | 2024 | 14225 | 0.2 | 40.1166 | 16.592 | 101 | 7.84 | 11089.455 | 0.75616 | 306.999 | 387
Pearl Rotana Capital Centre | 25 | 6 | 2024 | 14296 | 0.2 | 36.9495 | 16.592 | 109 | 7.84 | 11089.455 | 0.75616 | 297.0135 | 363
Pearl Rotana Capital Centre | 26 | 6 | 2024 | 13960 | 0.2 | 42.228 | 16.592 | 94 | 7.84 | 11658.145 | 0.75616 | 293.9895 | 364
Pearl Rotana Capital Centre | 27 | 6 | 2024 | 15197 | 0.2 | 36.9495 | 16.592 | 120 | 7.84 | 10520.765 | 0.75616 | 294.9975 | 370
Pearl Rotana Capital Centre | 28 | 6 | 2024 | 13849 | 0.2 | 40.1166 | 16.592 | 151 | 7.84 | 12226.835 | 0.75616 | 305.0145 | 449
Pearl Rotana Capital Centre | 29 | 6 | 2024 | 13694 | 0.2 | 35.8938 | 16.592 | 104 | 7.84 | 11658.145 | 0.75616 | 265.986 | 393
Pearl Rotana Capital Centre | 30 | 6 | 2024 | 14075 | 0.2 | 33.7824 | 16.592 | 111 | 7.84 | 10805.11 | 0.75616 | 293.013 | 406

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 6 | 2024 | 7990 | 6217 | 115 | 103 | 19 | 14 | 9952.075 | 12601 | 12 | 191.9925 | 268
Pearl Rotana Capital Centre | 2 | 6 | 2024 | 7934 | 6454 | 111 | 85 | 19 | 16 | 10805.11 | 12546 | 10 | 261.009 | 319
Pearl Rotana Capital Centre | 3 | 6 | 2024 | 8015 | 6474 | 112 | 100 | 18 | 18 | 10520.765 | 12719 | 7 | 305.991 | 399
Pearl Rotana Capital Centre | 4 | 6 | 2024 | 7999 | 6482 | 113 | 101 | 19 | 18 | 10805.11 | 12898 | 9 | 312.0075 | 414
Pearl Rotana Capital Centre | 5 | 6 | 2024 | 8139 | 6602 | 110 | 105 | 19 | 21 | 10236.42 | 12321 | 8 | 276.003 | 359
Pearl Rotana Capital Centre | 6 | 6 | 2024 | 7704 | 6529 | 119 | 113 | 20 | 20 | 9099.04 | 11033 | 12 | 293.9895 | 428
Pearl Rotana Capital Centre | 7 | 6 | 2024 | 7566 | 6389 | 114 | 102 | 20 | 20 | 9952.075 | 11748 | 9 | 281.988 | 424
Pearl Rotana Capital Centre | 8 | 6 | 2024 | 7428 | 6272 | 110 | 96 | 18 | 18 | 9383.385 | 11114 | 12 | 292.005 | 446
Pearl Rotana Capital Centre | 9 | 6 | 2024 | 7598 | 6429 | 113 | 110 | 18 | 19 | 10520.765 | 12408 | 10 | 273.987 | 367
Pearl Rotana Capital Centre | 10 | 6 | 2024 | 7719 | 6377 | 113 | 98 | 19 | 19 | 10805.11 | 12777 | 9 | 268.002 | 328
Pearl Rotana Capital Centre | 11 | 6 | 2024 | 7728 | 6558 | 113 | 99 | 18 | 19 | 10520.765 | 12649 | 9 | 252 | 309
Pearl Rotana Capital Centre | 12 | 6 | 2024 | 7711 | 6445 | 113 | 90 | 18 | 19 | 9952.075 | 12085 | 9 | 230.013 | 285
Pearl Rotana Capital Centre | 13 | 6 | 2024 | 7709 | 6516 | 106 | 94 | 20 | 17 | 10236.42 | 12210 | 10 | 226.989 | 298
Pearl Rotana Capital Centre | 14 | 6 | 2024 | 7607 | 6561 | 106 | 95 | 20 | 17 | 10236.42 | 12152 | 9 | 225.0045 | 350
Pearl Rotana Capital Centre | 15 | 6 | 2024 | 7604 | 6529 | 105 | 84 | 20 | 17 | 9099.04 | 10725 | 9 | 171.0135 | 264
Pearl Rotana Capital Centre | 16 | 6 | 2024 | 7468 | 6574 | 104 | 93 | 18 | 19 | 9667.73 | 11509 | 9 | 211.995 | 348
Pearl Rotana Capital Centre | 17 | 6 | 2024 | 7496 | 6810 | 98 | 98 | 17 | 19 | 11089.455 | 12984 | 10 | 258.993 | 420
Pearl Rotana Capital Centre | 18 | 6 | 2024 | 7589 | 6673 | 107 | 109 | 17 | 18 | 11089.455 | 12925 | 9 | 253.9845 | 394
Pearl Rotana Capital Centre | 19 | 6 | 2024 | 7590 | 6481 | 107 | 104 | 18 | 19 | 11089.455 | 13121 | 9 | 222.9885 | 321
Pearl Rotana Capital Centre | 20 | 6 | 2024 | 7498 | 6513 | 105 | 88 | 17 | 22 | 10805.11 | 12949 | 9 | 225.0045 | 316
Pearl Rotana Capital Centre | 21 | 6 | 2024 | 7477 | 6603 | 100 | 100 | 20 | 20 | 10805.11 | 12785 | 9 | 268.002 | 439
Pearl Rotana Capital Centre | 22 | 6 | 2024 | 7444 | 6640 | 100 | 109 | 20 | 20 | 12226.835 | 14231 | 9 | 223.9965 | 333
Pearl Rotana Capital Centre | 23 | 6 | 2024 | 7249 | 6398 | 101 | 88 | 18 | 17 | 11373.8 | 13432 | 8 | 262.9935 | 344
Pearl Rotana Capital Centre | 24 | 6 | 2024 | 7548 | 6577 | 100 | 101 | 18 | 20 | 11089.455 | 13360 | 10 | 306.999 | 387
Pearl Rotana Capital Centre | 25 | 6 | 2024 | 7652 | 6538 | 106 | 109 | 17 | 18 | 11089.455 | 13450 | 7 | 297.0135 | 363
Pearl Rotana Capital Centre | 26 | 6 | 2024 | 7488 | 6366 | 106 | 94 | 19 | 20 | 11658.145 | 13864 | 10 | 293.9895 | 364
Pearl Rotana Capital Centre | 27 | 6 | 2024 | 7848 | 7306 | 43 | 120 | 18 | 17 | 10520.765 | 12656 | 10 | 294.9975 | 370
Pearl Rotana Capital Centre | 28 | 6 | 2024 | 8329 | 5460 | 60 | 151 | 20 | 16 | 12226.835 | 14621 | 12 | 305.0145 | 449
Pearl Rotana Capital Centre | 29 | 6 | 2024 | 7386 | 6257 | 51 | 104 | 20 | 15 | 11658.145 | 13732 | 10 | 265.986 | 393
Pearl Rotana Capital Centre | 30 | 6 | 2024 | 7479 | 6538 | 58 | 111 | 18 | 14 | 10805.11 | 12604 | 8 | 293.013 | 406

## June 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - JUNE 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-06-01 | 19392411 | 7990 | 20258005 | 6217 | 459025 | 115 | 14322 | 2864.4 | 84133 | 103 | 807.52 | 36475 | 19 | 21215 | 14 | 33 | 53792 | 34 | 35.8938 | 613.2925 | 68826 | 35 | 9952.075 | 3425.5042 | 4384.9184 | 7810.4226 | 6647133 | 12601 | 60.95% | 268 | 13613857 | 4704 | 940.8 | 6311413 | 2016 | 403.2 | 141168 | 397 | 79.4 | 6655 | 12 | 94.08 | 2831 | 0 | 0 | 158 | 0 | 0
2024-06-02 | 19400345 | 7934 | 20264459 | 6454 | 459136 | 111 | 14499 | 2899.8 | 84218 | 85 | 666.4 | 36494 | 19 | 21231 | 16 | 35 | 53827 | 35 | 36.9495 | 624.958 | 68864 | 38 | 10805.11 | 3719.1189 | 4384.9184 | 8104.0373 | 6659679 | 12546 | 82.86% | 319 | 13618659 | 4802 | 960.4 | 6313424 | 2011 | 402.2 | 141642 | 474 | 94.8 | 6665 | 10 | 78.4 | 2832 | 1 | 7.84 | 159 | 1 | 7.84
2024-06-03 | 19408360 | 8015 | 20270933 | 6474 | 459248 | 112 | 14601 | 2920.2 | 84318 | 100 | 784 | 36512 | 18 | 21249 | 18 | 36 | 53863 | 36 | 38.0052 | 636.6235 | 68901 | 37 | 10520.765 | 3621.2473 | 4384.9184 | 8006.1657 | 6672398 | 12719 | 97.14% | 399 | 13624473 | 5814 | 1162.8 | 6315626 | 2202 | 440.4 | 142100 | 458 | 91.6 | 6672 | 7 | 54.88 | 2833 | 1 | 7.84 | 160 | 1 | 7.84
2024-06-04 | 19416359 | 7999 | 20277415 | 6482 | 459361 | 113 | 14594 | 2918.8 | 84419 | 101 | 791.84 | 36531 | 19 | 21267 | 18 | 37 | 53900 | 37 | 39.0609 | 648.2889 | 68939 | 38 | 10805.11 | 3719.1189 | 4384.9184 | 8104.0373 | 6685296 | 12898 | 99.05% | 414 | 13630275 | 5802 | 1160.4 | 6317805 | 2179 | 435.8 | 142559 | 459 | 91.8 | 6681 | 9 | 70.56 | 2834 | 1 | 7.84 | 161 | 1 | 7.84
2024-06-05 | 19424498 | 8139 | 20284017 | 6602 | 459471 | 110 | 14851 | 2970.2 | 84524 | 105 | 823.2 | 36550 | 19 | 21288 | 21 | 40 | 53939 | 39 | 41.1723 | 671.6199 | 68975 | 36 | 10236.42 | 3523.3758 | 4384.9184 | 7908.2942 | 6697617 | 12321 | 87.62% | 359 | 13636186 | 5911 | 1182.2 | 6320021 | 2216 | 443.2 | 142988 | 429 | 85.8 | 6689 | 8 | 62.72 | 2835 | 1 | 7.84 | 162 | 1 | 7.84
2024-06-06 | 19432202 | 7704 | 20290546 | 6529 | 459590 | 119 | 14352 | 2870.4 | 84637 | 113 | 885.92 | 36570 | 20 | 21308 | 20 | 40 | 53979 | 40 | 42.228 | 683.2854 | 69007 | 32 | 9099.04 | 3131.8896 | 4384.9184 | 7516.808 | 6708650 | 11033 | 93.33% | 428 | 13641966 | 5780 | 1156 | 6322223 | 2202 | 440.4 | 143351 | 363 | 72.6 | 6701 | 12 | 94.08 | 2835 | 0 | 0 | 163 | 1 | 7.84
2024-06-07 | 19439768 | 7566 | 20296935 | 6389 | 459704 | 114 | 14069 | 2813.8 | 84739 | 102 | 799.68 | 36590 | 20 | 21328 | 20 | 40 | 54019 | 40 | 42.228 | 683.2854 | 69042 | 35 | 9952.075 | 3425.5042 | 4384.9184 | 7810.4226 | 6720398 | 11748 | 89.52% | 424 | 13647581 | 5615 | 1123 | 6324383 | 2160 | 432 | 143767 | 416 | 83.2 | 6710 | 9 | 70.56 | 2837 | 2 | 15.68 | 163 | 0 | 0
2024-06-08 | 19447196 | 7428 | 20303207 | 6272 | 459814 | 110 | 13810 | 2762 | 84835 | 96 | 752.64 | 36608 | 18 | 21346 | 18 | 36 | 54055 | 36 | 38.0052 | 636.6235 | 69075 | 33 | 9383.385 | 3229.7611 | 4384.9184 | 7614.6795 | 6731512 | 11114 | 92.7% | 446 | 13652195 | 4614 | 922.8 | 6326384 | 2001 | 400.2 | 144156 | 389 | 77.8 | 6722 | 12 | 94.08 | 2837 | 0 | 0 | 164 | 1 | 7.84
2024-06-09 | 19454794 | 7598 | 20309636 | 6429 | 459927 | 113 | 14140 | 2828 | 84945 | 110 | 862.4 | 36626 | 18 | 21365 | 19 | 37 | 54092 | 37 | 39.0609 | 648.2889 | 69112 | 37 | 10520.765 | 3621.2473 | 4384.9184 | 8006.1657 | 6743920 | 12408 | 86.98% | 367 | 13656906 | 4711 | 942.2 | 6328447 | 2063 | 412.6 | 144616 | 460 | 92 | 6732 | 10 | 78.4 | 2838 | 1 | 7.84 | 165 | 1 | 7.84
2024-06-10 | 19462513 | 7719 | 20316013 | 6377 | 460040 | 113 | 14209 | 2841.8 | 85043 | 98 | 768.32 | 36645 | 19 | 21384 | 19 | 38 | 54130 | 38 | 40.1166 | 659.9544 | 69150 | 38 | 10805.11 | 3719.1189 | 4384.9184 | 8104.0373 | 6756697 | 12777 | 85.08% | 328 | 13662630 | 5724 | 1144.8 | 6330622 | 2175 | 435 | 145085 | 469 | 93.8 | 6741 | 9 | 70.56 | 2839 | 1 | 7.84 | 166 | 1 | 7.84
2024-06-11 | 19470241 | 7728 | 20322571 | 6558 | 460153 | 113 | 14399 | 2879.8 | 85142 | 99 | 776.16 | 36663 | 18 | 21403 | 19 | 37 | 54168 | 38 | 40.1166 | 659.9544 | 69187 | 37 | 10520.765 | 3621.2473 | 4384.9184 | 8006.1657 | 6769346 | 12649 | 80% | 309 | 13668389 | 5759 | 1151.8 | 6332805 | 2183 | 436.6 | 145532 | 447 | 89.4 | 6750 | 9 | 70.56 | 2840 | 1 | 7.84 | 166 | 0 | 0
2024-06-12 | 19477952 | 7711 | 20329016 | 6445 | 460266 | 113 | 14269 | 2853.8 | 85232 | 90 | 705.6 | 36681 | 18 | 21422 | 19 | 37 | 54205 | 37 | 39.0609 | 648.2889 | 69222 | 35 | 9952.075 | 3425.5042 | 4384.9184 | 7810.4226 | 6781431 | 12085 | 73.02% | 285 | 13674054 | 5665 | 1133 | 6334968 | 2163 | 432.6 | 145950 | 418 | 83.6 | 6759 | 9 | 70.56 | 2841 | 1 | 7.84 | 167 | 1 | 7.84
2024-06-13 | 19485661 | 7709 | 20335532 | 6516 | 460372 | 106 | 14331 | 2866.2 | 85326 | 94 | 736.96 | 36701 | 20 | 21439 | 17 | 37 | 54242 | 37 | 39.0609 | 648.2889 | 69258 | 36 | 10236.42 | 3523.3758 | 4384.9184 | 7908.2942 | 6793641 | 12210 | 72.06% | 298 | 13679694 | 5640 | 1128 | 6337109 | 2141 | 428.2 | 146387 | 437 | 87.4 | 6769 | 10 | 78.4 | 2841 | 0 | 0 | 168 | 1 | 7.84
2024-06-14 | 19493268 | 7607 | 20342093 | 6561 | 460478 | 106 | 14274 | 2854.8 | 85421 | 95 | 744.8 | 36721 | 20 | 21456 | 17 | 37 | 54279 | 37 | 39.0609 | 648.2889 | 69294 | 36 | 10236.42 | 3523.3758 | 4384.9184 | 7908.2942 | 6805793 | 12152 | 71.43% | 350 | 13685122 | 5428 | 1085.6 | 6339196 | 2087 | 417.4 | 146823 | 436 | 87.2 | 6778 | 9 | 70.56 | 2843 | 2 | 15.68 | 169 | 1 | 7.84
2024-06-15 | 19500872 | 7604 | 20348622 | 6529 | 460583 | 105 | 14238 | 2847.6 | 85505 | 84 | 658.56 | 36741 | 20 | 21473 | 17 | 37 | 54317 | 38 | 40.1166 | 659.9544 | 69326 | 32 | 9099.04 | 3131.8896 | 4384.9184 | 7516.808 | 6816518 | 10725 | 54.29% | 264 | 13689650 | 4528 | 905.6 | 6341186 | 1990 | 398 | 147196 | 373 | 74.6 | 6787 | 9 | 70.56 | 2844 | 1 | 7.84 | 169 | 0 | 0
2024-06-16 | 19508340 | 7468 | 20355196 | 6574 | 460687 | 104 | 14146 | 2829.2 | 85598 | 93 | 729.12 | 36759 | 18 | 21492 | 19 | 37 | 54353 | 36 | 38.0052 | 636.6235 | 69360 | 34 | 9667.73 | 3327.6327 | 4384.9184 | 7712.5511 | 6828027 | 11509 | 67.3% | 348 | 13694116 | 4466 | 893.2 | 6343163 | 1977 | 395.4 | 147623 | 427 | 85.4 | 6796 | 9 | 70.56 | 2849 | 5 | 39.2 | 170 | 1 | 7.84
2024-06-17 | 19515836 | 7496 | 20362006 | 6810 | 460785 | 98 | 14404 | 2880.8 | 85696 | 98 | 768.32 | 36776 | 17 | 21511 | 19 | 36 | 54389 | 36 | 38.0052 | 636.6235 | 69399 | 39 | 11089.455 | 3816.9904 | 4384.9184 | 8201.9088 | 6841011 | 12984 | 82.22% | 420 | 13698615 | 4499 | 899.8 | 6345178 | 2015 | 403 | 148301 | 678 | 135.6 | 6806 | 10 | 78.4 | 2853 | 4 | 31.36 | 171 | 1 | 7.84
2024-06-18 | 19523425 | 7589 | 20368679 | 6673 | 460892 | 107 | 14369 | 2873.8 | 85805 | 109 | 854.56 | 36793 | 17 | 21529 | 18 | 35 | 54426 | 37 | 39.0609 | 648.2889 | 69438 | 39 | 11089.455 | 3816.9904 | 4384.9184 | 8201.9088 | 6853936 | 12925 | 80.63% | 394 | 13703154 | 4539 | 907.8 | 6347201 | 2023 | 404.6 | 148849 | 548 | 109.6 | 6815 | 9 | 70.56 | 2854 | 1 | 7.84 | 171 | 0 | 0
2024-06-19 | 19531015 | 7590 | 20375160 | 6481 | 460999 | 107 | 14178 | 2835.6 | 85909 | 104 | 815.36 | 36811 | 18 | 21548 | 19 | 37 | 54462 | 36 | 38.0052 | 636.6235 | 69477 | 39 | 11089.455 | 3816.9904 | 4384.9184 | 8201.9088 | 6867057 | 13121 | 70.79% | 321 | 13708811 | 5657 | 1131.4 | 6349358 | 2157 | 431.4 | 149441 | 592 | 118.4 | 6824 | 9 | 70.56 | 2855 | 1 | 7.84 | 172 | 1 | 7.84
2024-06-20 | 19538513 | 7498 | 20381673 | 6513 | 461104 | 105 | 14116 | 2823.2 | 85997 | 88 | 689.92 | 36828 | 17 | 21570 | 22 | 39 | 54501 | 39 | 41.1723 | 671.6199 | 69515 | 38 | 10805.11 | 3719.1189 | 4384.9184 | 8104.0373 | 6880006 | 12949 | 71.43% | 316 | 13714435 | 5624 | 1124.8 | 6351529 | 2171 | 434.2 | 149907 | 466 | 93.2 | 6833 | 9 | 70.56 | 2856 | 1 | 7.84 | 172 | 0 | 0
2024-06-21 | 19545990 | 7477 | 20388276 | 6603 | 461204 | 100 | 14180 | 2836 | 86097 | 100 | 784 | 36848 | 20 | 21590 | 20 | 40 | 54541 | 40 | 42.228 | 683.2854 | 69553 | 38 | 10805.11 | 3719.1189 | 4384.9184 | 8104.0373 | 6892791 | 12785 | 85.08% | 439 | 13720023 | 5588 | 1117.6 | 6353665 | 2136 | 427.2 | 150514 | 607 | 121.4 | 6842 | 9 | 70.56 | 2857 | 1 | 7.84 | 173 | 1 | 7.84
2024-06-22 | 19553434 | 7444 | 20394916 | 6640 | 461304 | 100 | 14184 | 2836.8 | 86206 | 109 | 854.56 | 36868 | 20 | 21610 | 20 | 40 | 54582 | 41 | 43.2837 | 694.9509 | 69596 | 43 | 12226.835 | 4208.4766 | 4384.9184 | 8593.395 | 6907022 | 14231 | 71.11% | 333 | 13724785 | 4762 | 952.4 | 6355751 | 2086 | 417.2 | 151162 | 648 | 129.6 | 6851 | 9 | 70.56 | 2859 | 2 | 15.68 | 173 | 0 | 0
2024-06-23 | 19560683 | 7249 | 20401314 | 6398 | 461405 | 101 | 13748 | 2749.6 | 86294 | 88 | 689.92 | 36886 | 18 | 21627 | 17 | 35 | 54617 | 35 | 36.9495 | 624.958 | 69636 | 40 | 11373.8 | 3914.862 | 4384.9184 | 8299.7804 | 6920454 | 13432 | 83.49% | 344 | 13729510 | 4725 | 945 | 6357767 | 2016 | 403.2 | 151779 | 617 | 123.4 | 6859 | 8 | 62.72 | 2861 | 2 | 15.68 | 174 | 1 | 7.84
2024-06-24 | 19568231 | 7548 | 20407891 | 6577 | 461505 | 100 | 14225 | 2845 | 86395 | 101 | 791.84 | 36904 | 18 | 21647 | 20 | 38 | 54655 | 38 | 40.1166 | 659.9544 | 69675 | 39 | 11089.455 | 3816.9904 | 4384.9184 | 8201.9088 | 6933814 | 13360 | 97.46% | 387 | 13735271 | 5761 | 1152.2 | 6359955 | 2188 | 437.6 | 152426 | 647 | 129.4 | 6869 | 10 | 78.4 | 2861 | 0 | 0 | 176 | 2 | 15.68
2024-06-25 | 19575883 | 7652 | 20414429 | 6538 | 461611 | 106 | 14296 | 2859.2 | 86504 | 109 | 854.56 | 36921 | 17 | 21665 | 18 | 35 | 54690 | 35 | 36.9495 | 624.958 | 69714 | 39 | 11089.455 | 3816.9904 | 4384.9184 | 8201.9088 | 6947264 | 13450 | 94.29% | 363 | 13741222 | 5951 | 1190.2 | 6362194 | 2239 | 447.8 | 152964 | 538 | 107.6 | 6876 | 7 | 54.88 | 2862 | 1 | 7.84 | 178 | 2 | 15.68
2024-06-26 | 19583371 | 7488 | 20420795 | 6366 | 461717 | 106 | 13960 | 2792 | 86598 | 94 | 736.96 | 36940 | 19 | 21685 | 20 | 39 | 54730 | 40 | 42.228 | 683.2854 | 69755 | 41 | 11658.145 | 4012.7335 | 4384.9184 | 8397.6519 | 6961128 | 13864 | 93.33% | 364 | 13747149 | 5927 | 1185.4 | 6364434 | 2240 | 448 | 153513 | 549 | 109.8 | 6886 | 10 | 78.4 | 2862 | 0 | 0 | 179 | 1 | 7.84
2024-06-27 | 19591219 | 7848 | 20428101 | 7306 | 461760 | 43 | 15197 | 3039.4 | 86718 | 120 | 940.8 | 36958 | 18 | 21702 | 17 | 35 | 54765 | 35 | 36.9495 | 624.958 | 69792 | 37 | 10520.765 | 3621.2473 | 4384.9184 | 8006.1657 | 6973784 | 12656 | 93.65% | 370 | 13751873 | 4724 | 944.8 | 6366617 | 2183 | 436.6 | 153989 | 476 | 95.2 | 6896 | 10 | 78.4 | 2863 | 1 | 7.84 | 181 | 2 | 15.68
2024-06-28 | 19599548 | 8329 | 20433561 | 5460 | 461820 | 60 | 13849 | 2769.8 | 86869 | 151 | 1183.84 | 36978 | 20 | 21718 | 16 | 36 | 54803 | 38 | 40.1166 | 659.9544 | 69835 | 43 | 12226.835 | 4208.4766 | 4384.9184 | 8593.395 | 6988405 | 14621 | 96.83% | 449 | 13757605 | 5732 | 1146.4 | 6368858 | 2241 | 448.2 | 154501 | 512 | 102.4 | 6908 | 12 | 94.08 | 2865 | 2 | 15.68 | 182 | 1 | 7.84
2024-06-29 | 19606934 | 7386 | 20439818 | 6257 | 461871 | 51 | 13694 | 2738.8 | 86973 | 104 | 815.36 | 36998 | 20 | 21733 | 15 | 35 | 54837 | 34 | 35.8938 | 613.2925 | 69876 | 41 | 11658.145 | 4012.7335 | 4384.9184 | 8397.6519 | 7002137 | 13732 | 84.44% | 393 | 13762316 | 4711 | 942.2 | 6370928 | 2070 | 414 | 155135 | 634 | 126.8 | 6918 | 10 | 78.4 | 2866 | 1 | 7.84 | 182 | 0 | 0
2024-06-30 | 19614413 | 7479 | 20446356 | 6538 | 461929 | 58 | 14075 | 2815 | 87084 | 111 | 870.24 | 37016 | 18 | 21747 | 14 | 32 | 54869 | 32 | 33.7824 | 589.9615 | 69914 | 38 | 10805.11 | 3719.1189 | 4384.9184 | 8104.0373 | 7014741 | 12604 | 93.02% | 406 | 13767266 | 4950 | 990 | 6373039 | 2111 | 422.2 | 155619 | 484 | 96.8 | 6926 | 8 | 62.72 | 2868 | 2 | 15.68 | 183 | 1 | 7.84
|  | 229992 |  | 194568 |  | 3019 | 427579 | 85515.8 |  | 3054 | 23943.36 |  | 560 |  | 546 | 1106 |  | 1111 | 1172.8827 | 19460.3338 |  | 1123 | 319319.435 | 109909.7495 | 131547.5525 | 241457.302 |  | 380209 | 83.04% | 10905 |  | 158113 | 31622.6 |  | 63642 | 12728.4 |  | 14848 | 2969.6 |  | 283 | 2218.72 |  | 37 | 290.08 |  | 25 | 196
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 789285.3 | CHW Fixed Charges YTD 2024
| Actual June 2024 |  | 85515.8 |  |  | 427579 |  |  | Actual June 2024 |  | 23943.36 | 3054 |  | Actual June 2024 |  |  | 19460.3338 |  | 1172.8827 |  | Actual June 2024 |  | 241457.302 |  | 319319.435 |  |  | 16.5919 | 380209 | 60889.565 |  | 758930.52 | CHW Fixed Charges YTD 2023
| Budget June 2024 |  | 94027.5 |  |  | 470137.5 |  |  | Budget June 2024 |  | 20143.6707 | 2569.3458 |  | Budget June 2024 |  |  | 18008.2439 |  | 1041.47 |  | Budget June 2024 |  | 232006.632 |  | 291862.5276 | [6 empty] | 100459.082 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual June 2023 |  | 93055 |  |  | 465275 |  |  | Actual June 2023 |  | 20219.36 | 2579 |  | Actual June 2023 |  |  | 17896.94 |  | 1031.3973 |  | Actual June 2023 |  | 223083.3 |  | 281207.802 | [6 empty] | 96594.88 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 526580 |  |  | 2632900 |  |  | Actual YTD 2024 |  | 143009.44 | 18241 |  | Actual YTD 2024 |  |  | 110155.9738 |  | 6439.4546 |  | Actual YTD 2024 |  | 1220484.002 |  | 1252756.2523 | [6 empty] | 431198.702 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 574490.7 |  |  | 2872453.5 |  |  | Budget YTD 2024 |  | 144101.9007 | 18380.3445 |  | Budget YTD 2024 |  |  | 109114.9339 |  | 6345.2429 |  | Budget YTD 2024 |  | 1197324.402 |  | 1185470.9529 | [6 empty] | 408039.102 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 559575.2 |  |  | 2797876 |  |  | Actual YTD 2023 |  | 127721.44 | 16291 |  | Actual YTD 2023 |  |  | 99596.79 |  | 5483.8724 |  | Actual YTD 2023 |  | 1142895.28 |  | 1117801.3392 | [6 empty] | 383964.76 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-06-01 | 2024-08-05 | 30
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 94027.5 |  | Electricity |  |  | 3134.25 |  | Electricity |  |  | 2850.5267 |  | Electricity |  |  |  | 94027.5 |  |  | Electricity |  | 85515.8 |  | 8511.7 | Electricity |  | 574490.7 |  | Electricity |  | 526580 | 47910.7 | -47910.7
Water | 20143.6707 |  | Water |  |  | 671.4557 |  | Water |  |  | 798.112 |  | Water |  |  |  | 20143.6707 |  |  | Water |  | 23943.36 |  | -3799.6893 | Water |  | 139209.7507 |  | Water |  | 143009.44 | -3799.6893 | 3799.6893
Gas | 18008.2439 |  | Gas |  |  | 600.2748 |  | Gas |  |  | 648.6778 |  | Gas |  |  |  | 18008.2439 |  |  | Gas |  | 19460.3338 |  | -1452.0899 | Gas |  | 109114.9439 |  | Gas |  | 110155.9738 | -1041.0299 | 1041.0299
Chilled Water | 232006.632 |  | Chilled Water |  |  | 7733.5544 |  | Chilled Water |  |  | 8048.5767 |  | Chilled Water |  |  |  | 232006.632 |  |  | Chilled Water |  | 241457.302 |  | -9450.67 | Chilled Water |  | 1197324.402 |  | Chilled Water |  | 1220484.002 | -23159.6 | 23159.6
| 364186.0466 | [15 empty] | 364186.0466 |  |  |  |  | 370376.7959 |  | -6190.7492 |  | Total Energy cost | 2020139.7966 |  |  |  | 2000229.4159 | 19910.3808
| -6190.7492 | [21 empty] | -1.7% | [7 empty] | 0.9856%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 93055 |  | Electricity |  |  | 3101.8333 |  | Electricity |  |  | 93055 |  | Electricity |  |  |  | 85515.8 |  |  | Electricity |  | 7539.2 |  |  | 85515.8 | 526580 |  |  | 7539.2 | 32995.2
Water | 20219.36 |  | Water |  |  | 673.9787 |  | Water |  |  | 20219.36 |  | Water |  |  |  | 23943.36 |  |  | Water |  | -3724 |  |  | 23943.36 | 143009.44 |  |  | -3724 | -15288
Gas | 17896.94 |  | Gas |  |  | 596.5647 |  | Gas |  |  | 17896.94 |  | Gas |  |  |  | 19460.3338 |  |  | Gas |  | -1563.3938 |  |  | 19460.3338 | 110155.9738 |  |  | -1563.3938 | -10559.1838
Chilled Water | 223083.3 |  | Chilled Water |  |  | 7436.11 |  | Chilled Water |  |  | 223083.3 |  | Chilled Water |  |  |  | 241457.302 |  |  | Chilled Water |  | -18374.002 |  |  | 241457.302 | 1220484.002 |  |  | -18374.002 | -102682.6629
| 354254.6 | [9 empty] | 354254.6 | [5 empty] | 370376.7959 |  |  |  |  | -16122.1959 |  |  | 370376.7959 | 2000229.4159 |  |  | -16122.1959 | -95534.6467
| -16122.1959 | [21 empty] | -4.551%