## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 9 | 2024 | 14422 | 0.2 | 35.8938 | 16.362 | 97 | 7.84 | 12795.525 | 0.3449 | 269.01 | 346
Pearl Rotana Capital Centre | 2 | 9 | 2024 | 14380 | 0.2 | 40.1166 | 16.362 | 89 | 7.84 | 12226.835 | 0.3449 | 302.9985 | 386
Pearl Rotana Capital Centre | 3 | 9 | 2024 | 14418 | 0.2 | 34.8381 | 16.362 | 95 | 7.84 | 11658.145 | 0.3449 | 297.0135 | 370
Pearl Rotana Capital Centre | 4 | 9 | 2024 | 14427 | 0.2 | 34.8381 | 16.362 | 108 | 7.84 | 11942.49 | 0.3449 | 284.004 | 348
Pearl Rotana Capital Centre | 5 | 9 | 2024 | 14331 | 0.2 | 35.8938 | 16.362 | 97 | 7.84 | 11658.145 | 0.3449 | 288.0045 | 360
Pearl Rotana Capital Centre | 6 | 9 | 2024 | 14117 | 0.2 | 40.1166 | 16.362 | 99 | 7.84 | 11658.145 | 0.3449 | 268.002 | 361
Pearl Rotana Capital Centre | 7 | 9 | 2024 | 14243 | 0.2 | 40.1166 | 16.362 | 94 | 7.84 | 11658.145 | 0.3449 | 239.9985 | 313
Pearl Rotana Capital Centre | 8 | 9 | 2024 | 13890 | 0.2 | 31.671 | 16.362 | 83 | 7.84 | 11942.49 | 0.3449 | 274.995 | 335
Pearl Rotana Capital Centre | 9 | 9 | 2024 | 14208 | 0.2 | 41.1723 | 16.362 | 102 | 7.84 | 11942.49 | 0.3449 | 253.008 | 293
Pearl Rotana Capital Centre | 10 | 9 | 2024 | 13965 | 0.2 | 33.7824 | 16.362 | 98 | 7.84 | 12511.18 | 0.3449 | 277.9875 | 324
Pearl Rotana Capital Centre | 11 | 9 | 2024 | 13784 | 0.2 | 39.0609 | 16.362 | 102 | 7.84 | 12226.835 | 0.3449 | 269.01 | 332
Pearl Rotana Capital Centre | 12 | 9 | 2024 | 14030 | 0.2 | 38.0052 | 16.362 | 105 | 7.84 | 11942.49 | 0.3449 | 265.0095 | 344
Pearl Rotana Capital Centre | 13 | 9 | 2024 | 14088 | 0.2 | 38.0052 | 16.362 | 99 | 7.84 | 10805.11 | 0.3449 | 202.0095 | 279
Pearl Rotana Capital Centre | 14 | 9 | 2024 | 14680 | 0.2 | 35.8938 | 16.362 | 106 | 7.84 | 11658.145 | 0.3449 | 265.0095 | 364
Pearl Rotana Capital Centre | 15 | 9 | 2024 | 14481 | 0.2 | 34.8381 | 16.362 | 92 | 7.84 | 10805.11 | 0.3449 | 272.0025 | 332
Pearl Rotana Capital Centre | 16 | 9 | 2024 | 14682 | 0.2 | 34.8381 | 16.362 | 106 | 7.84 | 11089.455 | 0.3449 | 305.0145 | 347
Pearl Rotana Capital Centre | 17 | 9 | 2024 | 14196 | 0.2 | 32.7267 | 16.362 | 85 | 7.84 | 9383.385 | 0.3449 | 305.0145 | 351
Pearl Rotana Capital Centre | 18 | 9 | 2024 | 14605 | 0.2 | 38.0052 | 16.362 | 107 | 7.84 | 10805.11 | 0.3449 | 293.013 | 353
Pearl Rotana Capital Centre | 19 | 9 | 2024 | 14159 | 0.2 | 41.1723 | 16.362 | 91 | 7.84 | 10805.11 | 0.3449 | 226.0125 | 282
Pearl Rotana Capital Centre | 20 | 9 | 2024 | 14056 | 0.2 | 36.9495 | 16.362 | 81 | 7.84 | 10520.765 | 0.3449 | 164.997 | 235
Pearl Rotana Capital Centre | 21 | 9 | 2024 | 14330 | 0.2 | 39.0609 | 16.362 | 78 | 7.84 | 11089.455 | 0.3449 | 184.9995 | 259
Pearl Rotana Capital Centre | 22 | 9 | 2024 | 14339 | 0.2 | 33.7824 | 16.362 | 78 | 7.84 | 11089.455 | 0.3449 | 230.013 | 286
Pearl Rotana Capital Centre | 23 | 9 | 2024 | 14489 | 0.2 | 38.0052 | 16.362 | 99 | 7.84 | 10805.11 | 0.3449 | 289.0125 | 352
Pearl Rotana Capital Centre | 24 | 9 | 2024 | 14705 | 0.2 | 36.9495 | 16.362 | 101 | 7.84 | 11089.455 | 0.3449 | 297.0135 | 362
Pearl Rotana Capital Centre | 25 | 9 | 2024 | 14601 | 0.2 | 38.0052 | 16.362 | 94 | 7.84 | 11373.8 | 0.3449 | 277.011 | 343
Pearl Rotana Capital Centre | 26 | 9 | 2024 | 14412 | 0.2 | 36.9495 | 16.362 | 101 | 7.84 | 12226.835 | 0.3449 | 264.0015 | 344
Pearl Rotana Capital Centre | 27 | 9 | 2024 | 14758 | 0.2 | 34.8381 | 16.362 | 106 | 7.84 | 11942.49 | 0.3449 | 230.013 | 322
Pearl Rotana Capital Centre | 28 | 9 | 2024 | 14682 | 0.2 | 38.0052 | 16.362 | 91 | 7.84 | 11942.49 | 0.3449 | 250.992 | 343
Pearl Rotana Capital Centre | 29 | 9 | 2024 | 14777 | 0.2 | 34.8381 | 16.362 | 101 | 7.84 | 3177.5554 | 0.3449 | 266.994 | 338
Pearl Rotana Capital Centre | 30 | 9 | 2024 | 14633 | 0.2 | 38.0052 | 16.362 | 90 | 7.84 | 3177.5554 | 0.3449 | 269.9865 | 323

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 9 | 2024 | 7506 | 6814 | 102 | 97 | 21 | 13 | 12795.525 | 13576 | 5 | 269.01 | 346
Pearl Rotana Capital Centre | 2 | 9 | 2024 | 7584 | 6694 | 102 | 89 | 21 | 17 | 12226.835 | 14430 | 9 | 302.9985 | 386
Pearl Rotana Capital Centre | 3 | 9 | 2024 | 7469 | 6848 | 101 | 95 | 19 | 14 | 11658.145 | 14656 | 8 | 297.0135 | 370
Pearl Rotana Capital Centre | 4 | 9 | 2024 | 7505 | 6806 | 116 | 108 | 21 | 12 | 11942.49 | 14234 | 11 | 284.004 | 348
Pearl Rotana Capital Centre | 5 | 9 | 2024 | 7370 | 6846 | 115 | 97 | 22 | 12 | 11658.145 | 13918 | 8 | 288.0045 | 360
Pearl Rotana Capital Centre | 6 | 9 | 2024 | 7283 | 6718 | 116 | 99 | 23 | 13 | 11658.145 | 13865 | 8 | 268.002 | 361
Pearl Rotana Capital Centre | 7 | 9 | 2024 | 7363 | 6764 | 116 | 94 | 24 | 15 | 11658.145 | 13809 | 8 | 239.9985 | 313
Pearl Rotana Capital Centre | 8 | 9 | 2024 | 7149 | 6626 | 115 | 83 | 19 | 12 | 11942.49 | 13775 | 6 | 274.995 | 335
Pearl Rotana Capital Centre | 9 | 9 | 2024 | 7379 | 6714 | 115 | 102 | 20 | 18 | 11942.49 | 14210 | 7 | 253.008 | 293
Pearl Rotana Capital Centre | 10 | 9 | 2024 | 7312 | 6539 | 114 | 98 | 20 | 13 | 12511.18 | 15037 | 5 | 277.9875 | 324
Pearl Rotana Capital Centre | 11 | 9 | 2024 | 7086 | 6584 | 114 | 102 | 20 | 16 | 12226.835 | 14718 | 6 | 269.01 | 332
Pearl Rotana Capital Centre | 12 | 9 | 2024 | 7249 | 6667 | 114 | 105 | 22 | 15 | 11942.49 | 14177 | 8 | 265.0095 | 344
Pearl Rotana Capital Centre | 13 | 9 | 2024 | 7349 | 6624 | 115 | 99 | 22 | 14 | 10805.11 | 13219 | 7 | 202.0095 | 279
Pearl Rotana Capital Centre | 14 | 9 | 2024 | 7877 | 6692 | 111 | 106 | 23 | 12 | 11658.145 | 13645 | 6 | 265.0095 | 364
Pearl Rotana Capital Centre | 15 | 9 | 2024 | 7695 | 6670 | 116 | 92 | 20 | 12 | 10805.11 | 13032 | 10 | 272.0025 | 332
Pearl Rotana Capital Centre | 16 | 9 | 2024 | 7869 | 6696 | 117 | 106 | 19 | 14 | 11089.455 | 12832 | 12 | 305.0145 | 347
Pearl Rotana Capital Centre | 17 | 9 | 2024 | 7535 | 6548 | 113 | 85 | 20 | 11 | 9383.385 | 12242 | 10 | 305.0145 | 351
Pearl Rotana Capital Centre | 18 | 9 | 2024 | 7736 | 6753 | 116 | 107 | 21 | 16 | 10805.11 | 13162 | 12 | 293.013 | 353
Pearl Rotana Capital Centre | 19 | 9 | 2024 | 7512 | 6529 | 118 | 91 | 21 | 16 | 10805.11 | 13366 | 9 | 226.0125 | 282
Pearl Rotana Capital Centre | 20 | 9 | 2024 | 7453 | 6487 | 116 | 81 | 19 | 17 | 10520.765 | 12677 | 6 | 164.997 | 235
Pearl Rotana Capital Centre | 21 | 9 | 2024 | 7600 | 6615 | 115 | 78 | 23 | 14 | 11089.455 | 13105 | 9 | 184.9995 | 259
Pearl Rotana Capital Centre | 22 | 9 | 2024 | 7631 | 6592 | 116 | 78 | 19 | 14 | 11089.455 | 13556 | 5 | 230.013 | 286
Pearl Rotana Capital Centre | 23 | 9 | 2024 | 7813 | 6556 | 120 | 99 | 21 | 15 | 10805.11 | 12777 | 8 | 289.0125 | 352
Pearl Rotana Capital Centre | 24 | 9 | 2024 | 7864 | 6723 | 118 | 101 | 21 | 14 | 11089.455 | 13681 | 9 | 297.0135 | 362
Pearl Rotana Capital Centre | 25 | 9 | 2024 | 7774 | 6712 | 115 | 94 | 21 | 14 | 11373.8 | 14153 | 9 | 277.011 | 343
Pearl Rotana Capital Centre | 26 | 9 | 2024 | 7703 | 6593 | 116 | 101 | 22 | 13 | 12226.835 | 14688 | 9 | 264.0015 | 344
Pearl Rotana Capital Centre | 27 | 9 | 2024 | 7782 | 6861 | 115 | 106 | 20 | 14 | 11942.49 | 14739 | 10 | 230.013 | 322
Pearl Rotana Capital Centre | 28 | 9 | 2024 | 7754 | 6813 | 115 | 91 | 23 | 13 | 11942.49 | 14131 | 8 | 250.992 | 343
Pearl Rotana Capital Centre | 29 | 9 | 2024 | 7807 | 6855 | 115 | 101 | 21 | 12 | 3177.5554 | 13529 | 6 | 266.994 | 338
Pearl Rotana Capital Centre | 30 | 9 | 2024 | 7801 | 6714 | 118 | 90 | 20 | 16 | 3177.5554 | 12649 | 6 | 269.9865 | 323

## SEP 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - SEPTEMBER 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-09-01 | 20078476 | 7506 | 20863911 | 6814 | 468363 | 102 | 14422 | 2884.4 | 93931 | 97 | 760.48 | 38180 | 21 | 22639 | 13 | 34 | 56940 | 34 | 35.8938 | 613.2865 | 72593 | 45 | 12795.525 | 4413.1766 | 4560.3027 | 8973.4793 | 7948593 | 13576 | 85.4% | 346 | 14117276 | 4859 | 971.8 | 6507929 | 2066 | 413.2 | 189984 | 518 | 103.6 | 7441 | 5 | 39.2 | 3038 | 3 | 23.52 | 28 | 1 | 7.84
2024-09-02 | 20086060 | 7584 | 20870605 | 6694 | 468465 | 102 | 14380 | 2876 | 94020 | 89 | 697.76 | 38201 | 21 | 22656 | 17 | 38 | 56978 | 38 | 40.1166 | 659.9484 | 72636 | 43 | 12226.835 | 4217.0354 | 4560.3027 | 8777.3381 | 7963023 | 14430 | 96.19% | 386 | 14123069 | 5793 | 1158.6 | 6510098 | 2169 | 433.8 | 190495 | 511 | 102.2 | 7450 | 9 | 70.56 | 3039 | 1 | 7.84 | 28 | 0 | 0
2024-09-03 | 20093529 | 7469 | 20877453 | 6848 | 468566 | 101 | 14418 | 2883.6 | 94115 | 95 | 744.8 | 38220 | 19 | 22670 | 14 | 33 | 57011 | 33 | 34.8381 | 601.621 | 72677 | 41 | 11658.145 | 4020.8942 | 4560.3027 | 8581.1969 | 7977679 | 14656 | 94.29% | 370 | 14128875 | 5806 | 1161.2 | 6512248 | 2150 | 430 | 191027 | 532 | 106.4 | 7458 | 8 | 62.72 | 3039 | 0 | 0 | 29 | 1 | 7.84
2024-09-04 | 20101034 | 7505 | 20884259 | 6806 | 468682 | 116 | 14427 | 2885.4 | 94223 | 108 | 846.72 | 38241 | 21 | 22682 | 12 | 33 | 57044 | 33 | 34.8381 | 601.621 | 72719 | 42 | 11942.49 | 4118.9648 | 4560.3027 | 8679.2675 | 7991913 | 14234 | 90.16% | 348 | 14134783 | 5908 | 1181.6 | 6514452 | 2204 | 440.8 | 191552 | 525 | 105 | 7469 | 11 | 86.24 | 3040 | 1 | 7.84 | 30 | 1 | 7.84
2024-09-05 | 20108404 | 7370 | 20891105 | 6846 | 468797 | 115 | 14331 | 2866.2 | 94320 | 97 | 760.48 | 38263 | 22 | 22694 | 12 | 34 | 57078 | 34 | 35.8938 | 613.2865 | 72760 | 41 | 11658.145 | 4020.8942 | 4560.3027 | 8581.1969 | 8005831 | 13918 | 91.43% | 360 | 14140633 | 5850 | 1170 | 6516639 | 2187 | 437.4 | 192069 | 517 | 103.4 | 7477 | 8 | 62.72 | 3041 | 1 | 7.84 | 31 | 1 | 7.84
2024-09-06 | 20115687 | 7283 | 20897823 | 6718 | 468913 | 116 | 14117 | 2823.4 | 94419 | 99 | 776.16 | 38286 | 23 | 22707 | 13 | 36 | 57116 | 38 | 40.1166 | 659.9484 | 72801 | 41 | 11658.145 | 4020.8942 | 4560.3027 | 8581.1969 | 8019696 | 13865 | 85.08% | 361 | 14146208 | 5575 | 1115 | 6518800 | 2161 | 432.2 | 192561 | 492 | 98.4 | 7485 | 8 | 62.72 | 3041 | 0 | 0 | 32 | 1 | 7.84
2024-09-07 | 20123050 | 7363 | 20904587 | 6764 | 469029 | 116 | 14243 | 2848.6 | 94513 | 94 | 736.96 | 38310 | 24 | 22722 | 15 | 39 | 57154 | 38 | 40.1166 | 659.9484 | 72842 | 41 | 11658.145 | 4020.8942 | 4560.3027 | 8581.1969 | 8033505 | 13809 | 76.19% | 313 | 14150913 | 4705 | 941 | 6520859 | 2059 | 411.8 | 193037 | 476 | 95.2 | 7493 | 8 | 62.72 | 3041 | 0 | 0 | 32 | 0 | 0
2024-09-08 | 20130199 | 7149 | 20911213 | 6626 | 469144 | 115 | 13890 | 2778 | 94596 | 83 | 650.72 | 38329 | 19 | 22734 | 12 | 31 | 57184 | 30 | 31.671 | 566.6245 | 72884 | 42 | 11942.49 | 4118.9648 | 4560.3027 | 8679.2675 | 8047280 | 13775 | 87.3% | 335 | 14155653 | 4740 | 948 | 6522875 | 2016 | 403.2 | 193545 | 508 | 101.6 | 7499 | 6 | 47.04 | 3041 | 0 | 0 | 32 | 0 | 0
2024-09-09 | 20137578 | 7379 | 20917927 | 6714 | 469259 | 115 | 14208 | 2841.6 | 94698 | 102 | 799.68 | 38349 | 20 | 22752 | 18 | 38 | 57223 | 39 | 41.1723 | 671.6139 | 72926 | 42 | 11942.49 | 4118.9648 | 4560.3027 | 8679.2675 | 8061490 | 14210 | 80.32% | 293 | 14161451 | 5798 | 1159.6 | 6525110 | 2235 | 447 | 194065 | 520 | 104 | 7506 | 7 | 54.88 | 3043 | 2 | 15.68 | 32 | 0 | 0
2024-09-10 | 20144890 | 7312 | 20924466 | 6539 | 469373 | 114 | 13965 | 2793 | 94796 | 98 | 768.32 | 38369 | 20 | 22765 | 13 | 33 | 57255 | 32 | 33.7824 | 589.9555 | 72970 | 44 | 12511.18 | 4315.106 | 4560.3027 | 8875.4087 | 8076527 | 15037 | 88.25% | 324 | 14167280 | 5829 | 1165.8 | 6527307 | 2197 | 439.4 | 194580 | 515 | 103 | 7511 | 5 | 39.2 | 3044 | 1 | 7.84 | 33 | 1 | 7.84
2024-09-11 | 20151976 | 7086 | 20931050 | 6584 | 469487 | 114 | 13784 | 2756.8 | 94898 | 102 | 799.68 | 38389 | 20 | 22781 | 16 | 36 | 57292 | 37 | 39.0609 | 648.2829 | 73013 | 43 | 12226.835 | 4217.0354 | 4560.3027 | 8777.3381 | 8091245 | 14718 | 85.4% | 332 | 14173135 | 5855 | 1171 | 6529494 | 2187 | 437.4 | 195087 | 507 | 101.4 | 7517 | 6 | 47.04 | 3044 | 0 | 0 | 34 | 1 | 7.84
2024-09-12 | 20159225 | 7249 | 20937717 | 6667 | 469601 | 114 | 14030 | 2806 | 95003 | 105 | 823.2 | 38411 | 22 | 22796 | 15 | 37 | 57328 | 36 | 38.0052 | 636.6175 | 73055 | 42 | 11942.49 | 4118.9648 | 4560.3027 | 8679.2675 | 8105422 | 14177 | 84.13% | 344 | 14178986 | 5851 | 1170.2 | 6531676 | 2182 | 436.4 | 195570 | 483 | 96.6 | 7525 | 8 | 62.72 | 3045 | 1 | 7.84 | 35 | 1 | 7.84
2024-09-13 | 20166574 | 7349 | 20944341 | 6624 | 469716 | 115 | 14088 | 2817.6 | 95102 | 99 | 776.16 | 38433 | 22 | 22810 | 14 | 36 | 57364 | 36 | 38.0052 | 636.6175 | 73093 | 38 | 10805.11 | 3726.6824 | 4560.3027 | 8286.9851 | 8118641 | 13219 | 64.13% | 279 | 14184738 | 5752 | 1150.4 | 6533877 | 2201 | 440.2 | 195999 | 429 | 85.8 | 7532 | 7 | 54.88 | 3047 | 2 | 15.68 | 36 | 1 | 7.84
2024-09-14 | 20174451 | 7877 | 20951033 | 6692 | 469827 | 111 | 14680 | 2936 | 95208 | 106 | 831.04 | 38456 | 23 | 22822 | 12 | 35 | 57398 | 34 | 35.8938 | 613.2865 | 73134 | 41 | 11658.145 | 4020.8942 | 4560.3027 | 8581.1969 | 8132286 | 13645 | 84.13% | 364 | 14189512 | 4774 | 954.8 | 6536087 | 2210 | 442 | 196489 | 490 | 98 | 7538 | 6 | 47.04 | 3048 | 1 | 7.84 | 37 | 1 | 7.84
2024-09-15 | 20182146 | 7695 | 20957703 | 6670 | 469943 | 116 | 14481 | 2896.2 | 95300 | 92 | 721.28 | 38476 | 20 | 22834 | 12 | 32 | 57431 | 33 | 34.8381 | 601.621 | 73172 | 38 | 10805.11 | 3726.6824 | 4560.3027 | 8286.9851 | 8145318 | 13032 | 86.35% | 332 | 14194350 | 4838 | 967.6 | 6538034 | 1947 | 389.4 | 196954 | 465 | 93 | 7548 | 10 | 78.4 | 3048 | 0 | 0 | 37 | 0 | 0
2024-09-16 | 20190015 | 7869 | 20964399 | 6696 | 470060 | 117 | 14682 | 2936.4 | 95406 | 106 | 831.04 | 38495 | 19 | 22848 | 14 | 33 | 57464 | 33 | 34.8381 | 601.621 | 73211 | 39 | 11089.455 | 3824.753 | 4560.3027 | 8385.0557 | 8158150 | 12832 | 96.83% | 347 | 14200249 | 5899 | 1179.8 | 6540255 | 2221 | 444.2 | 197404 | 450 | 90 | 7560 | 12 | 94.08 | 3049 | 1 | 7.84 | 37 | 0 | 0
2024-09-17 | 20197550 | 7535 | 20970947 | 6548 | 470173 | 113 | 14196 | 2839.2 | 95491 | 85 | 666.4 | 38515 | 20 | 22859 | 11 | 31 | 57495 | 31 | 32.7267 | 578.29 | 73244 | 33 | 9383.385 | 3236.3295 | 4560.3027 | 7796.6322 | 8170392 | 12242 | 96.83% | 351 | 14206107 | 5858 | 1171.6 | 6542390 | 2135 | 427 | 197836 | 432 | 86.4 | 7570 | 10 | 78.4 | 3050 | 1 | 7.84 | 38 | 1 | 7.84
2024-09-18 | 20205286 | 7736 | 20977700 | 6753 | 470289 | 116 | 14605 | 2921 | 95598 | 107 | 838.88 | 38536 | 21 | 22875 | 16 | 37 | 57531 | 36 | 38.0052 | 636.6175 | 73282 | 38 | 10805.11 | 3726.6824 | 4560.3027 | 8286.9851 | 8183554 | 13162 | 93.02% | 353 | 14211995 | 5888 | 1177.6 | 6544563 | 2173 | 434.6 | 198303 | 467 | 93.4 | 7582 | 12 | 94.08 | 3050 | 0 | 0 | 38 | 0 | 0
2024-09-19 | 20212798 | 7512 | 20984229 | 6529 | 470407 | 118 | 14159 | 2831.8 | 95689 | 91 | 713.44 | 38557 | 21 | 22891 | 16 | 37 | 57570 | 39 | 41.1723 | 671.6139 | 73320 | 38 | 10805.11 | 3726.6824 | 4560.3027 | 8286.9851 | 8196920 | 13366 | 71.75% | 282 | 14217769 | 5774 | 1154.8 | 6546679 | 2116 | 423.2 | 198780 | 477 | 95.4 | 7591 | 9 | 70.56 | 3052 | 2 | 15.68 | 38 | 0 | 0
2024-09-20 | 20220251 | 7453 | 20990716 | 6487 | 470523 | 116 | 14056 | 2811.2 | 95770 | 81 | 635.04 | 38576 | 19 | 22908 | 17 | 36 | 57605 | 35 | 36.9495 | 624.952 | 73357 | 37 | 10520.765 | 3628.6118 | 4560.3027 | 8188.9145 | 8209597 | 12677 | 52.38% | 235 | 14223372 | 5603 | 1120.6 | 6548776 | 2097 | 419.4 | 199235 | 455 | 91 | 7597 | 6 | 47.04 | 3052 | 0 | 0 | 38 | 0 | 0
2024-09-21 | 20227851 | 7600 | 20997331 | 6615 | 470638 | 115 | 14330 | 2866 | 95848 | 78 | 611.52 | 38599 | 23 | 22922 | 14 | 37 | 57642 | 37 | 39.0609 | 648.2829 | 73396 | 39 | 11089.455 | 3824.753 | 4560.3027 | 8385.0557 | 8222702 | 13105 | 58.73% | 259 | 14228068 | 4696 | 939.2 | 6550728 | 1952 | 390.4 | 199704 | 469 | 93.8 | 7606 | 9 | 70.56 | 3053 | 1 | 7.84 | 39 | 1 | 7.84
2024-09-22 | 20235482 | 7631 | 21003923 | 6592 | 470754 | 116 | 14339 | 2867.8 | 95926 | 78 | 611.52 | 38618 | 19 | 22936 | 14 | 33 | 57674 | 32 | 33.7824 | 589.9555 | 73435 | 39 | 11089.455 | 3824.753 | 4560.3027 | 8385.0557 | 8236258 | 13556 | 73.02% | 286 | 14232958 | 4890 | 978 | 6552780 | 2052 | 410.4 | 200185 | 481 | 96.2 | 7611 | 5 | 39.2 | 3053 | 0 | 0 | 39 | 0 | 0
2024-09-23 | 20243295 | 7813 | 21010479 | 6556 | 470874 | 120 | 14489 | 2897.8 | 96025 | 99 | 776.16 | 38639 | 21 | 22951 | 15 | 36 | 57710 | 36 | 38.0052 | 636.6175 | 73473 | 38 | 10805.11 | 3726.6824 | 4560.3027 | 8286.9851 | 8249035 | 12777 | 91.75% | 352 | 14238782 | 5824 | 1164.8 | 6554943 | 2163 | 432.6 | 200677 | 492 | 98.4 | 7619 | 8 | 62.72 | 3053 | 0 | 0 | 40 | 1 | 7.84
2024-09-24 | 20251159 | 7864 | 21017202 | 6723 | 470992 | 118 | 14705 | 2941 | 96126 | 101 | 791.84 | 38660 | 21 | 22965 | 14 | 35 | 57745 | 35 | 36.9495 | 624.952 | 73512 | 39 | 11089.455 | 3824.753 | 4560.3027 | 8385.0557 | 8262716 | 13681 | 94.29% | 362 | 14244710 | 5928 | 1185.6 | 6557155 | 2212 | 442.4 | 201194 | 517 | 103.4 | 7628 | 9 | 70.56 | 3053 | 0 | 0 | 40 | 0 | 0
2024-09-25 | 20258933 | 7774 | 21023914 | 6712 | 471107 | 115 | 14601 | 2920.2 | 96220 | 94 | 736.96 | 38681 | 21 | 22979 | 14 | 35 | 57781 | 36 | 38.0052 | 636.6175 | 73552 | 40 | 11373.8 | 3922.8236 | 4560.3027 | 8483.1263 | 8276869 | 14153 | 87.94% | 343 | 14250599 | 5889 | 1177.8 | 6559348 | 2193 | 438.6 | 201758 | 564 | 112.8 | 7637 | 9 | 70.56 | 3054 | 1 | 7.84 | 41 | 1 | 7.84
2024-09-26 | 20266636 | 7703 | 21030507 | 6593 | 471223 | 116 | 14412 | 2882.4 | 96321 | 101 | 791.84 | 38703 | 22 | 22992 | 13 | 35 | 57816 | 35 | 36.9495 | 624.952 | 73595 | 43 | 12226.835 | 4217.0354 | 4560.3027 | 8777.3381 | 8291557 | 14688 | 83.81% | 344 | 14256438 | 5839 | 1167.8 | 6561527 | 2179 | 435.8 | 202278 | 520 | 104 | 7646 | 9 | 70.56 | 3065 | 11 | 86.24 | 41 | 0 | 0
2024-09-27 | 20274418 | 7782 | 21037368 | 6861 | 471338 | 115 | 14758 | 2951.6 | 96427 | 106 | 831.04 | 38723 | 20 | 23006 | 14 | 34 | 57849 | 33 | 34.8381 | 601.621 | 73637 | 42 | 11942.49 | 4118.9648 | 4560.3027 | 8679.2675 | 8306296 | 14739 | 73.02% | 322 | 14262115 | 5677 | 1135.4 | 6563693 | 2166 | 433.2 | 202988 | 710 | 142 | 7656 | 10 | 78.4 | 3065 | 0 | 0 | 42 | 1 | 7.84
2024-09-28 | 20282172 | 7754 | 21044181 | 6813 | 471453 | 115 | 14682 | 2936.4 | 96518 | 91 | 713.44 | 38746 | 23 | 23019 | 13 | 36 | 57885 | 36 | 38.0052 | 636.6175 | 73679 | 42 | 11942.49 | 4118.9648 | 4560.3027 | 8679.2675 | 8320427 | 14131 | 79.68% | 343 | 14266980 | 4865 | 973 | 6565797 | 2104 | 420.8 | 203674 | 686 | 137.2 | 7664 | 8 | 62.72 | 3066 | 1 | 7.84 | 42 | 0 | 0
2024-09-29 | 20289979 | 7807 | 21051036 | 6855 | 471568 | 115 | 14777 | 2955.4 | 96619 | 101 | 791.84 | 38767 | 21 | 23031 | 12 | 33 | 57918 | 33 | 34.8381 | 601.621 | 73719 | 11.175 | 3177.5554 | 1095.9388 | 4560.3027 | 5656.2415 | 8333956 | 13529 | 84.76% | 338 | 14272015 | 5035 | 1007 | 6567961 | 2164 | 432.8 | 204333 | 659 | 131.8 | 7670 | 6 | 47.04 | 3066 | 0 | 0 | 43 | 1 | 7.84
2024-09-30 | 20297780 | 7801 | 21057750 | 6714 | 471686 | 118 | 14633 | 2926.6 | 96709 | 90 | 705.6 | 38787 | 20 | 23047 | 16 | 36 | 57954 | 36 | 38.0052 | 636.6175 | 73756 | 11.175 | 3177.5554 | 1095.9388 | 4560.3027 | 5656.2415 | 8346605 | 12649 | 85.71% | 323 | 14277760 | 5745 | 1149 | 6570180 | 2219 | 443.8 | 204924 | 591 | 118.2 | 7676 | 6 | 47.04 | 3067 | 1 | 7.84 | 43 | 0 | 0
|  | 226810 |  | 200653 |  | 3425 | 430888 | 86177.6 |  | 2875 | 22540 |  | 628 |  | 421 | 1049 |  | 1048 | 1106.3736 | 18725.2283 |  | 1153.35 | 327949.3058 | 113109.7156 | 136809.0804 | 249918.796 |  | 411588 | 83.41% | 9927 |  | 165343 | 33068.6 |  | 64317 | 12863.4 |  | 15458 | 3091.6 |  | 240 | 1881.6 |  | 32 | 250.88 |  | 16 | 125.44
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 1193262.92 | CHW Fixed Charges YTD 2024
| Actual September 2024 |  | 86177.6 |  |  | 430888 |  |  | Actual September 2024 |  | 22540 | 2875 |  | Actual September 2024 |  |  | 18725.2283 |  | 1106.3736 |  | Actual September 2024 |  | 249918.796 |  | 327949.3058 |  |  |  | 411588 | 83638.6942 |  | 1147371.46 | CHW Fixed Charges YTD 2023
| Budget September 2024 |  | 94972.5 |  |  | 474862.5 |  |  | Budget September 2024 |  | 27687.1653 | 3531.5262 |  | Budget September 2024 |  |  | 19782.5097 |  | 1202.0371 |  | Budget September 2024 |  | 262173.6 |  | 378736.0104 | [6 empty] | 130626.05 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual September 2023 |  | 92328.2 |  |  | 461641 |  |  | Actual September 2023 |  | 23245.6 | 2965 |  | Actual September 2023 |  |  | 17942.37 |  | 1035.5086 |  | Actual September 2023 |  | 252358.11 |  | 365687.6525 | [6 empty] | 125869.69 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 787483.6 |  |  | 3937418 |  |  | Actual YTD 2024 |  | 218469.44 | 27866 |  | Actual YTD 2024 |  |  | 164619.0383 |  | 9603.5329 |  | Actual YTD 2024 |  | 1987393.906 |  | 2302496.3351 | [6 empty] | 794130.986 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 863005.5 |  |  | 4315027.5 |  |  | Budget YTD 2024 |  | 220311.9353 | 28101.0121 |  | Budget YTD 2024 |  |  | 164069.2297 |  | 9553.7764 |  | Budget YTD 2024 |  | 1991025.48 |  | 2313025.6886 | [6 empty] | 797762.56 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 842717 |  |  | 4213585 |  |  | Actual YTD 2023 |  | 200531.52 | 25578 |  | Actual YTD 2023 |  |  | 153311.25 |  | 8580.2036 |  | Actual YTD 2023 |  | 1901529.81 |  | 2191046.9204 | [6 empty] | 754158.35 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-09-01 | 2024-10-09 | 30
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 94972.5 |  | Electricity |  |  | 3165.75 |  | Electricity |  |  | 2872.5867 |  | Electricity |  |  |  | 94972.5 |  |  | Electricity |  | 86177.6 |  | 8794.9 | Electricity |  | 863005.5 |  | Electricity |  | 787483.6 | 75521.9 | -75521.9
Water | 27687.1653 |  | Water |  |  | 922.9055 |  | Water |  |  | 751.3333 |  | Water |  |  |  | 27687.1653 |  |  | Water |  | 22540 |  | 5147.1653 | Water |  | 220311.9353 |  | Water |  | 218469.44 | 1842.4953 | -1842.4953
Gas | 19782.5097 |  | Gas |  |  | 659.417 |  | Gas |  |  | 624.1743 |  | Gas |  |  |  | 19782.5097 |  |  | Gas |  | 18725.2283 |  | 1057.2814 | Gas |  | 164069.2297 |  | Gas |  | 164619.0383 | -549.8086 | 549.8086
Chilled Water | 262173.6 |  | Chilled Water |  |  | 8739.12 |  | Chilled Water |  |  | 8330.6265 |  | Chilled Water |  |  |  | 262173.6 |  |  | Chilled Water |  | 249918.796 |  | 12254.804 | Chilled Water |  | 1991025.48 |  | Chilled Water |  | 1987393.906 | 3631.574 | -3631.574
| 404615.775 | [15 empty] | 404615.775 |  |  |  |  | 377361.6242 |  | 27254.1507 |  | Total Energy cost | 3238412.145 |  |  |  | 3157965.9842 | 80446.1607
| 27254.1507 | [21 empty] | 6.736% | [7 empty] | 2.484%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 92328.2 |  | Electricity |  |  | 3077.6067 |  | Electricity |  |  | 92328.2 |  | Electricity |  |  |  | 86177.6 |  |  | Electricity |  | 6150.6 |  |  | 86177.6 | 787483.6 |  |  | 6150.6 | 55233.4
Water | 23245.6 |  | Water |  |  | 774.8533 |  | Water |  |  | 23245.6 |  | Water |  |  |  | 22540 |  |  | Water |  | 705.6 |  |  | 22540 | 218469.44 |  |  | 705.6 | -17937.92
Gas | 17942.37 |  | Gas |  |  | 598.079 |  | Gas |  |  | 17942.37 |  | Gas |  |  |  | 18725.2283 |  |  | Gas |  | -782.8583 |  |  | 18725.2283 | 164619.0383 |  |  | -782.8583 | -11307.7883
Chilled Water | 252358.11 |  | Chilled Water |  |  | 8411.937 |  | Chilled Water |  |  | 252358.11 |  | Chilled Water |  |  |  | 249918.796 |  |  | Chilled Water |  | 2439.314 |  |  | 249918.796 | 1987393.906 |  |  | 2439.314 | 203653.0144
| 385874.28 | [9 empty] | 385874.28 | [5 empty] | 377361.6242 |  |  |  |  | 8512.6558 |  |  | 377361.6242 | 3157965.9842 |  |  | 8512.6558 | 229640.7061
| 8512.6558 | [21 empty] | 2.206%
Note on W33: Author: Adjusted the fiqures to match P&L- Actual 40
Note on W34: Author: Adjusted the fiqures to match P&L- Actual 37