## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 10 | 2024 | 14562 | 0.2 | 31.671 | 16.76 | 87 | 7.84 | 10236.42 | 0.3449 | 250.0155 | 306
Pearl Rotana Capital Centre | 2 | 10 | 2024 | 14673 | 0.2 | 42.228 | 16.76 | 94 | 7.84 | 11089.455 | 0.3449 | 265.0095 | 339
Pearl Rotana Capital Centre | 3 | 10 | 2024 | 14732 | 0.2 | 31.671 | 16.76 | 92 | 7.84 | 11373.8 | 0.3449 | 198.9855 | 245
Pearl Rotana Capital Centre | 4 | 10 | 2024 | 14752 | 0.2 | 40.1166 | 16.76 | 79 | 7.84 | 10805.11 | 0.3449 | 175.014 | 233
Pearl Rotana Capital Centre | 5 | 10 | 2024 | 15420 | 0.2 | 34.8381 | 16.76 | 87 | 7.84 | 10520.765 | 0.3449 | 148.995 | 200
Pearl Rotana Capital Centre | 6 | 10 | 2024 | 15598 | 0.2 | 34.8381 | 16.76 | 75 | 7.84 | 9667.73 | 0.3449 | 214.9875 | 269
Pearl Rotana Capital Centre | 7 | 10 | 2024 | 14730 | 0.2 | 34.8381 | 16.76 | 83 | 7.84 | 9099.04 | 0.3449 | 277.9875 | 333
Pearl Rotana Capital Centre | 8 | 10 | 2024 | 14299 | 0.2 | 38.0052 | 16.76 | 90 | 7.84 | 8814.695 | 0.3449 | 315 | 378
Pearl Rotana Capital Centre | 9 | 10 | 2024 | 15040 | 0.2 | 36.9495 | 16.76 | 105 | 7.84 | 9383.385 | 0.3449 | 298.998 | 366
Pearl Rotana Capital Centre | 10 | 10 | 2024 | 14708 | 0.2 | 29.5596 | 16.76 | 98 | 7.84 | 9667.73 | 0.3449 | 229.005 | 295
Pearl Rotana Capital Centre | 11 | 10 | 2024 | 14095 | 0.2 | 38.0052 | 16.76 | 92 | 7.84 | 9383.385 | 0.3449 | 207.9945 | 292
Pearl Rotana Capital Centre | 12 | 10 | 2024 | 14741 | 0.2 | 34.8381 | 16.76 | 101 | 7.84 | 9099.04 | 0.3449 | 274.995 | 392
Pearl Rotana Capital Centre | 13 | 10 | 2024 | 14872 | 0.2 | 26.3925 | 16.76 | 113 | 7.84 | 8814.695 | 0.3449 | 253.008 | 326
Pearl Rotana Capital Centre | 14 | 10 | 2024 | 15218 | 0.2 | 41.1723 | 16.76 | 82 | 7.84 | 8246.005 | 0.3449 | 273.0105 | 346
Pearl Rotana Capital Centre | 15 | 10 | 2024 | 14857 | 0.2 | 40.1166 | 16.76 | 103 | 7.84 | 8814.695 | 0.3449 | 284.004 | 360
Pearl Rotana Capital Centre | 16 | 10 | 2024 | 14639 | 0.2 | 36.9495 | 16.76 | 109 | 7.84 | 9099.04 | 0.3449 | 301.014 | 380
Pearl Rotana Capital Centre | 17 | 10 | 2024 | 14319 | 0.2 | 38.0052 | 16.76 | 102 | 7.84 | 9383.385 | 0.3449 | 282.996 | 360
Pearl Rotana Capital Centre | 18 | 10 | 2024 | 14621 | 0.2 | 43.2837 | 16.76 | 111 | 7.84 | 9952.075 | 0.3449 | 280.0035 | 367
Pearl Rotana Capital Centre | 19 | 10 | 2024 | 14140 | 0.2 | 39.0609 | 16.76 | 95 | 7.84 | 10236.42 | 0.3449 | 288.0045 | 394
Pearl Rotana Capital Centre | 20 | 10 | 2024 | 14007 | 0.2 | 30.6153 | 16.76 | 114 | 7.84 | 10236.42 | 0.3449 | 250.0155 | 309
Pearl Rotana Capital Centre | 21 | 10 | 2024 | 14162 | 0.2 | 36.9495 | 16.76 | 63 | 7.84 | 10236.42 | 0.3449 | 257.0085 | 289
Pearl Rotana Capital Centre | 22 | 10 | 2024 | 14204 | 0.2 | 38.0052 | 16.76 | 98 | 7.84 | 9952.075 | 0.3449 | 315 | 371
Pearl Rotana Capital Centre | 23 | 10 | 2024 | 14417 | 0.2 | 36.9495 | 16.76 | 99 | 7.84 | 9383.385 | 0.3449 | 301.9905 | 363
Pearl Rotana Capital Centre | 24 | 10 | 2024 | 14469 | 0.2 | 35.8938 | 16.76 | 106 | 7.84 | 9383.385 | 0.3449 | 313.992 | 397
Pearl Rotana Capital Centre | 25 | 10 | 2024 | 14174 | 0.2 | 35.8938 | 16.76 | 97 | 7.84 | 9383.385 | 0.3449 | 301.9905 | 383
Pearl Rotana Capital Centre | 26 | 10 | 2024 | 14431 | 0.2 | 39.0609 | 16.76 | 104 | 7.84 | 9667.73 | 0.3449 | 309.9915 | 413
Pearl Rotana Capital Centre | 27 | 10 | 2024 | 14165 | 0.2 | 35.8938 | 16.76 | 104 | 7.84 | 8814.695 | 0.3449 | 293.013 | 379
Pearl Rotana Capital Centre | 28 | 10 | 2024 | 14618 | 0.2 | 35.8938 | 16.76 | 102 | 7.84 | 8246.005 | 0.3449 | 297.0135 | 371
Pearl Rotana Capital Centre | 29 | 10 | 2024 | 14847 | 0.2 | 36.9495 | 16.76 | 103 | 7.84 | 9099.04 | 0.3449 | 288.0045 | 359
Pearl Rotana Capital Centre | 30 | 10 | 2024 | 14837 | 0.2 | 39.0609 | 16.76 | 104 | 7.84 | 9383.385 | 0.3449 | 313.0155 | 394
Pearl Rotana Capital Centre | 31 | 10 | 2024 | 14736 | 0.2 | 35.8938 | 16.76 | 95 | 7.84 | 9099.04 | 0.3449 | 246.9915 | 311

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 10 | 2024 | 7824 | 6605 | 133 | 87 | 19 | 11 | 10236.42 | 12529 | 7 | 250.0155 | 306
Pearl Rotana Capital Centre | 2 | 10 | 2024 | 7802 | 6738 | 133 | 94 | 21 | 19 | 11089.455 | 13300 | 9 | 265.0095 | 339
Pearl Rotana Capital Centre | 3 | 10 | 2024 | 7824 | 6775 | 133 | 92 | 22 | 11 | 11373.8 | 8247 | 9 | 198.9855 | 245
Pearl Rotana Capital Centre | 4 | 10 | 2024 | 7622 | 6995 | 135 | 79 | 23 | 13 | 10805.11 | 14882 | 6 | 175.014 | 233
Pearl Rotana Capital Centre | 5 | 10 | 2024 | 7681 | 7603 | 136 | 87 | 21 | 14 | 10520.765 | 10440 | 8 | 148.995 | 200
Pearl Rotana Capital Centre | 6 | 10 | 2024 | 7901 | 7563 | 134 | 75 | 20 | 12 | 9667.73 | 11915 | 4 | 214.9875 | 269
Pearl Rotana Capital Centre | 7 | 10 | 2024 | 7644 | 6953 | 133 | 83 | 21 | 13 | 9099.04 | 11422 | 7 | 277.9875 | 333
Pearl Rotana Capital Centre | 8 | 10 | 2024 | 7575 | 6593 | 131 | 90 | 21 | 14 | 8814.695 | 11231 | 6 | 315 | 378
Pearl Rotana Capital Centre | 9 | 10 | 2024 | 7754 | 7154 | 132 | 105 | 20 | 15 | 9383.385 | 12008 | 7 | 298.998 | 366
Pearl Rotana Capital Centre | 10 | 10 | 2024 | 7658 | 6919 | 131 | 98 | 18 | 15 | 9667.73 | 12117 | 8 | 229.005 | 295
Pearl Rotana Capital Centre | 11 | 10 | 2024 | 7376 | 6588 | 131 | 92 | 22 | 17 | 9383.385 | 11920 | 6 | 207.9945 | 292
Pearl Rotana Capital Centre | 12 | 10 | 2024 | 7733 | 6874 | 134 | 101 | 21 | 12 | 9099.04 | 11573 | 6 | 274.995 | 392
Pearl Rotana Capital Centre | 13 | 10 | 2024 | 7818 | 6919 | 135 | 113 | 19 | 10 | 8814.695 | 11151 | 7 | 253.008 | 326
Pearl Rotana Capital Centre | 14 | 10 | 2024 | 7876 | 7209 | 133 | 82 | 21 | 19 | 8246.005 | 10358 | 7 | 273.0105 | 346
Pearl Rotana Capital Centre | 15 | 10 | 2024 | 7646 | 7078 | 133 | 103 | 24 | 14 | 8814.695 | 11203 | 9 | 284.004 | 360
Pearl Rotana Capital Centre | 16 | 10 | 2024 | 7605 | 6905 | 129 | 109 | 24 | 13 | 9099.04 | 11568 | 7 | 301.014 | 380
Pearl Rotana Capital Centre | 17 | 10 | 2024 | 7513 | 6673 | 133 | 102 | 20 | 15 | 9383.385 | 11804 | 9 | 282.996 | 360
Pearl Rotana Capital Centre | 18 | 10 | 2024 | 7664 | 6828 | 129 | 111 | 25 | 16 | 9952.075 | 12599 | 7 | 280.0035 | 367
Pearl Rotana Capital Centre | 19 | 10 | 2024 | 7424 | 6586 | 130 | 95 | 21 | 16 | 10236.42 | 12921 | 8 | 288.0045 | 394
Pearl Rotana Capital Centre | 20 | 10 | 2024 | 7365 | 6511 | 131 | 114 | 19 | 11 | 10236.42 | 12925 | 5 | 250.0155 | 309
Pearl Rotana Capital Centre | 21 | 10 | 2024 | 7471 | 6568 | 123 | 63 | 19 | 16 | 10236.42 | 13135 | 4 | 257.0085 | 289
Pearl Rotana Capital Centre | 22 | 10 | 2024 | 7455 | 6613 | 136 | 98 | 22 | 15 | 9952.075 | 12751 | 12 | 315 | 371
Pearl Rotana Capital Centre | 23 | 10 | 2024 | 7528 | 6751 | 138 | 99 | 21 | 15 | 9383.385 | 12178 | 9 | 301.9905 | 363
Pearl Rotana Capital Centre | 24 | 10 | 2024 | 7543 | 6787 | 139 | 106 | 18 | 15 | 9383.385 | 12117 | 8 | 313.992 | 397
Pearl Rotana Capital Centre | 25 | 10 | 2024 | 7454 | 6591 | 129 | 97 | 20 | 15 | 9383.385 | 12162 | 8 | 301.9905 | 383
Pearl Rotana Capital Centre | 26 | 10 | 2024 | 7510 | 6783 | 138 | 104 | 23 | 15 | 9667.73 | 11930 | 11 | 309.9915 | 413
Pearl Rotana Capital Centre | 27 | 10 | 2024 | 7434 | 6594 | 137 | 104 | 21 | 13 | 8814.695 | 11079 | 9 | 293.013 | 379
Pearl Rotana Capital Centre | 28 | 10 | 2024 | 7686 | 6789 | 143 | 102 | 21 | 13 | 8246.005 | 10704 | 8 | 297.0135 | 371
Pearl Rotana Capital Centre | 29 | 10 | 2024 | 7725 | 6982 | 140 | 103 | 22 | 13 | 9099.04 | 10318 | 7 | 288.0045 | 359
Pearl Rotana Capital Centre | 30 | 10 | 2024 | 7656 | 7046 | 135 | 104 | 23 | 15 | 9383.385 | 10494 | 7 | 313.0155 | 394
Pearl Rotana Capital Centre | 31 | 10 | 2024 | 7758 | 6840 | 138 | 95 | 19 | 15 | 9099.04 | 10378 | 6 | 246.9915 | 311

## OCT 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - OCTOBER 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Bulk Meter Reading | ETS Cons. Ton Hours | Hotel Occupancy % | Adl. & Chl. | Blue Sky tower Chilled water |  | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. MWH | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-10-01 | 20305604 | 7824 | 21064355 | 6605 | 471819 | 133 | 14562 | 2912.4 | 96796 | 87 | 682.08 | 38806 | 19 | 23058 | 11 | 30 | 57984 | 30 | 31.671 | 559.6416 | 73792 | 36 | 10236.42 | 3530.5413 | 4413.1961 | 7943.7374 | 8359134 | 12529 | 79.37% | 306 |  |  | 14283502 | 5742 | 1148.4 | 6572403 | 2223 | 444.6 | 205471 | 547 | 109.4 | 7683 | 7 | 54.88 | 3068 | 1 | 7.84 | 44 | 1 | 7.84
2024-10-02 | 20313406 | 7802 | 21071093 | 6738 | 471952 | 133 | 14673 | 2934.6 | 96890 | 94 | 736.96 | 38827 | 21 | 23077 | 19 | 40 | 58024 | 40 | 42.228 | 676.2964 | 73831 | 39 | 11089.455 | 3824.753 | 4413.1961 | 8237.9492 | 8372434 | 13300 | 84.13% | 339 |  |  | 14289258 | 5756 | 1151.2 | 6574602 | 2199 | 439.8 | 206101 | 630 | 126 | 7692 | 9 | 70.56 | 3068 | 0 | 0 | 44 | 0 | 0
2024-10-03 | 20321230 | 7824 | 21077868 | 6775 | 472085 | 133 | 14732 | 2946.4 | 96982 | 92 | 721.28 | 38849 | 22 | 23088 | 11 | 33 | 58054 | 30 | 31.671 | 559.6416 | 73871 | 40 | 11373.8 | 3922.8236 | 4413.1961 | 8336.0198 | 8380681 | 8247 | 63.17% | 245 |  |  | 14295014 | 5756 | 1151.2 | 6576796 | 2194 | 438.8 | 206746 | 645 | 129 | 7701 | 9 | 70.56 | 3068 | 0 | 0 | 45 | 1 | 7.84
2024-10-04 | 20328852 | 7622 | 21084863 | 6995 | 472220 | 135 | 14752 | 2950.4 | 97061 | 79 | 619.36 | 38872 | 23 | 23101 | 13 | 36 | 58092 | 38 | 40.1166 | 652.9654 | 73909 | 38 | 10805.11 | 3726.6824 | 4413.1961 | 8139.8786 | 14882 | 14882 | 55.56% | 233 |  |  | 14300649 | 5635 | 1127 | 6578947 | 2151 | 430.2 | 207657 | 911 | 182.2 | 7707 | 6 | 47.04 | 3071 | 3 | 23.52 | 45 | 0 | 0
2024-10-05 | 20336533 | 7681 | 21092466 | 7603 | 472356 | 136 | 15420 | 3084 | 97148 | 87 | 682.08 | 38893 | 21 | 23115 | 14 | 35 | 58125 | 33 | 34.8381 | 594.638 | 73946 | 37 | 10520.765 | 3628.6118 | 4413.1961 | 8041.808 | 25322 | 10440 | 47.3% | 200 |  |  | 14305379 | 4730 | 946 | 6580966 | 2019 | 403.8 | 208940 | 1283 | 256.6 | 7715 | 8 | 62.72 | 3071 | 0 | 0 | 46 | 1 | 7.84
2024-10-06 | 20344434 | 7901 | 21100029 | 7563 | 472490 | 134 | 15598 | 3119.6 | 97223 | 75 | 588 | 38913 | 20 | 23127 | 12 | 32 | 58158 | 33 | 34.8381 | 594.638 | 73980 | 34 | 9667.73 | 3334.4001 | 4413.1961 | 7747.5962 | 37237 | 11915 | 68.25% | 269 |  |  | 14310185 | 4806 | 961.2 | 6583032 | 2066 | 413.2 | 210264 | 1324 | 264.8 | 7719 | 4 | 31.36 | 3072 | 1 | 7.84 | 47 | 1 | 7.84
2024-10-07 | 20352078 | 7644 | 21106982 | 6953 | 472623 | 133 | 14730 | 2946 | 97306 | 83 | 650.72 | 38934 | 21 | 23140 | 13 | 34 | 58191 | 33 | 34.8381 | 594.638 | 74021 | 32 | 9099.04 | 3138.2589 | 4413.1961 | 7551.455 | 48659 | 11422 | 88.25% | 333 |  |  | 14315821 | 5636 | 1127.2 | 6585202 | 2170 | 434 | 211160 | 896 | 179.2 | 7726 | 7 | 54.88 | 3073 | 1 | 7.84 | 48 | 1 | 7.84
2024-10-08 | 20359653 | 7575 | 21113575 | 6593 | 472754 | 131 | 14299 | 2859.8 | 97396 | 90 | 705.6 | 38955 | 21 | 23154 | 14 | 35 | 58227 | 36 | 38.0052 | 629.6345 | 74079 | 31 | 8814.695 | 3040.1883 | 4413.1961 | 7453.3844 | 59890 | 11231 | 100% | 378 |  |  | 14321493 | 5672 | 1134.4 | 6587389 | 2187 | 437.4 | 211766 | 606 | 121.2 | 7732 | 6 | 47.04 | 3073 | 0 | 0 | 48 | 0 | 0
2024-10-09 | 20367407 | 7754 | 21120729 | 7154 | 472886 | 132 | 15040 | 3008 | 97501 | 105 | 823.2 | 38975 | 20 | 23169 | 15 | 35 | 58262 | 35 | 36.9495 | 617.969 | 74140 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 71898 | 12008 | 94.92% | 366 |  |  | 14327313 | 5820 | 1164 | 6589619 | 2230 | 446 | 212504 | 738 | 147.6 | 7739 | 7 | 54.88 | 3074 | 1 | 7.84 | 49 | 1 | 7.84
2024-10-10 | 20375065 | 7658 | 21127648 | 6919 | 473017 | 131 | 14708 | 2941.6 | 97599 | 98 | 768.32 | 38993 | 18 | 23184 | 15 | 33 | 58290 | 28 | 29.5596 | 536.3106 | 74200 | 34 | 9667.73 | 3334.4001 | 4413.1961 | 7747.5962 | 84015 | 12117 | 72.7% | 295 |  |  | 14333099 | 5786 | 1157.2 | 6591843 | 2224 | 444.8 | 213172 | 668 | 133.6 | 7747 | 8 | 62.72 | 3074 | 0 | 0 | 50 | 1 | 7.84
2024-10-11 | 20382441 | 7376 | 21134236 | 6588 | 473148 | 131 | 14095 | 2819 | 97691 | 92 | 721.28 | 39015 | 22 | 23201 | 17 | 39 | 58326 | 36 | 38.0052 | 629.6345 | 74261 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 95935 | 11920 | 66.03% | 292 |  |  | 14338588 | 5489 | 1097.8 | 6593955 | 2112 | 422.4 | 213755 | 583 | 116.6 | 7753 | 6 | 47.04 | 3077 | 3 | 23.52 | 51 | 1 | 7.84
2024-10-12 | 20390174 | 7733 | 21141110 | 6874 | 473282 | 134 | 14741 | 2948.2 | 97792 | 101 | 791.84 | 39036 | 21 | 23213 | 12 | 33 | 58359 | 33 | 34.8381 | 594.638 | 74319 | 32 | 9099.04 | 3138.2589 | 4413.1961 | 7551.455 | 107508 | 11573 | 87.3% | 392 |  |  | 14343366 | 4778 | 955.6 | 6596014 | 2059 | 411.8 | 214327 | 572 | 114.4 | 7759 | 6 | 47.04 | 3077 | 0 | 0 | 52 | 1 | 7.84
2024-10-13 | 20397992 | 7818 | 21148029 | 6919 | 473417 | 135 | 14872 | 2974.4 | 97905 | 113 | 885.92 | 39055 | 19 | 23223 | 10 | 29 | 58384 | 25 | 26.3925 | 501.3141 | 74375 | 31 | 8814.695 | 3040.1883 | 4413.1961 | 7453.3844 | 118659 | 11151 | 80.32% | 326 |  |  | 14348199 | 4833 | 966.6 | 6598128 | 2114 | 422.8 | 214847 | 520 | 104 | 7766 | 7 | 54.88 | 3078 | 1 | 7.84 | 53 | 1 | 7.84
2024-10-14 | 20405868 | 7876 | 21155238 | 7209 | 473550 | 133 | 15218 | 3043.6 | 97987 | 82 | 642.88 | 39076 | 21 | 23242 | 19 | 40 | 58423 | 39 | 41.1723 | 664.6309 | 74433 | 29 | 8246.005 | 2844.0471 | 4413.1961 | 7257.2433 | 129017 | 10358 | 86.67% | 346 |  |  | 14354156 | 5957 | 1191.4 | 6600396 | 2268 | 453.6 | 215447 | 600 | 120 | 7773 | 7 | 54.88 | 3079 | 1 | 7.84 | 54 | 1 | 7.84
2024-10-15 | 20413514 | 7646 | 21162316 | 7078 | 473683 | 133 | 14857 | 2971.4 | 98090 | 103 | 807.52 | 39100 | 24 | 23256 | 14 | 38 | 58461 | 38 | 40.1166 | 652.9654 | 74484 | 31 | 8814.695 | 3040.1883 | 4413.1961 | 7453.3844 | 140220 | 11203 | 90.16% | 360 | 20148 |  | 14359950 | 5794 | 1158.8 | 6602612 | 2216 | 443.2 | 216019 | 572 | 114.4 | 7782 | 9 | 70.56 | 3080 | 1 | 7.84 | 54 | 0 | 0
2024-10-16 | 20421119 | 7605 | 21169221 | 6905 | 473812 | 129 | 14639 | 2927.8 | 98199 | 109 | 854.56 | 39124 | 24 | 23269 | 13 | 37 | 58496 | 35 | 36.9495 | 617.969 | 74529 | 32 | 9099.04 | 3138.2589 | 4413.1961 | 7551.455 | 151788 | 11568 | 95.56% | 380 | 20154 | 6 | 14365655 | 5705 | 1141 | 6604836 | 2224 | 444.8 | 216520 | 501 | 100.2 | 7789 | 7 | 54.88 | 3081 | 1 | 7.84 | 56 | 2 | 15.68
2024-10-17 | 20428632 | 7513 | 21175894 | 6673 | 473945 | 133 | 14319 | 2863.8 | 98301 | 102 | 799.68 | 39144 | 20 | 23284 | 15 | 35 | 58532 | 36 | 38.0052 | 629.6345 | 74576 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 163592 | 11804 | 89.84% | 360 | 20163 | 9 | 14371280 | 5625 | 1125 | 6607002 | 2166 | 433.2 | 216984 | 464 | 92.8 | 7798 | 9 | 70.56 | 3081 | 0 | 0 | 57 | 1 | 7.84
2024-10-18 | 20436296 | 7664 | 21182722 | 6828 | 474074 | 129 | 14621 | 2924.2 | 98412 | 111 | 870.24 | 39169 | 25 | 23300 | 16 | 41 | 58573 | 41 | 43.2837 | 687.9619 | 74626 | 35 | 9952.075 | 3432.4707 | 4413.1961 | 7845.6668 | 176191 | 12599 | 88.89% | 367 | 20172 | 9 | 14376825 | 5545 | 1109 | 6609235 | 2233 | 446.6 | 217487 | 503 | 100.6 | 7805 | 7 | 54.88 | 3081 | 0 | 0 | 58 | 1 | 7.84
2024-10-19 | 20443720 | 7424 | 21189308 | 6586 | 474204 | 130 | 14140 | 2828 | 98507 | 95 | 744.8 | 39190 | 21 | 23316 | 16 | 37 | 58610 | 37 | 39.0609 | 641.2999 | 74685 | 36 | 10236.42 | 3530.5413 | 4413.1961 | 7943.7374 | 189112 | 12921 | 91.43% | 394 | 20181 | 9 | 14381479 | 4654 | 930.8 | 6611305 | 2070 | 414 | 217937 | 450 | 90 | 7813 | 8 | 62.72 | 3082 | 1 | 7.84 | 59 | 1 | 7.84
2024-10-20 | 20451085 | 7365 | 21195819 | 6511 | 474335 | 131 | 14007 | 2801.4 | 98621 | 114 | 893.76 | 39209 | 19 | 23327 | 11 | 30 | 58639 | 29 | 30.6153 | 547.9761 | 74742 | 36 | 10236.42 | 3530.5413 | 4413.1961 | 7943.7374 | 202037 | 12925 | 79.37% | 309 | 20190 | 9 | 14386215 | 4736 | 947.2 | 6613407 | 2102 | 420.4 | 218318 | 381 | 76.2 | 7818 | 5 | 39.2 | 3084 | 2 | 15.68 | 60 | 1 | 7.84
2024-10-21 | 20458556 | 7471 | 21202387 | 6568 | 474458 | 123 | 14162 | 2832.4 | 98684 | 63 | 493.92 | 39228 | 19 | 23343 | 16 | 35 | 58674 | 35 | 36.9495 | 617.969 | 74796 | 36 | 10236.42 | 3530.5413 | 4413.1961 | 7943.7374 | 215172 | 13135 | 81.59% | 289 | 20200 | 10 | 14391881 | 5666 | 1133.2 | 6615616 | 2209 | 441.8 | 218692 | 374 | 74.8 | 7822 | 4 | 31.36 | 3084 | 0 | 0 | 61 | 1 | 7.84
2024-10-22 | 20466011 | 7455 | 21209000 | 6613 | 474594 | 136 | 14204 | 2840.8 | 98782 | 98 | 768.32 | 39250 | 22 | 23358 | 15 | 37 | 58710 | 36 | 38.0052 | 629.6345 | 74849 | 35 | 9952.075 | 3432.4707 | 4413.1961 | 7845.6668 | 227923 | 12751 | 100% | 371 | 20210 | 10 | 14397635 | 5754 | 1150.8 | 6617824 | 2208 | 441.6 | 218961 | 269 | 53.8 | 7834 | 12 | 94.08 | 3085 | 1 | 7.84 | 62 | 1 | 7.84
2024-10-23 | 20473539 | 7528 | 21215751 | 6751 | 474732 | 138 | 14417 | 2883.4 | 98881 | 99 | 776.16 | 39271 | 21 | 23373 | 15 | 36 | 58745 | 35 | 36.9495 | 617.969 | 74898 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 240101 | 12178 | 95.87% | 363 | 20220 | 10 | 14403426 | 5791 | 1158.2 | 6620061 | 2237 | 447.4 | 219423 | 462 | 92.4 | 7843 | 9 | 70.56 | 3086 | 1 | 7.84 | 63 | 1 | 7.84
2024-10-24 | 20481082 | 7543 | 21222538 | 6787 | 474871 | 139 | 14469 | 2893.8 | 98987 | 106 | 831.04 | 39289 | 18 | 23388 | 15 | 33 | 58779 | 34 | 35.8938 | 606.3035 | 74943 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 252218 | 12117 | 99.68% | 397 | 20230 | 10 | 14409275 | 5849 | 1169.8 | 6622312 | 2251 | 450.2 | 219887 | 464 | 92.8 | 7851 | 8 | 62.72 | 3086 | 0 | 0 | 63 | 0 | 0
2024-10-25 | 20488536 | 7454 | 21229129 | 6591 | 475000 | 129 | 14174 | 2834.8 | 99084 | 97 | 760.48 | 39309 | 20 | 23403 | 15 | 35 | 58813 | 34 | 35.8938 | 606.3035 | 74983 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 264380 | 12162 | 95.87% | 383 | 20240 | 10 | 14414736 | 5461 | 1092.2 | 6624509 | 2197 | 439.4 | 220248 | 361 | 72.2 | 7859 | 8 | 62.72 | 3087 | 1 | 7.84 | 64 | 1 | 7.84
2024-10-26 | 20496046 | 7510 | 21235912 | 6783 | 475138 | 138 | 14431 | 2886.2 | 99188 | 104 | 815.36 | 39332 | 23 | 23418 | 15 | 38 | 58850 | 37 | 39.0609 | 641.2999 | 75020 | 34 | 9667.73 | 3334.4001 | 4413.1961 | 7747.5962 | 276310 | 11930 | 98.41% | 413 | 20248 | 8 | 14419405 | 4669 | 933.8 | 6626615 | 2106 | 421.2 | 220687 | 439 | 87.8 | 7870 | 11 | 86.24 | 3087 | 0 | 0 | 64 | 0 | 0
2024-10-27 | 20503480 | 7434 | 21242506 | 6594 | 475275 | 137 | 14165 | 2833 | 99292 | 104 | 815.36 | 39353 | 21 | 23431 | 13 | 34 | 58884 | 34 | 35.8938 | 606.3035 | 75056 | 31 | 8814.695 | 3040.1883 | 4413.1961 | 7453.3844 | 287389 | 11079 | 93.02% | 379 | 20256 | 8 | 14424101 | 4696 | 939.2 | 6628726 | 2111 | 422.2 | 221012 | 325 | 65 | 7879 | 9 | 70.56 | 3089 | 2 | 15.68 | 65 | 1 | 7.84
2024-10-28 | 20511166 | 7686 | 21249295 | 6789 | 475418 | 143 | 14618 | 2923.6 | 99394 | 102 | 799.68 | 39374 | 21 | 23444 | 13 | 34 | 58918 | 34 | 35.8938 | 606.3035 | 75090 | 29 | 8246.005 | 2844.0471 | 4413.1961 | 7257.2433 | 298093 | 10704 | 94.29% | 371 | 20265 | 9 | 14429747 | 5646 | 1129.2 | 6630955 | 2229 | 445.8 | 221311 | 299 | 59.8 | 7887 | 8 | 62.72 | 3089 | 0 | 0 | 66 | 1 | 7.84
2024-10-29 | 20518891 | 7725 | 21256277 | 6982 | 475558 | 140 | 14847 | 2969.4 | 99497 | 103 | 807.52 | 39396 | 22 | 23457 | 13 | 35 | 58953 | 35 | 36.9495 | 617.969 | 75122 | 32 | 9099.04 | 3138.2589 | 4413.1961 | 7551.455 | 308411 | 10318 | 91.43% | 359 | 20274 | 9 | 14435422 | 5675 | 1135 | 6633168 | 2213 | 442.6 | 221619 | 308 | 61.6 | 7894 | 7 | 54.88 | 3091 | 2 | 15.68 | 68 | 2 | 15.68
2024-10-30 | 20526547 | 7656 | 21263323 | 7046 | 475693 | 135 | 14837 | 2967.4 | 99601 | 104 | 815.36 | 39419 | 23 | 23472 | 15 | 38 | 58990 | 37 | 39.0609 | 641.2999 | 75155 | 33 | 9383.385 | 3236.3295 | 4413.1961 | 7649.5256 | 318905 | 10494 | 99.37% | 394 | 20282 | 8 | 14441171 | 5749 | 1149.8 | 6635411 | 2243 | 448.6 | 221927 | 308 | 61.6 | 7901 | 7 | 54.88 | 3092 | 1 | 7.84 | 69 | 1 | 7.84
2024-10-31 | 20534305 | 7758 | 21270163 | 6840 | 475831 | 138 | 14736 | 2947.2 | 99696 | 95 | 744.8 | 39438 | 19 | 23487 | 15 | 34 | 59024 | 34 | 35.8938 | 606.3035 | 75187 | 32 | 9099.04 | 3138.2589 | 4413.1961 | 7551.455 | 329283 | 10378 | 78.41% | 311 | 20291 | 9 | 14446856 | 5685 | 1137 | 6637643 | 2232 | 446.4 | 222296 | 369 | 73.8 | 7907 | 6 | 47.04 | 3092 | 0 | 0 | 70 | 1 | 7.84
|  | 236525 |  | 212413 |  | 4145 | 453083 | 90616.6 |  | 2987 | 23418.08 |  | 651 |  | 440 | 1091 |  | 1070 | 1129.599 | 18982.0559 |  | 1043 | 296571.835 | 102287.6259 | 136809.0804 | 239096.7063 |  | 363359 | 85.07% | 10520 |  | 143 |  | 169096 | 33819.2 |  | 67463 | 13492.6 |  | 17372 | 3474.4 |  | 231 | 1811.04 |  | 25 | 196 |  | 27 | 211.68
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 1330072 | CHW Fixed Charges YTD 2024
| Actual October 2024 |  | 90616.6 |  |  | 453083 |  |  | Actual October 2024 |  | 23418.08 | 2987 |  | Actual October 2024 |  |  | 18982.0559 |  | 1129.599 |  | Actual October 2024 |  | 239096.7063 |  | 296571.835 |  |  |  | 363359 | 66787.165 |  | 1278919.01 | CHW Fixed Charges YTD 2023
| Budget October 2024 |  | 98138.25 |  |  | 490691.25 |  |  | Budget October 2024 |  | 26702.4504 | 3405.9248 |  | Budget October 2024 |  |  | 21382.7313 |  | 1346.8535 |  | Budget October 2024 |  | 243486.88 |  | 324555.9003 | [6 empty] | 111939.33 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual October 2023 |  | 94810.2 |  |  | 474051 |  |  | Actual October 2023 |  | 22430.24 | 2861 |  | Actual October 2023 |  |  | 18185.52 |  | 1057.5131 |  | Actual October 2023 |  | 236614.51 |  | 319947.9663 | [6 empty] | 110126.09 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 878100.2 |  |  | 4390501 |  |  | Actual YTD 2024 |  | 241887.52 | 30853 |  | Actual YTD 2024 |  |  | 183004.8859 |  | 10679.1752 |  | Actual YTD 2024 |  | 2226491.1563 |  | 2599069.7486 | [6 empty] | 896419.1563 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 961143.75 |  |  | 4805718.75 |  |  | Budget YTD 2024 |  | 247014.3804 | 31506.9363 |  | Budget YTD 2024 |  |  | 185451.9613 |  | 10900.63 |  | Budget YTD 2024 |  | 2234512.36 |  | 2622326.3555 | [6 empty] | 904440.36 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 937527.2 |  |  | 4687636 |  |  | Actual YTD 2023 |  | 222961.76 | 28439 |  | Actual YTD 2023 |  |  | 171496.77 |  | 9637.7167 |  | Actual YTD 2023 |  | 2138144.32 |  | 2496296.6589 | [6 empty] | 859225.31 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-10-01 | 2024-11-01 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 98138.25 |  | Electricity |  |  | 3165.75 |  | Electricity |  |  | 2923.1161 |  | Electricity |  |  |  | 98138.25 |  |  | Electricity |  | 90616.6 |  | 7521.65 | Electricity |  | 961143.75 |  | Electricity |  | 878100.2 | 83043.55 | -83043.55
Water | 26702.4504 |  | Water |  |  | 861.3694 |  | Water |  |  | 755.4219 |  | Water |  |  |  | 26702.4504 |  |  | Water |  | 23418.08 |  | 3284.3704 | Water |  | 247014.3804 |  | Water |  | 241887.52 | 5126.8604 | -5126.8604
Gas | 21382.7313 |  | Gas |  |  | 689.7655 |  | Gas |  |  | 612.3244 |  | Gas |  |  |  | 21382.7313 |  |  | Gas |  | 18982.0559 |  | 2400.6753 | Gas |  | 185451.9613 |  | Gas |  | 183004.8859 | 2447.0753 | -2447.0753
Chilled Water | 243486.88 |  | Chilled Water |  |  | 7854.4155 |  | Chilled Water |  |  | 7712.797 |  | Chilled Water |  |  |  | 243486.88 |  |  | Chilled Water |  | 239096.7063 |  | 4390.1737 | Chilled Water |  | 2234512.36 |  | Chilled Water |  | 2226491.1563 | 8021.2037 | -8021.2037
| 389710.3117 | [15 empty] | 389710.3117 |  |  |  |  | 372113.4423 |  | 17596.8694 |  | Total Energy cost | 3628122.4517 |  |  |  | 3529483.7623 | 98638.6894
| 17596.8694 | [21 empty] | 4.515% | [7 empty] | 2.719%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 94810.2 |  | Electricity |  |  | 3058.3935 |  | Electricity |  |  | 94810.2 |  | Electricity |  |  |  | 90616.6 |  |  | Electricity |  | 4193.6 |  |  | 90616.6 | 878100.2 |  |  | 4193.6 | 59427
Water | 22430.24 |  | Water |  |  | 723.5561 |  | Water |  |  | 22430.24 |  | Water |  |  |  | 23418.08 |  |  | Water |  | -987.84 |  |  | 23418.08 | 241887.52 |  |  | -987.84 | -18925.76
Gas | 18185.52 |  | Gas |  |  | 586.6297 |  | Gas |  |  | 18185.52 |  | Gas |  |  |  | 18982.0559 |  |  | Gas |  | -796.5359 |  |  | 18982.0559 | 183004.8859 |  |  | -796.5359 | -11508.1159
Chilled Water | 236614.51 |  | Chilled Water |  |  | 7632.7261 |  | Chilled Water |  |  | 236614.51 |  | Chilled Water |  |  |  | 239096.7063 |  |  | Chilled Water |  | -2482.1963 |  |  | 239096.7063 | 2226491.1563 |  |  | -2482.1963 | 269805.5026
| 372040.47 | [9 empty] | 372040.47 | [5 empty] | 372113.4423 |  |  |  |  | -72.9723 |  |  | 372113.4423 | 3529483.7623 |  |  | -72.9723 | 298798.6267
| -72.9723 | [21 empty] | -0.01961%
Note on AB8: Author: PAL Tech team- replaced the New Bulk meter in ETS Room.
Note on AF19: Author: Reading took at 11 am