## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 12 | 2024 | 15360 | 0.2 | 32.7267 | 16.76 | 112 | 7.84 | 6539.935 | 0.3449 | 265.986 | 431
Pearl Rotana Capital Centre | 2 | 12 | 2024 | 15751 | 0.2 | 34.8381 | 16.76 | 103 | 7.84 | 5971.245 | 0.3449 | 253.9845 | 348
Pearl Rotana Capital Centre | 3 | 12 | 2024 | 15311 | 0.2 | 33.7824 | 16.76 | 98 | 7.84 | 5971.245 | 0.3449 | 264.0015 | 329
Pearl Rotana Capital Centre | 4 | 12 | 2024 | 14893 | 0.2 | 33.7824 | 16.76 | 95 | 7.84 | 5971.245 | 0.3449 | 281.0115 | 331
Pearl Rotana Capital Centre | 5 | 12 | 2024 | 15089 | 0.2 | 34.8381 | 16.76 | 103 | 7.84 | 5971.245 | 0.3449 | 306.999 | 391
Pearl Rotana Capital Centre | 6 | 12 | 2024 | 15072 | 0.2 | 35.8938 | 16.76 | 88 | 7.84 | 6824.28 | 0.3449 | 305.0145 | 421
Pearl Rotana Capital Centre | 7 | 12 | 2024 | 14925 | 0.2 | 33.7824 | 16.76 | 106 | 7.84 | 6255.59 | 0.3449 | 274.995 | 378
Pearl Rotana Capital Centre | 8 | 12 | 2024 | 15251 | 0.2 | 36.9495 | 16.76 | 101 | 7.84 | 6824.28 | 0.3449 | 315 | 413
Pearl Rotana Capital Centre | 9 | 12 | 2024 | 15494 | 0.2 | 36.9495 | 16.76 | 112 | 7.84 | 5686.9 | 0.3449 | 315 | 384
Pearl Rotana Capital Centre | 10 | 12 | 2024 | 15105 | 0.2 | 36.9495 | 16.76 | 103 | 7.84 | 5971.245 | 0.3449 | 304.0065 | 378
Pearl Rotana Capital Centre | 11 | 12 | 2024 | 15173 | 0.2 | 33.7824 | 16.76 | 106 | 7.84 | 6255.59 | 0.3449 | 306.999 | 408
Pearl Rotana Capital Centre | 12 | 12 | 2024 | 15409 | 0.2 | 34.8381 | 16.76 | 94 | 7.84 | 5402.555 | 0.3449 | 258.993 | 366
Pearl Rotana Capital Centre | 13 | 12 | 2024 | 15672 | 0.2 | 35.8938 | 16.76 | 108 | 7.84 | 6539.935 | 0.3449 | 266.994 | 416
Pearl Rotana Capital Centre | 14 | 12 | 2024 | 15629 | 0.2 | 31.671 | 16.76 | 132 | 7.84 | 5686.9 | 0.3449 | 256.0005 | 407
Pearl Rotana Capital Centre | 15 | 12 | 2024 | 16006 | 0.2 | 33.7824 | 16.76 | 106 | 7.84 | 5402.555 | 0.3449 | 280.0035 | 438
Pearl Rotana Capital Centre | 16 | 12 | 2024 | 15762 | 0.2 | 31.671 | 16.76 | 112 | 7.84 | 5118.21 | 0.3449 | 297.99 | 501
Pearl Rotana Capital Centre | 17 | 12 | 2024 | 15794 | 0.2 | 35.8938 | 16.76 | 118 | 7.84 | 5118.21 | 0.3449 | 310.9995 | 495
Pearl Rotana Capital Centre | 18 | 12 | 2024 | 16180 | 0.2 | 30.6153 | 16.76 | 103 | 7.84 | 5118.21 | 0.3449 | 315 | 506
Pearl Rotana Capital Centre | 19 | 12 | 2024 | 15991 | 0.2 | 34.8381 | 16.76 | 123 | 7.84 | 5118.21 | 0.3449 | 293.013 | 474
Pearl Rotana Capital Centre | 20 | 12 | 2024 | 15783 | 0.2 | 32.7267 | 16.76 | 119 | 7.84 | 5402.555 | 0.3449 | 273.987 | 464
Pearl Rotana Capital Centre | 21 | 12 | 2024 | 15663 | 0.2 | 29.5596 | 16.76 | 103 | 7.84 | 5402.555 | 0.3449 | 191.9295 | 313
Pearl Rotana Capital Centre | 22 | 12 | 2024 | 15805 | 0.2 | 31.671 | 16.76 | 76 | 7.84 | 4833.865 | 0.3449 | 143.01 | 196
Pearl Rotana Capital Centre | 23 | 12 | 2024 | 15571 | 0.2 | 30.6153 | 16.76 | 123 | 7.84 | 4549.52 | 0.3449 | 202.0095 | 286
Pearl Rotana Capital Centre | 24 | 12 | 2024 | 15456 | 0.2 | 30.6153 | 16.76 | 116 | 7.84 | 5402.555 | 0.3449 | 262.9935 | 384
Pearl Rotana Capital Centre | 25 | 12 | 2024 | 15809 | 0.2 | 30.6153 | 16.76 | 98 | 7.84 | 5402.555 | 0.3449 | 285.9885 | 435
Pearl Rotana Capital Centre | 26 | 12 | 2024 | 15845 | 0.2 | 28.5039 | 16.76 | 119 | 7.84 | 5971.245 | 0.3449 | 296.0055 | 438
Pearl Rotana Capital Centre | 27 | 12 | 2024 | 15520 | 0.2 | 33.7824 | 16.76 | 109 | 7.84 | 5686.9 | 0.3449 | 294.9975 | 457
Pearl Rotana Capital Centre | 28 | 12 | 2024 | 15044 | 0.2 | 30.6153 | 16.76 | 118 | 7.84 | 5402.555 | 0.3449 | 285.9885 | 434
Pearl Rotana Capital Centre | 29 | 12 | 2024 | 15742 | 0.2 | 32.7267 | 16.76 | 105 | 7.84 | 5118.21 | 0.3449 | 265.986 | 414
Pearl Rotana Capital Centre | 30 | 12 | 2024 | 15040 | 0.2 | 30.6153 | 16.76 | 107 | 7.84 | 5686.9 | 0.3449 | 249.0075 | 377
Pearl Rotana Capital Centre | 31 | 12 | 2024 | 14926 | 0.2 | 32.7267 | 16.76 | 106 | 7.84 | 6539.935 | 0.3449 | 250.0155 | 386

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 12 | 2024 | 7715 | 7506 | 139 | 112 | 19 | 13 | 6539.935 | 6825 | 10 | 265.986 | 431
Pearl Rotana Capital Centre | 2 | 12 | 2024 | 7924 | 7682 | 145 | 103 | 19 | 15 | 5971.245 | 6476 | 9 | 253.9845 | 348
Pearl Rotana Capital Centre | 3 | 12 | 2024 | 7738 | 7427 | 146 | 98 | 20 | 13 | 5971.245 | 6411 | 6 | 264.0015 | 329
Pearl Rotana Capital Centre | 4 | 12 | 2024 | 7784 | 6966 | 143 | 95 | 21 | 12 | 5971.245 | 6535 | 5 | 281.0115 | 331
Pearl Rotana Capital Centre | 5 | 12 | 2024 | 7779 | 7173 | 137 | 103 | 20 | 14 | 5971.245 | 6908 | 6 | 306.999 | 391
Pearl Rotana Capital Centre | 6 | 12 | 2024 | 7634 | 7306 | 132 | 88 | 22 | 12 | 6824.28 | 7498 | 6 | 305.0145 | 421
Pearl Rotana Capital Centre | 7 | 12 | 2024 | 7579 | 7213 | 133 | 106 | 21 | 13 | 6255.59 | 7317 | 4 | 274.995 | 378
Pearl Rotana Capital Centre | 8 | 12 | 2024 | 7868 | 7241 | 142 | 101 | 20 | 16 | 6824.28 | 7088 | 8 | 315 | 413
Pearl Rotana Capital Centre | 9 | 12 | 2024 | 7931 | 7415 | 148 | 112 | 21 | 15 | 5686.9 | 6552 | 8 | 315 | 384
Pearl Rotana Capital Centre | 10 | 12 | 2024 | 7786 | 7183 | 136 | 103 | 21 | 15 | 5971.245 | 6880 | 6 | 304.0065 | 378
Pearl Rotana Capital Centre | 11 | 12 | 2024 | 7770 | 7267 | 136 | 106 | 21 | 13 | 6255.59 | 6986 | 8 | 306.999 | 408
Pearl Rotana Capital Centre | 12 | 12 | 2024 | 7794 | 7472 | 143 | 94 | 20 | 14 | 5402.555 | 6592 | 7 | 258.993 | 366
Pearl Rotana Capital Centre | 13 | 12 | 2024 | 7842 | 7690 | 140 | 108 | 20 | 14 | 6539.935 | 7213 | 9 | 266.994 | 416
Pearl Rotana Capital Centre | 14 | 12 | 2024 | 7965 | 7518 | 146 | 132 | 20 | 12 | 5686.9 | 6466 | 15 | 256.0005 | 407
Pearl Rotana Capital Centre | 15 | 12 | 2024 | 8077 | 7790 | 139 | 106 | 18 | 14 | 5402.555 | 5892 | 12 | 280.0035 | 438
Pearl Rotana Capital Centre | 16 | 12 | 2024 | 7879 | 7744 | 139 | 112 | 19 | 13 | 5118.21 | 5593 | 9 | 297.99 | 501
Pearl Rotana Capital Centre | 17 | 12 | 2024 | 7876 | 7776 | 142 | 118 | 20 | 15 | 5118.21 | 5761 | 7 | 310.9995 | 495
Pearl Rotana Capital Centre | 18 | 12 | 2024 | 8071 | 7971 | 138 | 103 | 18 | 13 | 5118.21 | 5482 | 6 | 315 | 506
Pearl Rotana Capital Centre | 19 | 12 | 2024 | 8015 | 7839 | 137 | 123 | 18 | 15 | 5118.21 | 5756 | 7 | 293.013 | 474
Pearl Rotana Capital Centre | 20 | 12 | 2024 | 7745 | 7898 | 140 | 119 | 18 | 13 | 5402.555 | 5810 | 8 | 273.987 | 464
Pearl Rotana Capital Centre | 21 | 12 | 2024 | 7857 | 7664 | 142 | 103 | 18 | 12 | 5402.555 | 5450 | 7 | 191.9295 | 313
Pearl Rotana Capital Centre | 22 | 12 | 2024 | 7937 | 7736 | 132 | 76 | 19 | 13 | 4833.865 | 4888 | 6 | 143.01 | 196
Pearl Rotana Capital Centre | 23 | 12 | 2024 | 7835 | 7617 | 119 | 123 | 16 | 13 | 4549.52 | 5060 | 6 | 202.0095 | 286
Pearl Rotana Capital Centre | 24 | 12 | 2024 | 7959 | 7367 | 130 | 116 | 18 | 13 | 5402.555 | 5763 | 5 | 262.9935 | 384
Pearl Rotana Capital Centre | 25 | 12 | 2024 | 8207 | 7463 | 139 | 98 | 18 | 12 | 5402.555 | 5846 | 5 | 285.9885 | 435
Pearl Rotana Capital Centre | 26 | 12 | 2024 | 8183 | 7531 | 131 | 119 | 17 | 11 | 5971.245 | 6250 | 6 | 296.0055 | 438
Pearl Rotana Capital Centre | 27 | 12 | 2024 | 8093 | 7293 | 134 | 109 | 20 | 12 | 5686.9 | 6253 | 7 | 294.9975 | 457
Pearl Rotana Capital Centre | 28 | 12 | 2024 | 7848 | 7056 | 140 | 118 | 20 | 10 | 5402.555 | 5445 | 8 | 285.9885 | 434
Pearl Rotana Capital Centre | 29 | 12 | 2024 | 8300 | 7300 | 142 | 105 | 19 | 13 | 5118.21 | 5602 | 7 | 265.986 | 414
Pearl Rotana Capital Centre | 30 | 12 | 2024 | 7938 | 6969 | 133 | 107 | 19 | 12 | 5686.9 | 6285 | 7 | 249.0075 | 377
Pearl Rotana Capital Centre | 31 | 12 | 2024 | 7857 | 6922 | 147 | 106 | 18 | 13 | 6539.935 | 6233 | 5 | 250.0155 | 386

## Dec 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - DECEMBER 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [8 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Bulk Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl. | Blue Sky tower Chilled water |  | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [16 empty] | Meter Reading | Cons. MWH | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-12-01 | 20773911 | 7715 | 21487112 | 7506 | 480105 | 139 | 15360 | 3072 | 102786 | 112 | 878.08 | 40083 | 19 | 23913 | 13 | 32 | 60035 | 31 | 32.7267 | 571.3 | 76113 | 23 | 6539.935 | 2255.6236 | 4413.1961 | 6668.8197 | 622083 | 6825 | 24.0025 | 84.44% | 431 | 20522 | 5 | 14611395 | 4351 | 870.2 | 6705496 | 2119 | 423.8 | 229944 | 247 | 49.4 | 8170 | 10 | 78.4 | 3123 | 1 | 7.84 | 100 | 1 | 7.84
2024-12-02 | 20781835 | 7924 | 21494794 | 7682 | 480250 | 145 | 15751 | 3150.2 | 102889 | 103 | 807.52 | 40102 | 19 | 23928 | 15 | 34 | 60068 | 33 | 34.8381 | 594.631 | 76134 | 21 | 5971.245 | 2059.4824 | 4413.1961 | 6472.6785 | 628559 | 6476 | 22.7751 | 80.63% | 348 | 20526 | 4 | 14615728 | 4333 | 866.6 | 6707647 | 2151 | 430.2 | 230131 | 187 | 37.4 | 8179 | 9 | 70.56 | 3124 | 1 | 7.84 | 101 | 1 | 7.84
2024-12-03 | 20789573 | 7738 | 21502221 | 7427 | 480396 | 146 | 15311 | 3062.2 | 102987 | 98 | 768.32 | 40122 | 20 | 23941 | 13 | 33 | 60100 | 32 | 33.7824 | 582.9655 | 76155 | 21 | 5971.245 | 2059.4824 | 4413.1961 | 6472.6785 | 634970 | 6411 | 22.5466 | 83.81% | 329 | 20530 | 4 | 14620129 | 4401 | 880.2 | 6709732 | 2085 | 417 | 230270 | 139 | 27.8 | 8185 | 6 | 47.04 | 3125 | 1 | 7.84 | 101 | 0 | 0
2024-12-04 | 20797357 | 7784 | 21509187 | 6966 | 480539 | 143 | 14893 | 2978.6 | 103082 | 95 | 744.8 | 40143 | 21 | 23953 | 12 | 33 | 60132 | 32 | 33.7824 | 582.9655 | 76176 | 21 | 5971.245 | 2059.4824 | 4413.1961 | 6472.6785 | 641505 | 6535 | 22.9826 | 89.21% | 331 | 20536 | 6 | 14625513 | 5384 | 1076.8 | 6711920 | 2188 | 437.6 | 230411 | 141 | 28.2 | 8190 | 5 | 39.2 | 3126 | 1 | 7.84 | 102 | 1 | 7.84
2024-12-05 | 20805136 | 7779 | 21516360 | 7173 | 480676 | 137 | 15089 | 3017.8 | 103185 | 103 | 807.52 | 40163 | 20 | 23967 | 14 | 34 | 60165 | 33 | 34.8381 | 594.631 | 76197 | 21 | 5971.245 | 2059.4824 | 4413.1961 | 6472.6785 | 648413 | 6908 | 24.2944 | 97.46% | 391 | 20541 | 5 | 14631066 | 5553 | 1110.6 | 6714155 | 2235 | 447 | 230581 | 170 | 34 | 8196 | 6 | 47.04 | 3127 | 1 | 7.84 | 103 | 1 | 7.84
2024-12-06 | 20812770 | 7634 | 21523666 | 7306 | 480808 | 132 | 15072 | 3014.4 | 103273 | 88 | 689.92 | 40185 | 22 | 23979 | 12 | 34 | 60199 | 34 | 35.8938 | 606.2965 | 76221 | 24 | 6824.28 | 2353.6942 | 4413.1961 | 6766.8903 | 655911 | 7498 | 26.3694 | 96.83% | 421 | 20547 | 6 | 14636549 | 5483 | 1096.6 | 6716339 | 2184 | 436.8 | 230763 | 182 | 36.4 | 8202 | 6 | 47.04 | 3128 | 1 | 7.84 | 103 | 0 | 0
2024-12-07 | 20820349 | 7579 | 21530879 | 7213 | 480941 | 133 | 14925 | 2985 | 103379 | 106 | 831.04 | 40206 | 21 | 23992 | 13 | 34 | 60231 | 32 | 33.7824 | 582.9655 | 76243 | 22 | 6255.59 | 2157.553 | 4413.1961 | 6570.7491 | 663228 | 7317 | 25.7328 | 87.3% | 378 | 20553 | 6 | 14641042 | 4493 | 898.6 | 6718374 | 2035 | 407 | 230942 | 179 | 35.8 | 8206 | 4 | 31.36 | 3129 | 1 | 7.84 | 103 | 0 | 0
2024-12-08 | 20828217 | 7868 | 21538120 | 7241 | 481083 | 142 | 15251 | 3050.2 | 103480 | 101 | 791.84 | 40226 | 20 | 24008 | 16 | 36 | 60266 | 35 | 36.9495 | 617.962 | 76267 | 24 | 6824.28 | 2353.6942 | 4413.1961 | 6766.8903 | 670316 | 7088 | 24.9275 | 100% | 413 | 20558 | 5 | 14645636 | 4594 | 918.8 | 6720508 | 2134 | 426.8 | 231123 | 181 | 36.2 | 8214 | 8 | 62.72 | 3132 | 3 | 23.52 | 104 | 1 | 7.84
2024-12-09 | 20836148 | 7931 | 21545535 | 7415 | 481231 | 148 | 15494 | 3098.8 | 103592 | 112 | 878.08 | 40247 | 21 | 24023 | 15 | 36 | 60301 | 35 | 36.9495 | 617.962 | 76287 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 676868 | 6552 | 23.0424 | 100% | 384 | 20563 | 5 | 14651223 | 5587 | 1117.4 | 6722747 | 2239 | 447.8 | 231285 | 162 | 32.4 | 8222 | 8 | 62.72 | 3133 | 1 | 7.84 | 105 | 1 | 7.84
2024-12-10 | 20843934 | 7786 | 21552718 | 7183 | 481367 | 136 | 15105 | 3021 | 103695 | 103 | 807.52 | 40268 | 21 | 24038 | 15 | 36 | 60336 | 35 | 36.9495 | 617.962 | 76308 | 21 | 5971.245 | 2059.4824 | 4413.1961 | 6472.6785 | 683748 | 6880 | 24.196 | 96.51% | 378 | 20568 | 5 | 14656843 | 5620 | 1124 | 6725000 | 2253 | 450.6 | 231449 | 164 | 32.8 | 8228 | 6 | 47.04 | 3134 | 1 | 7.84 | 106 | 1 | 7.84
2024-12-11 | 20851704 | 7770 | 21559985 | 7267 | 481503 | 136 | 15173 | 3034.6 | 103801 | 106 | 831.04 | 40289 | 21 | 24051 | 13 | 34 | 60368 | 32 | 33.7824 | 582.9655 | 76330 | 22 | 6255.59 | 2157.553 | 4413.1961 | 6570.7491 | 690734 | 6986 | 24.5687 | 97.46% | 408 | 20574 | 6 | 14662411 | 5568 | 1113.6 | 6727214 | 2214 | 442.8 | 231621 | 172 | 34.4 | 8236 | 8 | 62.72 | 3135 | 1 | 7.84 | 107 | 1 | 7.84
2024-12-12 | 20859498 | 7794 | 21567457 | 7472 | 481646 | 143 | 15409 | 3081.8 | 103895 | 94 | 736.96 | 40309 | 20 | 24065 | 14 | 34 | 60401 | 33 | 34.8381 | 594.631 | 76349 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 697326 | 6592 | 23.1831 | 82.22% | 366 | 20580 | 6 | 14668126 | 5715 | 1143 | 6729497 | 2283 | 456.6 | 231775 | 154 | 30.8 | 8243 | 7 | 54.88 | 3136 | 1 | 7.84 | 107 | 0 | 0
2024-12-13 | 20867340 | 7842 | 21575147 | 7690 | 481786 | 140 | 15672 | 3134.4 | 104003 | 108 | 846.72 | 40329 | 20 | 24079 | 14 | 34 | 60435 | 34 | 35.8938 | 606.2965 | 76372 | 23 | 6539.935 | 2255.6236 | 4413.1961 | 6668.8197 | 704539 | 7213 | 25.3671 | 84.76% | 416 | 20586 | 6 | 14673635 | 5509 | 1101.8 | 6731719 | 2222 | 444.4 | 231949 | 174 | 34.8 | 8252 | 9 | 70.56 | 3141 | 5 | 39.2 | 109 | 2 | 15.68
2024-12-14 | 20875305 | 7965 | 21582665 | 7518 | 481932 | 146 | 15629 | 3125.8 | 104135 | 132 | 1034.88 | 40349 | 20 | 24091 | 12 | 32 | 60465 | 30 | 31.671 | 559.6345 | 76392 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 711005 | 6466 | 22.74 | 81.27% | 407 | 20590 | 4 | 14678229 | 4594 | 918.8 | 6733824 | 2105 | 421 | 232107 | 158 | 31.6 | 8267 | 15 | 117.6 | 3156 | 15 | 117.6 | 109 | 0 | 0
2024-12-15 | 20883382 | 8077 | 21590455 | 7790 | 482071 | 139 | 16006 | 3201.2 | 104241 | 106 | 831.04 | 40367 | 18 | 24105 | 14 | 32 | 60497 | 32 | 33.7824 | 582.9655 | 76411 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 716897 | 5892 | 20.7213 | 88.89% | 438 | 20594 | 4 | 14682796 | 4567 | 913.4 | 6735955 | 2131 | 426.2 | 232238 | 131 | 26.2 | 8279 | 12 | 94.08 | 3165 | 9 | 70.56 | 110 | 1 | 7.84
2024-12-16 | 20891261 | 7879 | 21598199 | 7744 | 482210 | 139 | 15762 | 3152.4 | 104353 | 112 | 878.08 | 40386 | 19 | 24118 | 13 | 32 | 60527 | 30 | 31.671 | 559.6345 | 76429 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 722490 | 5593 | 19.6698 | 94.6% | 501 | 20599 | 5 | 14688254 | 5458 | 1091.6 | 6738188 | 2233 | 446.6 | 232425 | 187 | 37.4 | 8288 | 9 | 70.56 | 3168 | 3 | 23.52 | 111 | 1 | 7.84
2024-12-17 | 20899137 | 7876 | 21605975 | 7776 | 482352 | 142 | 15794 | 3158.8 | 104471 | 118 | 925.12 | 40406 | 20 | 24133 | 15 | 35 | 60561 | 34 | 35.8938 | 606.2965 | 76447 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 728251 | 5761 | 20.2606 | 98.73% | 495 | 20603 | 4 | 14693740 | 5486 | 1097.2 | 6740406 | 2218 | 443.6 | 232554 | 129 | 25.8 | 8295 | 7 | 54.88 | 3180 | 12 | 94.08 | 112 | 1 | 7.84
2024-12-18 | 20907208 | 8071 | 21613946 | 7971 | 482490 | 138 | 16180 | 3236 | 104574 | 103 | 807.52 | 40424 | 18 | 24146 | 13 | 31 | 60590 | 29 | 30.6153 | 547.9691 | 76465 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 733733 | 5482 | 19.2794 | 100% | 506 | 20608 | 5 | 14699320 | 5580 | 1116 | 6742668 | 2262 | 452.4 | 232707 | 153 | 30.6 | 8301 | 6 | 47.04 | 3188 | 8 | 62.72 | 113 | 1 | 7.84
2024-12-19 | 20915223 | 8015 | 21621785 | 7839 | 482627 | 137 | 15991 | 3198.2 | 104697 | 123 | 964.32 | 40442 | 18 | 24161 | 15 | 33 | 60623 | 33 | 34.8381 | 594.631 | 76483 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 739489 | 5756 | 20.243 | 93.02% | 474 | 20612 | 4 | 14704801 | 5481 | 1096.2 | 6744894 | 2226 | 445.2 | 232939 | 232 | 46.4 | 8308 | 7 | 54.88 | 3193 | 5 | 39.2 | 114 | 1 | 7.84
2024-12-20 | 20922968 | 7745 | 21629683 | 7898 | 482767 | 140 | 15783 | 3156.6 | 104816 | 119 | 932.96 | 40460 | 18 | 24174 | 13 | 31 | 60654 | 31 | 32.7267 | 571.3 | 76502 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 745299 | 5810 | 20.4329 | 86.98% | 464 | 20617 | 5 | 14710093 | 5292 | 1058.4 | 6747030 | 2136 | 427.2 | 233354 | 415 | 83 | 8316 | 8 | 62.72 | 3204 | 11 | 86.24 | 115 | 1 | 7.84
2024-12-21 | 20930825 | 7857 | 21637347 | 7664 | 482909 | 142 | 15663 | 3132.6 | 104919 | 103 | 807.52 | 40478 | 18 | 24186 | 12 | 30 | 60682 | 28 | 29.5596 | 536.3036 | 76521 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 750749 | 5450 | 19.1669 | 60.93% | 313 | 20620 | 3 | 14714518 | 4425 | 885 | 6749069 | 2039 | 407.8 | 233532 | 178 | 35.6 | 8323 | 7 | 54.88 | 3215 | 11 | 86.24 | 116 | 1 | 7.84
2024-12-22 | 20938762 | 7937 | 21645083 | 7736 | 483041 | 132 | 15805 | 3161 | 104995 | 76 | 595.84 | 40497 | 19 | 24199 | 13 | 32 | 60712 | 30 | 31.671 | 559.6345 | 76538 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 755637 | 4888 | 17.1904 | 45.4% | 196 | 20623 | 3 | 14718918 | 4400 | 880 | 6751117 | 2048 | 409.6 | 233651 | 119 | 23.8 | 8329 | 6 | 47.04 | 3229 | 14 | 109.76 | 117 | 1 | 7.84
2024-12-23 | 20946597 | 7835 | 21652700 | 7617 | 483160 | 119 | 15571 | 3114.2 | 105118 | 123 | 964.32 | 40513 | 16 | 24212 | 13 | 29 | 60741 | 29 | 30.6153 | 547.9691 | 76554 | 16 | 4549.52 | 1569.1294 | 4413.1961 | 5982.3256 | 760697 | 5060 | 17.7953 | 64.13% | 286 | 20627 | 4 | 14724289 | 5371 | 1074.2 | 6753252 | 2135 | 427 | 233777 | 126 | 25.2 | 8335 | 6 | 47.04 | 3232 | 3 | 23.52 | 118 | 1 | 7.84
2024-12-24 | 20954556 | 7959 | 21660067 | 7367 | 483290 | 130 | 15456 | 3091.2 | 105234 | 116 | 909.44 | 40531 | 18 | 24225 | 13 | 31 | 60770 | 29 | 30.6153 | 547.9691 | 76573 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 766460 | 5763 | 20.2676 | 83.49% | 384 | 20631 | 4 | 14729638 | 5349 | 1069.8 | 6755364 | 2112 | 422.4 | 233923 | 146 | 29.2 | 8340 | 5 | 39.2 | 3233 | 1 | 7.84 | 118 | 0 | 0
2024-12-25 | 20962763 | 8207 | 21667530 | 7463 | 483429 | 139 | 15809 | 3161.8 | 105332 | 98 | 768.32 | 40549 | 18 | 24237 | 12 | 30 | 60799 | 29 | 30.6153 | 547.9691 | 76592 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 772306 | 5846 | 20.5595 | 90.79% | 435 | 20635 | 4 | 14734950 | 5312 | 1062.4 | 6757560 | 2196 | 439.2 | 234059 | 136 | 27.2 | 8345 | 5 | 39.2 | 3234 | 1 | 7.84 | 119 | 1 | 7.84
2024-12-26 | 20970946 | 8183 | 21675061 | 7531 | 483560 | 131 | 15845 | 3169 | 105451 | 119 | 932.96 | 40566 | 17 | 24248 | 11 | 28 | 60826 | 27 | 28.5039 | 524.6381 | 76613 | 21 | 5971.245 | 2059.4824 | 4413.1961 | 6472.6785 | 778556 | 6250 | 21.9803 | 93.97% | 438 | 20640 | 5 | 14740368 | 5418 | 1083.6 | 6759768 | 2208 | 441.6 | 234186 | 127 | 25.4 | 8351 | 6 | 47.04 | 3235 | 1 | 7.84 | 120 | 1 | 7.84
2024-12-27 | 20979039 | 8093 | 21682354 | 7293 | 483694 | 134 | 15520 | 3104 | 105560 | 109 | 854.56 | 40586 | 20 | 24260 | 12 | 32 | 60858 | 32 | 33.7824 | 582.9655 | 76633 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 784809 | 6253 | 21.9909 | 93.65% | 457 | 20645 | 5 | 14745591 | 5223 | 1044.6 | 6761904 | 2136 | 427.2 | 234317 | 131 | 26.2 | 8358 | 7 | 54.88 | 3239 | 4 | 31.36 | 121 | 1 | 7.84
2024-12-28 | 20986887 | 7848 | 21689410 | 7056 | 483834 | 140 | 15044 | 3008.8 | 105678 | 118 | 925.12 | 40606 | 20 | 24270 | 10 | 30 | 60887 | 29 | 30.6153 | 547.9691 | 76652 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 790254 | 5445 | 19.1493 | 90.79% | 434 | 20648 | 3 | 14749989 | 4398 | 879.6 | 6763896 | 1992 | 398.4 | 234431 | 114 | 22.8 | 8366 | 8 | 62.72 | 3243 | 4 | 31.36 | 122 | 1 | 7.84
2024-12-29 | 20995187 | 8300 | 21696710 | 7300 | 483976 | 142 | 15742 | 3148.4 | 105783 | 105 | 823.2 | 40625 | 19 | 24283 | 13 | 32 | 60918 | 31 | 32.7267 | 571.3 | 76670 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 795856 | 5602 | 19.7014 | 84.44% | 414 | 20652 | 4 | 14754540 | 4551 | 910.2 | 6766014 | 2118 | 423.6 | 234538 | 107 | 21.4 | 8373 | 7 | 54.88 | 3244 | 1 | 7.84 | 123 | 1 | 7.84
2024-12-30 | 21003125 | 7938 | 21703679 | 6969 | 484109 | 133 | 15040 | 3008 | 105890 | 107 | 838.88 | 40644 | 19 | 24295 | 12 | 31 | 60947 | 29 | 30.6153 | 547.9691 | 76690 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 802141 | 6285 | 22.1034 | 79.05% | 377 | 20657 | 5 | 14759829 | 5289 | 1057.8 | 6768167 | 2153 | 430.6 | 234677 | 139 | 27.8 | 8380 | 7 | 54.88 | 3244 | 0 | 0 | 124 | 1 | 7.84
2024-12-31 | 21010982 | 7857 | 21710601 | 6922 | 484256 | 147 | 14926 | 2985.2 | 105996 | 106 | 831.04 | 40662 | 18 | 24308 | 13 | 31 | 60978 | 31 | 32.7267 | 571.3 | 76713 | 23 | 6539.935 | 2255.6236 | 4413.1961 | 6668.8197 | 808374 | 6233 | 21.9206 | 79.37% | 386 | 20659 | 2 | 14764960 | 5131 | 1026.2 | 6770287 | 2120 | 424 | 234802 | 125 | 25 | 8385 | 5 | 39.2 | 3246 | 2 | 15.68 | 124 | 0 | 0
|  | 244786 |  | 230995 |  | 4290 | 480071 | 96014.2 |  | 3322 | 26044.48 |  | 598 |  | 408 | 1006 |  | 974 | 1028.2518 | 17861.9524 |  | 623 | 177146.935 | 61097.9779 | 136809.0804 | 197907.0583 |  | 193116 | 679.1609 | 86.78% | 12399 |  | 142 |  | 157916 | 31583.2 |  | 66910 | 13382 |  | 5105 | 1021 |  | 225 | 1764 |  | 124 | 972.16 |  | 25 | 196
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 1603690.16 | CHW Fixed Charges YTD 2024
| Actual December2024 |  | 96014.2 |  |  | 480071 |  |  | Actual December2024 |  | 26044.48 | 3322 |  | Actual December2024 |  |  | 17861.9524 |  | 1028.2518 |  | Actual December2024 |  | 197907.0583 |  | 177146.935 |  |  |  | 193116 | 15969.065 |  | 1542014.11 | CHW Fixed Charges YTD 2023
| Budget December 2024 |  | 95697 |  |  | 478485 |  |  | Budget December 2024 |  | 26565.61 | 3388.4707 |  | Budget December 2024 |  |  | 20961.33 |  | 1308.7176 |  | Budget December 2024 |  | 208102.96 |  | 206708.8431 | [6 empty] | 71293.88 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual December 2023 |  | 89662.2 |  |  | 448311 |  |  | Actual December 2023 |  | 23841.44 | 3041 |  | Actual December 2023 |  |  | 17185 |  | 966.9683 |  | Actual December 2023 |  | 188553.07 |  | 165617.4317 | [6 empty] | 57005.52 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 1063208.2 |  |  | 5316041 |  |  | Actual YTD 2024 |  | 291279.52 | 37153 |  | Actual YTD 2024 |  |  | 219156.6824 |  | 12774.3604 |  | Actual YTD 2024 |  | 2645300.4483 |  | 3020035.6286 | [6 empty] | 1041610.2883 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 1152758.25 |  |  | 5763791.25 |  |  | Budget YTD 2024 |  | 302322.19 | 38561.5038 |  | Budget YTD 2024 |  |  | 230447.73 |  | 13796.1747 |  | Budget YTD 2024 |  | 2671858.36 |  | 3097037.4021 | [6 empty] | 1068168.2 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 1119373.4 |  |  | 5596867 |  |  | Actual YTD 2023 |  | 271122.88 | 34582 |  | Actual YTD 2023 |  |  | 205908.88 |  | 11575.4643 |  | Actual YTD 2023 |  | 2533325.01 |  | 2880043.2888 | [6 empty] | 991310.9 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-12-01 | 2025-01-15 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 95697 |  | Electricity |  |  | 3087 |  | Electricity |  |  | 3097.2323 |  | Electricity |  |  |  | 95697 |  |  | Electricity |  | 96014.2 |  | -317.2 | Electricity |  | 1152758.25 |  | Electricity |  | 1063208.2 | 89550.05 | -89550.05
Water | 26565.61 |  | Water |  |  | 856.9552 |  | Water |  |  | 840.1445 |  | Water |  |  |  | 26565.61 |  |  | Water |  | 26044.48 |  | 521.13 | Water |  | 302322.19 |  | Water |  | 291279.52 | 11042.67 | -11042.67
Gas | 20961.33 |  | Gas |  |  | 676.1719 |  | Gas |  |  | 576.192 |  | Gas |  |  |  | 20961.33 |  |  | Gas |  | 17861.9524 |  | 3099.3776 | Gas |  | 230447.73 |  | Gas |  | 219156.6824 | 11291.0476 | -11291.0476
Chilled Water | 208102.96 |  | Chilled Water |  |  | 6712.9987 |  | Chilled Water |  |  | 6384.0987 |  | Chilled Water |  |  |  | 208102.96 |  |  | Chilled Water |  | 197907.0583 |  | 10195.9017 | Chilled Water |  | 2671858.36 |  | Chilled Water |  | 2645300.4483 | 26557.9117 | -26557.9117
| 351326.9 | [15 empty] | 351326.9 |  |  |  |  | 337827.6907 |  | 13499.2093 |  | Total Energy cost | 4357386.53 |  |  |  | 4218944.8507 | 138441.6793
| 13499.2093 | [21 empty] | 3.842% | [7 empty] | 3.177%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 89662.2 |  | Electricity |  |  | 2892.329 |  | Electricity |  |  | 89662.2 |  | Electricity |  |  |  | 96014.2 |  |  | Electricity |  | -6352 |  |  | 96014.2 | 1063208.2 |  |  | -6352 | 56165.2
Water | 23841.44 |  | Water |  |  | 769.0787 |  | Water |  |  | 23841.44 |  | Water |  |  |  | 26044.48 |  |  | Water |  | -2203.04 |  |  | 26044.48 | 291279.52 |  |  | -2203.04 | -20156.64
Gas | 17185 |  | Gas |  |  | 554.3548 |  | Gas |  |  | 17185 |  | Gas |  |  |  | 17861.9524 |  |  | Gas |  | -676.9524 |  |  | 17861.9524 | 219156.6824 |  |  | -676.9524 | -13247.8024
Chilled Water | 188553.07 |  | Chilled Water |  |  | 6082.3571 |  | Chilled Water |  |  | 188553.07 |  | Chilled Water |  |  |  | 197907.0583 |  |  | Chilled Water |  | -9353.9883 |  |  | 197907.0583 | 2645300.4483 |  |  | -9353.9883 | -111975.4383
| 319241.71 | [9 empty] | 319241.71 | [5 empty] | 337827.6907 |  |  |  |  | -18585.9807 |  |  | 337827.6907 | 4218944.8507 |  |  | -18585.9807 | -89214.6807
| -18585.9807 | [21 empty] | -5.822%