## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 1 | 2025 | 15781 | 0.2 | 34.8381 | 17.25 | 115 | 7.84 | 4833.865 | 0.3449 | 190.008 | 284
Pearl Rotana Capital Centre | 2 | 1 | 2025 | 15379 | 0.2 | 31.671 | 17.25 | 83 | 7.84 | 4549.52 | 0.3449 | 230.013 | 338
Pearl Rotana Capital Centre | 3 | 1 | 2025 | 15486 | 0.2 | 34.8381 | 17.25 | 100 | 7.84 | 4549.52 | 0.3449 | 230.9895 | 338
Pearl Rotana Capital Centre | 4 | 1 | 2025 | 15482 | 0.2 | 33.7824 | 17.25 | 106 | 7.84 | 4265.175 | 0.3449 | 182.007 | 254
Pearl Rotana Capital Centre | 5 | 1 | 2025 | 15131 | 0.2 | 30.6153 | 17.25 | 87 | 7.84 | 4265.175 | 0.3449 | 198.9855 | 271
Pearl Rotana Capital Centre | 6 | 1 | 2025 | 15534 | 0.2 | 30.6153 | 17.25 | 81 | 7.84 | 5118.21 | 0.3449 | 266.994 | 346
Pearl Rotana Capital Centre | 7 | 1 | 2025 | 15755 | 0.2 | 34.8381 | 17.25 | 102 | 7.84 | 5686.9 | 0.3449 | 273.294 | 361
Pearl Rotana Capital Centre | 8 | 1 | 2025 | 15211 | 0.2 | 31.671 | 17.25 | 105 | 7.84 | 5402.555 | 0.3449 | 280.0035 | 366
Pearl Rotana Capital Centre | 9 | 1 | 2025 | 15550 | 0.2 | 34.8381 | 17.25 | 98 | 7.84 | 4833.865 | 0.3449 | 252 | 351
Pearl Rotana Capital Centre | 10 | 1 | 2025 | 15738 | 0.2 | 32.7267 | 17.25 | 108 | 7.84 | 5402.555 | 0.3449 | 231.9975 | 333
Pearl Rotana Capital Centre | 11 | 1 | 2025 | 15453 | 0.2 | 36.9495 | 17.25 | 87 | 7.84 | 5402.555 | 0.3449 | 230.013 | 339
Pearl Rotana Capital Centre | 12 | 1 | 2025 | 15085 | 0.2 | 30.6153 | 17.25 | 79 | 7.84 | 5402.555 | 0.3449 | 198.009 | 233
Pearl Rotana Capital Centre | 13 | 1 | 2025 | 15627 | 0.2 | 29.5596 | 17.25 | 88 | 7.84 | 5686.9 | 0.3449 | 301.014 | 357
Pearl Rotana Capital Centre | 14 | 1 | 2025 | 15581 | 0.2 | 34.8381 | 17.25 | 95 | 7.84 | 4833.865 | 0.3449 | 296.0055 | 345
Pearl Rotana Capital Centre | 15 | 1 | 2025 | 15526 | 0.2 | 33.7824 | 17.25 | 103 | 7.84 | 5118.21 | 0.3449 | 277.9875 | 309
Pearl Rotana Capital Centre | 16 | 1 | 2025 | 15700 | 0.2 | 34.8381 | 17.25 | 105 | 7.84 | 5402.555 | 0.3449 | 234.0135 | 289
Pearl Rotana Capital Centre | 17 | 1 | 2025 | 15561 | 0.2 | 35.8938 | 17.25 | 104 | 7.84 | 4833.865 | 0.3449 | 230.9895 | 341
Pearl Rotana Capital Centre | 18 | 1 | 2025 | 15582 | 0.2 | 32.7267 | 17.25 | 104 | 7.84 | 4833.865 | 0.3449 | 230.013 | 344
Pearl Rotana Capital Centre | 19 | 1 | 2025 | 15622 | 0.2 | 34.8381 | 17.25 | 75 | 7.84 | 4549.52 | 0.3449 | 218.988 | 298
Pearl Rotana Capital Centre | 20 | 1 | 2025 | 15417 | 0.2 | 31.671 | 17.25 | 98 | 7.84 | 5118.21 | 0.3449 | 278.9955 | 380
Pearl Rotana Capital Centre | 21 | 1 | 2025 | 16724 | 0.2 | 34.8381 | 17.25 | 108 | 7.84 | 5686.9 | 0.3449 | 315 | 445
Pearl Rotana Capital Centre | 22 | 1 | 2025 | 16113 | 0.2 | 34.8381 | 17.25 | 100 | 7.84 | 5686.9 | 0.3449 | 309.9915 | 395
Pearl Rotana Capital Centre | 23 | 1 | 2025 | 15858 | 0.2 | 33.7824 | 17.25 | 106 | 7.84 | 5686.9 | 0.3449 | 274.995 | 352
Pearl Rotana Capital Centre | 24 | 1 | 2025 | 15700 | 0.2 | 31.671 | 17.25 | 94 | 7.84 | 5402.555 | 0.3449 | 225.0045 | 325
Pearl Rotana Capital Centre | 25 | 1 | 2025 | 15465 | 0.2 | 30.6153 | 17.25 | 108 | 7.84 | 4833.865 | 0.3449 | 286.9965 | 445
Pearl Rotana Capital Centre | 26 | 1 | 2025 | 15323 | 0.2 | 31.671 | 17.25 | 104 | 7.84 | 5118.21 | 0.3449 | 281.0115 | 373
Pearl Rotana Capital Centre | 27 | 1 | 2025 | 15706 | 0.2 | 32.7267 | 17.25 | 111 | 7.84 | 6255.59 | 0.3449 | 305.991 | 385
Pearl Rotana Capital Centre | 28 | 1 | 2025 | 15661 | 0.2 | 32.7267 | 17.25 | 98 | 7.84 | 6255.59 | 0.3449 | 312.0075 | 406
Pearl Rotana Capital Centre | 29 | 1 | 2025 | 15730 | 0.2 | 33.7824 | 17.25 | 113 | 7.84 | 5686.9 | 0.3449 | 309.015 | 398
Pearl Rotana Capital Centre | 30 | 1 | 2025 | 16190 | 0.2 | 31.671 | 17.25 | 112 | 7.84 | 5686.9 | 0.3449 | 309.015 | 427
Pearl Rotana Capital Centre | 31 | 1 | 2025 | 15947 | 0.2 | 34.8381 | 17.25 | 111 | 7.84 | 5402.555 | 0.3449 | 286.9965 | 435

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 1 | 2025 | 8170 | 7472 | 139 | 115 | 20 | 15 | 4833.865 | 5499 | 6 | 190.008 | 284
Pearl Rotana Capital Centre | 2 | 1 | 2025 | 7677 | 7560 | 142 | 83 | 19 | 12 | 4549.52 | 4943 | 6 | 230.013 | 338
Pearl Rotana Capital Centre | 3 | 1 | 2025 | 7763 | 7582 | 141 | 100 | 21 | 13 | 4549.52 | 4818 | 7 | 230.9895 | 338
Pearl Rotana Capital Centre | 4 | 1 | 2025 | 7856 | 7482 | 144 | 106 | 20 | 13 | 4265.175 | 4307 | 7 | 182.007 | 254
Pearl Rotana Capital Centre | 5 | 1 | 2025 | 7826 | 7162 | 143 | 87 | 19 | 11 | 4265.175 | 4364 | 5 | 198.9855 | 271
Pearl Rotana Capital Centre | 6 | 1 | 2025 | 7950 | 7441 | 143 | 81 | 19 | 13 | 5118.21 | 5457 | 7 | 266.994 | 346
Pearl Rotana Capital Centre | 7 | 1 | 2025 | 7868 | 7743 | 144 | 102 | 19 | 14 | 5686.9 | 5826 | 3 | 273.294 | 361
Pearl Rotana Capital Centre | 8 | 1 | 2025 | 7625 | 7445 | 141 | 105 | 18 | 14 | 5402.555 | 5479 | 8 | 280.0035 | 366
Pearl Rotana Capital Centre | 9 | 1 | 2025 | 7788 | 7637 | 125 | 98 | 19 | 14 | 4833.865 | 5144 | 7 | 252 | 351
Pearl Rotana Capital Centre | 10 | 1 | 2025 | 7933 | 7664 | 141 | 108 | 18 | 13 | 5402.555 | 5778 | 7 | 231.9975 | 333
Pearl Rotana Capital Centre | 11 | 1 | 2025 | 7981 | 7330 | 142 | 87 | 23 | 15 | 5402.555 | 5538 | 6 | 230.013 | 339
Pearl Rotana Capital Centre | 12 | 1 | 2025 | 7757 | 7188 | 140 | 79 | 18 | 12 | 5402.555 | 5517 | 4 | 198.009 | 233
Pearl Rotana Capital Centre | 13 | 1 | 2025 | 7857 | 7639 | 131 | 88 | 19 | 11 | 5686.9 | 5791 | 7 | 301.014 | 357
Pearl Rotana Capital Centre | 14 | 1 | 2025 | 7755 | 7686 | 140 | 95 | 19 | 15 | 4833.865 | 5146 | 7 | 296.0055 | 345
Pearl Rotana Capital Centre | 15 | 1 | 2025 | 7791 | 7597 | 138 | 103 | 18 | 15 | 5118.21 | 5276 | 10 | 277.9875 | 309
Pearl Rotana Capital Centre | 16 | 1 | 2025 | 7956 | 7612 | 132 | 105 | 21 | 14 | 5402.555 | 5900 | 9 | 234.0135 | 289
Pearl Rotana Capital Centre | 17 | 1 | 2025 | 7822 | 7594 | 145 | 104 | 19 | 16 | 4833.865 | 5379 | 6 | 230.9895 | 341
Pearl Rotana Capital Centre | 18 | 1 | 2025 | 7840 | 7604 | 138 | 104 | 19 | 12 | 4833.865 | 4904 | 6 | 230.013 | 344
Pearl Rotana Capital Centre | 19 | 1 | 2025 | 7907 | 7580 | 135 | 75 | 19 | 16 | 4549.52 | 4606 | 11 | 218.988 | 298
Pearl Rotana Capital Centre | 20 | 1 | 2025 | 7742 | 7532 | 143 | 98 | 20 | 12 | 5118.21 | 4918 | 7 | 278.9955 | 380
Pearl Rotana Capital Centre | 21 | 1 | 2025 | 8100 | 8481 | 143 | 108 | 20 | 14 | 5686.9 | 5532 | 9 | 315 | 445
Pearl Rotana Capital Centre | 22 | 1 | 2025 | 7738 | 8231 | 144 | 100 | 19 | 15 | 5686.9 | 5433 | 10 | 309.9915 | 395
Pearl Rotana Capital Centre | 23 | 1 | 2025 | 7669 | 8046 | 143 | 106 | 19 | 13 | 5686.9 | 5367 | 9 | 274.995 | 352
Pearl Rotana Capital Centre | 24 | 1 | 2025 | 7632 | 7922 | 146 | 94 | 19 | 13 | 5402.555 | 5084 | 8 | 225.0045 | 325
Pearl Rotana Capital Centre | 25 | 1 | 2025 | 7729 | 7594 | 142 | 108 | 19 | 11 | 4833.865 | 4733 | 7 | 286.9965 | 445
Pearl Rotana Capital Centre | 26 | 1 | 2025 | 7739 | 7452 | 132 | 104 | 19 | 13 | 5118.21 | 5224 | 10 | 281.0115 | 373
Pearl Rotana Capital Centre | 27 | 1 | 2025 | 7911 | 7666 | 129 | 111 | 18 | 15 | 6255.59 | 5947 | 8 | 305.991 | 385
Pearl Rotana Capital Centre | 28 | 1 | 2025 | 7772 | 7760 | 129 | 98 | 18 | 14 | 6255.59 | 6352 | 9 | 312.0075 | 406
Pearl Rotana Capital Centre | 29 | 1 | 2025 | 7853 | 7739 | 138 | 113 | 18 | 14 | 5686.9 | 5823 | 10 | 309.015 | 398
Pearl Rotana Capital Centre | 30 | 1 | 2025 | 8017 | 8042 | 131 | 112 | 18 | 14 | 5686.9 | 5619 | 9 | 309.015 | 427
Pearl Rotana Capital Centre | 31 | 1 | 2025 | 7832 | 7974 | 141 | 111 | 19 | 14 | 5402.555 | 5317 | 11 | 286.9965 | 435

## Jan 2025
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - JANUARY 2025
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [8 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Bulk Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl. | Blue Sky tower Chilled water |  | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [16 empty] | Meter Reading | Cons. MWH | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2025-01-01 | 21019152 | 8170 | 21718073 | 7472 | 484395 | 139 | 15781 | 3156.2 | 106111 | 115 | 901.6 | 40682 | 20 | 24323 | 15 | 35 | 61011 | 33 | 34.8381 | 594.631 | 76730 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 813873 | 5499 | 19.3392 | 60.32% | 284 | 20665 | 6 | 14769428 | 4468 | 893.6 | 6772366 | 2079 | 415.8 | 234912 | 110 | 22 | 8391 | 6 | 47.04 | 3247 | 1 | 7.84 | 125 | 1 | 7.84
2025-01-02 | 21026829 | 7677 | 21725633 | 7560 | 484537 | 142 | 15379 | 3075.8 | 106194 | 83 | 650.72 | 40701 | 19 | 24335 | 12 | 31 | 61041 | 30 | 31.671 | 559.6345 | 76746 | 16 | 4549.52 | 1569.1294 | 4413.1961 | 5982.3256 | 818816 | 4943 | 17.3838 | 73.02% | 338 | 20669 | 4 | 14774711 | 5283 | 1056.6 | 6774481 | 2115 | 423 | 235015 | 103 | 20.6 | 8397 | 6 | 47.04 | 3249 | 2 | 15.68 | 126 | 1 | 7.84
2025-01-03 | 21034592 | 7763 | 21733215 | 7582 | 484678 | 141 | 15486 | 3097.2 | 106294 | 100 | 784 | 40722 | 21 | 24348 | 13 | 34 | 61074 | 33 | 34.8381 | 594.631 | 76762 | 16 | 4549.52 | 1569.1294 | 4413.1961 | 5982.3256 | 823634 | 4818 | 16.9442 | 73.33% | 338 | 20672 | 3 | 14780019 | 5308 | 1061.6 | 6776681 | 2200 | 440 | 235119 | 104 | 20.8 | 8404 | 7 | 54.88 | 3250 | 1 | 7.84 | 127 | 1 | 7.84
2025-01-04 | 21042448 | 7856 | 21740697 | 7482 | 484822 | 144 | 15482 | 3096.4 | 106400 | 106 | 831.04 | 40742 | 20 | 24361 | 13 | 33 | 61106 | 32 | 33.7824 | 582.9655 | 76777 | 15 | 4265.175 | 1471.0589 | 4413.1961 | 5884.255 | 827941 | 4307 | 15.1471 | 57.78% | 254 | 20675 | 3 | 14784441 | 4422 | 884.4 | 6778698 | 2017 | 403.4 | 235222 | 103 | 20.6 | 8411 | 7 | 54.88 | 3251 | 1 | 7.84 | 128 | 1 | 7.84
2025-01-05 | 21050274 | 7826 | 21747859 | 7162 | 484965 | 143 | 15131 | 3026.2 | 106487 | 87 | 682.08 | 40761 | 19 | 24372 | 11 | 30 | 61135 | 29 | 30.6153 | 547.9691 | 76792 | 15 | 4265.175 | 1471.0589 | 4413.1961 | 5884.255 | 832305 | 4364 | 15.3476 | 63.17% | 271 | 20679 | 4 | 14788861 | 4420 | 884 | 6780673 | 1975 | 395 | 235339 | 117 | 23.4 | 8416 | 5 | 39.2 | 3252 | 1 | 7.84 | 129 | 1 | 7.84
2025-01-06 | 21058224 | 7950 | 21755300 | 7441 | 485108 | 143 | 15534 | 3106.8 | 106568 | 81 | 635.04 | 40780 | 19 | 24385 | 13 | 32 | 61164 | 29 | 30.6153 | 547.9691 | 76810 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 837762 | 5457 | 19.1915 | 84.76% | 346 | 20682 | 3 | 14794356 | 5495 | 1099 | 6782843 | 2170 | 434 | 235655 | 316 | 63.2 | 8423 | 7 | 54.88 | 3253 | 1 | 7.84 | 130 | 1 | 7.84
2025-01-07 | 21066092 | 7868 | 21763043 | 7743 | 485252 | 144 | 15755 | 3151 | 106670 | 102 | 799.68 | 40799 | 19 | 24399 | 14 | 33 | 61197 | 33 | 34.8381 | 594.631 | 76830 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 843588 | 5826 | 20.4892 | 86.76% | 361 | 20687 | 5 | 14799870 | 5514 | 1102.8 | 6785015 | 2172 | 434.4 | 236130 | 475 | 95 | 8426 | 3 | 23.52 | 3254 | 1 | 7.84 | 130 | 0 | 0
2025-01-08 | 21073717 | 7625 | 21770488 | 7445 | 485393 | 141 | 15211 | 3042.2 | 106775 | 105 | 823.2 | 40817 | 18 | 24413 | 14 | 32 | 61227 | 30 | 31.671 | 559.6345 | 76849 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 849067 | 5479 | 19.2688 | 88.89% | 366 | 20691 | 4 | 14805313 | 5443 | 1088.6 | 6787222 | 2207 | 441.4 | 236312 | 182 | 36.4 | 8434 | 8 | 62.72 | 3257 | 3 | 23.52 | 132 | 2 | 15.68
2025-01-09 | 21081505 | 7788 | 21778125 | 7637 | 485518 | 125 | 15550 | 3110 | 106873 | 98 | 768.32 | 40836 | 19 | 24427 | 14 | 33 | 61260 | 33 | 34.8381 | 594.631 | 76866 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 854211 | 5144 | 18.0907 | 80% | 351 | 20695 | 4 | 14810751 | 5438 | 1087.6 | 6789411 | 2189 | 437.8 | 236501 | 189 | 37.8 | 8441 | 7 | 54.88 | 3258 | 1 | 7.84 | 133 | 1 | 7.84
2025-01-10 | 21089438 | 7933 | 21785789 | 7664 | 485659 | 141 | 15738 | 3147.6 | 106981 | 108 | 846.72 | 40854 | 18 | 24440 | 13 | 31 | 61291 | 31 | 32.7267 | 571.3 | 76885 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 859989 | 5778 | 20.3204 | 73.65% | 333 | 20700 | 5 | 14816125 | 5374 | 1074.8 | 6791587 | 2176 | 435.2 | 236706 | 205 | 41 | 8448 | 7 | 54.88 | 3258 | 0 | 0 | 134 | 1 | 7.84
2025-01-11 | 21097419 | 7981 | 21793119 | 7330 | 485801 | 142 | 15453 | 3090.6 | 107068 | 87 | 682.08 | 40877 | 23 | 24455 | 15 | 38 | 61326 | 35 | 36.9495 | 617.962 | 76904 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 865527 | 5538 | 19.4763 | 73.02% | 339 | 20703 | 3 | 14820562 | 4437 | 887.4 | 6793645 | 2058 | 411.6 | 236867 | 161 | 32.2 | 8454 | 6 | 47.04 | 3259 | 1 | 7.84 | 134 | 0 | 0
2025-01-12 | 21105176 | 7757 | 21800307 | 7188 | 485941 | 140 | 15085 | 3017 | 107147 | 79 | 619.36 | 40895 | 18 | 24467 | 12 | 30 | 61355 | 29 | 30.6153 | 547.9691 | 76923 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 871044 | 5517 | 19.4025 | 62.86% | 233 | 20707 | 4 | 14824913 | 4351 | 870.2 | 6795619 | 1974 | 394.8 | 237039 | 172 | 34.4 | 8458 | 4 | 31.36 | 3261 | 2 | 15.68 | 135 | 1 | 7.84
2025-01-13 | 21113033 | 7857 | 21807946 | 7639 | 486072 | 131 | 15627 | 3125.4 | 107235 | 88 | 689.92 | 40914 | 19 | 24478 | 11 | 30 | 61383 | 28 | 29.5596 | 536.3036 | 76943 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 876835 | 5791 | 20.3661 | 95.56% | 357 | 20711 | 4 | 14830273 | 5360 | 1072 | 6797800 | 2181 | 436.2 | 237266 | 227 | 45.4 | 8465 | 7 | 54.88 | 3262 | 1 | 7.84 | 136 | 1 | 7.84
2025-01-14 | 21120788 | 7755 | 21815632 | 7686 | 486212 | 140 | 15581 | 3116.2 | 107330 | 95 | 744.8 | 40933 | 19 | 24493 | 15 | 34 | 61416 | 33 | 34.8381 | 594.631 | 76960 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 881981 | 5146 | 18.0977 | 93.97% | 345 | 20715 | 4 | 14835638 | 5365 | 1073 | 6799967 | 2167 | 433.4 | 237422 | 156 | 31.2 | 8472 | 7 | 54.88 | 3264 | 2 | 15.68 | 137 | 1 | 7.84
2025-01-15 | 21128579 | 7791 | 21823229 | 7597 | 486350 | 138 | 15526 | 3105.2 | 107433 | 103 | 807.52 | 40951 | 18 | 24508 | 15 | 33 | 61448 | 32 | 33.7824 | 582.9655 | 76978 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 887257 | 5276 | 18.5549 | 88.25% | 309 | 20720 | 5 | 14841049 | 5411 | 1082.2 | 6802155 | 2188 | 437.6 | 237565 | 143 | 28.6 | 8482 | 10 | 78.4 | 3265 | 1 | 7.84 | 138 | 1 | 7.84
2025-01-16 | 21136535 | 7956 | 21830841 | 7612 | 486482 | 132 | 15700 | 3140 | 107538 | 105 | 823.2 | 40972 | 21 | 24522 | 14 | 35 | 61481 | 33 | 34.8381 | 594.631 | 76997 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 893157 | 5900 | 20.7494 | 74.29% | 289 | 20724 | 4 | 14846144 | 5095 | 1019 | 6804441 | 2286 | 457.2 | 237737 | 172 | 34.4 | 8491 | 9 | 70.56 | 3266 | 1 | 7.84 | 139 | 1 | 7.84
2025-01-17 | 21144357 | 7822 | 21838435 | 7594 | 486627 | 145 | 15561 | 3112.2 | 107642 | 104 | 815.36 | 40991 | 19 | 24538 | 16 | 35 | 61515 | 34 | 35.8938 | 606.2965 | 77014 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 898536 | 5379 | 18.9172 | 73.33% | 341 | 20728 | 4 | 14852021 | 5877 | 1175.4 | 6806635 | 2194 | 438.8 | 237899 | 162 | 32.4 | 8497 | 6 | 47.04 | 3267 | 1 | 7.84 | 140 | 1 | 7.84
2025-01-18 | 21152197 | 7840 | 21846039 | 7604 | 486765 | 138 | 15582 | 3116.4 | 107746 | 104 | 815.36 | 41010 | 19 | 24550 | 12 | 31 | 61546 | 31 | 32.7267 | 571.3 | 77031 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 903440 | 4904 | 17.2467 | 73.02% | 344 | 20732 | 4 | 14856442 | 4421 | 884.2 | 6808683 | 2048 | 409.6 | 238034 | 135 | 27 | 8503 | 6 | 47.04 | 3268 | 1 | 7.84 | 141 | 1 | 7.84
2025-01-19 | 21160104 | 7907 | 21853619 | 7580 | 486900 | 135 | 15622 | 3124.4 | 107821 | 75 | 588 | 41029 | 19 | 24566 | 16 | 35 | 61579 | 33 | 34.8381 | 594.631 | 77047 | 16 | 4549.52 | 1569.1294 | 4413.1961 | 5982.3256 | 908046 | 4606 | 16.1986 | 69.52% | 298 | 20734 | 2 | 14860811 | 4369 | 873.8 | 6810765 | 2082 | 416.4 | 238159 | 125 | 25 | 8514 | 11 | 86.24 | 3269 | 1 | 7.84 | 141 | 0 | 0
2025-01-20 | 21167846 | 7742 | 21861151 | 7532 | 487043 | 143 | 15417 | 3083.4 | 107919 | 98 | 768.32 | 41049 | 20 | 24578 | 12 | 32 | 61609 | 30 | 31.671 | 559.6345 | 77065 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 912964 | 4918 | 17.2959 | 88.57% | 380 | 20738 | 4 | 14866057 | 5246 | 1049.2 | 6812902 | 2137 | 427.4 | 238380 | 221 | 44.2 | 8521 | 7 | 54.88 | 3271 | 2 | 15.68 | 142 | 1 | 7.84
2025-01-21 | 21175946 | 8100 | 21869632 | 8481 | 487186 | 143 | 16724 | 3344.8 | 108027 | 108 | 846.72 | 41069 | 20 | 24592 | 14 | 34 | 61642 | 33 | 34.8381 | 594.631 | 77085 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 918496 | 5532 | 19.4552 | 100% | 445 | 20743 | 5 | 14871670 | 5613 | 1122.6 | 6815171 | 2269 | 453.8 | 238974 | 594 | 118.8 | 8530 | 9 | 70.56 | 3272 | 1 | 7.84 | 143 | 1 | 7.84
2025-01-22 | 21183684 | 7738 | 21877863 | 8231 | 487330 | 144 | 16113 | 3222.6 | 108127 | 100 | 784 | 41088 | 19 | 24607 | 15 | 34 | 61675 | 33 | 34.8381 | 594.631 | 77105 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 923929 | 5433 | 19.1071 | 98.41% | 395 | 20747 | 4 | 14877095 | 5425 | 1085 | 6817374 | 2203 | 440.6 | 239579 | 605 | 121 | 8540 | 10 | 78.4 | 3273 | 1 | 7.84 | 144 | 1 | 7.84
2025-01-23 | 21191353 | 7669 | 21885909 | 8046 | 487473 | 143 | 15858 | 3171.6 | 108233 | 106 | 831.04 | 41107 | 19 | 24620 | 13 | 32 | 61707 | 32 | 33.7824 | 582.9655 | 77125 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 929296 | 5367 | 18.875 | 87.3% | 352 | 20751 | 4 | 14882439 | 5344 | 1068.8 | 6819547 | 2173 | 434.6 | 240179 | 600 | 120 | 8549 | 9 | 70.56 | 3274 | 1 | 7.84 | 145 | 1 | 7.84
2025-01-24 | 21198985 | 7632 | 21893831 | 7922 | 487619 | 146 | 15700 | 3140 | 108327 | 94 | 736.96 | 41126 | 19 | 24633 | 13 | 32 | 61737 | 30 | 31.671 | 559.6345 | 77144 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 934380 | 5084 | 17.8797 | 71.43% | 325 | 20754 | 3 | 14887729 | 5290 | 1058 | 6821726 | 2179 | 435.8 | 240714 | 535 | 107 | 8557 | 8 | 62.72 | 3275 | 1 | 7.84 | 146 | 1 | 7.84
2025-01-25 | 21206714 | 7729 | 21901425 | 7594 | 487761 | 142 | 15465 | 3093 | 108435 | 108 | 846.72 | 41145 | 19 | 24644 | 11 | 30 | 61766 | 29 | 30.6153 | 547.9691 | 77161 | 17 | 4833.865 | 1667.2 | 4413.1961 | 6080.3962 | 939113 | 4733 | 16.6453 | 91.11% | 445 | 20758 | 4 | 14892230 | 4501 | 900.2 | 6823838 | 2112 | 422.4 | 240893 | 179 | 35.8 | 8564 | 7 | 54.88 | 3275 | 0 | 0 | 147 | 1 | 7.84
2025-01-26 | 21214453 | 7739 | 21908877 | 7452 | 487893 | 132 | 15323 | 3064.6 | 108539 | 104 | 815.36 | 41164 | 19 | 24657 | 13 | 32 | 61796 | 30 | 31.671 | 559.6345 | 77179 | 18 | 5118.21 | 1765.2706 | 4413.1961 | 6178.4668 | 944337 | 5224 | 18.372 | 89.21% | 373 | 20760 | 2 | 14896640 | 4410 | 882 | 6825905 | 2067 | 413.4 | 241127 | 234 | 46.8 | 8574 | 10 | 78.4 | 3277 | 2 | 15.68 | 148 | 1 | 7.84
2025-01-27 | 21222364 | 7911 | 21916543 | 7666 | 488022 | 129 | 15706 | 3141.2 | 108650 | 111 | 870.24 | 41182 | 18 | 24672 | 15 | 33 | 61827 | 31 | 32.7267 | 571.3 | 77201 | 22 | 6255.59 | 2157.553 | 4413.1961 | 6570.7491 | 950284 | 5947 | 20.9147 | 97.14% | 385 | 20764 | 4 | 14902114 | 5474 | 1094.8 | 6828121 | 2216 | 443.2 | 241492 | 365 | 73 | 8582 | 8 | 62.72 | 3278 | 1 | 7.84 | 149 | 1 | 7.84
2025-01-28 | 21230136 | 7772 | 21924303 | 7760 | 488151 | 129 | 15661 | 3132.2 | 108748 | 98 | 768.32 | 41200 | 18 | 24686 | 14 | 32 | 61858 | 31 | 32.7267 | 571.3 | 77223 | 22 | 6255.59 | 2157.553 | 4413.1961 | 6570.7491 | 956636 | 6352 | 22.3391 | 99.05% | 406 | 20769 | 5 | 14907605 | 5491 | 1098.2 | 6830337 | 2216 | 443.2 | 241766 | 274 | 54.8 | 8591 | 9 | 70.56 | 3279 | 1 | 7.84 | 150 | 1 | 7.84
2025-01-29 | 21237989 | 7853 | 21932042 | 7739 | 488289 | 138 | 15730 | 3146 | 108861 | 113 | 885.92 | 41218 | 18 | 24700 | 14 | 32 | 61890 | 32 | 33.7824 | 582.9655 | 77243 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 962459 | 5823 | 20.4786 | 98.1% | 398 | 20773 | 4 | 14913102 | 5497 | 1099.4 | 6832562 | 2225 | 445 | 242018 | 252 | 50.4 | 8601 | 10 | 78.4 | 3281 | 2 | 15.68 | 151 | 1 | 7.84
2025-01-30 | 21246006 | 8017 | 21940084 | 8042 | 488420 | 131 | 16190 | 3238 | 108973 | 112 | 878.08 | 41236 | 18 | 24714 | 14 | 32 | 61920 | 30 | 31.671 | 559.6345 | 77263 | 20 | 5686.9 | 1961.4118 | 4413.1961 | 6374.608 | 968078 | 5619 | 19.7612 | 98.1% | 427 | 20777 | 4 | 14918717 | 5615 | 1123 | 6834826 | 2264 | 452.8 | 242316 | 298 | 59.6 | 8610 | 9 | 70.56 | 3282 | 1 | 7.84 | 152 | 1 | 7.84
2025-01-31 | 21253838 | 7832 | 21948058 | 7974 | 488561 | 141 | 15947 | 3189.4 | 109084 | 111 | 870.24 | 41255 | 19 | 24728 | 14 | 33 | 61953 | 33 | 34.8381 | 594.631 | 77282 | 19 | 5402.555 | 1863.3412 | 4413.1961 | 6276.5374 | 973395 | 5317 | 18.6991 | 91.11% | 435 | 20781 | 4 | 14924110 | 5393 | 1078.6 | 6837043 | 2217 | 443.4 | 242604 | 288 | 57.6 | 8621 | 11 | 86.24 | 3284 | 2 | 15.68 | 153 | 1 | 7.84
|  | 242856 |  | 237457 |  | 4305 | 484618 | 96923.6 |  | 3088 | 24209.92 |  | 593 |  | 420 | 1013 |  | 975 | 1029.3075 | 17873.6179 |  | 569 | 161792.305 | 55802.166 | 136809.0804 | 192611.2464 |  | 165021 | 580.3549 | 82.42% | 10863 |  | 122 |  | 159150 | 31830 |  | 66756 | 13351.2 |  | 7802 | 1560.4 |  | 236 | 1850.24 |  | 38 | 297.92 |  | 29 | 227.36
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 136809.08 | CHW Fixed Charges YTD 2025
| Actual January 2025 |  | 96923.6 |  |  | 484618 |  |  | Actual January 2025 |  | 24209.92 | 3088 |  | Actual January 2025 |  |  | 17873.6179 |  | 1029.3075 |  | Actual January 2025 |  | 192611.2464 |  | 161792.305 |  |  |  | 165021 | 3228.695 |  | 131547.55 | CHW Fixed Charges YTD 2024
| Budget January 2025 |  | 93744 |  |  | 468720 |  |  | Budget January 2025 |  | 28575.5249 | 3644.8374 |  | Budget January 2025 |  |  | 19314.1164 |  | 1159.6485 |  | Budget January 2025 |  | 197611.7754 |  | 176290.7956 | [6 empty] | 60802.6954 | CHW Consumption Charges (Budgeted 2025 MTD)
| Actual Januaray 2024 |  | 88010.2 |  |  | 440051 |  |  | Actual Januaray 2024 |  | 24986.08 | 3187 |  | Actual Januaray 2024 |  |  | 17343.64 |  | 981.3249 |  | Actual Januaray 2024 |  | 185376.9 |  | 156389.7443 | [6 empty] | 53829.35 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2025 |  | 96923.6 |  |  | 484618 |  |  | Actual YTD 2025 |  | 24209.92 | 3088 |  | Actual YTD 2025 |  |  | 17873.6179 |  | 1029.2867 |  | Actual YTD 2025 |  | 192611.2464 |  | 161792.3062 | [6 empty] | 55802.1664 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  | 93744 |  |  | 468720 |  |  | Budget YTD 2025 |  | 28575.5249 | 3644.8374 |  | Budget YTD 2025 |  |  | 19314.1164 |  | 1159.6485 |  | Budget YTD 2025 |  | 197611.7754 |  | 176290.7956 | [6 empty] | 60802.6954 | CHW Consumption Charges (Budgeted 2025 YTD)
| Actual YTD 2024 |  | 88010.2 |  |  | 440051 |  |  | Actual YTD 2024 |  | 24986.08 | 3187 |  | Actual YTD 2024 |  |  | 17343.64 |  | 981.3249 |  | Actual YTD 2024 |  | 185376.9 |  | 156389.7443 | [6 empty] | 53829.35 | CHW Consumption Charges (Actual 2024 YTD)
[7 empty] | 2025-01-01 | 2025-02-06 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 93744 |  | Electricity |  |  | 3024 |  | Electricity |  |  | 3126.5677 |  | Electricity |  |  |  | 93744 |  |  | Electricity |  | 96923.6 |  | -3179.6 | Electricity |  | 93744 |  | Electricity |  | 96923.6 | -3179.6 | 3179.6
Water | 28575.5249 |  | Water |  |  | 921.7911 |  | Water |  |  | 780.9652 |  | Water |  |  |  | 28575.5249 |  |  | Water |  | 24209.92 |  | 4365.6049 | Water |  | 28575.5249 |  | Water |  | 24209.92 | 4365.6049 | -4365.6049
Gas | 19314.1164 |  | Gas |  |  | 623.036 |  | Gas |  |  | 576.5683 |  | Gas |  |  |  | 19314.1164 |  |  | Gas |  | 17873.6179 |  | 1440.4985 | Gas |  | 19314.1164 |  | Gas |  | 17873.6179 | 1440.4985 | -1440.4985
Chilled Water | 197611.7754 |  | Chilled Water |  |  | 6374.5734 |  | Chilled Water |  |  | 6213.266 |  | Chilled Water |  |  |  | 197611.7754 |  |  | Chilled Water |  | 192611.2464 |  | 5000.529 | Chilled Water |  | 197611.7754 |  | Chilled Water |  | 192611.2464 | 5000.529 | -5000.529
| 339245.4167 | [15 empty] | 339245.4167 |  |  |  |  | 331618.3843 |  | 7627.0324 |  | Total Energy cost | 339245.4167 |  |  |  | 331618.3843 | 7627.0324
| 7627.0324 | [21 empty] | 2.248% | [7 empty] | 2.248%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 88010.2 |  | Electricity |  |  | 2839.0387 |  | Electricity |  |  | 88010.2 |  | Electricity |  |  |  | 96923.6 |  |  | Electricity |  | -8913.4 |  |  | 96923.6 | 96923.6 |  |  | -8913.4 | -8913.4
Water | 24986.08 |  | Water |  |  | 806.0026 |  | Water |  |  | 24986.08 |  | Water |  |  |  | 24209.92 |  |  | Water |  | 776.16 |  |  | 24209.92 | 24209.92 |  |  | 776.16 | 776.16
Gas | 17343.64 |  | Gas |  |  | 559.4723 |  | Gas |  |  | 17343.64 |  | Gas |  |  |  | 17873.6179 |  |  | Gas |  | -529.9779 |  |  | 17873.6179 | 17873.6179 |  |  | -529.9779 | -529.9779
Chilled Water | 185376.9 |  | Chilled Water |  |  | 5979.9 |  | Chilled Water |  |  | 185376.9 |  | Chilled Water |  |  |  | 192611.2464 |  |  | Chilled Water |  | -7234.3464 |  |  | 192611.2464 | 192611.2464 |  |  | -7234.3464 | -7234.3464
| 315716.82 | [9 empty] | 315716.82 | [5 empty] | 331618.3843 |  |  |  |  | -15901.5643 |  |  | 331618.3843 | 331618.3843 |  |  | -15901.5643 | -15901.5643
| -15901.5643 | [21 empty] | -5.037%