## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Total Fuel Oil (Liter) | Fuel Oil $/Liter | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Al Manakha Rotana Madinah | 1 | 3 | 2025 | 20524 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 232
Al Manakha Rotana Madinah | 2 | 3 | 2025 | 19871 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 204
Al Manakha Rotana Madinah | 3 | 3 | 2025 | 19821 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 195
Al Manakha Rotana Madinah | 4 | 3 | 2025 | 20273 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 179
Al Manakha Rotana Madinah | 5 | 3 | 2025 | 19570 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 231
Al Manakha Rotana Madinah | 6 | 3 | 2025 | 19721 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 310
Al Manakha Rotana Madinah | 7 | 3 | 2025 | 19621 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 288
Al Manakha Rotana Madinah | 8 | 3 | 2025 | 19922 | 0.34 | 0 | #DIV/0! | 0 | #DIV/0! | 224
Al Manakha Rotana Madinah | 9 | 3 | 2025 | 19721 | 0.34 | 0 | #DIV/0! | 190 | 4.63 | 218
Al Manakha Rotana Madinah | 10 | 3 | 2025 | 19871 | 0.34 | 0 | #DIV/0! | 80 | 4.63 | 182
Al Manakha Rotana Madinah | 11 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 12 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 13 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 14 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 15 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 16 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 17 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 18 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 19 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 20 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 21 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 22 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 23 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 24 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 25 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 26 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 27 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 28 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 29 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 30 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0
Al Manakha Rotana Madinah | 31 | 3 | 2025 | 0 | #DIV/0! | 0 | #DIV/0! | 0 | #DIV/0! | 0

## Cost.2.25
[7 empty] | 12862 |  |  | 373723 |  |  |  |  | 300 | 240 |  |  |  |  | 5364 | 48280
Energy Cost February 2025 | [26 empty] | Energy Cost - February 2025
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 46 | 47 | 48 | 49 | 50 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
[9 empty] | ELECTRICITY |  |  |  |  | FUEL | [5 empty] | WATER | [6 empty] | ELECTRICITY |  | WATER |  |  | LAST YEAR TOTAL ENERGY SAR | BUDGET TOTAL ENERGY SAR. | ACTUAL TOTAL ENERGY SAR |  | ENERGY LAST YEAR / OCCUPIED ROOM | ENERGY BUDGET / OCCUPIED ROOM | ENERGY ACTUAL / OCCUPIED ROOM
| DATE |  | Occ. |  | Occupied Rooms |  | Occupied Rooms Budget |  | CONSUMP. KWH | BUDGET SAR | LAST YEAR ACTUAL SAR | ACTUAL SAR |  | CONSUMP. LITRE | BUDGET LITRE | BUDGET SAR | LAST YEAR ACTUAL SAR | ACTUAL SAR |  | CONSUMP. M³ | BUDGET M³ | BUDGET SAR. | LAST YEAR ACTUAL SAR | ACTUAL SAR |  |  | KWH / Occupied Room | SAR / Occupied Room | Cu.Mt. / Occupied Room | SAR/ Occupied Room
| 2025-01-01 |  | 0% |  | 232 |  | 414.9032 |  | 20524 | 12055.5806 | #REF! | 6978.16 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 88.4655 | 30.0783 | 0 | 0 |  | #REF! | 13620.7419 | 6978.16 |  | #REF! | 32.8287 | 30.0783
| 2025-01-02 |  | 39.8% |  | 204 |  | 414.9032 |  | 19871 | 12055.5806 | #REF! | 6756.14 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 97.4069 | 33.1183 | 0 | 0 |  | #REF! | 13620.7419 | 6756.14 |  | #REF! | 32.8287 | 33.1183
| 2025-01-03 |  | 38.1% |  | 195 |  | 414.9032 |  | 19821 | 12055.5806 | #REF! | 6739.14 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 101.6462 | 34.5597 | 0 | 0 |  | #REF! | 13620.7419 | 6739.14 |  | #REF! | 32.8287 | 34.5597
| 2025-01-04 |  | 35% |  | 179 |  | 414.9032 |  | 20273 | 12055.5806 | #REF! | 6892.82 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 113.257 | 38.5074 | 0 | 0 |  | #REF! | 13620.7419 | 6892.82 |  | #REF! | 32.8287 | 38.5074
| 2025-01-05 |  | 45.1% |  | 231 |  | 414.9032 |  | 19570 | 12055.5806 | #REF! | 6653.8 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 84.7186 | 28.8043 | 0 | 0 |  | #REF! | 13620.7419 | 6653.8 |  | #REF! | 32.8287 | 28.8043
| 2025-01-06 |  | 60.5% |  | 310 |  | 414.9032 |  | 19721 | 12055.5806 | #REF! | 6705.14 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 63.6161 | 21.6295 | 0 | 0 |  | #REF! | 13620.7419 | 6705.14 |  | #REF! | 32.8287 | 21.6295
| 2025-01-07 |  | 56.3% |  | 288 |  | 414.9032 |  | 19621 | 12055.5806 | #REF! | 6671.14 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 68.1285 | 23.1637 | 0 | 0 |  | #REF! | 13620.7419 | 6671.14 |  | #REF! | 32.8287 | 23.1637
| 2025-01-08 |  | 43.8% |  | 224 |  | 414.9032 |  | 19922 | 12055.5806 | #REF! | 6773.48 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | 88.9375 | 30.2388 | 0 | 0 |  | #REF! | 13620.7419 | 6773.48 |  | #REF! | 32.8287 | 30.2388
| 2025-01-09 |  | 42.6% |  | 218 |  | 414.9032 |  | 19721 | 12055.5806 | #REF! | 6705.14 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 190 | 173.0323 | 1557.4194 | #REF! | 879.7 |  |  | 90.4633 | 30.7575 | 0.87156 | 4.0353 |  | #REF! | 13620.7419 | 7584.84 |  | #REF! | 32.8287 | 34.7928
| 2025-01-10 |  | 35.5% |  | 182 |  | 414.9032 |  | 19871 | 12055.5806 | #REF! | 6756.14 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 80 | 173.0323 | 1557.4194 | #REF! | 370.4 |  |  | 109.1813 | 37.1216 | 0.43956 | 2.0352 |  | #REF! | 13620.7419 | 7126.54 |  | #REF! | 32.8287 | 39.1568
| 2025-01-11 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-12 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-13 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-14 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-15 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-16 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-17 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-18 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-19 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-20 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-21 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-22 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-23 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-24 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-25 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-26 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-27 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-28 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-29 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-30 |  | 0% |  | 0 |  | 414.9032 |  | 0 | 12055.5806 | #REF! | 0 |  | 0 | 9.6774 | 7.7419 | #REF! | 0 |  | 0 | 173.0323 | 1557.4194 | #REF! | 0 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 13620.7419 | 0 |  | #REF! | 32.8287 | #DIV/0!
| 2025-01-31 | [19 empty] | 173.0323 | 1557.4194 | [15 empty] | #DIV/0!
| TOTAL |  | 13.22% |  | 2263 |  | 12447.0968 |  | 198915 | 361667.4194 | #REF! | 67631.1 |  | 0 | 290.3226 | 232.2581 | #REF! | 0 |  | 270 | 5364 | 48280 | #REF! | 1250.1 |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | #REF! | 408622.2581 | 68881.2 |  | #REF! | 32.8287 | #DIV/0!

## Reading.2.25
1 | 2 |  |  | 3 | 4 | 7 |  | 8 | 17 | 18 |  |  |  | 19 | 20 | 21 | 22 | 24 | 25 |  | 25 |  |  | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 45 | 48 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 121 | 122 | 123 | 120 | 121 | 122 | 123 | 120 | 121 | 122 | 123 | 120 | 121 | 122 | 123 |  |  |  | 125 |  |  |  | 126 |  |  | 127 | 128
| WATER | [8 empty] | FUEL | [13 empty] | 31: TOTAL KWH; 35: Occupancy %; 39: Rooms Occupied; 55: Weather Temperature; 64: Available Rooms; 66: Water Sold Last Year; 68: Kitchen Water; 72: Laundry Water; 105: Laundry Electricity; 109: Kit. Equip. Electricity; 113: Chiller 1-H2-Circuit1; 117: Chiller 1-H2-Circuit 2; 121: Chiller 2-H2-Circuit1; 121: Chiller 2-H2-Circuit2; 121: Chiller 3 Mall-H2-Circuit1; 121: Chiller 3 Mall-H2-Circuit2; 121: Chiller 1-H3-Circuit1 | Chiller 1-H3-Circuit2 |  |  | Chilled Pumps KWH | Chiller 2-H3-Circuit1 |  |  | Chiller 2-H3-Circuit2 |  |  | Total Chillers
[10 empty] | Tower 1 |  | Tower 2 | [5 empty] | Tower 1 |  | Tower 2 |  | Total Consump | bar: 55 to 62
Date | Reading Tower 1 | Consump. Tower 1 | Reading Tower 2 | Consump. Tower 2 | Buy | Consump. This Year | Budget m | Last Year |  | Reading | Consump. | Reading | Consump. | Add | Consump. This Year | Last Year |  | Consump. This Year | Consump. Last Year | Consump. This Year | Consump. Last Year | Consump. This Year | Consump. Last Year |  | This Year | Last Year | Budget |  | This Year | Last Year | Budget |  | This Year | Last Year | Budget |  | Cos Ø |  | This Year - October 2024 |  |  |  | Last Year - October 2023 | [8 empty] | Counter Reading | Consumption This year | Consumption Last Year |  | Counter Reading | Consumption | Consumption Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year | Counter Reading | Cons. | Cons. Last Year |  | Counter Reading | Cons. | Cons. Last Year | Counter Reading | Cons. | Cons. Last Year | Cons. | Cons. Last Year
[10 empty] | 1000 |  | 1000 | [26 empty] | Max | Avg | Min | Hum | Max | Avg | Min | Hum | [21 empty] | 41016 |  |  |  | 41580 |  |  |  | 43179 |  |  |  | 36423 |  |  |  | 52498 |  |  |  | 48855 |  |  |  | 92674 |  |  | 43799 |  |  |  | 49297 |  |  | 5098
2025-03-01 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 20524 |  | 9434 |  | 29958 |  |  | 29958 |  | 36532.0968 |  | 45.3% |  | 81% |  | 232 |  | 414.9032 |  | 0.97 |  | 27 | 21.3 | 13 | 41 | 28 | 20.7 | 14 | 22 | [21 empty] | 41016 | 0 |  |  | 41580 | 0 |  |  | 43179 | 0 |  |  | 36423 | 0 |  |  | 52498 | 0 |  |  | 48855 | 0 |  |  | 92674 | 0 |  | 43799 | 0 |  |  | 49297 | 0 |  | 5098 | 0 |  | 0 | #REF!
2025-03-02 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19871 |  | 9233 |  | 29104 |  |  | 29104 |  | 36532.0968 |  | 39.8% |  | 81% |  | 204 |  | 414.9032 |  | 0.97 |  | 24 | 17.6 | 14 | 27 | 31 | 24.6 | 18 | 57 | [21 empty] | 41018 | 2 |  |  | 41723 | 143 |  |  | 43192 | 13 |  |  | 36467 | 44 |  |  | 52644 | 146 |  |  | 48863 | 8 |  |  | 92675 | 1 |  | 43955 | 156 |  |  | 49298 | 1 |  | 5100 | 2 |  | 158 | #REF!
2025-03-03 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19821 |  | 8882 |  | 28703 |  |  | 28703 |  | 36532.0968 |  | 38.1% |  | 81% |  | 195 |  | 414.9032 |  | 0.97 |  | 28 | 22.1 | 15 | 19 | 31 | 26.6 | 22 | 57 | [21 empty] | 41044 | 26 |  |  | 41825 | 102 |  |  | 43194 | 2 |  |  | 36471 | 4 |  |  | 52967 | 323 |  |  | 48867 | 4 |  |  | 92677 | 2 |  | 44104 | 149 |  |  | 49299 | 1 |  | 5101 | 1
2025-03-04 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 20273 |  | 9133 |  | 29406 |  |  | 29406 |  | 36532.0968 |  | 35% |  | 81% |  | 179 |  | 414.9032 |  | 0.97 |  | 29 | 23.4 | 21 | 27 | 30 | 24.8 | 18 | 28 | [21 empty] | 41189 | 145 |  |  | 41826 | 1 |  |  | 43214 | 20 |  |  | 36486 | 15 |  |  | 52932 | -35 |  |  | 48872 | 5 |  |  | 92678 | 1 |  | 44242 | 138 |  |  | 49300 | 1 |  | 5102 | 1
2025-03-05 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19570 |  | 8982 |  | 28552 |  |  | 28552 |  | 36532.0968 |  | 45.1% |  | 81% |  | 231 |  | 414.9032 |  | 0.97 |  | 26 | 21.5 | 15 | 55 | 31 | 24.8 | 19 | 25 | [21 empty] | 41190 | 1 |  |  | 41977 | 151 |  |  | 43250 | 36 |  |  | 36501 | 15 |  |  | 53080 | 148 |  |  | 48883 | 11 |  |  | 92679 | 1 |  | 44392 | 150 |  |  | 49301 | 1 |  | 5103 | 1
2025-03-06 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19721 |  | 9133 |  | 28854 |  |  | 28854 |  | 36532.0968 |  | 60.5% |  | 81% |  | 310 |  | 414.9032 |  | 0.97 |  | 28 | 22.6 | 17 | 37 | 31 | 25.6 | 20 | 24
2025-03-07 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19621 |  | 9032 |  | 28653 |  |  | 28653 |  | 36532.0968 |  | 56.3% |  | 81% |  | 288 |  | 414.9032 |  | 0.97 |  | 26 | 20.6 | 16 | 39 | 30 | 25.4 | 18 | 37 | [21 empty] | 41193 |  |  |  | 42269 |  |  |  | 43283 |  |  |  | 36546 |  |  |  | 53324 |  |  |  | 48905 |  |  |  | 92681 |  |  | 44704 |  |  |  | 49304 |  |  | 5105
2025-03-08 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19922 |  | 8882 |  | 28804 |  |  | 28804 |  | 36532.0968 |  | 43.8% |  | 81% |  | 224 |  | 414.9032 |  | 0.97 |  | 25 | 19.8 | 14 | 42 | 30 | 24.8 | 19 | 21
2025-03-09 | 161 | 161 | 29 | 29 | 0 | 190 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19721 |  | 8781 |  | 28502 |  |  | 28502 |  | 36532.0968 |  | 42.6% |  | 81% |  | 218 |  | 414.9032 |  | 0.97 |  | 28 | 21.3 | 13 | 41 | 30 | 23.8 | 16 | 19
2025-03-10 | 224 | 63 | 46 | 17 | 0 | 80 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 |  |  | 19871 |  | 8882 |  | 28753 |  |  | 28753 |  | 36532.0968 |  | 35.5% |  | 81% |  | 182 |  | 414.9032 |  | 0.97 |  | 28 | 22.6 | 15 | 37 | 34 | 26.4 | 17 | 16
2025-03-11 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 33; Last Year - October 2023 Avg: 27.9; Last Year - October 2023 Min: 22; Last Year - October 2023 Hum: 26
2025-03-12 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 32; Last Year - October 2023 Avg: 25.5; Last Year - October 2023 Min: 20; Last Year - October 2023 Hum: 15
2025-03-13 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 36; Last Year - October 2023 Avg: 28.1; Last Year - October 2023 Min: 21; Last Year - October 2023 Hum: 35
2025-03-14 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 35; Last Year - October 2023 Avg: 30; Last Year - October 2023 Min: 25; Last Year - October 2023 Hum: 44
2025-03-15 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 34; Last Year - October 2023 Avg: 28.5; Last Year - October 2023 Min: 23; Last Year - October 2023 Hum: 48
2025-03-16 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 31; Last Year - October 2023 Avg: 27.3; Last Year - October 2023 Min: 22; Last Year - October 2023 Hum: 19
2025-03-17 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 34; Last Year - October 2023 Avg: 28.5; Last Year - October 2023 Min: 23; Last Year - October 2023 Hum: 34
2025-03-18 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 33; Last Year - October 2023 Avg: 27; Last Year - October 2023 Min: 21; Last Year - October 2023 Hum: 53
2025-03-19 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 26; Last Year - October 2023 Avg: 21; Last Year - October 2023 Min: 17; Last Year - October 2023 Hum: 88
2025-03-20 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 29; Last Year - October 2023 Avg: 21.8; Last Year - October 2023 Min: 14; Last Year - October 2023 Hum: 59
2025-03-21 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 31; Last Year - October 2023 Avg: 25.5; Last Year - October 2023 Min: 19; Last Year - October 2023 Hum: 46
2025-03-22 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 31; Last Year - October 2023 Avg: 27; Last Year - October 2023 Min: 22; Last Year - October 2023 Hum: 26
2025-03-23 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 31; Last Year - October 2023 Avg: 25; Last Year - October 2023 Min: 19; Last Year - October 2023 Hum: 23
2025-03-24 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 29; Last Year - October 2023 Avg: 23.6; Last Year - October 2023 Min: 19; Last Year - October 2023 Hum: 22
2025-03-25 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 25; Last Year - October 2023 Avg: 21; Last Year - October 2023 Min: 17; Last Year - October 2023 Hum: 28
2025-03-26 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 29; Last Year - October 2023 Avg: 23; Last Year - October 2023 Min: 17; Last Year - October 2023 Hum: 32
2025-03-27 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 32; Last Year - October 2023 Avg: 26.1; Last Year - October 2023 Min: 19; Last Year - October 2023 Hum: 24
2025-03-28 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 | 0 | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 33; Last Year - October 2023 Avg: 28.1; Last Year - October 2023 Min: 23; Last Year - October 2023 Hum: 34
2025-03-29 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 |  | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 26; Last Year - October 2023 Avg: 20.3; Last Year - October 2023 Min: 17; Last Year - October 2023 Hum: 100
2025-03-30 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 |  | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 29; Last Year - October 2023 Avg: 21.8; Last Year - October 2023 Min: 15; Last Year - October 2023 Hum: 94
2025-03-31 |  |  |  |  | 0 | 0 | 173.0323 |  |  | 1000 |  | 1000 | 0 | 0 | 0 | [11 empty] | 36532.0968 |  |  |  | 81% |  |  |  | 414.9032 |  | 0.97 |  | Last Year - October 2023 Max: 30; Last Year - October 2023 Avg: 24.9; Last Year - October 2023 Min: 20; Last Year - October 2023 Hum: 60
|  |  |  | 23 |  | 270 |  | 0 | [5 empty] | 0 | 0 | 0 |  | 198915 | 0 | 90374 | 0 | 289289 |  |  | 289289 | 0 | 1132495 |  | 44.2% | #DIV/0! | 81% |  | 2263 | 0 | 12862 |  | 97% |  | 26.9 | 21.28 | 15.3 | 36.5 | 30.8065 | 25.1419 | 19.2258 | 39.2258 |  | 0 |  | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 | [14 empty] | 0
Average/Day
46
[16 empty] | ENERGY COST / OCCUPIED ROOM - LAST YEAR = | [9 empty] | OCCUPANCY - LAST YEAR = |  |  |  | #DIV/0! |  |  | KWH / OCCUPIED ROOM - LAST YEAR | [5 empty] | This Year - October 2024 Max: https://www.wunderground.com/history/monthly/sa/medina/OEMA/date/2025-3
[16 empty] | ENERGY COST / OCCUPIED ROOM - THIS YEAR = | [9 empty] | OCCUPANCY - THIS YEAR = |  |  |  | 44.2% |  |  | KWH / OCCU[PIED ROOM - THIS YEAR
[16 empty] | ENERGY COST / OCCUPIED ROOM - BUDGET = | [9 empty] | OCCUPANCY - BUDGET= |  |  |  | 81% |  |  | KWH / OCCUPIED ROOM - BUDGET
KWH / AVAILABLE ROOM - LAST YEAR
KWH / AVAILABLE ROOM - THIS YEAR
KWH / AVAILABLE ROOM - BUDGET
.

## Sheet1
Daily Observations
Time | Temperature (° C) |  |  | Dew Point (° C) |  |  | Humidity (%) |  |  | Wind Speed (mph) |  |  | Pressure (Hg) |  |  | Precipitation (in)
Jun | Max | Avg | Min | Max | Avg | Min | Max | Avg | Min | Max | Avg | Min | Max | Avg | Min
1 | 35 | 29.8 | 25 | 14 | 10.3 | 7 | 50 | 31 | 20 | 37 | 23.4 | 4 | 1003.9 | 1002.9 | 1001.9
2 | 39 | 33.4 | 26 | 12 | 8.6 | 4 | 42 | 22.9 | 14 | 33 | 13.8 | 0 | 1001.9 | 1000.2 | 998.9
3 | 33 | 28.9 | 24 | 17 | 12.1 | 7 | 65 | 37.2 | 20 | 30 | 16.3 | 0 | 1005.9 | 1003.7 | 1001.9
4 | 36 | 31.1 | 26 | 15 | 11.7 | 10 | 51 | 31.3 | 20 | 30 | 16.1 | 6 | 1004.9 | 1003.4 | 1001.9
5 | 36 | 30.8 | 26 | 18 | 15.1 | 12 | 61 | 39.5 | 28 | 35 | 25.1 | 11 | 1004.9 | 1002.9 | 1000.9
6 | 37 | 31.4 | 27 | 17 | 14.7 | 11 | 54 | 37.6 | 21 | 28 | 14.5 | 0 | 1004.9 | 1002.6 | 1000.9
7 | 39 | 32.2 | 28 | 18 | 15.3 | 13 | 48 | 36.9 | 22 | 22 | 9.2 | 0 | 1002.9 | 1001 | 999.9
8 | 39 | 33.7 | 26 | 21 | 15.5 | 12 | 51 | 34.5 | 20 | 19 | 8.4 | 0 | 1000.9 | 999.3 | 997.9
9 | 38 | 33 | 29 | 16 | 14.1 | 12 | 45 | 32.3 | 21 | 28 | 15.9 | 6 | 1001.9 | 1000.1 | 998.9
10 | 38 | 33 | 28 | 17 | 13.5 | 9 | 51 | 32 | 18 | 37 | 22.5 | 9 | 1002.9 | 1001.9 | 1000.9
11 | 38 | 33.5 | 29 | 17 | 14.2 | 12 | 45 | 31.5 | 22 | 31 | 23.9 | 19 | 1003.9 | 1002.1 | 1000.9
12 | 37 | 31.9 | 26 | 17 | 15.6 | 14 | 51 | 37.9 | 29 | 44 | 32.5 | 20 | 1002.9 | 1001.6 | 1000.9
13 | 38 | 33.8 | 28 | 21 | 16.3 | 13 | 48 | 35.5 | 25 | 26 | 11.1 | 0 | 1000.9 | 1000 | 997.9
14 | 38 | 33.5 | 30 | 21 | 19.3 | 17 | 55 | 43.4 | 35 | 35 | 20.7 | 0 | 998.9 | 997.7 | 996
15 | 35 | 30.5 | 26 | 21 | 19.7 | 18 | 61 | 52.7 | 44 | 35 | 26.9 | 19 | 1001.9 | 1000.2 | 997.9
16 | 37 | 30.9 | 26 | 23 | 19.5 | 7 | 65 | 51.6 | 26 | 31 | 21.7 | 4 | 1002.9 | 1001.2 | 999.9
17 | 41 | 34.2 | 29 | 23 | 20.4 | 17 | 70 | 45.8 | 27 | 31 | 21.3 | 11 | 1002.9 | 1001.2 | 999.9
18 | 39 | 33.4 | 29 | 22 | 18.3 | 13 | 66 | 42.6 | 22 | 35 | 14.3 | 0 | 1001.9 | 1000.2 | 998.9
19 | 36 | 30.3 | 26 | 23 | 20.6 | 18 | 74 | 57.2 | 34 | 35 | 28.3 | 19 | 1002.9 | 1001.3 | 998.9
20 | 35 | 30.2 | 25 | 23 | 20.8 | 19 | 74 | 57.9 | 44 | 31 | 25.1 | 11 | 1003.9 | 1001.8 | 1000.9
21 | 37 | 31.8 | 26 | 26 | 20.7 | 14 | 74 | 53.5 | 28 | 30 | 15.3 | 0 | 1003.9 | 1002.1 | 1000.9
22 | 40 | 34.8 | 28 | 20 | 13.3 | 9 | 48 | 28.8 | 17 | 20 | 9.1 | 0 | 1002.9 | 1001.2 | 999.9
23 | 39 | 34.3 | 29 | 17 | 11.7 | 9 | 48 | 26.2 | 17 | 33 | 23.9 | 11 | 1004.9 | 1003.2 | 1000.9
24 | 37 | 32.2 | 28 | 16 | 12.5 | 9 | 45 | 30.5 | 19 | 37 | 28.6 | 19 | 1005.9 | 1004 | 1002.9
25 | 36 | 30.8 | 26 | 17 | 14.5 | 12 | 57 | 38.3 | 26 | 41 | 28.1 | 19 | 1002.9 | 1001 | 998.9
26 | 36 | 31.5 | 26 | 19 | 15.4 | 9 | 65 | 39.6 | 19 | 30 | 23.5 | 15 | 999.9 | 998.6 | 997
27 | 38 | 32.1 | 28 | 19 | 16.2 | 13 | 58 | 39.1 | 25 | 26 | 15.1 | 0 | 999.9 | 998.8 | 997.9
28 | 39 | 33.4 | 28 | 18 | 15.5 | 12 | 54 | 35.1 | 20 | 26 | 14.2 | 0 | 999.9 | 998.6 | 997
29 | 38 | 33.5 | 29 | 16 | 13.3 | 10 | 45 | 30 | 20 | 31 | 18.2 | 0 | 998.9 | 997.7 | 996
30 | 37 | 33.7 | 29 | 15 | 11.5 | 8 | 40 | 26.3 | 19 | 26 | 17.1 | 7 | 998.9 | 997 | 996