## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 5 | 2024 | 39617.2 | 0.2 | 0 | 1.58 | 685.68 | 7.84 | 461 | 630
Park Rotana and Park Arjaan Abu Dhabi | 2 | 5 | 2024 | 37490.4 | 0.2 | 4518.477 | 1.58 | 411.868 | 7.84 | 485 | 684
Park Rotana and Park Arjaan Abu Dhabi | 3 | 5 | 2024 | 39649.2 | 0.2 | 2569.502 | 1.58 | 393.648 | 7.84 | 474 | 690
Park Rotana and Park Arjaan Abu Dhabi | 4 | 5 | 2024 | 39356.8 | 0.2 | 2516.74 | 1.58 | 354.582 | 7.84 | 478 | 643
Park Rotana and Park Arjaan Abu Dhabi | 5 | 5 | 2024 | 39105.8 | 0.2 | 2272.392 | 1.58 | 386.988 | 7.84 | 455 | 596
Park Rotana and Park Arjaan Abu Dhabi | 6 | 5 | 2024 | 39720.2 | 0.2 | 2422.612 | 1.58 | 487.364 | 7.84 | 478 | 674
Park Rotana and Park Arjaan Abu Dhabi | 7 | 5 | 2024 | 39631.8 | 0.2 | 2306.173 | 1.58 | 460.967 | 7.84 | 473 | 673
Park Rotana and Park Arjaan Abu Dhabi | 8 | 5 | 2024 | 40784.8 | 0.2 | 2266.953 | 1.58 | 477.655 | 7.84 | 462 | 637
Park Rotana and Park Arjaan Abu Dhabi | 9 | 5 | 2024 | 40379.2 | 0.2 | 2395.565 | 1.58 | 436.67 | 7.84 | 460 | 625
Park Rotana and Park Arjaan Abu Dhabi | 10 | 5 | 2024 | 38545.2 | 0.2 | 2138.082 | 1.58 | 454.964 | 7.84 | 425 | 633
Park Rotana and Park Arjaan Abu Dhabi | 11 | 5 | 2024 | 39114.4 | 0.2 | 2520.107 | 1.58 | 399.392 | 7.84 | 404 | 602
Park Rotana and Park Arjaan Abu Dhabi | 12 | 5 | 2024 | 39067.8 | 0.2 | 2502.347 | 1.58 | 455.718 | 7.84 | 398 | 553
Park Rotana and Park Arjaan Abu Dhabi | 13 | 5 | 2024 | 39206.2 | 0.2 | 2393.197 | 1.58 | 444.422 | 7.84 | 418 | 584
Park Rotana and Park Arjaan Abu Dhabi | 14 | 5 | 2024 | 40020.4 | 0.2 | 2199.724 | 1.58 | 435.97 | 7.84 | 463 | 683
Park Rotana and Park Arjaan Abu Dhabi | 15 | 5 | 2024 | 38688.2 | 0.2 | 2105.522 | 1.58 | 470.578 | 7.84 | 450 | 620
Park Rotana and Park Arjaan Abu Dhabi | 16 | 5 | 2024 | 39915.8 | 0.2 | 2073.443 | 1.58 | 460.232 | 7.84 | 474 | 678
Park Rotana and Park Arjaan Abu Dhabi | 17 | 5 | 2024 | 40090.4 | 0.2 | 2050.91 | 1.58 | 413.568 | 7.84 | 406 | 592
Park Rotana and Park Arjaan Abu Dhabi | 18 | 5 | 2024 | 39337.4 | 0.2 | 2177.524 | 1.58 | 434.544 | 7.84 | 466 | 706
Park Rotana and Park Arjaan Abu Dhabi | 19 | 5 | 2024 | 38391.4 | 0.2 | 2260.404 | 1.58 | 426.398 | 7.84 | 469 | 624
Park Rotana and Park Arjaan Abu Dhabi | 20 | 5 | 2024 | 39741.4 | 0.2 | 2278.941 | 1.58 | 381.304 | 7.84 | 460 | 617
Park Rotana and Park Arjaan Abu Dhabi | 21 | 5 | 2024 | 39807.2 | 0.2 | 2510.709 | 1.58 | 483.081 | 7.84 | 472 | 652
Park Rotana and Park Arjaan Abu Dhabi | 22 | 5 | 2024 | 39915.4 | 0.2 | 2255.483 | 1.58 | 421.81 | 7.84 | 452 | 637
Park Rotana and Park Arjaan Abu Dhabi | 23 | 5 | 2024 | 39695 | 0.2 | 2290.226 | 1.58 | 451.356 | 7.84 | 374 | 528
Park Rotana and Park Arjaan Abu Dhabi | 24 | 5 | 2024 | 38692.6 | 0.2 | 2455.579 | 1.58 | 530.999 | 7.84 | 363 | 499
Park Rotana and Park Arjaan Abu Dhabi | 25 | 5 | 2024 | 39387.2 | 0.2 | 2606.428 | 1.58 | 418.088 | 7.84 | 377 | 535
Park Rotana and Park Arjaan Abu Dhabi | 26 | 5 | 2024 | 37414.8 | 0.2 | 2633.142 | 1.58 | 492.068 | 7.84 | 333 | 441
Park Rotana and Park Arjaan Abu Dhabi | 27 | 5 | 2024 | 39786.8 | 0.2 | 2506.898 | 1.58 | 459.633 | 7.84 | 444 | 589
Park Rotana and Park Arjaan Abu Dhabi | 28 | 5 | 2024 | 40291.8 | 0.2 | 2575.348 | 1.58 | 457.031 | 7.84 | 469 | 623
Park Rotana and Park Arjaan Abu Dhabi | 29 | 5 | 2024 | 39886.8 | 0.2 | 2530.06 | 1.58 | 522.646 | 7.84 | 444 | 573
Park Rotana and Park Arjaan Abu Dhabi | 30 | 5 | 2024 | 43269.8 | 0.2 | 2531.355 | 1.58 | 455.996 | 7.84 | 401 | 552
Park Rotana and Park Arjaan Abu Dhabi | 31 | 5 | 2024 | 43955.2 | 0.2 | 656.777 | 1.58 | 509.014 | 7.84 | 346 | 488

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MAY 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 9401020 | 9423395 | 9445251 | 9467918 | 9490367 | 9512690 | 9535543 | 9557710 | 9580484 | 9603312 | 9625762 | 9648413 | 9670588 | 9693013 | 9715920 | 9738300 | 9760966 | 9783743 | 9805768 | 9827017 | 9849602 | 9872239 | 9895014 | 9917695 | 9939445 | 9961614 | 9981863 | 10004044 | 10026125 | 10047932 | 10069637 | 10091408
|  |  |  | 22375 | 21856 | 22667 | 22449 | 22323 | 22853 | 22167 | 22774 | 22828 | 22450 | 22651 | 22175 | 22425 | 22907 | 22380 | 22666 | 22777 | 22025 | 21249 | 22585 | 22637 | 22775 | 22681 | 21750 | 22169 | 20249 | 22181 | 22081 | 21807 | 21705 | 21771
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 9803407 | 9827018 | 9849168 | 9872628 | 9895812 | 9919062 | 9941625 | 9963652 | 9987223 | 10010230 | 10031065 | 10051650 | 10072597 | 10092417 | 10113311 | 10130840 | 10150691 | 10170659 | 10190516 | 10210777 | 10231264 | 10251827 | 10272417 | 10292946 | 10313183 | 10333613 | 10353715 | 10373074 | 10392303 | 10411374 | 10430067 | 10447885
|  |  |  | 23611 | 22150 | 23460 | 23184 | 23250 | 22563 | 22027 | 23571 | 23007 | 20835 | 20585 | 20947 | 19820 | 20894 | 17529 | 19851 | 19968 | 19857 | 20261 | 20487 | 20563 | 20590 | 20529 | 20237 | 20430 | 20102 | 19359 | 19229 | 19071 | 18693 | 17818
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 5603502 | 5622214 | 5638380 | 5656568 | 5674821 | 5692688 | 5711473 | 5732288 | 5752879 | 5772945 | 5791528 | 5811259 | 5831714 | 5852807 | 5874039 | 5896473 | 5918964 | 5941537 | 5964136 | 5985931 | 6007550 | 6029145 | 6050601 | 6071827 | 6093174 | 6114992 | 6137022 | 6160880 | 6186368 | 6211709 | 6246153 | 6282943
|  |  |  | 18712 | 16166 | 18188 | 18253 | 17867 | 18785 | 20815 | 20591 | 20066 | 18583 | 19731 | 20455 | 21093 | 21232 | 22434 | 22491 | 22573 | 22599 | 21795 | 21619 | 21595 | 21456 | 21226 | 21347 | 21818 | 22030 | 23858 | 25488 | 25341 | 34444 | 36790
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3226 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3229 | 3233 | 3233 | 3233 | 3233 | 3233 | 3233 | 3233
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 457 | 458 | 458 | 458 | 458 | 458 | 458 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 459 | 460 | 460 | 460 | 460 | 460 | 460 | 460
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1401450 | 1401713 | 1401971 | 1402245 | 1402530 | 1402816 | 1403094 | 1403374 | 1403671 | 1403948 | 1404229 | 1404515 | 1404797 | 1405166 | 1405381 | 1405655 | 1405920 | 1406169 | 1406450 | 1406721 | 1406984 | 1407244 | 1407516 | 1407779 | 1408040 | 1408305 | 1408570 | 1408841 | 1409118 | 1409389 | 1409655 | 1409950
|  |  |  | 263 | 258 | 274 | 285 | 286 | 278 | 280 | 297 | 277 | 281 | 286 | 282 | 369 | 215 | 274 | 265 | 249 | 281 | 271 | 263 | 260 | 272 | 263 | 261 | 265 | 265 | 271 | 277 | 271 | 266 | 295
14 | E5T09D034327 | Hotel Gym S (Kwh) | 376032 | 376082 | 376132 | 376181 | 376229 | 376279 | 376329 | 376377 | 376426 | 376471 | 376518 | 376568 | 376615 | 376662 | 376710 | 376759 | 376807 | 376854 | 376903 | 376952 | 377003 | 377050 | 377100 | 377149 | 377197 | 377246 | 377294 | 377342 | 377389 | 377433 | 377477 | 377523
|  |  |  | 50 | 50 | 49 | 48 | 50 | 50 | 48 | 49 | 45 | 47 | 50 | 47 | 47 | 48 | 49 | 48 | 47 | 49 | 49 | 51 | 47 | 50 | 49 | 48 | 49 | 48 | 48 | 47 | 44 | 44 | 46
| Total Daily Consumption (kw) |  |  | 39617.2 | 37490.4 | 39649.2 | 39356.8 | 39105.8 | 39720.2 | 39631.8 | 40784.8 | 40379.2 | 38545.2 | 39114.4 | 39067.8 | 39206.2 | 40020.4 | 38688.2 | 39915.8 | 40090.4 | 39337.4 | 38391.4 | 39741.4 | 39807.2 | 39915.4 | 39695 | 38692.6 | 39387.2 | 37414.8 | 39786.8 | 40291.8 | 39886.8 | 43269.8 | 43955.2
| Total Monthly Consumption (kw) |  |  | 1: 1229956.6
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MAY 2024
AREA SERVED | BOILER 1 & 2 |  | MAIN KITCHEN |  | PASTRY KITCHEN |  | GINGER KITCHEN |  | TEATRO |  | COOPER'S KITCHEN
PRESSURE (mBar) | 483 |  | 30 |  | 30 |  | 30 |  | 50 |  | 30
LAST MONTH'S FINAL READING | 981795 |  | 69699.26 |  | 7891.17 |  | 2318.04 |  | 190537.8 |  | 14647.76 |  | Daily Consumption
1 | 981795 | 0 | 69699.26 | 0 | 7891.17 | 0 | 2318.04 | 0 | 190537.8 | 0 | 14647.76 | 0 | 0
2 | 982945 | 4255 | 69717.29 | 66.711 | 7895.89 | 17.464 | 2318.29 | 0.925 | 190580.4 | 157.62 | 14653.37 | 20.757 | 4518.477
3 | 983606 | 2445.7 | 69729.86 | 46.509 | 7895.89 | 0 | 2318.42 | 0.481 | 190598.6 | 67.34 | 14655.93 | 9.472 | 2569.502
4 | 984248 | 2375.4 | 69739.81 | 36.815 | 7896.02 | 0.481 | 2318.6 | 0.666 | 190622.4 | 88.06 | 14660.07 | 15.318 | 2516.74
5 | 984825 | 2134.9 | 69750.2 | 38.443 | 7897.43 | 5.217 | 2318.73 | 0.481 | 190644.6 | 82.14 | 14663.1 | 11.211 | 2272.392
6 | 985438 | 2268.1 | 69758.91 | 32.227 | 7898.64 | 4.477 | 2318.89 | 0.592 | 190672.3 | 102.49 | 14667.08 | 14.726 | 2422.612
7 | 986024 | 2168.2 | 69768.06 | 33.855 | 7900.2 | 5.772 | 2319.12 | 0.851 | 190694.3 | 81.4 | 14671.43 | 16.095 | 2306.173
8 | 986600 | 2131.2 | 69779 | 40.478 | 7901.5 | 4.81 | 2319.3 | 0.666 | 190715 | 76.59 | 14675 | 13.209 | 2266.953
9 | 987205 | 2238.5 | 69790 | 40.7 | 7902.9 | 5.18 | 2319.35 | 0.185 | 190740 | 92.5 | 14680 | 18.5 | 2395.565
10 | 987754 | 2031.3 | 69797.47 | 27.639 | 7903.33 | 1.591 | 2319.45 | 0.37 | 190760.1 | 74.37 | 14680.76 | 2.812 | 2138.082
11 | 988399 | 2386.5 | 69805.17 | 28.49 | 7904.34 | 3.737 | 2319.57 | 0.444 | 190782.7 | 83.62 | 14685.44 | 17.316 | 2520.107
12 | 989043 | 2382.8 | 69811.59 | 23.754 | 7905.09 | 2.775 | 2319.65 | 0.296 | 190806 | 86.21 | 14687.2 | 6.512 | 2502.347
13 | 989654 | 2260.7 | 69820.31 | 32.264 | 7906.12 | 3.811 | 2319.77 | 0.444 | 190828.7 | 83.99 | 14690.44 | 11.988 | 2393.197
14 | 990217 | 2083.1 | 69829.29 | 33.226 | 7907.6 | 5.476 | 2319.9 | 0.481 | 190847.4 | 69.19 | 14692.67 | 8.251 | 2199.724
15 | 990756 | 1994.3 | 69837.3 | 29.637 | 7908.21 | 2.257 | 2319.98 | 0.296 | 190867.3 | 73.63 | 14694.13 | 5.402 | 2105.522
16 | 991279 | 1935.1 | 69845.91 | 31.857 | 7909.93 | 6.364 | 2320.14 | 0.592 | 190892.1 | 91.76 | 14696.23 | 7.77 | 2073.443
17 | 991817 | 1990.6 | 69851.81 | 21.83 | 7910.48 | 2.035 | 2320.22 | 0.296 | 190900.1 | 29.6 | 14698 | 6.549 | 2050.91
18 | 992372 | 2053.5 | 69858.43 | 24.494 | 7911.78 | 4.81 | 2320.42 | 0.74 | 190922.2 | 81.77 | 14701.3 | 12.21 | 2177.524
19 | 992949 | 2134.9 | 69864 | 20.609 | 7913.1 | 4.884 | 2320.56 | 0.518 | 190945.6 | 86.58 | 14704.79 | 12.913 | 2260.404
20 | 993530 | 2149.7 | 69873.94 | 36.778 | 7913.87 | 2.849 | 2320.65 | 0.333 | 190965.4 | 73.26 | 14709.12 | 16.021 | 2278.941
21 | 994173 | 2379.1 | 69881.68 | 28.638 | 7915.38 | 5.587 | 2320.81 | 0.592 | 190986 | 76.22 | 14714.68 | 20.572 | 2510.709
22 | 994750 | 2134.9 | 69889.05 | 27.269 | 7916.9 | 5.624 | 2320.99 | 0.666 | 191005 | 70.3 | 14719.2 | 16.724 | 2255.483
23 | 995331 | 2149.7 | 69896.13 | 26.196 | 7917.63 | 2.701 | 2321.06 | 0.259 | 191031.3 | 97.31 | 14723 | 14.06 | 2290.226
24 | 995960 | 2327.3 | 69906.63 | 38.85 | 7918.3 | 2.479 | 2321.06 | 0 | 191051.6 | 75.11 | 14726.2 | 11.84 | 2455.579
25 | 996631 | 2482.7 | 69913.44 | 25.197 | 7918.99 | 2.553 | 2321.09 | 0.111 | 191074.3 | 83.99 | 14729.41 | 11.877 | 2606.428
26 | 997303 | 2486.4 | 69924.47 | 40.811 | 7919.91 | 3.404 | 2321.14 | 0.185 | 191099 | 91.39 | 14732.37 | 10.952 | 2633.142
27 | 997943 | 2368 | 69930.53 | 22.422 | 7920.79 | 3.256 | 2321.24 | 0.37 | 191126.9 | 103.23 | 14734.97 | 9.62 | 2506.898
28 | 998603 | 2442 | 69939 | 31.339 | 7922 | 4.477 | 2321.35 | 0.407 | 191150.5 | 87.32 | 14737.62 | 9.805 | 2575.348
29 | 999247 | 2382.8 | 69948.46 | 35.002 | 7923.75 | 6.475 | 2321.54 | 0.703 | 191176.8 | 97.31 | 14739.72 | 7.77 | 2530.06
30 | 999893 | 2390.2 | 69956.84 | 31.006 | 7924.21 | 1.702 | 2321.64 | 0.37 | 191204.1 | 101.01 | 14741.63 | 7.067 | 2531.355
31 | 545 | 545 | 69963.47 | 24.531 | 7926.52 | 8.547 | 2321.66 | 0.074 | 191222.4 | 67.71 | 14744.58 | 10.915 | 656.777
TOTAL Consumption |  | 67507.6 |  | 977.577 |  | 130.795 |  | 13.394 |  | 2533.02 |  | 358.234
TOTAL BOILER |  | 67507.6
TOTAL KITCHEN |  | 4013.02
TOTAL Boiler & Kitchen |  | 71520.62

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MAY 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 108007 | 108674 | 109072 | 109454 | 109798 | 110172 | 110642 | 111087 | 111545 | 111956 | 112393 | 112781 | 113219 | 113649 | 114068 | 114522 | 114960 | 115354 | 115772 | 116179 | 116541 | 117007 | 117413 | 117812 | 118260 | 118658 | 119072 | 119459 | 119840 | 120277 | 120644 | 121045
|  |  |  | 667 | 398 | 382 | 344 | 374 | 470 | 445 | 458 | 411 | 437 | 388 | 438 | 430 | 419 | 454 | 438 | 394 | 418 | 407 | 362 | 466 | 406 | 399 | 448 | 398 | 414 | 387 | 381 | 437 | 367 | 401
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 401753 | 401785 | 401803.5 | 401824.2 | 401842.2 | 401859.2 | 401884.1 | 401912.1 | 401940.2 | 401972.8 | 402002.5 | 402020.5 | 402045.5 | 402072.1 | 402099.3 | 402129.2 | 402161.9 | 402196.1 | 402222.2 | 402253.1 | 402281.5 | 402309.1 | 402336.1 | 402363.3 | 402389.5 | 402407.2 | 402432.5 | 402460.1 | 402488.5 | 402524.2 | 402555.7 | 402587.5
|  |  |  | 32 | 18.5 | 20.7 | 18 | 17 | 24.9 | 28 | 28.1 | 32.6 | 29.7 | 18 | 25 | 26.6 | 27.2 | 29.9 | 32.7 | 34.2 | 26.1 | 30.9 | 28.4 | 27.6 | 27 | 27.2 | 26.2 | 17.7 | 25.3 | 27.6 | 28.4 | 35.7 | 31.5 | 31.8
4 | 2045000686(Sub Meter) | Irrigation water Tank | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 56 | 198 | 205 | 335 | 457 | 585 | 718 | 877 | 1078
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 142 | 7 | 130 | 122 | 128 | 133 | 159 | 201
5 | 68864837 | Hotel & Arjaan Spa | 1933.985 | 1935.086 | 1936.802 | 1938.138 | 1939.252 | 1940.31 | 1941.719 | 1942.62 | 1943.901 | 1945.088 | 1948.506 | 1950.35 | 1952.095 | 1953.45 | 1954.5 | 1957.287 | 1959.128 | 1962.22 | 1965.07 | 1967.698 | 1970.308 | 1972.005 | 1974.105 | 1978.674 | 1981.633 | 1985.635 | 1989.76 | 1992.617 | 1994.5 | 1998.639 | 2000.429 | 2002.448
|  |  |  | 1.101 | 1.716 | 1.336 | 1.114 | 1.058 | 1.409 | 0.901 | 1.281 | 1.187 | 3.418 | 1.844 | 1.745 | 1.355 | 1.05 | 2.787 | 1.841 | 3.092 | 2.85 | 2.628 | 2.61 | 1.697 | 2.1 | 4.569 | 2.959 | 4.002 | 4.125 | 2.857 | 1.883 | 4.139 | 1.79 | 2.019
6 | 65296485 | Hotel & Arjaan Gym | 2366.662 | 2369.841 | 2373.668 | 2374.665 | 2376.033 | 2380.313 | 2385.063 | 2387.529 | 2393.258 | 2403.071 | 2404.252 | 2405.7 | 2410.423 | 2411.52 | 2415.2 | 2415.536 | 2421.212 | 2422.298 | 2424.247 | 2427.112 | 2431.026 | 2433.99 | 2435.55 | 2445.897 | 2450.247 | 2455.218 | 2459.276 | 2461.732 | 2465.5 | 2471.092 | 2472.573 | 2473.808
|  |  |  | 3.179 | 3.827 | 0.997 | 1.368 | 4.28 | 4.75 | 2.466 | 5.729 | 9.813 | 1.181 | 1.448 | 4.723 | 1.097 | 3.68 | 0.336 | 5.676 | 1.086 | 1.949 | 2.865 | 3.914 | 2.964 | 1.56 | 10.347 | 4.35 | 4.971 | 4.058 | 2.456 | 3.768 | 5.592 | 1.481 | 1.235
| Total Daily Consumption (m3) |  |  | 685.68 | 411.868 | 393.648 | 354.582 | 386.988 | 487.364 | 460.967 | 477.655 | 436.67 | 454.964 | 399.392 | 455.718 | 444.422 | 435.97 | 470.578 | 460.232 | 413.568 | 434.544 | 426.398 | 381.304 | 483.081 | 421.81 | 451.356 | 530.999 | 418.088 | 492.068 | 459.633 | 457.031 | 522.646 | 455.996 | 509.014
| Total Monthly Consumption (m3) |  |  | 1: 14074.234
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest May 2024
Date | Occupied | # Guest
2024-05-01 | 461 | 630
2024-05-02 | 485 | 684
2024-05-03 | 474 | 690
2024-05-04 | 478 | 643
2024-05-05 | 455 | 596
2024-05-06 | 478 | 674
2024-05-07 | 473 | 673
2024-05-08 | 462 | 637
2024-05-09 | 460 | 625
2024-05-10 | 425 | 633
2024-05-11 | 404 | 602
2024-05-12 | 398 | 553
2024-05-13 | 418 | 584
2024-05-14 | 463 | 683
2024-05-15 | 450 | 620
2024-05-16 | 474 | 678
2024-05-17 | 406 | 592
2024-05-18 | 466 | 706
2024-05-19 | 469 | 624
2024-05-20 | 460 | 617
2024-05-21 | 472 | 652
2024-05-22 | 452 | 637
2024-05-23 | 374 | 528
2024-05-24 | 363 | 499
2024-05-25 | 377 | 535
2024-05-26 | 333 | 441
2024-05-27 | 444 | 589
2024-05-28 | 469 | 623
2024-05-29 | 444 | 573
2024-05-30 | 401 | 552
2024-05-31 | 346 | 488
TOTAL MTD | 13534 | 18861