## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 8 | 2024 | 46434.8 | 0.2 | 2639.21 | 1.55 | 382.951 | 7.84 | 476 | 715
Park Rotana and Park Arjaan Abu Dhabi | 2 | 8 | 2024 | 47634.4 | 0.2 | 2736.076 | 1.55 | 397.586 | 7.84 | 448 | 688
Park Rotana and Park Arjaan Abu Dhabi | 3 | 8 | 2024 | 46808.6 | 0.2 | 2736.187 | 1.55 | 291.727 | 7.84 | 459 | 759
Park Rotana and Park Arjaan Abu Dhabi | 4 | 8 | 2024 | 45312.6 | 0.2 | 2735.151 | 1.55 | 380.646 | 7.84 | 469 | 749
Park Rotana and Park Arjaan Abu Dhabi | 5 | 8 | 2024 | 47559.2 | 0.2 | 2774.556 | 1.55 | 387.833 | 7.84 | 488 | 792
Park Rotana and Park Arjaan Abu Dhabi | 6 | 8 | 2024 | 45599 | 0.2 | 2706.883 | 1.55 | 371.265 | 7.84 | 484 | 753
Park Rotana and Park Arjaan Abu Dhabi | 7 | 8 | 2024 | 45740.6 | 0.2 | 2762.753 | 1.55 | 360.417 | 7.84 | 475 | 713
Park Rotana and Park Arjaan Abu Dhabi | 8 | 8 | 2024 | 47726 | 0.2 | 2636.99 | 1.55 | 356.943 | 7.84 | 480 | 734
Park Rotana and Park Arjaan Abu Dhabi | 9 | 8 | 2024 | 45876.2 | 0.2 | 2733.449 | 1.55 | 356.854 | 7.84 | 451 | 741
Park Rotana and Park Arjaan Abu Dhabi | 10 | 8 | 2024 | 46745.6 | 0.2 | 2682.389 | 1.55 | 284.845 | 7.84 | 421 | 696
Park Rotana and Park Arjaan Abu Dhabi | 11 | 8 | 2024 | 46385 | 0.2 | 2667.885 | 1.55 | 346.304 | 7.84 | 409 | 596
Park Rotana and Park Arjaan Abu Dhabi | 12 | 8 | 2024 | 47304.2 | 0.2 | 2711.397 | 1.55 | 397.955 | 7.84 | 477 | 691
Park Rotana and Park Arjaan Abu Dhabi | 13 | 8 | 2024 | 47032.6 | 0.2 | 2701.407 | 1.55 | 364.914 | 7.84 | 478 | 679
Park Rotana and Park Arjaan Abu Dhabi | 14 | 8 | 2024 | 46637.8 | 0.2 | 2651.087 | 1.55 | 368.278 | 7.84 | 481 | 701
Park Rotana and Park Arjaan Abu Dhabi | 15 | 8 | 2024 | 46736.2 | 0.2 | 2404.815 | 1.55 | 357.607 | 7.84 | 460 | 680
Park Rotana and Park Arjaan Abu Dhabi | 16 | 8 | 2024 | 48436 | 0.2 | 2087.762 | 1.55 | 351.082 | 7.84 | 406 | 596
Park Rotana and Park Arjaan Abu Dhabi | 17 | 8 | 2024 | 47556.2 | 0.2 | 2598.177 | 1.55 | 262.915 | 7.84 | 460 | 695
Park Rotana and Park Arjaan Abu Dhabi | 18 | 8 | 2024 | 43701.2 | 0.2 | 2542.677 | 1.55 | 388.502 | 7.84 | 433 | 633
Park Rotana and Park Arjaan Abu Dhabi | 19 | 8 | 2024 | 45713 | 0.2 | 2507.009 | 1.55 | 358.796 | 7.84 | 470 | 668
Park Rotana and Park Arjaan Abu Dhabi | 20 | 8 | 2024 | 45547.8 | 0.2 | 2426.867 | 1.55 | 380.096 | 7.84 | 456 | 641
Park Rotana and Park Arjaan Abu Dhabi | 21 | 8 | 2024 | 45296.4 | 0.2 | 2295.702 | 1.55 | 350.763 | 7.84 | 452 | 596
Park Rotana and Park Arjaan Abu Dhabi | 22 | 8 | 2024 | 45690 | 0.2 | 2347.687 | 1.55 | 361.956 | 7.84 | 447 | 614
Park Rotana and Park Arjaan Abu Dhabi | 23 | 8 | 2024 | 46393 | 0.2 | 2195.0509 | 1.55 | 362.252 | 7.84 | 444 | 606
Park Rotana and Park Arjaan Abu Dhabi | 24 | 8 | 2024 | 46867.8 | 0.2 | 2178.3121 | 1.55 | 247.365 | 7.84 | 405 | 572
Park Rotana and Park Arjaan Abu Dhabi | 25 | 8 | 2024 | 46888.2 | 0.2 | 2060.641 | 1.55 | 365.71 | 7.84 | 381 | 519
Park Rotana and Park Arjaan Abu Dhabi | 26 | 8 | 2024 | 47583.4 | 0.2 | 2029.857 | 1.55 | 346.121 | 7.84 | 366 | 479
Park Rotana and Park Arjaan Abu Dhabi | 27 | 8 | 2024 | 48144.4 | 0.2 | 2304.36 | 1.55 | 323.442 | 7.84 | 385 | 518
Park Rotana and Park Arjaan Abu Dhabi | 28 | 8 | 2024 | 47962.6 | 0.2 | 2776.369 | 1.55 | 335.108 | 7.84 | 481 | 661
Park Rotana and Park Arjaan Abu Dhabi | 29 | 8 | 2024 | 47974.6 | 0.2 | 2765.491 | 1.55 | 359.813 | 7.84 | 442 | 616
Park Rotana and Park Arjaan Abu Dhabi | 30 | 8 | 2024 | 48473.6 | 0.2 | 2844.19 | 1.55 | 345.689 | 7.84 | 420 | 600
Park Rotana and Park Arjaan Abu Dhabi | 31 | 8 | 2024 | 48169.8 | 0.2 | 2824.173 | 1.55 | 299.684 | 7.84 | 411 | 583

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION AUGUTS 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 11407375 | 11429698 | 11451176 | 11472434 | 11493664 | 11516133 | 11538760 | 11561189 | 11584005 | 11605478 | 11627564 | 11649014 | 11670805 | 11692663 | 11714322 | 11735649 | 11757368 | 11779104 | 11799938 | 11821346 | 11842652 | 11864274 | 11886107 | 11907887 | 11929805 | 11951395 | 11973958 | 11995486 | 12016786 | 12038782 | 12060220 | 12082286
|  |  |  | 22323 | 21478 | 21258 | 21230 | 22469 | 22627 | 22429 | 22816 | 21473 | 22086 | 21450 | 21791 | 21858 | 21659 | 21327 | 21719 | 21736 | 20834 | 21408 | 21306 | 21622 | 21833 | 21780 | 21918 | 21590 | 22563 | 21528 | 21300 | 21996 | 21438 | 22066
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 12206854 | 12226434 | 12247809 | 12269457 | 12289913 | 12319553 | 12358108 | 12397162 | 12429885 | 12453804 | 12477908 | 12502195 | 12527044 | 12547913 | 12572101 | 12594115 | 12616788 | 12639058 | 12657476 | 12676574 | 12693909 | 12710379 | 12727209 | 12747042 | 12764358 | 12781980 | 12802125 | 12823724 | 12845446 | 12866081 | 12887820 | 12908588
|  |  |  | 19580 | 21375 | 21648 | 20456 | 29640 | 38555 | 39054 | 32723 | 23919 | 24104 | 24287 | 24849 | 20869 | 24188 | 22014 | 22673 | 22270 | 18418 | 19098 | 17335 | 16470 | 16830 | 19833 | 17316 | 17622 | 20145 | 21599 | 21722 | 20635 | 21739 | 20768
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 7987232 | 8027184 | 8070440 | 8111821 | 8150719 | 8182947 | 8200927 | 8219262 | 8248004 | 8284238 | 8321008 | 8358221 | 8396335 | 8437600 | 8475034 | 8515748 | 8559060 | 8600523 | 8638483 | 8679360 | 8721837 | 8763758 | 8805768 | 8846695 | 8890946 | 8935812 | 8977418 | 9021595 | 9065732 | 9109311 | 9154416 | 9198145
|  |  |  | 39952 | 43256 | 41381 | 38898 | 32228 | 17980 | 18335 | 28742 | 36234 | 36770 | 37213 | 38114 | 41265 | 37434 | 40714 | 43312 | 41463 | 37960 | 40877 | 42477 | 41921 | 42010 | 40927 | 44251 | 44866 | 41606 | 44177 | 44137 | 43579 | 45105 | 43729
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3271 | 3271 | 3271 | 3271 | 3271 | 3271 | 3273 | 3273 | 3273 | 3273 | 3273 | 3273 | 3273 | 3273 | 3288 | 3288 | 3308 | 3308 | 3309 | 3309 | 3309 | 3309
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 20 | 0 | 1 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 468 | 468 | 468 | 468 | 468 | 468 | 468 | 468 | 468 | 469 | 469 | 469 | 470 | 470 | 470 | 470 | 470 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 472 | 472 | 472 | 472
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1425754 | 1426003 | 1426261 | 1426549 | 1426841 | 1427138 | 1427449 | 1427753 | 1428031 | 1428324 | 1428585 | 1428870 | 1429149 | 1429419 | 1429699 | 1429968 | 1430240 | 1430518 | 1430787 | 1431054 | 1431322 | 1431591 | 1431861 | 1432122 | 1432379 | 1432630 | 1432885 | 1433142 | 1433412 | 1433660 | 1433909 | 1434167
|  |  |  | 249 | 258 | 288 | 292 | 297 | 311 | 304 | 278 | 293 | 261 | 285 | 279 | 270 | 280 | 269 | 272 | 278 | 269 | 267 | 268 | 269 | 270 | 261 | 257 | 251 | 255 | 257 | 270 | 248 | 249 | 258
14 | E5T09D034327 | Hotel Gym S (Kwh) | 380302 | 380352 | 380398 | 380449 | 380498 | 380544 | 380591 | 380643 | 380689 | 380737 | 380784 | 380834 | 380882 | 380933 | 380983 | 381032 | 381081 | 381129 | 381176 | 381224 | 381273 | 381322 | 381373 | 381421 | 381472 | 381524 | 381569 | 381618 | 381665 | 381710 | 381759 | 381806
|  |  |  | 50 | 46 | 51 | 49 | 46 | 47 | 52 | 46 | 48 | 47 | 50 | 48 | 51 | 50 | 49 | 49 | 48 | 47 | 48 | 49 | 49 | 51 | 48 | 51 | 52 | 45 | 49 | 47 | 45 | 49 | 47
| Total Daily Consumption (kw) |  |  | 46434.8 | 47634.4 | 46808.6 | 45312.6 | 47559.2 | 45599 | 45740.6 | 47726 | 45876.2 | 46745.6 | 46385 | 47304.2 | 47032.6 | 46637.8 | 46736.2 | 48436 | 47556.2 | 43701.2 | 45713 | 45547.8 | 45296.4 | 45690 | 46393 | 46867.8 | 46888.2 | 47583.4 | 48144.4 | 47962.6 | 47974.6 | 48473.6 | 48169.8
| Total Monthly Consumption (kw) |  |  | 1: 1449930.8
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) AUGUST 2024
AREA SERVED | BOILER 1 & 2 |  | MAIN KITCHEN |  | PASTRY KITCHEN |  | GINGER KITCHEN |  | TEATRO |  | COOPER'S KITCHEN
PRESSURE (mBar) | 483 |  | 30 |  | 30 |  | 30 |  | 50 |  | 30
LAST MONTH'S FINAL READING | 36788 |  | 70423.83 |  | 7981.49 |  | 2326.64 |  | 192470.5 |  | 14949.99 |  | Daily Consumption
1 | 37474.8 | 2541.16 | 70432.54 | 32.227 | 7982.2 | 2.627 | 2326.73 | 0.333 | 192485.5 | 55.5 | 14951.98 | 7.363 | 2639.21
2 | 38186 | 2631.44 | 70441.91 | 34.669 | 7982.91 | 2.627 | 2326.9 | 0.629 | 192499.1 | 50.32 | 14956.41 | 16.391 | 2736.076
3 | 38896 | 2627 | 70449.7 | 28.823 | 7983.91 | 3.7 | 2327.06 | 0.592 | 192514.5 | 56.98 | 14961.57 | 19.092 | 2736.187
4 | 39612 | 2649.2 | 70456.65 | 25.715 | 7984.62 | 2.627 | 2327.08 | 0.074 | 192528.1 | 50.32 | 14963.52 | 7.215 | 2735.151
5 | 40333 | 2667.7 | 70465.16 | 31.487 | 7985.15 | 1.961 | 2327.24 | 0.592 | 192545.2 | 63.27 | 14966.1 | 9.546 | 2774.556
6 | 41038 | 2608.5 | 70473 | 29.008 | 7986.09 | 3.478 | 2327.29 | 0.185 | 192561 | 58.46 | 14968.06 | 7.252 | 2706.883
7 | 41751 | 2638.1 | 70482.17 | 33.929 | 7987.02 | 3.441 | 2327.36 | 0.259 | 192582.5 | 79.55 | 14970.08 | 7.474 | 2762.753
8 | 42444 | 2564.1 | 70490.31 | 30.118 | 7988.25 | 4.551 | 2327.46 | 0.37 | 192589 | 24.05 | 14973.81 | 13.801 | 2636.99
9 | 43156 | 2634.4 | 70498.93 | 31.894 | 7989.29 | 3.848 | 2327.48 | 0.074 | 192601.7 | 46.99 | 14978.2 | 16.243 | 2733.449
10 | 43853 | 2578.9 | 70507.68 | 32.375 | 7990.11 | 3.034 | 2327.62 | 0.518 | 192616.7 | 55.5 | 14981.46 | 12.062 | 2682.389
11 | 44549 | 2575.2 | 70514.87 | 26.603 | 7991.49 | 5.106 | 2327.68 | 0.222 | 192630.6 | 51.43 | 14983.98 | 9.324 | 2667.885
12 | 45256 | 2615.9 | 70526.77 | 44.03 | 7992.26 | 2.849 | 2327.72 | 0.148 | 192641.4 | 39.96 | 14986.28 | 8.51 | 2711.397
13 | 45961 | 2608.5 | 70535.68 | 32.967 | 7993.23 | 3.589 | 2327.74 | 0.074 | 192654.2 | 47.36 | 14988.69 | 8.917 | 2701.407
14 | 46653 | 2560.4 | 70543.87 | 30.303 | 7994.12 | 3.293 | 2327.76 | 0.074 | 192666.1 | 44.03 | 14992.2 | 12.987 | 2651.087
15 | 47280 | 2319.9 | 70553.85 | 36.926 | 7994.74 | 2.294 | 2327.81 | 0.185 | 192674.2 | 29.97 | 14996.4 | 15.54 | 2404.815
16 | 47819 | 1994.3 | 70563 | 33.855 | 7995.46 | 2.664 | 2328.1 | 1.073 | 192684.8 | 39.22 | 15000.9 | 16.65 | 2087.762
17 | 48498 | 2512.3 | 70569.9 | 25.53 | 7996.45 | 3.663 | 2328.17 | 0.259 | 192696.8 | 44.4 | 15004.15 | 12.025 | 2598.177
18 | 49160 | 2449.4 | 70578.64 | 32.338 | 7997.74 | 4.773 | 2328.24 | 0.259 | 192709.1 | 45.51 | 15006.96 | 10.397 | 2542.677
19 | 49816 | 2427.2 | 70584.78 | 22.718 | 7998.5 | 2.812 | 2328.4 | 0.592 | 192719.6 | 38.85 | 15010.97 | 14.837 | 2507.009
20 | 50450 | 2345.8 | 70591.64 | 25.382 | 7999.14 | 2.368 | 2328.46 | 0.222 | 192730.72 | 41.144 | 15014.2 | 11.951 | 2426.867
21 | 51048 | 2212.6 | 70598.84 | 26.64 | 8000.33 | 4.403 | 2328.54 | 0.296 | 192741 | 38.036 | 15017.91 | 13.727 | 2295.702
22 | 51662 | 2271.8 | 70607.7 | 32.782 | 8000.92 | 2.183 | 2328.7 | 0.592 | 192751.4 | 38.48 | 15018.41 | 1.85 | 2347.687
23 | 52234 | 2116.4 | 70616.84 | 33.818 | 8001.607 | 2.5419 | 2328.84 | 0.518 | 192761 | 35.52 | 15020.1 | 6.253 | 2195.0509
24 | 52798.7 | 2089.39 | 70623.04 | 22.94 | 8002.22 | 2.2681 | 2328.91 | 0.259 | 192772.1 | 41.07 | 15026.15 | 22.385 | 2178.3121
25 | 53335 | 1984.31 | 70631.92 | 32.856 | 8002.77 | 2.035 | 2328.97 | 0.222 | 192780.4 | 30.71 | 15028.99 | 10.508 | 2060.641
26 | 53865 | 1961 | 70640.72 | 32.56 | 8003.54 | 2.849 | 2329 | 0.111 | 192788 | 28.12 | 15030.4 | 5.217 | 2029.857
27 | 54470 | 2238.5 | 70647 | 23.236 | 8004.46 | 3.404 | 2329 | 0 | 192798 | 37 | 15031 | 2.22 | 2304.36
28 | 55196 | 2686.2 | 70654.45 | 27.565 | 8005.14 | 2.516 | 2329.26 | 0.962 | 192810.6 | 46.62 | 15034.38 | 12.506 | 2776.369
29 | 55915 | 2660.3 | 70663.6 | 33.855 | 8005.98 | 3.108 | 2329.35 | 0.333 | 192824.7 | 52.17 | 15038.63 | 15.725 | 2765.491
30 | 56652 | 2726.9 | 70672.98 | 34.706 | 8006.95 | 3.589 | 2329.51 | 0.592 | 192840.1 | 56.98 | 15044.42 | 21.423 | 2844.19
31 | 57381 | 2697.3 | 70682 | 33.374 | 8008.06 | 4.107 | 2329.58 | 0.259 | 192856.1 | 59.2 | 15052.51 | 29.933 | 2824.173
TOTAL Consumption |  | 76194.1 |  | 955.229 |  | 98.309 |  | 10.878 |  | 1426.72 |  | 379.324
TOTAL BOILER |  | 76194.1
TOTAL KITCHEN |  | 2870.46
TOTAL Boiler & Kitchen |  | 79064.56

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) AUGUST 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 139108 | 139363 | 139634 | 139893 | 140153 | 140416 | 140664 | 140914 | 141160 | 141406 | 141671 | 141893 | 142159 | 142406 | 142668 | 142917 | 143157 | 143397 | 143682 | 143926 | 144170 | 144428 | 144691 | 144939 | 145161 | 145411 | 145645 | 145854 | 146084 | 146345 | 146594 | 146865
|  |  |  | 255 | 271 | 259 | 260 | 263 | 248 | 250 | 246 | 246 | 265 | 222 | 266 | 247 | 262 | 249 | 240 | 240 | 285 | 244 | 244 | 258 | 263 | 248 | 222 | 250 | 234 | 209 | 230 | 261 | 249 | 271
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 404845.7 | 404886.2 | 404926.5 | 404956.5 | 404995.8 | 405036.8 | 405076.9 | 405113.8 | 405152.9 | 405190.8 | 405220.5 | 405260.4 | 405302.5 | 405343.5 | 405382.1 | 405422.5 | 405465.7 | 405499 | 405538.8 | 405581 | 405623.7 | 405659.5 | 405693.1 | 405733.5 | 405760 | 405799 | 405836 | 405879 | 405924 | 405970.1 | 406014.6 | 406051.3
|  |  |  | 40.5 | 40.3 | 30 | 39.3 | 41 | 40.1 | 36.9 | 39.1 | 37.9 | 29.7 | 39.9 | 42.1 | 41 | 38.6 | 40.4 | 43.2 | 33.3 | 39.8 | 42.2 | 42.7 | 35.8 | 33.6 | 40.4 | 26.5 | 39 | 37 | 43 | 45 | 46.1 | 44.5 | 36.7
4 | 2045000686(Sub Meter) | Irrigation water Tank | 11449 | 11679 | 11911 | 11943 | 12155 | 12387 | 12610 | 12807 | 13007 | 13208 | 13215 | 13437 | 13677 | 13887 | 14076 | 14267 | 14461 | 14470 | 14651 | 14854 | 15101 | 15265 | 15444 | 15640 | 15661 | 15859 | 16064 | 16268 | 16445 | 16610 | 16773 | 16792
|  |  |  | 230 | 232 | 32 | 212 | 232 | 223 | 197 | 200 | 201 | 7 | 222 | 240 | 210 | 189 | 191 | 194 | 9 | 181 | 203 | 247 | 164 | 179 | 196 | 21 | 198 | 205 | 204 | 177 | 165 | 163 | 19
5 | 68864837 | Hotel & Arjaan Spa | 2100.918 | 2102.846 | 2103.977 | 2107.57 | 2109.121 | 2110.622 | 2112.123 | 2115.49 | 2116.867 | 2118.704 | 2120.296 | 2122.759 | 2125.7 | 2127.424 | 2129.056 | 2130.863 | 2133.215 | 2134.757 | 2137.8 | 2139.289 | 2141.946 | 2143.766 | 2145.794 | 2152.06 | 2154.61 | 2158.383 | 2160.123 | 2161.929 | 2165 | 2166.95 | 2168.635 | 2170.471
|  |  |  | 1.928 | 1.131 | 3.593 | 1.551 | 1.501 | 1.501 | 3.367 | 1.377 | 1.837 | 1.592 | 2.463 | 2.941 | 1.724 | 1.632 | 1.807 | 2.352 | 1.542 | 3.043 | 1.489 | 2.657 | 1.82 | 2.028 | 6.266 | 2.55 | 3.773 | 1.74 | 1.806 | 3.071 | 1.95 | 1.685 | 1.836
6 | 65296485 | Hotel & Arjaan Gym | 2662.486 | 2666.784 | 2669.704 | 2670.938 | 2676.948 | 2677.43 | 2680.799 | 2682.594 | 2684.565 | 2686.077 | 2687.815 | 2691.801 | 2693.87 | 2697.11 | 2699.336 | 2702.006 | 2703.996 | 2706.334 | 2707.433 | 2710.4 | 2713.474 | 2714.507 | 2715.765 | 2717.371 | 2718.811 | 2724.098 | 2725.579 | 2727.065 | 2729.202 | 2731.07 | 2732.699 | 2734.482
|  |  |  | 4.298 | 2.92 | 1.234 | 6.01 | 0.482 | 3.369 | 1.795 | 1.971 | 1.512 | 1.738 | 3.986 | 2.069 | 3.24 | 2.226 | 2.67 | 1.99 | 2.338 | 1.099 | 2.967 | 3.074 | 1.033 | 1.258 | 1.606 | 1.44 | 5.287 | 1.481 | 1.486 | 2.137 | 1.868 | 1.629 | 1.783
| Total Daily Consumption (m3) |  |  | 382.951 | 397.586 | 291.727 | 380.646 | 387.833 | 371.265 | 360.417 | 356.943 | 356.854 | 284.845 | 346.304 | 397.955 | 364.914 | 368.278 | 357.607 | 351.082 | 262.915 | 388.502 | 358.796 | 380.096 | 350.763 | 361.956 | 362.252 | 247.365 | 365.71 | 346.121 | 323.442 | 335.108 | 359.813 | 345.689 | 299.684
| Total Monthly Consumption (m3) |  |  | 1: 10845.419
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest August 2024
Date | Occupied | # Guest
2024-08-01 | 476 | 715
2024-08-02 | 448 | 688
2024-08-03 | 459 | 759
2024-08-04 | 469 | 749
2024-08-05 | 488 | 792
2024-08-06 | 484 | 753
2024-08-07 | 475 | 713
2024-08-08 | 480 | 734
2024-08-09 | 451 | 741
2024-08-10 | 421 | 696
2024-08-11 | 409 | 596
2024-08-12 | 477 | 691
2024-08-13 | 478 | 679
2024-08-14 | 481 | 701
2024-08-15 | 460 | 680
2024-08-16 | 406 | 596
2024-08-17 | 460 | 695
2024-08-18 | 433 | 633
2024-08-19 | 470 | 668
2024-08-20 | 456 | 641
2024-08-21 | 452 | 596
2024-08-22 | 447 | 614
2024-08-23 | 444 | 606
2024-08-24 | 405 | 572
2024-08-25 | 381 | 519
2024-08-26 | 366 | 479
2024-08-27 | 385 | 518
2024-08-28 | 481 | 661
2024-08-29 | 442 | 616
2024-08-30 | 420 | 600
2024-08-31 | 411 | 583
TOTAL MTD | 13815 | 20284