## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 5 | 2022 | 35061 | 0.2 | 2031.0906 | 2.1 | 223.645 | 7.84 | 322 | 474
Park Rotana and Park Arjaan Abu Dhabi | 2 | 5 | 2022 | 35114 | 0.2 | 2031.0906 | 2.1 | 188.949 | 7.84 | 356 | 536
Park Rotana and Park Arjaan Abu Dhabi | 3 | 5 | 2022 | 35490 | 0.2 | 2031.0906 | 2.1 | 251.225 | 7.84 | 403 | 627
Park Rotana and Park Arjaan Abu Dhabi | 4 | 5 | 2022 | 34328 | 0.2 | 2031.0906 | 2.1 | 283.422 | 7.84 | 399 | 615
Park Rotana and Park Arjaan Abu Dhabi | 5 | 5 | 2022 | 37313 | 0.2 | 2031.0906 | 2.1 | 265.5 | 7.84 | 427 | 627
Park Rotana and Park Arjaan Abu Dhabi | 6 | 5 | 2022 | 36100 | 0.2 | 2031.0906 | 2.1 | 254.492 | 7.84 | 400 | 604
Park Rotana and Park Arjaan Abu Dhabi | 7 | 5 | 2022 | 37125 | 0.2 | 2031.0906 | 2.1 | 296.486 | 7.84 | 329 | 439
Park Rotana and Park Arjaan Abu Dhabi | 8 | 5 | 2022 | 36503 | 0.2 | 2031.0906 | 2.1 | 275.041 | 7.84 | 303 | 359
Park Rotana and Park Arjaan Abu Dhabi | 9 | 5 | 2022 | 35915 | 0.2 | 2031.0906 | 2.1 | 252.44 | 7.84 | 327 | 377
Park Rotana and Park Arjaan Abu Dhabi | 10 | 5 | 2022 | 35704 | 0.2 | 2031.0906 | 2.1 | 239.436 | 7.84 | 319 | 373
Park Rotana and Park Arjaan Abu Dhabi | 11 | 5 | 2022 | 35926 | 0.2 | 2031.0906 | 2.1 | 272.496 | 7.84 | 307 | 355
Park Rotana and Park Arjaan Abu Dhabi | 12 | 5 | 2022 | 35111 | 0.2 | 2031.0906 | 2.1 | 256.253 | 7.84 | 284 | 327
Park Rotana and Park Arjaan Abu Dhabi | 13 | 5 | 2022 | 35527 | 0.2 | 2031.0906 | 2.1 | 175.953 | 7.84 | 273 | 343
Park Rotana and Park Arjaan Abu Dhabi | 14 | 5 | 2022 | 35709 | 0.2 | 2031.0906 | 2.1 | 266.226 | 7.84 | 262 | 314
Park Rotana and Park Arjaan Abu Dhabi | 15 | 5 | 2022 | 33899 | 0.2 | 2031.0906 | 2.1 | 190.154 | 7.84 | 265 | 301
Park Rotana and Park Arjaan Abu Dhabi | 16 | 5 | 2022 | 34908 | 0.2 | 2031.0906 | 2.1 | 233.134 | 7.84 | 282 | 328
Park Rotana and Park Arjaan Abu Dhabi | 17 | 5 | 2022 | 35905 | 0.2 | 2031.0906 | 2.1 | 208.154 | 7.84 | 290 | 330
Park Rotana and Park Arjaan Abu Dhabi | 18 | 5 | 2022 | 36114 | 0.2 | 2031.0906 | 2.1 | 270.824 | 7.84 | 302 | 347
Park Rotana and Park Arjaan Abu Dhabi | 19 | 5 | 2022 | 38110 | 0.2 | 2031.0906 | 2.1 | 236.706 | 7.84 | 294 | 333
Park Rotana and Park Arjaan Abu Dhabi | 20 | 5 | 2022 | 36709 | 0.2 | 2031.0906 | 2.1 | 165.278 | 7.84 | 305 | 358
Park Rotana and Park Arjaan Abu Dhabi | 21 | 5 | 2022 | 38903 | 0.2 | 2031.0906 | 2.1 | 262.839 | 7.84 | 254 | 296
Park Rotana and Park Arjaan Abu Dhabi | 22 | 5 | 2022 | 37493 | 0.2 | 2031.0906 | 2.1 | 228.393 | 7.84 | 275 | 326
Park Rotana and Park Arjaan Abu Dhabi | 23 | 5 | 2022 | 40328 | 0.2 | 2031.0906 | 2.1 | 273.207 | 7.84 | 299 | 342
Park Rotana and Park Arjaan Abu Dhabi | 24 | 5 | 2022 | 38889 | 0.2 | 2031.0906 | 2.1 | 275.182 | 7.84 | 323 | 370
Park Rotana and Park Arjaan Abu Dhabi | 25 | 5 | 2022 | 38694 | 0.2 | 2031.0906 | 2.1 | 260.347 | 7.84 | 332 | 384
Park Rotana and Park Arjaan Abu Dhabi | 26 | 5 | 2022 | 37098 | 0.2 | 2031.0906 | 2.1 | 284.258 | 7.84 | 320 | 385
Park Rotana and Park Arjaan Abu Dhabi | 27 | 5 | 2022 | 36733 | 0.2 | 2031.0906 | 2.1 | 200.698 | 7.84 | 291 | 357
Park Rotana and Park Arjaan Abu Dhabi | 28 | 5 | 2022 | 38508 | 0.2 | 2031.0906 | 2.1 | 268.236 | 7.84 | 269 | 323
Park Rotana and Park Arjaan Abu Dhabi | 29 | 5 | 2022 | 36299 | 0.2 | 2031.0906 | 2.1 | 276.253 | 7.84 | 311 | 374
Park Rotana and Park Arjaan Abu Dhabi | 30 | 5 | 2022 | 39085 | 0.2 | 2031.0906 | 2.1 | 283.584 | 7.84 | 320 | 376
Park Rotana and Park Arjaan Abu Dhabi | 31 | 5 | 2022 | 38095 | 0.2 | 2031.0906 | 2.1 | 401.663 | 7.84 | 345 | 404

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MAY 2022
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 86822 | 86844 | 86866 | 86888 | 86910 | 86933 | 86956 | 86978 | 87001 | 87023 | 87046 | 87068 | 87090 | 87112 | 87135 | 87157 | 87178 | 87200 | 87221 | 87244 | 87266 | 87289 | 87311 | 87335 | 87358 | 87382 | 87404 | 87426 | 87449 | 87471 | 87495 | 87518
|  |  |  | 22000 | 22000 | 22000 | 22000 | 23000 | 23000 | 22000 | 23000 | 22000 | 23000 | 22000 | 22000 | 22000 | 23000 | 22000 | 21000 | 22000 | 21000 | 23000 | 22000 | 23000 | 22000 | 24000 | 23000 | 24000 | 22000 | 22000 | 23000 | 22000 | 24000 | 23000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 98701 | 98705 | 98709 | 98715 | 98717 | 98721 | 98732 | 98749 | 98767 | 98786 | 98801 | 98821 | 98836 | 98855 | 98874 | 98894 | 98914 | 98932 | 98953 | 98973 | 98992 | 99012 | 99032 | 99054 | 99076 | 99098 | 99132 | 99166 | 99198 | 99232 | 99257 | 99276
|  |  |  | 4000 | 4000 | 6000 | 2000 | 4000 | 11000 | 17000 | 18000 | 19000 | 15000 | 20000 | 15000 | 19000 | 19000 | 20000 | 20000 | 18000 | 21000 | 20000 | 19000 | 20000 | 20000 | 22000 | 22000 | 22000 | 34000 | 34000 | 32000 | 34000 | 25000 | 19000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 84547 | 84575 | 84603 | 84630 | 84658 | 84689 | 84710 | 84730 | 84745 | 84760 | 84776 | 84790 | 84807 | 84821 | 84833 | 84842 | 84856 | 84872 | 84888 | 84905 | 84922 | 84941 | 84959 | 84977 | 84994 | 85008 | 85011 | 85013 | 85019 | 85020 | 85032 | 85050
|  |  |  | 28000 | 28000 | 27000 | 28000 | 31000 | 21000 | 20000 | 15000 | 15000 | 16000 | 14000 | 17000 | 14000 | 12000 | 9000 | 14000 | 16000 | 16000 | 17000 | 17000 | 19000 | 18000 | 18000 | 17000 | 14000 | 3000 | 2000 | 6000 | 1000 | 12000 | 18000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3099 | 3100 | 3100 | 3102 | 3102 | 3102 | 3102
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 361 | 362 | 362 | 362 | 362
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1202931 | 1203151 | 1203421 | 1203668 | 1203950 | 1204220 | 1204482 | 1204764 | 1205027 | 1205303 | 1205569 | 1205857 | 1206127 | 1206416 | 1206688 | 1206949 | 1207219 | 1207486 | 1207758 | 1208028 | 1208298 | 1208562 | 1208816 | 1209107 | 1209358 | 1209613 | 1209872 | 1210165 | 1210434 | 1210694 | 1210941 | 1211197
|  |  |  | 220 | 270 | 247 | 282 | 270 | 262 | 282 | 263 | 276 | 266 | 288 | 270 | 289 | 272 | 261 | 270 | 267 | 272 | 270 | 270 | 264 | 254 | 291 | 251 | 255 | 259 | 293 | 269 | 260 | 247 | 256
14 | E5T09D034327 | Hotel Gym S (Kwh) | 343209 | 343250 | 343294 | 343337 | 343383 | 343426 | 343464 | 343507 | 343547 | 343586 | 343624 | 343662 | 343703 | 343741 | 343778 | 343816 | 343854 | 343892 | 343934 | 343974 | 344013 | 344052 | 344091 | 344128 | 344166 | 344205 | 344243 | 344283 | 344319 | 344358 | 344396 | 344435
|  |  |  | 41 | 44 | 43 | 46 | 43 | 38 | 43 | 40 | 39 | 38 | 38 | 41 | 38 | 37 | 38 | 38 | 38 | 42 | 40 | 39 | 39 | 39 | 37 | 38 | 39 | 38 | 40 | 36 | 39 | 38 | 39
| Total Daily Consumption (kw) |  |  | 35061 | 35114 | 35490 | 34328 | 37313 | 36100 | 37125 | 36503 | 35915 | 35704 | 35926 | 35111 | 35527 | 35709 | 33899 | 34908 | 35905 | 36114 | 38110 | 36709 | 38903 | 37493 | 40328 | 38889 | 38694 | 37098 | 36733 | 38508 | 36299 | 39085 | 38095
| Total Monthly Consumption (kw) |  |  | 1: 1136696
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MAY 2022
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 307136.6 | 307273.8 | 307419.8 | 307560.2 | 307735.1 | 307900.5 | 308115.4 | 308291.5 | 308441.8 | 308581.9 | 308712.5 | 308875.1 | 309019.4 | 309153.5 | 309318.2 | 309467.5 | 309599.2 | 309695.1 | 309856.8 | 310002.7 | 310136.1 | 310275 | 310399.1 | 310556.7 | 310719.5 | 310865.8 | 311035.5 | 311188.6 | 311353 | 311507.9 | 311652.1 | 311978.8
|  |  |  | 137.2 | 146 | 140.4 | 174.9 | 165.4 | 214.9 | 176.1 | 150.3 | 140.1 | 130.6 | 162.6 | 144.3 | 134.1 | 164.7 | 149.3 | 131.7 | 95.9 | 161.7 | 145.9 | 133.4 | 138.9 | 124.1 | 157.6 | 162.8 | 146.3 | 169.7 | 153.1 | 164.4 | 154.9 | 144.2 | 326.7
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 351430.4 | 351519.8 | 351589.2 | 351701.1 | 351806.8 | 351912.6 | 351984.9 | 352103.7 | 352221.1 | 352342.5 | 352457.8 | 352568.2 | 352678.3 | 352745.8 | 352851.9 | 352913.4 | 352998.1 | 353108 | 353211.5 | 353278.1 | 353324.1 | 353445.7 | 353556.1 | 353674 | 353800.9 | 353918.7 | 354034.4 | 354115 | 354227.8 | 354352.3 | 354491.9 | 354544.1
|  |  |  | 89.4 | 69.4 | 111.9 | 105.7 | 105.8 | 72.3 | 118.8 | 117.4 | 121.4 | 115.3 | 110.4 | 110.1 | 67.5 | 106.1 | 61.5 | 84.7 | 109.9 | 103.5 | 66.6 | 46 | 121.6 | 110.4 | 117.9 | 126.9 | 117.8 | 115.7 | 80.6 | 112.8 | 124.5 | 139.6 | 52.2
4 | 2045000686(Sub Meter) | Irrigation water Tank | 9602 | 9704 | 9715 | 9842 | 9972 | 10081 | 10090 | 10229 | 10369 | 10493 | 10610 | 10742 | 10878 | 10899 | 11015 | 11041 | 11172 | 11304 | 11435 | 11569 | 11589 | 11735 | 11846 | 11978 | 12097 | 12230 | 12364 | 12379 | 12495 | 12637 | 12802 | 12910
|  |  |  | 102 | 11 | 127 | 130 | 109 | 9 | 139 | 140 | 124 | 117 | 132 | 136 | 21 | 116 | 26 | 131 | 132 | 131 | 134 | 20 | 146 | 111 | 132 | 119 | 133 | 134 | 15 | 116 | 142 | 165 | 108
5 | 68864837 | Hotel & Arjaan Spa | 539.998 | 540.21 | 542.289 | 543.001 | 544.018 | 545.136 | 546.579 | 547.72 | 549.849 | 550.269 | 551.679 | 552.284 | 552.896 | 553.993 | 554.86 | 555.54 | 556.687 | 557.7 | 560.023 | 560.445 | 561.591 | 562.195 | 564.301 | 564.967 | 565.987 | 566.663 | 567.715 | 568.932 | 569.371 | 569.888 | 571.023 | 571.97
|  |  |  | 0.212 | 2.079 | 0.712 | 1.017 | 1.118 | 1.443 | 1.141 | 2.129 | 0.42 | 1.41 | 0.605 | 0.612 | 1.097 | 0.867 | 0.68 | 1.147 | 1.013 | 2.323 | 0.422 | 1.146 | 0.604 | 2.106 | 0.666 | 1.02 | 0.676 | 1.052 | 1.217 | 0.439 | 0.517 | 1.135 | 0.947
6 | 65296485 | Hotel & Arjaan Gym | 744.425 | 744.528 | 749.218 | 751.826 | 753.266 | 755.588 | 757.152 | 760.387 | 767.169 | 768.659 | 771.55 | 771.761 | 772.357 | 773.288 | 774.002 | 774.801 | 778.023 | 780.409 | 781.685 | 781.799 | 782.831 | 785.746 | 788.303 | 790.789 | 791.496 | 792.007 | 793.148 | 796.509 | 796.946 | 797.857 | 799.036 | 800.962
|  |  |  | 0.103 | 4.69 | 2.608 | 1.44 | 2.322 | 1.564 | 3.235 | 6.782 | 1.49 | 2.891 | 0.211 | 0.596 | 0.931 | 0.714 | 0.799 | 3.222 | 2.386 | 1.276 | 0.114 | 1.032 | 2.915 | 2.557 | 2.486 | 0.707 | 0.511 | 1.141 | 3.361 | 0.437 | 0.911 | 1.179 | 1.926
| Total Daily Consumption (m3) |  |  | 223.645 | 188.949 | 251.225 | 283.422 | 265.5 | 254.492 | 296.486 | 275.041 | 252.44 | 239.436 | 272.496 | 256.253 | 175.953 | 266.226 | 190.154 | 233.134 | 208.154 | 270.824 | 236.706 | 165.278 | 262.839 | 228.393 | 273.207 | 275.182 | 260.347 | 284.258 | 200.698 | 268.236 | 276.253 | 283.584 | 401.663
| Total Monthly Consumption (m3) |  |  | 1: 7820.474
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MAY 2022
LAST MONTH'S FINAL READING | 62963.81
1 |  | 2031.0906
2 |  | 2031.0906
3 |  | 2031.0906
4 |  | 2031.0906
5 |  | 2031.0906
6 |  | 2031.0906
7 |  | 2031.0906
8 |  | 2031.0906
9 |  | 2031.0906
10 |  | 2031.0906
11 |  | 2031.0906
12 |  | 2031.0906
13 |  | 2031.0906
14 |  | 2031.0906
15 |  | 2031.0906
16 |  | 2031.0906
17 |  | 2031.0906
18 |  | 2031.0906
19 |  | 2031.0906
20 |  | 2031.0906
21 |  | 2031.0906
22 |  | 2031.0906
23 |  | 2031.0906
24 |  | 2031.0906
25 |  | 2031.0906
26 |  | 2031.0906
27 |  | 2031.0906
28 |  | 2031.0906
29 |  | 2031.0906
30 |  | 2031.0906
31 |  | 2031.0906
TOTAL Consumption |  | 62963.81

## Occupied & No. of Guest
Occupied Room & Number of Guest May 2022
Date | Occupied | # Guest
2022-05-01 | 322 | 474
2022-05-02 | 356 | 536
2022-05-03 | 403 | 627
2022-05-04 | 399 | 615
2022-05-05 | 427 | 627
2022-05-06 | 400 | 604
2022-05-07 | 329 | 439
2022-05-08 | 303 | 359
2022-05-09 | 327 | 377
2022-05-10 | 319 | 373
2022-05-11 | 307 | 355
2022-05-12 | 284 | 327
2022-05-13 | 273 | 343
2022-05-14 | 262 | 314
2022-05-15 | 265 | 301
2022-05-16 | 282 | 328
2022-05-17 | 290 | 330
2022-05-18 | 302 | 347
2022-05-19 | 294 | 333
2022-05-20 | 305 | 358
2022-05-21 | 254 | 296
2022-05-22 | 275 | 326
2022-05-23 | 299 | 342
2022-05-24 | 323 | 370
2022-05-25 | 332 | 384
2022-05-26 | 320 | 385
2022-05-27 | 291 | 357
2022-05-28 | 269 | 323
2022-05-29 | 311 | 374
2022-05-30 | 320 | 376
2022-05-31 | 345 | 404
TOTAL MTD | 9788 | 12304