## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 7 | 2022 | 44511 | 0.2 | 1794.0271 | 1.82 | 240.476 | 7.84 | 340 | 414
Park Rotana and Park Arjaan Abu Dhabi | 2 | 7 | 2022 | 45896 | 0.2 | 1794.0271 | 1.82 | 283.784 | 7.84 | 368 | 477
Park Rotana and Park Arjaan Abu Dhabi | 3 | 7 | 2022 | 47494 | 0.2 | 1794.0271 | 1.82 | 242.306 | 7.84 | 351 | 434
Park Rotana and Park Arjaan Abu Dhabi | 4 | 7 | 2022 | 46093 | 0.2 | 1794.0271 | 1.82 | 269.564 | 7.84 | 381 | 466
Park Rotana and Park Arjaan Abu Dhabi | 5 | 7 | 2022 | 45705 | 0.2 | 1794.0271 | 1.82 | 305.876 | 7.84 | 385 | 465
Park Rotana and Park Arjaan Abu Dhabi | 6 | 7 | 2022 | 46447 | 0.2 | 1794.0271 | 1.82 | 272.287 | 7.84 | 383 | 457
Park Rotana and Park Arjaan Abu Dhabi | 7 | 7 | 2022 | 41919 | 0.2 | 1794.0271 | 1.82 | 266.342 | 7.84 | 363 | 430
Park Rotana and Park Arjaan Abu Dhabi | 8 | 7 | 2022 | 43487 | 0.2 | 1794.0271 | 1.82 | 191.804 | 7.84 | 353 | 437
Park Rotana and Park Arjaan Abu Dhabi | 9 | 7 | 2022 | 40689 | 0.2 | 1794.0271 | 1.82 | 213.189 | 7.84 | 369 | 467
Park Rotana and Park Arjaan Abu Dhabi | 10 | 7 | 2022 | 42299 | 0.2 | 1794.0271 | 1.82 | 278.705 | 7.84 | 369 | 457
Park Rotana and Park Arjaan Abu Dhabi | 11 | 7 | 2022 | 41495 | 0.2 | 1794.0271 | 1.82 | 171.553 | 7.84 | 355 | 425
Park Rotana and Park Arjaan Abu Dhabi | 12 | 7 | 2022 | 44890 | 0.2 | 1794.0271 | 1.82 | 262.287 | 7.84 | 374 | 443
Park Rotana and Park Arjaan Abu Dhabi | 13 | 7 | 2022 | 44895 | 0.2 | 1794.0271 | 1.82 | 259.427 | 7.84 | 374 | 434
Park Rotana and Park Arjaan Abu Dhabi | 14 | 7 | 2022 | 45708 | 0.2 | 1794.0271 | 1.82 | 284.996 | 7.84 | 373 | 435
Park Rotana and Park Arjaan Abu Dhabi | 15 | 7 | 2022 | 45892 | 0.2 | 1794.0271 | 1.82 | 239.763 | 7.84 | 336 | 390
Park Rotana and Park Arjaan Abu Dhabi | 16 | 7 | 2022 | 43491 | 0.2 | 1794.0271 | 1.82 | 303.917 | 7.84 | 342 | 410
Park Rotana and Park Arjaan Abu Dhabi | 17 | 7 | 2022 | 45292 | 0.2 | 1794.0271 | 1.82 | 271.638 | 7.84 | 346 | 419
Park Rotana and Park Arjaan Abu Dhabi | 18 | 7 | 2022 | 45492 | 0.2 | 1794.0271 | 1.82 | 266.863 | 7.84 | 382 | 472
Park Rotana and Park Arjaan Abu Dhabi | 19 | 7 | 2022 | 44288 | 0.2 | 1794.0271 | 1.82 | 301.405 | 7.84 | 377 | 469
Park Rotana and Park Arjaan Abu Dhabi | 20 | 7 | 2022 | 43675 | 0.2 | 1794.0271 | 1.82 | 290.266 | 7.84 | 377 | 465
Park Rotana and Park Arjaan Abu Dhabi | 21 | 7 | 2022 | 43490 | 0.2 | 1794.0271 | 1.82 | 268.647 | 7.84 | 348 | 418
Park Rotana and Park Arjaan Abu Dhabi | 22 | 7 | 2022 | 47092 | 0.2 | 1794.0271 | 1.82 | 174.122 | 7.84 | 380 | 489
Park Rotana and Park Arjaan Abu Dhabi | 23 | 7 | 2022 | 47705 | 0.2 | 1794.0271 | 1.82 | 326.698 | 7.84 | 372 | 494
Park Rotana and Park Arjaan Abu Dhabi | 24 | 7 | 2022 | 47895 | 0.2 | 1794.0271 | 1.82 | 277 | 7.84 | 345 | 417
Park Rotana and Park Arjaan Abu Dhabi | 25 | 7 | 2022 | 46488 | 0.2 | 1794.0271 | 1.82 | 265.936 | 7.84 | 382 | 469
Park Rotana and Park Arjaan Abu Dhabi | 26 | 7 | 2022 | 41896 | 0.2 | 1794.0271 | 1.82 | 296.423 | 7.84 | 380 | 456
Park Rotana and Park Arjaan Abu Dhabi | 27 | 7 | 2022 | 40502 | 0.2 | 1794.0271 | 1.82 | 259.738 | 7.84 | 357 | 427
Park Rotana and Park Arjaan Abu Dhabi | 28 | 7 | 2022 | 44303 | 0.2 | 1794.0271 | 1.82 | 273.1538 | 7.84 | 336 | 415
Park Rotana and Park Arjaan Abu Dhabi | 29 | 7 | 2022 | 42106 | 0.2 | 1794.0271 | 1.82 | 210.9562 | 7.84 | 321 | 418
Park Rotana and Park Arjaan Abu Dhabi | 30 | 7 | 2022 | 43901 | 0.2 | 1794.0271 | 1.82 | 245.683 | 7.84 | 331 | 451
Park Rotana and Park Arjaan Abu Dhabi | 31 | 7 | 2022 | 43870 | 0.2 | 1794.0271 | 1.82 | 292.818 | 7.84 | 334 | 428

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION JULY 2022
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 88211 | 88236 | 88260 | 88284 | 88307 | 88330 | 88353 | 88375 | 88397 | 88419 | 88441 | 88463 | 88486 | 88509 | 88532 | 88556 | 88580 | 88603 | 88627 | 88651 | 88674 | 88696 | 88720 | 88745 | 88769 | 88792 | 88814 | 88837 | 88861 | 88884 | 88908 | 88932
|  |  |  | 25000 | 24000 | 24000 | 23000 | 23000 | 23000 | 22000 | 22000 | 22000 | 22000 | 22000 | 23000 | 23000 | 23000 | 24000 | 24000 | 23000 | 24000 | 24000 | 23000 | 22000 | 24000 | 25000 | 24000 | 23000 | 22000 | 23000 | 24000 | 23000 | 24000 | 24000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 99817 | 99843 | 99874 | 99917 | 99942 | 99965 | 99988 | 100001 | 100025 | 100050 | 100075 | 100101 | 100130 | 100150 | 100172 | 100193 | 100213 | 100234 | 100256 | 100278 | 100303 | 100342 | 100381 | 100421 | 100457 | 100498 | 100523 | 100553 | 100584 | 100622 | 100646 | 100677
|  |  |  | 26000 | 31000 | 43000 | 25000 | 23000 | 23000 | 13000 | 24000 | 25000 | 25000 | 26000 | 29000 | 20000 | 22000 | 21000 | 20000 | 21000 | 22000 | 22000 | 25000 | 39000 | 39000 | 40000 | 36000 | 41000 | 25000 | 30000 | 31000 | 38000 | 24000 | 31000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 85930 | 85952 | 85975 | 85990 | 86022 | 86055 | 86090 | 86126 | 86155 | 86176 | 86201 | 86223 | 86248 | 86282 | 86316 | 86349 | 86377 | 86411 | 86442 | 86470 | 86496 | 86510 | 86528 | 86544 | 86567 | 86584 | 86608 | 86621 | 86640 | 86649 | 86674 | 86692
|  |  |  | 22000 | 23000 | 15000 | 32000 | 33000 | 35000 | 36000 | 29000 | 21000 | 25000 | 22000 | 25000 | 34000 | 34000 | 33000 | 28000 | 34000 | 31000 | 28000 | 26000 | 14000 | 18000 | 16000 | 23000 | 17000 | 24000 | 13000 | 19000 | 9000 | 25000 | 18000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111 | 3111
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 370 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 371 | 372 | 372 | 372 | 372 | 372 | 372
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1218780 | 1219051 | 1219309 | 1219564 | 1219818 | 1220085 | 1220326 | 1220577 | 1220827 | 1221076 | 1221337 | 1221594 | 1221844 | 1222100 | 1222369 | 1222622 | 1222874 | 1223127 | 1223380 | 1223629 | 1223866 | 1224114 | 1224368 | 1224631 | 1224885 | 1225132 | 1225387 | 1225649 | 1225913 | 1226180 | 1226442 | 1226679
|  |  |  | 271 | 258 | 255 | 254 | 267 | 241 | 251 | 250 | 249 | 261 | 257 | 250 | 256 | 269 | 253 | 252 | 253 | 253 | 249 | 237 | 248 | 254 | 263 | 254 | 247 | 255 | 262 | 264 | 267 | 262 | 237
14 | E5T09D034327 | Hotel Gym S (Kwh) | 345626 | 345666 | 345704 | 345743 | 345782 | 345820 | 345826 | 345894 | 345931 | 345971 | 346008 | 346046 | 346086 | 346125 | 346164 | 346203 | 346242 | 346281 | 346320 | 346359 | 346397 | 346439 | 346477 | 346519 | 346560 | 346601 | 346641 | 346681 | 346720 | 346759 | 346798 | 346831
|  |  |  | 40 | 38 | 39 | 39 | 38 | 6 | 68 | 37 | 40 | 37 | 38 | 40 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 38 | 42 | 38 | 42 | 41 | 41 | 40 | 40 | 39 | 39 | 39 | 33
| Total Daily Consumption (kw) |  |  | 44511 | 45896 | 47494 | 46093 | 45705 | 46447 | 41919 | 43487 | 40689 | 42299 | 41495 | 44890 | 44895 | 45708 | 45892 | 43491 | 45292 | 45492 | 44288 | 43675 | 43490 | 47092 | 47705 | 47895 | 46488 | 41896 | 40502 | 44303 | 42106 | 43901 | 43870
| Total Monthly Consumption (kw) |  |  | 1: 1378906
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) JULY 2022
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 317370.9 | 317560.7 | 317711.6 | 317895.2 | 318058.1 | 318221.2 | 318378.9 | 318542.4 | 318671.3 | 318824.2 | 318977.1 | 319113.3 | 319251.6 | 319392.3 | 319536.2 | 319720.1 | 319870 | 320017.2 | 320146.1 | 320301.4 | 320481 | 320627.1 | 320760.9 | 320945.1 | 321088.2 | 321222 | 321391.9 | 321535.8 | 321690.9 | 321862.9 | 322004.1 | 322170.1
|  |  |  | 189.8 | 150.9 | 183.6 | 162.9 | 163.1 | 157.7 | 163.5 | 128.9 | 152.9 | 152.9 | 136.2 | 138.3 | 140.7 | 143.9 | 183.9 | 149.9 | 147.2 | 128.9 | 155.3 | 179.6 | 146.1 | 133.8 | 184.2 | 143.1 | 133.8 | 169.9 | 143.9 | 155.1 | 172 | 141.2 | 166
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 358263.1 | 358350 | 358478.1 | 358567.2 | 358679.1 | 358838.2 | 358950.1 | 359048.1 | 359141.3 | 359223 | 359345 | 359413 | 359519.7 | 359624.1 | 359772.9 | 359870.1 | 360036.8 | 360146.1 | 360264.1 | 360393.1 | 360495.2 | 360604.8 | 360692.2 | 360841.2 | 360956.9 | 361069.1 | 361196.7 | 361304.6 | 361407.4 | 361488.2 | 361588 | 361703.3
|  |  |  | 86.9 | 128.1 | 89.1 | 111.9 | 159.1 | 111.9 | 98 | 93.2 | 81.7 | 122 | 68 | 106.7 | 104.4 | 148.8 | 97.2 | 166.7 | 109.3 | 118 | 129 | 102.1 | 109.6 | 87.4 | 149 | 115.7 | 112.2 | 127.6 | 107.9 | 102.8 | 80.8 | 99.8 | 115.3
4 | 2045000686(Sub Meter) | Irrigation water Tank | 16892 | 16909 | 17063 | 17099 | 17215 | 17367 | 17507 | 17626 | 17671 | 17700 | 17854 | 17854 | 18016 | 18170 | 18334 | 18350 | 18519 | 18680 | 18858 | 19050 | 19180 | 19336 | 19336 | 19500 | 19673 | 19836 | 19984 | 20128 | 20281 | 20281 | 20410 | 20570
|  |  |  | 17 | 154 | 36 | 116 | 152 | 140 | 119 | 45 | 29 | 154 | 0 | 162 | 154 | 164 | 16 | 169 | 161 | 178 | 192 | 130 | 156 | 0 | 164 | 173 | 163 | 148 | 144 | 153 | 0 | 129 | 160
5 | 68864837 | Hotel & Arjaan Spa | 602.044 | 603.849 | 604.027 | 604.958 | 606.366 | 607.605 | 608.28 | 610.448 | 610.756 | 613.058 | 613.458 | 614.999 | 615.595 | 616.159 | 616.495 | 617.912 | 618.468 | 619.451 | 622.336 | 623.325 | 625.155 | 626.438 | 626.67 | 627.494 | 629.088 | 629.846 | 630.897 | 632.868 | 634.0258 | 635.633 | 635.853 | 636.896
|  |  |  | 1.805 | 0.178 | 0.931 | 1.408 | 1.239 | 0.675 | 2.168 | 0.308 | 2.302 | 0.4 | 1.541 | 0.596 | 0.564 | 0.336 | 1.417 | 0.556 | 0.983 | 2.885 | 0.989 | 1.83 | 1.283 | 0.232 | 0.824 | 1.594 | 0.758 | 1.051 | 1.971 | 1.1578 | 1.6072 | 0.22 | 1.043
6 | 65296485 | Hotel & Arjaan Gym | 853.299 | 855.415 | 861.176 | 862.656 | 865.357 | 866.899 | 867.456 | 870.48 | 870.886 | 879.058 | 880.263 | 883.475 | 885.951 | 887.834 | 887.834 | 891.34 | 893.736 | 895.556 | 897.434 | 898.1 | 902.491 | 904.235 | 904.995 | 905.819 | 908.21 | 915.748 | 917.2 | 917.712 | 919.498 | 920.487 | 921.79 | 923.68
|  |  |  | 2.116 | 5.761 | 1.48 | 2.701 | 1.542 | 0.557 | 3.024 | 0.406 | 8.172 | 1.205 | 3.212 | 2.476 | 1.883 | 0 | 3.506 | 2.396 | 1.82 | 1.878 | 0.666 | 4.391 | 1.744 | 0.76 | 0.824 | 2.391 | 7.538 | 1.452 | 0.512 | 1.786 | 0.989 | 1.303 | 1.89
| Total Daily Consumption (m3) |  |  | 240.476 | 283.784 | 242.306 | 269.564 | 305.876 | 272.287 | 266.342 | 191.804 | 213.189 | 278.705 | 171.553 | 262.287 | 259.427 | 284.996 | 239.763 | 303.917 | 271.638 | 266.863 | 301.405 | 290.266 | 268.647 | 174.122 | 326.698 | 277 | 265.936 | 296.423 | 259.738 | 273.1538 | 210.9562 | 245.683 | 292.818
| Total Monthly Consumption (m3) |  |  | 1: 8107.623
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) JULY 2023
LAST MONTH'S FINAL READING | 55614.84
1 |  | 1794.0271
2 |  | 1794.0271
3 |  | 1794.0271
4 |  | 1794.0271
5 |  | 1794.0271
6 |  | 1794.0271
7 |  | 1794.0271
8 |  | 1794.0271
9 |  | 1794.0271
10 |  | 1794.0271
11 |  | 1794.0271
12 |  | 1794.0271
13 |  | 1794.0271
14 |  | 1794.0271
15 |  | 1794.0271
16 |  | 1794.0271
17 |  | 1794.0271
18 |  | 1794.0271
19 |  | 1794.0271
20 |  | 1794.0271
21 |  | 1794.0271
22 |  | 1794.0271
23 |  | 1794.0271
24 |  | 1794.0271
25 |  | 1794.0271
26 |  | 1794.0271
27 |  | 1794.0271
28 |  | 1794.0271
29 |  | 1794.0271
30 |  | 1794.0271
31 |  | 1794.0271
TOTAL Consumption |  | 55614.84

## Occupied & No. of Guest
Occupied Room & Number of Guest July 2022
Date | Occupied | # Guest
2022-07-01 | 340 | 414
2022-07-02 | 368 | 477
2022-07-03 | 351 | 434
2022-07-04 | 381 | 466
2022-07-05 | 385 | 465
2022-07-06 | 383 | 457
2022-07-07 | 363 | 430
2022-07-08 | 353 | 437
2022-07-09 | 369 | 467
2022-07-10 | 369 | 457
2022-07-11 | 355 | 425
2022-07-12 | 374 | 443
2022-07-13 | 374 | 434
2022-07-14 | 373 | 435
2022-07-15 | 336 | 390
2022-07-16 | 342 | 410
2022-07-17 | 346 | 419
2022-07-18 | 382 | 472
2022-07-19 | 377 | 469
2022-07-20 | 377 | 465
2022-07-21 | 348 | 418
2022-07-22 | 380 | 489
2022-07-23 | 372 | 494
2022-07-24 | 345 | 417
2022-07-25 | 382 | 469
2022-07-26 | 380 | 456
2022-07-27 | 357 | 427
2022-07-28 | 336 | 415
2022-07-29 | 321 | 418
2022-07-30 | 331 | 451
2022-07-31 | 334 | 428
TOTAL MTD | 11184 | 13748