## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 10 | 2022 | 43527 | 0.2 | 1971.639 | 1.49 | 270.791 | 7.84 | 262 | 333
Park Rotana and Park Arjaan Abu Dhabi | 2 | 10 | 2022 | 42525 | 0.2 | 1971.639 | 1.49 | 333 | 7.84 | 305 | 380
Park Rotana and Park Arjaan Abu Dhabi | 3 | 10 | 2022 | 41849 | 0.2 | 1971.639 | 1.49 | 264.851 | 7.84 | 335 | 412
Park Rotana and Park Arjaan Abu Dhabi | 4 | 10 | 2022 | 42703 | 0.2 | 1971.639 | 1.49 | 290.912 | 7.84 | 278 | 348
Park Rotana and Park Arjaan Abu Dhabi | 5 | 10 | 2022 | 44304 | 0.2 | 1971.639 | 1.49 | 248.695 | 7.84 | 265 | 334
Park Rotana and Park Arjaan Abu Dhabi | 6 | 10 | 2022 | 42927 | 0.2 | 1971.639 | 1.49 | 318.114 | 7.84 | 261 | 336
Park Rotana and Park Arjaan Abu Dhabi | 7 | 10 | 2022 | 41115 | 0.2 | 1971.639 | 1.49 | 262.13 | 7.84 | 276 | 371
Park Rotana and Park Arjaan Abu Dhabi | 8 | 10 | 2022 | 37734 | 0.2 | 1971.639 | 1.49 | 322.926 | 7.84 | 298 | 432
Park Rotana and Park Arjaan Abu Dhabi | 9 | 10 | 2022 | 37114 | 0.2 | 1971.639 | 1.49 | 289.058 | 7.84 | 264 | 356
Park Rotana and Park Arjaan Abu Dhabi | 10 | 10 | 2022 | 39328 | 0.2 | 1971.639 | 1.49 | 330.437 | 7.84 | 306 | 395
Park Rotana and Park Arjaan Abu Dhabi | 11 | 10 | 2022 | 39131 | 0.2 | 1971.639 | 1.49 | 290.621 | 7.84 | 387 | 500
Park Rotana and Park Arjaan Abu Dhabi | 12 | 10 | 2022 | 43730 | 0.2 | 1971.639 | 1.49 | 251.273 | 7.84 | 349 | 436
Park Rotana and Park Arjaan Abu Dhabi | 13 | 10 | 2022 | 38909 | 0.2 | 1971.639 | 1.49 | 337.494 | 7.84 | 288 | 357
Park Rotana and Park Arjaan Abu Dhabi | 14 | 10 | 2022 | 38531 | 0.2 | 1971.639 | 1.49 | 162.587 | 7.84 | 274 | 372
Park Rotana and Park Arjaan Abu Dhabi | 15 | 10 | 2022 | 39934 | 0.2 | 1971.639 | 1.49 | 285.988 | 7.84 | 270 | 393
Park Rotana and Park Arjaan Abu Dhabi | 16 | 10 | 2022 | 41118 | 0.2 | 1971.639 | 1.49 | 281.942 | 7.84 | 340 | 456
Park Rotana and Park Arjaan Abu Dhabi | 17 | 10 | 2022 | 38707 | 0.2 | 1971.639 | 1.49 | 312.802 | 7.84 | 316 | 391
Park Rotana and Park Arjaan Abu Dhabi | 18 | 10 | 2022 | 39714 | 0.2 | 1971.639 | 1.49 | 255.26 | 7.84 | 380 | 471
Park Rotana and Park Arjaan Abu Dhabi | 19 | 10 | 2022 | 40115 | 0.2 | 1971.639 | 1.49 | 297.538 | 7.84 | 411 | 530
Park Rotana and Park Arjaan Abu Dhabi | 20 | 10 | 2022 | 41107 | 0.2 | 1971.639 | 1.49 | 302.923 | 7.84 | 360 | 480
Park Rotana and Park Arjaan Abu Dhabi | 21 | 10 | 2022 | 38931 | 0.2 | 1971.639 | 1.49 | 223.59 | 7.84 | 367 | 537
Park Rotana and Park Arjaan Abu Dhabi | 22 | 10 | 2022 | 39926 | 0.2 | 1971.639 | 1.49 | 345.815 | 7.84 | #REF! | 655
Park Rotana and Park Arjaan Abu Dhabi | 23 | 10 | 2022 | 37929 | 0.2 | 1971.639 | 1.49 | 338.704 | 7.84 | 445 | 448
Park Rotana and Park Arjaan Abu Dhabi | 24 | 10 | 2022 | 37529 | 0.2 | 1971.639 | 1.49 | 310.356 | 7.84 | 385 | 505
Park Rotana and Park Arjaan Abu Dhabi | 25 | 10 | 2022 | 38531 | 0.2 | 1971.639 | 1.49 | 257.472 | 7.84 | 444 | 575
Park Rotana and Park Arjaan Abu Dhabi | 26 | 10 | 2022 | 39530 | 0.2 | 1971.639 | 1.49 | 313.483 | 7.84 | 467 | 603
Park Rotana and Park Arjaan Abu Dhabi | 27 | 10 | 2022 | 37321 | 0.2 | 1971.639 | 1.49 | 361.803 | 7.84 | 449 | 606
Park Rotana and Park Arjaan Abu Dhabi | 28 | 10 | 2022 | 38913 | 0.2 | 1971.639 | 1.49 | 234.158 | 7.84 | 433 | 615
Park Rotana and Park Arjaan Abu Dhabi | 29 | 10 | 2022 | 40301 | 0.2 | 1971.639 | 1.49 | 308.81 | 7.84 | 475 | 705
Park Rotana and Park Arjaan Abu Dhabi | 30 | 10 | 2022 | 38927 | 0.2 | 1971.639 | 1.49 | 350.525 | 7.84 | 466 | 607
Park Rotana and Park Arjaan Abu Dhabi | 31 | 10 | 2022 | 39920 | 0.2 | 1971.639 | 1.49 | 335.727 | 7.84 | 488 | 598

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION OCTOBER 2022
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 90345 | 90369 | 90392 | 90415 | 90439 | 90465 | 90488 | 90510 | 90533 | 90555 | 90578 | 90600 | 90625 | 90648 | 90671 | 90695 | 90719 | 90741 | 90764 | 90787 | 90811 | 90834 | 90858 | 90880 | 90902 | 90925 | 90949 | 90972 | 90995 | 91019 | 91042 | 91066
|  |  |  | 24000 | 23000 | 23000 | 24000 | 26000 | 23000 | 22000 | 23000 | 22000 | 23000 | 22000 | 25000 | 23000 | 23000 | 24000 | 24000 | 22000 | 23000 | 23000 | 24000 | 23000 | 24000 | 22000 | 22000 | 23000 | 24000 | 23000 | 23000 | 24000 | 23000 | 24000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 102340 | 102377 | 102414 | 102452 | 102490 | 102529 | 102574 | 102612 | 102630 | 102658 | 102696 | 102736 | 102781 | 102818 | 102854 | 102890 | 102928 | 102966 | 103003 | 103042 | 103080 | 103116 | 103152 | 103188 | 103222 | 103257 | 103292 | 103325 | 103362 | 103399 | 103436 | 103473
|  |  |  | 37000 | 37000 | 38000 | 38000 | 39000 | 45000 | 38000 | 18000 | 28000 | 38000 | 40000 | 45000 | 37000 | 36000 | 36000 | 38000 | 38000 | 37000 | 39000 | 38000 | 36000 | 36000 | 36000 | 34000 | 35000 | 35000 | 33000 | 37000 | 37000 | 37000 | 37000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 88108 | 88119 | 88130 | 88139 | 88147 | 88153 | 88157 | 88166 | 88184 | 88193 | 88195 | 88197 | 88198 | 88200 | 88202 | 88205 | 88209 | 88212 | 88216 | 88219 | 88223 | 88226 | 88229 | 88232 | 88236 | 88239 | 88242 | 88244 | 88246 | 88249 | 88251 | 88253
|  |  |  | 11000 | 11000 | 9000 | 8000 | 6000 | 4000 | 9000 | 18000 | 9000 | 2000 | 2000 | 1000 | 2000 | 2000 | 3000 | 4000 | 3000 | 4000 | 3000 | 4000 | 3000 | 3000 | 3000 | 4000 | 3000 | 3000 | 2000 | 2000 | 3000 | 2000 | 2000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3117 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3119 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121
|  |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 377 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 379 | 380
|  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1242525 | 1242806 | 1243086 | 1243368 | 1243623 | 1243875 | 1244153 | 1244424 | 1244707 | 1244973 | 1245254 | 1245541 | 1245822 | 1246085 | 1246369 | 1246656 | 1246929 | 1247188 | 1247458 | 1247721 | 1247980 | 1248265 | 1248539 | 1248819 | 1249101 | 1249386 | 1249669 | 1249941 | 1250207 | 1250455 | 1250734 | 1251005
|  |  |  | 281 | 280 | 3 | 255 | 252 | 278 | 271 | 283 | 266 | 281 | 287 | 281 | 263 | 284 | 287 | 273 | 259 | 270 | 263 | 259 | 285 | 274 | 280 | 282 | 285 | 283 | 272 | 266 | 248 | 279 | 271
14 | E5T09D034327 | Hotel Gym S (Kwh) | 349324 | 349367 | 349412 | 349458 | 349506 | 349558 | 349607 | 349651 | 349702 | 349750 | 349797 | 349841 | 349890 | 349936 | 349983 | 350030 | 350075 | 350122 | 350166 | 350216 | 350264 | 350310 | 350362 | 350411 | 350458 | 350504 | 350551 | 350600 | 350647 | 350700 | 350748 | 350796
|  |  |  | 43 | 45 | 46 | 48 | 52 | 49 | 44 | 51 | 48 | 47 | 44 | 49 | 46 | 47 | 47 | 45 | 47 | 44 | 50 | 48 | 46 | 52 | 49 | 47 | 46 | 47 | 49 | 47 | 53 | 48 | 48
| Total Daily Consumption (kw) |  |  | 43527 | 42525 | 41849 | 42703 | 44304 | 42927 | 41115 | 37734 | 37114 | 39328 | 39131 | 43730 | 38909 | 38531 | 39934 | 41118 | 38707 | 39714 | 40115 | 41107 | 38931 | 39926 | 37929 | 37529 | 38531 | 39530 | 37321 | 38913 | 40301 | 38927 | 39920
| Total Monthly Consumption (kw) |  |  | 1: 1241880
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) OCTOBER 2022
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 334326.1 | 334471.1 | 334632.7 | 334777.2 | 334948.8 | 335093.1 | 335290.4 | 335523.9 | 335720.2 | 335865.8 | 336033.1 | 336175.5 | 336314.5 | 336506.1 | 336640.6 | 336786.6 | 336941.3 | 337123.6 | 337263 | 337466.1 | 337611.2 | 337808.1 | 338026.3 | 338261.5 | 338459.6 | 338637.6 | 338834.6 | 339075.3 | 339284 | 339491.7 | 339717.1 | 339934.1
|  |  |  | 145 | 161.6 | 144.5 | 171.6 | 144.3 | 197.3 | 233.5 | 196.3 | 145.6 | 167.3 | 142.4 | 139 | 191.6 | 134.5 | 146 | 154.7 | 182.3 | 139.4 | 203.1 | 145.1 | 196.9 | 218.2 | 235.2 | 198.1 | 178 | 197 | 240.7 | 208.7 | 207.7 | 225.4 | 217
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 367513 | 367625.3 | 367808.5 | 367927.1 | 368039.4 | 368124.1 | 368250.3 | 368305.2 | 368432.5 | 368585.1 | 368771.7 | 368959.1 | 369063.4 | 369225.7 | 369274.1 | 369418.9 | 369542.2 | 369691.1 | 369812.1 | 369934.8 | 370121.9 | 370169.2 | 370307.8 | 370392.2 | 370502.1 | 370583.6 | 370714.1 | 370848.2 | 370894.2 | 370999.1 | 371136.2 | 371265.2
|  |  |  | 112.3 | 183.2 | 118.6 | 112.3 | 84.7 | 126.2 | 54.9 | 127.3 | 152.6 | 186.6 | 187.4 | 104.3 | 162.3 | 48.4 | 144.8 | 123.3 | 148.9 | 121 | 122.7 | 187.1 | 47.3 | 138.6 | 84.4 | 109.9 | 81.5 | 130.5 | 134.1 | 46 | 104.9 | 137.1 | 129
4 | 2045000686(Sub Meter) | Irrigation water Tank | 29325 | 29487 | 29660 | 29804 | 29945 | 30087 | 30226 | 30226 | 30373 | 30533 | 30696 | 30833 | 30973 | 31120 | 31120 | 31263 | 31414 | 31532 | 31645 | 31726 | 31879 | 31879 | 32014 | 32137 | 32268 | 32354 | 32476 | 32606 | 32606 | 32717 | 32850 | 32975
|  |  |  | 162 | 173 | 144 | 141 | 142 | 139 | 0 | 147 | 160 | 163 | 137 | 140 | 147 | 0 | 143 | 151 | 118 | 113 | 81 | 153 | 0 | 135 | 123 | 131 | 86 | 122 | 130 | 0 | 111 | 133 | 125
5 | 68864837 | Hotel & Arjaan Spa | 755.859 | 757.262 | 759.885 | 761.012 | 763.842 | 765.227 | 765.806 | 768.769 | 770.574 | 772 | 773.658 | 775.126 | 776.758 | 779.278 | 780.963 | 788.99 | 790.583 | 792.523 | 794.23 | 796.37 | 797.625 | 799.71 | 802.659 | 804.474 | 806.15 | 807.914 | 809.376 | 810.94 | 813.48 | 815.705 | 817.157 | 818.631
|  |  |  | 1.403 | 2.623 | 1.127 | 2.83 | 1.385 | 0.579 | 2.963 | 1.805 | 1.426 | 1.658 | 1.468 | 1.632 | 2.52 | 1.685 | 8.027 | 1.593 | 1.94 | 1.707 | 2.14 | 1.255 | 2.085 | 2.949 | 1.815 | 1.676 | 1.764 | 1.462 | 1.564 | 2.54 | 2.225 | 1.452 | 1.474
6 | 65296485 | Hotel & Arjaan Gym | 1094.309 | 1095.262 | 1103.749 | 1104.803 | 1107.3 | 1108.295 | 1109.19 | 1110.152 | 1111.538 | 1112.9 | 1117.059 | 1117.832 | 1118.538 | 1122.727 | 1127.349 | 1129.8 | 1132.014 | 1140.471 | 1149.324 | 1149.957 | 1153.48 | 1156.8 | 1158.346 | 1166.705 | 1168.88 | 1171.213 | 1172.609 | 1173.303 | 1175.521 | 1177.251 | 1179.379 | 1182.332
|  |  |  | 0.953 | 8.487 | 1.054 | 2.497 | 0.995 | 0.895 | 0.962 | 1.386 | 1.362 | 4.159 | 0.773 | 0.706 | 4.189 | 4.622 | 2.451 | 2.214 | 8.457 | 8.853 | 0.633 | 3.523 | 3.32 | 1.546 | 8.359 | 2.175 | 2.333 | 1.396 | 0.694 | 2.218 | 1.73 | 2.128 | 2.953
| Total Daily Consumption (m3) |  |  | 270.791 | 333 | 264.851 | 290.912 | 248.695 | 318.114 | 262.13 | 322.926 | 289.058 | 330.437 | 290.621 | 251.273 | 337.494 | 162.587 | 285.988 | 281.942 | 312.802 | 255.26 | 297.538 | 302.923 | 223.59 | 345.815 | 338.704 | 310.356 | 257.472 | 313.483 | 361.803 | 234.158 | 308.81 | 350.525 | 335.727
| Total Monthly Consumption (m3) |  |  | 1: 9089.785
Note on B5: New water meter replaced on April 13, 2023
Note on K6: BMS Operator Park Rotana: Hot water hotel pipe leakage
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on K10: BMS Operator Park Rotana: friday
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) OCTOBER 2023
LAST MONTH'S FINAL READING | 61120.81
1 |  | 1971.639
2 |  | 1971.639
3 |  | 1971.639
4 |  | 1971.639
5 |  | 1971.639
6 |  | 1971.639
7 |  | 1971.639
8 |  | 1971.639
9 |  | 1971.639
10 |  | 1971.639
11 |  | 1971.639
12 |  | 1971.639
13 |  | 1971.639
14 |  | 1971.639
15 |  | 1971.639
16 |  | 1971.639
17 |  | 1971.639
18 |  | 1971.639
19 |  | 1971.639
20 |  | 1971.639
21 |  | 1971.639
22 |  | 1971.639
23 |  | 1971.639
24 |  | 1971.639
25 |  | 1971.639
26 |  | 1971.639
27 |  | 1971.639
28 |  | 1971.639
29 |  | 1971.639
30 |  | 1971.639
31 |  | 1971.639
TOTAL Consumption |  | 61120.81

## Occupied & No. of Guest
Occupied Room & Number of Guest October 2022
Date | Occupied | # Guest
2022-10-01 | 262 | 333
2022-10-02 | 305 | 380
2022-10-03 | 335 | 412
2022-10-04 | 278 | 348
2022-10-05 | 265 | 334
2022-10-06 | 261 | 336
2022-10-07 | 276 | 371
2022-10-08 | 298 | 432
2022-10-09 | 264 | 356
2022-10-10 | 306 | 395
2022-10-11 | 387 | 500
2022-10-12 | 349 | 436
2022-10-13 | 288 | 357
2022-10-14 | 274 | 372
2022-10-15 | 270 | 393
2022-10-16 | 340 | 456
2022-10-17 | 316 | 391
2022-10-18 | 380 | 471
2022-10-19 | 411 | 530
2022-10-20 | 360 | 480
2022-10-21 | 367 | 537
2022-10-22 | 445 | 655
2022-10-23 | 327 | 448
2022-10-24 | 385 | 505
2022-10-25 | 444 | 575
2022-10-26 | 467 | 603
2022-10-27 | 449 | 606
2022-10-28 | 433 | 615
2022-10-29 | 475 | 705
2022-10-30 | 466 | 607
2022-10-31 | 488 | 598
TOTAL MTD | 10971 | 14537