## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 1 | 2021 | 27005 | 0.2 | 2138.2358 | 1.43 | 218.252 | 7.84 | 133 | 183
Park Rotana and Park Arjaan Abu Dhabi | 2 | 1 | 2021 | 27402 | 0.2 | 2138.2358 | 1.43 | 213.054 | 7.84 | 132 | 170
Park Rotana and Park Arjaan Abu Dhabi | 3 | 1 | 2021 | 26618 | 0.2 | 2138.2358 | 1.43 | 261.038 | 7.84 | 130 | 171
Park Rotana and Park Arjaan Abu Dhabi | 4 | 1 | 2021 | 26189 | 0.2 | 2138.2358 | 1.43 | 152.622 | 7.84 | 139 | 183
Park Rotana and Park Arjaan Abu Dhabi | 5 | 1 | 2021 | 25210 | 0.2 | 2138.2358 | 1.43 | 106.684 | 7.84 | 152 | 194
Park Rotana and Park Arjaan Abu Dhabi | 6 | 1 | 2021 | 26608 | 0.2 | 2138.2358 | 1.43 | 164.843 | 7.84 | 145 | 181
Park Rotana and Park Arjaan Abu Dhabi | 7 | 1 | 2021 | 27218 | 0.2 | 2138.2358 | 1.43 | 171.934 | 7.84 | 135 | 181
Park Rotana and Park Arjaan Abu Dhabi | 8 | 1 | 2021 | 24400 | 0.2 | 2138.2358 | 1.43 | 145.858 | 7.84 | 138 | 189
Park Rotana and Park Arjaan Abu Dhabi | 9 | 1 | 2021 | 24614 | 0.2 | 2138.2358 | 1.43 | 194.613 | 7.84 | 128 | 167
Park Rotana and Park Arjaan Abu Dhabi | 10 | 1 | 2021 | 25010 | 0.2 | 2138.2358 | 1.43 | 115.333 | 7.84 | 148 | 191
Park Rotana and Park Arjaan Abu Dhabi | 11 | 1 | 2021 | 22993 | 0.2 | 2138.2358 | 1.43 | 141.579 | 7.84 | 160 | 205
Park Rotana and Park Arjaan Abu Dhabi | 12 | 1 | 2021 | 26800 | 0.2 | 2138.2358 | 1.43 | 194.201 | 7.84 | 174 | 222
Park Rotana and Park Arjaan Abu Dhabi | 13 | 1 | 2021 | 25607 | 0.2 | 2138.2358 | 1.43 | 693.456 | 7.84 | 161 | 203
Park Rotana and Park Arjaan Abu Dhabi | 14 | 1 | 2021 | 26397 | 0.2 | 2138.2358 | 1.43 | 185.235 | 7.84 | 168 | 209
Park Rotana and Park Arjaan Abu Dhabi | 15 | 1 | 2021 | 24415 | 0.2 | 2138.2358 | 1.43 | 165.597 | 7.84 | 133 | 177
Park Rotana and Park Arjaan Abu Dhabi | 16 | 1 | 2021 | 25792 | 0.2 | 2138.2358 | 1.43 | 214.185 | 7.84 | 153 | 198
Park Rotana and Park Arjaan Abu Dhabi | 17 | 1 | 2021 | 24809 | 0.2 | 2138.2358 | 1.43 | 274.189 | 7.84 | 182 | 233
Park Rotana and Park Arjaan Abu Dhabi | 18 | 1 | 2021 | 24802 | 0.2 | 2138.2358 | 1.43 | 155.696 | 7.84 | 175 | 221
Park Rotana and Park Arjaan Abu Dhabi | 19 | 1 | 2021 | 26602 | 0.2 | 2138.2358 | 1.43 | 236.473 | 7.84 | 184 | 234
Park Rotana and Park Arjaan Abu Dhabi | 20 | 1 | 2021 | 28023 | 0.2 | 2138.2358 | 1.43 | 346.574 | 7.84 | 188 | 243
Park Rotana and Park Arjaan Abu Dhabi | 21 | 1 | 2021 | 27007 | 0.2 | 2138.2358 | 1.43 | 188.545 | 7.84 | 146 | 185
Park Rotana and Park Arjaan Abu Dhabi | 22 | 1 | 2021 | 25194 | 0.2 | 2138.2358 | 1.43 | 212.9 | 7.84 | 137 | 187
Park Rotana and Park Arjaan Abu Dhabi | 23 | 1 | 2021 | 26283 | 0.2 | 2138.2358 | 1.43 | 224.789 | 7.84 | 149 | 205
Park Rotana and Park Arjaan Abu Dhabi | 24 | 1 | 2021 | 24799 | 0.2 | 2138.2358 | 1.43 | 262.679 | 7.84 | 172 | 225
Park Rotana and Park Arjaan Abu Dhabi | 25 | 1 | 2021 | 26198 | 0.2 | 2138.2358 | 1.43 | 152.303 | 7.84 | 183 | 233
Park Rotana and Park Arjaan Abu Dhabi | 26 | 1 | 2021 | 27391 | 0.2 | 2138.2358 | 1.43 | 215.663 | 7.84 | 183 | 237
Park Rotana and Park Arjaan Abu Dhabi | 27 | 1 | 2021 | 27014 | 0.2 | 2138.2358 | 1.43 | 266.187 | 7.84 | 200 | 262
Park Rotana and Park Arjaan Abu Dhabi | 28 | 1 | 2021 | 27010 | 0.2 | 2138.2358 | 1.43 | 265.061 | 7.84 | 191 | 238
Park Rotana and Park Arjaan Abu Dhabi | 29 | 1 | 2021 | 26611 | 0.2 | 2138.2358 | 1.43 | 179.269 | 7.84 | 151 | 195
Park Rotana and Park Arjaan Abu Dhabi | 30 | 1 | 2021 | 27607 | 0.2 | 2138.2358 | 1.43 | 285.155 | 7.84 | 146 | 189
Park Rotana and Park Arjaan Abu Dhabi | 31 | 1 | 2021 | 26406 | 0.2 | 2138.2358 | 1.43 | 206.719 | 7.84 | 147 | 189

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION JANUARY 2021
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan 1 (KW) | 76604 | 76624 | 76644 | 76664 | 76684 | 76703 | 76723 | 76744 | 76763 | 76783 | 76803 | 76821 | 76842 | 76861 | 76882 | 76901 | 76921 | 76940 | 76959 | 76979 | 77000 | 77020 | 77039 | 77059 | 77078 | 77098 | 77118 | 77138 | 77158 | 77178 | 77199 | 77218
|  |  |  | 20000 | 20000 | 20000 | 20000 | 19000 | 20000 | 21000 | 19000 | 20000 | 20000 | 18000 | 21000 | 19000 | 21000 | 19000 | 20000 | 19000 | 19000 | 20000 | 21000 | 20000 | 19000 | 20000 | 19000 | 20000 | 20000 | 20000 | 20000 | 20000 | 21000 | 19000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan 2 (KW) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (KW) | 90489 | 90503 | 90517 | 90530 | 90543 | 90556 | 90571 | 90585 | 90596 | 90606 | 90616 | 90626 | 90639 | 90653 | 90665 | 90677 | 90690 | 90697 | 90700 | 90712 | 90726 | 90739 | 90751 | 90763 | 90774 | 90787 | 90802 | 90816 | 90830 | 90843 | 90856 | 90870
|  |  |  | 14000 | 14000 | 13000 | 13000 | 13000 | 15000 | 14000 | 11000 | 10000 | 10000 | 10000 | 13000 | 14000 | 12000 | 12000 | 13000 | 7000 | 3000 | 12000 | 14000 | 13000 | 12000 | 12000 | 11000 | 13000 | 15000 | 14000 | 14000 | 13000 | 13000 | 14000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (KW) | 77345 | 77348 | 77352 | 77355 | 77357 | 77359 | 77360 | 77361 | 77363 | 77364 | 77366 | 77368 | 77369 | 77371 | 77372 | 77373 | 77374 | 77381 | 77392 | 77396 | 77399 | 77403 | 77406 | 77409 | 77412 | 77414 | 77417 | 77420 | 77423 | 77426 | 77429 | 77433
|  |  |  | 3000 | 4000 | 3000 | 2000 | 2000 | 1000 | 1000 | 2000 | 1000 | 2000 | 2000 | 1000 | 2000 | 1000 | 1000 | 1000 | 7000 | 11000 | 4000 | 3000 | 4000 | 3000 | 3000 | 3000 | 2000 | 3000 | 3000 | 3000 | 3000 | 3000 | 4000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 2999 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3002 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003 | 3003
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 323 | 323 | 323 | 323 | 323 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 325 | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 326
|  |  |  | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1104658 | 1104826 | 1104989 | 1105170 | 1105322 | 1105495 | 1105666 | 1105842 | 1106007 | 1106180 | 1106351 | 1106507 | 1106670 | 1106839 | 1107000 | 1107179 | 1107333 | 1107505 | 1107669 | 1107833 | 1108016 | 1108185 | 1108341 | 1108587 | 1108749 | 1108913 | 1109067 | 1109244 | 1109417 | 1109593 | 1109763 | 1109934
|  |  |  | 168 | 163 | 181 | 152 | 173 | 171 | 176 | 165 | 173 | 171 | 156 | 163 | 169 | 161 | 179 | 154 | 172 | 164 | 164 | 183 | 169 | 156 | 246 | 162 | 164 | 154 | 177 | 173 | 176 | 170 | 171
14 | E5T09D034327 | Hotel Gym S (Kwh) | 324327 | 324364 | 324403 | 324440 | 324477 | 324512 | 324549 | 324588 | 324623 | 324664 | 324703 | 324740 | 324777 | 324815 | 324851 | 324887 | 324925 | 324962 | 325000 | 325038 | 325076 | 325114 | 325152 | 325189 | 325226 | 325260 | 325297 | 325334 | 325371 | 325406 | 325443 | 325478
|  |  |  | 37 | 39 | 37 | 37 | 35 | 37 | 39 | 35 | 41 | 39 | 37 | 37 | 38 | 36 | 36 | 38 | 37 | 38 | 38 | 38 | 38 | 38 | 37 | 37 | 34 | 37 | 37 | 37 | 35 | 37 | 35
| Total Daily Consumption (kw) |  |  | 27005 | 27402 | 26618 | 26189 | 25210 | 26608 | 27218 | 24400 | 24614 | 25010 | 22993 | 26800 | 25607 | 26397 | 24415 | 25792 | 24809 | 24802 | 26602 | 28023 | 27007 | 25194 | 26283 | 24799 | 26198 | 27391 | 27014 | 27010 | 26611 | 27607 | 26406
| Total Monthly Consumption (kw) |  |  | 1: 808034

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) JANUARY 2021
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 192349.5 | 192499.9 | 192659.3 | 192812.2 | 192964 | 193069.8 | 193197.5 | 193340.3 | 193483.6 | 193624.9 | 193737.3 | 193866.5 | 194025.7 | 194183.5 | 194282.9 | 194429.7 | 194583 | 194736.9 | 194839.9 | 195001.5 | 195171.2 | 195286.7 | 195454.6 | 195622.3 | 195782.5 | 195887.2 | 196056.2 | 196225.9 | 196415.3 | 196544.2 | 196702.5 | 196856
|  |  |  | 150.4 | 159.4 | 152.9 | 151.8 | 105.8 | 127.7 | 142.8 | 143.3 | 141.3 | 112.4 | 129.2 | 159.2 | 157.8 | 99.4 | 146.8 | 153.3 | 153.9 | 103 | 161.6 | 169.7 | 115.5 | 167.9 | 167.7 | 160.2 | 104.7 | 169 | 169.7 | 189.4 | 128.9 | 158.3 | 153.5
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 255643.8 | 255788.9 | 255891.6 | 256058 | 256058 | 256058 | 256058 | 256058 | 256058 | 256058 | 256058 | 256058 | 256058 | 257222.7 | 257361.2 | 257401.6 | 257508.7 | 257704.1 | 257797.5 | 257958.2 | 258259.5 | 258396.7 | 258493 | 258608.5 | 258762.2 | 258856.2 | 258949.5 | 259098.3 | 259230.8 | 259335.3 | 259519.9 | 259627.1
|  |  |  | 145.1 | 102.7 | 166.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1164.7 | 138.5 | 40.4 | 107.1 | 195.4 | 93.4 | 160.7 | 301.3 | 137.2 | 96.3 | 115.5 | 153.7 | 94 | 93.3 | 148.8 | 132.5 | 104.5 | 184.6 | 107.2
4 | 2045000686(Sub Meter) | Irrigation water Tank | 72572 | 72575 | 72588 | 72660 | 72660 | 72660 | 72738 | 72800 | 72801 | 72908 | 72908 | 72917 | 72992 | 73015 | 73065 | 73065 | 73086 | 73155 | 73174 | 73177 | 73267 | 73286 | 73287 | 73294 | 73363 | 73367 | 73375 | 73438 | 73470 | 73473 | 73561 | 73563
|  |  |  | 3 | 13 | 72 | 0 | 0 | 78 | 62 | 1 | 107 | 0 | 9 | 75 | 23 | 50 | 0 | 21 | 69 | 19 | 3 | 90 | 19 | 1 | 7 | 69 | 4 | 8 | 63 | 32 | 3 | 88 | 2
5 | 68864837 | Hotel & Arjaan Spa | 70.728 | 71.436 | 72.386 | 72.842 | 73.272 | 73.595 | 73.982 | 74.823 | 75.348 | 76.314 | 77.49 | 77.955 | 78.772 | 79.628 | 80.189 | 80.419 | 81.242 | 81.75 | 83.333 | 83.889 | 84.273 | 85.06 | 85.548 | 86.136 | 87.624 | 88.126 | 88.728 | 89.163 | 90.243 | 90.848 | 91.675 | 92.619
|  |  |  | 0.708 | 0.95 | 0.456 | 0.43 | 0.323 | 0.387 | 0.841 | 0.525 | 0.966 | 1.176 | 0.465 | 0.817 | 0.856 | 0.561 | 0.23 | 0.823 | 0.508 | 1.583 | 0.556 | 0.384 | 0.787 | 0.488 | 0.588 | 1.488 | 0.502 | 0.602 | 0.435 | 1.08 | 0.605 | 0.827 | 0.944
6 | 65296485 | Hotel & Arjaan Gym | 8090.271 | 8090.77 | 8091.409 | 8091.811 | 8092.203 | 8092.764 | 8094.42 | 8094.813 | 8096.396 | 8100.593 | 8102.35 | 8110.214 | 8110.648 | 8110.983 | 8111.432 | 8111.819 | 8114.236 | 8115.037 | 8115.57 | 8116.222 | 8116.627 | 8118.595 | 8119.322 | 8120.698 | 8121.474 | 8124.475 | 8124.951 | 8125.693 | 8126.249 | 8127.638 | 8130.996 | 8134.131
|  |  |  | 0.499 | 0.639 | 0.402 | 0.392 | 0.561 | 1.656 | 0.393 | 1.583 | 4.197 | 1.757 | 7.864 | 0.434 | 0.335 | 0.449 | 0.387 | 2.417 | 0.801 | 0.533 | 0.652 | 0.405 | 1.968 | 0.727 | 1.376 | 0.776 | 3.001 | 0.476 | 0.742 | 0.556 | 1.389 | 3.358 | 3.135
| Total Daily Consumption (m3) |  |  | 218.252 | 213.054 | 261.038 | 152.622 | 106.684 | 164.843 | 171.934 | 145.858 | 194.613 | 115.333 | 141.579 | 194.201 | 693.456 | 185.235 | 165.597 | 214.185 | 274.189 | 155.696 | 236.473 | 346.574 | 188.545 | 212.9 | 224.789 | 262.679 | 152.303 | 215.663 | 266.187 | 265.061 | 179.269 | 285.155 | 206.719
| Total Monthly Consumption (m3) |  |  | 1: 6810.686
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on P11: No Readings
Note on B13: Replaced new water meter by ADDC on April 5, 2021
Note on P13: No Readings

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) January 2021
LAST MONTH'S FINAL READING | 66285.31
1 |  | 2138.2358
2 |  | 2138.2358
3 |  | 2138.2358
4 |  | 2138.2358
5 |  | 2138.2358
6 |  | 2138.2358
7 |  | 2138.2358
8 |  | 2138.2358
9 |  | 2138.2358
10 |  | 2138.2358
11 |  | 2138.2358
12 |  | 2138.2358
13 |  | 2138.2358
14 |  | 2138.2358
15 |  | 2138.2358
16 |  | 2138.2358
17 |  | 2138.2358
18 |  | 2138.2358
19 |  | 2138.2358
20 |  | 2138.2358
21 |  | 2138.2358
22 |  | 2138.2358
23 |  | 2138.2358
24 |  | 2138.2358
25 |  | 2138.2358
26 |  | 2138.2358
27 |  | 2138.2358
28 |  | 2138.2358
29 |  | 2138.2358
30 |  | 2138.2358
31 |  | 2138.2358
TOTAL Consumption |  | 66285.31

## Occupied & No. of Guest
Occupied Room & Number of Guest - January 2021
Date | Occupied | # Guest
2021-01-01 | 133 | 183
2021-01-02 | 132 | 170
2021-01-03 | 130 | 171
2021-01-04 | 139 | 183
2021-01-05 | 152 | 194
2021-01-06 | 145 | 181
2021-01-07 | 135 | 181
2021-01-08 | 138 | 189
2021-01-09 | 128 | 167
2021-01-10 | 148 | 191
2021-01-11 | 160 | 205
2021-01-12 | 174 | 222
2021-01-13 | 161 | 203
2021-01-14 | 168 | 209
2021-01-15 | 133 | 177
2021-01-16 | 153 | 198
2021-01-17 | 182 | 233
2021-01-18 | 175 | 221
2021-01-19 | 184 | 234
2021-01-20 | 188 | 243
2021-01-21 | 146 | 185
2021-01-22 | 137 | 187
2021-01-23 | 149 | 205
2021-01-24 | 172 | 225
2021-01-25 | 183 | 233
2021-01-26 | 183 | 237
2021-01-27 | 200 | 262
2021-01-28 | 191 | 238
2021-01-29 | 151 | 195
2021-01-30 | 146 | 189
2021-01-31 | 147 | 189
TOTAL MTD | 4863 | 6300