## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 9 | 2021 | 40595 | 0.2 | 1515.098 | 1.7 | 488.035 | 7.84 | 336 | 448
Park Rotana and Park Arjaan Abu Dhabi | 2 | 9 | 2021 | 41398 | 0.2 | 1515.098 | 1.7 | 563.898 | 7.84 | 271 | 382
Park Rotana and Park Arjaan Abu Dhabi | 3 | 9 | 2021 | 38801 | 0.2 | 1515.098 | 1.7 | 391.123 | 7.84 | 211 | 314
Park Rotana and Park Arjaan Abu Dhabi | 4 | 9 | 2021 | 35605 | 0.2 | 1515.098 | 1.7 | 349.003 | 7.84 | 208 | 301
Park Rotana and Park Arjaan Abu Dhabi | 5 | 9 | 2021 | 38799 | 0.2 | 1515.098 | 1.7 | 255.761 | 7.84 | 201 | 282
Park Rotana and Park Arjaan Abu Dhabi | 6 | 9 | 2021 | 40802 | 0.2 | 1515.098 | 1.7 | 291.344 | 7.84 | 197 | 282
Park Rotana and Park Arjaan Abu Dhabi | 7 | 9 | 2021 | 43195 | 0.2 | 1515.098 | 1.7 | 266.67 | 7.84 | 195 | 269
Park Rotana and Park Arjaan Abu Dhabi | 8 | 9 | 2021 | 42199 | 0.2 | 1515.098 | 1.7 | 264.926 | 7.84 | 192 | 258
Park Rotana and Park Arjaan Abu Dhabi | 9 | 9 | 2021 | 43614 | 0.2 | 1515.098 | 1.7 | 432.976 | 7.84 | 166 | 227
Park Rotana and Park Arjaan Abu Dhabi | 10 | 9 | 2021 | 41018 | 0.2 | 1515.098 | 1.7 | 245.089 | 7.84 | 170 | 233
Park Rotana and Park Arjaan Abu Dhabi | 11 | 9 | 2021 | 41801 | 0.2 | 1515.098 | 1.7 | 329.3523 | 7.84 | 163 | 226
Park Rotana and Park Arjaan Abu Dhabi | 12 | 9 | 2021 | 42399 | 0.2 | 1515.098 | 1.7 | 355.5067 | 7.84 | 175 | 234
Park Rotana and Park Arjaan Abu Dhabi | 13 | 9 | 2021 | 43595 | 0.2 | 1515.098 | 1.7 | 248.816 | 7.84 | 165 | 215
Park Rotana and Park Arjaan Abu Dhabi | 14 | 9 | 2021 | 43595 | 0.2 | 1515.098 | 1.7 | 331.221 | 7.84 | 184 | 242
Park Rotana and Park Arjaan Abu Dhabi | 15 | 9 | 2021 | 43995 | 0.2 | 1515.098 | 1.7 | 346.541 | 7.84 | 208 | 271
Park Rotana and Park Arjaan Abu Dhabi | 16 | 9 | 2021 | 41603 | 0.2 | 1515.098 | 1.7 | 343.23 | 7.84 | 163 | 218
Park Rotana and Park Arjaan Abu Dhabi | 17 | 9 | 2021 | 41597 | 0.2 | 1515.098 | 1.7 | 253.568 | 7.84 | 157 | 186
Park Rotana and Park Arjaan Abu Dhabi | 18 | 9 | 2021 | 38197 | 0.2 | 1515.098 | 1.7 | 313.514 | 7.84 | 181 | 223
Park Rotana and Park Arjaan Abu Dhabi | 19 | 9 | 2021 | 39602 | 0.2 | 1515.098 | 1.7 | 296.975 | 7.84 | 219 | 266
Park Rotana and Park Arjaan Abu Dhabi | 20 | 9 | 2021 | 42199 | 0.2 | 1515.098 | 1.7 | 291.944 | 7.84 | 224 | 273
Park Rotana and Park Arjaan Abu Dhabi | 21 | 9 | 2021 | 42401 | 0.2 | 1515.098 | 1.7 | 338.083 | 7.84 | 231 | 277
Park Rotana and Park Arjaan Abu Dhabi | 22 | 9 | 2021 | 41789 | 0.2 | 1515.098 | 1.7 | 336.099 | 7.84 | 233 | 287
Park Rotana and Park Arjaan Abu Dhabi | 23 | 9 | 2021 | 40794 | 0.2 | 1515.098 | 1.7 | 356.62 | 7.84 | 197 | 251
Park Rotana and Park Arjaan Abu Dhabi | 24 | 9 | 2021 | 41597 | 0.2 | 1515.098 | 1.7 | 277.034 | 7.84 | 196 | 246
Park Rotana and Park Arjaan Abu Dhabi | 25 | 9 | 2021 | 41825 | 0.2 | 1515.098 | 1.7 | 305.303 | 7.84 | 258 | 326
Park Rotana and Park Arjaan Abu Dhabi | 26 | 9 | 2021 | 42180 | 0.2 | 1515.098 | 1.7 | 341.241 | 7.84 | 277 | 349
Park Rotana and Park Arjaan Abu Dhabi | 27 | 9 | 2021 | 40643 | 0.2 | 1515.098 | 1.7 | 259.205 | 7.84 | 339 | 418
Park Rotana and Park Arjaan Abu Dhabi | 28 | 9 | 2021 | 42013 | 0.2 | 1515.098 | 1.7 | 361.278 | 7.84 | 326 | 403
Park Rotana and Park Arjaan Abu Dhabi | 29 | 9 | 2021 | 41803 | 0.2 | 1515.098 | 1.7 | 334.89 | 7.84 | 298 | 371
Park Rotana and Park Arjaan Abu Dhabi | 30 | 9 | 2021 | 40603 | 0.2 | 1515.098 | 1.7 | 317.808 | 7.84 | 271 | 342
Park Rotana and Park Arjaan Abu Dhabi | 31 | 9 | 2021 | 0 | 0.2 | 0 | 1.7 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION SEPTEMBER 2021
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 81522 | 81542 | 81564 | 81585 | 81604 | 81625 | 81646 | 81667 | 81687 | 81708 | 81728 | 81748 | 81769 | 81790 | 81811 | 81832 | 81853 | 81874 | 81894 | 81915 | 81937 | 81958 | 81980 | 82001 | 82022 | 82044 | 82066 | 82088 | 82111 | 82133 | 82155
|  |  |  | 20000 | 22000 | 21000 | 19000 | 21000 | 21000 | 21000 | 20000 | 21000 | 20000 | 20000 | 21000 | 21000 | 21000 | 21000 | 21000 | 21000 | 20000 | 21000 | 22000 | 21000 | 22000 | 21000 | 21000 | 22000 | 22000 | 22000 | 23000 | 22000 | 22000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 94862 | 94896 | 94921 | 94944 | 94966 | 94989 | 95017 | 95046 | 95077 | 95099 | 95130 | 95160 | 95178 | 95210 | 95241 | 95263 | 95290 | 95321 | 95340 | 95364 | 95401 | 95433 | 95466 | 95496 | 95533 | 95564 | 95598 | 95628 | 95665 | 95698 | 95727
|  |  |  | 34000 | 25000 | 23000 | 22000 | 23000 | 28000 | 29000 | 31000 | 22000 | 31000 | 30000 | 18000 | 32000 | 31000 | 22000 | 27000 | 31000 | 19000 | 24000 | 37000 | 32000 | 33000 | 30000 | 37000 | 31000 | 34000 | 30000 | 37000 | 33000 | 29000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 81166 | 81183 | 81206 | 81227 | 81246 | 81267 | 81288 | 81314 | 81338 | 81372 | 81393 | 81417 | 81452 | 81476 | 81501 | 81536 | 81560 | 81580 | 81606 | 81628 | 81641 | 81662 | 81678 | 81697 | 81711 | 81729 | 81745 | 81761 | 81771 | 81787 | 81804
|  |  |  | 17000 | 23000 | 21000 | 19000 | 21000 | 21000 | 26000 | 24000 | 34000 | 21000 | 24000 | 35000 | 24000 | 25000 | 35000 | 24000 | 20000 | 26000 | 22000 | 13000 | 21000 | 16000 | 19000 | 14000 | 18000 | 16000 | 16000 | 10000 | 16000 | 17000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3058 | 3061 | 3073 | 3073 | 3073 | 3075
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 12 | 0 | 0 | 2
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 346 | 348 | 348 | 348 | 348
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1143372 | 1143528 | 1143686 | 1143848 | 1144013 | 1144171 | 1144332 | 1144487 | 1144646 | 1144820 | 1144997 | 1145158 | 1145317 | 1145473 | 1145627 | 1145783 | 1145946 | 1146105 | 1146263 | 1146424 | 1146583 | 1146744 | 1146893 | 1147046 | 1147201 | 1147384 | 1147520 | 1147707 | 1147879 | 1148042 | 1148202
|  |  |  | 156 | 158 | 162 | 165 | 158 | 161 | 155 | 159 | 174 | 177 | 161 | 159 | 156 | 154 | 156 | 163 | 159 | 158 | 161 | 159 | 161 | 149 | 153 | 155 | 183 | 136 | 187 | 172 | 163 | 160
14 | E5T09D034327 | Hotel Gym S (Kwh) | 333443 | 333482 | 333522 | 333561 | 333601 | 333642 | 333683 | 333723 | 333763 | 333803 | 333844 | 333884 | 333924 | 333963 | 334004 | 334043 | 334083 | 334121 | 334160 | 334201 | 334241 | 334281 | 334321 | 334362 | 334404 | 334446 | 334487 | 334529 | 334570 | 334610 | 334651
|  |  |  | 39 | 40 | 39 | 40 | 41 | 41 | 40 | 40 | 40 | 41 | 40 | 40 | 39 | 41 | 39 | 40 | 38 | 39 | 41 | 40 | 40 | 40 | 41 | 42 | 42 | 41 | 42 | 41 | 40 | 41
| Total Daily Consumption (kw) |  |  | 40595 | 41398 | 38801 | 35605 | 38799 | 40802 | 43195 | 42199 | 43614 | 41018 | 41801 | 42399 | 43595 | 43595 | 43995 | 41603 | 41597 | 38197 | 39602 | 42199 | 42401 | 41789 | 40794 | 41597 | 41825 | 42180 | 40643 | 42013 | 41803 | 40603
| Total Monthly Consumption (kw) |  |  | 1: 1240257
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) SEPTEMBER 2021
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 260058.7 | 260493.3 | 260985.5 | 261337.6 | 261507.5 | 261599.5 | 261738.2 | 261836 | 261977.3 | 262119.2 | 262231.2 | 262379.6 | 262515.5 | 262607 | 262731.6 | 262845.4 | 262993.3 | 263084.2 | 263233.8 | 263373.9 | 263482.8 | 263642.1 | 263795.1 | 263957.7 | 264110.5 | 264238.8 | 264396.1 | 264532.5 | 264712.9 | 264873.6 | 265035.5
|  |  |  | 434.6 | 492.2 | 352.1 | 169.9 | 92 | 138.7 | 97.8 | 141.3 | 141.9 | 112 | 148.4 | 135.9 | 91.5 | 124.6 | 113.8 | 147.9 | 90.9 | 149.6 | 140.1 | 108.9 | 159.3 | 153 | 162.6 | 152.8 | 128.3 | 157.3 | 136.4 | 180.4 | 160.7 | 161.9
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 298427.9 | 298540.2 | 298693.9 | 298778 | 299171.4 | 299529.1 | 299865.1 | 300238.3 | 300505.9 | 301148.8 | 301426.6 | 301823.8 | 302306.5 | 302650.1 | 303106.2 | 303618.8 | 304048.6 | 304406.6 | 304767.7 | 305109.9 | 305512.2 | 305906.7 | 306306.6 | 306733.4 | 307004.6 | 307393.3 | 307796.5 | 308062.8 | 308460.9 | 308842.5 | 309183.9
|  |  |  | 112.3 | 153.7 | 84.1 | 393.4 | 357.7 | 336 | 373.2 | 267.6 | 642.9 | 277.8 | 397.2 | 482.7 | 343.6 | 456.1 | 512.6 | 429.8 | 358 | 361.1 | 342.2 | 402.3 | 394.5 | 399.9 | 426.8 | 271.2 | 388.7 | 403.2 | 266.3 | 398.1 | 381.6 | 341.4
4 | 2045000686(Sub Meter) | Irrigation water Tank | 90366 | 90369 | 90371 | 90371 | 90373 | 90373 | 90373 | 90373 | 90373 | 90373 | 90373 | 90374 | 90374 | 90374 | 90374 | 90374 | 90375 | 90375 | 90375 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377 | 90377
|  |  |  | 3 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 68864837 | Hotel & Arjaan Spa | 220.274 | 220.474 | 220.935 | 221.28 | 221.917 | 222.475 | 223.035 | 223.6 | 224.599 | 225.14 | 226.303 | 226.9793 | 227.673 | 229.086 | 229.715 | 230.128 | 230.728 | 231.498 | 232.175 | 233.188 | 233.782 | 234.46 | 236.736 | 237.896 | 238.68 | 239.491 | 240.909 | 241.388 | 242.399 | 244.157 | 245.123
|  |  |  | 0.2 | 0.461 | 0.345 | 0.637 | 0.558 | 0.56 | 0.565 | 0.999 | 0.541 | 1.163 | 0.6763 | 0.6937 | 1.413 | 0.629 | 0.413 | 0.6 | 0.77 | 0.677 | 1.013 | 0.594 | 0.678 | 2.276 | 1.16 | 0.784 | 0.811 | 1.418 | 0.479 | 1.011 | 1.758 | 0.966
6 | 65296485 | Hotel & Arjaan Gym | 290.422 | 291.772 | 292.944 | 293.777 | 294.313 | 296.551 | 297.435 | 297.8 | 300.007 | 301.237 | 308.153 | 309.239 | 310.937 | 312.22 | 312.967 | 314.625 | 315.495 | 316.293 | 317.035 | 318.007 | 319.422 | 320.002 | 320.87 | 321.67 | 323.08 | 324.357 | 325.44 | 327.931 | 328.653 | 329.365 | 330.677
|  |  |  | 1.35 | 1.172 | 0.833 | 0.536 | 2.238 | 0.884 | 0.365 | 2.207 | 1.23 | 6.916 | 1.086 | 1.698 | 1.283 | 0.747 | 1.658 | 0.87 | 0.798 | 0.742 | 0.972 | 1.415 | 0.58 | 0.868 | 0.8 | 1.41 | 1.277 | 1.083 | 2.491 | 0.722 | 0.712 | 1.312
| Total Daily Consumption (m3) |  |  | 488.035 | 563.898 | 391.123 | 349.003 | 255.761 | 291.344 | 266.67 | 264.926 | 432.976 | 245.089 | 329.3523 | 355.5067 | 248.816 | 331.221 | 346.541 | 343.23 | 253.568 | 313.514 | 296.975 | 291.944 | 338.083 | 336.099 | 356.62 | 277.034 | 305.303 | 341.241 | 259.205 | 361.278 | 334.89 | 317.808
| Total Monthly Consumption (m3) |  |  | 1: 9887.054
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on M10: Saturday
Note on AA10: BMS Operator Park Rotana: FRIDAY
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) SEPTEMBER 2021
LAST MONTH'S FINAL READING | 45452.94
1 |  | 1515.098
2 |  | 1515.098
3 |  | 1515.098
4 |  | 1515.098
5 |  | 1515.098
6 |  | 1515.098
7 |  | 1515.098
8 |  | 1515.098
9 |  | 1515.098
10 |  | 1515.098
11 |  | 1515.098
12 |  | 1515.098
13 |  | 1515.098
14 |  | 1515.098
15 |  | 1515.098
16 |  | 1515.098
17 |  | 1515.098
18 |  | 1515.098
19 |  | 1515.098
20 |  | 1515.098
21 |  | 1515.098
22 |  | 1515.098
23 |  | 1515.098
24 |  | 1515.098
25 |  | 1515.098
26 |  | 1515.098
27 |  | 1515.098
28 |  | 1515.098
29 |  | 1515.098
30 |  | 1515.098
31
TOTAL Consumption |  | 45452.94

## Occupied & No. of Guest
Occupied Room & Number of Guest September 2021
Date | Occupied | # Guest
2021-09-01 | 336 | 448
2021-09-02 | 271 | 382
2021-09-03 | 211 | 314
2021-09-04 | 208 | 301
2021-09-05 | 201 | 282
2021-09-06 | 197 | 282
2021-09-07 | 195 | 269
2021-09-08 | 192 | 258
2021-09-09 | 166 | 227
2021-09-10 | 170 | 233
2021-09-11 | 163 | 226
2021-09-12 | 175 | 234
2021-09-13 | 165 | 215
2021-09-14 | 184 | 242
2021-09-15 | 208 | 271
2021-09-16 | 163 | 218
2021-09-17 | 157 | 186
2021-09-18 | 181 | 223
2021-09-19 | 219 | 266
2021-09-20 | 224 | 273
2021-09-21 | 231 | 277
2021-09-22 | 233 | 287
2021-09-23 | 197 | 251
2021-09-24 | 196 | 246
2021-09-25 | 258 | 326
2021-09-26 | 277 | 349
2021-09-27 | 339 | 418
2021-09-28 | 326 | 403
2021-09-29 | 298 | 371
2021-09-30 | 271 | 342
TOTAL MTD | 6612 | 8620