## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 3 | 2020 | 29938 | 0.2 | 2100.0668 | 1.45 | 338.124 | 7.84 | 371 | 459
Park Rotana and Park Arjaan Abu Dhabi | 2 | 3 | 2020 | 30335 | 0.2 | 2100.0668 | 1.45 | 349.912 | 7.84 | 361 | 427
Park Rotana and Park Arjaan Abu Dhabi | 3 | 3 | 2020 | 29920 | 0.2 | 2100.0668 | 1.45 | 352.067 | 7.84 | 396 | 492
Park Rotana and Park Arjaan Abu Dhabi | 4 | 3 | 2020 | 29104 | 0.2 | 2100.0668 | 1.45 | 268.783 | 7.84 | 342 | 386
Park Rotana and Park Arjaan Abu Dhabi | 5 | 3 | 2020 | 29159 | 0.2 | 2100.0668 | 1.45 | 401.57 | 7.84 | 309 | 374
Park Rotana and Park Arjaan Abu Dhabi | 6 | 3 | 2020 | 29504 | 0.2 | 2100.0668 | 1.45 | 225.881 | 7.84 | 286 | 339
Park Rotana and Park Arjaan Abu Dhabi | 7 | 3 | 2020 | 30924 | 0.2 | 2100.0668 | 1.45 | 339.124 | 7.84 | 312 | 374
Park Rotana and Park Arjaan Abu Dhabi | 8 | 3 | 2020 | 28915 | 0.2 | 2100.0668 | 1.45 | 299.961 | 7.84 | 323 | 369
Park Rotana and Park Arjaan Abu Dhabi | 9 | 3 | 2020 | 28911 | 0.2 | 2100.0668 | 1.45 | 371.956 | 7.84 | 344 | 398
Park Rotana and Park Arjaan Abu Dhabi | 10 | 3 | 2020 | 28919 | 0.2 | 2100.0668 | 1.45 | 286.622 | 7.84 | 331 | 381
Park Rotana and Park Arjaan Abu Dhabi | 11 | 3 | 2020 | 25914 | 0.2 | 2100.0668 | 1.45 | 278.391 | 7.84 | 349 | 408
Park Rotana and Park Arjaan Abu Dhabi | 12 | 3 | 2020 | 29321 | 0.2 | 2100.0668 | 1.45 | 367.256 | 7.84 | 285 | 325
Park Rotana and Park Arjaan Abu Dhabi | 13 | 3 | 2020 | 27532 | 0.2 | 2100.0668 | 1.45 | 214.861 | 7.84 | 324 | 391
Park Rotana and Park Arjaan Abu Dhabi | 14 | 3 | 2020 | 28542 | 0.2 | 2100.0668 | 1.45 | 377.311 | 7.84 | 290 | 322
Park Rotana and Park Arjaan Abu Dhabi | 15 | 3 | 2020 | 26512 | 0.2 | 2100.0668 | 1.45 | 252.706 | 7.84 | 309 | 348
Park Rotana and Park Arjaan Abu Dhabi | 16 | 3 | 2020 | 27925 | 0.2 | 2100.0668 | 1.45 | 418.317 | 7.84 | 293 | 330
Park Rotana and Park Arjaan Abu Dhabi | 17 | 3 | 2020 | 28321 | 0.2 | 2100.0668 | 1.45 | 220.321 | 7.84 | 277 | 314
Park Rotana and Park Arjaan Abu Dhabi | 18 | 3 | 2020 | 26509 | 0.2 | 2100.0668 | 1.45 | 358.824 | 7.84 | 292 | 330
Park Rotana and Park Arjaan Abu Dhabi | 19 | 3 | 2020 | 26490 | 0.2 | 2100.0668 | 1.45 | 328.63 | 7.84 | 274 | 311
Park Rotana and Park Arjaan Abu Dhabi | 20 | 3 | 2020 | 26088 | 0.2 | 2100.0668 | 1.45 | 229.082 | 7.84 | 273 | 307
Park Rotana and Park Arjaan Abu Dhabi | 21 | 3 | 2020 | 26499 | 0.2 | 2100.0668 | 1.45 | 209.353 | 7.84 | 263 | 295
Park Rotana and Park Arjaan Abu Dhabi | 22 | 3 | 2020 | 26489 | 0.2 | 2100.0668 | 1.45 | 205.636 | 7.84 | 244 | 276
Park Rotana and Park Arjaan Abu Dhabi | 23 | 3 | 2020 | 24880 | 0.2 | 2100.0668 | 1.45 | 287.506 | 7.84 | 252 | 286
Park Rotana and Park Arjaan Abu Dhabi | 24 | 3 | 2020 | 23468 | 0.2 | 2100.0668 | 1.45 | 203.949 | 7.84 | 236 | 266
Park Rotana and Park Arjaan Abu Dhabi | 25 | 3 | 2020 | 24495 | 0.2 | 2100.0668 | 1.45 | 227.689 | 7.84 | 245 | 279
Park Rotana and Park Arjaan Abu Dhabi | 26 | 3 | 2020 | 24269 | 0.2 | 2100.0668 | 1.45 | 306.741 | 7.84 | 234 | 266
Park Rotana and Park Arjaan Abu Dhabi | 27 | 3 | 2020 | 22866 | 0.2 | 2100.0668 | 1.45 | 124.666 | 7.84 | 232 | 261
Park Rotana and Park Arjaan Abu Dhabi | 28 | 3 | 2020 | 23264 | 0.2 | 2100.0668 | 1.45 | 364.251 | 7.84 | 232 | 261
Park Rotana and Park Arjaan Abu Dhabi | 29 | 3 | 2020 | 23672 | 0.2 | 2100.0668 | 1.45 | 166.18 | 7.84 | 234 | 263
Park Rotana and Park Arjaan Abu Dhabi | 30 | 3 | 2020 | 24480 | 0.2 | 2100.0668 | 1.45 | 350.766 | 7.84 | 234 | 262
Park Rotana and Park Arjaan Abu Dhabi | 31 | 3 | 2020 | 24289 | 0.2 | 2100.0668 | 1.45 | 211.583 | 7.84 | 226 | 254

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MARCH 2020
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 70589 | 70611 | 70633 | 70655 | 70677 | 70699 | 70721 | 70744 | 70765 | 70786 | 70807 | 70827 | 70848 | 70868 | 70889 | 70908 | 70928 | 70948 | 70966 | 70984 | 71002 | 71020 | 71038 | 71056 | 71073 | 71091 | 71108 | 71124 | 71140 | 71156 | 71172 | 71189
|  |  |  | 22000 | 22000 | 22000 | 22000 | 22000 | 22000 | 23000 | 21000 | 21000 | 21000 | 20000 | 21000 | 20000 | 21000 | 19000 | 20000 | 20000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 17000 | 18000 | 17000 | 16000 | 16000 | 16000 | 16000 | 17000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 85885 | 85888 | 85891 | 85894 | 85910 | 85926 | 85943 | 85961 | 85979 | 85994 | 86009 | 86023 | 86037 | 86051 | 86066 | 86081 | 86096 | 86105 | 86106 | 86106 | 86106 | 86107 | 86107 | 86107 | 86108 | 86112 | 86116 | 86120 | 86123 | 86126 | 86130 | 86133
|  |  |  | 3000 | 3000 | 3000 | 16000 | 16000 | 17000 | 18000 | 18000 | 15000 | 15000 | 14000 | 14000 | 14000 | 15000 | 15000 | 15000 | 9000 | 1000 | 0 | 0 | 1000 | 0 | 0 | 1000 | 4000 | 4000 | 4000 | 3000 | 3000 | 4000 | 3000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 70712 | 70728 | 70745 | 70761 | 70762 | 70763 | 70764 | 70765 | 70766 | 70770 | 70774 | 70774 | 70780 | 70784 | 70787 | 70790 | 70794 | 70805 | 70825 | 70846 | 70866 | 70886 | 70907 | 70924 | 70939 | 70951 | 70965 | 70978 | 70993 | 71009 | 71026 | 71041
|  |  |  | 16000 | 17000 | 16000 | 1000 | 1000 | 1000 | 1000 | 1000 | 4000 | 4000 | 0 | 6000 | 4000 | 3000 | 3000 | 4000 | 11000 | 20000 | 21000 | 20000 | 20000 | 21000 | 17000 | 15000 | 12000 | 14000 | 13000 | 15000 | 16000 | 17000 | 15000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2941 | 2944 | 2944 | 2944 | 2944 | 2944 | 2946 | 2946 | 2946 | 2946 | 2946 | 2946
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 295 | 295 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 296 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 299 | 299 | 299 | 299 | 299 | 299
|  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1073351 | 1073646 | 1073933 | 1074208 | 1074468 | 1074780 | 1075040 | 1075314 | 1075580 | 1075843 | 1076113 | 1076379 | 1076651 | 1076931 | 1077217 | 1077478 | 1077754 | 1078028 | 1078102 | 1078148 | 1078192 | 1078236 | 1078280 | 1078325 | 1078357 | 1078416 | 1078446 | 1078477 | 1078508 | 1078546 | 1078591 | 1078639
|  |  |  | 295 | 287 | 275 | 260 | 312 | 260 | 274 | 266 | 263 | 270 | 266 | 272 | 280 | 286 | 261 | 276 | 274 | 74 | 46 | 44 | 44 | 44 | 45 | 32 | 59 | 30 | 31 | 31 | 38 | 45 | 48
14 | E5T09D034327 | Hotel Gym S (Kwh) | 312497 | 312540 | 312587 | 312632 | 312676 | 312723 | 312767 | 312817 | 312866 | 312914 | 312963 | 313011 | 313060 | 313112 | 313168 | 313219 | 313268 | 313314 | 313349 | 313393 | 313437 | 313489 | 313534 | 313569 | 313605 | 313641 | 313676 | 313711 | 313744 | 313778 | 313813 | 313854
|  |  |  | 43 | 47 | 45 | 44 | 47 | 44 | 50 | 49 | 48 | 49 | 48 | 49 | 52 | 56 | 51 | 49 | 46 | 35 | 44 | 44 | 52 | 45 | 35 | 36 | 36 | 35 | 35 | 33 | 34 | 35 | 41
| Total Daily Consumption (kw) |  |  | 29938 | 30335 | 29920 | 29104 | 29159 | 29504 | 30924 | 28915 | 28911 | 28919 | 25914 | 29321 | 27532 | 28542 | 26512 | 27925 | 28321 | 26509 | 26490 | 26088 | 26499 | 26489 | 24880 | 23468 | 24495 | 24269 | 22866 | 23264 | 23672 | 24480 | 24289
| Total Monthly Consumption (kw) |  |  | 1: 837454
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MARCH 2020
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 140192.7 | 140404.2 | 140578.1 | 140810 | 141004.4 | 141236.3 | 141419.6 | 141588.2 | 141818.3 | 142006.3 | 142212.6 | 142422.5 | 142596.8 | 142764.8 | 142935.5 | 143104.9 | 143303.8 | 143455.9 | 143610.4 | 143762.4 | 143923.6 | 144077.8 | 144233 | 144381.2 | 144511.3 | 144629.1 | 144780.2 | 144866.7 | 145026.5 | 145120.8 | 145277.3 | 145422.9
|  |  |  | 211.5 | 173.9 | 231.9 | 194.4 | 231.9 | 183.3 | 168.6 | 230.1 | 188 | 206.3 | 209.9 | 174.3 | 168 | 170.7 | 169.4 | 198.9 | 152.1 | 154.5 | 152 | 161.2 | 154.2 | 155.2 | 148.2 | 130.1 | 117.8 | 151.1 | 86.5 | 159.8 | 94.3 | 156.5 | 145.6
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 165065.3 | 165278.7 | 165535.8 | 165714.5 | 165841.4 | 166070.6 | 166159.5 | 166394.3 | 166522.3 | 166799.9 | 166908 | 167031.7 | 167299 | 167398.3 | 167678.8 | 167819.7 | 168118.1 | 168237.4 | 168515.5 | 168773.6 | 168922.9 | 169033.1 | 169142.6 | 169340.3 | 169463.6 | 169682.2 | 169829 | 169913.4 | 170189.4 | 170324.8 | 170592.2 | 170700.4
|  |  |  | 213.4 | 257.1 | 178.7 | 126.9 | 229.2 | 88.9 | 234.8 | 128 | 277.6 | 108.1 | 123.7 | 267.3 | 99.3 | 280.5 | 140.9 | 298.4 | 119.3 | 278.1 | 258.1 | 149.3 | 110.2 | 109.5 | 197.7 | 123.3 | 218.6 | 146.8 | 84.4 | 276 | 135.4 | 267.4 | 108.2
4 | 2045000686(Sub Meter) | Irrigation water Tank | 43714 | 43771 | 43896 | 43978 | 44010 | 44153 | 44154 | 44289 | 44310 | 44436 | 44500 | 44524 | 44680 | 44681 | 44855 | 44890 | 45074 | 45082 | 45254 | 45386 | 45386 | 45394 | 45394 | 45505 | 45544 | 45569 | 45767 | 45767 | 45945 | 45969 | 46133 | 46169
|  |  |  | 57 | 125 | 82 | 32 | 143 | 1 | 135 | 21 | 126 | 64 | 24 | 156 | 1 | 174 | 35 | 184 | 8 | 172 | 132 | 0 | 8 | 0 | 111 | 39 | 25 | 198 | 0 | 178 | 24 | 164 | 36
5 | 68864837 | Hotel & Arjaan Spa | 4465.872 | 4467.562 | 4469.266 | 4470.712 | 4472.813 | 4473.926 | 4475.365 | 4476.797 | 4478.366 | 4479.46 | 4480.173 | 4481.394 | 4482.464 | 4483.277 | 4484.527 | 4485.713 | 4486.526 | 4487.413 | 4488.507 | 4488.668 | 4488.676 | 4488.676 | 4488.676 | 4488.676 | 4488.691 | 4488.721 | 4488.747 | 4488.747 | 4488.747 | 4488.747 | 4488.751 | 4488.755
|  |  |  | 1.69 | 1.704 | 1.446 | 2.101 | 1.113 | 1.439 | 1.432 | 1.569 | 1.094 | 0.713 | 1.221 | 1.07 | 0.813 | 1.25 | 1.186 | 0.813 | 0.887 | 1.094 | 0.161 | 0.008 | 0 | 0 | 0 | 0.015 | 0.03 | 0.026 | 0 | 0 | 0 | 0.004 | 0.004
6 | 65296485 | Hotel & Arjaan Gym | 7707.835 | 7711.089 | 7713.452 | 7714.858 | 7715.635 | 7716.702 | 7717.389 | 7720.071 | 7721.313 | 7722.555 | 7724.719 | 7725.524 | 7726.925 | 7727.838 | 7728.674 | 7731.639 | 7733.163 | 7743.212 | 7743.897 | 7744.821 | 7745.51 | 7747.473 | 7748.634 | 7749.025 | 7749.824 | 7750.063 | 7750.518 | 7750.704 | 7750.855 | 7751.005 | 7751.137 | 7752.226
|  |  |  | 3.254 | 2.363 | 1.406 | 0.777 | 1.067 | 0.687 | 2.682 | 1.242 | 1.242 | 2.164 | 0.805 | 1.401 | 0.913 | 0.836 | 2.965 | 1.524 | 10.049 | 0.685 | 0.924 | 0.689 | 1.963 | 1.161 | 0.391 | 0.799 | 0.239 | 0.455 | 0.186 | 0.151 | 0.15 | 0.132 | 1.089
| Total Daily Consumption (m3) |  |  | 338.124 | 349.912 | 352.067 | 268.783 | 401.57 | 225.881 | 339.124 | 299.961 | 371.956 | 286.622 | 278.391 | 367.256 | 214.861 | 377.311 | 252.706 | 418.317 | 220.321 | 358.824 | 328.63 | 229.082 | 209.353 | 205.636 | 287.506 | 203.949 | 227.689 | 306.741 | 124.666 | 364.251 | 166.18 | 350.766 | 211.583
| Total Monthly Consumption (m3) |  |  | 1: 8938.019
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MARCH 2020
LAST MONTH'S FINAL READING | 65102.07
1 |  | 2100.0668
2 |  | 2100.0668
3 |  | 2100.0668
4 |  | 2100.0668
5 |  | 2100.0668
6 |  | 2100.0668
7 |  | 2100.0668
8 |  | 2100.0668
9 |  | 2100.0668
10 |  | 2100.0668
11 |  | 2100.0668
12 |  | 2100.0668
13 |  | 2100.0668
14 |  | 2100.0668
15 |  | 2100.0668
16 |  | 2100.0668
17 |  | 2100.0668
18 |  | 2100.0668
19 |  | 2100.0668
20 |  | 2100.0668
21 |  | 2100.0668
22 |  | 2100.0668
23 |  | 2100.0668
24 |  | 2100.0668
25 |  | 2100.0668
26 |  | 2100.0668
27 |  | 2100.0668
28 |  | 2100.0668
29 |  | 2100.0668
30 |  | 2100.0668
31 |  | 2100.0668
TOTAL Consumption |  | 65102.07

## Occupied & No. of Guest
Occupied Room & Number of Guest March 2020
Date | Occupied | # Guest
2020-03-01 | 371 | 459
2020-03-02 | 361 | 427
2020-03-03 | 396 | 492
2020-03-04 | 342 | 386
2020-03-05 | 309 | 374
2020-03-06 | 286 | 339
2020-03-07 | 312 | 374
2020-03-08 | 323 | 369
2020-03-09 | 344 | 398
2020-03-10 | 331 | 381
2020-03-11 | 349 | 408
2020-03-12 | 285 | 325
2020-03-13 | 324 | 391
2020-03-14 | 290 | 322
2020-03-15 | 309 | 348
2020-03-16 | 293 | 330
2020-03-17 | 277 | 314
2020-03-18 | 292 | 330
2020-03-19 | 274 | 311
2020-03-20 | 273 | 307
2020-03-21 | 263 | 295
2020-03-22 | 244 | 276
2020-03-23 | 252 | 286
2020-03-24 | 236 | 266
2020-03-25 | 245 | 279
2020-03-26 | 234 | 266
2020-03-27 | 232 | 261
2020-03-28 | 232 | 261
2020-03-29 | 234 | 263
2020-03-30 | 234 | 262
2020-03-31 | 226 | 254
TOTAL MTD | 8973 | 10354