## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 4 | 2020 | 24668 | 0.2 | 1454.6473 | 1.14 | 267.549 | 7.84 | 223 | 251
Park Rotana and Park Arjaan Abu Dhabi | 2 | 4 | 2020 | 25873 | 0.2 | 1454.6473 | 1.14 | 319.894 | 7.84 | 221 | 266
Park Rotana and Park Arjaan Abu Dhabi | 3 | 4 | 2020 | 25874 | 0.2 | 1454.6473 | 1.14 | 140.39 | 7.84 | 226 | 312
Park Rotana and Park Arjaan Abu Dhabi | 4 | 4 | 2020 | 25480 | 0.2 | 1454.6473 | 1.14 | 354.818 | 7.84 | 221 | 327
Park Rotana and Park Arjaan Abu Dhabi | 5 | 4 | 2020 | 24878 | 0.2 | 1454.6473 | 1.14 | 252.006 | 7.84 | 224 | 364
Park Rotana and Park Arjaan Abu Dhabi | 6 | 4 | 2020 | 25083 | 0.2 | 1454.6473 | 1.14 | 271.368 | 7.84 | 227 | 417
Park Rotana and Park Arjaan Abu Dhabi | 7 | 4 | 2020 | 24080 | 0.2 | 1454.6473 | 1.14 | 252.761 | 7.84 | 228 | 453
Park Rotana and Park Arjaan Abu Dhabi | 8 | 4 | 2020 | 25079 | 0.2 | 1454.6473 | 1.14 | 366.443 | 7.84 | 210 | 442
Park Rotana and Park Arjaan Abu Dhabi | 9 | 4 | 2020 | 24880 | 0.2 | 1454.6473 | 1.14 | 409.53 | 7.84 | 220 | 452
Park Rotana and Park Arjaan Abu Dhabi | 10 | 4 | 2020 | 25881 | 0.2 | 1454.6473 | 1.14 | 186.617 | 7.84 | 222 | 453
Park Rotana and Park Arjaan Abu Dhabi | 11 | 4 | 2020 | 24485 | 0.2 | 1454.6473 | 1.14 | 355.305 | 7.84 | 216 | 449
Park Rotana and Park Arjaan Abu Dhabi | 12 | 4 | 2020 | 23890 | 0.2 | 1454.6473 | 1.14 | 277.259 | 7.84 | 222 | 466
Park Rotana and Park Arjaan Abu Dhabi | 13 | 4 | 2020 | 24086 | 0.2 | 1454.6473 | 1.14 | 340.513 | 7.84 | 230 | 491
Park Rotana and Park Arjaan Abu Dhabi | 14 | 4 | 2020 | 26326 | 0.2 | 1454.6473 | 1.14 | 339.15 | 7.84 | 229 | 493
Park Rotana and Park Arjaan Abu Dhabi | 15 | 4 | 2020 | 24884 | 0.2 | 1454.6473 | 1.14 | 297.201 | 7.84 | 227 | 477
Park Rotana and Park Arjaan Abu Dhabi | 16 | 4 | 2020 | 25286 | 0.2 | 1454.6473 | 1.14 | 198.467 | 7.84 | 224 | 469
Park Rotana and Park Arjaan Abu Dhabi | 17 | 4 | 2020 | 24483 | 0.2 | 1454.6473 | 1.14 | 262.575 | 7.84 | 233 | 503
Park Rotana and Park Arjaan Abu Dhabi | 18 | 4 | 2020 | 24483 | 0.2 | 1454.6473 | 1.14 | 339.471 | 7.84 | 222 | 472
Park Rotana and Park Arjaan Abu Dhabi | 19 | 4 | 2020 | 26282 | 0.2 | 1454.6473 | 1.14 | 364.368 | 7.84 | 214 | 465
Park Rotana and Park Arjaan Abu Dhabi | 20 | 4 | 2020 | 25482 | 0.2 | 1454.6473 | 1.14 | 372.709 | 7.84 | 208 | 452
Park Rotana and Park Arjaan Abu Dhabi | 21 | 4 | 2020 | 26683 | 0.2 | 1454.6473 | 1.14 | 302.41 | 7.84 | 212 | 461
Park Rotana and Park Arjaan Abu Dhabi | 22 | 4 | 2020 | 26680 | 0.2 | 1454.6473 | 1.14 | 377.386 | 7.84 | 210 | 471
Park Rotana and Park Arjaan Abu Dhabi | 23 | 4 | 2020 | 26690 | 0.2 | 1454.6473 | 1.14 | 352.261 | 7.84 | 201 | 461
Park Rotana and Park Arjaan Abu Dhabi | 24 | 4 | 2020 | 25094 | 0.2 | 1454.6473 | 1.14 | 199.501 | 7.84 | 199 | 465
Park Rotana and Park Arjaan Abu Dhabi | 25 | 4 | 2020 | 28281 | 0.2 | 1454.6473 | 1.14 | 323.646 | 7.84 | 202 | 483
Park Rotana and Park Arjaan Abu Dhabi | 26 | 4 | 2020 | 28282 | 0.2 | 1454.6473 | 1.14 | 350.568 | 7.84 | 198 | 482
Park Rotana and Park Arjaan Abu Dhabi | 27 | 4 | 2020 | 28493 | 0.2 | 1454.6473 | 1.14 | 281.982 | 7.84 | 200 | 486
Park Rotana and Park Arjaan Abu Dhabi | 28 | 4 | 2020 | 30098 | 0.2 | 1454.6473 | 1.14 | 339.613 | 7.84 | 203 | 493
Park Rotana and Park Arjaan Abu Dhabi | 29 | 4 | 2020 | 29506 | 0.2 | 1454.6473 | 1.14 | 374.542 | 7.84 | 200 | 489
Park Rotana and Park Arjaan Abu Dhabi | 30 | 4 | 2020 | 29895 | 0.2 | 1454.6473 | 1.14 | 357.271 | 7.84 | 198 | 488
Park Rotana and Park Arjaan Abu Dhabi | 31 | 4 | 2020 | 0 | 0.2 | 0 | 1.14 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION APRIL 2020
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 71189 | 71206 | 71223 | 71240 | 71257 | 71273 | 71290 | 71306 | 71323 | 71339 | 71356 | 71372 | 71387 | 71403 | 71420 | 71436 | 71452 | 71468 | 71484 | 71501 | 71518 | 71535 | 71552 | 71569 | 71584 | 71601 | 71618 | 71634 | 71652 | 71669 | 71686
|  |  |  | 17000 | 17000 | 17000 | 17000 | 16000 | 17000 | 16000 | 17000 | 16000 | 17000 | 16000 | 15000 | 16000 | 17000 | 16000 | 16000 | 16000 | 16000 | 17000 | 17000 | 17000 | 17000 | 17000 | 15000 | 17000 | 17000 | 16000 | 18000 | 17000 | 17000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 86133 | 86136 | 86139 | 86143 | 86146 | 86150 | 86152 | 86164 | 86181 | 86199 | 86218 | 86237 | 86256 | 86274 | 86293 | 86310 | 86313 | 86318 | 86321 | 86325 | 86327 | 86329 | 86331 | 86332 | 86336 | 86342 | 86346 | 86350 | 86352 | 86354 | 86362
|  |  |  | 3000 | 3000 | 4000 | 3000 | 4000 | 2000 | 12000 | 17000 | 18000 | 19000 | 19000 | 19000 | 18000 | 19000 | 17000 | 3000 | 5000 | 3000 | 4000 | 2000 | 2000 | 2000 | 1000 | 4000 | 6000 | 4000 | 4000 | 2000 | 2000 | 8000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 71041 | 71057 | 71076 | 71094 | 71112 | 71130 | 71148 | 71156 | 71159 | 71163 | 71166 | 71168 | 71171 | 71173 | 71177 | 71182 | 71202 | 71218 | 71236 | 71255 | 71274 | 71296 | 71318 | 71341 | 71362 | 71384 | 71408 | 71435 | 71463 | 71492 | 71516
|  |  |  | 16000 | 19000 | 18000 | 18000 | 18000 | 18000 | 8000 | 3000 | 4000 | 3000 | 2000 | 3000 | 2000 | 4000 | 5000 | 20000 | 16000 | 18000 | 19000 | 19000 | 22000 | 22000 | 23000 | 21000 | 22000 | 24000 | 27000 | 28000 | 29000 | 24000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 2946 | 2946 | 2950 | 2950 | 2950 | 2950 | 2950 | 2950 | 2950 | 2950 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2951 | 2953 | 2953 | 2953 | 2953 | 2953 | 2953 | 2953
|  |  |  | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 299 | 300 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 302 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 303 | 304 | 304
|  |  |  | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1078639 | 1078670 | 1078701 | 1078740 | 1078784 | 1078827 | 1078874 | 1078917 | 1078960 | 1079004 | 1079047 | 1079093 | 1079139 | 1079185 | 1079271 | 1079317 | 1079363 | 1079409 | 1079455 | 1079501 | 1079547 | 1079593 | 1079639 | 1079693 | 1079751 | 1079796 | 1079842 | 1079899 | 1079958 | 1080024 | 1080078
|  |  |  | 31 | 31 | 39 | 44 | 43 | 47 | 43 | 43 | 44 | 43 | 46 | 46 | 46 | 86 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 54 | 58 | 45 | 46 | 57 | 59 | 66 | 54
14 | E5T09D034327 | Hotel Gym S (Kwh) | 313854 | 313890 | 313926 | 313961 | 313997 | 314032 | 314068 | 314105 | 314141 | 314177 | 314214 | 314253 | 314297 | 314337 | 314377 | 314415 | 314454 | 314491 | 314528 | 314564 | 314600 | 314637 | 314671 | 314707 | 314741 | 314777 | 314813 | 314849 | 314888 | 314927 | 314968
|  |  |  | 36 | 36 | 35 | 36 | 35 | 36 | 37 | 36 | 36 | 37 | 39 | 44 | 40 | 40 | 38 | 39 | 37 | 37 | 36 | 36 | 37 | 34 | 36 | 34 | 36 | 36 | 36 | 39 | 39 | 41
| Total Daily Consumption (kw) |  |  | 24668 | 25873 | 25874 | 25480 | 24878 | 25083 | 24080 | 25079 | 24880 | 25881 | 24485 | 23890 | 24086 | 26326 | 24884 | 25286 | 24483 | 24483 | 26282 | 25482 | 26683 | 26680 | 26690 | 25094 | 28281 | 28282 | 28493 | 30098 | 29506 | 29895
| Total Monthly Consumption (kw) |  |  | 1: 781165
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) APRIL 2020
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 145422.9 | 145514.4 | 145665.6 | 145750.2 | 145894.4 | 146055.9 | 146151.4 | 146301.6 | 146488 | 146722 | 146844.4 | 147006.7 | 147160 | 147301.2 | 147459.6 | 147609.3 | 147758.8 | 147970.5 | 148153.1 | 148335.8 | 148506.6 | 148692.2 | 148863.6 | 149020.1 | 149157.9 | 149320.5 | 149477 | 149636.4 | 149796.4 | 149939 | 150078.9
|  |  |  | 91.5 | 151.2 | 84.6 | 144.2 | 161.5 | 95.5 | 150.2 | 186.4 | 234 | 122.4 | 162.3 | 153.3 | 141.2 | 158.4 | 149.7 | 149.5 | 211.7 | 182.6 | 182.7 | 170.8 | 185.6 | 171.4 | 156.5 | 137.8 | 162.6 | 156.5 | 159.4 | 160 | 142.6 | 139.9
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 170700.4 | 170938.1 | 171153.8 | 171277.7 | 171545.4 | 171733.3 | 171982.2 | 172134.3 | 172383.4 | 172643.3 | 172785.9 | 173071.8 | 173281.1 | 173562.8 | 173853.7 | 174047.6 | 174156.3 | 174267.7 | 174495.3 | 174754.9 | 175041.4 | 175254.8 | 175527.5 | 175807.5 | 175942.1 | 176201.5 | 176506 | 176739.4 | 177047.4 | 177362.6 | 177701.5
|  |  |  | 237.7 | 215.7 | 123.9 | 267.7 | 187.9 | 248.9 | 152.1 | 249.1 | 259.9 | 142.6 | 285.9 | 209.3 | 281.7 | 290.9 | 193.9 | 108.7 | 111.4 | 227.6 | 259.6 | 286.5 | 213.4 | 272.7 | 280 | 134.6 | 259.4 | 304.5 | 233.4 | 308 | 315.2 | 338.9
4 | 2045000686(Sub Meter) | Irrigation water Tank | 46169 | 46322 | 46481 | 46481 | 46681 | 46694 | 46835 | 46880 | 47022 | 47152 | 47152 | 47295 | 47361 | 47521 | 47631 | 47764 | 47764 | 47764 | 47885 | 48029 | 48191 | 48237 | 48422 | 48577 | 48579 | 48677 | 48803 | 48842 | 48933 | 49133 | 49277
|  |  |  | 153 | 159 | 0 | 200 | 13 | 141 | 45 | 142 | 130 | 0 | 143 | 66 | 160 | 110 | 133 | 0 | 0 | 121 | 144 | 162 | 46 | 185 | 155 | 2 | 98 | 126 | 39 | 91 | 200 | 144
5 | 68864837 | Hotel & Arjaan Spa | 4488.755 | 4488.763 | 4488.767 | 4488.761 | 4488.767 | 4488.767 | 4488.767 | 4502.491 | 4506.468 | 4506.472 | 4506.472 | 4506.472 | 4506.472 | 4506.472 | 4506.472 | 4506.807 | 4506.807 | 4506.807 | 4506.807 | 4506.807 | 4506.807 | 4506.807 | 4506.807 | 4506.807 | 4506.936 | 4507.044 | 4507.044 | 4507.044 | 4507.107 | 4507.151 | 4507.188
|  |  |  | 0.008 | 0.004 | -0.006 | 0.006 | 0 | 0 | 13.724 | 3.977 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0.335 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.129 | 0.108 | 0 | 0 | 0.063 | 0.044 | 0.037
6 | 65296485 | Hotel & Arjaan Gym | 7752.226 | 7752.452 | 7752.527 | 7752.568 | 7752.715 | 7752.816 | 7753.229 | 7753.371 | 7753.442 | 7753.513 | 7753.56 | 7753.56 | 7753.634 | 7754.182 | 7754.527 | 7754.588 | 7754.64 | 7755.385 | 7755.386 | 7755.434 | 7755.518 | 7755.598 | 7755.619 | 7755.63 | 7755.732 | 7755.84 | 7756.183 | 7756.185 | 7756.185 | 7756.243 | 7756.272
|  |  |  | 0.226 | 0.075 | 0.041 | 0.147 | 0.101 | 0.413 | 0.142 | 0.071 | 0.071 | 0.047 | 0 | 0.074 | 0.548 | 0.345 | 0.061 | 0.052 | 0.745 | 0.001 | 0.048 | 0.084 | 0.08 | 0.021 | 0.011 | 0.102 | 0.108 | 0.343 | 0.002 | 0 | 0.058 | 0.029
| Total Daily Consumption (m3) |  |  | 267.549 | 319.894 | 140.39 | 354.818 | 252.006 | 271.368 | 252.761 | 366.443 | 409.53 | 186.617 | 355.305 | 277.259 | 340.513 | 339.15 | 297.201 | 198.467 | 262.575 | 339.471 | 364.368 | 372.709 | 302.41 | 377.386 | 352.261 | 199.501 | 323.646 | 350.568 | 281.982 | 339.613 | 374.542 | 357.271
| Total Monthly Consumption (m3) |  |  | 1: 9227.574
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) APRIL 2020
LAST MONTH'S FINAL READING | 43639.42
1 |  | 1454.6473
2 |  | 1454.6473
3 |  | 1454.6473
4 |  | 1454.6473
5 |  | 1454.6473
6 |  | 1454.6473
7 |  | 1454.6473
8 |  | 1454.6473
9 |  | 1454.6473
10 |  | 1454.6473
11 |  | 1454.6473
12 |  | 1454.6473
13 |  | 1454.6473
14 |  | 1454.6473
15 |  | 1454.6473
16 |  | 1454.6473
17 |  | 1454.6473
18 |  | 1454.6473
19 |  | 1454.6473
20 |  | 1454.6473
21 |  | 1454.6473
22 |  | 1454.6473
23 |  | 1454.6473
24 |  | 1454.6473
25 |  | 1454.6473
26 |  | 1454.6473
27 |  | 1454.6473
28 |  | 1454.6473
29 |  | 1454.6473
30 |  | 1454.6473
31
TOTAL Consumption |  | 43639.42

## Occupied & No. of Guest
Occupied Room & Number of Guest April 2020
Date | Occupied | # Guest
2020-04-01 | 223 | 251
2020-04-02 | 221 | 266
2020-04-03 | 226 | 312
2020-04-04 | 221 | 327
2020-04-05 | 224 | 364
2020-04-06 | 227 | 417
2020-04-07 | 228 | 453
2020-04-08 | 210 | 442
2020-04-09 | 220 | 452
2020-04-10 | 222 | 453
2020-04-11 | 216 | 449
2020-04-12 | 222 | 466
2020-04-13 | 230 | 491
2020-04-14 | 229 | 493
2020-04-15 | 227 | 477
2020-04-16 | 224 | 469
2020-04-17 | 233 | 503
2020-04-18 | 222 | 472
2020-04-19 | 214 | 465
2020-04-20 | 208 | 452
2020-04-21 | 212 | 461
2020-04-22 | 210 | 471
2020-04-23 | 201 | 461
2020-04-24 | 199 | 465
2020-04-25 | 202 | 483
2020-04-26 | 198 | 482
2020-04-27 | 200 | 486
2020-04-28 | 203 | 493
2020-04-29 | 200 | 489
2020-04-30 | 198 | 488
TOTAL MTD | 6470 | 13253