## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2025 | 15940 | 0.2 | 34.8381 | 16.85 | 75 | 7.84 | 4003.275 | 0.3449 | 180.999 | 241
Pearl Rotana Capital Centre | 2 | 3 | 2025 | 15086 | 0.2 | 35.8938 | 16.85 | 91 | 7.84 | 4206.965 | 0.3449 | 218.988 | 298
Pearl Rotana Capital Centre | 3 | 3 | 2025 | 15551 | 0.2 | 33.7824 | 16.85 | 92 | 7.84 | 3990.62 | 0.3449 | 235.998 | 327
Pearl Rotana Capital Centre | 4 | 3 | 2025 | 14857 | 0.2 | 33.7824 | 16.85 | 92 | 7.84 | 4412.965 | 0.3449 | 231.9975 | 307
Pearl Rotana Capital Centre | 5 | 3 | 2025 | 14748 | 0.2 | 34.8381 | 16.85 | 96 | 7.84 | 4851.62 | 0.3449 | 254.9925 | 348
Pearl Rotana Capital Centre | 6 | 3 | 2025 | 14965 | 0.2 | 32.7267 | 16.85 | 104 | 7.84 | 5121.93 | 0.3449 | 222.9885 | 312
Pearl Rotana Capital Centre | 7 | 3 | 2025 | 15659 | 0.2 | 38.0052 | 16.85 | 94 | 7.84 | 5909.275 | 0.3449 | 210.987 | 305
Pearl Rotana Capital Centre | 8 | 3 | 2025 | 15509 | 0.2 | 34.8381 | 16.85 | 107 | 7.84 | 5972.275 | 0.3449 | 194.0085 | 281
Pearl Rotana Capital Centre | 9 | 3 | 2025 | 15132 | 0.2 | 38.0052 | 16.85 | 94 | 7.84 | 6048.62 | 0.3449 | 238.014 | 322
Pearl Rotana Capital Centre | 10 | 3 | 2025 | 16091 | 0.2 | 34.8381 | 16.85 | 89 | 7.84 | 6448.275 | 0.3449 | 285.9885 | 410
Pearl Rotana Capital Centre | 11 | 3 | 2025 | 15648 | 0.2 | 34.8381 | 16.85 | 85 | 7.84 | 6099.275 | 0.3449 | 253.9845 | 319
Pearl Rotana Capital Centre | 12 | 3 | 2025 | 15345 | 0.2 | 33.7824 | 16.85 | 93 | 7.84 | 6138.93 | 0.3449 | 276.003 | 347
Pearl Rotana Capital Centre | 13 | 3 | 2025 | 15650 | 0.2 | 33.7824 | 16.85 | 97 | 7.84 | 5861.275 | 0.3449 | 214.011 | 282
Pearl Rotana Capital Centre | 14 | 3 | 2025 | 15406 | 0.2 | 33.7824 | 16.85 | 98 | 7.84 | 5850.275 | 0.3449 | 211.995 | 298
Pearl Rotana Capital Centre | 15 | 3 | 2025 | 15713 | 0.2 | 38.0052 | 16.85 | 97 | 7.84 | 6176.62 | 0.3449 | 231.9975 | 330
Pearl Rotana Capital Centre | 16 | 3 | 2025 | 15334 | 0.2 | 33.7824 | 16.85 | 81 | 7.84 | 5914.275 | 0.3449 | 241.0065 | 336
Pearl Rotana Capital Centre | 17 | 3 | 2025 | 15089 | 0.2 | 36.9495 | 16.85 | 89 | 7.84 | 5819.275 | 0.3449 | 282.996 | 376
Pearl Rotana Capital Centre | 18 | 3 | 2025 | 15862 | 0.2 | 36.9495 | 16.85 | 97 | 7.84 | 6298.275 | 0.3449 | 265.986 | 328
Pearl Rotana Capital Centre | 19 | 3 | 2025 | 14860 | 0.2 | 35.8938 | 16.85 | 91 | 7.84 | 5202.93 | 0.3449 | 294.9975 | 376
Pearl Rotana Capital Centre | 20 | 3 | 2025 | 15656 | 0.2 | 35.8938 | 16.85 | 96 | 7.84 | 6303.275 | 0.3449 | 246.015 | 322
Pearl Rotana Capital Centre | 21 | 3 | 2025 | 15930 | 0.2 | 40.1166 | 16.85 | 96 | 7.84 | 6602.93 | 0.3449 | 210.987 | 280
Pearl Rotana Capital Centre | 22 | 3 | 2025 | 15347 | 0.2 | 35.8938 | 16.85 | 93 | 7.84 | 5890.93 | 0.3449 | 205.002 | 284
Pearl Rotana Capital Centre | 23 | 3 | 2025 | 15213 | 0.2 | 38.0052 | 16.85 | 85 | 7.84 | 5591.93 | 0.3449 | 207.9945 | 267
Pearl Rotana Capital Centre | 24 | 3 | 2025 | 15008 | 0.2 | 40.1166 | 16.85 | 85 | 7.84 | 6175.62 | 0.3449 | 250.0155 | 327
Pearl Rotana Capital Centre | 25 | 3 | 2025 | 15550 | 0.2 | 38.0052 | 16.85 | 89 | 7.84 | 4396.275 | 0.3449 | 242.0145 | 315
Pearl Rotana Capital Centre | 26 | 3 | 2025 | 15704 | 0.2 | 34.8381 | 16.85 | 94 | 7.84 | 4907.62 | 0.3449 | 230.013 | 284
Pearl Rotana Capital Centre | 27 | 3 | 2025 | 15539 | 0.2 | 36.9495 | 16.85 | 102 | 7.84 | 5285.275 | 0.3449 | 207.9945 | 273
Pearl Rotana Capital Centre | 28 | 3 | 2025 | 15751 | 0.2 | 36.9495 | 16.85 | 99 | 7.84 | 6375.275 | 0.3449 | 201.0015 | 281
Pearl Rotana Capital Centre | 29 | 3 | 2025 | 15327 | 0.2 | 39.0609 | 16.85 | 86 | 7.84 | 6313.93 | 0.3449 | 193.0005 | 271
Pearl Rotana Capital Centre | 30 | 3 | 2025 | 15226 | 0.2 | 29.5596 | 16.85 | 78 | 7.84 | 6704.275 | 0.3449 | 215.9955 | 311
Pearl Rotana Capital Centre | 31 | 3 | 2025 | 15331 | 0.2 | 33.7824 | 16.85 | 94 | 7.84 | 6170.93 | 0.3449 | 252 | 382

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2025 | 7954 | 7866 | 120 | 75 | 19 | 15 | 4003.275 | 5425 | 6 | 180.999 | 241
Pearl Rotana Capital Centre | 2 | 3 | 2025 | 7571 | 7387 | 128 | 91 | 17 | 18 | 4206.965 | 5060 | 5 | 218.988 | 298
Pearl Rotana Capital Centre | 3 | 3 | 2025 | 7874 | 7548 | 129 | 92 | 18 | 15 | 3990.62 | 5128 | 7 | 235.998 | 327
Pearl Rotana Capital Centre | 4 | 3 | 2025 | 7689 | 7042 | 126 | 92 | 16 | 17 | 4412.965 | 5266 | 7 | 231.9975 | 307
Pearl Rotana Capital Centre | 5 | 3 | 2025 | 7741 | 6878 | 129 | 96 | 19 | 15 | 4851.62 | 5989 | 10 | 254.9925 | 348
Pearl Rotana Capital Centre | 6 | 3 | 2025 | 7892 | 6941 | 132 | 104 | 16 | 15 | 5121.93 | 6828 | 7 | 222.9885 | 312
Pearl Rotana Capital Centre | 7 | 3 | 2025 | 7785 | 7743 | 131 | 94 | 18 | 17 | 5909.275 | 7331 | 10 | 210.987 | 305
Pearl Rotana Capital Centre | 8 | 3 | 2025 | 7953 | 7424 | 132 | 107 | 19 | 17 | 5972.275 | 7394 | 7 | 194.0085 | 281
Pearl Rotana Capital Centre | 9 | 3 | 2025 | 7789 | 7213 | 130 | 94 | 17 | 18 | 6048.62 | 7186 | 6 | 238.014 | 322
Pearl Rotana Capital Centre | 10 | 3 | 2025 | 8056 | 7915 | 120 | 89 | 18 | 16 | 6448.275 | 7870 | 5 | 285.9885 | 410
Pearl Rotana Capital Centre | 11 | 3 | 2025 | 7813 | 7704 | 131 | 85 | 17 | 17 | 6099.275 | 7521 | 6 | 253.9845 | 319
Pearl Rotana Capital Centre | 12 | 3 | 2025 | 7756 | 7460 | 129 | 93 | 18 | 15 | 6138.93 | 7845 | 5 | 276.003 | 347
Pearl Rotana Capital Centre | 13 | 3 | 2025 | 7626 | 7896 | 128 | 97 | 17 | 14 | 5861.275 | 7283 | 6 | 214.011 | 282
Pearl Rotana Capital Centre | 14 | 3 | 2025 | 7578 | 7713 | 115 | 98 | 19 | 15 | 5850.275 | 7272 | 9 | 211.995 | 298
Pearl Rotana Capital Centre | 15 | 3 | 2025 | 7870 | 7723 | 120 | 97 | 19 | 17 | 6176.62 | 7314 | 6 | 231.9975 | 330
Pearl Rotana Capital Centre | 16 | 3 | 2025 | 7717 | 7494 | 123 | 81 | 17 | 16 | 5914.275 | 7336 | 5 | 241.0065 | 336
Pearl Rotana Capital Centre | 17 | 3 | 2025 | 7439 | 7525 | 125 | 89 | 18 | 19 | 5819.275 | 7241 | 6 | 282.996 | 376
Pearl Rotana Capital Centre | 18 | 3 | 2025 | 7975 | 7757 | 130 | 97 | 17 | 18 | 6298.275 | 7720 | 5 | 265.986 | 328
Pearl Rotana Capital Centre | 19 | 3 | 2025 | 7323 | 7405 | 132 | 91 | 19 | 16 | 5202.93 | 6909 | 5 | 294.9975 | 376
Pearl Rotana Capital Centre | 20 | 3 | 2025 | 7802 | 7726 | 128 | 96 | 17 | 17 | 6303.275 | 7725 | 8 | 246.015 | 322
Pearl Rotana Capital Centre | 21 | 3 | 2025 | 7964 | 7832 | 134 | 96 | 20 | 19 | 6602.93 | 8309 | 7 | 210.987 | 280
Pearl Rotana Capital Centre | 22 | 3 | 2025 | 7592 | 7649 | 106 | 93 | 18 | 16 | 5890.93 | 7597 | 8 | 205.002 | 284
Pearl Rotana Capital Centre | 23 | 3 | 2025 | 7604 | 7484 | 125 | 85 | 18 | 18 | 5591.93 | 7298 | 6 | 207.9945 | 267
Pearl Rotana Capital Centre | 24 | 3 | 2025 | 7778 | 7107 | 123 | 85 | 17 | 22 | 6175.62 | 7313 | 5 | 250.0155 | 327
Pearl Rotana Capital Centre | 25 | 3 | 2025 | 7587 | 7845 | 118 | 89 | 17 | 21 | 4396.275 | 5818 | 5 | 242.0145 | 315
Pearl Rotana Capital Centre | 26 | 3 | 2025 | 7798 | 7789 | 117 | 94 | 18 | 16 | 4907.62 | 6045 | 7 | 230.013 | 284
Pearl Rotana Capital Centre | 27 | 3 | 2025 | 7767 | 7660 | 112 | 102 | 19 | 18 | 5285.275 | 6707 | 7 | 207.9945 | 273
Pearl Rotana Capital Centre | 28 | 3 | 2025 | 7990 | 7645 | 116 | 99 | 19 | 16 | 6375.275 | 7797 | 6 | 201.0015 | 281
Pearl Rotana Capital Centre | 29 | 3 | 2025 | 7735 | 7478 | 114 | 86 | 19 | 19 | 6313.93 | 8020 | 5 | 193.0005 | 271
Pearl Rotana Capital Centre | 30 | 3 | 2025 | 7807 | 7294 | 125 | 78 | 17 | 11 | 6704.275 | 8126 | 5 | 215.9955 | 311
Pearl Rotana Capital Centre | 31 | 3 | 2025 | 7835 | 7369 | 127 | 94 | 17 | 15 | 6170.93 | 7877 | 5 | 252 | 382

## Mar 2025
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - MARCH 2025
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [8 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Bulk Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl. | Blue Sky tower Chilled water |  | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [16 empty] | Meter Reading | Cons. MWH | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2025-03-01 | 21481121 | 7954 | 22173696 | 7866 | 492355 | 120 | 15940 | 3188 | 112092 | 75 | 588 | 41839 | 19 | 25132 | 15 | 34 | 62911 | 33 | 34.8381 | 594.631 | 77885 | 19 | 4003.275 | 1380.7295 | 4413.1961 | 5793.9257 | 1150532 | 5425 | 19.0789 | 57.46% | 241 | 20906 | 5 | 15073921 | 4474 | 894.8 | 6900397 | 2051 | 410.2 | 250866 | 261 | 52.2 | 8824 | 6 | 47.04 | 3322 | 1 | 7.84 | 181 | 1 | 7.84
2025-03-02 | 21488692 | 7571 | 22181083 | 7387 | 492483 | 128 | 15086 | 3017.2 | 112183 | 91 | 713.44 | 41856 | 17 | 25150 | 18 | 35 | 62945 | 34 | 35.8938 | 606.2965 | 77901 | 16 | 4206.965 | 1450.9822 | 4413.1961 | 5864.1784 | 1155592 | 5060 | 17.7953 | 69.52% | 298 | 20909 | 3 | 15078187 | 4266 | 853.2 | 6902332 | 1935 | 387 | 251116 | 250 | 50 | 8829 | 5 | 39.2 | 3323 | 1 | 7.84 | 181 | 0 | 0
2025-03-03 | 21496566 | 7874 | 22188631 | 7548 | 492612 | 129 | 15551 | 3110.2 | 112275 | 92 | 721.28 | 41874 | 18 | 25165 | 15 | 33 | 62977 | 32 | 33.7824 | 582.9655 | 77919 | 18 | 3990.62 | 1376.3648 | 4413.1961 | 5789.561 | 1160720 | 5128 | 18.0344 | 74.92% | 327 | 20913 | 4 | 15083306 | 5119 | 1023.8 | 6904490 | 2158 | 431.6 | 251372 | 256 | 51.2 | 8836 | 7 | 54.88 | 3325 | 2 | 15.68 | 181 | 0 | 0
2025-03-04 | 21504255 | 7689 | 22195673 | 7042 | 492738 | 126 | 14857 | 2971.4 | 112367 | 92 | 721.28 | 41890 | 16 | 25182 | 17 | 33 | 63009 | 32 | 33.7824 | 582.9655 | 77937 | 18 | 4412.965 | 1522.0316 | 4413.1961 | 5935.2278 | 1165986 | 5266 | 18.5198 | 73.65% | 307 | 20916 | 3 | 15088274 | 4968 | 993.6 | 6906609 | 2119 | 423.8 | 251650 | 278 | 55.6 | 8843 | 7 | 54.88 | 3326 | 1 | 7.84 | 182 | 1 | 7.84
2025-03-05 | 21511996 | 7741 | 22202551 | 6878 | 492867 | 129 | 14748 | 2949.6 | 112463 | 96 | 752.64 | 41909 | 19 | 25197 | 15 | 34 | 63042 | 33 | 34.8381 | 594.631 | 77957 | 20 | 4851.62 | 1673.3237 | 4413.1961 | 6086.5199 | 1171975 | 5989 | 21.0624 | 80.95% | 348 | 20920 | 4 | 15093297 | 5023 | 1004.6 | 6908741 | 2132 | 426.4 | 251919 | 269 | 53.8 | 8853 | 10 | 78.4 | 3330 | 4 | 31.36 | 183 | 1 | 7.84
2025-03-06 | 21519888 | 7892 | 22209492 | 6941 | 492999 | 132 | 14965 | 2993 | 112567 | 104 | 815.36 | 41925 | 16 | 25212 | 15 | 31 | 63073 | 31 | 32.7267 | 571.3 | 77979 | 22 | 5121.93 | 1766.5537 | 4413.1961 | 6179.7498 | 1178803 | 6828 | 24.0131 | 70.79% | 312 | 20926 | 6 | 15098474 | 5177 | 1035.4 | 6910920 | 2179 | 435.8 | 252205 | 286 | 57.2 | 8860 | 7 | 54.88 | 3333 | 3 | 23.52 | 184 | 1 | 7.84
2025-03-07 | 21527673 | 7785 | 22217235 | 7743 | 493130 | 131 | 15659 | 3131.8 | 112661 | 94 | 736.96 | 41943 | 18 | 25229 | 17 | 35 | 63109 | 36 | 38.0052 | 629.6275 | 78002 | 23 | 5909.275 | 2038.1089 | 4413.1961 | 6451.3051 | 1186134 | 7331 | 25.7821 | 66.98% | 305 | 20931 | 5 | 15103456 | 4982 | 996.4 | 6913057 | 2137 | 427.4 | 252473 | 268 | 53.6 | 8870 | 10 | 78.4 | 3333 | 0 | 0 | 185 | 1 | 7.84
2025-03-08 | 21535626 | 7953 | 22224659 | 7424 | 493262 | 132 | 15509 | 3101.8 | 112768 | 107 | 838.88 | 41962 | 19 | 25246 | 17 | 36 | 63142 | 33 | 34.8381 | 594.631 | 78028 | 26 | 5972.275 | 2059.8376 | 4413.1961 | 6473.0338 | 1193528 | 7394 | 26.0036 | 61.59% | 281 | 20936 | 5 | 15107699 | 4243 | 848.6 | 6915095 | 2038 | 407.6 | 252773 | 300 | 60 | 8877 | 7 | 54.88 | 3338 | 5 | 39.2 | 186 | 1 | 7.84
2025-03-09 | 21543415 | 7789 | 22231872 | 7213 | 493392 | 130 | 15132 | 3026.4 | 112862 | 94 | 736.96 | 41979 | 17 | 25264 | 18 | 35 | 63178 | 36 | 38.0052 | 629.6275 | 78054 | 26 | 6048.62 | 2086.169 | 4413.1961 | 6499.3652 | 1200714 | 7186 | 25.2721 | 75.56% | 322 | 20940 | 4 | 15112001 | 4302 | 860.4 | 6917110 | 2015 | 403 | 253119 | 346 | 69.2 | 8883 | 6 | 47.04 | 3344 | 6 | 47.04 | 187 | 1 | 7.84
2025-03-10 | 21551471 | 8056 | 22239787 | 7915 | 493512 | 120 | 16091 | 3218.2 | 112951 | 89 | 697.76 | 41997 | 18 | 25280 | 16 | 34 | 63211 | 33 | 34.8381 | 594.631 | 78080 | 26 | 6448.275 | 2224.01 | 4413.1961 | 6637.2062 | 1208584 | 7870 | 27.6776 | 90.79% | 410 | 20945 | 5 | 15117186 | 5185 | 1037 | 6919306 | 2196 | 439.2 | 253533 | 414 | 82.8 | 8888 | 5 | 39.2 | 3344 | 0 | 0 | 188 | 1 | 7.84
2025-03-11 | 21559284 | 7813 | 22247491 | 7704 | 493643 | 131 | 15648 | 3129.6 | 113036 | 85 | 666.4 | 42014 | 17 | 25297 | 17 | 34 | 63244 | 33 | 34.8381 | 594.631 | 78105 | 25 | 6099.275 | 2103.6399 | 4413.1961 | 6516.8361 | 1216105 | 7521 | 26.4503 | 80.63% | 319 | 20950 | 5 | 15122306 | 5120 | 1024 | 6921470 | 2164 | 432.8 | 253828 | 295 | 59 | 8894 | 6 | 47.04 | 3346 | 2 | 15.68 | 189 | 1 | 7.84
2025-03-12 | 21567040 | 7756 | 22254951 | 7460 | 493772 | 129 | 15345 | 3069 | 113129 | 93 | 729.12 | 42032 | 18 | 25312 | 15 | 33 | 63276 | 32 | 33.7824 | 582.9655 | 78132 | 27 | 6138.93 | 2117.317 | 4413.1961 | 6530.5131 | 1223950 | 7845 | 27.5897 | 87.62% | 347 | 20956 | 6 | 15127484 | 5178 | 1035.6 | 6923627 | 2157 | 431.4 | 254157 | 329 | 65.8 | 8899 | 5 | 39.2 | 3347 | 1 | 7.84 | 190 | 1 | 7.84
2025-03-13 | 21574666 | 7626 | 22262847 | 7896 | 493900 | 128 | 15650 | 3130 | 113226 | 97 | 760.48 | 42049 | 17 | 25326 | 14 | 31 | 63308 | 32 | 33.7824 | 582.9655 | 78157 | 25 | 5861.275 | 2021.5537 | 4413.1961 | 6434.7499 | 1231233 | 7283 | 25.6133 | 67.94% | 282 | 20961 | 5 | 15132662 | 5178 | 1035.6 | 6925797 | 2170 | 434 | 254556 | 399 | 79.8 | 8905 | 6 | 47.04 | 3348 | 1 | 7.84 | 191 | 1 | 7.84
2025-03-14 | 21582244 | 7578 | 22270560 | 7713 | 494015 | 115 | 15406 | 3081.2 | 113324 | 98 | 768.32 | 42068 | 19 | 25341 | 15 | 34 | 63340 | 32 | 33.7824 | 582.9655 | 78183 | 26 | 5850.275 | 2017.7598 | 4413.1961 | 6430.956 | 1238505 | 7272 | 25.5746 | 67.3% | 298 | 20966 | 5 | 15137677 | 5015 | 1003 | 6927975 | 2178 | 435.6 | 255091 | 535 | 107 | 8914 | 9 | 70.56 | 3351 | 3 | 23.52 | 192 | 1 | 7.84
2025-03-15 | 21590114 | 7870 | 22278283 | 7723 | 494135 | 120 | 15713 | 3142.6 | 113421 | 97 | 760.48 | 42087 | 19 | 25358 | 17 | 36 | 63376 | 36 | 38.0052 | 629.6275 | 78208 | 25 | 6176.62 | 2130.3162 | 4413.1961 | 6543.5124 | 1245819 | 7314 | 25.7223 | 73.65% | 330 | 20970 | 4 | 15142125 | 4448 | 889.6 | 6930087 | 2112 | 422.4 | 255536 | 445 | 89 | 8920 | 6 | 47.04 | 3352 | 1 | 7.84 | 193 | 1 | 7.84
2025-03-16 | 21597831 | 7717 | 22285777 | 7494 | 494258 | 123 | 15334 | 3066.8 | 113502 | 81 | 635.04 | 42104 | 17 | 25374 | 16 | 33 | 63408 | 32 | 33.7824 | 582.9655 | 78234 | 26 | 5914.275 | 2039.8334 | 4413.1961 | 6453.0296 | 1253155 | 7336 | 25.7996 | 76.51% | 336 | 20975 | 5 | 15146488 | 4363 | 872.6 | 6932165 | 2078 | 415.6 | 255965 | 429 | 85.8 | 8925 | 5 | 39.2 | 3353 | 1 | 7.84 | 193 | 0 | 0
2025-03-17 | 21605270 | 7439 | 22293302 | 7525 | 494383 | 125 | 15089 | 3017.8 | 113591 | 89 | 697.76 | 42122 | 18 | 25393 | 19 | 37 | 63443 | 35 | 36.9495 | 617.962 | 78259 | 25 | 5819.275 | 2007.0679 | 4413.1961 | 6420.2641 | 1260396 | 7241 | 25.4655 | 89.84% | 376 | 20980 | 5 | 15151530 | 5042 | 1008.4 | 6934304 | 2139 | 427.8 | 256437 | 472 | 94.4 | 8931 | 6 | 47.04 | 3354 | 1 | 7.84 | 194 | 1 | 7.84
2025-03-18 | 21613245 | 7975 | 22301059 | 7757 | 494513 | 130 | 15862 | 3172.4 | 113688 | 97 | 760.48 | 42139 | 17 | 25411 | 18 | 35 | 63478 | 35 | 36.9495 | 617.962 | 78284 | 25 | 6298.275 | 2172.275 | 4413.1961 | 6585.4712 | 1268116 | 7720 | 27.1501 | 84.44% | 328 | 20985 | 5 | 15156906 | 5376 | 1075.2 | 6936561 | 2257 | 451.4 | 256888 | 451 | 90.2 | 8936 | 5 | 39.2 | 3356 | 2 | 15.68 | 195 | 1 | 7.84
2025-03-19 | 21620568 | 7323 | 22308464 | 7405 | 494645 | 132 | 14860 | 2972 | 113779 | 91 | 713.44 | 42158 | 19 | 25427 | 16 | 35 | 63512 | 34 | 35.8938 | 606.2965 | 78308 | 24 | 5202.93 | 1794.4906 | 4413.1961 | 6207.6867 | 1275025 | 6909 | 24.2979 | 93.65% | 376 | 20991 | 6 | 15162063 | 5157 | 1031.4 | 6938804 | 2243 | 448.6 | 257274 | 386 | 77.2 | 8941 | 5 | 39.2 | 3357 | 1 | 7.84 | 196 | 1 | 7.84
2025-03-20 | 21628370 | 7802 | 22316190 | 7726 | 494773 | 128 | 15656 | 3131.2 | 113875 | 96 | 752.64 | 42175 | 17 | 25444 | 17 | 34 | 63546 | 34 | 35.8938 | 606.2965 | 78335 | 27 | 6303.275 | 2173.9995 | 4413.1961 | 6587.1957 | 1282750 | 7725 | 27.1677 | 78.1% | 322 | 20996 | 5 | 15167230 | 5167 | 1033.4 | 6941023 | 2219 | 443.8 | 257958 | 684 | 136.8 | 8949 | 8 | 62.72 | 3358 | 1 | 7.84 | 197 | 1 | 7.84
2025-03-21 | 21636334 | 7964 | 22324022 | 7832 | 494907 | 134 | 15930 | 3186 | 113971 | 96 | 752.64 | 42195 | 20 | 25463 | 19 | 39 | 63584 | 38 | 40.1166 | 652.9584 | 78362 | 27 | 6602.93 | 2277.3506 | 4413.1961 | 6690.5467 | 1291059 | 8309 | 29.2215 | 66.98% | 280 | 21002 | 6 | 15172445 | 5215 | 1043 | 6943258 | 2235 | 447 | 258432 | 474 | 94.8 | 8956 | 7 | 54.88 | 3359 | 1 | 7.84 | 198 | 1 | 7.84
2025-03-22 | 21643926 | 7592 | 22331671 | 7649 | 495013 | 106 | 15347 | 3069.4 | 114064 | 93 | 729.12 | 42213 | 18 | 25479 | 16 | 34 | 63618 | 34 | 35.8938 | 606.2965 | 78387 | 25 | 5890.93 | 2031.7818 | 4413.1961 | 6444.9779 | 1298656 | 7597 | 26.7175 | 65.08% | 284 | 21008 | 6 | 15176708 | 4263 | 852.6 | 6945245 | 1987 | 397.4 | 258810 | 378 | 75.6 | 8964 | 8 | 62.72 | 3360 | 1 | 7.84 | 199 | 1 | 7.84
2025-03-23 | 21651530 | 7604 | 22339155 | 7484 | 495138 | 125 | 15213 | 3042.6 | 114149 | 85 | 666.4 | 42231 | 18 | 25497 | 18 | 36 | 63654 | 36 | 38.0052 | 629.6275 | 78411 | 24 | 5591.93 | 1928.6567 | 4413.1961 | 6341.8528 | 1305954 | 7298 | 25.666 | 66.03% | 267 | 21014 | 6 | 15181087 | 4379 | 875.8 | 6947311 | 2066 | 413.2 | 259136 | 326 | 65.2 | 8970 | 6 | 47.04 | 3362 | 2 | 15.68 | 200 | 1 | 7.84
2025-03-24 | 21659308 | 7778 | 22346262 | 7107 | 495261 | 123 | 15008 | 3001.6 | 114234 | 85 | 666.4 | 42248 | 17 | 25519 | 22 | 39 | 63692 | 38 | 40.1166 | 652.9584 | 78434 | 23 | 6175.62 | 2129.9713 | 4413.1961 | 6543.1675 | 1313267 | 7313 | 25.7188 | 79.37% | 327 | 21018 | 4 | 15186225 | 5138 | 1027.6 | 6949463 | 2152 | 430.4 | 259456 | 320 | 64 | 8975 | 5 | 39.2 | 3364 | 2 | 15.68 | 201 | 1 | 7.84
2025-03-25 | 21666895 | 7587 | 22354107 | 7845 | 495379 | 118 | 15550 | 3110 | 114323 | 89 | 697.76 | 42265 | 17 | 25540 | 21 | 38 | 63728 | 36 | 38.0052 | 629.6275 | 78454 | 20 | 4396.275 | 1516.2752 | 4413.1961 | 5929.4714 | 1319085 | 5818 | 20.4611 | 76.83% | 315 | 21023 | 5 | 15191342 | 5117 | 1023.4 | 6951636 | 2173 | 434.6 | 259678 | 222 | 44.4 | 8980 | 5 | 39.2 | 3365 | 1 | 7.84 | 202 | 1 | 7.84
2025-03-26 | 21674693 | 7798 | 22361896 | 7789 | 495496 | 117 | 15704 | 3140.8 | 114417 | 94 | 736.96 | 42283 | 18 | 25556 | 16 | 34 | 63761 | 33 | 34.8381 | 594.631 | 78473 | 19 | 4907.62 | 1692.6381 | 4413.1961 | 6105.8343 | 1325130 | 6045 | 21.2594 | 73.02% | 284 | 21027 | 4 | 15196493 | 5151 | 1030.2 | 6953820 | 2184 | 436.8 | 259929 | 251 | 50.2 | 8987 | 7 | 54.88 | 3367 | 2 | 15.68 | 203 | 1 | 7.84
2025-03-27 | 21682460 | 7767 | 22369556 | 7660 | 495608 | 112 | 15539 | 3107.8 | 114519 | 102 | 799.68 | 42302 | 19 | 25574 | 18 | 37 | 63796 | 35 | 36.9495 | 617.962 | 78495 | 22 | 5285.275 | 1822.8913 | 4413.1961 | 6236.0875 | 1331837 | 6707 | 23.5875 | 66.03% | 273 | 21032 | 5 | 15201583 | 5090 | 1018 | 6956013 | 2193 | 438.6 | 260255 | 326 | 65.2 | 8994 | 7 | 54.88 | 3369 | 2 | 15.68 | 203 | 0 | 0
2025-03-28 | 21690450 | 7990 | 22377201 | 7645 | 495724 | 116 | 15751 | 3150.2 | 114618 | 99 | 776.16 | 42321 | 19 | 25590 | 16 | 35 | 63831 | 35 | 36.9495 | 617.962 | 78522 | 27 | 6375.275 | 2198.8323 | 4413.1961 | 6612.0285 | 1339634 | 7797 | 27.4209 | 63.81% | 281 | 21037 | 5 | 15206709 | 5126 | 1025.2 | 6958213 | 2200 | 440 | 260676 | 421 | 84.2 | 9000 | 6 | 47.04 | 3370 | 1 | 7.84 | 204 | 1 | 7.84
2025-03-29 | 21698185 | 7735 | 22384679 | 7478 | 495838 | 114 | 15327 | 3065.4 | 114704 | 86 | 674.24 | 42340 | 19 | 25609 | 19 | 38 | 63868 | 37 | 39.0609 | 641.2929 | 78550 | 28 | 6313.93 | 2177.6745 | 4413.1961 | 6590.8706 | 1347654 | 8020 | 28.2052 | 61.27% | 271 | 21043 | 6 | 15211163 | 4454 | 890.8 | 6960275 | 2062 | 412.4 | 261134 | 458 | 91.6 | 9005 | 5 | 39.2 | 3370 | 0 | 0 | 205 | 1 | 7.84
2025-03-30 | 21705992 | 7807 | 22391973 | 7294 | 495963 | 125 | 15226 | 3045.2 | 114782 | 78 | 611.52 | 42357 | 17 | 25620 | 11 | 28 | 63896 | 28 | 29.5596 | 536.3036 | 78577 | 27 | 6704.275 | 2312.3044 | 4413.1961 | 6725.5006 | 1355780 | 8126 | 28.578 | 68.57% | 311 | 21048 | 5 | 15215508 | 4345 | 869 | 6962294 | 2019 | 403.8 | 261593 | 459 | 91.8 | 9010 | 5 | 39.2 | 3371 | 1 | 7.84 | 206 | 1 | 7.84
2025-03-31 | 21713827 | 7835 | 22399342 | 7369 | 496090 | 127 | 15331 | 3066.2 | 114876 | 94 | 736.96 | 42374 | 17 | 25635 | 15 | 32 | 63928 | 32 | 33.7824 | 582.9655 | 78605 | 28 | 6170.93 | 2128.3538 | 4413.1961 | 6541.5499 | 1363657 | 7877 | 27.7023 | 80% | 382 | 21054 | 6 | 15219881 | 4373 | 874.6 | 6964350 | 2056 | 411.2 | 262141 | 548 | 109.6 | 9015 | 5 | 39.2 | 3372 | 1 | 7.84 | 207 | 1 | 7.84
|  | 240660 |  | 233512 |  | 3855 | 478027 | 95605.4 |  | 2859 | 22414.56 |  | 554 |  | 518 | 1072 |  | 1050 | 1108.485 | 18748.5293 |  | 739 | 175045.215 | 60373.0947 | 136809.0804 | 197182.1751 |  | 218550 | 768.6086 | 73.83% | 9740 |  | 153 |  | 150434 | 30086.8 |  | 66004 | 13200.8 |  | 11536 | 2307.2 |  | 197 | 1544.48 |  | 51 | 399.84 |  | 27 | 211.68
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 410427.24 | CHW Fixed Charges YTD 2025
| Actual March 2025 |  | 95605.4 |  |  | 478027 |  |  | Actual March 2025 |  | 22414.56 | 2859 |  | Actual March 2025 |  |  | 18748.5293 |  | 1108.485 |  | Actual March 2025 |  | 197182.1751 |  | 175045.215 |  |  |  | 218550 | 43504.785 |  | 394642.65 | CHW Fixed Charges YTD 2024
| Budget March 2025 |  | 89838 |  |  | 449190 |  |  | Budget March 2025 |  | 23496.55 | 2997.0089 |  | Budget March 2025 |  |  | 19068.54 |  | 1137.4244 |  | Budget March 2025 |  | 195994.92 |  | 171602.8994 | [6 empty] | 59185.84 | CHW Consumption Charges (Budgeted 2025 MTD)
| Actual March 2024 |  | 89359.8 |  |  | 446799 |  |  | Actual March 2024 |  | 23888.48 | 3047 |  | Actual March 2024 |  |  | 18021.17 |  | 1042.6398 |  | Actual March 2024 |  | 188456.66 |  | 165337.3329 | [6 empty] | 56909.11 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2025 |  | 280684 |  |  | 1403420 |  |  | Actual YTD 2025 |  | 22414.56 | 2859 |  | Actual YTD 2025 |  |  | 53661.0393 |  | 12803.9021 |  | Actual YTD 2025 |  | 573477.5851 |  | 472746.7239 | [6 empty] | 163050.3451 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  | 269136 |  |  | 1345680 |  |  | Budget YTD 2025 |  | 77439.47 | 9877.4834 |  | Budget YTD 2025 |  |  | 56580.16 |  | 13596.4235 |  | Budget YTD 2025 |  | 581622.3 |  | 496361.4381 | [6 empty] | 171195.06 | CHW Consumption Charges (Budgeted 2025 YTD)
| Actual YTD 2024 |  | 261444.2 |  |  | 1307221 |  |  | Actual YTD 2024 |  | 72974.72 | 9308 |  | Actual YTD 2024 |  |  | 53103.56 |  | 12652.5502 |  | Actual YTD 2024 |  | 551946.11 |  | 457011.7955 | [6 empty] | 157303.46 | CHW Consumption Charges (Actual 2024 YTD)
[7 empty] | 2025-03-01 | 2025-04-01 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 89838 |  | Electricity |  |  | 2898 |  | Electricity |  |  | 3084.0452 |  | Electricity |  |  |  | 89838 |  |  | Electricity |  | 95605.4 |  | -5767.4 | Electricity |  | 269136 |  | Electricity |  | 280684 | -11548 | 11548
Water | 23496.55 |  | Water |  |  | 757.9532 |  | Water |  |  | 723.0503 |  | Water |  |  |  | 23496.55 |  |  | Water |  | 22414.56 |  | 1081.99 | Water |  | 77439.48 |  | Water |  | 69619.2 | 7820.28 | -7820.28
Gas | 19068.54 |  | Gas |  |  | 615.1142 |  | Gas |  |  | 604.7913 |  | Gas |  |  |  | 19068.54 |  |  | Gas |  | 18748.5293 |  | 320.0107 | Gas |  | 56580.16 |  | Gas |  | 53661.0393 | 2919.1208 | -2919.1208
Chilled Water | 195994.92 |  | Chilled Water |  |  | 6322.4168 |  | Chilled Water |  |  | 6360.7153 |  | Chilled Water |  |  |  | 195994.92 |  |  | Chilled Water |  | 197182.1751 |  | -1187.2551 | Chilled Water |  | 581622.31 |  | Chilled Water |  | 573477.5851 | 8144.7249 | -8144.7249
| 328398.01 | [15 empty] | 328398.01 |  |  |  |  | 333950.6643 |  | -5552.6543 |  | Total Energy cost | 984777.95 |  |  |  | 977441.8243 | 7336.1257
| -5552.6543 | [21 empty] | -1.691% | [7 empty] | 0.745%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 89359.8 |  | Electricity |  |  | 2882.5742 |  | Electricity |  |  | 89359.8 |  | Electricity |  |  |  | 95605.4 |  |  | Electricity |  | -6245.6 |  |  | 95605.4 | 280684 |  |  | -6245.6 | -19239.8
Water | 23888.48 |  | Water |  |  | 770.5961 |  | Water |  |  | 23888.48 |  | Water |  |  |  | 22414.56 |  |  | Water |  | 1473.92 |  |  | 22414.56 | 69619.2 |  |  | 1473.92 | 3355.52
Gas | 18021.17 |  | Gas |  |  | 581.3281 |  | Gas |  |  | 18021.17 |  | Gas |  |  |  | 18748.5293 |  |  | Gas |  | -727.3593 |  |  | 18748.5293 | 53661.0393 |  |  | -727.3593 | -557.4793
Chilled Water | 188456.66 |  | Chilled Water |  |  | 6079.2471 |  | Chilled Water |  |  | 188456.66 |  | Chilled Water |  |  |  | 197182.1751 |  |  | Chilled Water |  | -8725.5151 |  |  | 197182.1751 | 573477.5851 |  |  | -8725.5151 | -21531.4751
| 319726.11 | [9 empty] | 319726.11 | [5 empty] | 333950.6643 |  |  |  |  | -14224.5543 |  |  | 333950.6643 | 977441.8243 |  |  | -14224.5543 | -37973.2343
| -14224.5543 | [21 empty] | -4.449%