## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Amwaj Rotana - Jumeirah Beach | 1 | 2 | 2025 | 15137.6082 | 0.439 | 536.8022 | 0.91 | 210.1777 | 12.38 | 3261.493 | 1.5217 | 282.94
Amwaj Rotana - Jumeirah Beach | 2 | 2 | 2025 | 14649.2938 | 0.439 | 585.6044 | 0.91 | 187.7868 | 12.38 | 3198.9425 | 1.5389 | 249.83
Amwaj Rotana - Jumeirah Beach | 3 | 2 | 2025 | 14649.2938 | 0.439 | 585.3846 | 0.91 | 183.5218 | 12.38 | 3193.2504 | 1.5405 | 288.96
Amwaj Rotana - Jumeirah Beach | 4 | 2 | 2025 | 14649.2938 | 0.439 | 439.1978 | 0.91 | 187.7868 | 12.38 | 2997.0451 | 1.5993 | 282.94
Amwaj Rotana - Jumeirah Beach | 5 | 2 | 2025 | 15137.6082 | 0.439 | 585.6044 | 0.91 | 186.7205 | 12.38 | 3193.2504 | 1.5405 | 294.98
Amwaj Rotana - Jumeirah Beach | 6 | 2 | 2025 | 14649.2938 | 0.439 | 488 | 0.91 | 200.5816 | 12.38 | 3597.0295 | 1.4398 | 291.97
Amwaj Rotana - Jumeirah Beach | 7 | 2 | 2025 | 15625.9226 | 0.439 | 488 | 0.91 | 203.7803 | 12.38 | 4188.4759 | 1.3273 | 294.98
Amwaj Rotana - Jumeirah Beach | 8 | 2 | 2025 | 14160.9795 | 0.439 | 634.3956 | 0.91 | 203.7803 | 12.38 | 4501.2597 | 1.2797 | 267.89
Amwaj Rotana - Jumeirah Beach | 9 | 2 | 2025 | 15625.9226 | 0.439 | 536.8022 | 0.91 | 194.1842 | 12.38 | 3744.8834 | 1.4083 | 282.94
Amwaj Rotana - Jumeirah Beach | 10 | 2 | 2025 | 14649.2938 | 0.439 | 488 | 0.91 | 206.979 | 12.38 | 3525.9409 | 1.4558 | 297.99
Amwaj Rotana - Jumeirah Beach | 11 | 2 | 2025 | 14160.9795 | 0.439 | 634.3956 | 0.91 | 182.4556 | 12.38 | 3326.8896 | 1.5045 | 301
Amwaj Rotana - Jumeirah Beach | 12 | 2 | 2025 | 14160.9795 | 0.439 | 536.8022 | 0.91 | 235.7674 | 12.38 | 4137.2939 | 1.3357 | 297.99
Amwaj Rotana - Jumeirah Beach | 13 | 2 | 2025 | 14160.9795 | 0.439 | 536.8022 | 0.91 | 217.6414 | 12.38 | 4211.2286 | 1.3236 | 301
Amwaj Rotana - Jumeirah Beach | 14 | 2 | 2025 | 15137.6082 | 0.439 | 488 | 0.91 | 202.7141 | 12.38 | 5453.8258 | 1.1685 | 296.0034
Amwaj Rotana - Jumeirah Beach | 15 | 2 | 2025 | 14649.2938 | 0.439 | 488 | 0.91 | 210.1777 | 12.38 | 5185.07 | 1.1957 | 294.98
Amwaj Rotana - Jumeirah Beach | 16 | 2 | 2025 | 15625.9226 | 0.439 | 585.6044 | 0.91 | 219.7738 | 12.38 | 5360 | 1.1777 | 288.96
Amwaj Rotana - Jumeirah Beach | 17 | 2 | 2025 | 15625.9226 | 0.439 | 488 | 0.91 | 192.0517 | 12.38 | 5260.4821 | 1.1878 | 294.98
Amwaj Rotana - Jumeirah Beach | 18 | 2 | 2025 | 14649.2938 | 0.439 | 634.3956 | 0.91 | 195.2504 | 12.38 | 5325.8787 | 1.1811 | 301
Amwaj Rotana - Jumeirah Beach | 19 | 2 | 2025 | 14160.9795 | 0.439 | 634.3956 | 0.91 | 202.7141 | 12.38 | 4740.1089 | 1.2476 | 301
Amwaj Rotana - Jumeirah Beach | 20 | 2 | 2025 | 14649.2938 | 0.439 | 536.8022 | 0.91 | 218.7076 | 12.38 | 4705.9876 | 1.252 | 301
Amwaj Rotana - Jumeirah Beach | 21 | 2 | 2025 | 15137.6082 | 0.439 | 585.6044 | 0.91 | 205.9128 | 12.38 | 5652.8771 | 1.15 | 301
Amwaj Rotana - Jumeirah Beach | 22 | 2 | 2025 | 14160.9795 | 0.439 | 488 | 0.91 | 202.7141 | 12.38 | 5539.1446 | 1.1604 | 294.98
Amwaj Rotana - Jumeirah Beach | 23 | 2 | 2025 | 15625.9226 | 0.439 | 488 | 0.91 | 218.7076 | 12.38 | 5991.2597 | 1.1214 | 295.9733
Amwaj Rotana - Jumeirah Beach | 24 | 2 | 2025 | 14649.2938 | 0.439 | 634.3956 | 0.91 | 209.1115 | 12.38 | 6281.2908 | 1.0993 | 301
Amwaj Rotana - Jumeirah Beach | 25 | 2 | 2025 | 15137.6082 | 0.439 | 585.6044 | 0.91 | 205.9128 | 12.38 | 4430.1711 | 1.2899 | 301
Amwaj Rotana - Jumeirah Beach | 26 | 2 | 2025 | 14160.9795 | 0.439 | 488 | 0.91 | 214.4426 | 12.38 | 4137.2939 | 1.3357 | 267.89
Amwaj Rotana - Jumeirah Beach | 27 | 2 | 2025 | 15625.9226 | 0.439 | 488 | 0.91 | 195.2504 | 12.38 | 3935.3966 | 1.3713 | 258.86
Amwaj Rotana - Jumeirah Beach | 28 | 2 | 2025 | 15137.6082 | 0.439 | 585.6044 | 0.91 | 205.9128 | 12.38 | 3548.6936 | 1.4506 | 219.73
Amwaj Rotana - Jumeirah Beach | 29 | 2 | 2025 | 0 | 0.439 | 0 | 0.91 | 0 | 12.38 | 0 | #DIV/0! | 0
Amwaj Rotana - Jumeirah Beach | 30 | 2 | 2025 | 0 | 0.439 | 0 | 0.91 | 0 | 12.38 | 0 | #DIV/0! | 0
Amwaj Rotana - Jumeirah Beach | 31 | 2 | 2025 | 0 | 1.439 | 0 | 0.91 | 0 | 13.38 | 0 | #DIV/0! | 0

## MTD Utility Sheet
Daily Utilities February-2025
| Occ % | Out. Temp at 2PM | RH % | F&B Covers | Chilled water | Electricity | Water | LPG | Total
1 | 94% | 25c | 48% | 1281 | 4963.14 | 6645.41 | 2602 | 488.49 | 14699.04
2 | 83% | 23c | 52% | 1144 | 4922.92 | 6431.04 | 2324.8 | 532.9 | 14211.66
3 | 96% | 23c | 54% | 829 | 4919.26 | 6431.04 | 2272 | 532.7 | 14155
4 | 94% | 23c | 59% | 1046 | 4793.1 | 6431.04 | 2324.8 | 399.67 | 13948.61
5 | 98% | 25c | 68% | 1104 | 4919.26 | 6645.41 | 2311.6 | 532.9 | 14409.17
6 | 97% | 25c | 65% | 1126 | 5178.89 | 6431.04 | 2483.2 | 444.08 | 14537.21
7 | 98% | 26c | 68% | 1354 | 5559.19 | 6859.78 | 2522.8 | 444.08 | 15385.85
8 | 89% | 29c | 62% | 1254 | 5760.31 | 6216.67 | 2522.8 | 577.3 | 15077.08
9 | 94% | 25c | 72% | 1027 | 5273.96 | 6859.78 | 2404 | 488.49 | 15026.23
10 | 99% | 23c | 52% | 1065 | 5133.18 | 6431.04 | 2562.4 | 444.08 | 14570.7
11 | 100% | 26c | 58% | 1269 | 5005.19 | 6216.67 | 2258.8 | 577.3 | 14057.96
12 | 99% | 33c | 63% | 1321 | 5526.28 | 6216.67 | 2918.8 | 488.49 | 15150.24
13 | 100% | 33c | 48% | 1487 | 5573.82 | 6216.67 | 2694.4 | 488.49 | 14973.38
14 | 98.34% | 32c | 55% | 1309 | 6372.81 | 6645.41 | 2509.6 | 444.08 | 15971.9
15 | 98% | 29c | 68% | 1456 | 6200 | 6431.04 | 2602 | 444.08 | 15677.12 | 0
16 | 96% | 29c | 58% | 1311 | 6312.48 | 6859.78 | 2720.8 | 532.9 | 16425.96
17 | 98% | 32c | 48% | 1151 | 6248.49 | 6859.78 | 2377.6 | 444.08 | 15929.95
18 | 100% | 27c | 60% | 1186 | 6290.54 | 6431.04 | 2417.2 | 577.3 | 15716.08
19 | 100% | 26c | 68% | 1299 | 5913.89 | 6216.67 | 2509.6 | 577.3 | 15217.46
20 | 100% | 28c | 70% | 1466 | 5891.95 | 6431.04 | 2707.6 | 488.49 | 15519.08
21 | 100% | 31c | 68% | 1429 | 6500.8 | 6645.41 | 2549.2 | 532.9 | 16228.31
22 | 98% | 30c | 70% | 1552 | 6427.67 | 6216.67 | 2509.6 | 444.08 | 15598.02
23 | 98.33% | 31c | 65% | 1359 | 6718.38 | 6859.78 | 2707.6 | 444.08 | 16729.84
24 | 100% | 29c | 68% | 1139 | 6904.87 | 6431.04 | 2588.8 | 577.3 | 16502.01
25 | 100% | 25c | 58% | 1325 | 5714.6 | 6645.41 | 2549.2 | 532.9 | 15442.11
26 | 89% | 24c | 59% | 1142 | 5526.28 | 6216.67 | 2654.8 | 444.08 | 14841.83
27 | 86% | 23c | 55% | 1378 | 5396.46 | 6859.78 | 2417.2 | 444.08 | 15117.52
28 | 73% | 24c | 57% | 1169 | 5147.81 | 6645.41 | 2549.2 | 532.9 | 14875.32
29 | [8 empty] | 0
30 | [8 empty] | 0
31 | [8 empty] | 0
Total Cost |  |  |  |  | 159095.53 | 182427.19 | 70572.4 | 13899.52 | 425994.64
Total Units | 95.56% | #DIV/0! | 60.57% | 34978 | 60456.3014 | 14141.6426 | 76709.1304 | 7897.4545

## February-28
Daily Utilities Consumption
28.02.2025
District Cooling
Previous Reading MWh | 71564.39 | Current Reading MWh | 71576.87 | Consumption MWH | 12.48 | Consumption RTH | 3548.688
Total Cost (0.568/rth) |  |  | 2015.6548
Total Fuel Surchage Cost (0.075/rth) |  |  | 266.1516
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5147.8064
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43819 | Current Reading KWH | 43826 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72834 | Current Reading KWH | 72847 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73437 | Current Reading KWH | 73448 | Consumption KWH | 11
31
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15103.2
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5739.216
Fuel Surcharge @ 0.060 /KWH |  |  | 906.192
Grand Total Exc. VAT |  |  | 6645.408
WATER
Previous Reading | 321972 | Present Reading | 322178 | Consumption m3 | 206 | Consumption IG | 45320
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1164.72
Fuel Surcharge @ 0.004 / IG |  |  | 181.28
Sewerage Fees |  |  | 453.2
Grand Total Exc. VAT |  |  | 2549.2
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 59 | Current Reading % | 47 | Consumption Liters | 585.6
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
32 | [6 empty] | 532.896
Total Utilities | [6 empty] | 14875.3104

## February-27
Daily Utilities Consumption
27.02.2025
District Cooling
Previous Reading MWh | 71550.55 | Current Reading MWh | 71564.39 | Consumption MWH | 13.84 | Consumption RTH | 3935.404
Total Cost (0.568/rth) |  |  | 2235.3095
Total Fuel Surchage Cost (0.075/rth) |  |  | 295.1553
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5396.4648
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43812 | Current Reading KWH | 43819 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72820 | Current Reading KWH | 72834 | Consumption KWH | 14
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73426 | Current Reading KWH | 73437 | Consumption KWH | 11
32
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15590.4
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5924.352
Fuel Surcharge @ 0.060 /KWH |  |  | 935.424
Grand Total Exc. VAT |  |  | 6859.776
WATER
Previous Reading | 321776 | Present Reading | 321972 | Consumption m3 | 196 | Consumption IG | 43120
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1063.52
Fuel Surcharge @ 0.004 / IG |  |  | 172.48
Sewerage Fees |  |  | 431.2
Grand Total Exc. VAT |  |  | 2417.2
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 69 | Current Reading % | 59 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
32 | [6 empty] | 444.08
Total Utilities | [6 empty] | 15117.5208

## February-26
Daily Utilities Consumption
26.02.2025
District Cooling
Previous Reading MWh | 71536 | Current Reading MWh | 71550.55 | Consumption MWH | 14.55 | Consumption RTH | 4137.2925
Total Cost (0.568/rth) |  |  | 2349.9821
Total Fuel Surchage Cost (0.075/rth) |  |  | 310.2969
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5526.2791
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43806 | Current Reading KWH | 43812 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72807 | Current Reading KWH | 72820 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73416 | Current Reading KWH | 73426 | Consumption KWH | 10
29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 321562 | Present Reading | 321776 | Consumption m3 | 214 | Consumption IG | 47080
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1245.68
Fuel Surcharge @ 0.004 / IG |  |  | 188.32
Sewerage Fees |  |  | 470.8
Grand Total Exc. VAT |  |  | 2654.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 35 | Current Reading % | 25 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
32 | [6 empty] | 444.08
Total Utilities | [6 empty] | 14841.8311

## February-25
Daily Utilities Consumption
25.02.2025
District Cooling
Previous Reading MWh | 71520.42 | Current Reading MWh | 71536 | Consumption MWH | 15.58 | Consumption RTH | 4430.173
Total Cost (0.568/rth) |  |  | 2516.3383
Total Fuel Surchage Cost (0.075/rth) |  |  | 332.263
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5714.6012
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43799 | Current Reading KWH | 43806 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72794 | Current Reading KWH | 72807 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73405 | Current Reading KWH | 73416 | Consumption KWH | 11
31
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15103.2
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5739.216
Fuel Surcharge @ 0.060 /KWH |  |  | 906.192
Grand Total Exc. VAT |  |  | 6645.408
WATER
Previous Reading | 321356 | Present Reading | 321562 | Consumption m3 | 206 | Consumption IG | 45320
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1164.72
Fuel Surcharge @ 0.004 / IG |  |  | 181.28
Sewerage Fees |  |  | 453.2
Grand Total Exc. VAT |  |  | 2549.2
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 47 | Current Reading % | 35 | Consumption Liters | 585.6
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
32 | [6 empty] | 532.896
Total Utilities | [6 empty] | 15442.1052

## February-24
Daily Utilities Consumption
24.02.2025
District Cooling
Previous Reading MWh | 71498.33 | Current Reading MWh | 71520.42 | Consumption MWH | 22.09 | Consumption RTH | 6281.2915
Total Cost (0.568/rth) |  |  | 3567.7736
Total Fuel Surchage Cost (0.075/rth) |  |  | 471.0969
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6904.8704
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43793 | Current Reading KWH | 43799 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72781 | Current Reading KWH | 72794 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73394 | Current Reading KWH | 73405 | Consumption KWH | 11
30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 321147 | Present Reading | 321356 | Consumption m3 | 209 | Consumption IG | 45980
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1195.08
Fuel Surcharge @ 0.004 / IG |  |  | 183.92
Sewerage Fees |  |  | 459.8
Grand Total Exc. VAT |  |  | 2588.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 60 | Current Reading % | 47 | Consumption Liters | 634.4
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
32 | [6 empty] | 577.304
Total Utilities | [6 empty] | 16502.0144

## February-23
Daily Utilities Consumption
23.02.2025
District Cooling
Previous Reading MWh | 71477.26 | Current Reading MWh | 71498.33 | Consumption MWH | 21.07 | Consumption RTH | 5991.2545
Total Cost (0.568/rth) |  |  | 3403.0326
Total Fuel Surchage Cost (0.075/rth) |  |  | 449.3441
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6718.3766
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43786 | Current Reading KWH | 43793 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72768 | Current Reading KWH | 72781 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73382 | Current Reading KWH | 73394 | Consumption KWH | 12
32
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15590.4
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5924.352
Fuel Surcharge @ 0.060 /KWH |  |  | 935.424
Grand Total Exc. VAT |  |  | 6859.776
WATER
Previous Reading | 320929 | Present Reading | 321147 | Consumption m3 | 218 | Consumption IG | 47960
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1286.16
Fuel Surcharge @ 0.004 / IG |  |  | 191.84
Sewerage Fees |  |  | 479.6
Grand Total Exc. VAT |  |  | 2707.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 70 | Current Reading % | 60 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
32 | [6 empty] | 444.08
Total Utilities | [6 empty] | 16729.8326

## February-22
Daily Utilities Consumption
22.02.2025
District Cooling
Previous Reading MWh | 71457.78 | Current Reading MWh | 71477.26 | Consumption MWH | 19.48 | Consumption RTH | 5539.138
Total Cost (0.568/rth) |  |  | 3146.2304
Total Fuel Surchage Cost (0.075/rth) |  |  | 415.4353
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6427.6657
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43780 | Current Reading KWH | 43786 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72755 | Current Reading KWH | 72768 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73372 | Current Reading KWH | 73382 | Consumption KWH | 10
29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 320726 | Present Reading | 320929 | Consumption m3 | 203 | Consumption IG | 44660
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1134.36
Fuel Surcharge @ 0.004 / IG |  |  | 178.64
Sewerage Fees |  |  | 446.6
Grand Total Exc. VAT |  |  | 2509.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 70 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
32 | [6 empty] | 444.08
Total Utilities | [6 empty] | 15598.0177

## February-21
Daily Utilities Consumption
21.02.2025
District Cooling
Previous Reading MWh | 71437.9 | Current Reading MWh | 71457.78 | Consumption MWH | 19.88 | Consumption RTH | 5652.878
Total Cost (0.568/rth) |  |  | 3210.8347
Total Fuel Surchage Cost (0.075/rth) |  |  | 423.9659
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6500.8006
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43773 | Current Reading KWH | 43780 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72742 | Current Reading KWH | 72755 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73361 | Current Reading KWH | 73372 | Consumption KWH | 11
31
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15103.2
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5739.216
Fuel Surcharge @ 0.060 /KWH |  |  | 906.192
Grand Total Exc. VAT |  |  | 6645.408
WATER
Previous Reading | 320520 | Present Reading | 320726 | Consumption m3 | 206 | Consumption IG | 45320
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1164.72
Fuel Surcharge @ 0.004 / IG |  |  | 181.28
Sewerage Fees |  |  | 453.2
Grand Total Exc. VAT |  |  | 2549.2
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 39 | Current Reading % | 27 | Consumption Liters | 585.6
32 | [6 empty] | 532.896
Total Utilities | [6 empty] | 16228.3046

## February-20
Daily Utilities Consumption
20.02.2025
District Cooling
Previous Reading MWh | 71421.35 | Current Reading MWh | 71437.9 | Consumption MWH | 16.55 | Consumption RTH | 4705.9925
Total Cost (0.568/rth) |  |  | 2673.0037
Total Fuel Surchage Cost (0.075/rth) |  |  | 352.9494
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5891.9532
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43767 | Current Reading KWH | 43773 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72729 | Current Reading KWH | 72742 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73350 | Current Reading KWH | 73361 | Consumption KWH | 11
73318 | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 320302 | Present Reading | 320520 | Consumption m3 | 218 | Consumption IG | 47960
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1286.16
Fuel Surcharge @ 0.004 / IG |  |  | 191.84
Sewerage Fees |  |  | 479.6
Grand Total Exc. VAT |  |  | 2707.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 50 | Current Reading % | 39 | Consumption Liters | 536.8
32051 | [6 empty] | 488.488
Total Utilities | [6 empty] | 15519.0812

## February-19
Daily Utilities Consumption
19.02.2025
District Cooling
Previous Reading MWh | 71404.68 | Current Reading MWh | 71421.35 | Consumption MWH | 16.67 | Consumption RTH | 4740.1145
Total Cost (0.568/rth) |  |  | 2692.385
Total Fuel Surchage Cost (0.075/rth) |  |  | 355.5086
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5913.8936
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43760 | Current Reading KWH | 43767 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72717 | Current Reading KWH | 72729 | Consumption KWH | 12
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73340 | Current Reading KWH | 73350 | Consumption KWH | 10
73318 | [6 empty] | 29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 320099 | Present Reading | 320302 | Consumption m3 | 203 | Consumption IG | 44660
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1134.36
Fuel Surcharge @ 0.004 / IG |  |  | 178.64
Sewerage Fees |  |  | 446.6
Grand Total Exc. VAT |  |  | 2509.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 25 | Current Reading % | 25 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 45 | Current Reading % | 32 | Consumption Liters | 634.4
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 577.304
Total Utilities | [6 empty] | 15217.4696

## February-18
Daily Utilities Consumption
18.02.2025
District Cooling
Previous Reading MWh | 71385.95 | Current Reading MWh | 71404.68 | Consumption MWH | 18.73 | Consumption RTH | 5325.8755
Total Cost (0.568/rth) |  |  | 3025.0973
Total Fuel Surchage Cost (0.075/rth) |  |  | 399.4407
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6290.5379
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43754 | Current Reading KWH | 43760 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72704 | Current Reading KWH | 72717 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73329 | Current Reading KWH | 73340 | Consumption KWH | 11
73318 | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 319903 | Present Reading | 320099 | Consumption m3 | 196 | Consumption IG | 43120
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1063.52
Fuel Surcharge @ 0.004 / IG |  |  | 172.48
Sewerage Fees |  |  | 431.2
Grand Total Exc. VAT |  |  | 2417.2
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 25 | Current Reading % | 25 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 58 | Current Reading % | 45 | Consumption Liters | 634.4
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 577.304
Total Utilities | [6 empty] | 15716.0819

## February-17
Daily Utilities Consumption
17.02.2025
District Cooling
Previous Reading MWh | 71367.45 | Current Reading MWh | 71385.95 | Consumption MWH | 18.5 | Consumption RTH | 5260.475
Total Cost (0.568/rth) |  |  | 2987.9498
Total Fuel Surchage Cost (0.075/rth) |  |  | 394.5356
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6248.4854
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43747 | Current Reading KWH | 43754 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72690 | Current Reading KWH | 72704 | Consumption KWH | 14
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73318 | Current Reading KWH | 73329 | Consumption KWH | 11
73318 | [6 empty] | 32
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15590.4
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5924.352
Fuel Surcharge @ 0.060 /KWH |  |  | 935.424
Grand Total Exc. VAT |  |  | 6859.776
WATER
Previous Reading | 319710 | Present Reading | 319903 | Consumption m3 | 193 | Consumption IG | 42460
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1033.16
Fuel Surcharge @ 0.004 / IG |  |  | 169.84
Sewerage Fees |  |  | 424.6
Grand Total Exc. VAT |  |  | 2377.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 25 | Current Reading % | 25 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 68 | Current Reading % | 58 | Consumption Liters | 488
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 444.08
Total Utilities | [6 empty] | 15929.9414

## February-16
Daily Utilities Consumption
16.02.2025
District Cooling
Previous Reading MWh | 71348.6 | Current Reading MWh | 71367.45 | Consumption MWH | 18.85 | Consumption RTH | 5359.9975
Total Cost (0.568/rth) |  |  | 3044.4786
Total Fuel Surchage Cost (0.075/rth) |  |  | 401.9998
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6312.4784
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43740 | Current Reading KWH | 43747 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72677 | Current Reading KWH | 72690 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73306 | Current Reading KWH | 73318 | Consumption KWH | 12
73318 | [6 empty] | 32
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15590.4
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5924.352
Fuel Surcharge @ 0.060 /KWH |  |  | 935.424
Grand Total Exc. VAT |  |  | 6859.776
WATER
Previous Reading | 319491 | Present Reading | 319710 | Consumption m3 | 219 | Consumption IG | 48180
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1296.28
Fuel Surcharge @ 0.004 / IG |  |  | 192.72
Sewerage Fees |  |  | 481.8
Grand Total Exc. VAT |  |  | 2720.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 25 | Current Reading % | 25 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 68 | Consumption Liters | 585.6
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 532.896
Total Utilities | [6 empty] | 16425.9504

## February-15
Daily Utilities Consumption
15.02.2025
District Cooling
Previous Reading MWh | 71330.36 | Current Reading MWh | 71348.6 | Consumption MWH | 18.24 | Consumption RTH | 5186.544
Total Cost (0.568/rth) |  |  | 2945.957
Total Fuel Surchage Cost (0.075/rth) |  |  | 388.9908
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6200.9478
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43734 | Current Reading KWH | 43740 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72664 | Current Reading KWH | 72677 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73295 | Current Reading KWH | 73306 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 319281 | Present Reading | 319491 | Consumption m3 | 210 | Consumption IG | 46200
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1205.2
Fuel Surcharge @ 0.004 / IG |  |  | 184.8
Sewerage Fees |  |  | 462
Grand Total Exc. VAT |  |  | 2602
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 35 | Current Reading % | 25 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 444.08
Total Utilities | [6 empty] | 15678.0678

## February-14
Daily Utilities Consumption
14.02.2025
District Cooling
Previous Reading MWh | 71311.18 | Current Reading MWh | 71330.36 | Consumption MWH | 19.18 | Consumption RTH | 5453.833
Total Cost (0.568/rth) |  |  | 3097.7771
Total Fuel Surchage Cost (0.075/rth) |  |  | 409.0375
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 6372.8146
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43727 | Current Reading KWH | 43734 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72651 | Current Reading KWH | 72664 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73284 | Current Reading KWH | 73295 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 31
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15103.2
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5739.216
Fuel Surcharge @ 0.060 /KWH |  |  | 906.192
Grand Total Exc. VAT |  |  | 6645.408
WATER
Previous Reading | 319078 | Present Reading | 319281 | Consumption m3 | 203 | Consumption IG | 44660
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1134.36
Fuel Surcharge @ 0.004 / IG |  |  | 178.64
Sewerage Fees |  |  | 446.6
Grand Total Exc. VAT |  |  | 2509.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 45 | Current Reading % | 35 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 444.08
Total Utilities | [6 empty] | 15971.9026

## February-13
Daily Utilities Consumption
13.02.2025
District Cooling
Previous Reading MWh | 71296.37 | Current Reading MWh | 71311.18 | Consumption MWH | 14.81 | Consumption RTH | 4211.2235
Total Cost (0.568/rth) |  |  | 2391.9749
Total Fuel Surchage Cost (0.075/rth) |  |  | 315.8418
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5573.8167
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43721 | Current Reading KWH | 43727 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72638 | Current Reading KWH | 72651 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73274 | Current Reading KWH | 73284 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 318861 | Present Reading | 319078 | Consumption m3 | 217 | Consumption IG | 47740
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1276.04
Fuel Surcharge @ 0.004 / IG |  |  | 190.96
Sewerage Fees |  |  | 477.4
Grand Total Exc. VAT |  |  | 2694.4
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 56 | Current Reading % | 45 | Consumption Liters | 536.8
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 488.488
Total Utilities | [6 empty] | 14973.3767

## February-12
Daily Utilities Consumption
12.02.2025
District Cooling
Previous Reading MWh | 71281.82 | Current Reading MWh | 71296.37 | Consumption MWH | 14.55 | Consumption RTH | 4137.2925
Total Cost (0.568/rth) |  |  | 2349.9821
Total Fuel Surchage Cost (0.075/rth) |  |  | 310.2969
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5526.2791
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43714 | Current Reading KWH | 43721 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72626 | Current Reading KWH | 72638 | Consumption KWH | 12
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73264 | Current Reading KWH | 73274 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 318627 | Present Reading | 318861 | Consumption m3 | 234 | Consumption IG | 51480
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1448.08
Fuel Surcharge @ 0.004 / IG |  |  | 205.92
Sewerage Fees |  |  | 514.8
Grand Total Exc. VAT |  |  | 2918.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 46 | Current Reading % | 35 | Consumption Liters | 536.8
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 488.488
Total Utilities | [6 empty] | 15150.2391

## February-11
Daily Utilities Consumption
11.02.2025
District Cooling
Previous Reading MWh | 71270.12 | Current Reading MWh | 71281.82 | Consumption MWH | 11.7 | Consumption RTH | 3326.895
Total Cost (0.568/rth) |  |  | 1889.6764
Total Fuel Surchage Cost (0.075/rth) |  |  | 249.5171
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5005.1935
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43708 | Current Reading KWH | 43714 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72613 | Current Reading KWH | 72626 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73254 | Current Reading KWH | 73264 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 318443 | Present Reading | 318627 | Consumption m3 | 184 | Consumption IG | 40480
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 942.08
Fuel Surcharge @ 0.004 / IG |  |  | 161.92
Sewerage Fees |  |  | 404.8
Grand Total Exc. VAT |  |  | 2258.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 59 | Current Reading % | 46 | Consumption Liters | 634.4
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 577.304
Total Utilities | [6 empty] | 14057.9695

## February-10
Daily Utilities Consumption
10.02.2025
District Cooling
Previous Reading MWh | 71257.72 | Current Reading MWh | 71270.12 | Consumption MWH | 12.4 | Consumption RTH | 3525.94
Total Cost (0.568/rth) |  |  | 2002.7339
Total Fuel Surchage Cost (0.075/rth) |  |  | 264.4455
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5133.1794
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43701 | Current Reading KWH | 43708 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72600 | Current Reading KWH | 72613 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73244 | Current Reading KWH | 73254 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 318236 | Present Reading | 318443 | Consumption m3 | 207 | Consumption IG | 45540
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1174.84
Fuel Surcharge @ 0.004 / IG |  |  | 182.16
Sewerage Fees |  |  | 455.4
Grand Total Exc. VAT |  |  | 2562.4
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 69 | Current Reading % | 59 | Consumption Liters | 488
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 444.08
Total Utilities | [6 empty] | 14570.6994

## February-9
Daily Utilities Consumption
09.02.2025
District Cooling
Previous Reading MWh | 71244.55 | Current Reading MWh | 71257.72 | Consumption MWH | 13.17 | Consumption RTH | 3744.8895
Total Cost (0.568/rth) |  |  | 2127.0972
Total Fuel Surchage Cost (0.075/rth) |  |  | 280.8667
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5273.9639
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43694 | Current Reading KWH | 43701 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72586 | Current Reading KWH | 72600 | Consumption KWH | 14
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73233 | Current Reading KWH | 73244 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 32
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15590.4
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5924.352
Fuel Surcharge @ 0.060 /KWH |  |  | 935.424
Grand Total Exc. VAT |  |  | 6859.776
WATER
Previous Reading | 318041 | Present Reading | 318236 | Consumption m3 | 195 | Consumption IG | 42900
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1053.4
Fuel Surcharge @ 0.004 / IG |  |  | 171.6
Sewerage Fees |  |  | 429
Grand Total Exc. VAT |  |  | 2404
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 69 | Consumption Liters | 536.8
Tank 2 (1% = 48 liters) |  | Previous Reading % | 27 | Current Reading % | 27 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 488.488
Total Utilities | [6 empty] | 15026.2279

## February-8
Daily Utilities Consumption
08.02.2025
District Cooling
Previous Reading MWh | 71228.72 | Current Reading MWh | 71244.55 | Consumption MWH | 15.83 | Consumption RTH | 4501.2605
Total Cost (0.568/rth) |  |  | 2556.716
Total Fuel Surchage Cost (0.075/rth) |  |  | 337.5945
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5760.3105
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43688 | Current Reading KWH | 43694 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72574 | Current Reading KWH | 72586 | Consumption KWH | 12
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73222 | Current Reading KWH | 73233 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 29
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14128.8
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5368.944
Fuel Surcharge @ 0.060 /KWH |  |  | 847.728
Grand Total Exc. VAT |  |  | 6216.672
WATER
Previous Reading | 317837 | Present Reading | 318041 | Consumption m3 | 204 | Consumption IG | 44880
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1144.48
Fuel Surcharge @ 0.004 / IG |  |  | 179.52
Sewerage Fees |  |  | 448.8
Grand Total Exc. VAT |  |  | 2522.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 40 | Current Reading % | 27 | Consumption Liters | 634.4
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 577.304
Total Utilities | [6 empty] | 15077.0865

## February-7
Daily Utilities Consumption
07.02.2025
District Cooling
Previous Reading MWh | 71213.99 | Current Reading MWh | 71228.72 | Consumption MWH | 14.73 | Consumption RTH | 4188.4755
Total Cost (0.568/rth) |  |  | 2379.0541
Total Fuel Surchage Cost (0.075/rth) |  |  | 314.1357
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5559.1897
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43681 | Current Reading KWH | 43688 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72560 | Current Reading KWH | 72574 | Consumption KWH | 14
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73211 | Current Reading KWH | 73222 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 32
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15590.4
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5924.352
Fuel Surcharge @ 0.060 /KWH |  |  | 935.424
Grand Total Exc. VAT |  |  | 6859.776
WATER
Previous Reading | 317633 | Present Reading | 317837 | Consumption m3 | 204 | Consumption IG | 44880
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1144.48
Fuel Surcharge @ 0.004 / IG |  |  | 179.52
Sewerage Fees |  |  | 448.8
Grand Total Exc. VAT |  |  | 2522.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 50 | Current Reading % | 40 | Consumption Liters | 488
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 444.08
Total Utilities | [6 empty] | 15385.8457

## February-6
Daily Utilities Consumption
06.02.2025
District Cooling
Previous Reading MWh | 71201.34 | Current Reading MWh | 71213.99 | Consumption MWH | 12.65 | Consumption RTH | 3597.0275
Total Cost (0.568/rth) |  |  | 2043.1116
Total Fuel Surchage Cost (0.075/rth) |  |  | 269.7771
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 5178.8887
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43674 | Current Reading KWH | 43681 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72547 | Current Reading KWH | 72560 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73201 | Current Reading KWH | 73211 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 317432 | Present Reading | 317633 | Consumption m3 | 201 | Consumption IG | 44220
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1114.12
Fuel Surcharge @ 0.004 / IG |  |  | 176.88
Sewerage Fees |  |  | 442.2
Grand Total Exc. VAT |  |  | 2483.2
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 60 | Current Reading % | 50 | Consumption Liters | 488
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 444.08
Total Utilities | [6 empty] | 14537.2087

## February-5
Daily Utilities Consumption
05.02.2025
District Cooling
Previous Reading MWh | 71190.11 | Current Reading MWh | 71201.34 | Consumption MWH | 11.23 | Consumption RTH | 3193.2505
Total Cost (0.568/rth) |  |  | 1813.7663
Total Fuel Surchage Cost (0.075/rth) |  |  | 239.4938
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 4919.2601
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43667 | Current Reading KWH | 43674 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72533 | Current Reading KWH | 72547 | Consumption KWH | 14
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73191 | Current Reading KWH | 73201 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 31
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15103.2
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5739.216
Fuel Surcharge @ 0.060 /KWH |  |  | 906.192
Grand Total Exc. VAT |  |  | 6645.408
WATER
Previous Reading | 317244 | Present Reading | 317432 | Consumption m3 | 188 | Consumption IG | 41360
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 982.56
Fuel Surcharge @ 0.004 / IG |  |  | 165.44
Sewerage Fees |  |  | 413.6
Grand Total Exc. VAT |  |  | 2311.6
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 17 | Current Reading % | 17 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 59 | Current Reading % | 47 | Consumption Liters | 585.6
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 532.896
Total Utilities | [6 empty] | 14409.1641

## February-4
Daily Utilities Consumption
04.02.2025
District Cooling
Previous Reading MWh | 71179.57 | Current Reading MWh | 71190.11 | Consumption MWH | 10.54 | Consumption RTH | 2997.049
Total Cost (0.568/rth) |  |  | 1702.3238
Total Fuel Surchage Cost (0.075/rth) |  |  | 224.7787
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 4793.1025
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43661 | Current Reading KWH | 43667 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72520 | Current Reading KWH | 72533 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73180 | Current Reading KWH | 73191 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 317055 | Present Reading | 317244 | Consumption m3 | 189 | Consumption IG | 41580
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 992.68
Fuel Surcharge @ 0.004 / IG |  |  | 166.32
Sewerage Fees |  |  | 415.8
Grand Total Exc. VAT |  |  | 2324.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 17 | Current Reading % | 17 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 68 | Current Reading % | 59 | Consumption Liters | 439.2
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 399.672
Total Utilities | [6 empty] | 13948.6145

## February-3
Daily Utilities Consumption
03.02.2025
District Cooling
Previous Reading MWh | 71168.34 | Current Reading MWh | 71179.57 | Consumption MWH | 11.23 | Consumption RTH | 3193.2505
Total Cost (0.568/rth) |  |  | 1813.7663
Total Fuel Surchage Cost (0.075/rth) |  |  | 239.4938
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 4919.2601
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43654 | Current Reading KWH | 43661 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72507 | Current Reading KWH | 72520 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73170 | Current Reading KWH | 73180 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 316870 | Present Reading | 317055 | Consumption m3 | 185 | Consumption IG | 40700
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 952.2
Fuel Surcharge @ 0.004 / IG |  |  | 162.8
Sewerage Fees |  |  | 407
Grand Total Exc. VAT |  |  | 2272
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 17 | Current Reading % | 17 | Consumption Liters | 0
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 68 | Consumption Liters | 585.6
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 532.896
Total Utilities | [6 empty] | 14155.1961

## February-2
Daily Utilities Consumption
02.02.2025
District Cooling
Previous Reading MWh | 71157.09 | Current Reading MWh | 71168.34 | Consumption MWH | 11.25 | Consumption RTH | 3198.9375
Total Cost (0.568/rth) |  |  | 1816.9965
Total Fuel Surchage Cost (0.075/rth) |  |  | 239.9203
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 4922.9168
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43648 | Current Reading KWH | 43654 | Consumption KWH | 6
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72493 | Current Reading KWH | 72507 | Consumption KWH | 14
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73160 | Current Reading KWH | 73170 | Consumption KWH | 10
Total Consumption KWH | [6 empty] | 30
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 14616
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5554.08
Fuel Surcharge @ 0.060 /KWH |  |  | 876.96
Grand Total Exc. VAT |  |  | 6431.04
WATER
Previous Reading | 316681 | Present Reading | 316870 | Consumption m3 | 189 | Consumption IG | 41580
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 992.68
Fuel Surcharge @ 0.004 / IG |  |  | 166.32
Sewerage Fees |  |  | 415.8
Grand Total Exc. VAT |  |  | 2324.8
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 29 | Current Reading % | 17 | Consumption Liters | 585.6
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 532.896
Total Utilities | [6 empty] | 14211.6528

## February-1
Daily Utilities Consumption
01.02.2025
District Cooling
Previous Reading MWh | 71145.62 | Current Reading MWh | 71157.09 | Consumption MWH | 11.47 | Consumption RTH | 3261.4945
Total Cost (0.568/rth) |  |  | 1852.5289
Total Fuel Surchage Cost (0.075/rth) |  |  | 244.6121
Chilled Water Demand (2,866 AED/Day) |  |  | 2866
Grand Total Exc. VAT |  |  | 4963.141
Electrical
MDB-G1 (39299675-8) |  | Previous Reading KWH | 43641 | Current Reading KWH | 43648 | Consumption KWH | 7
MDB-G2 (39299676-6) |  | Previous Reading KWH | 72480 | Current Reading KWH | 72493 | Consumption KWH | 13
MDB-G3 (39299677-4) |  | Previous Reading KWH | 73149 | Current Reading KWH | 73160 | Consumption KWH | 11
Total Consumption KWH | [6 empty] | 31
Total Consumption * Multiplication Factor (487.20) | [6 empty] | 15103.2
Cost Calculation
0-2000 kwh @ 0.230 /KWH |  |  | 460
2000-4000 kwh @ 0.280 /KWH |  |  | 560
4000-6000 kwh @ 0.320 /KWH |  |  | 640
6000 & above @ 0.380 /KWH |  |  | 5739.216
Fuel Surcharge @ 0.060 /KWH |  |  | 906.192
Grand Total Exc. VAT |  |  | 6645.408
WATER
Previous Reading | 316471 | Present Reading | 316681 | Consumption m3 | 210 | Consumption IG | 46200
Cost calculation
0-10000 @ 0.035 / IG |  |  | 350
10000-20000 @ 0.04 / IG |  |  | 400
20000 & above @ 0.046 / IG |  |  | 1205.2
Fuel Surcharge @ 0.004 / IG |  |  | 184.8
Sewerage Fees |  |  | 462
Grand Total Exc. VAT |  |  | 2602
LPG Gas
Tank 1 (1% = 48 liters) |  | Previous Reading % | 40 | Current Reading % | 29 | Consumption Liters | 536.8
Tank 2 (1% = 48 liters) |  | Previous Reading % | 80 | Current Reading % | 80 | Consumption Liters | 0
Total Cost (@ 1.82 AED/Liter) | [6 empty] | 488.488
Total Utilities | [6 empty] | 14699.037