## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | LPG (Liters) | LPG $/Liters | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Capital Centre Arjaan | 1 | 4 | 2025 | 11487.574 | 0.2 | 72 | 7.84 | 44.452 | 2.77 | 3412.14 | 0.3449 | 236.0008 | 304
Capital Centre Arjaan | 2 | 4 | 2025 | 11210.7924 | 0.2 | 76 | 7.84 | 44.452 | 2.77 | 3412.14 | 0.3449 | 239.9894 | 307
Capital Centre Arjaan | 3 | 4 | 2025 | 10603.5214 | 0.2 | 52 | 7.84 | 44.452 | 2.77 | 3412.14 | 0.3449 | 244.9881 | 317
Capital Centre Arjaan | 4 | 4 | 2025 | 10877.3142 | 0.2 | 68 | 7.84 | 88.904 | 2.77 | 3696.485 | 0.3449 | 216.006 | 270
Capital Centre Arjaan | 5 | 4 | 2025 | 10445.7436 | 0.2 | 75 | 7.84 | 44.452 | 2.77 | 5402.555 | 0.3449 | 226.9876 | 278
Capital Centre Arjaan | 6 | 4 | 2025 | 11374.6382 | 0.2 | 55 | 7.84 | 88.904 | 2.77 | 5402.555 | 0.3449 | 259 | 310
Capital Centre Arjaan | 7 | 4 | 2025 | 11698.0514 | 0.2 | 69 | 7.84 | 44.452 | 2.77 | 5402.555 | 0.3449 | 259 | 308
Capital Centre Arjaan | 8 | 4 | 2025 | 11383.2822 | 0.2 | 44 | 7.84 | 44.452 | 2.77 | 5118.21 | 0.3449 | 259 | 306
Capital Centre Arjaan | 9 | 4 | 2025 | 11558.1812 | 0.2 | 65 | 7.84 | 44.452 | 2.77 | 5118.21 | 0.3449 | 255.0114 | 295
Capital Centre Arjaan | 10 | 4 | 2025 | 11749.2714 | 0.2 | 53 | 7.84 | 44.452 | 2.77 | 5402.555 | 0.3449 | 226.0034 | 273
Capital Centre Arjaan | 11 | 4 | 2025 | 11543.2074 | 0.2 | 77 | 7.84 | 44.452 | 2.77 | 5118.21 | 0.3449 | 193.991 | 228
Capital Centre Arjaan | 12 | 4 | 2025 | 11224.5204 | 0.2 | 52 | 7.84 | 88.904 | 2.77 | 5402.555 | 0.3449 | 196.9954 | 234
Capital Centre Arjaan | 13 | 4 | 2025 | 11075.555 | 0.2 | 82 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 196.9954 | 234
Capital Centre Arjaan | 14 | 4 | 2025 | 11016.3016 | 0.2 | 117 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 237.9951 | 286
Capital Centre Arjaan | 15 | 4 | 2025 | 11808.6184 | 0.2 | 95 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 255.9956 | 306
Capital Centre Arjaan | 16 | 4 | 2025 | 12096.5474 | 0.2 | 55 | 7.84 | 44.452 | 2.77 | 4265.175 | 0.3449 | 257.0057 | 304
Capital Centre Arjaan | 17 | 4 | 2025 | 12189.4924 | 0.2 | 55 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 254.0013 | 327
Capital Centre Arjaan | 18 | 4 | 2025 | 11756.1298 | 0.2 | 74 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 259 | 351
Capital Centre Arjaan | 19 | 4 | 2025 | 11280.9486 | 0.2 | 66 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 239.0052 | 324
Capital Centre Arjaan | 20 | 4 | 2025 | 11244.2082 | 0.2 | 36 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 229.992 | 287
Capital Centre Arjaan | 21 | 4 | 2025 | 11386.4364 | 0.2 | 61 | 7.84 | 44.452 | 2.77 | 4265.175 | 0.3449 | 211.0073 | 242
Capital Centre Arjaan | 22 | 4 | 2025 | 11041.1668 | 0.2 | 64 | 7.84 | 44.452 | 2.77 | 2843.45 | 0.3449 | 234.9907 | 272
Capital Centre Arjaan | 23 | 4 | 2025 | 11249.8856 | 0.2 | 35 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 245.9982 | 246
Capital Centre Arjaan | 24 | 4 | 2025 | 10936.7626 | 0.2 | 80 | 7.84 | 44.452 | 2.77 | 4265.175 | 0.3449 | 250.0127 | 250
Capital Centre Arjaan | 25 | 4 | 2025 | 11215.1978 | 0.2 | 64 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 254.0013 | 319
Capital Centre Arjaan | 26 | 4 | 2025 | 11387.027 | 0.2 | 64 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 257.0057 | 313
Capital Centre Arjaan | 27 | 4 | 2025 | 11203.1662 | 0.2 | 67 | 7.84 | 88.904 | 2.77 | 4265.175 | 0.3449 | 247.9925 | 289
Capital Centre Arjaan | 28 | 4 | 2025 | 11020.341 | 0.2 | 83 | 7.84 | 44.452 | 2.77 | 3412.14 | 0.3449 | 252.007 | 298
Capital Centre Arjaan | 29 | 4 | 2025 | 10840.8456 | 0.2 | 124 | 7.84 | 88.904 | 2.77 | 3412.14 | 0.3449 | 250.0127 | 301
Capital Centre Arjaan | 30 | 4 | 2025 | 10941.6148 | 0.2 | 64 | 7.84 | 88.904 | 2.77 | 3412.14 | 0.3449 | 249.0026 | 300

## APR 2025
CAPITAL CENTRE ARJAAN UTILITIES CONSUMPTION - April 2025.
DATE | Electricity | [17 empty] | Water | [5 empty] | LP Gas |  |  |  | District Cooling | [8 empty] | Additional Info
| MDB #2 |  | MDB #3 |  |  | MDB #1 MDB-E |  |  | MDB #1 SMDB Kitchen |  | MDB #1 Fire Pump #1 |  |  | MDB #1 Fire Pump #2 |  |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Irrigation water BHP | Water Cons. M3 | Total Water Cons. M3 | Water AED | 1st Floor Kitchen |  | Gas AED | Gas Cylinder purchased (50 litres) | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | Bulk ETS Energy Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl.
| Reading | Cons. | Reading | Cons. | Hotel share 94.38 % | Reading | Cons. | Hotel share 65.36 % | Reading | Cons. | Reading | Cons. | Hotel share 50 % | Reading | Cons. | Hotel share 50 % |  |  |  |  | To be deducted from Hotel Meter. |  |  |  | No of Cylinder | Cons. Ltrs
2025-04-01 | 9930792 | 2422 | 24169280 | 6074 | 5732.6412 | 15655606 | 3398 | 2220.9328 | 3786744 | 1112 | 1665 | 0 | 0 | 973 | 0 | 0 | 11487.574 | 2297.5148 | 85276 | 79 | 37475 | 7 | 72 | 564.48 | 1 | 44.452 | 122.9498 | 4 | 83058 | 12 | 3412.14 | 1176.8471 | 5173.1394 | 6349.9865 | 2748093 | 6226 | 21.8959 | 91.12% | 304
2025-04-02 | 9933217 | 2425 | 24174930 | 5650 | 5332.47 | 15659140 | 3534 | 2309.8224 | 3787887 | 1143 | 1665 | 0 | 0 | 974 | 1 | 0.5 | 11210.7924 | 2242.1585 | 85362 | 86 | 37485 | 10 | 76 | 595.84 | 1 | 44.452 | 122.9498 | 0 | 83070 | 12 | 3412.14 | 1176.8471 | 5173.1394 | 6349.9865 | 2754743 | 6650 | 23.3871 | 92.66% | 307
2025-04-03 | 9935612 | 2395 | 24180047 | 5117 | 4829.4246 | 15662653 | 3513 | 2296.0968 | 3788970 | 1083 | 1665 | 0 | 0 | 974 | 0 | 0 | 10603.5214 | 2120.7043 | 85421 | 59 | 37492 | 7 | 52 | 407.68 | 1 | 44.452 | 122.9498 | 0 | 82869 | 12 | 3412.14 | 1176.8471 | 5173.1394 | 6349.9865 | 2761796 | 7053 | 24.8044 | 94.59% | 317
2025-04-04 | 9938027 | 2415 | 24185364 | 5317 | 5018.1846 | 15666189 | 3536 | 2311.1296 | 3790103 | 1133 | 1665 | 0 | 0 | 974 | 0 | 0 | 10877.3142 | 2175.4628 | 85499 | 78 | 37502 | 10 | 68 | 533.12 | 2 | 88.904 | 245.8997 | 0 | 82882 | 13 | 3696.485 | 1274.9177 | 5173.1394 | 6448.0571 | 2769229 | 7433 | 26.1408 | 83.4% | 270
2025-04-05 | 9940316 | 2289 | 24190470 | 5106 | 4819.0428 | 15669592 | 3403 | 2224.2008 | 3791196 | 1093 | 1693 | 28 | 14 | 987 | 13 | 6.5 | 10445.7436 | 2089.1487 | 85581 | 82 | 37509 | 7 | 75 | 588 | 1 | 44.452 | 122.9498 | 5 | 82901 | 19 | 5402.555 | 1863.3412 | 5173.1394 | 7036.4807 | 2776967 | 7738 | 27.2134 | 87.64% | 278
2025-04-06 | 9942697 | 2381 | 24196359 | 5889 | 5558.0382 | 15673092 | 3500 | 2287.6 | 3792344 | 1148 | 1693 | 0 | 0 | 987 | 0 | 0 | 11374.6382 | 2274.9276 | 85647 | 66 | 37520 | 11 | 55 | 431.2 | 2 | 88.904 | 245.8997 | 0 | 82920 | 19 | 5402.555 | 1863.3412 | 5173.1394 | 7036.4807 | 2784864 | 7897 | 27.7726 | 100% | 310
2025-04-07 | 9944995 | 2298 | 24202662 | 6303 | 5948.7714 | 15676642 | 3550 | 2320.28 | 3793475 | 1131 | 1693 | 0 | 0 | 987 | 0 | 0 | 11698.0514 | 2339.6103 | 85723 | 76 | 37527 | 7 | 69 | 540.96 | 1 | 44.452 | 122.9498 | 0 | 82939 | 19 | 5402.555 | 1863.3412 | 5173.1394 | 7036.4807 | 2792860 | 7996 | 28.1208 | 100% | 308
2025-04-08 | 9947201 | 2206 | 24208799 | 6137 | 5792.1006 | 15680123 | 3481 | 2275.1816 | 3794585 | 1110 | 1693 | 0 | 0 | 987 | 0 | 0 | 11383.2822 | 2276.6564 | 85782 | 59 | 37542 | 15 | 44 | 344.96 | 1 | 44.452 | 122.9498 | 0 | 82957 | 18 | 5118.21 | 1765.2706 | 5173.1394 | 6938.4101 | 2800705 | 7845 | 27.5897 | 100% | 306
2025-04-09 | 9949471 | 2270 | 24215017 | 6218 | 5868.5484 | 15683646 | 3523 | 2302.6328 | 3795702 | 1117 | 1693 | 0 | 0 | 987 | 0 | 0 | 11558.1812 | 2311.6362 | 85854 | 72 | 37549 | 7 | 65 | 509.6 | 1 | 44.452 | 122.9498 | 5 | 82975 | 18 | 5118.21 | 1765.2706 | 5173.1394 | 6938.4101 | 2808326 | 7621 | 26.8019 | 98.46% | 295
2025-04-10 | 9951795 | 2324 | 24221344 | 6327 | 5971.4226 | 15687229 | 3583 | 2341.8488 | 3796814 | 1112 | 1693 | 0 | 0 | 987 | 0 | 0 | 11749.2714 | 2349.8543 | 85914 | 60 | 37556 | 7 | 53 | 415.52 | 1 | 44.452 | 122.9498 | 4 | 82994 | 19 | 5402.555 | 1863.3412 | 5173.1394 | 7036.4807 | 2815752 | 7426 | 26.1162 | 87.26% | 273
2025-04-11 | 9954082 | 2287 | 24227567 | 6223 | 5873.2674 | 15690754 | 3525 | 2303.94 | 3797893 | 1079 | 1693 | 0 | 0 | 987 | 0 | 0 | 11543.2074 | 2308.6415 | 86005 | 91 | 37570 | 14 | 77 | 603.68 | 1 | 44.452 | 122.9498 | 0 | 83012 | 18 | 5118.21 | 1765.2706 | 5173.1394 | 6938.4101 | 2822978 | 7226 | 25.4128 | 74.9% | 228
2025-04-12 | 9956432 | 2350 | 24233385 | 5818 | 5491.0284 | 15694224 | 3470 | 2267.992 | 3798998 | 1105 | 1706 | 13 | 6.5 | 995 | 8 | 4 | 11224.5204 | 2244.9041 | 86064 | 59 | 37577 | 7 | 52 | 407.68 | 2 | 88.904 | 245.8997 | 0 | 83031 | 19 | 5402.555 | 1863.3412 | 5173.1394 | 7036.4807 | 2830242 | 7264 | 25.5464 | 76.06% | 234
2025-04-13 | 9958782 | 2350 | 24239078 | 5693 | 5373.0534 | 15697655 | 3431 | 2242.5016 | 3800108 | 1110 | 1706 | 0 | 0 | 995 | 0 | 0 | 11075.555 | 2215.111 | 86165 | 101 | 37596 | 19 | 82 | 642.88 | 2 | 88.904 | 245.8997 | 6 | 83046 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2838396 | 8154 | 28.6764 | 76.06% | 234
2025-04-14 | 9961178 | 2396 | 24244542 | 5464 | 5156.9232 | 15701274 | 3619 | 2365.3784 | 3801206 | 1098 | 1706 | 0 | 0 | 995 | 0 | 0 | 11016.3016 | 2203.2603 | 86282 | 117 | 37596 | 0 | 117 | 917.28 | 2 | 88.904 | 245.8997 | 4 | 83061 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2847617 | 9221 | 32.4289 | 91.89% | 286
2025-04-15 | 9963629 | 2451 | 24250802 | 6260 | 5908.188 | 15704838 | 3564 | 2329.4304 | 3802326 | 1120 | 1706 | 0 | 0 | 995 | 0 | 0 | 11808.6184 | 2361.7237 | 86391 | 109 | 37610 | 14 | 95 | 744.8 | 2 | 88.904 | 245.8997 | 0 | 83076 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2856813 | 9196 | 32.341 | 98.84% | 306
2025-04-16 | 9966093 | 2464 | 24257309 | 6507 | 6141.3066 | 15708391 | 3553 | 2322.2408 | 3803495 | 1169 | 1706 | 0 | 0 | 995 | 0 | 0 | 12096.5474 | 2419.3095 | 86463 | 72 | 37627 | 17 | 55 | 431.2 | 1 | 44.452 | 122.9498 | 0 | 83091 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2865055 | 8242 | 28.9859 | 99.23% | 304
2025-04-17 | 9968542 | 2449 | 24263907 | 6598 | 6227.1924 | 15712016 | 3625 | 2369.3 | 3804639 | 1144 | 1706 | 0 | 0 | 995 | 0 | 0 | 12189.4924 | 2437.8985 | 86531 | 68 | 37640 | 13 | 55 | 431.2 | 2 | 88.904 | 245.8997 | 5 | 83106 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2872833 | 7778 | 27.3541 | 98.07% | 327
2025-04-18 | 9971029 | 2487 | 24270078 | 6171 | 5824.1898 | 15715541 | 3525 | 2303.94 | 3805780 | 1141 | 1706 | 0 | 0 | 995 | 0 | 0 | 11756.1298 | 2351.226 | 86623 | 92 | 37658 | 18 | 74 | 580.16 | 2 | 88.904 | 245.8997 | 0 | 83121 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2880077 | 7244 | 25.4761 | 100% | 351
2025-04-19 | 9973542 | 2513 | 24275703 | 5625 | 5308.875 | 15718992 | 3451 | 2255.5736 | 3806973 | 1193 | 1719 | 13 | 6.5 | 1003 | 8 | 4 | 11280.9486 | 2256.1897 | 86703 | 80 | 37672 | 14 | 66 | 517.44 | 2 | 88.904 | 245.8997 | 0 | 83136 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2886944 | 6867 | 24.1502 | 92.28% | 324
2025-04-20 | 9975945 | 2403 | 24281498 | 5795 | 5469.321 | 15722419 | 3427 | 2239.8872 | 3808105 | 1132 | 1719 | 0 | 0 | 1003 | 0 | 0 | 11244.2082 | 2248.8416 | 86753 | 50 | 37686 | 14 | 36 | 282.24 | 2 | 88.904 | 245.8997 | 5 | 83151 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2893603 | 6659 | 23.4187 | 88.8% | 287
2025-04-21 | 9978274 | 2329 | 24287492 | 5994 | 5657.1372 | 15725891 | 3472 | 2269.2992 | 3809236 | 1131 | 1719 | 0 | 0 | 1003 | 0 | 0 | 11386.4364 | 2277.2873 | 86827 | 74 | 37699 | 13 | 61 | 478.24 | 1 | 44.452 | 122.9498 | 0 | 83166 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2900936 | 7333 | 25.7891 | 81.47% | 242
2025-04-22 | 9980596 | 2322 | 24293154 | 5662 | 5343.7956 | 15729383 | 3492 | 2282.3712 | 3810329 | 1093 | 1719 | 0 | 0 | 1003 | 0 | 0 | 11041.1668 | 2208.2334 | 86898 | 71 | 37706 | 7 | 64 | 501.76 | 1 | 44.452 | 122.9498 | 0 | 83176 | 10 | 2843.45 | 980.7059 | 5173.1394 | 6153.8453 | 2908856 | 7920 | 27.8535 | 90.73% | 272
2025-04-23 | 9982952 | 2356 | 24298878 | 5724 | 5402.3112 | 15732987 | 3604 | 2355.5744 | 3811465 | 1136 | 1719 | 0 | 0 | 1003 | 0 | 0 | 11249.8856 | 2249.9771 | 86946 | 48 | 37719 | 13 | 35 | 274.4 | 2 | 88.904 | 245.8997 | 0 | 83191 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2917494 | 8638 | 30.3786 | 94.98% | 246
2025-04-24 | 9985304 | 2352 | 24304301 | 5423 | 5118.2274 | 15736594 | 3607 | 2357.5352 | 3812574 | 1109 | 1719 | 0 | 0 | 1003 | 0 | 0 | 10936.7626 | 2187.3525 | 87045 | 99 | 37738 | 19 | 80 | 627.2 | 1 | 44.452 | 122.9498 | 5 | 83206 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2925873 | 8379 | 29.4677 | 96.53% | 250
2025-04-25 | 9987790 | 2486 | 24309860 | 5559 | 5246.5842 | 15740195 | 3601 | 2353.6136 | 3813703 | 1129 | 1719 | 0 | 0 | 1003 | 0 | 0 | 11215.1978 | 2243.0396 | 87112 | 67 | 37741 | 3 | 64 | 501.76 | 2 | 88.904 | 245.8997 | 0 | 83221 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2934581 | 8708 | 30.6248 | 98.07% | 319
2025-04-26 | 9990350 | 2560 | 24315481 | 5621 | 5305.0998 | 15743772 | 3577 | 2337.9272 | 3814876 | 1173 | 1734 | 15 | 7.5 | 1010 | 7 | 3.5 | 11387.027 | 2277.4054 | 87199 | 87 | 37764 | 23 | 64 | 501.76 | 2 | 88.904 | 245.8997 | 0 | 83236 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2943167 | 8586 | 30.1957 | 99.23% | 313
2025-04-27 | 9992865 | 2515 | 24321078 | 5597 | 5282.4486 | 15747263 | 3491 | 2281.7176 | 3816000 | 1124 | 1734 | 0 | 0 | 1010 | 0 | 0 | 11203.1662 | 2240.6332 | 87266 | 67 | 37764 | 0 | 67 | 525.28 | 2 | 88.904 | 245.8997 | 5 | 83251 | 15 | 4265.175 | 1471.0589 | 5173.1394 | 6644.1983 | 2952252 | 9085 | 31.9506 | 95.75% | 289
2025-04-28 | 9995305 | 2440 | 24326841 | 5763 | 5439.1194 | 15750894 | 3631 | 2373.2216 | 3816768 | 768 | 1734 | 0 | 0 | 1010 | 0 | 0 | 11020.341 | 2204.0682 | 87378 | 112 | 37793 | 29 | 83 | 650.72 | 1 | 44.452 | 122.9498 | 0 | 83263 | 12 | 3412.14 | 1176.8471 | 5173.1394 | 6349.9865 | 2961607 | 9355 | 32.9002 | 97.3% | 298
2025-04-29 | 9997659 | 2354 | 24332465 | 5624 | 5307.9312 | 15754523 | 3629 | 2371.9144 | 3817575 | 807 | 1734 | 0 | 0 | 1010 | 0 | 0 | 10840.8456 | 2168.1691 | 87519 | 141 | 37810 | 17 | 124 | 972.16 | 2 | 88.904 | 245.8997 | 0 | 83275 | 12 | 3412.14 | 1176.8471 | 5173.1394 | 6349.9865 | 2971402 | 9795 | 34.4476 | 96.53% | 301
2025-04-30 | 10000097 | 2438 | 24338183 | 5718 | 5396.6484 | 15758097 | 3574 | 2335.9664 | 3818346 | 771 | 1734 | 0 | 0 | 1010 | 0 | 0 | 10941.6148 | 2188.323 | 87596 | 77 | 37823 | 13 | 64 | 501.76 | 2 | 88.904 | 245.8997 | 5 | 83287 | 12 | 3412.14 | 1176.8471 | 5173.1394 | 6349.9865 | 2981178 | 9776 | 34.3808 | 96.14% | 300
|  | 71727 |  |  | 165143.2926 |  |  | 69209.0504 |  | 32714 |  |  | 34.5 |  |  | 18.5 | 338846.343 | 67769.2686 |  | 2399 |  | 355 | 2044 | 16024.96 | 46 | 2044.7927 | 5655.6922 | 53 |  | 454 | 129092.63 | 44524.0481 | 155194.1831 | 199718.2312 |  | 239311 | 841.622 | 92.6% | 8679
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  |  |  |  | AED |  |  |  | KW | [8 empty] | Water |  | AED |  | M3 |  | Gas | AED | Litres |  | District Cooling |  | AED |  | Ton Hour
| Actual April 2025 |  |  |  |  | 67769.2686 |  |  |  | 338846.343 | [8 empty] | Actual April 2025 |  | 16024.96 |  | 2044 |  | Actual April 2025 | 5655.6922 | 4506.1686 |  | Actual April 2025 |  | 199718.2312 |  | 129092.63 | #VALUE! | [5 empty] | 149225.58
| Budget April 2025 |  |  |  |  | 73255.3504 |  |  |  | 366276.7521 | [8 empty] | Budget April 2025 |  | 15955.0642 |  | 2035.0847 |  | Budget April 2025 | 4843.4275 | 3858.9973 |  | Budget April 2025 |  | 204200.257 |  | 142087.7758 | #VALUE! | [5 empty] | 49006.0739 | CHW Consumption Charges (Budget 2025 MTD)
| Actual YTD 2025 |  |  |  |  | 280292.9086 |  |  |  | 1401464.543 | [8 empty] | Actual YTD 2025 |  | 55624.8 |  | 7095 |  | Actual YTD 2025 | 17586.6722 | 14012.1681 |  | Actual YTD 2025 |  | 755427.6512 |  | 1740311.601 | [6 empty] | 600233.4712 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  |  |  |  | 295196.1604 |  |  |  | 1475980.8021 | [8 empty] | Budget YTD 2025 |  | 58693.5742 |  | 7486.4253 |  | Budget YTD 2025 | 18142.7175 | 14455.1968 |  | Budget YTD 2025 |  | 778108.827 |  | 1806073.2009 | #VALUE! | [5 empty] | 622914.647 | CHW Consumption Charges (Budget 2025 YTD)
| Actual April 2024 |  |  |  |  | 68841.94 |  |  |  | 344209.7 | [8 empty] | Actual April 2024 |  | 13829.76 |  | 1764 |  | Actual April 2024 | 2604 | 3038.1519 |  | Actual April 2024 |  | 193444.73 |  | 145145.613 | #VALUE! | [5 empty] | 49959.12 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2024 |  |  |  |  | 289440.84 |  |  |  | 1447204.2 | [8 empty] | Actual YTD 2024 |  | 53335.52 |  | 6803 |  | Actual YTD 2024 | 13419.07 | 15656.3645 |  | Actual YTD 2024 |  | 738900.12 |  | 1713174.1429 | #VALUE! | [5 empty] | 589674.54 | CHW Consumption Charges (Actual 2024 YTD)
[6 empty] | 2025-04-01 |  | 2025-04-30 | 30
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  | YTD Budget |  |  |  |  | YTD Actual |  |  | Savings | Exceeds | [6 empty] | 155194.18 | CHW Fixed Charges YTD 2025
Electricity | 73255.3504 |  | Electricity |  |  | 2441.845 |  | Electricity |  |  | 2258.9756 |  | Electricity |  |  |  |  | 73255.3504 |  | Electricity |  | 67769.2686 | 5486.0818 | Electricity |  | 368451.5108 |  |  | Electricity |  | 348062.1772 | 20389.3336 | -20389.3336 | [6 empty] | 149225.58 | CHW Fixed Charges YTD 2024
Water | 15955.0642 |  | Water |  |  | 531.8355 |  | Water |  |  | 534.1653 |  | Water |  |  |  |  | 15955.0642 |  | Water |  | 16024.96 | -69.8958 | Water |  | 74648.6384 |  |  | Water |  | 71649.76 | 2998.8784 | -2998.8784 | [6 empty] | 143485.61
Gas | 4843.4275 |  | Gas |  |  | 161.4476 |  | Gas |  |  | 188.5231 |  | Gas |  |  |  |  | 4843.4275 |  | Gas |  | 5655.6922 | -812.2647 | Gas |  | 22986.145 |  |  | Gas |  | 23242.3645 | -256.2194 | 256.2194
Chilled Water | 204200.257 |  | Chilled Water |  |  | 6806.6752 |  | Chilled Water |  |  | 6657.2744 |  | Chilled Water |  |  |  |  | 204200.257 |  | Chilled Water |  | 199718.2312 | 4482.0258 | Chilled Water |  | 982309.084 |  |  | Chilled Water |  | 955145.8824 | 27163.2016 | -27163.2016
[18 empty] | 298254.0991 |  |  |  | 289168.152 | 9085.9471 | Total Energy Cost YTD | Total Energy cost | 1448395.3782 |  |  |  |  | 1398100.184 | 50295.1942
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  | YTD Actual Vs Last Year |  |  |  |  | MTD Fcast | YTD Fcast |  | MTD Savings Forecast Vs LY | YTD Savings Forecast Vs LY
Electricity | 68841.94 |  | Electricity |  |  | 2294.7313 |  | Electricity |  |  | 68841.94 |  | Electricity |  |  |  | 67769.2686 |  |  | Electricity |  | 1072.6714 |  | Electricity |  | 9147.9314 |  |  | 70028.2442 | 371659.0042 |  | -1186.3042 | -82218.1642
Water | 13829.76 |  | Water |  |  | 460.992 |  | Water |  |  | 13829.76 |  | Water |  |  |  | 16024.96 |  |  | Water |  | -2195.2 |  | Water |  | -2289.28 |  |  | 16559.1253 | 76958.4853 |  | -2729.3653 | -23622.9653
Gas | 2604 |  | Gas |  |  | 86.8 |  | Gas |  |  | 2604 |  | Gas |  |  |  | 5655.6922 |  |  | Gas |  | -3051.6922 |  | Gas |  | -4167.6022 |  |  | 5844.2153 | 21084.1353 |  | -3240.2153 | -7665.0653
Chilled Water | 193444.73 |  | Chilled Water |  |  | 6448.1577 |  | Chilled Water |  |  | 193444.73 |  | Chilled Water |  |  |  | 199718.2312 |  |  | Chilled Water |  | -6273.5012 |  | Chilled Water |  | -16527.5312 |  |  | 206375.5056 | 927267.5956 |  | -12930.7756 | -188367.4756
| 278720.43 | [9 empty] | 278720.43 | [5 empty] | 289168.152 |  |  |  |  | -10447.722 |  |  |  | -13836.482 |  |  | 298807.0904 | 1396969.2204 |  | -20086.6604 | -301873.6704
-3.748%