## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 4 | 2024 | 14928 | 0.2 | 30.6153 | 17 | 86 | 7.84 | 5686.9 | 0.3442 | 242.0145 | 336
Pearl Rotana Capital Centre | 2 | 4 | 2024 | 14950 | 0.2 | 35.8938 | 17 | 100 | 7.84 | 5402.555 | 0.3442 | 252 | 360
Pearl Rotana Capital Centre | 3 | 4 | 2024 | 14962 | 0.2 | 33.7824 | 17 | 99 | 7.84 | 5686.9 | 0.3442 | 235.998 | 333
Pearl Rotana Capital Centre | 4 | 4 | 2024 | 14882 | 0.2 | 33.7824 | 17 | 88 | 7.84 | 5971.245 | 0.3442 | 194.0085 | 293
Pearl Rotana Capital Centre | 5 | 4 | 2024 | 14448 | 0.2 | 35.8938 | 17 | 106 | 7.84 | 5971.245 | 0.3442 | 189 | 320
Pearl Rotana Capital Centre | 6 | 4 | 2024 | 14678 | 0.2 | 34.8381 | 17 | 81 | 7.84 | 5686.9 | 0.3442 | 147.0105 | 241
Pearl Rotana Capital Centre | 7 | 4 | 2024 | 14593 | 0.2 | 30.6153 | 17 | 82 | 7.84 | 5686.9 | 0.3442 | 162.0045 | 281
Pearl Rotana Capital Centre | 8 | 4 | 2024 | 14282 | 0.2 | 31.671 | 17 | 52 | 7.84 | 5686.9 | 0.3442 | 164.997 | 298
Pearl Rotana Capital Centre | 9 | 4 | 2024 | 14857 | 0.2 | 29.5596 | 17 | 75 | 7.84 | 6255.59 | 0.3442 | 176.9985 | 323
Pearl Rotana Capital Centre | 10 | 4 | 2024 | 14513 | 0.2 | 29.5596 | 17 | 93 | 7.84 | 6824.28 | 0.3442 | 210.0105 | 372
Pearl Rotana Capital Centre | 11 | 4 | 2024 | 14921 | 0.2 | 30.6153 | 17 | 102 | 7.84 | 7108.625 | 0.3442 | 273.987 | 480
Pearl Rotana Capital Centre | 12 | 4 | 2024 | 15025 | 0.2 | 32.7267 | 17 | 113 | 7.84 | 7392.97 | 0.3442 | 230.9895 | 403
Pearl Rotana Capital Centre | 13 | 4 | 2024 | 14392 | 0.2 | 33.7824 | 17 | 102 | 7.84 | 6255.59 | 0.3442 | 135.9855 | 217
Pearl Rotana Capital Centre | 14 | 4 | 2024 | 14237 | 0.2 | 26.3925 | 17 | 76 | 7.84 | 6255.59 | 0.3442 | 155.0115 | 208
Pearl Rotana Capital Centre | 15 | 4 | 2024 | 14516 | 0.2 | 33.7824 | 17 | 87 | 7.84 | 6539.935 | 0.3442 | 315 | 363
Pearl Rotana Capital Centre | 16 | 4 | 2024 | 14941 | 0.2 | 35.8938 | 17 | 97 | 7.84 | 6539.935 | 0.3442 | 306.999 | 346
Pearl Rotana Capital Centre | 17 | 4 | 2024 | 14755 | 0.2 | 35.8938 | 17 | 101 | 7.84 | 5971.245 | 0.3442 | 297.99 | 330
Pearl Rotana Capital Centre | 18 | 4 | 2024 | 14833 | 0.2 | 32.7267 | 17 | 96 | 7.84 | 5971.245 | 0.3442 | 243.999 | 296
Pearl Rotana Capital Centre | 19 | 4 | 2024 | 14470 | 0.2 | 30.6153 | 17 | 89 | 7.84 | 6539.935 | 0.3442 | 186.0075 | 256
Pearl Rotana Capital Centre | 20 | 4 | 2024 | 14441 | 0.2 | 34.8381 | 17 | 84 | 7.84 | 7108.625 | 0.3442 | 186.0075 | 268
Pearl Rotana Capital Centre | 21 | 4 | 2024 | 14878 | 0.2 | 30.6153 | 17 | 99 | 7.84 | 6539.935 | 0.3442 | 237.006 | 321
Pearl Rotana Capital Centre | 22 | 4 | 2024 | 14955 | 0.2 | 34.8381 | 17 | 108 | 7.84 | 7108.625 | 0.3442 | 309.9915 | 427
Pearl Rotana Capital Centre | 23 | 4 | 2024 | 15225 | 0.2 | 32.7267 | 17 | 97 | 7.84 | 7677.315 | 0.3442 | 302.9985 | 410
Pearl Rotana Capital Centre | 24 | 4 | 2024 | 15326 | 0.2 | 28.5039 | 17 | 111 | 7.84 | 7108.625 | 0.3442 | 312.0075 | 429
Pearl Rotana Capital Centre | 25 | 4 | 2024 | 15249 | 0.2 | 32.7267 | 17 | 111 | 7.84 | 7108.625 | 0.3442 | 309.9915 | 457
Pearl Rotana Capital Centre | 26 | 4 | 2024 | 15149 | 0.2 | 34.8381 | 17 | 106 | 7.84 | 7392.97 | 0.3442 | 274.995 | 421
Pearl Rotana Capital Centre | 27 | 4 | 2024 | 14987 | 0.2 | 34.8381 | 17 | 116 | 7.84 | 7677.315 | 0.3442 | 298.998 | 445
Pearl Rotana Capital Centre | 28 | 4 | 2024 | 14911 | 0.2 | 33.7824 | 17 | 103 | 7.84 | 7961.66 | 0.3442 | 225.0045 | 270
Pearl Rotana Capital Centre | 29 | 4 | 2024 | 14840 | 0.2 | 33.7824 | 17 | 91 | 7.84 | 7677.315 | 0.3442 | 308.9835 | 344
Pearl Rotana Capital Centre | 30 | 4 | 2024 | 15139 | 0.2 | 34.8381 | 17 | 105 | 7.84 | 8814.695 | 0.3442 | 315 | 355

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 4 | 2025 | 7825 | 6969 | 134 | 86 | 17 | 13 | 5686.9 | 6479 | 9 | 242.0145 | 336
Pearl Rotana Capital Centre | 2 | 4 | 2025 | 7905 | 6910 | 135 | 100 | 18 | 18 | 5402.555 | 6538 | 9 | 252 | 360
Pearl Rotana Capital Centre | 3 | 4 | 2025 | 7884 | 6944 | 134 | 99 | 17 | 16 | 5686.9 | 6789 | 10 | 235.998 | 333
Pearl Rotana Capital Centre | 4 | 4 | 2025 | 7822 | 6924 | 136 | 88 | 17 | 15 | 5971.245 | 6964 | 9 | 194.0085 | 293
Pearl Rotana Capital Centre | 5 | 4 | 2025 | 7517 | 6795 | 136 | 106 | 19 | 16 | 5971.245 | 6613 | 9 | 189 | 320
Pearl Rotana Capital Centre | 6 | 4 | 2025 | 7644 | 6897 | 137 | 81 | 18 | 15 | 5686.9 | 6620 | 8 | 147.0105 | 241
Pearl Rotana Capital Centre | 7 | 4 | 2025 | 7647 | 6809 | 137 | 82 | 16 | 15 | 5686.9 | 6551 | 9 | 162.0045 | 281
Pearl Rotana Capital Centre | 8 | 4 | 2025 | 7514 | 6632 | 136 | 52 | 18 | 13 | 5686.9 | 6842 | 8 | 164.997 | 298
Pearl Rotana Capital Centre | 9 | 4 | 2025 | 7880 | 6841 | 136 | 75 | 16 | 13 | 6255.59 | 7118 | 10 | 176.9985 | 323
Pearl Rotana Capital Centre | 10 | 4 | 2025 | 7653 | 6722 | 138 | 93 | 17 | 12 | 6824.28 | 7431 | 8 | 210.0105 | 372
Pearl Rotana Capital Centre | 11 | 4 | 2025 | 7943 | 6869 | 109 | 102 | 17 | 11 | 7108.625 | 8322 | 7 | 273.987 | 480
Pearl Rotana Capital Centre | 12 | 4 | 2025 | 7962 | 6927 | 136 | 113 | 18 | 14 | 7392.97 | 8448 | 9 | 230.9895 | 403
Pearl Rotana Capital Centre | 13 | 4 | 2025 | 7581 | 6700 | 111 | 102 | 19 | 12 | 6255.59 | 7369 | 9 | 135.9855 | 217
Pearl Rotana Capital Centre | 14 | 4 | 2025 | 7630 | 6451 | 156 | 76 | 16 | 12 | 6255.59 | 7040 | 7 | 155.0115 | 208
Pearl Rotana Capital Centre | 15 | 4 | 2025 | 7651 | 6653 | 212 | 87 | 19 | 13 | 6539.935 | 7824 | 10 | 315 | 363
Pearl Rotana Capital Centre | 16 | 4 | 2025 | 7930 | 6959 | 52 | 97 | 20 | 16 | 6539.935 | 7675 | 9 | 306.999 | 346
Pearl Rotana Capital Centre | 17 | 4 | 2025 | 7701 | 6947 | 107 | 101 | 19 | 16 | 5971.245 | 7147 | 10 | 297.99 | 330
Pearl Rotana Capital Centre | 18 | 4 | 2025 | 7726 | 6972 | 135 | 96 | 18 | 14 | 5971.245 | 7344 | 10 | 243.999 | 296
Pearl Rotana Capital Centre | 19 | 4 | 2025 | 7618 | 6721 | 131 | 89 | 18 | 12 | 6539.935 | 7852 | 7 | 186.0075 | 256
Pearl Rotana Capital Centre | 20 | 4 | 2025 | 7665 | 6645 | 131 | 84 | 18 | 15 | 7108.625 | 7596 | 9 | 186.0075 | 268
Pearl Rotana Capital Centre | 21 | 4 | 2025 | 8059 | 6686 | 133 | 99 | 18 | 11 | 6539.935 | 8132 | 9 | 237.006 | 321
Pearl Rotana Capital Centre | 22 | 4 | 2025 | 8154 | 6666 | 135 | 108 | 19 | 17 | 7108.625 | 8737 | 9 | 309.9915 | 427
Pearl Rotana Capital Centre | 23 | 4 | 2025 | 8137 | 6952 | 136 | 97 | 17 | 13 | 7677.315 | 9128 | 11 | 302.9985 | 410
Pearl Rotana Capital Centre | 24 | 4 | 2025 | 8200 | 7002 | 124 | 111 | 18 | 11 | 7108.625 | 8687 | 9 | 312.0075 | 429
Pearl Rotana Capital Centre | 25 | 4 | 2025 | 8175 | 6950 | 124 | 111 | 17 | 14 | 7108.625 | 8695 | 9 | 309.9915 | 457
Pearl Rotana Capital Centre | 26 | 4 | 2025 | 8148 | 6880 | 121 | 106 | 19 | 14 | 7392.97 | 8659 | 11 | 274.995 | 421
Pearl Rotana Capital Centre | 27 | 4 | 2025 | 8100 | 6769 | 118 | 116 | 19 | 14 | 7677.315 | 8781 | 14 | 298.998 | 445
Pearl Rotana Capital Centre | 28 | 4 | 2025 | 8064 | 6726 | 121 | 103 | 18 | 15 | 7961.66 | 9190 | 9 | 225.0045 | 270
Pearl Rotana Capital Centre | 29 | 4 | 2025 | 8034 | 6686 | 120 | 91 | 18 | 14 | 7677.315 | 9658 | 10 | 308.9835 | 344
Pearl Rotana Capital Centre | 30 | 4 | 2025 | 8103 | 6915 | 121 | 105 | 20 | 14 | 8814.695 | 10444 | 12 | 315 | 355

## Apr 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - APRIL 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-04-01 | 18913332 | 7825 | 19846902 | 6969 | 451713 | 134 | 14928 | 2985.6 | 78237 | 86 | 674.24 | 35334 | 17 | 20207 | 13 | 30 | 51673 | 29 | 30.6153 | 554.9651 | 67153 | 20 | 5686.9 | 1957.431 | 4384.9184 | 6342.3494 | 6078457 | 6479 | 76.83% | 336 | 13304033 | 4962 | 992.4 | 6180196 | 2179 | 435.8 | 120357 | 225 | 45 | 6070 | 9 | 70.56 | 2756 | 1 | 7.84 | 110 | 1 | 7.84
2024-04-02 | 18921237 | 7905 | 19853812 | 6910 | 451848 | 135 | 14950 | 2990 | 78337 | 100 | 784 | 35352 | 18 | 20225 | 18 | 36 | 51707 | 34 | 35.8938 | 613.2925 | 67172 | 19 | 5402.555 | 1859.5594 | 4384.9184 | 6244.4778 | 6084995 | 6538 | 80% | 360 | 13308961 | 4928 | 985.6 | 6182373 | 2177 | 435.4 | 120582 | 225 | 45 | 6079 | 9 | 70.56 | 2757 | 1 | 7.84 | 111 | 1 | 7.84
2024-04-03 | 18929121 | 7884 | 19860756 | 6944 | 451982 | 134 | 14962 | 2992.4 | 78436 | 99 | 776.16 | 35369 | 17 | 20241 | 16 | 33 | 51739 | 32 | 33.7824 | 589.9615 | 67192 | 20 | 5686.9 | 1957.431 | 4384.9184 | 6342.3494 | 6091784 | 6789 | 74.92% | 333 | 13313933 | 4972 | 994.4 | 6184539 | 2166 | 433.2 | 120824 | 242 | 48.4 | 6089 | 10 | 78.4 | 2758 | 1 | 7.84 | 112 | 1 | 7.84
2024-04-04 | 18936943 | 7822 | 19867680 | 6924 | 452118 | 136 | 14882 | 2976.4 | 78524 | 88 | 689.92 | 35386 | 17 | 20256 | 15 | 32 | 51771 | 32 | 33.7824 | 589.9615 | 67213 | 21 | 5971.245 | 2055.3025 | 4384.9184 | 6440.2209 | 6098748 | 6964 | 61.59% | 293 | 13318859 | 4926 | 985.2 | 6186663 | 2124 | 424.8 | 121065 | 241 | 48.2 | 6098 | 9 | 70.56 | 2760 | 2 | 15.68 | 113 | 1 | 7.84
2024-04-05 | 18944460 | 7517 | 19874475 | 6795 | 452254 | 136 | 14448 | 2889.6 | 78630 | 106 | 831.04 | 35405 | 19 | 20272 | 16 | 35 | 51805 | 34 | 35.8938 | 613.2925 | 67234 | 21 | 5971.245 | 2055.3025 | 4384.9184 | 6440.2209 | 6105361 | 6613 | 60% | 320 | 13323579 | 4720 | 944 | 6188748 | 2085 | 417 | 121298 | 233 | 46.6 | 6107 | 9 | 70.56 | 2761 | 1 | 7.84 | 114 | 1 | 7.84
2024-04-06 | 18952104 | 7644 | 19881372 | 6897 | 452391 | 137 | 14678 | 2935.6 | 78711 | 81 | 635.04 | 35423 | 18 | 20287 | 15 | 33 | 51838 | 33 | 34.8381 | 601.627 | 67254 | 20 | 5686.9 | 1957.431 | 4384.9184 | 6342.3494 | 6111981 | 6620 | 46.67% | 241 | 13327680 | 4101 | 820.2 | 6190746 | 1998 | 399.6 | 121524 | 226 | 45.2 | 6115 | 8 | 62.72 | 2762 | 1 | 7.84 | 115 | 1 | 7.84
2024-04-07 | 18959751 | 7647 | 19888181 | 6809 | 452528 | 137 | 14593 | 2918.6 | 78793 | 82 | 642.88 | 35439 | 16 | 20302 | 15 | 31 | 51867 | 29 | 30.6153 | 554.9651 | 67274 | 20 | 5686.9 | 1957.431 | 4384.9184 | 6342.3494 | 6118532 | 6551 | 51.43% | 281 | 13331777 | 4097 | 819.4 | 6192750 | 2004 | 400.8 | 121743 | 219 | 43.8 | 6124 | 9 | 70.56 | 2763 | 1 | 7.84 | 115 | 0 | 0
2024-04-08 | 18967265 | 7514 | 19894813 | 6632 | 452664 | 136 | 14282 | 2856.4 | 78845 | 52 | 407.68 | 35457 | 18 | 20315 | 13 | 31 | 51897 | 30 | 31.671 | 566.6306 | 67294 | 20 | 5686.9 | 1957.431 | 4384.9184 | 6342.3494 | 6125374 | 6842 | 52.38% | 298 | 13335771 | 3994 | 798.8 | 6194674 | 1924 | 384.8 | 121969 | 226 | 45.2 | 6132 | 8 | 62.72 | 2765 | 2 | 15.68 | 116 | 1 | 7.84
2024-04-09 | 18975145 | 7880 | 19901654 | 6841 | 452800 | 136 | 14857 | 2971.4 | 78920 | 75 | 588 | 35473 | 16 | 20328 | 13 | 29 | 51925 | 28 | 29.5596 | 543.2996 | 67316 | 22 | 6255.59 | 2153.1741 | 4384.9184 | 6538.0925 | 6132492 | 7118 | 56.19% | 323 | 13339881 | 4110 | 822 | 6196661 | 1987 | 397.4 | 122213 | 244 | 48.8 | 6142 | 10 | 78.4 | 2766 | 1 | 7.84 | 117 | 1 | 7.84
2024-04-10 | 18982798 | 7653 | 19908376 | 6722 | 452938 | 138 | 14513 | 2902.6 | 79013 | 93 | 729.12 | 35490 | 17 | 20340 | 12 | 29 | 51953 | 28 | 29.5596 | 543.2996 | 67340 | 24 | 6824.28 | 2348.9172 | 4384.9184 | 6733.8356 | 6139923 | 7431 | 66.67% | 372 | 13343827 | 3946 | 789.2 | 6198638 | 1977 | 395.4 | 122486 | 273 | 54.6 | 6150 | 8 | 62.72 | 2766 | 0 | 0 | 118 | 1 | 7.84
2024-04-11 | 18990741 | 7943 | 19915245 | 6869 | 453047 | 109 | 14921 | 2984.2 | 79115 | 102 | 799.68 | 35507 | 17 | 20351 | 11 | 28 | 51982 | 29 | 30.6153 | 554.9651 | 67365 | 25 | 7108.625 | 2446.7887 | 4384.9184 | 6831.7071 | 6148245 | 8322 | 86.98% | 480 | 13347892 | 4065 | 813 | 6200742 | 2104 | 420.8 | 122811 | 325 | 65 | 6157 | 7 | 54.88 | 2768 | 2 | 15.68 | 119 | 1 | 7.84
2024-04-12 | 18998703 | 7962 | 19922172 | 6927 | 453183 | 136 | 15025 | 3005 | 79228 | 113 | 885.92 | 35525 | 18 | 20365 | 14 | 32 | 52013 | 31 | 32.7267 | 578.296 | 67391 | 26 | 7392.97 | 2544.6603 | 4384.9184 | 6929.5787 | 6156693 | 8448 | 73.33% | 403 | 13352072 | 4180 | 836 | 6202839 | 2097 | 419.4 | 123157 | 346 | 69.2 | 6166 | 9 | 70.56 | 2770 | 2 | 15.68 | 120 | 1 | 7.84
2024-04-13 | 19006284 | 7581 | 19928872 | 6700 | 453294 | 111 | 14392 | 2878.4 | 79330 | 102 | 799.68 | 35544 | 19 | 20377 | 12 | 31 | 52045 | 32 | 33.7824 | 589.9615 | 67413 | 22 | 6255.59 | 2153.1741 | 4384.9184 | 6538.0925 | 6164062 | 7369 | 43.17% | 217 | 13356161 | 4089 | 817.8 | 6204852 | 2013 | 402.6 | 123417 | 260 | 52 | 6175 | 9 | 70.56 | 2771 | 1 | 7.84 | 121 | 1 | 7.84
2024-04-14 | 19013914 | 7630 | 19935323 | 6451 | 453450 | 156 | 14237 | 2847.4 | 79406 | 76 | 595.84 | 35560 | 16 | 20389 | 12 | 28 | 52070 | 25 | 26.3925 | 508.3031 | 67435 | 22 | 6255.59 | 2153.1741 | 4384.9184 | 6538.0925 | 6171102 | 7040 | 49.21% | 208 | 13360335 | 4174 | 834.8 | 6206838 | 1986 | 397.2 | 123658 | 241 | 48.2 | 6182 | 7 | 54.88 | 2773 | 2 | 15.68 | 122 | 1 | 7.84
2024-04-15 | 19021565 | 7651 | 19941976 | 6653 | 453662 | 212 | 14516 | 2903.2 | 79493 | 87 | 682.08 | 35579 | 19 | 20402 | 13 | 32 | 52102 | 32 | 33.7824 | 589.9615 | 67458 | 23 | 6539.935 | 2251.0456 | 4384.9184 | 6635.964 | 6178926 | 7824 | 100% | 363 | 13365508 | 5173 | 1034.6 | 6208976 | 2138 | 427.6 | 123929 | 271 | 54.2 | 6192 | 10 | 78.4 | 2774 | 1 | 7.84 | 123 | 1 | 7.84
2024-04-16 | 19029495 | 7930 | 19948935 | 6959 | 453714 | 52 | 14941 | 2988.2 | 79590 | 97 | 760.48 | 35599 | 20 | 20418 | 16 | 36 | 52136 | 34 | 35.8938 | 613.2925 | 67481 | 23 | 6539.935 | 2251.0456 | 4384.9184 | 6635.964 | 6186601 | 7675 | 97.46% | 346 | 13370369 | 4861 | 972.2 | 6211171 | 2195 | 439 | 124205 | 276 | 55.2 | 6201 | 9 | 70.56 | 2775 | 1 | 7.84 | 124 | 1 | 7.84
2024-04-17 | 19037196 | 7701 | 19955882 | 6947 | 453821 | 107 | 14755 | 2951 | 79691 | 101 | 791.84 | 35618 | 19 | 20434 | 16 | 35 | 52170 | 34 | 35.8938 | 613.2925 | 67502 | 21 | 5971.245 | 2055.3025 | 4384.9184 | 6440.2209 | 6193748 | 7147 | 94.6% | 330 | 13375314 | 4945 | 989 | 6213365 | 2194 | 438.8 | 124454 | 249 | 49.8 | 6211 | 10 | 78.4 | 2776 | 1 | 7.84 | 125 | 1 | 7.84
2024-04-18 | 19044922 | 7726 | 19962854 | 6972 | 453956 | 135 | 14833 | 2966.6 | 79787 | 96 | 752.64 | 35636 | 18 | 20448 | 14 | 32 | 52201 | 31 | 32.7267 | 578.296 | 67523 | 21 | 5971.245 | 2055.3025 | 4384.9184 | 6440.2209 | 6201092 | 7344 | 77.46% | 296 | 13380515 | 5201 | 1040.2 | 6215546 | 2181 | 436.2 | 124700 | 246 | 49.2 | 6221 | 10 | 78.4 | 2777 | 1 | 7.84 | 126 | 1 | 7.84
2024-04-19 | 19052540 | 7618 | 19969575 | 6721 | 454087 | 131 | 14470 | 2894 | 79876 | 89 | 697.76 | 35654 | 18 | 20460 | 12 | 30 | 52230 | 29 | 30.6153 | 554.9651 | 67546 | 23 | 6539.935 | 2251.0456 | 4384.9184 | 6635.964 | 6208944 | 7852 | 59.05% | 256 | 13385666 | 5151 | 1030.2 | 6217711 | 2165 | 433 | 124977 | 277 | 55.4 | 6228 | 7 | 54.88 | 2777 | 0 | 0 | 127 | 1 | 7.84
2024-04-20 | 19060205 | 7665 | 19976220 | 6645 | 454218 | 131 | 14441 | 2888.2 | 79960 | 84 | 658.56 | 35672 | 18 | 20475 | 15 | 33 | 52263 | 33 | 34.8381 | 601.627 | 67571 | 25 | 7108.625 | 2446.7887 | 4384.9184 | 6831.7071 | 6216540 | 7596 | 59.05% | 268 | 13389931 | 4265 | 853 | 6219751 | 2040 | 408 | 125257 | 280 | 56 | 6237 | 9 | 70.56 | 2777 | 0 | 0 | 128 | 1 | 7.84
2024-04-21 | 19068264 | 8059 | 19982906 | 6686 | 454351 | 133 | 14878 | 2975.6 | 80059 | 99 | 776.16 | 35690 | 18 | 20486 | 11 | 29 | 52292 | 29 | 30.6153 | 554.9651 | 67594 | 23 | 6539.935 | 2251.0456 | 4384.9184 | 6635.964 | 6224672 | 8132 | 75.24% | 321 | 13394291 | 4360 | 872 | 6221872 | 2121 | 424.2 | 125570 | 313 | 62.6 | 6246 | 9 | 70.56 | 2780 | 3 | 23.52 | 128 | 0 | 0
2024-04-22 | 19076418 | 8154 | 19989572 | 6666 | 454486 | 135 | 14955 | 2991 | 80167 | 108 | 846.72 | 35709 | 19 | 20503 | 17 | 36 | 52325 | 33 | 34.8381 | 601.627 | 67619 | 25 | 7108.625 | 2446.7887 | 4384.9184 | 6831.7071 | 6233409 | 8737 | 98.41% | 427 | 13399566 | 5275 | 1055 | 6224076 | 2204 | 440.8 | 125898 | 328 | 65.6 | 6255 | 9 | 70.56 | 2781 | 1 | 7.84 | 129 | 1 | 7.84
2024-04-23 | 19084555 | 8137 | 19996524 | 6952 | 454622 | 136 | 15225 | 3045 | 80264 | 97 | 760.48 | 35726 | 17 | 20516 | 13 | 30 | 52356 | 31 | 32.7267 | 578.296 | 67646 | 27 | 7677.315 | 2642.5318 | 4384.9184 | 7027.4502 | 6242537 | 9128 | 96.19% | 410 | 13404979 | 5413 | 1082.6 | 6226287 | 2211 | 442.2 | 126263 | 365 | 73 | 6266 | 11 | 86.24 | 2783 | 2 | 15.68 | 130 | 1 | 7.84
2024-04-24 | 19092755 | 8200 | 20003526 | 7002 | 454746 | 124 | 15326 | 3065.2 | 80375 | 111 | 870.24 | 35744 | 18 | 20527 | 11 | 29 | 52383 | 27 | 28.5039 | 531.6341 | 67671 | 25 | 7108.625 | 2446.7887 | 4384.9184 | 6831.7071 | 6251224 | 8687 | 99.05% | 429 | 13410543 | 5564 | 1112.8 | 6228539 | 2252 | 450.4 | 126595 | 332 | 66.4 | 6275 | 9 | 70.56 | 2784 | 1 | 7.84 | 131 | 1 | 7.84
2024-04-25 | 19100930 | 8175 | 20010476 | 6950 | 454870 | 124 | 15249 | 3049.8 | 80486 | 111 | 870.24 | 35761 | 17 | 20541 | 14 | 31 | 52414 | 31 | 32.7267 | 578.296 | 67696 | 25 | 7108.625 | 2446.7887 | 4384.9184 | 6831.7071 | 6259919 | 8695 | 98.41% | 457 | 13416030 | 5487 | 1097.4 | 6230800 | 2261 | 452.2 | 126908 | 313 | 62.6 | 6284 | 9 | 70.56 | 2785 | 1 | 7.84 | 132 | 1 | 7.84
2024-04-26 | 19109078 | 8148 | 20017356 | 6880 | 454991 | 121 | 15149 | 3029.8 | 80592 | 106 | 831.04 | 35780 | 19 | 20555 | 14 | 33 | 52447 | 33 | 34.8381 | 601.627 | 67722 | 26 | 7392.97 | 2544.6603 | 4384.9184 | 6929.5787 | 6268578 | 8659 | 87.3% | 421 | 13421274 | 5244 | 1048.8 | 6233016 | 2216 | 443.2 | 127235 | 327 | 65.4 | 6295 | 11 | 86.24 | 2786 | 1 | 7.84 | 133 | 1 | 7.84
2024-04-27 | 19117178 | 8100 | 20024125 | 6769 | 455109 | 118 | 14987 | 2997.4 | 80708 | 116 | 909.44 | 35799 | 19 | 20569 | 14 | 33 | 52480 | 33 | 34.8381 | 601.627 | 67749 | 27 | 7677.315 | 2642.5318 | 4384.9184 | 7027.4502 | 6277359 | 8781 | 94.92% | 445 | 13425687 | 4413 | 882.6 | 6235147 | 2131 | 426.2 | 127563 | 328 | 65.6 | 6309 | 14 | 109.76 | 2787 | 1 | 7.84 | 134 | 1 | 7.84
2024-04-28 | 19125242 | 8064 | 20030851 | 6726 | 455230 | 121 | 14911 | 2982.2 | 80811 | 103 | 807.52 | 35817 | 18 | 20584 | 15 | 33 | 52512 | 32 | 33.7824 | 589.9615 | 67777 | 28 | 7961.66 | 2740.4034 | 4384.9184 | 7125.3218 | 6286549 | 9190 | 71.43% | 270 | 13430220 | 4533 | 906.6 | 6237281 | 2134 | 426.8 | 127927 | 364 | 72.8 | 6318 | 9 | 70.56 | 2788 | 1 | 7.84 | 135 | 1 | 7.84
2024-04-29 | 19133276 | 8034 | 20037537 | 6686 | 455350 | 120 | 14840 | 2968 | 80902 | 91 | 713.44 | 35835 | 18 | 20598 | 14 | 32 | 52544 | 32 | 33.7824 | 589.9615 | 67804 | 27 | 7677.315 | 2642.5318 | 4384.9184 | 7027.4502 | 6296207 | 9658 | 98.09% | 344 | 13435736 | 5516 | 1103.2 | 6239508 | 2227 | 445.4 | 128274 | 347 | 69.4 | 6328 | 10 | 78.4 | 2790 | 2 | 15.68 | 136 | 1 | 7.84
2024-04-30 | 19141379 | 8103 | 20044452 | 6915 | 455471 | 121 | 15139 | 3027.8 | 81007 | 105 | 823.2 | 35855 | 20 | 20612 | 14 | 34 | 52577 | 33 | 34.8381 | 601.627 | 67835 | 31 | 8814.695 | 3034.018 | 4384.9184 | 7418.9364 | 6306651 | 10444 | 100% | 355 | 13441394 | 5658 | 1131.6 | 6241763 | 2255 | 451 | 128704 | 430 | 86 | 6340 | 12 | 94.08 | 2791 | 1 | 7.84 | 137 | 1 | 7.84
|  | 235872 |  | 204519 |  | 3892 | 444283 | 88856.6 |  | 2856 | 22391.04 |  | 538 |  | 418 | 956 |  | 933 | 984.9681 | 17383.8775 |  | 702 | 199610.19 | 68705.8274 | 131547.5525 | 200253.3799 |  | 234673 | 76.2% | 10203 |  | 142323 | 28464.6 |  | 63746 | 12749.2 |  | 8572 | 1714.4 |  | 279 | 2187.36 |  | 36 | 282.24 |  | 28 | 219.52
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 526190.2 | CHW Fixed Charges YTD 2024
| Actual April 2024 |  | 88856.6 |  |  | 444283 |  |  | Actual April 2024 |  | 22391.04 | 2856 |  | Actual April 2024 |  |  | 17383.8775 |  | 984.9681 |  | Actual April 2024 |  | 200253.3799 |  | 199610.19 |  |  |  | 234673 | 35062.81 |  | 505953.68 | CHW Fixed Charges YTD 2023
| Budget April 2024 |  | 96390 |  |  | 481950 |  |  | Budget April 2024 |  | 27770.25 | 3542.1237 |  | Budget April 2024 |  |  | 18465.23 |  | 1082.8262 |  | Budget April 2024 |  | 190126.08 |  | 170187.4782 | [6 empty] | 58578.53 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual April 2023 |  | 88634.8 |  |  | 443174 |  |  | Actual April 2023 |  | 21834.4 | 2785 |  | Actual April 2023 |  |  | 16226.35 |  | 880.2127 |  | Actual April 2023 |  | 182094.27 |  | 161880.2038 | [6 empty] | 55605.85 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 350300.8 |  |  | 1751504 |  |  | Actual YTD 2024 |  | 95365.76 | 12164 |  | Actual YTD 2024 |  |  | 70487.4375 |  | 4026.0124 |  | Actual YTD 2024 |  | 752199.4899 |  | 656621.9927 | [6 empty] | 226009.2899 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 383008.5 |  |  | 1915042.5 |  |  | Budget YTD 2024 |  | 100782.07 | 12854.8559 |  | Budget YTD 2024 |  |  | 73511.79 |  | 4299.7095 |  | Budget YTD 2024 |  | 748711.35 |  | 646487.9431 | [6 empty] | 222521.15 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 369445.4 |  |  | 1847227 |  |  | Actual YTD 2023 |  | 84875.84 | 10826 |  | Actual YTD 2023 |  |  | 64267.32 |  | 3463.1059 |  | Actual YTD 2023 |  | 712572.77 |  | 601511.179 | [6 empty] | 206619.09 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-04-01 | 2025-05-21 | 30
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 96390 |  | Electricity |  |  | 3213 |  | Electricity |  |  | 2961.8867 |  | Electricity |  |  |  | 96390 |  |  | Electricity |  | 88856.6 |  | 7533.4 | Electricity |  | 383008.5 |  | Electricity |  | 350300.8 | 32707.7 | -32707.7
Water | 27770.25 |  | Water |  |  | 925.675 |  | Water |  |  | 746.368 |  | Water |  |  |  | 27770.25 |  |  | Water |  | 22391.04 |  | 5379.21 | Water |  | 100782.07 |  | Water |  | 95365.76 | 5416.31 | -5416.31
Gas | 18465.23 |  | Gas |  |  | 615.5077 |  | Gas |  |  | 579.4626 |  | Gas |  |  |  | 18465.23 |  |  | Gas |  | 17383.8775 |  | 1081.3525 | Gas |  | 73511.79 |  | Gas |  | 70487.4375 | 3024.3525 | -3024.3525
Chilled Water | 190126.08 |  | Chilled Water |  |  | 6337.536 |  | Chilled Water |  |  | 6675.1127 |  | Chilled Water |  |  |  | 190126.08 |  |  | Chilled Water |  | 200253.3799 |  | -10127.2999 | Chilled Water |  | 748711.35 |  | Chilled Water |  | 752199.4899 | -3488.1399 | 3488.1399
| 332751.56 | [15 empty] | 332751.56 |  |  |  |  | 328884.8974 |  | 3866.6626 |  | Total Energy cost | 1306013.71 |  |  |  | 1268353.4874 | 37660.2226
| 3866.6626 | [21 empty] | 1.162% | [7 empty] | 2.884%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 88634.8 |  | Electricity |  |  | 2954.4933 |  | Electricity |  |  | 88634.8 |  | Electricity |  |  |  | 88856.6 |  |  | Electricity |  | -221.8 |  |  | 88856.6 | 350300.8 |  |  | -221.8 | 19144.6
Water | 21834.4 |  | Water |  |  | 727.8133 |  | Water |  |  | 21834.4 |  | Water |  |  |  | 22391.04 |  |  | Water |  | -556.64 |  |  | 22391.04 | 95365.76 |  |  | -556.64 | -10489.92
Gas | 16226.35 |  | Gas |  |  | 540.8783 |  | Gas |  |  | 16226.35 |  | Gas |  |  |  | 17383.8775 |  |  | Gas |  | -1157.5275 |  |  | 17383.8775 | 70487.4375 |  |  | -1157.5275 | -6220.1175
Chilled Water | 182094.27 |  | Chilled Water |  |  | 6069.809 |  | Chilled Water |  |  | 182094.27 |  | Chilled Water |  |  |  | 200253.3799 |  |  | Chilled Water |  | -18159.1099 |  |  | 200253.3799 | 752199.4899 |  |  | -18159.1099 | -150688.3109
| 308789.82 | [9 empty] | 308789.82 | [5 empty] | 328884.8974 |  |  |  |  | -20095.0774 |  |  | 328884.8974 | 1268353.4874 |  |  | -20095.0774 | -148253.7484
| -20095.0774 | [21 empty] | -6.508%