## May 2025
CAPITAL CENTRE ARJAAN UTILITIES CONSUMPTION - April 2025.
DATE | Electricity | [17 empty] | Water | [5 empty] | LP Gas |  |  |  | District Cooling | [8 empty] | Additional Info
| MDB #2 |  | MDB #3 |  |  | MDB #1 MDB-E |  |  | MDB #1 SMDB Kitchen |  | MDB #1 Fire Pump #1 |  |  | MDB #1 Fire Pump #2 |  |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Irrigation water BHP | Water Cons. M3 | Total Water Cons. M3 | Water AED | 1st Floor Kitchen |  | Gas AED | Gas Cylinder purchased (50 litres) | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | Bulk ETS Energy Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl.
| Reading | Cons. | Reading | Cons. | Hotel share 94.38 % | Reading | Cons. | Hotel share 65.36 % | Reading | Cons. | Reading | Cons. | Hotel share 50 % | Reading | Cons. | Hotel share 50 % |  |  |  |  | To be deducted from Hotel Meter. |  |  |  | No of Cylinder | Cons. Ltrs
2025-05-01 | 10002567 | 2470 | 24343877 | 5694 | 5373.9972 | 15761758 | 3661 | 2392.8296 | 3819110 | 764 | 1734 | 0 | 0 | 1010 | 0 | 0 | 11000.8268 | 2200.1654 | 87679 | 83 | 37836 | 13 | 70 | 548.8 | 1 | 44.452 | 122.9498 | 0 | 83299 | 23.0859 | 6564.36 | 2264.0478 | 5006.264 | 7270.3117 | 2991124 | 9946 | 34.9786 | 99.23% | 316
2025-05-02 | 10005062 | 2495 | 24349679 | 5802 | 5475.9276 | 15765347 | 3589 | 2345.7704 | 3819908 | 798 | 1734 | 0 | 0 | 1010 | 0 | 0 | 11114.698 | 2222.9396 | 87749 | 70 | 37853 | 17 | 53 | 415.52 | 1 | 44.452 | 122.9498 | 0 | 83311 | 22.9095 | 6514.2 | 2246.7476 | 5006.264 | 7253.0116 | 3000994 | 9870 | 34.7114 | 97.68% | 316
2025-05-03 | 10007561 | 2499 | 24355168 | 5489 | 5180.5182 | 15768851 | 3504 | 2290.2144 | 3820752 | 844 | 1749 | 15 | 7.5 | 1018 | 8 | 4 | 10825.2326 | 2165.0465 | 87838 | 89 | 37866 | 13 | 76 | 595.84 | 1 | 44.452 | 122.9498 | 5 | 83323 | 21.3288 | 6064.74 | 2091.7288 | 5006.264 | 7097.9928 | 3010183 | 9189 | 32.3164 | 96.14% | 303
2025-05-04 | 10010080 | 2519 | 24360957 | 5789 | 5463.6582 | 15772436 | 3585 | 2343.156 | 3821591 | 839 | 1749 | 0 | 0 | 1018 | 0 | 0 | 11164.8142 | 2232.9628 | 87924 | 86 | 37882 | 16 | 70 | 548.8 | 1 | 44.452 | 122.9498 | 0 | 83335 | 22.1876 | 6308.94 | 2175.9534 | 5006.264 | 7182.2174 | 3019742 | 9559 | 33.6176 | 97.68% | 288
2025-05-05 | 10012453 | 2373 | 24366655 | 5698 | 5377.7724 | 15776065 | 3629 | 2371.9144 | 3822432 | 841 | 1749 | 0 | 0 | 1018 | 0 | 0 | 10963.6868 | 2192.7374 | 87989 | 65 | 37894 | 12 | 53 | 415.52 | 1 | 44.452 | 122.9498 | 0 | 83347 | 23.0813 | 6563.04 | 2263.5925 | 5006.264 | 7269.8565 | 3029686 | 9944 | 34.9716 | 97.68% | 292
2025-05-06 | 10014789 | 2336 | 24372190 | 5535 | 5223.933 | 15779695 | 3630 | 2372.568 | 3823279 | 847 | 1749 | 0 | 0 | 1018 | 0 | 0 | 10779.501 | 2155.9002 | 88068 | 79 | 37916 | 22 | 57 | 446.88 | 1 | 44.452 | 122.9498 | 0 | 83359 | 24.7409 | 7034.94 | 2426.3508 | 5006.264 | 7432.6148 | 3040345 | 10659 | 37.4862 | 98.07% | 296
2025-05-07 | 10017152 | 2363 | 24378110 | 5920 | 5587.296 | 15783305 | 3610 | 2359.496 | 3824097 | 818 | 1749 | 0 | 0 | 1018 | 0 | 0 | 11127.792 | 2225.5584 | 88121 | 53 | 37929 | 13 | 40 | 313.6 | 1 | 44.452 | 122.9498 | 5 | 83371 | 20.5768 | 5850.9 | 2017.9754 | 5006.264 | 7024.2394 | 3049210 | 8865 | 31.1769 | 96.14% | 296
2025-05-08 | 10019454 | 2302 | 24384391 | 6281 | 5928.0078 | 15786684 | 3379 | 2208.5144 | 3824983 | 886 | 1749 | 0 | 0 | 1018 | 0 | 0 | 11324.5222 | 2264.9044 | 88194 | 73 | 37942 | 13 | 60 | 470.4 | 1 | 44.452 | 122.9498 | 0 | 83383 | 19.4905 | 5542.02 | 1911.4427 | 5006.264 | 6917.7067 | 3057607 | 8397 | 29.531 | 83.78% | 259
2025-05-09 | 10021738 | 2284 | 24390759 | 6368 | 6010.1184 | 15789707 | 3023 | 1975.8328 | 3825827 | 844 | 1749 | 0 | 0 | 1018 | 0 | 0 | 11113.9512 | 2222.7902 | 88267 | 73 | 37963 | 21 | 52 | 407.68 | 1 | 44.452 | 122.9498 | 0 | 83395 | 20.1056 | 5716.92 | 1971.7657 | 5006.264 | 6978.0297 | 3066269 | 8662 | 30.463 | 81% | 254
2025-05-10 | 10024121 | 2383 | 24396717 | 5958 | 5623.1604 | 15792599 | 2892 | 1890.2112 | 3826696 | 869 | 1762 | 13 | 6.5 | 1028 | 10 | 5 | 10776.8716 | 2155.3743 | 88339 | 72 | 37976 | 13 | 59 | 462.56 | 2 | 88.904 | 245.8997 | 0 | 83407 | 20.7114 | 5889.18 | 2031.1782 | 5006.264 | 7037.4422 | 3075192 | 8923 | 31.3809 | 81% | 212
2025-05-11 | 10026533 | 2412 | 24402674 | 5957 | 5622.2166 | 15795473 | 2874 | 1878.4464 | 3827549 | 853 | 1762 | 0 | 0 | 1028 | 0 | 0 | 10765.663 | 2153.1326 | 88408 | 69 | 37990 | 14 | 55 | 431.2 | 1 | 44.452 | 122.9498 | 0 | 83419 | 22.1876 | 6308.94 | 2175.9534 | 5006.264 | 7182.2174 | 3084751 | 9559 | 33.6176 | 80.69% | 238
2025-05-12 | 10028897 | 2364 | 24408717 | 6043 | 5703.3834 | 15798211 | 2738 | 1789.5568 | 3828375 | 826 | 1762 | 0 | 0 | 1028 | 0 | 0 | 10682.9402 | 2136.588 | 88476 | 68 | 38003 | 13 | 55 | 431.2 | 1 | 44.452 | 122.9498 | 5 | 83431 | 21.4774 | 6106.98 | 2106.2974 | 5006.264 | 7112.5614 | 3094004 | 9253 | 32.5415 | 89% | 233
2025-05-13 | 10031163 | 2266 | 24414365 | 5648 | 5330.5824 | 15800906 | 2695 | 1761.452 | 3829147 | 772 | 1762 | 0 | 0 | 1028 | 0 | 0 | 10130.0344 | 2026.0069 | 88518 | 42 | 38018 | 15 | 27 | 211.68 | 1 | 44.452 | 122.9498 | 0 | 83443 | 20.5768 | 5850.9 | 2017.9754 | 5006.264 | 7024.2394 | 3102869 | 8865 | 31.1769 | 94.59% | 273
2025-05-14 | 10033565 | 2402 | 24419916 | 5551 | 5239.0338 | 15803747 | 2841 | 1856.8776 | 3830009 | 862 | 1762 | 0 | 0 | 1028 | 0 | 0 | 10359.9114 | 2071.9823 | 88613 | 95 | 38030 | 12 | 83 | 650.72 | 1 | 44.452 | 122.9498 | 0 | 83455 | 21.6816 | 6165.06 | 2126.3292 | 5006.264 | 7132.5932 | 3112210 | 9341 | 32.8509 | 93.44% | 272
2025-05-15 | 10035974 | 2409 | 24425641 | 5725 | 5403.255 | 15806512 | 2765 | 1807.204 | 3830892 | 883 | 1762 | 0 | 0 | 1028 | 0 | 0 | 10502.459 | 2100.4918 | 88663 | 50 | 38043 | 13 | 37 | 290.08 | 1 | 44.452 | 122.9498 | 4 | 83467 | 22.2132 | 6316.2 | 2178.4574 | 5006.264 | 7184.7214 | 3121780 | 9570 | 33.6563 | 99.23% | 292
2025-05-16 | 10038406 | 2432 | 24431424 | 5783 | 5457.9954 | 15809440 | 2928 | 1913.7408 | 3831733 | 841 | 1762 | 0 | 0 | 1028 | 0 | 0 | 10644.7362 | 2128.9472 | 88781 | 118 | 38056 | 13 | 105 | 823.2 | 1 | 44.452 | 122.9498 | 0 | 83479 | 21.988 | 6252.18 | 2156.3769 | 5006.264 | 7162.6409 | 3131253 | 9473 | 33.3152 | 93% | 269
2025-05-17 | 10040887 | 2481 | 24436951 | 5527 | 5216.3826 | 15812326 | 2886 | 1886.2896 | 3832580 | 847 | 1784 | 22 | 11 | 1042 | 14 | 7 | 10448.6722 | 2089.7344 | 88858 | 77 | 38070 | 14 | 63 | 493.92 | 1 | 44.452 | 122.9498 | 0 | 83491 | 21.7861 | 6194.76 | 2136.5727 | 5006.264 | 7142.8367 | 3140639 | 9386 | 33.0092 | 91% | 263
2025-05-18 | 10043388 | 2501 | 24442885 | 5934 | 5600.5092 | 15815256 | 2930 | 1915.048 | 3833437 | 857 | 1784 | 0 | 0 | 1042 | 0 | 0 | 10873.5572 | 2174.7114 | 88927 | 69 | 38085 | 15 | 54 | 423.36 | 1 | 44.452 | 122.9498 | 5 | 83503 | 21.41 | 6087.84 | 2099.696 | 5006.264 | 7105.96 | 3149863 | 9224 | 32.4395 | 98.46% | 287
2025-05-19 | 10045873 | 2485 | 24448638 | 5753 | 5429.6814 | 15818292 | 3036 | 1984.3296 | 3834346 | 909 | 1784 | 0 | 0 | 1042 | 0 | 0 | 10808.011 | 2161.6022 | 89005 | 78 | 38098 | 13 | 65 | 509.6 | 1 | 44.452 | 122.9498 | 0 | 83515 | 23.6012 | 6710.88 | 2314.5825 | 5006.264 | 7320.8465 | 3160031 | 10168 | 35.7594 | 99% | 294
2025-05-20 | 10048330 | 2457 | 24454161 | 5523 | 5212.6074 | 15821359 | 3067 | 2004.5912 | 3835218 | 872 | 1784 | 0 | 0 | 1042 | 0 | 0 | 10546.1986 | 2109.2397 | 89068 | 63 | 38116 | 18 | 45 | 352.8 | 1 | 44.452 | 122.9498 | 0 | 83527 | 24.1606 | 6869.94 | 2369.4423 | 5006.264 | 7375.7063 | 3170440 | 10409 | 36.6069 | 98.07% | 290
2025-05-21 | 10050709 | 2379 | 24459441 | 5280 | 4983.264 | 15824348 | 2989 | 1953.6104 | 3836040 | 822 | 1784 | 0 | 0 | 1042 | 0 | 0 | 10137.8744 | 2027.5749 | 89155 | 87 | 38129 | 13 | 74 | 580.16 | 1 | 44.452 | 122.9498 | 4 | 83539 | 23.9517 | 6810.54 | 2348.9552 | 5006.264 | 7355.2192 | 3180759 | 10319 | 36.2904 | 97.68% | 253
2025-05-22 | 10053258 | 2549 | 24465172 | 5731 | 5408.9178 | 15827575 | 3227 | 2109.1672 | 3836938 | 898 | 1784 | 0 | 0 | 1042 | 0 | 0 | 10965.085 | 2193.017 | 89224 | 69 | 38142 | 13 | 56 | 439.04 | 1 | 44.452 | 122.9498 | 0 | 83551 | 24.9521 | 7095 | 2447.0655 | 5006.264 | 7453.3295 | 3191509 | 10750 | 37.8062 | 84.56% | 237
2025-05-23 | 10055680 | 2422 | 24471141 | 5969 | 5633.5422 | 15830580 | 3005 | 1964.068 | 3837797 | 859 | 1784 | 0 | 0 | 1042 | 0 | 0 | 10878.6102 | 2175.722 | 89308 | 84 | 38163 | 21 | 63 | 493.92 | 2 | 88.904 | 245.8997 | 0 | 83563 | 24.6898 | 7020.42 | 2421.3429 | 5006.264 | 7427.6068 | 3202146 | 10637 | 37.4088 | 89% | 231
2025-05-24 | 10058173 | 2493 | 24476979 | 5838 | 5509.9044 | 15833494 | 2914 | 1904.5904 | 3838635 | 838 | 1809 | 0 | 0 | 1054 | 12 | 6 | 10751.4948 | 2150.299 | 89367 | 59 | 38176 | 13 | 46 | 360.64 | 1 | 44.452 | 122.9498 | 0 | 83575 | 22.7958 | 6481.86 | 2235.5935 | 5006.264 | 7241.8575 | 3211967 | 9821 | 34.539 | 96% | 250
2025-05-25 | 10060676 | 2503 | 24482753 | 5774 | 5449.5012 | 15836448 | 2954 | 1930.7344 | 3839435 | 800 | 1809 | 0 | 0 | 1054 | 0 | 0 | 10683.2356 | 2136.6471 | 89488 | 121 | 38198 | 22 | 99 | 776.16 | 1 | 44.452 | 122.9498 | 4 | 83587 | 22.7052 | 6456.12 | 2226.7158 | 5006.264 | 7232.9798 | 3221749 | 9782 | 34.4019 | 91% | 238
2025-05-26 | 10063173 | 2497 | 24488329 | 5576 | 5262.6288 | 15839514 | 3066 | 2003.9376 | 3840299 | 864 | 1809 | 0 | 0 | 1054 | 0 | 0 | 10627.5664 | 2125.5133 | 89540 | 52 | 38211 | 13 | 39 | 305.76 | 2 | 88.904 | 245.8997 | 0 | 83059 | 25.349 | 7207.86 | 2485.9909 | 5006.264 | 7492.2549 | 3232670 | 10921 | 38.4076 | 88% | 254
2025-05-27 | 10065533 | 2360 | 24493952 | 5623 | 5306.9874 | 15842494 | 2980 | 1947.728 | 3841162 | 863 | 1809 | 0 | 0 | 1054 | 0 | 0 | 10477.7154 | 2095.5431 | 89612 | 72 | 38223 | 12 | 60 | 470.4 | 1 | 44.452 | 122.9498 | 0 | 83080 | 23.0093 | 6542.58 | 2256.5358 | 5006.264 | 7262.7998 | 3242583 | 9913 | 34.8626 | 89% | 256
2025-05-28 | 10067944 | 2411 | 24499449 | 5497 | 5188.0686 | 15845472 | 2978 | 1946.4208 | 3842013 | 851 | 1809 | 0 | 0 | 1054 | 0 | 0 | 10396.4894 | 2079.2979 | 89697 | 85 | 38241 | 18 | 67 | 525.28 | 1 | 44.452 | 122.9498 | 0 | 83103 | 24.3927 | 6935.94 | 2392.2057 | 5006.264 | 7398.4697 | 3253092 | 10509 | 36.9586 | 88.88% | 230
2025-05-29 | 10070295 | 2351 | 24504826 | 5377 | 5074.8126 | 15848373 | 2901 | 1896.0936 | 3842833 | 820 | 1809 | 0 | 0 | 1054 | 0 | 0 | 10141.9062 | 2028.3812 | 89759 | 62 | 38254 | 13 | 49 | 384.16 | 1 | 44.452 | 122.9498 | 4 | 83126 | 24.4205 | 6943.86 | 2394.9373 | 5006.264 | 7401.2013 | 3263613 | 10521 | 37.0008 | 79.54% | 236
2025-05-30 | 10072673 | 2378 | 24510290 | 5464 | 5156.9232 | 15851447 | 3074 | 2009.1664 | 3843626 | 793 | 1809 | 0 | 0 | 1054 | 0 | 0 | 10337.0896 | 2067.4179 | 89835 | 76 | 38271 | 17 | 59 | 462.56 | 1 | 44.452 | 122.9498 | 0 | 83148 | 23.8426 | 6779.52 | 2338.2564 | 5006.264 | 7344.5204 | 3273885 | 10272 | 36.1251 | 79.92% | 207
2025-05-31 | 10075080 | 2407 | 24515606 | 5316 | 5017.2408 | 15854348 | 2901 | 1896.0936 | 3844401 | 775 | 1834 | 25 | 12.5 | 1063 | 9 | 4.5 | 10112.3344 | 2022.4669 | 89894 | 59 | 38284 | 13 | 46 | 360.64 | 2 | 88.904 | 245.8997 | 0 | 83171 | 23.571 | 6702.3 | 2311.6233 | 5006.264 | 7317.8872 | 3284040 | 10155 | 35.7137 | 86.1% | 223
|  | 74983 |  |  | 167451.8274 |  |  | 62909.6536 |  | 26055 |  |  | 37.5 |  |  | 26.5 | 331463.481 | 66292.6962 |  | 2298 |  | 461 | 1837 | 14402.08 | 35 | 1555.8206 | 4303.2441 | 36 |  | 702.9803 | 199888.92 | 68941.6885 | 155194.1831 | 224135.8716 |  | 302862 | 1065.1216 | 91.44% | 8158
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  |  |  |  | AED |  |  |  | KW | [8 empty] | Water |  | AED |  | M3 |  | Gas | AED | Litres |  | District Cooling |  | AED |  | Ton Hour
| Actual May 2025 |  |  |  |  | 66292.6962 |  |  |  | 331463.481 | [8 empty] | Actual May 2025 |  | 14402.08 |  | 1837 |  | Actual May 2025 | 4303.2441 | 3428.6066 |  | Actual May 2025 |  | 224135.8716 |  | 199888.92 | #VALUE! | [5 empty] | 149225.58
| Budget May 2025 |  |  |  |  | 78253.452 |  |  |  | 391267.26 | [8 empty] | Budget May 2025 |  | 16955.3903 |  | 2162.6773 |  | Budget May 2025 | 5099.2305 | 4062.8081 |  | Budget May 2025 |  | 231114.4743 |  | 220122.6189 | #VALUE! | [5 empty] | 75920.2912 | CHW Consumption Charges (Budget 2025 MTD)
| Actual YTD 2025 |  |  |  |  | 346585.6062 |  |  |  | 1732928.031 | [8 empty] | Actual YTD 2025 |  | 70026.88 |  | 8932 |  | Actual YTD 2025 | 21892.2141 | 17442.6054 |  | Actual YTD 2025 |  | 979563.5416 |  | 2390169.2131 | [6 empty] | 824369.3616 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  |  |  |  | 373449.612 |  |  |  | 1867248.06 | [8 empty] | Budget YTD 2025 |  | 75648.9603 |  | 9649.1021 |  | Budget YTD 2025 | 23231.9505 | 18510.0394 |  | Budget YTD 2025 |  | 1009223.3043 |  | 2476164.4661 | #VALUE! | [5 empty] | 854029.1243 | CHW Consumption Charges (Budget 2025 YTD)
| Actual May 2024 |  |  |  |  | 72456.9 |  |  |  | 362284.5 | [8 empty] | Actual May 2024 |  | 15860.32 |  | 2023 |  | Actual May 2024 | 3023.96 | 3528.1297 |  | Actual May 2024 |  | 215752.87 |  | 209957.1761 | #VALUE! | [5 empty] | 72267.26 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2024 |  |  |  |  | 361897.74 |  |  |  | 1809488.7 | [8 empty] | Actual YTD 2024 |  | 69195.84 |  | 8826 |  | Actual YTD 2024 | 16443.03 | 19184.4942 |  | Actual YTD 2024 |  | 954652.99 |  | 2339998.2859 | #VALUE! | [5 empty] | 805427.41 | CHW Consumption Charges (Actual 2024 YTD)
[6 empty] | 2025-05-01 |  | 2025-06-03 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  | YTD Budget |  |  |  |  | YTD Actual |  |  | Savings | Exceeds | [6 empty] | 155194.18 | CHW Fixed Charges YTD 2025
Electricity | 78253.452 |  | Electricity |  |  | 2524.3049 |  | Electricity |  |  | 2138.4741 |  | Electricity |  |  |  |  | 78253.452 |  | Electricity |  | 66292.6962 | 11960.7558 | Electricity |  | 451703.064 |  |  | Electricity |  | 412878.3024 | 38824.7616 | -38824.7616 | [6 empty] | 149225.58 | CHW Fixed Charges YTD 2024
Water | 16955.3903 |  | Water |  |  | 565.1797 |  | Water |  |  | 464.5832 |  | Water |  |  |  |  | 17520.57 |  | Water |  | 14402.08 | 3118.49 | Water |  | 93169.5304 |  |  | Water |  | 84428.96 | 8740.5704 | -8740.5704 | [6 empty] | 143485.61
Gas | 5099.2305 |  | Gas |  |  | 164.4913 |  | Gas |  |  | 138.8143 |  | Gas |  |  |  |  | 5099.2305 |  | Gas |  | 4303.2441 | 795.9864 | Gas |  | 28331.181 |  |  | Gas |  | 26195.4582 | 2135.7228 | -2135.7228
Chilled Water | 231114.4743 |  | Chilled Water |  |  | 7455.3056 |  | Chilled Water |  |  | 7230.1894 |  | Chilled Water |  |  |  |  | 231114.4743 |  | Chilled Water |  | 224135.8716 | 6978.6027 | Chilled Water |  | 1240337.7787 |  |  | Chilled Water |  | 1203699.4132 | 36638.3655 | -36638.3655
[18 empty] | 331987.7269 |  |  |  | 309133.8919 | 22853.835 | Total Energy Cost YTD | Total Energy cost | 1813541.554 |  |  |  |  | 1727202.1338 | 86339.4202
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  | YTD Actual Vs Last Year |  |  |  |  | MTD Fcast | YTD Fcast |  | MTD Savings Forecast Vs LY | YTD Savings Forecast Vs LY
Electricity | 72456.9 |  | Electricity |  |  | 2337.3194 |  | Electricity |  |  | 72456.9 |  | Electricity |  |  |  | 66292.6962 |  |  | Electricity |  | 6164.2038 |  | Electricity |  | 15312.1338 |  |  | 66292.6962 | 367923.4562 |  | 6164.2038 | -6025.7162
Water | 15860.32 |  | Water |  |  | 511.6232 |  | Water |  |  | 15860.32 |  | Water |  |  |  | 14402.08 |  |  | Water |  | 1458.24 |  | Water |  | -831.04 |  |  | 14402.08 | 74801.44 |  | 1458.24 | -5605.6
Gas | 3023.96 |  | Gas |  |  | 97.5471 |  | Gas |  |  | 3023.96 |  | Gas |  |  |  | 4303.2441 |  |  | Gas |  | -1279.2841 |  | Gas |  | -5449.1841 |  |  | 4303.2441 | 19543.1641 |  | -1279.2841 | -3100.1341
Chilled Water | 215752.87 |  | Chilled Water |  |  | 6959.77 |  | Chilled Water |  |  | 215752.87 |  | Chilled Water |  |  |  | 224135.8716 |  |  | Chilled Water |  | -8383.0016 |  | Chilled Water |  | -24910.5516 |  |  | 224135.8716 | 945027.9616 |  | -8383.0016 | 9625.0284
| 307094.05 | [9 empty] | 307094.05 | [5 empty] | 309133.8919 |  |  |  |  | -2039.8419 |  |  |  | -15878.6419 |  |  | 309133.8919 | 1407296.0219 |  | -2039.8419 | -5106.4219
-0.6642%

## Daily Consumption
DATE | 2025-05-01 | 2025-05-02 | 2025-05-03 | 2025-05-04 | 2025-05-05 | 2025-05-06 | 2025-05-07 | 2025-05-08 | 2025-05-09 | 2025-05-10 | 2025-05-11 | 2025-05-12 | 2025-05-13 | 2025-05-14 | 2025-05-15 | 2025-05-16 | 2025-05-17 | 2025-05-18 | 2025-05-19 | 2025-05-20 | 2025-05-21 | 2025-05-22 | 2025-05-23 | 2025-05-24 | 2025-05-25 | 2025-05-26 | 2025-05-27 | 2025-05-28 | 2025-05-29 | 2025-05-30 | 2025-05-31
Electricity | 2200.1654 | 2222.9396 | 2165.0465 | 2232.9628 | 2192.7374 | 2155.9002 | 2225.5584 | 2264.9044 | 2222.7902 | 2155.3743 | 2153.1326 | 2136.588 | 2026.0069 | 2071.9823 | 2100.4918 | 2128.9472 | 2089.7344 | 2174.7114 | 2161.6022 | 2109.2397 | 2027.5749 | 2193.017 | 2175.722 | 2136.6471 | 2125.5133 | 2125.5133 | 2095.5431 | 2079.2979 | 2028.3812 | 2067.4179 | 2022.4669
Water | 548.8 | 415.52 | 595.84 | 548.8 | 415.52 | 446.88 | 313.6 | 470.4 | 407.68 | 462.56 | 431.2 | 431.2 | 211.68 | 650.72 | 290.08 | 823.2 | 493.92 | 423.36 | 509.6 | 352.8 | 580.16 | 439.04 | 493.92 | 776.16 | 305.76 | 305.76 | 470.4 | 525.28 | 384.16 | 462.56 | 360.64
Gas | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 245.8997 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 245.8997 | 122.9498 | 245.8997 | 245.8997 | 122.9498 | 122.9498 | 122.9498 | 122.9498 | 245.8997
D Cooling | 7270.3117 | 7253.0116 | 7097.9928 | 7182.2174 | 7269.8565 | 7432.6148 | 7024.2394 | 6917.7067 | 6978.0297 | 7037.4422 | 7182.2174 | 7112.5614 | 7024.2394 | 7132.5932 | 7184.7214 | 7162.6409 | 7142.8367 | 7105.96 | 7320.8465 | 7375.7063 | 7355.2192 | 7453.3295 | 7427.6068 | 7232.9798 | 7492.2549 | 7492.2549 | 7262.7998 | 7398.4697 | 7401.2013 | 7344.5204 | 7317.8872