## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 489 | 710
Park Rotana and Park Arjaan Abu Dhabi | 2 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 457 | 633
Park Rotana and Park Arjaan Abu Dhabi | 3 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 471 | 590
Park Rotana and Park Arjaan Abu Dhabi | 4 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 485 | 616
Park Rotana and Park Arjaan Abu Dhabi | 5 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 489 | 621
Park Rotana and Park Arjaan Abu Dhabi | 6 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 484 | 621
Park Rotana and Park Arjaan Abu Dhabi | 7 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 465 | 618
Park Rotana and Park Arjaan Abu Dhabi | 8 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 483 | 704
Park Rotana and Park Arjaan Abu Dhabi | 9 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 486 | 715
Park Rotana and Park Arjaan Abu Dhabi | 10 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 444 | 592
Park Rotana and Park Arjaan Abu Dhabi | 11 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 475 | 630
Park Rotana and Park Arjaan Abu Dhabi | 12 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 488 | 649
Park Rotana and Park Arjaan Abu Dhabi | 13 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 483 | 621
Park Rotana and Park Arjaan Abu Dhabi | 14 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 465 | 619
Park Rotana and Park Arjaan Abu Dhabi | 15 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 462 | 639
Park Rotana and Park Arjaan Abu Dhabi | 16 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 479 | 661
Park Rotana and Park Arjaan Abu Dhabi | 17 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 484 | 649
Park Rotana and Park Arjaan Abu Dhabi | 18 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 485 | 646
Park Rotana and Park Arjaan Abu Dhabi | 19 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 487 | 651
Park Rotana and Park Arjaan Abu Dhabi | 20 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 488 | 666
Park Rotana and Park Arjaan Abu Dhabi | 21 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 486 | 667
Park Rotana and Park Arjaan Abu Dhabi | 22 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 460 | 622
Park Rotana and Park Arjaan Abu Dhabi | 23 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 371 | 480
Park Rotana and Park Arjaan Abu Dhabi | 24 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 438 | 547
Park Rotana and Park Arjaan Abu Dhabi | 25 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 452 | 554
Park Rotana and Park Arjaan Abu Dhabi | 26 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 477 | 593
Park Rotana and Park Arjaan Abu Dhabi | 27 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 475 | 619
Park Rotana and Park Arjaan Abu Dhabi | 28 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 463 | 616
Park Rotana and Park Arjaan Abu Dhabi | 29 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 431 | 621
Park Rotana and Park Arjaan Abu Dhabi | 30 | 11 | 2024 | 37289.5367 | 0.2 | 2524.9393 | 1.67 | 349.6123 | 7.84 | 414 | 613
Park Rotana and Park Arjaan Abu Dhabi | 31 | 11 | 2024 | 0 | 0.2 | 0 | 1.67 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION NOVEMBER 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 13453438 | 13476349 | 13498989 | 13521717 | 13544867 | 13567850 | 13590642 | 13613298 | 13635617 | 13657221 | 13678667 | 13701574 | 13724324 | 13747583 | 13769761 | 13791350 | 13813213 | 13834812 | 13857048 | 13880990 | 13904296 | 13927742 | 13950746 | 13973283 | 13995409 | 14017816 | 14040783 | 14062550 | 14085055 | 14107372 | 14129896
|  |  |  | 22911 | 22640 | 22728 | 23150 | 22983 | 22792 | 22656 | 22319 | 21604 | 21446 | 22907 | 22750 | 23259 | 22178 | 21589 | 21863 | 21599 | 22236 | 23942 | 23306 | 23446 | 23004 | 22537 | 22126 | 22407 | 22967 | 21767 | 22505 | 22317 | 22524
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 14713184 | 14749149 | 14784268 | 14818289 | 14852448 | 14886749 | 14921696 | 14957038 | 14990407 | 15022487 | 15053145 | 15086437 | 15119797 | 15153690 | 15187720 | 15219841 | 15248281 | 15279335 | 15313648 | 15348701 | 15380787 | 15411614 | 15444015 | 15477102 | 15509599 | 15539951 | 15568880 | 15590414 | 15611004 | 15630054 | 15654891
|  |  |  | 35965 | 35119 | 34021 | 34159 | 34301 | 34947 | 35342 | 33369 | 32080 | 30658 | 33292 | 33360 | 33893 | 34030 | 32121 | 28440 | 31054 | 34313 | 35053 | 32086 | 30827 | 32401 | 33087 | 32497 | 30352 | 28929 | 21534 | 20590 | 19050 | 24837
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 10408799 | 10413933 | 10418966 | 10425059 | 10432116 | 10438781 | 10445459 | 10452103 | 10458710 | 10465286 | 10471718 | 10477568 | 10482583 | 10487672 | 10492746 | 10497719 | 10502399 | 10507512 | 10510153 | 10511805 | 10513385 | 10515040 | 10516781 | 10518515 | 10520227 | 10523557 | 10528940 | 10539999 | 10554216 | 10566032 | 10568341
|  |  |  | 5134 | 5033 | 6093 | 7057 | 6665 | 6678 | 6644 | 6607 | 6576 | 6432 | 5850 | 5015 | 5089 | 5074 | 4973 | 4680 | 5113 | 2641 | 1652 | 1580 | 1655 | 1741 | 1734 | 1712 | 3330 | 5383 | 11059 | 14217 | 11816 | 2309
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3331 | 3331 | 3331 | 3331 | 3332 | 3332 | 3332 | 3332 | 3350 | 3350 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3365 | 3373 | 3373 | 3373 | 3373 | 3373 | 3373 | 3373
|  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 18 | 0 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 482 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 483 | 484 | 484 | 484 | 484 | 484 | 484 | 485 | 485 | 485 | 485 | 485 | 485 | 485 | 485 | 486 | 486 | 487 | 487 | 487 | 487 | 487
|  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1449721 | 1449973 | 1450253 | 1450478 | 1450702 | 1450925 | 1451158 | 1451420 | 1451690 | 1451957 | 1452239 | 1452528 | 1452827 | 1453107 | 1453373 | 1453652 | 1453921 | 1454187 | 1454478 | 1454754 | 1455032 | 1455312 | 1455599 | 1455874 | 1456162 | 1456452 | 1456724 | 1457008 | 1457287 | 1457554 | 1457853
|  |  |  | 252 | 280 | 225 | 224 | 223 | 233 | 262 | 270 | 267 | 282 | 289 | 299 | 280 | 266 | 279 | 269 | 266 | 291 | 276 | 278 | 280 | 287 | 275 | 288 | 290 | 272 | 284 | 279 | 267 | 299
14 | E5T09D034327 | Hotel Gym S (Kwh) | 384783 | 384849 | 384875 | 384926 | 384972 | 385020 | 385067 | 385114 | 385159 | 385202 | 385251 | 385298 | 385344 | 385391 | 385438 | 385484 | 385528 | 385578 | 385628 | 385675 | 385720 | 385765 | 385812 | 385857 | 385902 | 385947 | 385991 | 386036 | 386079 | 386125 | 386169
|  |  |  | 66 | 26 | 51 | 46 | 48 | 47 | 47 | 45 | 43 | 49 | 47 | 46 | 47 | 47 | 46 | 44 | 50 | 50 | 47 | 45 | 45 | 47 | 45 | 45 | 45 | 44 | 45 | 43 | 46 | 44
| Total Daily Consumption (kw) |  |  | 39669.6 | 39006.8 | 39049.6 | 39907.4 | 39640.4 | 39722 | 39759.4 | 38642.4 | 37376.4 | 36629 | 38899.8 | 38445 | 39178.8 | 38132.6 | 36751.6 | 35425 | 36381.8 | 37358.6 | 38947 | 37095.4 | 36763.8 | 36994.8 | 36785.4 | 36151.6 | 36214.8 | 37008.8 | 35133.2 | 36749.8 | 34976.4 | 33725.4
| Total Monthly Consumption (kw) |  |  | 1: 1126522.6
| From Technical Report |  |  | 1: 1118686.1
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) NOVEMBER 2024
LAST MONTH'S FINAL READING | 75748
1 |  | 2524.9333
2 |  | 2524.9333
3 |  | 2524.9333
4 |  | 2524.9333
5 |  | 2524.9333
6 |  | 2524.9333
7 |  | 2524.9333
8 |  | 2524.9333
9 |  | 2524.9333
10 |  | 2524.9333
11 |  | 2524.9333
12 |  | 2524.9333
13 |  | 2524.9333
14 |  | 2524.9333
15 |  | 2524.9333
16 |  | 2524.9333
17 |  | 2524.9333
18 |  | 2524.9333
19 |  | 2524.9333
20 |  | 2524.9333
21 |  | 2524.9333
22 |  | 2524.9333
23 |  | 2524.9333
24 |  | 2524.9333
25 |  | 2524.9333
26 |  | 2524.9333
27 |  | 2524.9333
28 |  | 2524.9333
29 |  | 2524.9333
30 |  | 2524.9333
31
TOTAL Consumption |  | 75748
From Technical Report |  | 75748.18

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) NOVEMBER 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 163380 | 163636 | 163874 | 164124 | 164393 | 164676 | 164906 | 165134 | 165364 | 165596 | 165879 | 166128 | 166365 | 166579 | 166798 | 167055 | 167286 | 167548 | 167805 | 168028 | 168256 | 168530 | 168762 | 168999 | 169220 | 169440 | 169650 | 169886 | 170163 | 170385 | 170611
|  |  |  | 256 | 238 | 250 | 269 | 283 | 230 | 228 | 230 | 232 | 283 | 249 | 237 | 214 | 219 | 257 | 231 | 262 | 257 | 223 | 228 | 274 | 232 | 237 | 221 | 220 | 210 | 236 | 277 | 222 | 226
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 407967.5 | 407994.2 | 408013.5 | 408043 | 408069.4 | 408093.1 | 408119.2 | 408145.7 | 408171.5 | 408189.8 | 408215.9 | 408240.2 | 408267.1 | 408292.5 | 408311.9 | 408340 | 408359 | 408380 | 408407 | 408425.7 | 408445.9 | 408468.7 | 408490.6 | 408507.5 | 408530.5 | 408555.9 | 408580.8 | 408603.9 | 408625.6 | 408647 | 408662.6
|  |  |  | 26.7 | 19.3 | 29.5 | 26.4 | 23.7 | 26.1 | 26.5 | 25.8 | 18.3 | 26.1 | 24.3 | 26.9 | 25.4 | 19.4 | 28.1 | 19 | 21 | 27 | 18.7 | 20.2 | 22.8 | 21.9 | 16.9 | 23 | 25.4 | 24.9 | 23.1 | 21.7 | 21.4 | 15.6
4 | 2045000686(Sub Meter) | Irrigation water Tank | 24455 | 24602 | 24613 | 24782 | 24920 | 25033 | 25154 | 25270 | 25421 | 25421 | 25589 | 25703 | 25834 | 25956 | 25956 | 26127 | 26201 | 26286 | 26447 | 26476 | 26564 | 26672 | 26793 | 26798 | 26922 | 27061 | 27181 | 27279 | 27383 | 27478 | 27483
|  |  |  | 147 | 11 | 169 | 138 | 113 | 121 | 116 | 151 | 0 | 168 | 114 | 131 | 122 | 0 | 171 | 74 | 85 | 161 | 29 | 88 | 108 | 121 | 5 | 124 | 139 | 120 | 98 | 104 | 95 | 5
5 | 68864837 | Hotel & Arjaan Spa | 2298.821 | 2301.252 | 2303.832 | 2306.005 | 2307.93 | 2309.874 | 2311.765 | 2312.944 | 2314.621 | 2314.621 | 2318.536 | 2320.231 | 2321.914 | 2323.392 | 2326.368 | 2326.705 | 2327.951 | 2329.112 | 2330.336 | 2331.515 | 2333.169 | 2334.497 | 2335.737 | 2336.839 | 2337.159 | 2339.902 | 2341.416 | 2342.644 | 2344.055 | 2347.729 | 2349.798
|  |  |  | 2.431 | 2.58 | 2.173 | 1.925 | 1.944 | 1.891 | 1.179 | 1.677 | 0 | 3.915 | 1.695 | 1.683 | 1.478 | 2.976 | 0.337 | 1.246 | 1.161 | 1.224 | 1.179 | 1.654 | 1.328 | 1.24 | 1.102 | 0.32 | 2.743 | 1.514 | 1.228 | 1.411 | 3.674 | 2.069
6 | 65296485 | Hotel & Arjaan Gym | 2906.88 | 2907.101 | 2911.296 | 2914.519 | 2918.147 | 2921.491 | 2924.976 | 2926.273 | 2927.536 | 2927.536 | 2935.948 | 2938.169 | 2939.827 | 2941.96 | 2945.586 | 2946.466 | 2950.224 | 2954.205 | 2956.888 | 2958.474 | 2959.8 | 2961.953 | 2964.255 | 2966.877 | 2969.468 | 2972.289 | 2975.147 | 2976.401 | 2977.501 | 2979.037 | 2980.313
|  |  |  | 0.221 | 4.195 | 3.223 | 3.628 | 3.344 | 3.485 | 1.297 | 1.263 | 0 | 8.412 | 2.221 | 1.658 | 2.133 | 3.626 | 0.88 | 3.758 | 3.981 | 2.683 | 1.586 | 1.326 | 2.153 | 2.302 | 2.622 | 2.591 | 2.821 | 2.858 | 1.254 | 1.1 | 1.536 | 1.276
| Total Daily Consumption (m3) |  |  | 336.817 | 258.41 | 344.721 | 348.533 | 349.803 | 301.571 | 294.601 | 312.5 | 240.235 | 382.672 | 315.151 | 311.396 | 283.941 | 234.332 | 347.812 | 277.854 | 314.842 | 345.507 | 247.23 | 279.67 | 336.341 | 299.847 | 250.579 | 290.061 | 299.544 | 279.577 | 292.977 | 336.076 | 279.59 | 238.615 | 0
| Total Monthly Consumption (m3) |  |  | 1: 9030.805
| From Technical Report |  |  | 1: 10488.37
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest November 2024
Date | Occupied | # Guest
2024-11-01 | 489 | 710
2024-11-02 | 457 | 633
2024-11-03 | 471 | 590
2024-11-04 | 485 | 616
2024-11-05 | 489 | 621
2024-11-06 | 484 | 621
2024-11-07 | 465 | 618
2024-11-08 | 483 | 704
2024-11-09 | 486 | 715
2024-11-10 | 444 | 592
2024-11-11 | 475 | 630
2024-11-12 | 488 | 649
2024-11-13 | 483 | 621
2024-11-14 | 465 | 619
2024-11-15 | 462 | 639
2024-11-16 | 479 | 661
2024-11-17 | 484 | 649
2024-11-18 | 485 | 646
2024-11-19 | 487 | 651
2024-11-20 | 488 | 666
2024-11-21 | 486 | 667
2024-11-22 | 460 | 622
2024-11-23 | 371 | 480
2024-11-24 | 438 | 547
2024-11-25 | 452 | 554
2024-11-26 | 477 | 593
2024-11-27 | 475 | 619
2024-11-28 | 463 | 616
2024-11-29 | 431 | 621
2024-11-30 | 414 | 613
TOTAL MTD | 14016 | 18783