## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2024 | 14062 | 0.2 | 36 | 12.61 | 41354.172 | 0.06 | 6625.122 | 1.14 | 232.155
Pearl Rotana Capital Centre | 2 | 3 | 2024 | 14707 | 0.2 | 35 | 12.61 | 36954.792 | 0.06 | 6852.594 | 1.14 | 193.095
Pearl Rotana Capital Centre | 3 | 3 | 2024 | 14190 | 0.2 | 32 | 12.61 | 38714.544 | 0.06 | 5999.574 | 1.14 | 257.04
Pearl Rotana Capital Centre | 4 | 3 | 2024 | 14386 | 0.2 | 33 | 12.61 | 38054.637 | 0.06 | 5146.554 | 1.14 | 269.955
Pearl Rotana Capital Centre | 5 | 3 | 2024 | 14388 | 0.2 | 32 | 12.61 | 36514.854 | 0.06 | 4919.082 | 1.14 | 309.015
Pearl Rotana Capital Centre | 6 | 3 | 2024 | 14445 | 0.2 | 28 | 12.61 | 43113.924 | 0.06 | 5146.554 | 1.14 | 295.155
Pearl Rotana Capital Centre | 7 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 40254.327 | 0.06 | 5260.29 | 1.14 | 0
Pearl Rotana Capital Centre | 8 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 42454.017 | 0.06 | 5004.384 | 1.14 | 0
Pearl Rotana Capital Centre | 9 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 34975.071 | 0.06 | 5061.252 | 1.14 | 0
Pearl Rotana Capital Centre | 10 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 60931.413 | 0.06 | 5061.252 | 1.14 | 0
Pearl Rotana Capital Centre | 11 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 56092.095 | 0.06 | 5374.026 | 1.14 | 0
Pearl Rotana Capital Centre | 12 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 46193.49 | 0.06 | 4663.176 | 1.14 | 0
Pearl Rotana Capital Centre | 13 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 38054.637 | 0.06 | 5032.818 | 1.14 | 0
Pearl Rotana Capital Centre | 14 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 41134.203 | 0.06 | 5487.762 | 1.14 | 0
Pearl Rotana Capital Centre | 15 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 33875.226 | 0.06 | 6170.178 | 1.14 | 0
Pearl Rotana Capital Centre | 16 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 41134.203 | 0.06 | 7023.198 | 1.14 | 0
Pearl Rotana Capital Centre | 17 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 34535.133 | 0.06 | 7762.482 | 1.14 | 0
Pearl Rotana Capital Centre | 18 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 48173.211 | 0.06 | 7677.18 | 1.14 | 0
Pearl Rotana Capital Centre | 19 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 40694.265 | 0.06 | 6539.82 | 1.14 | 0
Pearl Rotana Capital Centre | 20 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 51032.808 | 0.06 | 5914.272 | 1.14 | 0
Pearl Rotana Capital Centre | 21 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 39814.389 | 0.06 | 5828.97 | 1.14 | 0
Pearl Rotana Capital Centre | 22 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 51692.715 | 0.06 | 5942.706 | 1.14 | 0
Pearl Rotana Capital Centre | 23 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 49712.994 | 0.06 | 5743.668 | 1.14 | 0
Pearl Rotana Capital Centre | 24 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 62471.196 | 0.06 | 6170.178 | 1.14 | 0
Pearl Rotana Capital Centre | 25 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 39374.451 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 26 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 27 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 62471.196 | 0.06 | 6170.178 | 1.14 | 0
Pearl Rotana Capital Centre | 28 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 39374.451 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 29 | 3 | 2024 | 0 | 0.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 30 | 3 | 2025 | 0 | 1.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0
Pearl Rotana Capital Centre | 31 | 3 | 2026 | 0 | 2.2 | 0 | 12.61 | 58731.723 | 0.06 | 6881.028 | 1.14 | 0

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2024 | 7337 | 6592 | 133 | 105 | 21 | 15 | 3980.83 | 4673 | 10 | 232.155
Pearl Rotana Capital Centre | 2 | 3 | 2024 | 7738 | 6833 | 136 | 102 | 21 | 14 | 4265.175 | 4758 | 7 | 193.095
Pearl Rotana Capital Centre | 3 | 3 | 2024 | 7538 | 6519 | 133 | 109 | 18 | 14 | 4265.175 | 4744 | 7 | 257.04
Pearl Rotana Capital Centre | 4 | 3 | 2024 | 7549 | 6703 | 134 | 97 | 19 | 14 | 4549.52 | 5466 | 6 | 269.955
Pearl Rotana Capital Centre | 5 | 3 | 2024 | 7501 | 6759 | 128 | 84 | 19 | 13 | 5402.555 | 6412 | 8 | 309.015
Pearl Rotana Capital Centre | 6 | 3 | 2024 | 7571 | 6742 | 132 | 100 | 18 | 10 | 5118.21 | 5967 | 7 | 295.155
Pearl Rotana Capital Centre | 7 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 8 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 9 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 10 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 11 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 12 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 13 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 14 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 15 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 16 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 17 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 18 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 19 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 20 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 21 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 22 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 23 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 24 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 25 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 26 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 27 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 28 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 29 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 30 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pearl Rotana Capital Centre | 31 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Mar 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - MARCH 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-03-01 | 18677916 | 7337 | 19638549 | 6592 | 447817 | 133 | 14062 | 2812.4 | 75209 | 105 | 823.2 | 34769 | 21 | 19757 | 15 | 36 | 50691 | 34 | 35.8938 | 606.3035 | 66536 | 14 | 3980.83 | 1370.2017 | 4243.4694 | 5613.6711 | 5876453 | 4673 | 73.7% | 335 | 13157306 | 4896 | 979.2 | 6114379 | 2112 | 422.4 | 113369 | 165 | 33 | 5775 | 10 | 78.4 | 2717 | 1 | 7.84 | 83 | 1 | 7.84
2024-03-02 | 18685654 | 7738 | 19645382 | 6833 | 447953 | 136 | 14707 | 2941.4 | 75311 | 102 | 799.68 | 34790 | 21 | 19771 | 14 | 35 | 50725 | 34 | 35.8938 | 606.3035 | 66551 | 15 | 4265.175 | 1468.0732 | 4243.4694 | 5711.5427 | 5881211 | 4758 | 61.3% | 287 | 13161564 | 4258 | 851.6 | 6116452 | 2073 | 414.6 | 113544 | 175 | 35 | 5782 | 7 | 54.88 | 2718 | 1 | 7.84 | 84 | 1 | 7.84
2024-03-03 | 18693192 | 7538 | 19651901 | 6519 | 448086 | 133 | 14190 | 2838 | 75420 | 109 | 854.56 | 34808 | 18 | 19785 | 14 | 32 | 50756 | 31 | 32.7267 | 571.307 | 66566 | 15 | 4265.175 | 1468.0732 | 4243.4694 | 5711.5427 | 5885955 | 4744 | 81.6% | 374 | 13165810 | 4246 | 849.2 | 6118500 | 2048 | 409.6 | 113722 | 178 | 35.6 | 5789 | 7 | 54.88 | 2720 | 2 | 15.68 | 84 | 0 | 0
2024-03-04 | 18700741 | 7549 | 19658604 | 6703 | 448220 | 134 | 14386 | 2877.2 | 75517 | 97 | 760.48 | 34827 | 19 | 19799 | 14 | 33 | 50788 | 32 | 33.7824 | 582.9725 | 66582 | 16 | 4549.52 | 1565.9448 | 4243.4694 | 5809.4142 | 5891421 | 5466 | 85.7% | 345 | 13170989 | 5179 | 1035.8 | 6120673 | 2173 | 434.6 | 113911 | 189 | 37.8 | 5795 | 6 | 47.04 | 2721 | 1 | 7.84 | 84 | 0 | 0
2024-03-05 | 18708242 | 7501 | 19665363 | 6759 | 448348 | 128 | 14388 | 2877.6 | 75601 | 84 | 658.56 | 34846 | 19 | 19812 | 13 | 32 | 50818 | 30 | 31.671 | 559.6416 | 66601 | 19 | 5402.555 | 1859.5594 | 4243.4694 | 6103.0289 | 5897833 | 6412 | 98.1% | 405 | 13176180 | 5191 | 1038.2 | 6122874 | 2201 | 440.2 | 114152 | 241 | 48.2 | 5803 | 8 | 62.72 | 2722 | 1 | 7.84 | 84 | 0 | 0
2024-03-06 | 18715813 | 7571 | 19672105 | 6742 | 448480 | 132 | 14445 | 2889 | 75701 | 100 | 784 | 34864 | 18 | 19822 | 10 | 28 | 50846 | 28 | 29.5596 | 536.3106 | 66619 | 18 | 5118.21 | 1761.6879 | 4243.4694 | 6005.1573 | 5903800 | 5967 | 93.7% | 384 | 13181438 | 5258 | 1051.6 | 6125120 | 2246 | 449.2 | 114364 | 212 | 42.4 | 5810 | 7 | 54.88 | 2727 | 5 | 39.2 | 84 | 0 | 0
2024-03-07 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-08 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-09 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-10 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-11 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-12 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-13 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-14 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-15 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-16 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-17 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-18 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-19 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-20 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-21 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-22 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-23 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-24 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-25 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-26 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-27 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-28 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-29 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-30 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
2024-03-31 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0
|  | 45234 |  | 40148 |  | 796 | 86178 | 17235.6 |  | 597 | 4680.48 |  | 116 |  | 80 | 196 |  | 189 | 199.5273 | 3462.8387 |  | 97 | 27581.465 | 9493.5403 | 25460.8166 | 34954.3569 |  | 32020 | 82.35% | 2130 |  | 29028 | 5805.6 |  | 12853 | 2570.6 |  | 1160 | 232 |  | 45 | 352.8 |  | 11 | 86.24 |  | 2 | 15.68
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 394642.65 | CHW Fixed Charges YTD 2023
| Actual March 2024 |  | 17235.6 |  |  | 86178 |  |  | Actual March 2024 |  | 4680.48 | 597 |  | Actual March 2024 |  |  | 3462.8387 |  | 199.5273 |  | Actual March 2024 |  | 34954.3569 |  | 27581.465 |  |  |  | 32020 | 4438.535 |  | 379465.26 | CHW Fixed Charges YTD 2022
| Budget March 2024 |  | 98626.5 |  |  | 493132.5 |  |  | Budget March 2024 |  | 23584.25 | 3008.1952 |  | Budget March 2024 |  |  | 17940.87 |  | 1035.3729 |  | Budget March 2024 |  | 193048.33 |  | 178677.455 | [6 empty] | 61500.78 | CHW Consumption Charges (Budgeted 2023 MTD)
| Actual March 2023 |  | 97535.8 |  |  | 487679 |  |  | Actual March 2023 |  | 22375.36 | 2854 |  | Actual March 2023 |  |  | 16247.56 |  | 882.1321 |  | Actual March 2023 |  | 184957.55 |  | 170215.8079 | [6 empty] | 58469.13 | CHW Consumption Charges (Actual 2022 MTD)
| Actual YTD 2024 |  | 17235.6 |  |  | 86178 |  |  | Actual YTD 2024 |  | 4680.48 | 597 |  | Actual YTD 2024 |  |  | 3462.8387 |  | -1451.3268 |  | Actual YTD 2024 |  | 34954.3569 |  | -1044997.9464 | [6 empty] | -359688.2931 | CHW Consumption Charges (Actual 2023 YTD)
| Budget YTD 2024 |  | 286618.5 |  |  | 1433092.5 |  |  | Budget YTD 2024 |  | 73011.81 | 9312.7309 |  | Budget YTD 2024 |  |  | 55046.55 |  | 3216.8824 |  | Budget YTD 2024 |  | 558585.26 |  | 476300.4358 | [6 empty] | 163942.61 | CHW Consumption Charges (Budgeted 2023 YTD)
| Actual YTD 2023 |  | 280810.6 |  |  | 1404053 |  |  | Actual YTD 2023 |  | 63041.44 | 8041 |  | Actual YTD 2023 |  |  | 48040.97 |  | 2582.8932 |  | Actual YTD 2023 |  | 530478.5 |  | 439630.9753 | [6 empty] | 151013.24 | CHW Consumption Charges (Actual 2022 YTD)
[7 empty] | 2024-03-01 | 2024-03-21 | 20
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 98626.5 |  | Electricity |  |  | 3181.5 |  | Electricity |  |  | 861.78 |  | Electricity |  |  |  | 63630 |  |  | Electricity |  | 17235.6 |  | 46394.4 | Electricity |  | 63630 |  | Electricity |  | 17235.6 | 46394.4 | -46394.4
Water | 23584.25 |  | Water |  |  | 760.7823 |  | Water |  |  | 234.024 |  | Water |  |  |  | 15215.6452 |  |  | Water |  | 4680.48 |  | 10535.1652 | Water |  | 15215.6452 |  | Water |  | 4680.48 | 10535.1652 | -10535.1652
Gas | 17940.87 |  | Gas |  |  | 578.7377 |  | Gas |  |  | 173.1419 |  | Gas |  |  |  | 11574.7548 |  |  | Gas |  | 3462.8387 |  | 8111.9162 | Gas |  | 11574.7548 |  | Gas |  | 3462.8387 | 8111.9162 | -8111.9162
Chilled Water | 193048.33 |  | Chilled Water |  |  | 6227.3655 |  | Chilled Water |  |  | 1747.7178 |  | Chilled Water |  |  |  | 124547.3097 |  |  | Chilled Water |  | 34954.3569 |  | 89592.9528 | Chilled Water |  | 124547.3097 |  | Chilled Water |  | 34954.3569 | 89592.9528 | -89592.9528
| 333199.95 | [15 empty] | 214967.7097 |  |  |  |  | 60333.2755 |  | 154634.4341 |  | Total Energy cost | 214967.7097 |  |  |  | 60333.2755 | 154634.4341
| 239683.3729 | [21 empty] | 71.93% | [7 empty] | 71.93%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 97535.8 |  | Electricity |  |  | 3146.3161 |  | Electricity |  |  |  |  | Electricity |  |  |  | 17235.6 |  |  | Electricity |  | #VALUE! |  |  | 26715.18 | 26715.18 |  |  | 70820.62 | 254095.42
Water | 22375.36 |  | Water |  |  | 721.7858 |  | Water |  |  | 14435.7161 |  | Water |  |  |  | 4680.48 |  |  | Water |  | 9755.2361 |  |  | 7254.744 | 7254.744 |  |  | 15120.616 | 55786.696
Gas | 16247.56 |  | Gas |  |  | 524.1148 |  | Gas |  |  | 10482.2968 |  | Gas |  |  |  | 3462.8387 |  |  | Gas |  | 7019.4581 |  |  | 5367.3999 | 5367.3999 |  |  | 10880.1601 | 42673.5701
Chilled Water | 184957.55 |  | Chilled Water |  |  | 5966.3726 |  | Chilled Water |  |  | 119327.4516 |  | Chilled Water |  |  |  | 34954.3569 |  |  | Chilled Water |  | 84373.0947 |  |  | 54179.2531 | 54179.2531 |  |  | 130778.2969 | 385451.7221
| 321116.27 | [9 empty] | 144245.4645 | [5 empty] | 60333.2755 |  |  |  |  | #VALUE! |  |  | 93516.5771 | 93516.5771 |  |  | 227599.6929 | 738007.4082
| 186803.5798 | [21 empty] | 58.17%