## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests | Cooling Degree Day
Pearl Rotana Capital Centre | 1 | 3 | 2023 | 15740 | 0.2 | 25 | 12.61 | 79 | 7.84 | 6539.935 | 1.14 | 235.998 |  | 4.9
Pearl Rotana Capital Centre | 2 | 3 | 2023 | 16086 | 0.2 | 29 | 12.61 | 101 | 7.84 | 6824.28 | 1.14 | 257.0085 |  | 5
Pearl Rotana Capital Centre | 3 | 3 | 2023 | 16145 | 0.2 | 30 | 12.61 | 97 | 7.84 | 6824.28 | 1.14 | 315 |  | 5.1
Pearl Rotana Capital Centre | 4 | 3 | 2023 | 16352 | 0.2 | 28 | 12.61 | 96 | 7.84 | 6824.28 | 1.14 | 315 |  | 3.8
Pearl Rotana Capital Centre | 5 | 3 | 2023 | 15573 | 0.2 | 26 | 12.61 | 126 | 7.84 | 6255.59 | 1.14 | 285.9885 |  | 4.1
Pearl Rotana Capital Centre | 6 | 3 | 2023 | 16431 | 0.2 | 28 | 12.61 | 93 | 7.84 | 6255.59 | 1.14 | 246.015 |  | 4.3
Pearl Rotana Capital Centre | 7 | 3 | 2023 | 15717 | 0.2 | 27 | 12.61 | 108 | 7.84 | 5971.245 | 1.14 | 253.9845 |  | 4.6
Pearl Rotana Capital Centre | 8 | 3 | 2023 | 16114 | 0.2 | 28 | 12.61 | 92 | 7.84 | 6539.935 | 1.14 | 253.008 |  | 6
Pearl Rotana Capital Centre | 9 | 3 | 2023 | 16308 | 0.2 | 33 | 12.61 | 89 | 7.84 | 6539.935 | 1.14 | 219.996 |  | 8
Pearl Rotana Capital Centre | 10 | 3 | 2023 | 16082 | 0.2 | 29 | 12.61 | 90 | 7.84 | 6539.935 | 1.14 | 211.995 |  | 8.2
Pearl Rotana Capital Centre | 11 | 3 | 2023 | 15602 | 0.2 | 26 | 12.61 | 94 | 7.84 | 6539.935 | 1.14 | 213.003 |  | 8.3
Pearl Rotana Capital Centre | 12 | 3 | 2023 | 15391 | 0.2 | 26 | 12.61 | 103 | 7.84 | 6539.935 | 1.14 | 215.9955 |  | 8.7
Pearl Rotana Capital Centre | 13 | 3 | 2023 | 15959 | 0.2 | 28 | 12.61 | 103 | 7.84 | 6824.28 | 1.14 | 269.01 |  | 7.9
Pearl Rotana Capital Centre | 14 | 3 | 2023 | 15659 | 0.2 | 27 | 12.61 | 99 | 7.84 | 7392.97 | 1.14 | 280.0035 |  | 6.2
Pearl Rotana Capital Centre | 15 | 3 | 2023 | 15594 | 0.2 | 28 | 12.61 | 98 | 7.84 | 7392.97 | 1.14 | 282.996 |  | 6.5
Pearl Rotana Capital Centre | 16 | 3 | 2023 | 15597 | 0.2 | 30 | 12.61 | 106 | 7.84 | 7108.625 | 1.14 | 264.0015 |  | 6.8
Pearl Rotana Capital Centre | 17 | 3 | 2023 | 15972 | 0.2 | 30 | 12.61 | 113 | 7.84 | 6824.28 | 1.14 | 179.0145 |  | 4.9
Pearl Rotana Capital Centre | 18 | 3 | 2023 | 15699 | 0.2 | 29 | 12.61 | 76 | 7.84 | 6255.59 | 1.14 | 167.9895 |  | 2.8
Pearl Rotana Capital Centre | 19 | 3 | 2023 | 15331 | 0.2 | 26 | 12.61 | 84 | 7.84 | 5686.9 | 1.14 | 160.9965 |  | 3.2
Pearl Rotana Capital Centre | 20 | 3 | 2023 | 15193 | 0.2 | 28 | 12.61 | 82 | 7.84 | 6255.59 | 1.14 | 203.994 |  | 5.4
Pearl Rotana Capital Centre | 21 | 3 | 2023 | 15706 | 0.2 | 31 | 12.61 | 89 | 7.84 | 6539.935 | 1.14 | 214.9875 |  | 5.9
Pearl Rotana Capital Centre | 22 | 3 | 2023 | 16216 | 0.2 | 27 | 12.61 | 120 | 7.84 | 5686.9 | 1.14 | 159.9885 |  | 3.7
Pearl Rotana Capital Centre | 23 | 3 | 2023 | 15682 | 0.2 | 30 | 12.61 | 59 | 7.84 | 4833.865 | 1.14 | 95.004 |  | 3
Pearl Rotana Capital Centre | 24 | 3 | 2023 | 15298 | 0.2 | 29 | 12.61 | 53 | 7.84 | 4833.865 | 1.14 | 83.0025 |  | 2.6
Pearl Rotana Capital Centre | 25 | 3 | 2023 | 14908 | 0.2 | 29 | 12.61 | 78 | 7.84 | 5402.555 | 1.14 | 87.003 |  | 2.9
Pearl Rotana Capital Centre | 26 | 3 | 2023 | 14956 | 0.2 | 27 | 12.61 | 69 | 7.84 | 5686.9 | 1.14 | 116.991 |  | 5.5
Pearl Rotana Capital Centre | 27 | 3 | 2023 | 15234 | 0.2 | 33 | 12.61 | 59 | 7.84 | 6255.59 | 1.14 | 131.0085 |  | 7.8
Pearl Rotana Capital Centre | 28 | 3 | 2023 | 15574 | 0.2 | 28 | 12.61 | 92 | 7.84 | 6255.59 | 1.14 | 144.9945 |  | 5.6
Pearl Rotana Capital Centre | 29 | 3 | 2023 | 16700 | 0.2 | 27 | 12.61 | 125 | 7.84 | 5686.9 | 1.14 | 150.003 |  | 4.4
Pearl Rotana Capital Centre | 30 | 3 | 2023 | 15773 | 1.2 | 29 | 12.61 | 112 | 7.84 | 5686.9 | 1.14 | 131.985 |  | 3.2
Pearl Rotana Capital Centre | 31 | 3 | 2023 | 15087 | 2.2 | 29 | 12.61 | 69 | 7.84 | 5686.9 | 1.14 | 113.9985 |  | 3.5

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 3 | 2023 | 7814 | 7814 | 112 | 79 | 16 | 9 | 6539.935 | 7008 | 0 | 235.998
Pearl Rotana Capital Centre | 2 | 3 | 2023 | 8287 | 7684 | 115 | 101 | 17 | 12 | 6824.28 | 7095 | 0 | 257.0085
Pearl Rotana Capital Centre | 3 | 3 | 2023 | 8411 | 7613 | 121 | 97 | 18 | 12 | 6824.28 | 7406 | 0 | 315
Pearl Rotana Capital Centre | 4 | 3 | 2023 | 8595 | 7644 | 113 | 96 | 17 | 11 | 6824.28 | 6608 | 0 | 315
Pearl Rotana Capital Centre | 5 | 3 | 2023 | 8013 | 7433 | 127 | 126 | 16 | 10 | 6255.59 | 6085 | 0 | 285.9885
Pearl Rotana Capital Centre | 6 | 3 | 2023 | 8618 | 7683 | 130 | 93 | 16 | 12 | 6255.59 | 6814 | 0 | 246.015
Pearl Rotana Capital Centre | 7 | 3 | 2023 | 8234 | 7360 | 123 | 108 | 15 | 12 | 5971.245 | 6566 | 0 | 253.9845
Pearl Rotana Capital Centre | 8 | 3 | 2023 | 8433 | 7563 | 118 | 92 | 16 | 12 | 6539.935 | 6978 | 0 | 253.008
Pearl Rotana Capital Centre | 9 | 3 | 2023 | 8357 | 7823 | 128 | 89 | 17 | 16 | 6539.935 | 7113 | 0 | 219.996
Pearl Rotana Capital Centre | 10 | 3 | 2023 | 8199 | 7756 | 127 | 90 | 16 | 13 | 6539.935 | 7097 | 0 | 211.995
Pearl Rotana Capital Centre | 11 | 3 | 2023 | 8249 | 7226 | 127 | 94 | 17 | 9 | 6539.935 | 6808 | 0 | 213.003
Pearl Rotana Capital Centre | 12 | 3 | 2023 | 8146 | 7117 | 128 | 103 | 15 | 11 | 6539.935 | 6732 | 0 | 215.9955
Pearl Rotana Capital Centre | 13 | 3 | 2023 | 8144 | 7699 | 116 | 103 | 15 | 13 | 6824.28 | 7260 | 0 | 269.01
Pearl Rotana Capital Centre | 14 | 3 | 2023 | 8193 | 7344 | 122 | 99 | 16 | 11 | 7392.97 | 7874 | 0 | 280.0035
Pearl Rotana Capital Centre | 15 | 3 | 2023 | 8346 | 7123 | 125 | 98 | 16 | 12 | 7392.97 | 7905 | 0 | 282.996
Pearl Rotana Capital Centre | 16 | 3 | 2023 | 8186 | 7283 | 128 | 106 | 16 | 14 | 7108.625 | 7821 | 0 | 264.0015
Pearl Rotana Capital Centre | 17 | 3 | 2023 | 8104 | 7745 | 123 | 113 | 17 | 13 | 6824.28 | 7292 | 0 | 179.0145
Pearl Rotana Capital Centre | 18 | 3 | 2023 | 7922 | 7649 | 128 | 76 | 19 | 10 | 6255.59 | 6532 | 0 | 167.9895
Pearl Rotana Capital Centre | 19 | 3 | 2023 | 7732 | 7474 | 125 | 84 | 16 | 10 | 5686.9 | 6084 | 0 | 160.9965
Pearl Rotana Capital Centre | 20 | 3 | 2023 | 7906 | 7158 | 129 | 82 | 16 | 12 | 6255.59 | 6796 | 0 | 203.994
Pearl Rotana Capital Centre | 21 | 3 | 2023 | 7870 | 7711 | 125 | 89 | 16 | 15 | 6539.935 | 6951 | 0 | 214.9875
Pearl Rotana Capital Centre | 22 | 3 | 2023 | 8404 | 7683 | 129 | 120 | 15 | 12 | 5686.9 | 6025 | 0 | 159.9885
Pearl Rotana Capital Centre | 23 | 3 | 2023 | 7756 | 7800 | 126 | 59 | 15 | 15 | 4833.865 | 5257 | 0 | 95.004
Pearl Rotana Capital Centre | 24 | 3 | 2023 | 7542 | 7636 | 120 | 53 | 17 | 12 | 4833.865 | 5167 | 0 | 83.0025
Pearl Rotana Capital Centre | 25 | 3 | 2023 | 7495 | 7312 | 101 | 78 | 16 | 13 | 5402.555 | 5298 | 0 | 87.003
Pearl Rotana Capital Centre | 26 | 3 | 2023 | 7639 | 7198 | 119 | 69 | 15 | 12 | 5686.9 | 5900 | 0 | 116.991
Pearl Rotana Capital Centre | 27 | 3 | 2023 | 7690 | 7425 | 119 | 59 | 17 | 16 | 6255.59 | 6805 | 0 | 131.0085
Pearl Rotana Capital Centre | 28 | 3 | 2023 | 8085 | 7361 | 128 | 92 | 15 | 13 | 6255.59 | 6745 | 0 | 144.9945
Pearl Rotana Capital Centre | 29 | 3 | 2023 | 8591 | 7981 | 128 | 125 | 16 | 11 | 5686.9 | 6074 | 0 | 150.003
Pearl Rotana Capital Centre | 30 | 3 | 2023 | 8184 | 7472 | 117 | 112 | 16 | 13 | 5686.9 | 6037 | 0 | 131.985
Pearl Rotana Capital Centre | 31 | 3 | 2023 | 7847 | 7119 | 121 | 69 | 17 | 12 | 5686.9 | 6050 | 0 | 113.9985

## Mar 2023
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION MARCH 2023
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading |  | Hotel Occupancy % | Adl. & Chl.
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons.
2023-03-01 | 15790229 | 7814 | 17031258 | 7814 | 403487 | 112 | 15740 | 3148 | 39527 | 79 | 619.36 | 27925 | 16 | 15138 | 9 | 25 | 39426 | 24 | 25.3368 | 489.6486 | 55710 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2267571 | 7008 | 74.92% | 300
2023-03-02 | 15798516 | 8287 | 17038942 | 7684 | 403602 | 115 | 16086 | 3217.2 | 39628 | 101 | 791.84 | 27942 | 17 | 15150 | 12 | 29 | 39453 | 27 | 28.5039 | 524.6451 | 55734 | 24 | 6824.28 | 2344.1402 | 4080.2717 | 6424.4119 | 2274666 | 7095 | 81.59% | 346
2023-03-03 | 15806927 | 8411 | 17046555 | 7613 | 403723 | 121 | 16145 | 3229 | 39725 | 97 | 760.48 | 27960 | 18 | 15162 | 12 | 30 | 39481 | 28 | 29.5596 | 536.3106 | 55758 | 24 | 6824.28 | 2344.1402 | 4080.2717 | 6424.4119 | 2282072 | 7406 | 100% | 426
2023-03-04 | 15815522 | 8595 | 17054199 | 7644 | 403836 | 113 | 16352 | 3270.4 | 39821 | 96 | 752.64 | 27977 | 17 | 15173 | 11 | 28 | 39509 | 28 | 29.5596 | 536.3106 | 55782 | 24 | 6824.28 | 2344.1402 | 4080.2717 | 6424.4119 | 2288680 | 6608 | 100% | 423
2023-03-05 | 15823535 | 8013 | 17061632 | 7433 | 403963 | 127 | 15573 | 3114.6 | 39947 | 126 | 987.84 | 27993 | 16 | 15183 | 10 | 26 | 39534 | 25 | 26.3925 | 501.3141 | 55804 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2294765 | 6085 | 90.79% | 369
2023-03-06 | 15832153 | 8618 | 17069315 | 7683 | 404093 | 130 | 16431 | 3286.2 | 40040 | 93 | 729.12 | 28009 | 16 | 15195 | 12 | 28 | 39561 | 27 | 28.5039 | 524.6451 | 55826 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2301579 | 6814 | 78.1% | 323
2023-03-07 | 15840387 | 8234 | 17076675 | 7360 | 404216 | 123 | 15717 | 3143.4 | 40148 | 108 | 846.72 | 28024 | 15 | 15207 | 12 | 27 | 39587 | 26 | 27.4482 | 512.9796 | 55847 | 21 | 5971.245 | 2051.1227 | 4080.2717 | 6131.3944 | 2308145 | 6566 | 80.63% | 330
2023-03-08 | 15848820 | 8433 | 17084238 | 7563 | 404334 | 118 | 16114 | 3222.8 | 40240 | 92 | 721.28 | 28040 | 16 | 15219 | 12 | 28 | 39614 | 27 | 28.5039 | 524.6451 | 55870 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2315123 | 6978 | 80.32% | 336
2023-03-09 | 15857177 | 8357 | 17092061 | 7823 | 404462 | 128 | 16308 | 3261.6 | 40329 | 89 | 697.76 | 28057 | 17 | 15235 | 16 | 33 | 39646 | 32 | 33.7824 | 582.9725 | 55893 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2322236 | 7113 | 69.84% | 295
2023-03-10 | 15865376 | 8199 | 17099817 | 7756 | 404589 | 127 | 16082 | 3216.4 | 40419 | 90 | 705.6 | 28073 | 16 | 15248 | 13 | 29 | 39675 | 29 | 30.6153 | 547.9761 | 55916 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2329333 | 7097 | 67.3% | 316
2023-03-11 | 15873625 | 8249 | 17107043 | 7226 | 404716 | 127 | 15602 | 3120.4 | 40513 | 94 | 736.96 | 28090 | 17 | 15257 | 9 | 26 | 39700 | 25 | 26.3925 | 501.3141 | 55939 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2336141 | 6808 | 67.62% | 309
2023-03-12 | 15881771 | 8146 | 17114160 | 7117 | 404844 | 128 | 15391 | 3078.2 | 40616 | 103 | 807.52 | 28105 | 15 | 15268 | 11 | 26 | 39725 | 25 | 26.3925 | 501.3141 | 55962 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2342873 | 6732 | 68.57% | 298
2023-03-13 | 15889915 | 8144 | 17121859 | 7699 | 404960 | 116 | 15959 | 3191.8 | 40719 | 103 | 807.52 | 28120 | 15 | 15281 | 13 | 28 | 39751 | 26 | 27.4482 | 512.9796 | 55986 | 24 | 6824.28 | 2344.1402 | 4080.2717 | 6424.4119 | 2350133 | 7260 | 85.4% | 357
2023-03-14 | 15898108 | 8193 | 17129203 | 7344 | 405082 | 122 | 15659 | 3131.8 | 40818 | 99 | 776.16 | 28136 | 16 | 15292 | 11 | 27 | 39778 | 27 | 28.5039 | 524.6451 | 56012 | 26 | 7392.97 | 2539.4852 | 4080.2717 | 6619.7569 | 2358007 | 7874 | 88.89% | 380
2023-03-15 | 15906454 | 8346 | 17136326 | 7123 | 405207 | 125 | 15594 | 3118.8 | 40916 | 98 | 768.32 | 28152 | 16 | 15304 | 12 | 28 | 39805 | 27 | 28.5039 | 524.6451 | 56038 | 26 | 7392.97 | 2539.4852 | 4080.2717 | 6619.7569 | 2365912 | 7905 | 89.84% | 372
2023-03-16 | 15914640 | 8186 | 17143609 | 7283 | 405335 | 128 | 15597 | 3119.4 | 41022 | 106 | 831.04 | 28168 | 16 | 15318 | 14 | 30 | 39834 | 29 | 30.6153 | 547.9761 | 56063 | 25 | 7108.625 | 2441.8127 | 4080.2717 | 6522.0844 | 2373733 | 7821 | 83.81% | 363
2023-03-17 | 15922744 | 8104 | 17151354 | 7745 | 405458 | 123 | 15972 | 3194.4 | 41135 | 113 | 885.92 | 28185 | 17 | 15331 | 13 | 30 | 39863 | 29 | 30.6153 | 547.9761 | 56087 | 24 | 6824.28 | 2344.1402 | 4080.2717 | 6424.4119 | 2381025 | 7292 | 56.83% | 257
2023-03-18 | 15930666 | 7922 | 17159003 | 7649 | 405586 | 128 | 15699 | 3139.8 | 41211 | 76 | 595.84 | 28204 | 19 | 15341 | 10 | 29 | 39891 | 28 | 29.5596 | 536.3106 | 56109 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2387557 | 6532 | 53.33% | 238
2023-03-19 | 15938398 | 7732 | 17166477 | 7474 | 405711 | 125 | 15331 | 3066.2 | 41295 | 84 | 658.56 | 28220 | 16 | 15351 | 10 | 26 | 39916 | 25 | 26.3925 | 501.3141 | 56129 | 20 | 5686.9 | 1953.4502 | 4080.2717 | 6033.7219 | 2393641 | 6084 | 51.11% | 215
2023-03-20 | 15946304 | 7906 | 17173635 | 7158 | 405840 | 129 | 15193 | 3038.6 | 41377 | 82 | 642.88 | 28236 | 16 | 15363 | 12 | 28 | 39943 | 27 | 28.5039 | 524.6451 | 56151 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2400437 | 6796 | 64.76% | 265
2023-03-21 | 15954174 | 7870 | 17181346 | 7711 | 405965 | 125 | 15706 | 3141.2 | 41466 | 89 | 697.76 | 28252 | 16 | 15378 | 15 | 31 | 39973 | 30 | 31.671 | 559.6416 | 56174 | 23 | 6539.935 | 2246.4677 | 4080.2717 | 6326.7394 | 2407388 | 6951 | 68.25% | 280
2023-03-22 | 15962578 | 8404 | 17189029 | 7683 | 406094 | 129 | 16216 | 3243.2 | 41586 | 120 | 940.8 | 28267 | 15 | 15390 | 12 | 27 | 39999 | 26 | 27.4482 | 512.9796 | 56194 | 20 | 5686.9 | 1953.4502 | 4080.2717 | 6033.7219 | 2413413 | 6025 | 50.79% | 203
2023-03-23 | 15970334 | 7756 | 17196829 | 7800 | 406220 | 126 | 15682 | 3136.4 | 41645 | 59 | 462.56 | 28282 | 15 | 15405 | 15 | 30 | 40028 | 29 | 30.6153 | 547.9761 | 56211 | 17 | 4833.865 | 1660.4326 | 4080.2717 | 5740.7044 | 2418670 | 5257 | 30.16% | 125
2023-03-24 | 15977876 | 7542 | 17204465 | 7636 | 406340 | 120 | 15298 | 3059.6 | 41698 | 53 | 415.52 | 28299 | 17 | 15417 | 12 | 29 | 40055 | 27 | 28.5039 | 524.6451 | 56228 | 17 | 4833.865 | 1660.4326 | 4080.2717 | 5740.7044 | 2423837 | 5167 | 26.35% | 111
2023-03-25 | 15985371 | 7495 | 17211777 | 7312 | 406441 | 101 | 14908 | 2981.6 | 41776 | 78 | 611.52 | 28315 | 16 | 15430 | 13 | 29 | 40083 | 28 | 29.5596 | 536.3106 | 56247 | 19 | 5402.555 | 1855.7776 | 4080.2717 | 5936.0494 | 2429135 | 5298 | 27.62% | 117
2023-03-26 | 15993010 | 7639 | 17218975 | 7198 | 406560 | 119 | 14956 | 2991.2 | 41845 | 69 | 540.96 | 28330 | 15 | 15442 | 12 | 27 | 40109 | 26 | 27.4482 | 512.9796 | 56267 | 20 | 5686.9 | 1953.4502 | 4080.2717 | 6033.7219 | 2435035 | 5900 | 37.14% | 151
2023-03-27 | 16000700 | 7690 | 17226400 | 7425 | 406679 | 119 | 15234 | 3046.8 | 41904 | 59 | 462.56 | 28347 | 17 | 15458 | 16 | 33 | 40141 | 32 | 33.7824 | 582.9725 | 56289 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2441840 | 6805 | 41.59% | 165
2023-03-28 | 16008785 | 8085 | 17233761 | 7361 | 406807 | 128 | 15574 | 3114.8 | 41996 | 92 | 721.28 | 28362 | 15 | 15471 | 13 | 28 | 40169 | 28 | 29.5596 | 536.3106 | 56311 | 22 | 6255.59 | 2148.7952 | 4080.2717 | 6229.0669 | 2448585 | 6745 | 46.03% | 179
2023-03-29 | 16017376 | 8591 | 17241742 | 7981 | 406935 | 128 | 16700 | 3340 | 42121 | 125 | 980 | 28378 | 16 | 15482 | 11 | 27 | 40195 | 26 | 27.4482 | 512.9796 | 56331 | 20 | 5686.9 | 1953.4502 | 4080.2717 | 6033.7219 | 2454659 | 6074 | 47.62% | 190
2023-03-30 | 16025560 | 8184 | 17249214 | 7472 | 407052 | 117 | 15773 | 3154.6 | 42233 | 112 | 878.08 | 28394 | 16 | 15495 | 13 | 29 | 40223 | 28 | 29.5596 | 536.3106 | 56351 | 20 | 5686.9 | 1953.4502 | 4080.2717 | 6033.7219 | 2460696 | 6037 | 41.9% | 165
2023-03-31 | 16033407 | 7847 | 17256333 | 7119 | 407173 | 121 | 15087 | 3017.4 | 42302 | 69 | 540.96 | 28411 | 17 | 15507 | 12 | 29 | 40251 | 28 | 29.5596 | 536.3106 | 56371 | 20 | 5686.9 | 1953.4502 | 4080.2717 | 6033.7219 | 2466746 | 6050 | 36.19% | 156
|  | 250992 |  | 232889 |  | 3798 | 487679 | 97535.8 |  | 2854 | 22375.36 |  | 502 |  | 378 | 880 |  | 849 | 896.2893 | 16403.9838 |  | 684 | 194491.98 | 66807.9951 | 126488.4237 | 193296.4189 |  | 206183 | 64.11% | 8360
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour
| Actual March 2023 |  | 97535.8 |  |  | 487679 |  |  | Actual March 2023 |  | 22375.36 | 2854 |  | Actual March 2023 |  |  | 16403.9838 |  | 896.2893 |  | Actual March 2023 |  | 193296.4189 |  | 194491.98 |  |  |  | 206183 | 11691.02
| Budget March 2023 |  | 99603 |  |  | 498015 |  |  | Budget March 2023 |  | 23170.1138 | 2955.3717 |  | Budget March 2023 |  |  | 16700.0623 |  | 874.3796 |  | Budget March 2023 |  | 192191.1497 |  | 191276.5639 | [5 empty] | 65703.4997 | CHW Consumption Charges (Budgeted 2023 MTD)
| Actual March 2022 |  | 99341.8 |  |  | 496709 |  |  | Actual March 2022 |  | 20062.56 | 2559 |  | Actual March 2022 |  |  | 13408.61 |  | 723.1054 |  | Actual March 2022 |  | 182068.16 |  | 176328.5298 | [5 empty] | 60445.42 | CHW Consumption Charges (Actual 2022 MTD)
| Actual YTD 2023 |  | 280810.6 |  |  | 1404053 |  |  | Actual YTD 2023 |  | 63041.44 | 8041 |  | Actual YTD 2023 |  |  | 47846.8638 |  | 2429.9773 |  | Actual YTD 2023 |  | 546698.6089 |  | 486857.8133 | [5 empty] | 167235.6589 | CHW Consumption Charges (Actual 2023 YTD)
| Budget YTD 2023 |  | 285277 |  |  | 1426385 |  |  | Budget YTD 2023 |  | 60979 | 7777.9337 |  | Budget YTD 2023 |  |  | 48289 |  | 2467.8785 |  | Budget YTD 2023 |  | 538991 |  | 464419.3595 | [5 empty] | 159528.05 | CHW Consumption Charges (Budgeted 2023 YTD)
| Actual YTD 2022 |  | 285695.2 |  |  | 1428476 |  |  | Actual YTD 2022 |  | 58572.64 | 7471 |  | Actual YTD 2022 |  |  | 43454.83 |  | 2507.2867 |  | Actual YTD 2022 |  | 513911.95 |  | 434783.3431 | [5 empty] | 149043.73 | CHW Consumption Charges (Actual 2022 YTD)
[6 empty] | 2023-03-01 |  | 2024-03-22 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual | [10 empty] | 379462.95 | CHW Fixed Charges YTD 2023
Electricity | 99603 |  | Electricity |  |  | 3213 |  | Electricity |  |  | 3146.3161 |  | Electricity |  |  |  | 99603 |  |  | Electricity |  | 97535.8 |  | 2067.2 | [6 empty] | 364868.22 | CHW Fixed Charges YTD 2022
Water | 23170.1138 |  | Water |  |  | 747.423 |  | Water |  |  | 721.7858 |  | Water |  |  |  | 23170.1138 |  |  | Water |  | 22375.36 |  | 794.7538
Gas | 16700.0623 |  | Gas |  |  | 538.7117 |  | Gas |  |  | 529.1608 |  | Gas |  |  |  | 16700.0623 |  |  | Gas |  | 16403.9838 |  | 296.0785
Chilled Water | 192191.1497 |  | Chilled Water |  |  | 6199.7145 |  | Chilled Water |  |  | 6235.3684 |  | Chilled Water |  |  |  | 192191.1497 |  |  | Chilled Water |  | 193296.4189 |  | -1105.2692
| 331664.3258 | [15 empty] | 331664.3258 |  |  |  |  | 329611.5626 |  | 2052.7631
| 2052.7631 | [21 empty] | 0.6189%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 99341.8 |  | Electricity |  |  | 3204.5742 |  | Electricity |  |  | 99341.8 |  | Electricity |  |  |  | 97535.8 |  |  | Electricity |  | 1806 |  |  | 97535.8 | 97535.8 |  |  | 1806 | 188159.4
Water | 20062.56 |  | Water |  |  | 647.1794 |  | Water |  |  | 20062.56 |  | Water |  |  |  | 22375.36 |  |  | Water |  | -2312.8 |  |  | 22375.36 | 22375.36 |  |  | -2312.8 | 36197.28
Gas | 13408.61 |  | Gas |  |  | 432.5358 |  | Gas |  |  | 13408.61 |  | Gas |  |  |  | 16403.9838 |  |  | Gas |  | -2995.3738 |  |  | 16403.9838 | 16403.9838 |  |  | -2995.3738 | 27050.8462
Chilled Water | 182068.16 |  | Chilled Water |  |  | 5873.1665 |  | Chilled Water |  |  | 182068.16 |  | Chilled Water |  |  |  | 193296.4189 |  |  | Chilled Water |  | -11228.2589 |  |  | 193296.4189 | 193296.4189 |  |  | -11228.2589 | 241486.9242
| 314881.13 | [9 empty] | 314881.13 | [5 empty] | 329611.5626 |  |  |  |  | -14730.4326 |  |  | 329611.5626 | 329611.5626 |  |  | -14730.4326 | 492894.4504
| -14730.4326 | [21 empty] | -4.678%