## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 7 | 2024 | 14309 | 0.2 | 32.7267 | 17.08 | 117 | 7.84 | 10520.765 | 0.335 | 302.9985 | 394
Pearl Rotana Capital Centre | 2 | 7 | 2024 | 14364 | 0.2 | 32.7267 | 17.08 | 113 | 7.84 | 10520.765 | 0.335 | 297.0135 | 367
Pearl Rotana Capital Centre | 3 | 7 | 2024 | 14575 | 0.2 | 34.8381 | 17.08 | 124 | 7.84 | 11658.145 | 0.335 | 293.9895 | 349
Pearl Rotana Capital Centre | 4 | 7 | 2024 | 14668 | 0.2 | 36.9495 | 17.08 | 103 | 7.84 | 10805.11 | 0.335 | 293.9895 | 372
Pearl Rotana Capital Centre | 5 | 7 | 2024 | 14737 | 0.2 | 36.9495 | 17.08 | 104 | 7.84 | 11942.49 | 0.335 | 234.99 | 339
Pearl Rotana Capital Centre | 6 | 7 | 2024 | 14258 | 0.2 | 36.9495 | 17.08 | 94 | 7.84 | 10236.42 | 0.335 | 198.009 | 273
Pearl Rotana Capital Centre | 7 | 7 | 2024 | 14290 | 0.2 | 33.7824 | 17.08 | 93 | 7.84 | 10236.42 | 0.335 | 262.9935 | 313
Pearl Rotana Capital Centre | 8 | 7 | 2024 | 14369 | 0.2 | 33.7824 | 17.08 | 109 | 7.84 | 11942.49 | 0.335 | 308.007 | 368
Pearl Rotana Capital Centre | 9 | 7 | 2024 | 14193 | 0.2 | 33.7824 | 17.08 | 112 | 7.84 | 11658.145 | 0.335 | 305.991 | 368
Pearl Rotana Capital Centre | 10 | 7 | 2024 | 14389 | 0.2 | 32.7267 | 17.08 | 116 | 7.84 | 11373.8 | 0.335 | 302.9985 | 365
Pearl Rotana Capital Centre | 11 | 7 | 2024 | 14184 | 0.2 | 35.8938 | 17.08 | 114 | 7.84 | 11658.145 | 0.335 | 261.9855 | 325
Pearl Rotana Capital Centre | 12 | 7 | 2024 | 14006 | 0.2 | 36.9495 | 17.08 | 107 | 7.84 | 11089.455 | 0.335 | 170.0055 | 231
Pearl Rotana Capital Centre | 13 | 7 | 2024 | 13765 | 0.2 | 39.0609 | 17.08 | 104 | 7.84 | 9952.075 | 0.335 | 187.0155 | 266
Pearl Rotana Capital Centre | 14 | 7 | 2024 | 13614 | 0.2 | 33.7824 | 17.08 | 92 | 7.84 | 10805.11 | 0.335 | 233.0055 | 306
Pearl Rotana Capital Centre | 15 | 7 | 2024 | 14025 | 0.2 | 33.7824 | 17.08 | 117 | 7.84 | 12226.835 | 0.335 | 297.99 | 388
Pearl Rotana Capital Centre | 16 | 7 | 2024 | 14376 | 0.2 | 35.8938 | 17.08 | 171 | 7.84 | 13079.87 | 0.335 | 301.014 | 397
Pearl Rotana Capital Centre | 17 | 7 | 2024 | 13026 | 0.2 | 33.7824 | 17.08 | 100 | 7.84 | 12511.18 | 0.335 | 262.9935 | 350
Pearl Rotana Capital Centre | 18 | 7 | 2024 | 14274 | 0.2 | 33.7824 | 17.08 | 92 | 7.84 | 12226.835 | 0.335 | 234.99 | 315
Pearl Rotana Capital Centre | 19 | 7 | 2024 | 13991 | 0.2 | 36.9495 | 17.08 | 114 | 7.84 | 12511.18 | 0.335 | 217.0035 | 321
Pearl Rotana Capital Centre | 20 | 7 | 2024 | 14069 | 0.2 | 33.7824 | 17.08 | 100 | 7.84 | 12511.18 | 0.335 | 217.0035 | 321
Pearl Rotana Capital Centre | 21 | 7 | 2024 | 14219 | 0.2 | 33.7824 | 17.08 | 111 | 7.84 | 12795.525 | 0.335 | 273.0105 | 376
Pearl Rotana Capital Centre | 22 | 7 | 2024 | 13658 | 0.2 | 33.7824 | 17.08 | 98 | 7.84 | 12226.835 | 0.335 | 281.988 | 363
Pearl Rotana Capital Centre | 23 | 7 | 2024 | 13929 | 0.2 | 34.8381 | 17.08 | 122 | 7.84 | 12226.835 | 0.335 | 309.9915 | 415
Pearl Rotana Capital Centre | 24 | 7 | 2024 | 13576 | 0.2 | 36.9495 | 17.08 | 113 | 7.84 | 11089.455 | 0.335 | 296.0055 | 393
Pearl Rotana Capital Centre | 25 | 7 | 2024 | 13907 | 0.2 | 35.8938 | 17.08 | 173 | 7.84 | 10805.11 | 0.335 | 288.0045 | 405
Pearl Rotana Capital Centre | 26 | 7 | 2024 | 14050 | 0.2 | 35.8938 | 17.08 | 138 | 7.84 | 11373.8 | 0.335 | 247.9995 | 346
Pearl Rotana Capital Centre | 27 | 7 | 2024 | 13966 | 0.2 | 34.8381 | 17.08 | 115 | 7.84 | 11373.8 | 0.335 | 269.9865 | 399
Pearl Rotana Capital Centre | 28 | 7 | 2024 | 14161 | 0.2 | 30.6153 | 17.08 | 100 | 7.84 | 11942.49 | 0.335 | 301.014 | 423
Pearl Rotana Capital Centre | 29 | 7 | 2024 | 13815 | 0.2 | 33.7824 | 17.08 | 121 | 7.84 | 12226.835 | 0.335 | 308.007 | 419
Pearl Rotana Capital Centre | 30 | 7 | 2024 | 13880 | 0.2 | 33.7824 | 17.08 | 131 | 7.84 | 12795.525 | 0.335 | 305.0145 | 423
Pearl Rotana Capital Centre | 31 | 7 | 2024 | 13370 | 0.2 | 34.8381 | 17.08 | 119 | 7.84 | 11658.145 | 0.335 | 310.9995 | 425

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 7 | 2024 | 7413 | 6790 | 106 | 117 | 18 | 13 | 10520.765 | 12601 | 10 | 302.9985 | 394
Pearl Rotana Capital Centre | 2 | 7 | 2024 | 7486 | 6772 | 106 | 113 | 19 | 13 | 10520.765 | 12772 | 9 | 297.0135 | 367
Pearl Rotana Capital Centre | 3 | 7 | 2024 | 7553 | 6916 | 106 | 124 | 19 | 14 | 11658.145 | 14358 | 14 | 293.9895 | 349
Pearl Rotana Capital Centre | 4 | 7 | 2024 | 7437 | 7124 | 107 | 103 | 19 | 15 | 10805.11 | 13921 | 9 | 293.9895 | 372
Pearl Rotana Capital Centre | 5 | 7 | 2024 | 7608 | 7030 | 99 | 104 | 20 | 15 | 11942.49 | 14981 | 7 | 234.99 | 339
Pearl Rotana Capital Centre | 6 | 7 | 2024 | 7414 | 6737 | 107 | 94 | 18 | 16 | 10236.42 | 12656 | 8 | 198.009 | 273
Pearl Rotana Capital Centre | 7 | 7 | 2024 | 7467 | 6717 | 106 | 93 | 17 | 16 | 10236.42 | 12651 | 7 | 262.9935 | 313
Pearl Rotana Capital Centre | 8 | 7 | 2024 | 7510 | 6752 | 107 | 109 | 18 | 13 | 11942.49 | 14973 | 10 | 308.007 | 368
Pearl Rotana Capital Centre | 9 | 7 | 2024 | 7380 | 6713 | 100 | 112 | 19 | 13 | 11658.145 | 15113 | 9 | 305.991 | 368
Pearl Rotana Capital Centre | 10 | 7 | 2024 | 7467 | 6817 | 105 | 116 | 18 | 12 | 11373.8 | 14501 | 9 | 302.9985 | 365
Pearl Rotana Capital Centre | 11 | 7 | 2024 | 7412 | 6668 | 104 | 114 | 18 | 16 | 11658.145 | 14870 | 11 | 261.9855 | 325
Pearl Rotana Capital Centre | 12 | 7 | 2024 | 7319 | 6582 | 105 | 107 | 19 | 15 | 11089.455 | 14396 | 11 | 170.0055 | 231
Pearl Rotana Capital Centre | 13 | 7 | 2024 | 7366 | 6293 | 106 | 104 | 19 | 17 | 9952.075 | 12671 | 9 | 187.0155 | 266
Pearl Rotana Capital Centre | 14 | 7 | 2024 | 7329 | 6187 | 98 | 92 | 18 | 15 | 10805.11 | 13355 | 8 | 233.0055 | 306
Pearl Rotana Capital Centre | 15 | 7 | 2024 | 7473 | 6449 | 103 | 117 | 17 | 15 | 12226.835 | 15932 | 9 | 297.99 | 388
Pearl Rotana Capital Centre | 16 | 7 | 2024 | 7752 | 6530 | 94 | 171 | 18 | 16 | 13079.87 | 16770 | 10 | 301.014 | 397
Pearl Rotana Capital Centre | 17 | 7 | 2024 | 6957 | 5971 | 98 | 100 | 18 | 13 | 12511.18 | 15059 | 6 | 262.9935 | 350
Pearl Rotana Capital Centre | 18 | 7 | 2024 | 7607 | 6568 | 99 | 92 | 18 | 13 | 12226.835 | 15607 | 8 | 234.99 | 315
Pearl Rotana Capital Centre | 19 | 7 | 2024 | 7364 | 6523 | 104 | 114 | 19 | 16 | 12511.18 | 15323 | 10 | 217.0035 | 321
Pearl Rotana Capital Centre | 20 | 7 | 2024 | 7319 | 6647 | 103 | 100 | 19 | 13 | 12511.18 | 15345 | 5 | 217.0035 | 321
Pearl Rotana Capital Centre | 21 | 7 | 2024 | 7573 | 6548 | 98 | 111 | 19 | 13 | 12795.525 | 15870 | 9 | 273.0105 | 376
Pearl Rotana Capital Centre | 22 | 7 | 2024 | 7236 | 6324 | 98 | 98 | 17 | 15 | 12226.835 | 15546 | 8 | 281.988 | 363
Pearl Rotana Capital Centre | 23 | 7 | 2024 | 7349 | 6483 | 97 | 122 | 18 | 14 | 12226.835 | 15498 | 7 | 309.9915 | 415
Pearl Rotana Capital Centre | 24 | 7 | 2024 | 7074 | 6395 | 107 | 113 | 19 | 16 | 11089.455 | 13846 | 7 | 296.0055 | 393
Pearl Rotana Capital Centre | 25 | 7 | 2024 | 7334 | 6465 | 108 | 173 | 18 | 15 | 10805.11 | 13330 | 11 | 288.0045 | 405
Pearl Rotana Capital Centre | 26 | 7 | 2024 | 7291 | 6653 | 106 | 138 | 20 | 14 | 11373.8 | 14309 | 8 | 247.9995 | 346
Pearl Rotana Capital Centre | 27 | 7 | 2024 | 7363 | 6496 | 107 | 115 | 19 | 14 | 11373.8 | 13695 | 9 | 269.9865 | 399
Pearl Rotana Capital Centre | 28 | 7 | 2024 | 7444 | 6610 | 107 | 100 | 17 | 11 | 11942.49 | 14424 | 6 | 301.014 | 423
Pearl Rotana Capital Centre | 29 | 7 | 2024 | 7284 | 6429 | 102 | 121 | 17 | 15 | 12226.835 | 15013 | 9 | 308.007 | 419
Pearl Rotana Capital Centre | 30 | 7 | 2024 | 7508 | 6273 | 99 | 131 | 18 | 14 | 12795.525 | 15529 | 8 | 305.0145 | 423
Pearl Rotana Capital Centre | 31 | 7 | 2024 | 7174 | 6098 | 98 | 119 | 18 | 14 | 11658.145 | 14393 | 9 | 310.9995 | 425

## July 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - JULY 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-07-01 | 19621826 | 7413 | 20453146 | 6790 | 462035 | 106 | 14309 | 2861.8 | 87201 | 117 | 917.28 | 37034 | 18 | 21760 | 13 | 31 | 54900 | 31 | 32.7267 | 571.307 | 69951 | 37 | 10520.765 | 3621.2473 | 4243.4694 | 7864.7167 | 7027950 | 12601 | 96.19% | 394 | 13773201 | 5935 | 1187 | 6375295 | 2256 | 451.2 | 156102 | 483 | 96.6 | 6936 | 10 | 78.4 | 2869 | 1 | 7.84 | 184 | 1 | 7.84
2024-07-02 | 19629312 | 7486 | 20459918 | 6772 | 462141 | 106 | 14364 | 2872.8 | 87314 | 113 | 885.92 | 37053 | 19 | 21773 | 13 | 32 | 54931 | 31 | 32.7267 | 571.307 | 69988 | 37 | 10520.765 | 3621.2473 | 4243.4694 | 7864.7167 | 7040722 | 12772 | 94.29% | 367 | 13779105 | 5904 | 1180.8 | 6377512 | 2217 | 443.4 | 156608 | 506 | 101.2 | 6945 | 9 | 70.56 | 2870 | 1 | 7.84 | 185 | 1 | 7.84
2024-07-03 | 19636865 | 7553 | 20466834 | 6916 | 462247 | 106 | 14575 | 2915 | 87438 | 124 | 972.16 | 37072 | 19 | 21787 | 14 | 33 | 54964 | 33 | 34.8381 | 594.638 | 70029 | 41 | 11658.145 | 4012.7335 | 4243.4694 | 8256.2029 | 7055080 | 14358 | 93.33% | 349 | 13785070 | 5965 | 1193 | 6379754 | 2242 | 448.4 | 157305 | 697 | 139.4 | 6959 | 14 | 109.76 | 2871 | 1 | 7.84 | 186 | 1 | 7.84
2024-07-04 | 19644302 | 7437 | 20473958 | 7124 | 462354 | 107 | 14668 | 2933.6 | 87541 | 103 | 807.52 | 37091 | 19 | 21802 | 15 | 34 | 54999 | 35 | 36.9495 | 617.969 | 70067 | 38 | 10805.11 | 3719.1189 | 4243.4694 | 7962.5883 | 7069001 | 13921 | 93.33% | 372 | 13790898 | 5828 | 1165.6 | 6381934 | 2180 | 436 | 157894 | 589 | 117.8 | 6968 | 9 | 70.56 | 2872 | 1 | 7.84 | 187 | 1 | 7.84
2024-07-05 | 19651910 | 7608 | 20480988 | 7030 | 462453 | 99 | 14737 | 2947.4 | 87645 | 104 | 815.36 | 37111 | 20 | 21817 | 15 | 35 | 55034 | 35 | 36.9495 | 617.969 | 70109 | 42 | 11942.49 | 4110.6051 | 4243.4694 | 8354.0745 | 7083982 | 14981 | 74.6% | 339 | 13796612 | 5714 | 1142.8 | 6384106 | 2172 | 434.4 | 158492 | 598 | 119.6 | 6975 | 7 | 54.88 | 2873 | 1 | 7.84 | 188 | 1 | 7.84
2024-07-06 | 19659324 | 7414 | 20487725 | 6737 | 462560 | 107 | 14258 | 2851.6 | 87739 | 94 | 736.96 | 37129 | 18 | 21833 | 16 | 34 | 55069 | 35 | 36.9495 | 617.969 | 70145 | 36 | 10236.42 | 3523.3758 | 4243.4694 | 7766.8452 | 7096638 | 12656 | 62.86% | 273 | 13801399 | 4787 | 957.4 | 6386132 | 2026 | 405.2 | 158943 | 451 | 90.2 | 6983 | 8 | 62.72 | 2874 | 1 | 7.84 | 188 | 0 | 0
2024-07-07 | 19666791 | 7467 | 20494442 | 6717 | 462666 | 106 | 14290 | 2858 | 87832 | 93 | 729.12 | 37146 | 17 | 21849 | 16 | 33 | 55101 | 32 | 33.7824 | 582.9725 | 70181 | 36 | 10236.42 | 3523.3758 | 4243.4694 | 7766.8452 | 7109289 | 12651 | 83.49% | 313 | 13806108 | 4709 | 941.8 | 6388177 | 2045 | 409 | 159391 | 448 | 89.6 | 6990 | 7 | 54.88 | 2874 | 0 | 0 | 189 | 1 | 7.84
2024-07-08 | 19674301 | 7510 | 20501194 | 6752 | 462773 | 107 | 14369 | 2873.8 | 87941 | 109 | 854.56 | 37164 | 18 | 21862 | 13 | 31 | 55133 | 32 | 33.7824 | 582.9725 | 70223 | 42 | 11942.49 | 4110.6051 | 4243.4694 | 8354.0745 | 7124262 | 14973 | 97.78% | 368 | 13811934 | 5826 | 1165.2 | 6390373 | 2196 | 439.2 | 159944 | 553 | 110.6 | 7000 | 10 | 78.4 | 2875 | 1 | 7.84 | 0 | 0 | 0 | New water meter installed.
2024-07-09 | 19681681 | 7380 | 20507907 | 6713 | 462873 | 100 | 14193 | 2838.6 | 88053 | 112 | 878.08 | 37183 | 19 | 21875 | 13 | 32 | 55165 | 32 | 33.7824 | 582.9725 | 70264 | 41 | 11658.145 | 4012.7335 | 4243.4694 | 8256.2029 | 7139375 | 15113 | 97.14% | 368 | 13817757 | 5823 | 1164.6 | 6392589 | 2216 | 443.2 | 160517 | 573 | 114.6 | 7009 | 9 | 70.56 | 2877 | 2 | 15.68 | 2 | 2 | 15.68
2024-07-10 | 19689148 | 7467 | 20514724 | 6817 | 462978 | 105 | 14389 | 2877.8 | 88169 | 116 | 909.44 | 37201 | 18 | 21887 | 12 | 30 | 55196 | 31 | 32.7267 | 571.307 | 70304 | 40 | 11373.8 | 3914.862 | 4243.4694 | 8158.3314 | 7153876 | 14501 | 96.19% | 365 | 13823677 | 5920 | 1184 | 6394780 | 2191 | 438.2 | 161022 | 505 | 101 | 7018 | 9 | 70.56 | 2878 | 1 | 7.84 | 3 | 1 | 7.84
2024-07-11 | 19696560 | 7412 | 20521392 | 6668 | 463082 | 104 | 14184 | 2836.8 | 88283 | 114 | 893.76 | 37219 | 18 | 21903 | 16 | 34 | 55230 | 34 | 35.8938 | 606.3035 | 70345 | 41 | 11658.145 | 4012.7335 | 4243.4694 | 8256.2029 | 7168746 | 14870 | 83.17% | 325 | 13829550 | 5873 | 1174.6 | 6396976 | 2196 | 439.2 | 161544 | 522 | 104.4 | 7029 | 11 | 86.24 | 2879 | 1 | 7.84 | 4 | 1 | 7.84
2024-07-12 | 19703879 | 7319 | 20527974 | 6582 | 463187 | 105 | 14006 | 2801.2 | 88390 | 107 | 838.88 | 37238 | 19 | 21918 | 15 | 34 | 55265 | 35 | 36.9495 | 617.969 | 70384 | 39 | 11089.455 | 3816.9904 | 4243.4694 | 8060.4598 | 7183142 | 14396 | 53.97% | 231 | 13835299 | 5749 | 1149.8 | 6399101 | 2125 | 425 | 162083 | 539 | 107.8 | 7040 | 11 | 86.24 | 2879 | 0 | 0 | 5 | 1 | 7.84
2024-07-13 | 19711245 | 7366 | 20534267 | 6293 | 463293 | 106 | 13765 | 2753 | 88494 | 104 | 815.36 | 37257 | 19 | 21935 | 17 | 36 | 55302 | 37 | 39.0609 | 641.2999 | 70419 | 35 | 9952.075 | 3425.5042 | 4243.4694 | 7668.9737 | 7195813 | 12671 | 59.37% | 266 | 13840353 | 5054 | 1010.8 | 6401134 | 2033 | 406.6 | 162523 | 440 | 88 | 7049 | 9 | 70.56 | 2879 | 0 | 0 | 6 | 1 | 7.84
2024-07-14 | 19718574 | 7329 | 20540454 | 6187 | 463391 | 98 | 13614 | 2722.8 | 88586 | 92 | 721.28 | 37275 | 18 | 21950 | 15 | 33 | 55334 | 32 | 33.7824 | 582.9725 | 70457 | 38 | 10805.11 | 3719.1189 | 4243.4694 | 7962.5883 | 7209168 | 13355 | 73.97% | 306 | 13845370 | 5017 | 1003.4 | 6403168 | 2034 | 406.8 | 163005 | 482 | 96.4 | 7057 | 8 | 62.72 | 2879 | 0 | 0 | 7 | 1 | 7.84
2024-07-15 | 19726047 | 7473 | 20546903 | 6449 | 463494 | 103 | 14025 | 2805 | 88703 | 117 | 917.28 | 37292 | 17 | 21965 | 15 | 32 | 55366 | 32 | 33.7824 | 582.9725 | 70500 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7225100 | 15932 | 94.6% | 388 | 13851292 | 5922 | 1184.4 | 6405368 | 2200 | 440 | 163557 | 552 | 110.4 | 7066 | 9 | 70.56 | 2879 | 0 | 0 | 8 | 1 | 7.84
2024-07-16 | 19733799 | 7752 | 20553433 | 6530 | 463588 | 94 | 14376 | 2875.2 | 88874 | 171 | 1340.64 | 37310 | 18 | 21981 | 16 | 34 | 55400 | 34 | 35.8938 | 606.3035 | 70546 | 46 | 13079.87 | 4502.0913 | 4243.4694 | 8745.5607 | 7241870 | 16770 | 95.56% | 397 | 13857458 | 6166 | 1233.2 | 6407711 | 2343 | 468.6 | 164124 | 567 | 113.4 | 7076 | 10 | 78.4 | 2879 | 0 | 0 | 9 | 1 | 7.84
2024-07-17 | 19740756 | 6957 | 20559404 | 5971 | 463686 | 98 | 13026 | 2605.2 | 88974 | 100 | 784 | 37328 | 18 | 21994 | 13 | 31 | 55432 | 32 | 33.7824 | 582.9725 | 70590 | 44 | 12511.18 | 4306.3482 | 4243.4694 | 8549.8176 | 7256929 | 15059 | 83.49% | 350 | 13863024 | 5566 | 1113.2 | 6409717 | 2006 | 401.2 | 164616 | 492 | 98.4 | 7082 | 6 | 47.04 | 2879 | 0 | 0 | 10 | 1 | 7.84
2024-07-18 | 19748363 | 7607 | 20565972 | 6568 | 463785 | 99 | 14274 | 2854.8 | 89066 | 92 | 721.28 | 37346 | 18 | 22007 | 13 | 31 | 55464 | 32 | 33.7824 | 582.9725 | 70633 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7272536 | 15607 | 74.6% | 315 | 13869004 | 5980 | 1196 | 6411864 | 2147 | 429.4 | 165211 | 595 | 119 | 7090 | 8 | 62.72 | 2879 | 0 | 0 | 11 | 1 | 7.84
2024-07-19 | 19755727 | 7364 | 20572495 | 6523 | 463889 | 104 | 13991 | 2798.2 | 89180 | 114 | 893.76 | 37365 | 19 | 22023 | 16 | 35 | 55499 | 35 | 36.9495 | 617.969 | 70677 | 44 | 12511.18 | 4306.3482 | 4243.4694 | 8549.8176 | 7287859 | 15323 | 68.89% | 321 | 13874653 | 5649 | 1129.8 | 6413967 | 2103 | 420.6 | 165795 | 584 | 116.8 | 7100 | 10 | 78.4 | 2883 | 4 | 31.36 | 12 | 1 | 7.84
2024-07-20 | 19763046 | 7319 | 20579142 | 6647 | 463992 | 103 | 14069 | 2813.8 | 89280 | 100 | 784 | 37384 | 19 | 22036 | 13 | 32 | 55531 | 32 | 33.7824 | 582.9725 | 70721 | 44 | 12511.18 | 4306.3482 | 4243.4694 | 8549.8176 | 7303204 | 15345 | 68.89% | 321 | 13879506 | 4853 | 970.6 | 6416006 | 2039 | 407.8 | 166359 | 564 | 112.8 | 7105 | 5 | 39.2 | 2883 | 0 | 0 | 13 | 1 | 7.84
2024-07-21 | 19770619 | 7573 | 20585690 | 6548 | 464090 | 98 | 14219 | 2843.8 | 89391 | 111 | 870.24 | 37403 | 19 | 22049 | 13 | 32 | 55563 | 32 | 33.7824 | 582.9725 | 70766 | 45 | 12795.525 | 4404.2197 | 4243.4694 | 8647.6891 | 7319074 | 15870 | 86.67% | 376 | 13884531 | 5025 | 1005 | 6418076 | 2070 | 414 | 166969 | 610 | 122 | 7114 | 9 | 70.56 | 2883 | 0 | 0 | 14 | 1 | 7.84
2024-07-22 | 19777855 | 7236 | 20592014 | 6324 | 464188 | 98 | 13658 | 2731.6 | 89489 | 98 | 768.32 | 37420 | 17 | 22064 | 15 | 32 | 55595 | 32 | 33.7824 | 582.9725 | 70809 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7334620 | 15546 | 89.52% | 363 | 13890268 | 5737 | 1147.4 | 6420197 | 2121 | 424.2 | 167517 | 548 | 109.6 | 7122 | 8 | 62.72 | 2887 | 4 | 31.36 | 15 | 1 | 7.84
2024-07-23 | 19785204 | 7349 | 20598497 | 6483 | 464285 | 97 | 13929 | 2785.8 | 89611 | 122 | 956.48 | 37438 | 18 | 22078 | 14 | 32 | 55628 | 33 | 34.8381 | 594.638 | 70852 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7350118 | 15498 | 98.41% | 415 | 13896117 | 5849 | 1169.8 | 6422384 | 2187 | 437.4 | 168025 | 508 | 101.6 | 7129 | 7 | 54.88 | 2887 | 0 | 0 | 16 | 1 | 7.84
2024-07-24 | 19792278 | 7074 | 20604892 | 6395 | 464392 | 107 | 13576 | 2715.2 | 89724 | 113 | 885.92 | 37457 | 19 | 22094 | 16 | 35 | 55663 | 35 | 36.9495 | 617.969 | 70891 | 39 | 11089.455 | 3816.9904 | 4243.4694 | 8060.4598 | 7363964 | 13846 | 93.97% | 393 | 13901967 | 5850 | 1170 | 6424577 | 2193 | 438.6 | 168481 | 456 | 91.2 | 7136 | 7 | 54.88 | 2887 | 0 | 0 | 17 | 1 | 7.84
2024-07-25 | 19799612 | 7334 | 20611357 | 6465 | 464500 | 108 | 13907 | 2781.4 | 89897 | 173 | 1356.32 | 37475 | 18 | 22109 | 15 | 33 | 55697 | 34 | 35.8938 | 606.3035 | 70929 | 38 | 10805.11 | 3719.1189 | 4243.4694 | 7962.5883 | 7377294 | 13330 | 91.43% | 405 | 13907840 | 5873 | 1174.6 | 6426765 | 2188 | 437.6 | 168964 | 483 | 96.6 | 7147 | 11 | 86.24 | 2967 | 80 | 627.2 | 18 | 1 | 7.84
2024-07-26 | 19806903 | 7291 | 20618010 | 6653 | 464606 | 106 | 14050 | 2810 | 90035 | 138 | 1081.92 | 37495 | 20 | 22123 | 14 | 34 | 55731 | 34 | 35.8938 | 606.3035 | 70969 | 40 | 11373.8 | 3914.862 | 4243.4694 | 8158.3314 | 7391603 | 14309 | 78.73% | 346 | 13913617 | 5777 | 1155.4 | 6428969 | 2204 | 440.8 | 169512 | 548 | 109.6 | 7155 | 8 | 62.72 | 2982 | 15 | 117.6 | 18 | 0 | 0
2024-07-27 | 19814266 | 7363 | 20624506 | 6496 | 464713 | 107 | 13966 | 2793.2 | 90150 | 115 | 901.6 | 37514 | 19 | 22137 | 14 | 33 | 55764 | 33 | 34.8381 | 594.638 | 71009 | 40 | 11373.8 | 3914.862 | 4243.4694 | 8158.3314 | 7405298 | 13695 | 85.71% | 399 | 13918471 | 4854 | 970.8 | 6431036 | 2067 | 413.4 | 170009 | 497 | 99.4 | 7164 | 9 | 70.56 | 2987 | 5 | 39.2 | 18 | 0 | 0
2024-07-28 | 19821710 | 7444 | 20631116 | 6610 | 464820 | 107 | 14161 | 2832.2 | 90250 | 100 | 784 | 37531 | 17 | 22148 | 11 | 28 | 55793 | 29 | 30.6153 | 547.9761 | 71051 | 42 | 11942.49 | 4110.6051 | 4243.4694 | 8354.0745 | 7419722 | 14424 | 95.56% | 423 | 13923534 | 5063 | 1012.6 | 6433136 | 2100 | 420 | 170549 | 540 | 108 | 7170 | 6 | 47.04 | 2988 | 1 | 7.84 | 19 | 1 | 7.84
2024-07-29 | 19828994 | 7284 | 20637545 | 6429 | 464922 | 102 | 13815 | 2763 | 90371 | 121 | 948.64 | 37548 | 17 | 22163 | 15 | 32 | 55825 | 32 | 33.7824 | 582.9725 | 71094 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7434735 | 15013 | 97.78% | 419 | 13929376 | 5842 | 1168.4 | 6435327 | 2191 | 438.2 | 171119 | 570 | 114 | 7179 | 9 | 70.56 | 2989 | 1 | 7.84 | 19 | 0 | 0
2024-07-30 | 19836502 | 7508 | 20643818 | 6273 | 465021 | 99 | 13880 | 2776 | 90502 | 131 | 1027.04 | 37566 | 18 | 22177 | 14 | 32 | 55857 | 32 | 33.7824 | 582.9725 | 71139 | 45 | 12795.525 | 4404.2197 | 4243.4694 | 8647.6891 | 7450264 | 15529 | 96.83% | 423 | 13935295 | 5919 | 1183.8 | 6437535 | 2208 | 441.6 | 171664 | 545 | 109 | 7187 | 8 | 62.72 | 2994 | 5 | 39.2 | 19 | 0 | 0
2024-07-31 | 19843676 | 7174 | 20649916 | 6098 | 465119 | 98 | 13370 | 2674 | 90621 | 119 | 932.96 | 37584 | 18 | 22191 | 14 | 32 | 55890 | 33 | 34.8381 | 594.638 | 71180 | 41 | 11658.145 | 4012.7335 | 4243.4694 | 8256.2029 | 7464657 | 14393 | 98.73% | 425 | 13941025 | 5730 | 1146 | 6439661 | 2126 | 425.2 | 172166 | 502 | 100.4 | 7196 | 9 | 70.56 | 2994 | 0 | 0 | 19 | 0 | 0
|  | 229263 |  | 203560 |  | 3190 | 436013 | 87202.6 |  | 3537 | 27730.08 |  | 568 |  | 444 | 1012 |  | 1021 | 1077.8697 | 18410.4472 |  | 1266 | 359980.77 | 123905.381 | 131547.5525 | 255452.9335 |  | 449308 | 85.78% | 11115 |  | 173759 | 34751.8 |  | 66622 | 13324.4 |  | 16547 | 3309.4 |  | 270 | 2116.8 |  | 126 | 987.84 |  | 25 | 196
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 920832.85 | CHW Fixed Charges YTD 2024
| Actual July 2024 |  | 87202.6 |  |  | 436013 |  |  | Actual July 2024 |  | 27730.08 | 3537 |  | Actual July 2024 |  |  | 18410.4472 |  | 1077.8697 |  | Actual July 2024 |  | 255452.9335 |  | 359980.77 |  |  |  | 449308 | 89327.23 |  | 885418.94 | CHW Fixed Charges YTD 2023
| Budget July 2024 |  | 97845.3 |  |  | 489226.5 |  |  | Budget July 2024 |  | 24206.1794 | 3087.5229 |  | Budget July 2024 |  |  | 17051.9028 |  | 954.9233 |  | Budget July 2024 |  | 263600.2096 |  | 383650.9576 |  |  |  | 17.0804 |  |  | 132052.6596 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual July 2023 |  | 96887.8 |  |  | 484439 |  |  | Actual July 2023 |  | 24641.12 | 3143 |  | Actual July 2023 |  |  | 17705.46 |  | 1014.0688 |  | Actual July 2023 |  | 253461.74 |  | 369645.7642 | [6 empty] | 126973.32 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 613782.6 |  |  | 3068913 |  |  | Actual YTD 2024 |  | 170739.52 | 21778 |  | Actual YTD 2024 |  |  | 128692.4872 |  | 7528.7319 |  | Actual YTD 2024 |  | 1471014.2435 |  | 1598435.1933 | [6 empty] | 550181.3935 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 672336 |  |  | 3361680 |  |  | Budget YTD 2024 |  | 168308.0794 | 21467.8673 |  | Budget YTD 2024 |  |  | 126166.8428 |  | 7300.1668 |  | Budget YTD 2024 |  | 1460924.6096 |  | 1569121.9047 | [6 empty] | 540091.7596 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 656463 |  |  | 3282315 |  |  | Actual YTD 2023 |  | 152362.56 | 19434 |  | Actual YTD 2023 |  |  | 117302.25 |  | 6497.9412 |  | Actual YTD 2023 |  | 1396357.02 |  | 1487447.1033 | [6 empty] | 510938.08 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-07-01 | 2024-08-05 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 97845.3 |  | Electricity |  |  | 3156.3 |  | Electricity |  |  | 2812.9871 |  | Electricity |  |  |  | 97845.3 |  |  | Electricity |  | 87202.6 |  | 10642.7 | Electricity |  | 672336 |  | Electricity |  | 613782.6 | 58553.4 | -58553.4
Water | 24206.1794 |  | Water |  |  | 780.8445 |  | Water |  |  | 894.5187 |  | Water |  |  |  | 24206.1794 |  |  | Water |  | 27730.08 |  | -3523.9006 | Water |  | 168308.0794 |  | Water |  | 170739.52 | -2431.4406 | 2431.4406
Gas | 17051.9028 |  | Gas |  |  | 550.0614 |  | Gas |  |  | 593.8854 |  | Gas |  |  |  | 17051.9028 |  |  | Gas |  | 18410.4472 |  | -1358.5444 | Gas |  | 126166.8428 |  | Gas |  | 128692.4872 | -2525.6444 | 2525.6444
Chilled Water | 263600.2096 |  | Chilled Water |  |  | 8503.2326 |  | Chilled Water |  |  | 8240.4172 |  | Chilled Water |  |  |  | 263600.2096 |  |  | Chilled Water |  | 255452.9335 |  | 8147.2761 | Chilled Water |  | 1460924.6096 |  | Chilled Water |  | 1471014.2435 | -10089.6339 | 10089.6339
| 402703.5918 | [15 empty] | 402703.5918 |  |  |  |  | 388796.0607 |  | 13907.5311 |  | Total Energy cost | 2427735.5318 |  |  |  | 2384228.8507 | 43506.6811
| 13907.5311 | [21 empty] | 3.454% | [7 empty] | 1.792%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 96887.8 |  | Electricity |  |  | 3125.4129 |  | Electricity |  |  | 96887.8 |  | Electricity |  |  |  | 87202.6 |  |  | Electricity |  | 9685.2 |  |  | 87202.6 | 613782.6 |  |  | 9685.2 | 42680.4
Water | 24641.12 |  | Water |  |  | 794.8748 |  | Water |  |  | 24641.12 |  | Water |  |  |  | 27730.08 |  |  | Water |  | -3088.96 |  |  | 27730.08 | 170739.52 |  |  | -3088.96 | -18376.96
Gas | 17705.46 |  | Gas |  |  | 571.1439 |  | Gas |  |  | 17705.46 |  | Gas |  |  |  | 18410.4472 |  |  | Gas |  | -704.9872 |  |  | 18410.4472 | 128692.4872 |  |  | -704.9872 | -11390.2372
Chilled Water | 253461.74 |  | Chilled Water |  |  | 8176.1852 |  | Chilled Water |  |  | 253461.74 |  | Chilled Water |  |  |  | 255452.9335 |  |  | Chilled Water |  | -1991.1935 |  |  | 255452.9335 | 1471014.2435 |  |  | -1991.1935 | 16432.8598
| 392696.12 | [9 empty] | 392696.12 | [5 empty] | 388796.0607 |  |  |  |  | 3900.0593 |  |  | 388796.0607 | 2384228.8507 |  |  | 3900.0593 | 29346.0626
| 3900.0593 | [21 empty] | 0.9931%