## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 8 | 2024 | 14118 | 0.2 | 34.8381 | 17.1101 | 127 | 7.84 | 11373.8 | 0.3442 | 301.014 | 409
Pearl Rotana Capital Centre | 2 | 8 | 2024 | 13950 | 0.2 | 39.0609 | 17.1101 | 99 | 7.84 | 13079.87 | 0.3442 | 250.992 | 367
Pearl Rotana Capital Centre | 3 | 8 | 2024 | 13682 | 0.2 | 38.0052 | 17.1101 | 98 | 7.84 | 12226.835 | 0.3442 | 281.0115 | 426
Pearl Rotana Capital Centre | 4 | 8 | 2024 | 13881 | 0.2 | 34.8381 | 17.1101 | 122 | 7.84 | 11942.49 | 0.3442 | 289.989 | 427
Pearl Rotana Capital Centre | 5 | 8 | 2024 | 14128 | 0.2 | 34.8381 | 17.1101 | 117 | 7.84 | 12226.835 | 0.3442 | 315 | 446
Pearl Rotana Capital Centre | 6 | 8 | 2024 | 14228 | 0.2 | 33.7824 | 17.1101 | 105 | 7.84 | 11089.455 | 0.3442 | 310.9995 | 445
Pearl Rotana Capital Centre | 7 | 8 | 2024 | 14175 | 0.2 | 32.7267 | 17.1101 | 106 | 7.84 | 11373.8 | 0.3442 | 312.0075 | 449
Pearl Rotana Capital Centre | 8 | 8 | 2024 | 14152 | 0.2 | 36.9495 | 17.1101 | 110 | 7.84 | 11658.145 | 0.3449 | 298.998 | 438
Pearl Rotana Capital Centre | 9 | 8 | 2024 | 14180 | 0.2 | 35.8938 | 17.1101 | 119 | 7.84 | 12511.18 | 0.3449 | 276.003 | 427
Pearl Rotana Capital Centre | 10 | 8 | 2024 | 14322 | 0.2 | 34.8381 | 17.1101 | 108 | 7.84 | 12795.525 | 0.3449 | 278.9955 | 448
Pearl Rotana Capital Centre | 11 | 8 | 2024 | 14196 | 0.2 | 32.7267 | 17.1101 | 115 | 7.84 | 13079.87 | 0.3449 | 284.004 | 430
Pearl Rotana Capital Centre | 12 | 8 | 2024 | 14086 | 0.2 | 34.8381 | 17.1101 | 116 | 7.84 | 12795.525 | 0.3449 | 298.998 | 430
Pearl Rotana Capital Centre | 13 | 8 | 2024 | 14441 | 0.2 | 39.0609 | 17.1101 | 128 | 7.84 | 13648.56 | 0.3449 | 310.9995 | 437
Pearl Rotana Capital Centre | 14 | 8 | 2024 | 14356 | 0.2 | 34.8381 | 17.1101 | 111 | 7.84 | 12795.525 | 0.3449 | 305.0145 | 419
Pearl Rotana Capital Centre | 15 | 8 | 2024 | 14264 | 0.2 | 33.7824 | 17.1101 | 108 | 7.84 | 13364.215 | 0.3449 | 269.01 | 369
Pearl Rotana Capital Centre | 16 | 8 | 2024 | 13834 | 0.2 | 32.7267 | 17.1101 | 100 | 7.84 | 13079.87 | 0.3449 | 225.0045 | 338
Pearl Rotana Capital Centre | 17 | 8 | 2024 | 13738 | 0.2 | 34.8381 | 17.1101 | 88 | 7.84 | 12795.525 | 0.3449 | 214.9875 | 330
Pearl Rotana Capital Centre | 18 | 8 | 2024 | 13917 | 0.2 | 30.6153 | 17.1101 | 103 | 7.84 | 12226.835 | 0.3449 | 238.9905 | 311
Pearl Rotana Capital Centre | 19 | 8 | 2024 | 13889 | 0.2 | 33.7824 | 17.1101 | 119 | 7.84 | 11658.145 | 0.3449 | 300.006 | 378
Pearl Rotana Capital Centre | 20 | 8 | 2024 | 14201 | 0.2 | 33.7824 | 17.1101 | 79 | 7.84 | 11942.49 | 0.3449 | 300.006 | 384
Pearl Rotana Capital Centre | 21 | 8 | 2024 | 14282 | 0.2 | 33.7824 | 17.1101 | 106 | 7.84 | 11658.145 | 0.3449 | 286.9965 | 381
Pearl Rotana Capital Centre | 22 | 8 | 2024 | 14332 | 0.2 | 34.8381 | 17.1101 | 96 | 7.84 | 11658.145 | 0.3449 | 256.0005 | 344
Pearl Rotana Capital Centre | 23 | 8 | 2024 | 14200 | 0.2 | 32.7267 | 17.1101 | 102 | 7.84 | 11942.49 | 0.3449 | 205.002 | 305
Pearl Rotana Capital Centre | 24 | 8 | 2024 | 14214 | 0.2 | 33.7824 | 17.1101 | 89 | 7.84 | 12226.835 | 0.3449 | 159.012 | 223
Pearl Rotana Capital Centre | 25 | 8 | 2024 | 14166 | 0.2 | 33.7824 | 17.1101 | 81 | 7.84 | 11942.49 | 0.3449 | 214.011 | 293
Pearl Rotana Capital Centre | 26 | 8 | 2024 | 13943 | 0.2 | 32.7267 | 17.1101 | 88 | 7.84 | 12226.835 | 0.3449 | 257.985 | 332
Pearl Rotana Capital Centre | 27 | 8 | 2024 | 13930 | 0.2 | 31.671 | 17.1101 | 86 | 7.84 | 13364.215 | 0.3449 | 301.9905 | 400
Pearl Rotana Capital Centre | 28 | 8 | 2024 | 14249 | 0.2 | 31.671 | 17.1101 | 94 | 7.84 | 14217.25 | 0.3449 | 300.006 | 409
Pearl Rotana Capital Centre | 29 | 8 | 2024 | 14188 | 0.2 | 35.8938 | 17.1101 | 111 | 7.84 | 13648.56 | 0.3449 | 286.9965 | 388
Pearl Rotana Capital Centre | 30 | 8 | 2024 | 14165 | 0.2 | 40.1166 | 17.1101 | 89 | 7.84 | 15070.285 | 0.3449 | 254.9925 | 345
Pearl Rotana Capital Centre | 31 | 8 | 2024 | 14210 | 0.2 | 34.8381 | 17.1101 | 93 | 7.84 | 13079.87 | 0.3449 | 222.012 | 292

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 8 | 2024 | 7442 | 6577 | 99 | 127 | 19 | 14 | 11373.8 | 12601 | 8 | 301.014 | 409
Pearl Rotana Capital Centre | 2 | 8 | 2024 | 7368 | 6482 | 100 | 99 | 20 | 16 | 13079.87 | 15904 | 6 | 250.992 | 367
Pearl Rotana Capital Centre | 3 | 8 | 2024 | 7318 | 6266 | 98 | 98 | 21 | 16 | 12226.835 | 14494 | 9 | 281.0115 | 426
Pearl Rotana Capital Centre | 4 | 8 | 2024 | 7318 | 6460 | 103 | 122 | 17 | 15 | 11942.49 | 14310 | 6 | 289.989 | 427
Pearl Rotana Capital Centre | 5 | 8 | 2024 | 7454 | 6575 | 99 | 117 | 18 | 15 | 12226.835 | 15159 | 10 | 315 | 446
Pearl Rotana Capital Centre | 6 | 8 | 2024 | 7476 | 6645 | 107 | 105 | 18 | 14 | 11089.455 | 13477 | 10 | 310.9995 | 445
Pearl Rotana Capital Centre | 7 | 8 | 2024 | 7404 | 6668 | 103 | 106 | 17 | 14 | 11373.8 | 13636 | 8 | 312.0075 | 449
Pearl Rotana Capital Centre | 8 | 8 | 2024 | 7409 | 6641 | 102 | 110 | 19 | 15 | 11658.145 | 14992 | 10 | 298.998 | 438
Pearl Rotana Capital Centre | 9 | 8 | 2024 | 7373 | 6706 | 101 | 119 | 18 | 16 | 12511.18 | 15156 | 10 | 276.003 | 427
Pearl Rotana Capital Centre | 10 | 8 | 2024 | 7373 | 6848 | 101 | 108 | 19 | 14 | 12795.525 | 15024 | 9 | 278.9955 | 448
Pearl Rotana Capital Centre | 11 | 8 | 2024 | 7383 | 6713 | 100 | 115 | 18 | 13 | 13079.87 | 15579 | 8 | 284.004 | 430
Pearl Rotana Capital Centre | 12 | 8 | 2024 | 7307 | 6679 | 100 | 116 | 18 | 14 | 12795.525 | 16417 | 8 | 298.998 | 430
Pearl Rotana Capital Centre | 13 | 8 | 2024 | 7418 | 6918 | 105 | 128 | 19 | 18 | 13648.56 | 16092 | 9 | 310.9995 | 437
Pearl Rotana Capital Centre | 14 | 8 | 2024 | 7359 | 6893 | 104 | 111 | 17 | 16 | 12795.525 | 14876 | 8 | 305.0145 | 419
Pearl Rotana Capital Centre | 15 | 8 | 2024 | 7197 | 6965 | 102 | 108 | 17 | 14 | 13364.215 | 15938 | 8 | 269.01 | 369
Pearl Rotana Capital Centre | 16 | 8 | 2024 | 6946 | 6785 | 103 | 100 | 19 | 12 | 13079.87 | 15981 | 9 | 225.0045 | 338
Pearl Rotana Capital Centre | 17 | 8 | 2024 | 7001 | 6634 | 103 | 88 | 20 | 13 | 12795.525 | 15272 | 9 | 214.9875 | 330
Pearl Rotana Capital Centre | 18 | 8 | 2024 | 7284 | 6532 | 101 | 103 | 17 | 12 | 12226.835 | 14449 | 1 | 238.9905 | 311
Pearl Rotana Capital Centre | 19 | 8 | 2024 | 7373 | 6410 | 106 | 119 | 18 | 14 | 11658.145 | 14278 | 9 | 300.006 | 378
Pearl Rotana Capital Centre | 20 | 8 | 2024 | 7437 | 6661 | 103 | 79 | 17 | 14 | 11942.49 | 14871 | 6 | 300.006 | 384
Pearl Rotana Capital Centre | 21 | 8 | 2024 | 7403 | 6781 | 98 | 106 | 18 | 14 | 11658.145 | 14091 | 7 | 286.9965 | 381
Pearl Rotana Capital Centre | 22 | 8 | 2024 | 7467 | 6763 | 102 | 96 | 19 | 14 | 11658.145 | 14020 | 8 | 256.0005 | 344
Pearl Rotana Capital Centre | 23 | 8 | 2024 | 7388 | 6713 | 99 | 102 | 19 | 12 | 11942.49 | 14522 | 5 | 205.002 | 305
Pearl Rotana Capital Centre | 24 | 8 | 2024 | 7348 | 6764 | 102 | 89 | 18 | 13 | 12226.835 | 14338 | 8 | 159.012 | 223
Pearl Rotana Capital Centre | 25 | 8 | 2024 | 7339 | 6726 | 101 | 81 | 19 | 13 | 11942.49 | 14371 | 7 | 214.011 | 293
Pearl Rotana Capital Centre | 26 | 8 | 2024 | 7215 | 6628 | 100 | 88 | 19 | 13 | 12226.835 | 14424 | 9 | 257.985 | 332
Pearl Rotana Capital Centre | 27 | 8 | 2024 | 7222 | 6610 | 98 | 86 | 17 | 13 | 13364.215 | 16440 | 6 | 301.9905 | 400
Pearl Rotana Capital Centre | 28 | 8 | 2024 | 7322 | 6828 | 99 | 94 | 17 | 12 | 14217.25 | 17048 | 6 | 300.006 | 409
Pearl Rotana Capital Centre | 29 | 8 | 2024 | 7319 | 6768 | 101 | 111 | 21 | 13 | 13648.56 | 16544 | 7 | 286.9965 | 388
Pearl Rotana Capital Centre | 30 | 8 | 2024 | 7254 | 6810 | 101 | 89 | 21 | 16 | 15070.285 | 17612 | 10 | 254.9925 | 345
Pearl Rotana Capital Centre | 31 | 8 | 2024 | 7377 | 6732 | 101 | 93 | 21 | 13 | 13079.87 | 11596 | 6 | 222.012 | 292

## Aug 2024
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - AUGUST 2024
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [7 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Meter Reading | ETS Cons. | Hotel Occupancy % | Adl. & Chl. | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [15 empty] | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2024-08-01 | 19851118 | 7442 | 20656493 | 6577 | 465218 | 99 | 14118 | 2823.6 | 90748 | 127 | 995.68 | 37603 | 19 | 22205 | 14 | 33 | 55923 | 33 | 34.8381 | 594.638 | 71221 | 40 | 11373.8 | 3914.862 | 4243.4694 | 8158.3314 | 7479106 | 12601 | 95.56% | 409 | 13946940 | 5915 | 1183 | 6441875 | 2214 | 442.8 | 172750 | 584 | 116.8 | 7204 | 8 | 62.72 | 3000 | 6 | 47.04 | 19 | 0 | 0
2024-08-02 | 19858486 | 7368 | 20662975 | 6482 | 465318 | 100 | 13950 | 2790 | 90847 | 99 | 776.16 | 37623 | 20 | 22221 | 16 | 36 | 55960 | 37 | 39.0609 | 641.2999 | 71267 | 46 | 13079.87 | 4502.0913 | 4243.4694 | 8745.5607 | 7495010 | 15904 | 79.68% | 367 | 13952611 | 5671 | 1134.2 | 6444010 | 2135 | 427 | 173344 | 594 | 118.8 | 7210 | 6 | 47.04 | 3005 | 5 | 39.2 | 20 | 1 | 7.84
2024-08-03 | 19865804 | 7318 | 20669241 | 6266 | 465416 | 98 | 13682 | 2736.4 | 90945 | 98 | 768.32 | 37644 | 21 | 22237 | 16 | 37 | 55996 | 36 | 38.0052 | 629.6345 | 71310 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7509504 | 14494 | 89.21% | 426 | 13957522 | 4911 | 982.2 | 6446062 | 2052 | 410.4 | 173830 | 486 | 97.2 | 7219 | 9 | 70.56 | 3006 | 1 | 7.84 | 20 | 0 | 0
2024-08-04 | 19873122 | 7318 | 20675701 | 6460 | 465519 | 103 | 13881 | 2776.2 | 91067 | 122 | 956.48 | 37661 | 17 | 22252 | 15 | 32 | 56029 | 33 | 34.8381 | 594.638 | 71352 | 42 | 11942.49 | 4110.6051 | 4243.4694 | 8354.0745 | 7523814 | 14310 | 92.06% | 427 | 13962655 | 5133 | 1026.6 | 6448146 | 2084 | 416.8 | 174329 | 499 | 99.8 | 7225 | 6 | 47.04 | 3007 | 1 | 7.84 | 20 | 0 | 0
2024-08-05 | 19880576 | 7454 | 20682276 | 6575 | 465618 | 99 | 14128 | 2825.6 | 91184 | 117 | 917.28 | 37679 | 18 | 22267 | 15 | 33 | 56062 | 33 | 34.8381 | 594.638 | 71395 | 43 | 12226.835 | 4208.4766 | 4243.4694 | 8451.946 | 7538973 | 15159 | 100% | 446 | 13968544 | 5889 | 1177.8 | 6450328 | 2182 | 436.4 | 174841 | 512 | 102.4 | 7235 | 10 | 78.4 | 3012 | 5 | 39.2 | 20 | 0 | 0
2024-08-06 | 19888052 | 7476 | 20688921 | 6645 | 465725 | 107 | 14228 | 2845.6 | 91289 | 105 | 823.2 | 37697 | 18 | 22281 | 14 | 32 | 56094 | 32 | 33.7824 | 582.9725 | 71434 | 39 | 11089.455 | 3816.9904 | 4243.4694 | 8060.4598 | 7552450 | 13477 | 98.73% | 445 | 13974380 | 5836 | 1167.2 | 6452496 | 2168 | 433.6 | 175303 | 462 | 92.4 | 7245 | 10 | 78.4 | 3012 | 0 | 0 | 20 | 0 | 0
2024-08-07 | 19895456 | 7404 | 20695589 | 6668 | 465828 | 103 | 14175 | 2835 | 91395 | 106 | 831.04 | 37714 | 17 | 22295 | 14 | 31 | 56125 | 31 | 32.7267 | 571.307 | 71474 | 40 | 11373.8 | 3914.862 | 4243.4694 | 8158.3314 | 7566086 | 13636 | 99.05% | 449 | 13980245 | 5865 | 1173 | 6454690 | 2194 | 438.8 | 175758 | 455 | 91 | 7253 | 8 | 62.72 | 3012 | 0 | 0 | 20 | 0 | 0
2024-08-08 | 19902865 | 7409 | 20702230 | 6641 | 465930 | 102 | 14152 | 2830.4 | 91505 | 110 | 862.4 | 37733 | 19 | 22310 | 15 | 34 | 56160 | 35 | 36.9495 | 617.969 | 71515 | 41 | 11658.145 | 4020.8942 | 4413.1961 | 8434.0904 | 7581078 | 14992 | 94.92% | 438 | 13986129 | 5884 | 1176.8 | 6456838 | 2148 | 429.6 | 176278 | 520 | 104 | 7263 | 10 | 78.4 | 3013 | 1 | 7.84 | 20 | 0 | 0
2024-08-09 | 19910238 | 7373 | 20708936 | 6706 | 466031 | 101 | 14180 | 2836 | 91624 | 119 | 932.96 | 37751 | 18 | 22326 | 16 | 34 | 56194 | 34 | 35.8938 | 606.3035 | 71559 | 44 | 12511.18 | 4315.106 | 4413.1961 | 8728.3021 | 7596234 | 15156 | 87.62% | 427 | 13991858 | 5729 | 1145.8 | 6458983 | 2145 | 429 | 176819 | 541 | 108.2 | 7273 | 10 | 78.4 | 3015 | 2 | 15.68 | 20 | 0 | 0
2024-08-10 | 19917611 | 7373 | 20715784 | 6848 | 466132 | 101 | 14322 | 2864.4 | 91732 | 108 | 846.72 | 37770 | 19 | 22340 | 14 | 33 | 56227 | 33 | 34.8381 | 594.638 | 71604 | 45 | 12795.525 | 4413.1766 | 4413.1961 | 8826.3727 | 7611258 | 15024 | 88.57% | 448 | 13996773 | 4915 | 983 | 6461052 | 2069 | 413.8 | 177366 | 547 | 109.4 | 7282 | 9 | 70.56 | 3018 | 3 | 23.52 | 21 | 1 | 7.84
2024-08-11 | 19924994 | 7383 | 20722497 | 6713 | 466232 | 100 | 14196 | 2839.2 | 91847 | 115 | 901.6 | 37788 | 18 | 22353 | 13 | 31 | 56258 | 31 | 32.7267 | 571.307 | 71650 | 46 | 13079.87 | 4511.2472 | 4413.1961 | 8924.4433 | 7626837 | 15579 | 90.16% | 430 | 14001804 | 5031 | 1006.2 | 6463156 | 2104 | 420.8 | 177895 | 529 | 105.8 | 7290 | 8 | 62.72 | 3018 | 0 | 0 | 21 | 0 | 0
2024-08-12 | 19932301 | 7307 | 20729176 | 6679 | 466332 | 100 | 14086 | 2817.2 | 91963 | 116 | 909.44 | 37806 | 18 | 22367 | 14 | 32 | 56291 | 33 | 34.8381 | 594.638 | 71695 | 45 | 12795.525 | 4413.1766 | 4413.1961 | 8826.3727 | 7643254 | 16417 | 94.92% | 430 | 14007616 | 5812 | 1162.4 | 6465343 | 2187 | 437.4 | 178496 | 601 | 120.2 | 7298 | 8 | 62.72 | 3018 | 0 | 0 | 22 | 1 | 7.84
2024-08-13 | 19939719 | 7418 | 20736094 | 6918 | 466437 | 105 | 14441 | 2888.2 | 92091 | 128 | 1003.52 | 37825 | 19 | 22385 | 18 | 37 | 56328 | 37 | 39.0609 | 641.2999 | 71743 | 48 | 13648.56 | 4707.3883 | 4413.1961 | 9120.5845 | 7659346 | 16092 | 98.73% | 437 | 14013470 | 5854 | 1170.8 | 6467557 | 2214 | 442.8 | 179116 | 620 | 124 | 7307 | 9 | 70.56 | 3019 | 1 | 7.84 | 22 | 0 | 0
2024-08-14 | 19947078 | 7359 | 20742987 | 6893 | 466541 | 104 | 14356 | 2871.2 | 92202 | 111 | 870.24 | 37842 | 17 | 22401 | 16 | 33 | 56361 | 33 | 34.8381 | 594.638 | 71788 | 45 | 12795.525 | 4413.1766 | 4413.1961 | 8826.3727 | 7674222 | 14876 | 96.83% | 419 | 14019287 | 5817 | 1163.4 | 6469735 | 2178 | 435.6 | 179758 | 642 | 128.4 | 7315 | 8 | 62.72 | 3021 | 2 | 15.68 | 22 | 0 | 0
2024-08-15 | 19954275 | 7197 | 20749952 | 6965 | 466643 | 102 | 14264 | 2852.8 | 92310 | 108 | 846.72 | 37859 | 17 | 22415 | 14 | 31 | 56393 | 32 | 33.7824 | 582.9725 | 71835 | 47 | 13364.215 | 4609.3178 | 4413.1961 | 9022.5139 | 7690160 | 15938 | 85.4% | 369 | 14025137 | 5850 | 1170 | 6471935 | 2200 | 440 | 180412 | 654 | 130.8 | 7323 | 8 | 62.72 | 3028 | 7 | 54.88 | 22 | 0 | 0
2024-08-16 | 19961221 | 6946 | 20756737 | 6785 | 466746 | 103 | 13834 | 2766.8 | 92410 | 100 | 784 | 37878 | 19 | 22427 | 12 | 31 | 56424 | 31 | 32.7267 | 571.307 | 71881 | 46 | 13079.87 | 4511.2472 | 4413.1961 | 8924.4433 | 7706141 | 15981 | 71.43% | 338 | 14030916 | 5779 | 1155.8 | 6474094 | 2159 | 431.8 | 180989 | 577 | 115.4 | 7332 | 9 | 70.56 | 3028 | 0 | 0 | 22 | 0 | 0
2024-08-17 | 19968222 | 7001 | 20763371 | 6634 | 466849 | 103 | 13738 | 2747.6 | 92498 | 88 | 689.92 | 37898 | 20 | 22440 | 13 | 33 | 56457 | 33 | 34.8381 | 594.638 | 71926 | 45 | 12795.525 | 4413.1766 | 4413.1961 | 8826.3727 | 7721413 | 15272 | 68.25% | 330 | 14035826 | 4910 | 982 | 6476139 | 2045 | 409 | 181534 | 545 | 109 | 7341 | 9 | 70.56 | 3029 | 1 | 7.84 | 22 | 0 | 0
2024-08-18 | 19975506 | 7284 | 20769903 | 6532 | 466950 | 101 | 13917 | 2783.4 | 92601 | 103 | 807.52 | 37915 | 17 | 22452 | 12 | 29 | 56486 | 29 | 30.6153 | 547.9761 | 71969 | 43 | 12226.835 | 4217.0354 | 4413.1961 | 8630.2315 | 7735862 | 14449 | 75.87% | 311 | 14040807 | 4981 | 996.2 | 6478140 | 2001 | 400.2 | 182020 | 486 | 97.2 | 7342 | 1 | 7.84 | 3029 | 0 | 0 | 22 | 0 | 0
2024-08-19 | 19982879 | 7373 | 20776313 | 6410 | 467056 | 106 | 13889 | 2777.8 | 92720 | 119 | 932.96 | 37933 | 18 | 22466 | 14 | 32 | 56518 | 32 | 33.7824 | 582.9725 | 72010 | 41 | 11658.145 | 4020.8942 | 4413.1961 | 8434.0904 | 7750140 | 14278 | 95.24% | 378 | 14046703 | 5896 | 1179.2 | 6480354 | 2214 | 442.8 | 182528 | 508 | 101.6 | 7351 | 9 | 70.56 | 3030 | 1 | 7.84 | 22 | 0 | 0
2024-08-20 | 19990316 | 7437 | 20782974 | 6661 | 467159 | 103 | 14201 | 2840.2 | 92799 | 79 | 619.36 | 37950 | 17 | 22480 | 14 | 31 | 56550 | 32 | 33.7824 | 582.9725 | 72052 | 42 | 11942.49 | 4118.9648 | 4413.1961 | 8532.1609 | 7765011 | 14871 | 95.24% | 384 | 14052455 | 5752 | 1150.4 | 6482502 | 2148 | 429.6 | 183095 | 567 | 113.4 | 7357 | 6 | 47.04 | 3030 | 0 | 0 | 22 | 0 | 0
2024-08-21 | 19997719 | 7403 | 20789755 | 6781 | 467257 | 98 | 14282 | 2856.4 | 92905 | 106 | 831.04 | 37968 | 18 | 22494 | 14 | 32 | 56582 | 32 | 33.7824 | 582.9725 | 72093 | 41 | 11658.145 | 4020.8942 | 4413.1961 | 8434.0904 | 7779102 | 14091 | 91.11% | 381 | 14058189 | 5734 | 1146.8 | 6484675 | 2173 | 434.6 | 183658 | 563 | 112.6 | 7364 | 7 | 54.88 | 3032 | 2 | 15.68 | 22 | 0 | 0
2024-08-22 | 20005186 | 7467 | 20796518 | 6763 | 467359 | 102 | 14332 | 2866.4 | 93001 | 96 | 752.64 | 37987 | 19 | 22508 | 14 | 33 | 56615 | 33 | 34.8381 | 594.638 | 72134 | 41 | 11658.145 | 4020.8942 | 4413.1961 | 8434.0904 | 7793122 | 14020 | 81.27% | 344 | 14063887 | 5698 | 1139.6 | 6486839 | 2164 | 432.8 | 184198 | 540 | 108 | 7372 | 8 | 62.72 | 3032 | 0 | 0 | 22 | 0 | 0
2024-08-23 | 20012574 | 7388 | 20803231 | 6713 | 467458 | 99 | 14200 | 2840 | 93103 | 102 | 799.68 | 38006 | 19 | 22520 | 12 | 31 | 56646 | 31 | 32.7267 | 571.307 | 72176 | 42 | 11942.49 | 4118.9648 | 4413.1961 | 8532.1609 | 7807644 | 14522 | 65.08% | 305 | 14069490 | 5603 | 1120.6 | 6489005 | 2166 | 433.2 | 184747 | 549 | 109.8 | 7377 | 5 | 39.2 | 3034 | 2 | 15.68 | 22 | 0 | 0
2024-08-24 | 20019922 | 7348 | 20809995 | 6764 | 467560 | 102 | 14214 | 2842.8 | 93192 | 89 | 697.76 | 38024 | 18 | 22533 | 13 | 31 | 56678 | 32 | 33.7824 | 582.9725 | 72219 | 43 | 12226.835 | 4217.0354 | 4413.1961 | 8630.2315 | 7821982 | 14338 | 50.48% | 223 | 14074161 | 4671 | 934.2 | 6491002 | 1997 | 399.4 | 185292 | 545 | 109 | 7385 | 8 | 62.72 | 3034 | 0 | 0 | 22 | 0 | 0
2024-08-25 | 20027261 | 7339 | 20816721 | 6726 | 467661 | 101 | 14166 | 2833.2 | 93273 | 81 | 635.04 | 38043 | 19 | 22546 | 13 | 32 | 56710 | 32 | 33.7824 | 582.9725 | 72261 | 42 | 11942.49 | 4118.9648 | 4413.1961 | 8532.1609 | 7836353 | 14371 | 67.94% | 293 | 14078927 | 4766 | 953.2 | 6493051 | 2049 | 409.8 | 185859 | 567 | 113.4 | 7392 | 7 | 54.88 | 3035 | 1 | 7.84 | 22 | 0 | 0
2024-08-26 | 20034476 | 7215 | 20823349 | 6628 | 467761 | 100 | 13943 | 2788.6 | 93361 | 88 | 689.92 | 38062 | 19 | 22559 | 13 | 32 | 56741 | 31 | 32.7267 | 571.307 | 72304 | 43 | 12226.835 | 4217.0354 | 4413.1961 | 8630.2315 | 7850777 | 14424 | 81.9% | 332 | 14084555 | 5628 | 1125.6 | 6495180 | 2129 | 425.8 | 186392 | 533 | 106.6 | 7401 | 9 | 70.56 | 3035 | 0 | 0 | 23 | 1 | 7.84
2024-08-27 | 20041698 | 7222 | 20829959 | 6610 | 467859 | 98 | 13930 | 2786 | 93447 | 86 | 674.24 | 38079 | 17 | 22572 | 13 | 30 | 56771 | 30 | 31.671 | 559.6416 | 72351 | 47 | 13364.215 | 4609.3178 | 4413.1961 | 9022.5139 | 7867217 | 16440 | 95.87% | 400 | 14090348 | 5793 | 1158.6 | 6497349 | 2169 | 433.8 | 186989 | 597 | 119.4 | 7407 | 6 | 47.04 | 3035 | 0 | 0 | 24 | 1 | 7.84
2024-08-28 | 20049020 | 7322 | 20836787 | 6828 | 467958 | 99 | 14249 | 2849.8 | 93541 | 94 | 736.96 | 38096 | 17 | 22584 | 12 | 29 | 56801 | 30 | 31.671 | 559.6416 | 72401 | 50 | 14217.25 | 4903.5295 | 4413.1961 | 9316.7257 | 7884265 | 17048 | 95.24% | 409 | 14096229 | 5881 | 1176.2 | 6499537 | 2188 | 437.6 | 187599 | 610 | 122 | 7413 | 6 | 47.04 | 3036 | 1 | 7.84 | 25 | 1 | 7.84
2024-08-29 | 20056339 | 7319 | 20843555 | 6768 | 468059 | 101 | 14188 | 2837.6 | 93652 | 111 | 870.24 | 38117 | 21 | 22597 | 13 | 34 | 56835 | 34 | 35.8938 | 606.3035 | 72449 | 48 | 13648.56 | 4707.3883 | 4413.1961 | 9120.5845 | 7900809 | 16544 | 91.11% | 388 | 14102087 | 5858 | 1171.6 | 6501709 | 2172 | 434.4 | 188210 | 611 | 122.2 | 7420 | 7 | 54.88 | 3037 | 1 | 7.84 | 26 | 1 | 7.84
2024-08-30 | 20063593 | 7254 | 20850365 | 6810 | 468160 | 101 | 14165 | 2833 | 93741 | 89 | 697.76 | 38138 | 21 | 22613 | 16 | 37 | 56873 | 38 | 40.1166 | 652.9654 | 72502 | 53 | 15070.285 | 5197.7413 | 4413.1961 | 9610.9374 | 7918421 | 17612 | 80.95% | 345 | 14107665 | 5578 | 1115.6 | 6503834 | 2125 | 425 | 188854 | 644 | 128.8 | 7430 | 10 | 78.4 | 3037 | 0 | 0 | 27 | 1 | 7.84
2024-08-31 | 20070970 | 7377 | 20857097 | 6732 | 468261 | 101 | 14210 | 2842 | 93834 | 93 | 729.12 | 38159 | 21 | 22626 | 13 | 34 | 56906 | 33 | 34.8381 | 594.638 | 72548 | 46 | 13079.87 | 4511.2472 | 4413.1961 | 8924.4433 | 7930017 | 11596 | 70.48% | 292 | 14112417 | 4752 | 950.4 | 6505863 | 2029 | 405.8 | 189466 | 612 | 122.4 | 7436 | 6 | 47.04 | 3037 | 0 | 0 | 27 | 0 | 0
|  | 227294 |  | 207181 |  | 3142 | 437617 | 87523.4 |  | 3213 | 25189.92 |  | 575 |  | 435 | 1010 |  | 1016 | 1072.5912 | 18352.1198 |  | 1367 | 388699.615 | 134004.1781 | 135620.9935 | 269625.1715 |  | 463512 | 86.09% | 11820 |  | 171392 | 34278.4 |  | 66202 | 13240.4 |  | 17300 | 3460 |  | 240 | 1881.6 |  | 43 | 337.12 |  | 8 | 62.72
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 1056453.84 | CHW Fixed Charges YTD 2024
| Actual August 2024 |  | 87523.4 |  |  | 437617 |  |  | Actual August 2024 |  | 25189.92 | 3213 |  | Actual August 2024 |  |  | 18352.1198 |  | 1072.5912 |  | Actual August 2024 |  | 269625.1715 |  | 388699.615 |  |  |  | 463512 | 74812.385 |  | 1015823.91 | CHW Fixed Charges YTD 2023
| Budget August 2024 |  | 95697 |  |  | 478485 |  |  | Budget August 2024 |  | 24316.692 | 3101.6189 |  | Budget August 2024 |  |  | 18119.8751 |  | 1051.5724 |  | Budget August 2024 |  | 267927.2672 |  | 396222.3045 | [6 empty] | 136379.7172 | CHW Consumption Charges (Budgeted 2024 MTD)
| Actual August 2023 |  | 93925.8 |  |  | 469629 |  |  | Actual August 2023 |  | 24923.36 | 3179 |  | Actual August 2023 |  |  | 18066.63 |  | 1046.7538 |  | Actual August 2023 |  | 252814.68 |  | 367762.0378 | [6 empty] | 126326.26 | CHW Consumption Charges (Actual 2023 MTD)
| Actual YTD 2024 |  | 701306 |  |  | 3506530 |  |  | Actual YTD 2024 |  | 195929.44 | 24991 |  | Actual YTD 2024 |  |  | 147020.2698 |  | 9187.3547 |  | Actual YTD 2024 |  | 1740778.3215 |  | 1988159.4466 | [6 empty] | 684324.4815 | CHW Consumption Charges (Actual 2024 YTD)
| Budget YTD 2024 |  | 768033 |  |  | 3840165 |  |  | Budget YTD 2024 |  | 192624.772 | 24569.4862 |  | Budget YTD 2024 |  |  | 144286.7151 |  | 8939.9742 |  | Budget YTD 2024 |  | 1728851.8772 |  | 1953509.6955 | [6 empty] | 672398.0372 | CHW Consumption Charges (Budgeted 2024 YTD)
| Actual YTD 2023 |  | 750388.8 |  |  | 3751944 |  |  | Actual YTD 2023 |  | 177285.92 | 22613 |  | Actual YTD 2023 |  |  | 135368.88 |  | 8132.9303 |  | Actual YTD 2023 |  | 1649171.7 |  | 1843807.2489 | [6 empty] | 633347.79 | CHW Consumption Charges (Actual 2023 YTD)
[7 empty] | 2024-08-01 | 2024-09-10 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 95697 |  | Electricity |  |  | 3087 |  | Electricity |  |  | 2823.3355 |  | Electricity |  |  |  | 95697 |  |  | Electricity |  | 87523.4 |  | 8173.6 | Electricity |  | 768033 |  | Electricity |  | 701306 | 66727 | -66727
Water | 24316.692 |  | Water |  |  | 784.4094 |  | Water |  |  | 812.5781 |  | Water |  |  |  | 24316.692 |  |  | Water |  | 25189.92 |  | -873.228 | Water |  | 192624.772 |  | Water |  | 195929.44 | -3304.668 | 3304.668
Gas | 18119.8751 |  | Gas |  |  | 584.5121 |  | Gas |  |  | 592.0039 |  | Gas |  |  |  | 18119.8751 |  |  | Gas |  | 18352.1198 |  | -232.2447 | Gas |  | 144286.7151 |  | Gas |  | 147020.2698 | -2733.5547 | 2733.5547
Chilled Water | 267927.2672 |  | Chilled Water |  |  | 8642.8151 |  | Chilled Water |  |  | 8697.5862 |  | Chilled Water |  |  |  | 267927.2672 |  |  | Chilled Water |  | 269625.1715 |  | -1697.9043 | Chilled Water |  | 1728851.8772 |  | Chilled Water |  | 1740778.3215 | -11926.4443 | 11926.4443
| 406060.8343 | [15 empty] | 406060.8343 |  |  |  |  | 400690.6113 |  | 5370.223 |  | Total Energy cost | 2833796.3643 |  |  |  | 2785034.0313 | 48762.333
| 5370.223 | [21 empty] | 1.323% | [7 empty] | 1.721%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 93925.8 |  | Electricity |  |  | 3029.8645 |  | Electricity |  |  | 93925.8 |  | Electricity |  |  |  | 87523.4 |  |  | Electricity |  | 6402.4 |  |  | 87523.4 | 701306 |  |  | 6402.4 | 49082.8
Water | 24923.36 |  | Water |  |  | 803.9794 |  | Water |  |  | 24923.36 |  | Water |  |  |  | 25189.92 |  |  | Water |  | -266.56 |  |  | 25189.92 | 195929.44 |  |  | -266.56 | -18643.52
Gas | 18066.63 |  | Gas |  |  | 582.7945 |  | Gas |  |  | 18066.63 |  | Gas |  |  |  | 18352.1198 |  |  | Gas |  | -285.4898 |  |  | 18352.1198 | 147020.2698 |  |  | -285.4898 | -11651.3898
Chilled Water | 252814.68 |  | Chilled Water |  |  | 8155.3123 |  | Chilled Water |  |  | 252814.68 |  | Chilled Water |  |  |  | 269625.1715 |  |  | Chilled Water |  | -16810.4915 |  |  | 269625.1715 | 1740778.3215 |  |  | -16810.4915 | 103028.9274
| 389730.47 | [9 empty] | 389730.47 | [5 empty] | 400690.6113 |  |  |  |  | -10960.1413 |  |  | 400690.6113 | 2785034.0313 |  |  | -10960.1413 | 121816.8176
| -10960.1413 | [21 empty] | -2.812%