## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 2 | 2025 | 16024 | 0.2 | 32.7267 | 17.62 | 129 | 7.84 | 5118.21 | 0.3449 | 286.9965 | 440
Pearl Rotana Capital Centre | 2 | 2 | 2025 | 16172 | 0.2 | 32.7267 | 17.62 | 109 | 7.84 | 5971.245 | 0.3449 | 269.9865 | 392
Pearl Rotana Capital Centre | 3 | 2 | 2025 | 16310 | 0.2 | 32.7267 | 17.62 | 105 | 7.84 | 6255.59 | 0.3449 | 290.997 | 393
Pearl Rotana Capital Centre | 4 | 2 | 2025 | 16309 | 0.2 | 29.5596 | 17.62 | 108 | 7.84 | 5686.9 | 0.3449 | 306.999 | 428
Pearl Rotana Capital Centre | 5 | 2 | 2025 | 16141 | 0.2 | 33.7824 | 17.62 | 111 | 7.84 | 5402.555 | 0.3449 | 312.0075 | 448
Pearl Rotana Capital Centre | 6 | 2 | 2025 | 16229 | 0.2 | 35.8938 | 17.62 | 106 | 7.84 | 5686.9 | 0.3449 | 308.007 | 437
Pearl Rotana Capital Centre | 7 | 2 | 2025 | 15978 | 0.2 | 33.7824 | 17.62 | 121 | 7.84 | 5402.555 | 0.3449 | 304.0065 | 467
Pearl Rotana Capital Centre | 8 | 2 | 2025 | 15978 | 0.2 | 34.8381 | 17.62 | 115 | 7.84 | 5686.9 | 0.3449 | 298.998 | 452
Pearl Rotana Capital Centre | 9 | 2 | 2025 | 15993 | 0.2 | 33.7824 | 17.62 | 107 | 7.84 | 5402.555 | 0.3449 | 258.993 | 346
Pearl Rotana Capital Centre | 10 | 2 | 2025 | 15654 | 0.2 | 32.7267 | 17.62 | 110 | 7.84 | 4833.865 | 0.3449 | 297.0135 | 405
Pearl Rotana Capital Centre | 11 | 2 | 2025 | 15443 | 0.2 | 32.7267 | 17.62 | 111 | 7.84 | 5118.21 | 0.3449 | 293.9895 | 387
Pearl Rotana Capital Centre | 12 | 2 | 2025 | 15403 | 0.2 | 31.671 | 17.62 | 95 | 7.84 | 5971.245 | 0.3449 | 301.014 | 385
Pearl Rotana Capital Centre | 13 | 2 | 2025 | 15191 | 0.2 | 34.8381 | 17.62 | 107 | 7.84 | 5971.245 | 0.3449 | 315 | 421
Pearl Rotana Capital Centre | 14 | 2 | 2025 | 15605 | 0.2 | 35.8938 | 17.62 | 112 | 7.84 | 6255.59 | 0.3449 | 297.99 | 431
Pearl Rotana Capital Centre | 15 | 2 | 2025 | 14904 | 0.2 | 32.7267 | 17.62 | 106 | 7.84 | 5971.245 | 0.3449 | 304.0065 | 415
Pearl Rotana Capital Centre | 16 | 2 | 2025 | 15456 | 0.2 | 38.0052 | 17.62 | 95 | 7.84 | 6255.59 | 0.3449 | 274.995 | 298
Pearl Rotana Capital Centre | 17 | 2 | 2025 | 15523 | 0.2 | 41.1723 | 17.62 | 108 | 7.84 | 6255.59 | 0.3449 | 315 | 341
Pearl Rotana Capital Centre | 18 | 2 | 2025 | 15541 | 0.2 | 42.228 | 17.62 | 91 | 7.84 | 6255.59 | 0.3449 | 315 | 338
Pearl Rotana Capital Centre | 19 | 2 | 2025 | 16036 | 0.2 | 42.228 | 17.62 | 98 | 7.84 | 5971.245 | 0.3449 | 313.992 | 342
Pearl Rotana Capital Centre | 20 | 2 | 2025 | 15372 | 0.2 | 46.4508 | 17.62 | 105 | 7.84 | 5686.9 | 0.3449 | 284.004 | 320
Pearl Rotana Capital Centre | 21 | 2 | 2025 | 15492 | 0.2 | 36.9495 | 17.62 | 91 | 7.84 | 7392.97 | 0.3449 | 272.0025 | 354
Pearl Rotana Capital Centre | 22 | 2 | 2025 | 15716 | 0.2 | 34.8381 | 17.62 | 109 | 7.84 | 7108.625 | 0.3449 | 242.0145 | 336
Pearl Rotana Capital Centre | 23 | 2 | 2025 | 15486 | 0.2 | 32.7267 | 17.62 | 97 | 7.84 | 7961.66 | 0.3449 | 233.0055 | 311
Pearl Rotana Capital Centre | 24 | 2 | 2025 | 15655 | 0.2 | 30.6153 | 17.62 | 103 | 7.84 | 7392.97 | 0.3449 | 252 | 317
Pearl Rotana Capital Centre | 25 | 2 | 2025 | 16213 | 0.2 | 32.7267 | 17.62 | 86 | 7.84 | 6255.59 | 0.3449 | 292.005 | 364
Pearl Rotana Capital Centre | 26 | 2 | 2025 | 15881 | 0.2 | 32.7267 | 17.62 | 109 | 7.84 | 4833.865 | 0.3449 | 298.998 | 380
Pearl Rotana Capital Centre | 27 | 2 | 2025 | 15637 | 0.2 | 31.671 | 17.62 | 98 | 7.84 | 4833.865 | 0.3449 | 250.992 | 316
Pearl Rotana Capital Centre | 28 | 2 | 2025 | 15433 | 0.2 | 33.7824 | 17.62 | 91 | 7.84 | 5118.21 | 0.3449 | 159.9885 | 205

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 2 | 2025 | 7911 | 7968 | 145 | 129 | 19 | 13 | 5118.21 | 5258 | 10 | 286.9965 | 440
Pearl Rotana Capital Centre | 2 | 2 | 2025 | 7945 | 8083 | 144 | 109 | 19 | 14 | 5971.245 | 5297 | 10 | 269.9865 | 392
Pearl Rotana Capital Centre | 3 | 2 | 2025 | 7935 | 8237 | 138 | 105 | 18 | 14 | 6255.59 | 5469 | 8 | 290.997 | 393
Pearl Rotana Capital Centre | 4 | 2 | 2025 | 7931 | 8235 | 143 | 108 | 19 | 11 | 5686.9 | 5523 | 10 | 306.999 | 428
Pearl Rotana Capital Centre | 5 | 2 | 2025 | 7829 | 8169 | 143 | 111 | 18 | 14 | 5402.555 | 5442 | 11 | 312.0075 | 448
Pearl Rotana Capital Centre | 6 | 2 | 2025 | 7877 | 8204 | 148 | 106 | 19 | 16 | 5686.9 | 5573 | 10 | 308.007 | 437
Pearl Rotana Capital Centre | 7 | 2 | 2025 | 7802 | 8030 | 146 | 121 | 19 | 14 | 5402.555 | 5849 | 7 | 304.0065 | 467
Pearl Rotana Capital Centre | 8 | 2 | 2025 | 7902 | 7953 | 123 | 115 | 20 | 14 | 5686.9 | 5650 | 13 | 298.998 | 452
Pearl Rotana Capital Centre | 9 | 2 | 2025 | 7905 | 7952 | 136 | 107 | 19 | 15 | 5402.555 | 5185 | 4 | 258.993 | 346
Pearl Rotana Capital Centre | 10 | 2 | 2025 | 7754 | 7770 | 130 | 110 | 18 | 14 | 4833.865 | 5215 | 8 | 297.0135 | 405
Pearl Rotana Capital Centre | 11 | 2 | 2025 | 7746 | 7568 | 129 | 111 | 18 | 14 | 5118.21 | 5521 | 8 | 293.9895 | 387
Pearl Rotana Capital Centre | 12 | 2 | 2025 | 7677 | 7589 | 137 | 95 | 18 | 13 | 5971.245 | 6213 | 11 | 301.014 | 385
Pearl Rotana Capital Centre | 13 | 2 | 2025 | 7582 | 7470 | 139 | 107 | 19 | 14 | 5971.245 | 6748 | 8 | 315 | 421
Pearl Rotana Capital Centre | 14 | 2 | 2025 | 7796 | 7682 | 127 | 112 | 20 | 14 | 6255.59 | 7135 | 7 | 297.99 | 431
Pearl Rotana Capital Centre | 15 | 2 | 2025 | 7400 | 7380 | 124 | 106 | 20 | 13 | 5971.245 | 6509 | 5 | 304.0065 | 415
Pearl Rotana Capital Centre | 16 | 2 | 2025 | 7787 | 7545 | 124 | 95 | 23 | 14 | 6255.59 | 6588 | 5 | 274.995 | 298
Pearl Rotana Capital Centre | 17 | 2 | 2025 | 7803 | 7594 | 126 | 108 | 25 | 16 | 6255.59 | 6716 | 5 | 315 | 341
Pearl Rotana Capital Centre | 18 | 2 | 2025 | 7680 | 7738 | 123 | 91 | 24 | 16 | 6255.59 | 6907 | 5 | 315 | 338
Pearl Rotana Capital Centre | 19 | 2 | 2025 | 8045 | 7858 | 133 | 98 | 27 | 15 | 5971.245 | 6727 | 7 | 313.992 | 342
Pearl Rotana Capital Centre | 20 | 2 | 2025 | 7771 | 7471 | 130 | 105 | 26 | 18 | 5686.9 | 6548 | 6 | 284.004 | 320
Pearl Rotana Capital Centre | 21 | 2 | 2025 | 7843 | 7514 | 135 | 91 | 24 | 12 | 7392.97 | 7414 | 5 | 272.0025 | 354
Pearl Rotana Capital Centre | 22 | 2 | 2025 | 8053 | 7538 | 125 | 109 | 21 | 13 | 7108.625 | 7500 | 4 | 242.0145 | 336
Pearl Rotana Capital Centre | 23 | 2 | 2025 | 7797 | 7570 | 119 | 97 | 19 | 13 | 7961.66 | 7317 | 5 | 233.0055 | 311
Pearl Rotana Capital Centre | 24 | 2 | 2025 | 7978 | 7558 | 119 | 103 | 18 | 11 | 7392.97 | 7462 | 5 | 252 | 317
Pearl Rotana Capital Centre | 25 | 2 | 2025 | 8152 | 7933 | 128 | 86 | 18 | 14 | 6255.59 | 6393 | 9 | 292.005 | 364
Pearl Rotana Capital Centre | 26 | 2 | 2025 | 7903 | 7854 | 124 | 109 | 19 | 14 | 4833.865 | 5166 | 2 | 298.998 | 380
Pearl Rotana Capital Centre | 27 | 2 | 2025 | 7840 | 7682 | 115 | 98 | 17 | 14 | 4833.865 | 5200 | 4 | 250.992 | 316
Pearl Rotana Capital Centre | 28 | 2 | 2025 | 7685 | 7627 | 121 | 91 | 21 | 12 | 5118.21 | 5187 | 5 | 159.9885 | 205

## Feb 2025
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - FEBRUARY 2025
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [8 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Bulk Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl. | Blue Sky tower Chilled water |  | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [16 empty] | Meter Reading | Cons. MWH | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2025-02-01 | 21261749 | 7911 | 21956026 | 7968 | 488706 | 145 | 16024 | 3204.8 | 109213 | 129 | 1011.36 | 41274 | 19 | 24741 | 13 | 32 | 61984 | 31 | 32.7267 | 593.77 | 77300 | 18 | 5118.21 | 1765.2706 | 4886.0386 | 6651.3092 | 978653 | 5258 | 18.4916 | 91.11% | 440 | 20784 | 3 | 14928561 | 4451 | 890.2 | 6839125 | 2082 | 416.4 | 242885 | 281 | 56.2 | 8631 | 10 | 78.4 | 3285 | 1 | 7.84 | 154 | 1 | 7.84
2025-02-02 | 21269694 | 7945 | 21964109 | 8083 | 488850 | 144 | 16172 | 3234.4 | 109322 | 109 | 854.56 | 41293 | 19 | 24755 | 14 | 33 | 62015 | 31 | 32.7267 | 593.77 | 77321 | 21 | 5971.245 | 2059.4824 | 4886.0386 | 6945.521 | 983950 | 5297 | 18.6288 | 85.71% | 392 | 20788 | 4 | 14933193 | 4632 | 926.4 | 6841223 | 2098 | 419.6 | 243391 | 506 | 101.2 | 8641 | 10 | 78.4 | 3286 | 1 | 7.84 | 155 | 1 | 7.84
2025-02-03 | 21277629 | 7935 | 21972346 | 8237 | 488988 | 138 | 16310 | 3262 | 109427 | 105 | 823.2 | 41311 | 18 | 24769 | 14 | 32 | 62046 | 31 | 32.7267 | 593.77 | 77343 | 22 | 6255.59 | 2157.553 | 4886.0386 | 7043.5916 | 989419 | 5469 | 19.2337 | 92.38% | 393 | 20792 | 4 | 14938713 | 5520 | 1104 | 6843451 | 2228 | 445.6 | 243962 | 571 | 114.2 | 8649 | 8 | 62.72 | 3287 | 1 | 7.84 | 156 | 1 | 7.84
2025-02-04 | 21285560 | 7931 | 21980581 | 8235 | 489131 | 143 | 16309 | 3261.8 | 109535 | 108 | 846.72 | 41330 | 19 | 24780 | 11 | 30 | 62074 | 28 | 29.5596 | 558.7736 | 77363 | 20 | 5686.9 | 1961.4118 | 4886.0386 | 6847.4504 | 994942 | 5523 | 19.4236 | 97.46% | 428 | 20796 | 4 | 14944241 | 5528 | 1105.6 | 6845663 | 2212 | 442.4 | 244551 | 589 | 117.8 | 8659 | 10 | 78.4 | 3288 | 1 | 7.84 | 157 | 1 | 7.84
2025-02-05 | 21293389 | 7829 | 21988750 | 8169 | 489274 | 143 | 16141 | 3228.2 | 109646 | 111 | 870.24 | 41348 | 18 | 24794 | 14 | 32 | 62106 | 32 | 33.7824 | 605.4355 | 77382 | 19 | 5402.555 | 1863.3412 | 4886.0386 | 6749.3798 | 1000384 | 5442 | 19.1387 | 99.05% | 448 | 20800 | 4 | 14949793 | 5552 | 1110.4 | 6847903 | 2240 | 448 | 245124 | 573 | 114.6 | 8670 | 11 | 86.24 | 3290 | 2 | 15.68 | 158 | 1 | 7.84
2025-02-06 | 21301266 | 7877 | 21996954 | 8204 | 489422 | 148 | 16229 | 3245.8 | 109752 | 106 | 831.04 | 41367 | 19 | 24810 | 16 | 35 | 62140 | 34 | 35.8938 | 628.7665 | 77402 | 20 | 5686.9 | 1961.4118 | 4886.0386 | 6847.4504 | 1005957 | 5573 | 19.5994 | 97.78% | 437 | 20804 | 4 | 14955336 | 5543 | 1108.6 | 6850104 | 2201 | 440.2 | 245595 | 471 | 94.2 | 8680 | 10 | 78.4 | 3292 | 2 | 15.68 | 159 | 1 | 7.84
2025-02-07 | 21309068 | 7802 | 22004984 | 8030 | 489568 | 146 | 15978 | 3195.6 | 109873 | 121 | 948.64 | 41386 | 19 | 24824 | 14 | 33 | 62172 | 32 | 33.7824 | 605.4355 | 77421 | 19 | 5402.555 | 1863.3412 | 4886.0386 | 6749.3798 | 1011806 | 5849 | 20.5701 | 96.51% | 467 | 20808 | 4 | 14960751 | 5415 | 1083 | 6852353 | 2249 | 449.8 | 245958 | 363 | 72.6 | 8687 | 7 | 54.88 | 3294 | 2 | 15.68 | 160 | 1 | 7.84
2025-02-08 | 21316970 | 7902 | 22012937 | 7953 | 489691 | 123 | 15978 | 3195.6 | 109988 | 115 | 901.6 | 41406 | 20 | 24838 | 14 | 34 | 62205 | 33 | 34.8381 | 617.101 | 77441 | 20 | 5686.9 | 1961.4118 | 4886.0386 | 6847.4504 | 1017456 | 5650 | 19.8702 | 94.92% | 452 | 20811 | 3 | 14965240 | 4489 | 897.8 | 6854468 | 2115 | 423 | 246210 | 252 | 50.4 | 8700 | 13 | 101.92 | 3295 | 1 | 7.84 | 161 | 1 | 7.84
2025-02-09 | 21324875 | 7905 | 22020889 | 7952 | 489827 | 136 | 15993 | 3198.6 | 110095 | 107 | 838.88 | 41425 | 19 | 24853 | 15 | 34 | 62237 | 32 | 33.7824 | 605.4355 | 77460 | 19 | 5402.555 | 1863.3412 | 4886.0386 | 6749.3798 | 1022641 | 5185 | 18.2349 | 82.22% | 346 | 20814 | 3 | 14969706 | 4466 | 893.2 | 6856572 | 2104 | 420.8 | 246458 | 248 | 49.6 | 8704 | 4 | 31.36 | 3296 | 1 | 7.84 | 162 | 1 | 7.84
2025-02-10 | 21332629 | 7754 | 22028659 | 7770 | 489957 | 130 | 15654 | 3130.8 | 110205 | 110 | 862.4 | 41443 | 18 | 24867 | 14 | 32 | 62268 | 31 | 32.7267 | 593.77 | 77477 | 17 | 4833.865 | 1667.2 | 4886.0386 | 6553.2386 | 1027856 | 5215 | 18.3404 | 94.29% | 405 | 20818 | 4 | 14975077 | 5371 | 1074.2 | 6858800 | 2228 | 445.6 | 246681 | 223 | 44.6 | 8712 | 8 | 62.72 | 3297 | 1 | 7.84 | 163 | 1 | 7.84
2025-02-11 | 21340375 | 7746 | 22036227 | 7568 | 490086 | 129 | 15443 | 3088.6 | 110316 | 111 | 870.24 | 41461 | 18 | 24881 | 14 | 32 | 62299 | 31 | 32.7267 | 593.77 | 77495 | 18 | 5118.21 | 1765.2706 | 4886.0386 | 6651.3092 | 1033377 | 5521 | 19.4166 | 93.33% | 387 | 20822 | 4 | 14980579 | 5502 | 1100.4 | 6861058 | 2258 | 451.6 | 246878 | 197 | 39.4 | 8720 | 8 | 62.72 | 3298 | 1 | 7.84 | 164 | 1 | 7.84
2025-02-12 | 21348052 | 7677 | 22043816 | 7589 | 490223 | 137 | 15403 | 3080.6 | 110411 | 95 | 744.8 | 41479 | 18 | 24894 | 13 | 31 | 62329 | 30 | 31.671 | 582.1046 | 77516 | 21 | 5971.245 | 2059.4824 | 4886.0386 | 6945.521 | 1039590 | 6213 | 21.8502 | 95.56% | 385 | 20827 | 5 | 14986040 | 5461 | 1092.2 | 6863276 | 2218 | 443.6 | 247093 | 215 | 43 | 8731 | 11 | 86.24 | 3299 | 1 | 7.84 | 165 | 1 | 7.84
2025-02-13 | 21355634 | 7582 | 22051286 | 7470 | 490362 | 139 | 15191 | 3038.2 | 110518 | 107 | 838.88 | 41498 | 19 | 24908 | 14 | 33 | 62362 | 33 | 34.8381 | 617.101 | 77537 | 21 | 5971.245 | 2059.4824 | 4886.0386 | 6945.521 | 1046338 | 6748 | 23.7317 | 100% | 421 | 20832 | 5 | 14991491 | 5451 | 1090.2 | 6865500 | 2224 | 444.8 | 247291 | 198 | 39.6 | 8739 | 8 | 62.72 | 3300 | 1 | 7.84 | 166 | 1 | 7.84
2025-02-14 | 21363430 | 7796 | 22058968 | 7682 | 490489 | 127 | 15605 | 3121 | 110630 | 112 | 878.08 | 41518 | 20 | 24922 | 14 | 34 | 62396 | 34 | 35.8938 | 628.7665 | 77559 | 22 | 6255.59 | 2157.553 | 4886.0386 | 7043.5916 | 1053473 | 7135 | 25.0928 | 94.6% | 431 | 20837 | 5 | 14996955 | 5464 | 1092.8 | 6867776 | 2276 | 455.2 | 247451 | 160 | 32 | 8746 | 7 | 54.88 | 3303 | 3 | 23.52 | 167 | 1 | 7.84
2025-02-15 | 21370830 | 7400 | 22066348 | 7380 | 490613 | 124 | 14904 | 2980.8 | 110736 | 106 | 831.04 | 41538 | 20 | 24935 | 13 | 33 | 62427 | 31 | 32.7267 | 593.77 | 77580 | 21 | 5971.245 | 2059.4824 | 4886.0386 | 6945.521 | 1059982 | 6509 | 22.8912 | 96.51% | 415 | 20842 | 5 | 15001565 | 4610 | 922 | 6869873 | 2097 | 419.4 | 247593 | 142 | 28.4 | 8751 | 5 | 39.2 | 3304 | 1 | 7.84 | 168 | 1 | 7.84
2025-02-16 | 21378617 | 7787 | 22073893 | 7545 | 490737 | 124 | 15456 | 3091.2 | 110831 | 95 | 744.8 | 41561 | 23 | 24949 | 14 | 37 | 62463 | 36 | 38.0052 | 652.0975 | 77602 | 22 | 6255.59 | 2157.553 | 4886.0386 | 7043.5916 | 1066570 | 6588 | 23.169 | 87.3% | 298 | 20846 | 4 | 15006196 | 4631 | 926.2 | 6872047 | 2174 | 434.8 | 247729 | 136 | 27.2 | 8756 | 5 | 39.2 | 3305 | 1 | 7.84 | 169 | 1 | 7.84
2025-02-17 | 21386420 | 7803 | 22081487 | 7594 | 490863 | 126 | 15523 | 3104.6 | 110939 | 108 | 846.72 | 41586 | 25 | 24965 | 16 | 41 | 62502 | 39 | 41.1723 | 687.0939 | 77624 | 22 | 6255.59 | 2157.553 | 4886.0386 | 7043.5916 | 1073286 | 6716 | 23.6192 | 100% | 341 | 20851 | 5 | 15011628 | 5432 | 1086.4 | 6874280 | 2233 | 446.6 | 247872 | 143 | 28.6 | 8761 | 5 | 39.2 | 3306 | 1 | 7.84 | 170 | 1 | 7.84
2025-02-18 | 21394100 | 7680 | 22089225 | 7738 | 490986 | 123 | 15541 | 3108.2 | 111030 | 91 | 713.44 | 41610 | 24 | 24981 | 16 | 40 | 62542 | 40 | 42.228 | 698.7594 | 77646 | 22 | 6255.59 | 2157.553 | 4886.0386 | 7043.5916 | 1080193 | 6907 | 24.2909 | 100% | 338 | 20856 | 5 | 15017038 | 5410 | 1082 | 6876499 | 2219 | 443.8 | 248008 | 136 | 27.2 | 8766 | 5 | 39.2 | 3307 | 1 | 7.84 | 171 | 1 | 7.84
2025-02-19 | 21402145 | 8045 | 22097083 | 7858 | 491119 | 133 | 16036 | 3207.2 | 111128 | 98 | 768.32 | 41637 | 27 | 24996 | 15 | 42 | 62582 | 40 | 42.228 | 698.7594 | 77667 | 21 | 5971.245 | 2059.4824 | 4886.0386 | 6945.521 | 1086920 | 6727 | 23.6579 | 99.68% | 342 | 20861 | 5 | 15022669 | 5631 | 1126.2 | 6878800 | 2301 | 460.2 | 248146 | 138 | 27.6 | 8773 | 7 | 54.88 | 3308 | 1 | 7.84 | 172 | 1 | 7.84
2025-02-20 | 21409916 | 7771 | 22104554 | 7471 | 491249 | 130 | 15372 | 3074.4 | 111233 | 105 | 823.2 | 41663 | 26 | 25014 | 18 | 44 | 62626 | 44 | 46.4508 | 745.4213 | 77687 | 20 | 5686.9 | 1961.4118 | 4886.0386 | 6847.4504 | 1093468 | 6548 | 23.0284 | 90.16% | 320 | 20865 | 4 | 15028097 | 5428 | 1085.6 | 6881015 | 2215 | 443 | 248292 | 146 | 29.2 | 8779 | 6 | 47.04 | 3310 | 2 | 15.68 | 173 | 1 | 7.84
2025-02-21 | 21417759 | 7843 | 22112068 | 7514 | 491384 | 135 | 15492 | 3098.4 | 111324 | 91 | 713.44 | 41687 | 24 | 25026 | 12 | 36 | 62661 | 35 | 36.9495 | 640.432 | 77713 | 26 | 7392.97 | 2549.8354 | 4886.0386 | 7435.8739 | 1100882 | 7414 | 26.074 | 86.35% | 354 | 20871 | 6 | 15033446 | 5349 | 1069.8 | 6883210 | 2195 | 439 | 248595 | 303 | 60.6 | 8784 | 5 | 39.2 | 3311 | 1 | 7.84 | 174 | 1 | 7.84
2025-02-22 | 21425812 | 8053 | 22119606 | 7538 | 491509 | 125 | 15716 | 3143.2 | 111433 | 109 | 854.56 | 41708 | 21 | 25039 | 13 | 34 | 62694 | 33 | 34.8381 | 617.101 | 77738 | 25 | 7108.625 | 2451.7648 | 4886.0386 | 7337.8033 | 1108382 | 7500 | 26.3764 | 76.83% | 336 | 20875 | 4 | 15037948 | 4502 | 900.4 | 6885306 | 2096 | 419.2 | 248963 | 368 | 73.6 | 8788 | 4 | 31.36 | 3311 | 0 | 0 | 175 | 1 | 7.84
2025-02-23 | 21433609 | 7797 | 22127176 | 7570 | 491628 | 119 | 15486 | 3097.2 | 111530 | 97 | 760.48 | 41727 | 19 | 25052 | 13 | 32 | 62725 | 31 | 32.7267 | 593.77 | 77766 | 28 | 7961.66 | 2745.9765 | 4886.0386 | 7632.0151 | 1115699 | 7317 | 25.7328 | 73.97% | 311 | 20880 | 5 | 15042375 | 4427 | 885.4 | 6887364 | 2058 | 411.6 | 249361 | 398 | 79.6 | 8793 | 5 | 39.2 | 3313 | 2 | 15.68 | 176 | 1 | 7.84
2025-02-24 | 21441587 | 7978 | 22134734 | 7558 | 491747 | 119 | 15655 | 3131 | 111633 | 103 | 807.52 | 41745 | 18 | 25063 | 11 | 29 | 62754 | 29 | 30.6153 | 570.4391 | 77792 | 26 | 7392.97 | 2549.8354 | 4886.0386 | 7435.8739 | 1123161 | 7462 | 26.2428 | 80% | 317 | 20885 | 5 | 15047861 | 5486 | 1097.2 | 6889592 | 2228 | 445.6 | 249638 | 277 | 55.4 | 8798 | 5 | 39.2 | 3314 | 1 | 7.84 | 177 | 1 | 7.84
2025-02-25 | 21449739 | 8152 | 22142667 | 7933 | 491875 | 128 | 16213 | 3242.6 | 111719 | 86 | 674.24 | 41763 | 18 | 25077 | 14 | 32 | 62785 | 31 | 32.7267 | 593.77 | 77814 | 22 | 6255.59 | 2157.553 | 4886.0386 | 7043.5916 | 1129554 | 6393 | 22.4833 | 92.7% | 364 | 20890 | 5 | 15053373 | 5512 | 1102.4 | 6891836 | 2244 | 448.8 | 249915 | 277 | 55.4 | 8807 | 9 | 70.56 | 3315 | 1 | 7.84 | 178 | 1 | 7.84
2025-02-26 | 21457642 | 7903 | 22150521 | 7854 | 491999 | 124 | 15881 | 3176.2 | 111828 | 109 | 854.56 | 41782 | 19 | 25091 | 14 | 33 | 62816 | 31 | 32.7267 | 593.77 | 77831 | 17 | 4833.865 | 1667.2 | 4886.0386 | 6553.2386 | 1134720 | 5166 | 18.1681 | 94.92% | 380 | 20894 | 4 | 15058775 | 5402 | 1080.4 | 6894045 | 2209 | 441.8 | 250143 | 228 | 45.6 | 8809 | 2 | 15.68 | 3317 | 2 | 15.68 | 179 | 1 | 7.84
2025-02-27 | 21465482 | 7840 | 22158203 | 7682 | 492114 | 115 | 15637 | 3127.4 | 111926 | 98 | 768.32 | 41799 | 17 | 25105 | 14 | 31 | 62846 | 30 | 31.671 | 582.1046 | 77848 | 17 | 4833.865 | 1667.2 | 4886.0386 | 6553.2386 | 1139920 | 5200 | 18.2876 | 79.68% | 316 | 20896 | 2 | 15064176 | 5401 | 1080.2 | 6896218 | 2173 | 434.6 | 250376 | 233 | 46.6 | 8813 | 4 | 31.36 | 3318 | 1 | 7.84 | 180 | 1 | 7.84
2025-02-28 | 21473167 | 7685 | 22165830 | 7627 | 492235 | 121 | 15433 | 3086.6 | 112017 | 91 | 713.44 | 41820 | 21 | 25117 | 12 | 33 | 62878 | 32 | 33.7824 | 605.4355 | 77866 | 18 | 5118.21 | 1765.2706 | 4886.0386 | 6651.3092 | 1145107 | 5187 | 18.2419 | 50.79% | 205 | 20899 | 3 | 15069447 | 5271 | 1054.2 | 6898346 | 2128 | 425.6 | 250605 | 229 | 45.8 | 8818 | 5 | 39.2 | 3321 | 3 | 23.52 | 180 | 0 | 0
|  | 219329 |  | 217772 |  | 3674 | 440775 | 88155 |  | 2933 | 22994.72 |  | 565 |  | 389 | 954 |  | 925 | 976.5225 | 17290.4936 |  | 584 | 166057.48 | 57273.2249 | 136809.0804 | 194082.3053 |  | 171712 | 603.8861 | 90.14% | 10469 |  | 118 |  | 145337 | 29067.4 |  | 61303 | 12260.6 |  | 8001 | 1600.2 |  | 197 | 1544.48 |  | 37 | 290.08 |  | 27 | 211.68
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 273618.16 | CHW Fixed Charges YTD 2025
| Actual February 2025 |  | 88155 |  |  | 440775 |  |  | Actual February 2025 |  | 22994.72 | 2933 |  | Actual February 2025 |  |  | 17290.4936 |  | 976.5225 |  | Actual February 2025 |  | 194082.3053 |  | 166057.48 |  |  |  | 171712 | 5654.52 |  | 263095.1 | CHW Fixed Charges YTD 2024
| Budget February 2025 |  | 85554 |  |  | 427770 |  |  | Budget February 2025 |  | 25367.3949 | 3235.6371 |  | Budget February 2025 |  |  | 18197.4994 |  | 1058.5972 |  | Budget February 2025 |  | 188015.6078 |  | 148467.7523 | [6 empty] | 51206.5278 | CHW Consumption Charges (Budgeted 2025 MTD)
| Actual February 2024 |  | 84074.2 |  |  | 420371 |  |  | Actual February 2024 |  | 24100.16 | 3074 |  | Actual February 2024 |  |  | 17738.75 |  | 1017.0814 |  | Actual February 2024 |  | 178112.55 |  | 135284.7182 | [6 empty] | 46565 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2025 |  | 185078.6 |  |  | 925393 |  |  | Actual YTD 2025 |  | 47204.64 | 6021 |  | Actual YTD 2025 |  |  | 34891.1536 |  | 5138.6703 |  | Actual YTD 2025 |  | 386693.5553 |  | 327849.7978 | [6 empty] | 113075.3953 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  | 179298 |  |  | 896490 |  |  | Budget YTD 2025 |  | 53942.9197 | 6880.4745 |  | Budget YTD 2025 |  |  | 37511.6158 |  | 5612.9621 |  | Budget YTD 2025 |  | 385627.3832 |  | 324758.5479 | [6 empty] | 112009.2232 | CHW Consumption Charges (Budgeted 2025 YTD)
| Actual YTD 2024 |  | 172084.4 |  |  | 860422 |  |  | Actual YTD 2024 |  | 49086.24 | 6261 |  | Actual YTD 2024 |  |  | 35082.39 |  | 5173.2833 |  | Actual YTD 2024 |  | 363489.45 |  | 291674.4625 | [6 empty] | 100394.35 | CHW Consumption Charges (Actual 2024 YTD)
[7 empty] | 2025-02-01 | 2025-03-03 | 28
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 85554 |  | Electricity |  |  | 3055.5 |  | Electricity |  |  | 3148.3929 |  | Electricity |  |  |  | 85554 |  |  | Electricity |  | 88155 |  | -2601 | Electricity |  | 179298 |  | Electricity |  | 185078.6 | -5780.6 | 5780.6
Water | 25367.3949 |  | Water |  |  | 905.9784 |  | Water |  |  | 821.24 |  | Water |  |  |  | 25367.3949 |  |  | Water |  | 22994.72 |  | 2372.6749 | Water |  | 53942.9197 |  | Water |  | 47204.64 | 6738.2797 | -6738.2797
Gas | 18197.4994 |  | Gas |  |  | 649.9107 |  | Gas |  |  | 617.5176 |  | Gas |  |  |  | 18197.4994 |  |  | Gas |  | 17290.4936 |  | 907.0058 | Gas |  | 37511.6158 |  | Gas |  | 34891.1536 | 2620.4622 | -2620.4622
Chilled Water | 188015.6078 |  | Chilled Water |  |  | 6714.8431 |  | Chilled Water |  |  | 6931.5109 |  | Chilled Water |  |  |  | 188015.6078 |  |  | Chilled Water |  | 194082.3053 |  | -6066.6975 | Chilled Water |  | 385627.3832 |  | Chilled Water |  | 386693.5553 | -1066.1721 | 1066.1721
| 317134.502 | [15 empty] | 317134.502 |  |  |  |  | 322522.5189 |  | -5388.0169 |  | Total Energy cost | 656379.9187 |  |  |  | 653867.9489 | 2511.9698
| -5388.0169 | [21 empty] | -1.699% | [7 empty] | 0.3827%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 84074.2 |  | Electricity |  |  | 3002.65 |  | Electricity |  |  | 84074.2 |  | Electricity |  |  |  | 88155 |  |  | Electricity |  | -4080.8 |  |  | 88155 | 185078.6 |  |  | -4080.8 | -12994.2
Water | 24100.16 |  | Water |  |  | 860.72 |  | Water |  |  | 24100.16 |  | Water |  |  |  | 22994.72 |  |  | Water |  | 1105.44 |  |  | 22994.72 | 47204.64 |  |  | 1105.44 | 1881.6
Gas | 17738.75 |  | Gas |  |  | 633.5268 |  | Gas |  |  | 17738.75 |  | Gas |  |  |  | 17290.4936 |  |  | Gas |  | 448.2564 |  |  | 17290.4936 | 34891.1536 |  |  | 448.2564 | 191.2364
Chilled Water | 178112.55 |  | Chilled Water |  |  | 6361.1625 |  | Chilled Water |  |  | 178112.55 |  | Chilled Water |  |  |  | 194082.3053 |  |  | Chilled Water |  | -15969.7553 |  |  | 194082.3053 | 386693.5553 |  |  | -15969.7553 | -23204.1053
| 304025.66 | [9 empty] | 304025.66 | [5 empty] | 322522.5189 |  |  |  |  | -18496.8589 |  |  | 322522.5189 | 653867.9489 |  |  | -18496.8589 | -34125.4689
| -18496.8589 | [21 empty] | -6.084%