## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 2 | 2025 | 28872.2 | 0.2 | 3919.225 | 1.66 | 308.65 | 7.84 | 438 | 693
Park Rotana and Park Arjaan Abu Dhabi | 2 | 2 | 2025 | 30264 | 0.2 | 4038.957 | 1.66 | 331.297 | 7.84 | 479 | 683
Park Rotana and Park Arjaan Abu Dhabi | 3 | 2 | 2025 | 30593.4 | 0.2 | 4290.557 | 1.66 | 363.09 | 7.84 | 478 | 669
Park Rotana and Park Arjaan Abu Dhabi | 4 | 2 | 2025 | 29000.8 | 0.2 | 3894.916 | 1.66 | 335.785 | 7.84 | 486 | 682
Park Rotana and Park Arjaan Abu Dhabi | 5 | 2 | 2025 | 28777.4 | 0.2 | 3584.375 | 1.66 | 328.122 | 7.84 | 477 | 692
Park Rotana and Park Arjaan Abu Dhabi | 6 | 2 | 2025 | 28981 | 0.2 | 4022.455 | 1.66 | 319.681 | 7.84 | 453 | 668
Park Rotana and Park Arjaan Abu Dhabi | 7 | 2 | 2025 | 30341.8 | 0.2 | 3697.41 | 1.66 | 346.817 | 7.84 | 469 | 708
Park Rotana and Park Arjaan Abu Dhabi | 8 | 2 | 2025 | 31065.8 | 0.2 | 3479.258 | 1.66 | 295.114 | 7.84 | 469 | 660
Park Rotana and Park Arjaan Abu Dhabi | 9 | 2 | 2025 | 28989.4 | 0.2 | 3579.158 | 1.66 | 316.551 | 7.84 | 371 | 484
Park Rotana and Park Arjaan Abu Dhabi | 10 | 2 | 2025 | 29850.8 | 0.2 | 3371.699 | 1.66 | 245.67 | 7.84 | 420 | 557
Park Rotana and Park Arjaan Abu Dhabi | 11 | 2 | 2025 | 29851.2 | 0.2 | 3463.348 | 1.66 | 315.565 | 7.84 | 457 | 629
Park Rotana and Park Arjaan Abu Dhabi | 12 | 2 | 2025 | 30572.2 | 0.2 | 3558.66 | 1.66 | 299.428 | 7.84 | 462 | 643
Park Rotana and Park Arjaan Abu Dhabi | 13 | 2 | 2025 | 31800.2 | 0.2 | 3600.396 | 1.66 | 348.56 | 7.84 | 466 | 633
Park Rotana and Park Arjaan Abu Dhabi | 14 | 2 | 2025 | 31292.6 | 0.2 | 2730.674 | 1.66 | 299.414 | 7.84 | 482 | 764
Park Rotana and Park Arjaan Abu Dhabi | 15 | 2 | 2025 | 31440 | 0.2 | 3339.99 | 1.66 | 305.056 | 7.84 | 480 | 772
Park Rotana and Park Arjaan Abu Dhabi | 16 | 2 | 2025 | 31085 | 0.2 | 3211.637 | 1.66 | 295.097 | 7.84 | 406 | 536
Park Rotana and Park Arjaan Abu Dhabi | 17 | 2 | 2025 | 31026.4 | 0.2 | 3471.636 | 1.66 | 218.607 | 7.84 | 438 | 543
Park Rotana and Park Arjaan Abu Dhabi | 18 | 2 | 2025 | 32371 | 0.2 | 3226.696 | 1.66 | 269.779 | 7.84 | 474 | 592
Park Rotana and Park Arjaan Abu Dhabi | 19 | 2 | 2025 | 31326.6 | 0.2 | 3208.788 | 1.66 | 315.989 | 7.84 | 455 | 584
Park Rotana and Park Arjaan Abu Dhabi | 20 | 2 | 2025 | 30816.6 | 0.2 | 3017.091 | 1.66 | 278.767 | 7.84 | 401 | 517
Park Rotana and Park Arjaan Abu Dhabi | 21 | 2 | 2025 | 32415.6 | 0.2 | 3034.222 | 1.66 | 271.218 | 7.84 | 341 | 487
Park Rotana and Park Arjaan Abu Dhabi | 22 | 2 | 2025 | 31600 | 0.2 | 3212.451 | 1.66 | 228.539 | 7.84 | 329 | 490
Park Rotana and Park Arjaan Abu Dhabi | 23 | 2 | 2025 | 32370.2 | 0.2 | 2928.328 | 1.66 | 276.086 | 7.84 | 324 | 434
Park Rotana and Park Arjaan Abu Dhabi | 24 | 2 | 2025 | 32274.8 | 0.2 | 2861.58 | 1.66 | 300.807 | 7.84 | 454 | 647
Park Rotana and Park Arjaan Abu Dhabi | 25 | 2 | 2025 | 30705.2 | 0.2 | 3000.108 | 1.66 | 257.377 | 7.84 | 484 | 663
Park Rotana and Park Arjaan Abu Dhabi | 26 | 2 | 2025 | 30207.2 | 0.2 | 3289.67 | 1.66 | 325.118 | 7.84 | 481 | 610
Park Rotana and Park Arjaan Abu Dhabi | 27 | 2 | 2025 | 30357.8 | 0.2 | 3514.704 | 1.66 | 281.674 | 7.84 | 415 | 530
Park Rotana and Park Arjaan Abu Dhabi | 28 | 2 | 2025 | 28869.8 | 0.2 | 3295.183 | 1.66 | 303.235 | 7.84 | 307 | 422
Park Rotana and Park Arjaan Abu Dhabi | 29 | 2 | 2025 | 0 | 0.2 | 0 | 1.66 | 0 | 7.84 | 0 | 0
Park Rotana and Park Arjaan Abu Dhabi | 30 | 2 | 2025 | 0 | 0.2 | 0 | 1.66 | 0 | 7.84 | 0 | 0
Park Rotana and Park Arjaan Abu Dhabi | 31 | 2 | 2025 | 0 | 0.2 | 0 | 1.66 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION FEBRUARY 2025
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 15478484 | 15500330 | 15522361 | 15545307 | 15566866 | 15588397 | 15609970 | 15632306 | 15655003 | 15676364 | 15698482 | 15720484 | 15742403 | 15764920 | 15787035 | 15809553 | 15832096 | 15853552 | 15876059 | 15897923 | 15919565 | 15941894 | 15963843 | 15986077 | 16007867 | 16030311 | 16052644 | 16075139 | 16096663
|  |  |  | 21846 | 22031 | 22946 | 21559 | 21531 | 21573 | 22336 | 22697 | 21361 | 22118 | 22002 | 21919 | 22517 | 22115 | 22518 | 22543 | 21456 | 22507 | 21864 | 21642 | 22329 | 21949 | 22234 | 21790 | 22444 | 22333 | 22495 | 21524
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 16606503 | 16622407 | 16641316 | 16658157 | 16674208 | 16685193 | 16687456 | 16690789 | 16694124 | 16697452 | 16699546 | 16700761 | 16703214 | 16706627 | 16710073 | 16711291 | 16712450 | 16717150 | 16721677 | 16725738 | 16729085 | 16734860 | 16738654 | 16743921 | 16752018 | 16755294 | 16758529 | 16761758 | 16764882
|  |  |  | 15904 | 18909 | 16841 | 16051 | 10985 | 2263 | 3333 | 3335 | 3328 | 2094 | 1215 | 2453 | 3413 | 3446 | 1218 | 1159 | 4700 | 4527 | 4061 | 3347 | 5775 | 3794 | 5267 | 8097 | 3276 | 3235 | 3229 | 3124
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 10856222 | 10857121 | 10858017 | 10859502 | 10861243 | 10867559 | 10882951 | 10898810 | 10915337 | 10930510 | 10946928 | 10964556 | 10983031 | 11002166 | 11020939 | 11041256 | 11060722 | 11079213 | 11098601 | 11117319 | 11136121 | 11154850 | 11174396 | 11193767 | 11211302 | 11228114 | 11243622 | 11259135 | 11273553
|  |  |  | 899 | 896 | 1485 | 1741 | 6316 | 15392 | 15859 | 16527 | 15173 | 16418 | 17628 | 18475 | 19135 | 18773 | 20317 | 19466 | 18491 | 19388 | 18718 | 18802 | 18729 | 19546 | 19371 | 17535 | 16812 | 15508 | 15513 | 14418
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3399 | 3400
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 506 | 506 | 506 | 506 | 507 | 507 | 507 | 507 | 507 | 507 | 507 | 507 | 507 | 507 | 507 | 507 | 508 | 508 | 508 | 508 | 508 | 508 | 508 | 508 | 508 | 508 | 508 | 508 | 508
|  |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1474788 | 1475050 | 1475315 | 1475584 | 1475861 | 1476141 | 1476442 | 1476727 | 1477103 | 1477285 | 1477566 | 1477830 | 1478063 | 1478281 | 1478523 | 1478779 | 1479018 | 1479264 | 1479516 | 1479818 | 1480086 | 1480328 | 1480600 | 1480836 | 1481014 | 1481203 | 1481537 | 1481859 | 1482142
|  |  |  | 262 | 265 | 269 | 277 | 280 | 301 | 285 | 376 | 182 | 281 | 264 | 233 | 218 | 242 | 256 | 239 | 246 | 252 | 302 | 268 | 242 | 272 | 236 | 178 | 189 | 334 | 322 | 283
14 | E5T09D034327 | Hotel Gym S (Kwh) | 388808 | 388851 | 388897 | 388945 | 388992 | 389038 | 389083 | 389127 | 389175 | 389221 | 389268 | 389316 | 389365 | 389411 | 389459 | 389511 | 389563 | 389611 | 389657 | 389706 | 389753 | 389796 | 389839 | 389884 | 389938 | 389975 | 390018 | 390062 | 390107
|  |  |  | 43 | 46 | 48 | 47 | 46 | 45 | 44 | 48 | 46 | 47 | 48 | 49 | 46 | 48 | 52 | 52 | 48 | 46 | 49 | 47 | 43 | 43 | 45 | 54 | 37 | 43 | 44 | 45
| Total Daily Consumption (kw) |  |  | 28872.2 | 30264 | 30593.4 | 29000.8 | 28777.4 | 28981 | 30341.8 | 31065.8 | 28989.4 | 29850.8 | 29851.2 | 30572.2 | 31800.2 | 31292.6 | 31440 | 31085 | 31026.4 | 32371 | 31326.6 | 30816.6 | 32415.6 | 31600 | 32370.2 | 32274.8 | 30705.2 | 30207.2 | 30357.8 | 28869.8
| Total Monthly Consumption (kw) |  |  | 1: 857119
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) FEBRUARY 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 186372 | 186642 | 186937 | 187249 | 187538 | 187827 | 188114 | 188398 | 188676 | 188950 | 189177 | 189459 | 189720 | 190014 | 190256 | 190553 | 190809 | 191015 | 191253 | 191522 | 191762 | 191994 | 192212 | 192442 | 192726 | 192937 | 193214 | 193451 | 193705
|  |  |  | 270 | 295 | 312 | 289 | 289 | 287 | 284 | 278 | 274 | 227 | 282 | 261 | 294 | 242 | 297 | 256 | 206 | 238 | 269 | 240 | 232 | 218 | 230 | 284 | 211 | 277 | 237 | 254
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 409608.6 | 409620.3 | 409633.4 | 409649.2 | 409665.1 | 409682.1 | 409699.4 | 409719.3 | 409733.2 | 409749.6 | 409762.7 | 409778.5 | 409796.2 | 409815.2 | 409837.8 | 409852.4 | 409869.4 | 409882.2 | 409898.5 | 409916.2 | 409932.9 | 409951.2 | 409963.9 | 409982.2 | 409997.5 | 410015.9 | 410033.5 | 410050.1 | 410068.2
|  |  |  | 11.7 | 13.1 | 15.8 | 15.9 | 17 | 17.3 | 19.9 | 13.9 | 16.4 | 13.1 | 15.8 | 17.7 | 19 | 22.6 | 14.6 | 17 | 12.8 | 16.3 | 17.7 | 16.7 | 18.3 | 12.7 | 18.3 | 15.3 | 18.4 | 17.6 | 16.6 | 18.1
4 | 2045000686(Sub Meter) | Irrigation water Tank | 31050 | 31103 | 31165 | 31246 | 31327 | 31389 | 31440 | 31550 | 31567 | 31640 | 31661 | 31715 | 31778 | 31865 | 31966 | 31966 | 32033 | 32033 | 32081 | 32163 | 32225 | 32291 | 32291 | 32370 | 32381 | 32461 | 32541 | 32616 | 32702
|  |  |  | 53 | 62 | 81 | 81 | 62 | 51 | 110 | 17 | 73 | 21 | 54 | 63 | 87 | 101 | 0 | 67 | 0 | 48 | 82 | 62 | 66 | 0 | 79 | 11 | 80 | 80 | 75 | 86
5 | 68864837 | Hotel & Arjaan Spa | 2457.694 | 2459.108 | 2460.264 | 2461.38 | 2462 | 2464.563 | 2465.709 | 2468.434 | 2470.067 | 2471.6 | 2472.931 | 2473.9 | 2474.8 | 2476.52 | 2477.663 | 2478.553 | 2479.12 | 2482.248 | 2483.69 | 2485.127 | 2486.345 | 2486.9 | 2489.945 | 2491.53 | 2493.512 | 2493.984 | 2497.285 | 2499.629 | 2500.95
|  |  |  | 1.414 | 1.156 | 1.116 | 0.62 | 2.563 | 1.146 | 2.725 | 1.633 | 1.533 | 1.331 | 0.969 | 0.9 | 1.72 | 1.143 | 0.89 | 0.567 | 3.128 | 1.442 | 1.437 | 1.218 | 0.555 | 3.045 | 1.585 | 1.982 | 0.472 | 3.301 | 2.344 | 1.321
6 | 65296485 | Hotel & Arjaan Gym | 3094.069 | 3102.19 | 3103.536 | 3109.95 | 3112.51 | 3113.519 | 3114.319 | 3115.956 | 3117.532 | 3118.32 | 3120.314 | 3121.5 | 3122.713 | 3127.853 | 3128.504 | 3129.1 | 3129.83 | 3133.549 | 3134.951 | 3135.638 | 3137.772 | 3138.5 | 3140.279 | 3140.995 | 3143.985 | 3145.61 | 3146.507 | 3147.617 | 3148.686
|  |  |  | 8.121 | 1.346 | 6.414 | 2.56 | 1.009 | 0.8 | 1.637 | 1.576 | 0.788 | 1.994 | 1.186 | 1.213 | 5.14 | 0.651 | 0.596 | 0.73 | 3.719 | 1.402 | 0.687 | 2.134 | 0.728 | 1.779 | 0.716 | 2.99 | 1.625 | 0.897 | 1.11 | 1.069
| Total Daily Consumption (m3) |  |  | 308.65 | 331.297 | 363.09 | 335.785 | 328.122 | 319.681 | 346.817 | 295.114 | 316.551 | 245.67 | 315.565 | 299.428 | 348.56 | 299.414 | 305.056 | 295.097 | 218.607 | 269.779 | 315.989 | 278.767 | 271.218 | 228.539 | 276.086 | 300.807 | 257.377 | 325.118 | 281.674 | 303.235
| Total Monthly Consumption (m3) |  |  | 1: 8381.093
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) February 2025
AREA SERVED | BOILER 1 & 2 |  | MAIN KITCHEN |  | PASTRY KITCHEN |  | GINGER KITCHEN |  | TEATRO |  | COOPER'S KITCHEN
PRESSURE (mBar) | 483 |  | 30 |  | 30 |  | 30 |  | 50 |  | 30
LAST MONTH'S FINAL READING | 185260 |  | 72283.55 |  | 8196.8 |  | 2354.89 |  | 194211.9 |  | 15560.48 |  | Daily Consumption
1 | 186290 | 3811 | 72297.33 | 50.986 | 8198.22 | 5.254 | 2354.95 | 0.222 | 194221.4 | 35.15 | 15564.97 | 16.613 | 3919.225
2 | 187353 | 3933.1 | 72312.63 | 56.61 | 8199.9 | 6.216 | 2355.08 | 0.481 | 194229.9 | 31.45 | 15567.97 | 11.1 | 4038.957
3 | 188487 | 4195.8 | 72324.99 | 45.732 | 8201.34 | 5.328 | 2355.15 | 0.259 | 194239.4 | 35.15 | 15570.21 | 8.288 | 4290.557
4 | 189512 | 3792.5 | 72340.33 | 56.758 | 8202.2 | 3.182 | 2355.18 | 0.111 | 194248.2 | 32.56 | 15572.86 | 9.805 | 3894.916
5 | 190452 | 3478 | 72355.5 | 56.129 | 8202.8 | 2.22 | 2355.22 | 0.148 | 194258.5 | 38.11 | 15575.5 | 9.768 | 3584.375
6 | 191514 | 3929.4 | 72364.4 | 32.93 | 8204.88 | 7.696 | 2355.29 | 0.259 | 194270.1 | 42.92 | 15578 | 9.25 | 4022.455
7 | 192476 | 3559.4 | 72373.98 | 35.446 | 8206.33 | 5.365 | 2355.3 | 0.037 | 194289.2 | 70.67 | 15585.16 | 26.492 | 3697.41
8 | 193381 | 3348.5 | 72386.76 | 47.286 | 8208.06 | 6.401 | 2355.35 | 0.185 | 194304.3 | 55.87 | 15590.84 | 21.016 | 3479.258
9 | 194321 | 3478 | 72399.35 | 46.583 | 8209.35 | 4.773 | 2355.4 | 0.185 | 194316.2 | 44.03 | 15592.35 | 5.587 | 3579.158
10 | 195201 | 3256 | 72409.3 | 36.815 | 8210.02 | 2.479 | 2355.42 | 0.074 | 194333.2 | 62.9 | 15595.98 | 13.431 | 3371.699
11 | 196111 | 3367 | 72416.58 | 26.936 | 8211 | 3.626 | 2355.44 | 0.074 | 194347.8 | 54.02 | 15599.14 | 11.692 | 3463.348
12 | 197050 | 3474.3 | 72423 | 23.754 | 8212.3 | 4.81 | 2355.46 | 0.074 | 194360 | 45.14 | 15602 | 10.582 | 3558.66
13 | 197990 | 3478 | 72435.5 | 46.25 | 8213.9 | 5.92 | 2355.5 | 0.148 | 194375.8 | 58.46 | 15605.14 | 11.618 | 3600.396
14 | 198705 | 2645.5 | 72445.23 | 36.001 | 8214.98 | 3.996 | 2355.55 | 0.185 | 194384.9 | 33.67 | 15608.2 | 11.322 | 2730.674
15 | 199571 | 3204.2 | 72456.44 | 41.477 | 8216.03 | 3.885 | 2355.55 | 0 | 194407.2 | 82.51 | 15610.34 | 7.918 | 3339.99
16 | 200412 | 3111.7 | 72467.82 | 42.106 | 8217.8 | 6.549 | 2355.55 | 0 | 194417.1 | 36.63 | 15614.3 | 14.652 | 3211.637
17 | 201320 | 3359.6 | 72477.03 | 34.077 | 8218.76 | 3.552 | 2355.61 | 0.222 | 194436.2 | 70.67 | 15615.25 | 3.515 | 3471.636
18 | 202166 | 3130.2 | 72484.19 | 26.492 | 8219.71 | 3.515 | 2355.67 | 0.222 | 194451.2 | 55.5 | 15618.16 | 10.767 | 3226.696
19 | 203004 | 3100.6 | 72491.93 | 28.638 | 8220.72 | 3.737 | 2355.69 | 0.074 | 194466.3 | 55.87 | 15623.53 | 19.869 | 3208.788
20 | 203795 | 2926.7 | 72500.81 | 32.856 | 8221.84 | 4.144 | 2355.73 | 0.148 | 194479.1 | 47.36 | 15625.12 | 5.883 | 3017.091
21 | 204594 | 2956.3 | 72507.21 | 23.68 | 8222.71 | 3.219 | 2355.74 | 0.037 | 194491 | 44.03 | 15627 | 6.956 | 3034.222
22 | 205419 | 3052.5 | 72516.07 | 32.782 | 8223.56 | 3.145 | 2355.74 | 0 | 194515.6 | 91.02 | 15635.92 | 33.004 | 3212.451
23 | 206195 | 2871.2 | 72524.35 | 30.636 | 8224.63 | 3.959 | 2355.75 | 0.037 | 194520.4 | 17.76 | 15637.2 | 4.736 | 2928.328
24 | 206949 | 2789.8 | 72530.73 | 23.606 | 8225.82 | 4.403 | 2355.78 | 0.111 | 194530.2 | 36.26 | 15639.2 | 7.4 | 2861.58
25 | 207740 | 2926.7 | 72540.02 | 34.373 | 8226.35 | 1.961 | 2355.8 | 0.074 | 194538.4 | 30.34 | 15641 | 6.66 | 3000.108
26 | 208577.7 | 3099.49 | 72552.91 | 47.693 | 8227.19 | 3.108 | 2355.9 | 0.37 | 194570.8 | 119.88 | 15646.17 | 19.129 | 3289.67
27 | 209492 | 3382.91 | 72563.13 | 37.814 | 8228.47 | 4.736 | 2355.98 | 0.296 | 194591.1 | 75.11 | 15649.91 | 13.838 | 3514.704
28 | 210361 | 3215.3 | 72574.06 | 40.441 | 8229.43 | 3.552 | 2356.08 | 0.37 | 194600.7 | 35.52 | 15649.91 | 0 | 3295.183
0
TOTAL Consumption |  | 92873.7 |  | 1074.887 |  | 120.731 |  | 4.403 |  | 1438.56 |  | 330.891
TOTAL BOILER |  | 92873.7
TOTAL KITCHEN |  | 2969.472
TOTAL Boiler & Kitchen |  | 95843.172