## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 4 | 2024 | 29235.4 | 0.2 | 2948.382 | 1.66 | 272.139 | 7.84 | 293 | 415
Park Rotana and Park Arjaan Abu Dhabi | 2 | 4 | 2024 | 26099.2 | 0.2 | 3297.995 | 1.66 | 278.091 | 7.84 | 318 | 451
Park Rotana and Park Arjaan Abu Dhabi | 3 | 4 | 2024 | 32685.8 | 0.2 | 3025.379 | 1.66 | 288.847 | 7.84 | 291 | 419
Park Rotana and Park Arjaan Abu Dhabi | 4 | 4 | 2024 | 30553.8 | 0.2 | 3618.341 | 1.66 | 293.015 | 7.84 | 275 | 402
Park Rotana and Park Arjaan Abu Dhabi | 5 | 4 | 2024 | 29971.2 | 0.2 | 2382.208 | 1.66 | 293.636 | 7.84 | 236 | 359
Park Rotana and Park Arjaan Abu Dhabi | 6 | 4 | 2024 | 30115 | 0.2 | 2799.383 | 1.66 | 262.369 | 7.84 | 223 | 349
Park Rotana and Park Arjaan Abu Dhabi | 7 | 4 | 2024 | 29121 | 0.2 | 2916.229 | 1.66 | 288.872 | 7.84 | 220 | 331
Park Rotana and Park Arjaan Abu Dhabi | 8 | 4 | 2024 | 29099 | 0.2 | 2672.991 | 1.66 | 253.823 | 7.84 | 259 | 403
Park Rotana and Park Arjaan Abu Dhabi | 9 | 4 | 2024 | 31965.2 | 0.2 | 2641.837 | 1.66 | 321.973 | 7.84 | 291 | 505
Park Rotana and Park Arjaan Abu Dhabi | 10 | 4 | 2024 | 32277.2 | 0.2 | 2854.365 | 1.66 | 297.479 | 7.84 | 352 | 642
Park Rotana and Park Arjaan Abu Dhabi | 11 | 4 | 2024 | 34984.6 | 0.2 | 0.185 | 1.66 | 378.619 | 7.84 | 462 | 887
Park Rotana and Park Arjaan Abu Dhabi | 12 | 4 | 2024 | 36731 | 0.2 | 5431.156 | 1.66 | 420 | 7.84 | 439 | 802
Park Rotana and Park Arjaan Abu Dhabi | 13 | 4 | 2024 | 35024 | 0.2 | 3287.487 | 1.66 | 394.503 | 7.84 | 422 | 684
Park Rotana and Park Arjaan Abu Dhabi | 14 | 4 | 2024 | 34330.2 | 0.2 | 3400.892 | 1.66 | 372.661 | 7.84 | 336 | 509
Park Rotana and Park Arjaan Abu Dhabi | 15 | 4 | 2024 | 34546.4 | 0.2 | 2821.657 | 1.66 | 330.986 | 7.84 | 432 | 533
Park Rotana and Park Arjaan Abu Dhabi | 16 | 4 | 2024 | 32155.6 | 0.2 | 4137.229 | 1.66 | 311.63 | 7.84 | 464 | 586
Park Rotana and Park Arjaan Abu Dhabi | 17 | 4 | 2024 | 32725.2 | 0.2 | 2818.068 | 1.66 | 311.928 | 7.84 | 470 | 582
Park Rotana and Park Arjaan Abu Dhabi | 18 | 4 | 2024 | 33287.8 | 0.2 | 2590.962 | 1.66 | 299.788 | 7.84 | 392 | 539
Park Rotana and Park Arjaan Abu Dhabi | 19 | 4 | 2024 | 34474 | 0.2 | 2937.985 | 1.66 | 367.575 | 7.84 | 390 | 605
Park Rotana and Park Arjaan Abu Dhabi | 20 | 4 | 2024 | 34942.4 | 0.2 | 3073.183 | 1.66 | 382.075 | 7.84 | 358 | 517
Park Rotana and Park Arjaan Abu Dhabi | 21 | 4 | 2024 | 35044.6 | 0.2 | 2874.345 | 1.66 | 375.555 | 7.84 | 356 | 467
Park Rotana and Park Arjaan Abu Dhabi | 22 | 4 | 2024 | 33976 | 0.2 | 2923.629 | 1.66 | 251.578 | 7.84 | 471 | 628
Park Rotana and Park Arjaan Abu Dhabi | 23 | 4 | 2024 | 35149.2 | 0.2 | 3094.495 | 1.66 | 169.356 | 7.84 | 471 | 601
Park Rotana and Park Arjaan Abu Dhabi | 24 | 4 | 2024 | 35095.6 | 0.2 | 2337.586 | 1.66 | 162.428 | 7.84 | 484 | 608
Park Rotana and Park Arjaan Abu Dhabi | 25 | 4 | 2024 | 35815.6 | 0.2 | 2783.1067 | 1.66 | 878.652 | 7.84 | 458 | 573
Park Rotana and Park Arjaan Abu Dhabi | 26 | 4 | 2024 | 36314.2 | 0.2 | 2787.0213 | 1.66 | 646.188 | 7.84 | 460 | 597
Park Rotana and Park Arjaan Abu Dhabi | 27 | 4 | 2024 | 37896.8 | 0.2 | 2792.316 | 1.66 | 372.895 | 7.84 | 473 | 629
Park Rotana and Park Arjaan Abu Dhabi | 28 | 4 | 2024 | 37598 | 0.2 | 2762.827 | 1.66 | 410.757 | 7.84 | 458 | 565
Park Rotana and Park Arjaan Abu Dhabi | 29 | 4 | 2024 | 38255.6 | 0.2 | 2690.307 | 1.66 | 365.114 | 7.84 | 482 | 606
Park Rotana and Park Arjaan Abu Dhabi | 30 | 4 | 2024 | 39337.4 | 0.2 | 2517.147 | 1.66 | 178.664 | 7.84 | 471 | 611
Park Rotana and Park Arjaan Abu Dhabi | 31 | 4 | 2024 | 0 | 0.2 | 0 | 1.66 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION APRIL 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 8757607 | 8778130 | 8795603 | 8819255 | 8840526 | 8861242 | 8881686 | 8901608 | 8921185 | 8942488 | 8963042 | 8985018 | 9007158 | 9028825 | 9050613 | 9072121 | 9092864 | 9113780 | 9135607 | 9157724 | 9179585 | 9201364 | 9222820 | 9244761 | 9266414 | 9288888 | 9311110 | 9333908 | 9355897 | 9378640 | 9401020
|  |  |  | 20523 | 17473 | 23652 | 21271 | 20716 | 20444 | 19922 | 19577 | 21303 | 20554 | 21976 | 22140 | 21667 | 21788 | 21508 | 20743 | 20916 | 21827 | 22117 | 21861 | 21779 | 21456 | 21941 | 21653 | 22474 | 22222 | 22798 | 21989 | 22743 | 22380
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 9507844 | 9509222 | 9510965 | 9512799 | 9514555 | 9517351 | 9521867 | 9523542 | 9526482 | 9536438 | 9551831 | 9563465 | 9580028 | 9593570 | 9610187 | 9629677 | 9652827 | 9675949 | 9692557 | 9709556 | 9724168 | 9735626 | 9742834 | 9746092 | 9749655 | 9753176 | 9756694 | 9760532 | 9764532 | 9780043 | 9803407
|  |  |  | 1378 | 1743 | 1834 | 1756 | 2796 | 4516 | 1675 | 2940 | 9956 | 15393 | 11634 | 16563 | 13542 | 16617 | 19490 | 23150 | 23122 | 16608 | 16999 | 14612 | 11458 | 7208 | 3258 | 3563 | 3521 | 3518 | 3838 | 4000 | 15511 | 23364
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 5008590 | 5028263 | 5047388 | 5067451 | 5088237 | 5107869 | 5126793 | 5147393 | 5167568 | 5183620 | 5196815 | 5216910 | 5236027 | 5255090 | 5269021 | 5281327 | 5285961 | 5291647 | 5302891 | 5316097 | 5333366 | 5354192 | 5377454 | 5406414 | 5435675 | 5464623 | 5495583 | 5528627 | 5562817 | 5585260 | 5603502
|  |  |  | 19673 | 19125 | 20063 | 20786 | 19632 | 18924 | 20600 | 20175 | 16052 | 13195 | 20095 | 19117 | 19063 | 13931 | 12306 | 4634 | 5686 | 11244 | 13206 | 17269 | 20826 | 23262 | 28960 | 29261 | 28948 | 30960 | 33044 | 34190 | 22443 | 18242
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3221 | 3221 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3222 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3224 | 3226 | 3226 | 3226
|  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 455 | 455 | 456 | 456 | 456 | 456 | 456 | 456 | 456 | 456 | 456 | 456 | 456 | 456 | 457 | 457 | 457
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1393679 | 1393924 | 1394155 | 1394381 | 1394599 | 1394837 | 1395087 | 1395331 | 1395562 | 1395775 | 1396019 | 1396289 | 1396559 | 1396826 | 1397098 | 1397370 | 1397622 | 1397862 | 1398138 | 1398364 | 1398644 | 1398946 | 1399232 | 1399503 | 1399768 | 1400069 | 1400330 | 1400617 | 1400899 | 1401183 | 1401450
|  |  |  | 245 | 231 | 226 | 218 | 238 | 250 | 244 | 231 | 213 | 244 | 270 | 270 | 267 | 272 | 272 | 252 | 240 | 276 | 226 | 280 | 302 | 286 | 271 | 265 | 301 | 261 | 287 | 282 | 284 | 267
14 | E5T09D034327 | Hotel Gym S (Kwh) | 374610 | 374657 | 374704 | 374753 | 374801 | 374847 | 374892 | 374937 | 374982 | 375028 | 375072 | 375119 | 375168 | 375216 | 375263 | 375309 | 375355 | 375401 | 375445 | 375494 | 375543 | 375593 | 375639 | 375689 | 375737 | 375790 | 375830 | 375889 | 375937 | 375984 | 376032
|  |  |  | 47 | 47 | 49 | 48 | 46 | 45 | 45 | 45 | 46 | 44 | 47 | 49 | 48 | 47 | 46 | 46 | 46 | 44 | 49 | 49 | 50 | 46 | 50 | 48 | 53 | 40 | 59 | 48 | 47 | 48
| Total Daily Consumption (kw) |  |  | 29235.4 | 26099.2 | 32685.8 | 30553.8 | 29971.2 | 30115 | 29121 | 29099 | 31965.2 | 32277.2 | 34984.6 | 36731 | 35024 | 34330.2 | 34546.4 | 32155.6 | 32725.2 | 33287.8 | 34474 | 34942.4 | 35044.6 | 33976 | 35149.2 | 35095.6 | 35815.6 | 36314.2 | 37896.8 | 37598 | 38255.6 | 39337.4 | 0
| Total Monthly Consumption (kw) |  |  | 1: 1008807
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) APRIL 2024
AREA SERVED | BOILER 1 & 2 |  | MAIN KITCHEN |  | PASTRY KITCHEN |  | GINGER KITCHEN |  | TEATRO |  | COOPER'S KITCHEN
PRESSURE (mBar) | 483 |  | 30 |  | 30 |  | 30 |  | 50 |  | 30
LAST MONTH'S FINAL READING | 959273 |  | 69429 |  | 7854.03 |  | 2315.53 |  | 189887.5 |  | 14557.35 |  | Daily Consumption
1 | 960046 | 2860.1 | 69434.54 | 20.498 | 7855.28 | 4.625 | 2315.6 | 0.259 | 189901.5 | 51.8 | 14560.35 | 11.1 | 2948.382
2 | 960898 | 3152.4 | 69440.36 | 21.534 | 7856.56 | 4.736 | 2315.9 | 1.11 | 189933.3 | 117.66 | 14560.5 | 0.555 | 3297.995
3 | 961682 | 2900.8 | 69449.42 | 33.522 | 7857.95 | 5.143 | 2316.2 | 1.11 | 189954.5 | 78.44 | 14562.22 | 6.364 | 3025.379
4 | 962630 | 3507.6 | 69456.52 | 26.27 | 7858.8 | 3.145 | 2316.5 | 1.11 | 189974.5 | 74 | 14563.9 | 6.216 | 3618.341
5 | 963234 | 2234.8 | 69467.86 | 41.958 | 7860.31 | 5.587 | 2316.8 | 1.11 | 189998 | 86.95 | 14567.09 | 11.803 | 2382.208
6 | 963957 | 2675.1 | 69476.46 | 31.82 | 7861.35 | 3.848 | 2316.9 | 0.37 | 190018.8 | 76.96 | 14570.14 | 11.285 | 2799.383
7 | 964706 | 2771.3 | 69484.37 | 29.267 | 7862.6 | 4.625 | 2316.95 | 0.185 | 190046.6 | 102.86 | 14572.3 | 7.992 | 2916.229
8 | 965395 | 2549.3 | 69495.12 | 39.775 | 7863.12 | 1.924 | 2316.99 | 0.148 | 190066.9 | 75.11 | 14574.12 | 6.734 | 2672.991
9 | 966068 | 2490.1 | 69504.2 | 33.596 | 7864.91 | 6.623 | 2317.05 | 0.222 | 190094.1 | 100.64 | 14577 | 10.656 | 2641.837
10 | 966816 | 2767.6 | 69507.13 | 10.841 | 7865.9 | 3.663 | 2317.3 | 0.925 | 190107.11 | 48.137 | 14583.27 | 23.199 | 2854.365
11 | 966816 | 0 | 69507.13 | 0 | 7865.9 | 0 | 2317.35 | 0.185 | 190107.11 | 0 | 14583.27 | 0 | 0.185
12 | 968261 | 5346.5 | 69525 | 66.119 | 7868 | 7.77 | 2317.39 | 0.148 | 190108.95 | 6.808 | 14584.3 | 3.811 | 5431.156
13 | 969065 | 2974.8 | 69533.77 | 32.449 | 7870 | 7.4 | 2317.44 | 0.185 | 190172.3 | 234.395 | 14594.64 | 38.258 | 3287.487
14 | 969950 | 3274.5 | 69543.34 | 35.409 | 7871.36 | 5.032 | 2317.49 | 0.185 | 190193.81 | 79.587 | 14596.31 | 6.179 | 3400.892
15 | 970677 | 2689.9 | 69553.52 | 37.666 | 7872.39 | 3.811 | 2317.5 | 0.037 | 190216 | 82.103 | 14598.51 | 8.14 | 2821.657
16 | 971753 | 3981.2 | 69568.01 | 53.613 | 7874.26 | 6.919 | 2317.52 | 0.074 | 190240.1 | 89.17 | 14600.2 | 6.253 | 4137.229
17 | 972493 | 2738 | 69575.96 | 29.415 | 7874.61 | 1.295 | 2317.56 | 0.148 | 190250.5 | 38.48 | 14603.1 | 10.73 | 2818.068
18 | 973156 | 2453.1 | 69583.12 | 26.492 | 7874.89 | 1.036 | 2317.6 | 0.148 | 190278.1 | 102.12 | 14605.28 | 8.066 | 2590.962
19 | 973916 | 2812 | 69594.72 | 42.92 | 7877.31 | 8.954 | 2317.62 | 0.074 | 190294.4 | 60.31 | 14608.99 | 13.727 | 2937.985
20 | 974705 | 2919.3 | 69607.26 | 46.398 | 7879.25 | 7.178 | 2317.63 | 0.037 | 190316.2 | 80.66 | 14614.29 | 19.61 | 3073.183
21 | 975449 | 2752.8 | 69609.72 | 9.102 | 7880.97 | 6.364 | 2317.67 | 0.148 | 190342.2 | 96.2 | 14616.92 | 9.731 | 2874.345
22 | 976201 | 2782.4 | 69620.04 | 38.184 | 7882.06 | 4.033 | 2317.71 | 0.148 | 190365.4 | 85.84 | 14620.44 | 13.024 | 2923.629
23 | 977001 | 2960 | 69629.3 | 34.262 | 7883.24 | 4.366 | 2317.74 | 0.111 | 190386.2 | 76.96 | 14625.52 | 18.796 | 3094.495
24 | 977600 | 2216.3 | 69639 | 35.89 | 7884 | 2.812 | 2317.78 | 0.148 | 190405 | 69.56 | 14629 | 12.876 | 2337.586
25 | 978316.7 | 2651.79 | 69648.421 | 34.8577 | 7885.4 | 5.18 | 2317.82 | 0.148 | 190427.4 | 82.88 | 14631.23 | 8.251 | 2783.1067
26 | 979033 | 2650.31 | 69660.95 | 46.3573 | 7886.72 | 4.884 | 2317.84 | 0.074 | 190448.3 | 77.33 | 14633.41 | 8.066 | 2787.0213
27 | 979745 | 2634.4 | 69670.12 | 33.929 | 7887.66 | 3.478 | 2317.86 | 0.074 | 190475.3 | 99.9 | 14638.96 | 20.535 | 2792.316
28 | 980456 | 2630.7 | 69681.05 | 40.441 | 7888.96 | 4.81 | 2317.89 | 0.111 | 190495.5 | 74.74 | 14642.21 | 12.025 | 2762.827
29 | 981150 | 2567.8 | 69689.04 | 29.563 | 7890.2 | 4.588 | 2317.91 | 0.074 | 190517 | 79.55 | 14644.57 | 8.732 | 2690.307
30 | 981795 | 2386.5 | 69699.26 | 37.814 | 7891.17 | 3.589 | 2318.04 | 0.481 | 190537.8 | 76.96 | 14647.76 | 11.803 | 2517.147
31 | [12 empty] | 0
TOTAL Consumption |  | 83331.4 |  | 999.962 |  | 137.418 |  | 9.287 |  | 2406.11 |  | 334.517
TOTAL BOILER |  | 83331.4
TOTAL KITCHEN |  | 3887.294
TOTAL Boiler & Kitchen |  | 87218.694

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) APRIL 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 98143 | 98404 | 98673 | 98951 | 99233 | 99515 | 99766 | 100043 | 100287 | 100595 | 100881 | 101249 | 101650 | 102029 | 102390 | 102707 | 103011 | 103315 | 103608 | 103960 | 104331 | 104694 | 104933 | 105090 | 105239 | 106109 | 106742 | 107098 | 107496 | 107847 | 108007
|  |  |  | 261 | 269 | 278 | 282 | 282 | 251 | 277 | 244 | 308 | 286 | 368 | 401 | 379 | 361 | 317 | 304 | 304 | 293 | 352 | 371 | 363 | 239 | 157 | 149 | 870 | 633 | 356 | 398 | 351 | 160
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 401203.4 | 401219.4 | 401235.2 | 401252.5 | 401270.1 | 401288.3 | 401301 | 401320 | 401339 | 401361.9 | 401375.3 | 401391.6 | 401414.8 | 401438.1 | 401454.3 | 401478.5 | 401490.5 | 401504.2 | 401517.5 | 401531.2 | 401543.7 | 401560.6 | 401580 | 401602 | 401625.1 | 401635.1 | 401655.1 | 401685.1 | 401700.4 | 401718.4 | 401753
|  |  |  | 16 | 15.8 | 17.3 | 17.6 | 18.2 | 12.7 | 19 | 19 | 22.9 | 13.4 | 16.3 | 23.2 | 23.3 | 16.2 | 24.2 | 12 | 13.7 | 13.3 | 13.7 | 12.5 | 16.9 | 19.4 | 22 | 23.1 | 10 | 20 | 30 | 15.3 | 18 | 34.6
4 | 2045000686(Sub Meter) | Irrigation water Tank | 72069 | 72069 | 72069 | 72069 | 72069 | 72069 | 72069 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070 | 72070
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 68864837 | Hotel & Arjaan Spa | 1891.146 | 1892.61 | 1893.592 | 1894.304 | 1894.942 | 1895.808 | 1897.435 | 1898.656 | 1899.115 | 1899.873 | 1900.43 | 1901.783 | 1905.594 | 1907.472 | 1908.983 | 1910.005 | 1910.889 | 1912.176 | 1912.88 | 1914.931 | 1917.752 | 1920.364 | 1922.293 | 1923.719 | 1924.924 | 1925.928 | 1927.221 | 1928.62 | 1931.049 | 1932.874 | 1933.985
|  |  |  | 1.464 | 0.982 | 0.712 | 0.638 | 0.866 | 1.627 | 1.221 | 0.459 | 0.758 | 0.557 | 1.353 | 3.811 | 1.878 | 1.511 | 1.022 | 0.884 | 1.287 | 0.704 | 2.051 | 2.821 | 2.612 | 1.929 | 1.426 | 1.205 | 1.004 | 1.293 | 1.399 | 2.429 | 1.825 | 1.111
6 | 65296485 | Hotel & Arjaan Gym | 2290.075 | 2292.55 | 2293.549 | 2295.899 | 2298.356 | 2300.936 | 2304.963 | 2306.614 | 2307.428 | 2310.338 | 2315.23 | 2317.161 | 2321.91 | 2325.05 | 2327.91 | 2329.984 | 2331.33 | 2331.806 | 2331.905 | 2339.264 | 2341.893 | 2344.231 | 2346.15 | 2347.18 | 2349.008 | 2352.156 | 2355.051 | 2357.047 | 2360.49 | 2364.679 | 2366.662
|  |  |  | 2.475 | 0.999 | 2.35 | 2.457 | 2.58 | 4.027 | 1.651 | 0.814 | 2.91 | 4.892 | 1.931 | 4.749 | 3.14 | 2.86 | 2.074 | 1.346 | 0.476 | 0.099 | 7.359 | 2.629 | 2.338 | 1.919 | 1.03 | 1.828 | 3.148 | 2.895 | 1.996 | 3.443 | 4.189 | 1.983
| Total Daily Consumption (m3) |  |  | 272.139 | 278.091 | 288.847 | 293.015 | 293.636 | 262.369 | 288.872 | 253.823 | 321.973 | 297.479 | 378.619 | 420 | 394.503 | 372.661 | 330.986 | 311.63 | 311.928 | 299.788 | 367.575 | 382.075 | 375.555 | 251.578 | 169.356 | 162.428 | 878.652 | 646.188 | 372.895 | 410.757 | 365.114 | 178.664 | 0
| Total Monthly Consumption (m3) |  |  | 1: 10231.196
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest - April 2024
Date | Occupied | # Guest
2024-04-01 | 293 | 415
2024-04-02 | 318 | 451
2024-04-03 | 291 | 419
2024-04-04 | 275 | 402
2024-04-05 | 236 | 359
2024-04-06 | 223 | 349
2024-04-07 | 220 | 331
2024-04-08 | 259 | 403
2024-04-09 | 291 | 505
2024-04-10 | 352 | 642
2024-04-11 | 462 | 887
2024-04-12 | 439 | 802
2024-04-13 | 422 | 684
2024-04-14 | 336 | 509
2024-04-15 | 432 | 533
2024-04-16 | 464 | 586
2024-04-17 | 470 | 582
2024-04-18 | 392 | 539
2024-04-19 | 390 | 605
2024-04-20 | 358 | 517
2024-04-21 | 356 | 467
2024-04-22 | 471 | 628
2024-04-23 | 471 | 601
2024-04-24 | 484 | 608
2024-04-25 | 458 | 573
2024-04-26 | 460 | 597
2024-04-27 | 473 | 629
2024-04-28 | 458 | 565
2024-04-29 | 482 | 606
2024-04-30 | 471 | 611
TOTAL MTD | 11507 | 16405