## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 9 | 2024 | 43879.8 | 0.2 | 2853.958 | 1.6 | 328.001 | 7.84 | 465 | 592
Park Rotana and Park Arjaan Abu Dhabi | 2 | 9 | 2024 | 44703 | 0.2 | 2630.33 | 1.6 | 291.664 | 7.84 | 476 | 572
Park Rotana and Park Arjaan Abu Dhabi | 3 | 9 | 2024 | 46035.6 | 0.2 | 2654.898 | 1.6 | 299.56 | 7.84 | 480 | 590
Park Rotana and Park Arjaan Abu Dhabi | 4 | 9 | 2024 | 46235.8 | 0.2 | 2655.786 | 1.6 | 360.004 | 7.84 | 484 | 605
Park Rotana and Park Arjaan Abu Dhabi | 5 | 9 | 2024 | 45813.4 | 0.2 | 2938.318 | 1.6 | 361.248 | 7.84 | 438 | 554
Park Rotana and Park Arjaan Abu Dhabi | 6 | 9 | 2024 | 47109.8 | 0.2 | 2716.799 | 1.6 | 326.691 | 7.84 | 425 | 590
Park Rotana and Park Arjaan Abu Dhabi | 7 | 9 | 2024 | 46709 | 0.2 | 2689.234 | 1.6 | 264.971 | 7.84 | 398 | 554
Park Rotana and Park Arjaan Abu Dhabi | 8 | 9 | 2024 | 46375.4 | 0.2 | 2726.826 | 1.6 | 357.773 | 7.84 | 420 | 537
Park Rotana and Park Arjaan Abu Dhabi | 9 | 9 | 2024 | 46737.4 | 0.2 | 2746.769 | 1.6 | 337.309 | 7.84 | 458 | 560
Park Rotana and Park Arjaan Abu Dhabi | 10 | 9 | 2024 | 47579.2 | 0.2 | 2685.349 | 1.6 | 330.213 | 7.84 | 458 | 571
Park Rotana and Park Arjaan Abu Dhabi | 11 | 9 | 2024 | 45535.4 | 0.2 | 2774.741 | 1.6 | 332.629 | 7.84 | 470 | 616
Park Rotana and Park Arjaan Abu Dhabi | 12 | 9 | 2024 | 43798.4 | 0.2 | 2644.8821 | 1.6 | 314.228 | 7.84 | 431 | 593
Park Rotana and Park Arjaan Abu Dhabi | 13 | 9 | 2024 | 44103.2 | 0.2 | 2800.0749 | 1.6 | 341.424 | 7.84 | 400 | 583
Park Rotana and Park Arjaan Abu Dhabi | 14 | 9 | 2024 | 43678.8 | 0.2 | 2698.521 | 1.6 | 268.819 | 7.84 | 412 | 597
Park Rotana and Park Arjaan Abu Dhabi | 15 | 9 | 2024 | 41672.4 | 0.2 | 2769.228 | 1.6 | 347.618 | 7.84 | 331 | 417
Park Rotana and Park Arjaan Abu Dhabi | 16 | 9 | 2024 | 42417.4 | 0.2 | 2898.284 | 1.6 | 325.09 | 7.84 | 378 | 483
Park Rotana and Park Arjaan Abu Dhabi | 17 | 9 | 2024 | 42062.6 | 0.2 | 2788.431 | 1.6 | 333.167 | 7.84 | 396 | 503
Park Rotana and Park Arjaan Abu Dhabi | 18 | 9 | 2024 | 43942.2 | 0.2 | 2723.015 | 1.6 | 364.654 | 7.84 | 383 | 509
Park Rotana and Park Arjaan Abu Dhabi | 19 | 9 | 2024 | 43892.8 | 0.2 | 2961.11 | 1.6 | 349.74 | 7.84 | 384 | 530
Park Rotana and Park Arjaan Abu Dhabi | 20 | 9 | 2024 | 42222.2 | 0.2 | 2806.228 | 1.6 | 308.507 | 7.84 | 321 | 464
Park Rotana and Park Arjaan Abu Dhabi | 21 | 9 | 2024 | 43743.6 | 0.2 | 2808.004 | 1.6 | 313.917 | 7.84 | 317 | 460
Park Rotana and Park Arjaan Abu Dhabi | 22 | 9 | 2024 | 41561.4 | 0.2 | 2723.237 | 1.6 | 275.315 | 7.84 | 415 | 559
Park Rotana and Park Arjaan Abu Dhabi | 23 | 9 | 2024 | 43290.4 | 0.2 | 2758.424 | 1.6 | 378.55 | 7.84 | 489 | 679
Park Rotana and Park Arjaan Abu Dhabi | 24 | 9 | 2024 | 44126 | 0.2 | 2783.103 | 1.6 | 364.613 | 7.84 | 487 | 646
Park Rotana and Park Arjaan Abu Dhabi | 25 | 9 | 2024 | 44830.8 | 0.2 | 0 | 1.6 | 370.304 | 7.84 | 479 | 635
Park Rotana and Park Arjaan Abu Dhabi | 26 | 9 | 2024 | 45298.4 | 0.2 | 5532.906 | 1.6 | 384.728 | 7.84 | 423 | 541
Park Rotana and Park Arjaan Abu Dhabi | 27 | 9 | 2024 | 45670 | 0.2 | 2785.878 | 1.6 | 398.791 | 7.84 | 486 | 654
Park Rotana and Park Arjaan Abu Dhabi | 28 | 9 | 2024 | 45208.6 | 0.2 | 2797.496 | 1.6 | 376.951 | 7.84 | 477 | 681
Park Rotana and Park Arjaan Abu Dhabi | 29 | 9 | 2024 | 42754.4 | 0.2 | 2865.243 | 1.6 | 455.483 | 7.84 | 474 | 619
Park Rotana and Park Arjaan Abu Dhabi | 30 | 9 | 2024 | 41512.6 | 0.2 | 3199.908 | 1.6 | 518.054 | 7.84 | 483 | 627
Park Rotana and Park Arjaan Abu Dhabi | 31 | 9 | 2024 | 0 | 0.2 | 0 | 1.6 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION SEPTEMBER 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 12082286 | 12104415 | 12126257 | 12147913 | 12169857 | 12191832 | 12214358 | 12237381 | 12259173 | 12281569 | 12303955 | 12326184 | 12348064 | 12370599 | 12392872 | 12414410 | 12436642 | 12459168 | 12481898 | 12504500 | 12526232 | 12548362 | 12569441 | 12592922 | 12614916 | 12637758 | 12660434 | 12683157 | 12706215 | 12728729 | 12751384
|  |  |  | 22129 | 21842 | 21656 | 21944 | 21975 | 22526 | 23023 | 21792 | 22396 | 22386 | 22229 | 21880 | 22535 | 22273 | 21538 | 22232 | 22526 | 22730 | 22602 | 21732 | 22130 | 21079 | 23481 | 21994 | 22842 | 22676 | 22723 | 23058 | 22514 | 22655
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 12908588 | 12928042 | 12949305 | 12971688 | 12994042 | 13016101 | 13038142 | 13061799 | 13084493 | 13105655 | 13127864 | 13149220 | 13171258 | 13193839 | 13216039 | 13239767 | 13262263 | 13285521 | 13307516 | 13330757 | 13353058 | 13374047 | 13413118 | 13437737 | 13469321 | 13507755 | 13538062 | 13577515 | 13616482 | 13654568 | 13682987
|  |  |  | 19454 | 21263 | 22383 | 22354 | 22059 | 22041 | 23657 | 22694 | 21162 | 22209 | 21356 | 22038 | 22581 | 22200 | 23728 | 22496 | 23258 | 21995 | 23241 | 22301 | 20989 | 39071 | 24619 | 31584 | 38434 | 30307 | 39453 | 38967 | 38086 | 28419
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 9198145 | 9232318 | 9267435 | 9305176 | 9342794 | 9379571 | 9418217 | 9453025 | 9491037 | 9529966 | 9569960 | 9606110 | 9638098 | 9668685 | 9699197 | 9725045 | 9752260 | 9777081 | 9807424 | 9836640 | 9864817 | 9897072 | 9908377 | 9932549 | 9955500 | 9971313 | 9996767 | 10013874 | 10029511 | 10041221 | 10059196
|  |  |  | 34173 | 35117 | 37741 | 37618 | 36777 | 38646 | 34808 | 38012 | 38929 | 39994 | 36150 | 31988 | 30587 | 30512 | 25848 | 27215 | 24821 | 30343 | 29216 | 28177 | 32255 | 11305 | 24172 | 22951 | 15813 | 25454 | 17107 | 15637 | 11710 | 17975
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3309 | 3314 | 3314 | 3314 | 3314 | 3315 | 3315 | 3316 | 3316 | 3316 | 3316
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 472 | 472 | 472 | 473 | 473 | 473 | 473 | 473 | 473 | 473 | 473 | 473 | 473 | 473 | 473 | 474 | 474 | 474 | 474 | 474 | 474 | 475 | 475 | 475 | 475 | 476 | 476 | 476 | 476 | 476 | 476
|  |  |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1434167 | 1434419 | 1434678 | 1434956 | 1435212 | 1435469 | 1435728 | 1435979 | 1436231 | 1436486 | 1436747 | 1437002 | 1437261 | 1437513 | 1437781 | 1438035 | 1438286 | 1438541 | 1438770 | 1439028 | 1439280 | 1439541 | 1439826 | 1440071 | 1440337 | 1440577 | 1440848 | 1441120 | 1441381 | 1441654 | 1441909
|  |  |  | 252 | 259 | 278 | 256 | 257 | 259 | 251 | 252 | 255 | 261 | 255 | 259 | 252 | 268 | 254 | 251 | 255 | 229 | 258 | 252 | 261 | 285 | 245 | 266 | 240 | 271 | 272 | 261 | 273 | 255
14 | E5T09D034327 | Hotel Gym S (Kwh) | 381806 | 381854 | 381904 | 381955 | 382002 | 382049 | 382099 | 382148 | 382197 | 382247 | 382298 | 382347 | 382396 | 382445 | 382498 | 382547 | 382597 | 382647 | 382695 | 382745 | 382792 | 382841 | 382888 | 382936 | 382988 | 383036 | 383083 | 383133 | 383181 | 383230 | 383275
|  |  |  | 48 | 50 | 51 | 47 | 47 | 50 | 49 | 49 | 50 | 51 | 49 | 49 | 49 | 53 | 49 | 50 | 50 | 48 | 50 | 47 | 49 | 47 | 48 | 52 | 48 | 47 | 50 | 48 | 49 | 45
| Total Daily Consumption (kw) |  |  | 43879.8 | 44703 | 46035.6 | 46235.8 | 45813.4 | 47109.8 | 46709 | 46375.4 | 46737.4 | 47579.2 | 45535.4 | 43798.4 | 44103.2 | 43678.8 | 41672.4 | 42417.4 | 42062.6 | 43942.2 | 43892.8 | 42222.2 | 43743.6 | 41561.4 | 43290.4 | 44126 | 44830.8 | 45298.4 | 45670 | 45208.6 | 42754.4 | 41512.6 | 0
| Total Monthly Consumption (kw) |  |  | 1: 1332500
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) SEPTEMBER 2024
AREA SERVED | BOILER 1 & 2 |  | MAIN KITCHEN |  | PASTRY KITCHEN |  | GINGER KITCHEN |  | TEATRO |  | COOPER'S KITCHEN
PRESSURE (mBar) | 483 |  | 30 |  | 30 |  | 30 |  | 50 |  | 30
LAST MONTH'S FINAL READING | 57381 |  | 70682 |  | 8008.06 |  | 2329.58 |  | 192856.1 |  | 15052.51 |  | Daily Consumption
1 | 58125 | 2752.8 | 70692 | 37 | 8009.4 | 4.958 | 2329.74 | 0.592 | 192869.5 | 49.58 | 15054.95 | 9.028 | 2853.958
2 | 58819 | 2567.8 | 70699.26 | 26.862 | 8010.46 | 3.922 | 2329.78 | 0.148 | 192876.8 | 27.01 | 15056.19 | 4.588 | 2630.33
3 | 59516 | 2578.9 | 70709.37 | 37.407 | 8011.03 | 2.109 | 2329.79 | 0.037 | 192883.6 | 25.16 | 15059.24 | 11.285 | 2654.898
4 | 60216 | 2590 | 70717.38 | 29.637 | 8011.78 | 2.775 | 2329.84 | 0.185 | 192890.5 | 25.53 | 15061.31 | 7.659 | 2655.786
5 | 60972 | 2797.2 | 70730.12 | 47.138 | 8012.72 | 3.478 | 2329.89 | 0.185 | 192913.1 | 83.62 | 15063.12 | 6.697 | 2938.318
6 | 61692 | 2664 | 70739.65 | 35.261 | 8013.74 | 3.774 | 2330 | 0.407 | 192913.1 | 0 | 15066.73 | 13.357 | 2716.799
7 | 62404 | 2634.4 | 70750 | 38.295 | 8015.07 | 4.921 | 2330.09 | 0.333 | 192913.1 | 0 | 15069.78 | 11.285 | 2689.234
8 | 63117 | 2638.1 | 70761.82 | 43.734 | 8016.26 | 4.403 | 2330.15 | 0.222 | 192921.8 | 32.19 | 15071.99 | 8.177 | 2726.826
9 | 63837 | 2664 | 70771.13 | 34.447 | 8017.12 | 3.182 | 2330.2 | 0.185 | 192930.7 | 32.93 | 15075.24 | 12.025 | 2746.769
10 | 64540 | 2601.1 | 70780.36 | 34.151 | 8018.53 | 5.217 | 2330.23 | 0.111 | 192937 | 23.31 | 15081.04 | 21.46 | 2685.349
11 | 65267 | 2689.9 | 70786.49 | 22.681 | 8019.32 | 2.923 | 2330.26 | 0.111 | 192944.8 | 28.86 | 15089.22 | 30.266 | 2774.741
12 | 65961 | 2567.8 | 70794.12 | 28.231 | 8020.223 | 3.3411 | 2330.3 | 0.148 | 192956.1 | 41.81 | 15090.18 | 3.552 | 2644.8821
13 | 66701 | 2738 | 70805 | 40.256 | 8021.51 | 4.7619 | 2330.51 | 0.777 | 192958.8 | 9.99 | 15091.88 | 6.29 | 2800.0749
14 | 67408 | 2615.9 | 70814.77 | 36.149 | 8023.19 | 6.216 | 2330.53 | 0.074 | 192966.1 | 27.01 | 15095.44 | 13.172 | 2698.521
15 | 68138 | 2701 | 70821.68 | 25.567 | 8024.5 | 4.847 | 2330.56 | 0.111 | 192974.1 | 29.6 | 15097.63 | 8.103 | 2769.228
16 | 68900 | 2819.4 | 70831.03 | 34.595 | 8025.81 | 4.847 | 2330.71 | 0.555 | 192982 | 29.23 | 15100.24 | 9.657 | 2898.284
17 | 69630 | 2701 | 70842.63 | 42.92 | 8027.08 | 4.699 | 2330.79 | 0.296 | 192990.2 | 30.34 | 15102.72 | 9.176 | 2788.431
18 | 70344 | 2641.8 | 70854.04 | 42.217 | 8028.09 | 3.737 | 2330.81 | 0.074 | 192998.4 | 30.34 | 15104.03 | 4.847 | 2723.015
19 | 71123 | 2882.3 | 70866.08 | 44.548 | 8028.53 | 1.628 | 2331.02 | 0.777 | 193005 | 24.42 | 15106.04 | 7.437 | 2961.11
20 | 71858 | 2719.5 | 70876.91 | 40.071 | 8029.43 | 3.33 | 2331.1 | 0.296 | 193014.1 | 33.67 | 15108.57 | 9.361 | 2806.228
21 | 72591 | 2712.1 | 70885 | 29.933 | 8031.94 | 9.287 | 2331.4 | 1.11 | 193025.4 | 41.81 | 15112.29 | 13.764 | 2808.004
22 | 73304 | 2638.1 | 70894 | 33.3 | 8033.47 | 5.661 | 2331.4 | 0 | 193036 | 39.22 | 15114.17 | 6.956 | 2723.237
23 | 74026 | 2671.4 | 70904.42 | 38.554 | 8034.46 | 3.663 | 2331.4 | 0 | 193045.4 | 34.78 | 15116.88 | 10.027 | 2758.424
24 | 74757 | 2704.7 | 70914.33 | 36.667 | 8035.6 | 4.218 | 2331.4 | 0 | 193053.1 | 28.49 | 15119.32 | 9.028 | 2783.103
25 | 74757 | 0 | 70914.33 | 0 | 8035.6 | 0 | 2331.4 | 0 | 193053.1 | 0 | 15119.32 | 0 | 0
26 | 76204 | 5353.9 | 70934.82 | 75.813 | 8038.84 | 11.988 | 2331.65 | 0.925 | 193070.1 | 62.9 | 15126.72 | 27.38 | 5532.906
27 | 76933 | 2697.3 | 70947.84 | 48.174 | 8039.59 | 2.775 | 2331.84 | 0.703 | 193075.5 | 19.98 | 15131.3 | 16.946 | 2785.878
28 | 77663 | 2701 | 70960.08 | 45.288 | 8041.15 | 5.772 | 2331.92 | 0.296 | 193084.2 | 32.19 | 15134.8 | 12.95 | 2797.496
29 | 78414 | 2778.7 | 70971.71 | 43.031 | 8042.81 | 6.142 | 2331.99 | 0.259 | 193091.6 | 27.38 | 15137.43 | 9.731 | 2865.243
30 | 79264 | 3145 | 70974.61 | 10.73 | 8043.83 | 3.774 | 2332.03 | 0.148 | 193098.1 | 24.05 | 15141.81 | 16.206 | 3199.908
31 | [12 empty] | 0
TOTAL Consumption |  | 80967.1 |  | 1082.657 |  | 132.349 |  | 9.065 |  | 895.4 |  | 330.41
TOTAL BOILER |  | 80967.1
TOTAL KITCHEN |  | 2449.881
TOTAL Boiler & Kitchen |  | 83416.981

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) SEPTEMBER 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 146865 | 147105 | 147368 | 147597 | 147844 | 148091 | 148327 | 148577 | 148821 | 149058 | 149295 | 149551 | 149787 | 150040 | 150277 | 150535 | 150760 | 151006 | 151285 | 151552 | 151790 | 152070 | 152311 | 152584 | 152854 | 153144 | 153451 | 153767 | 154122 | 154478 | 154855
|  |  |  | 240 | 263 | 229 | 247 | 247 | 236 | 250 | 244 | 237 | 237 | 256 | 236 | 253 | 237 | 258 | 225 | 246 | 279 | 267 | 238 | 280 | 241 | 273 | 270 | 290 | 307 | 316 | 355 | 356 | 377
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 406051.3 | 406086.8 | 406115.4 | 406146.8 | 406184.1 | 406222.5 | 406258.9 | 406282.5 | 406319.6 | 406355.8 | 406391.9 | 406424 | 406456.9 | 406488.1 | 406515 | 406548.2 | 406581.4 | 406612.7 | 406644.1 | 406674.3 | 406707.2 | 406732.6 | 406759.3 | 406800.4 | 406831.8 | 406862.2 | 406892.1 | 406924.5 | 406948.5 | 406979.6 | 407018.2
|  |  |  | 35.5 | 28.6 | 31.4 | 37.3 | 38.4 | 36.4 | 23.6 | 37.1 | 36.2 | 36.1 | 32.1 | 32.9 | 31.2 | 26.9 | 33.2 | 33.2 | 31.3 | 31.4 | 30.2 | 32.9 | 25.4 | 26.7 | 41.1 | 31.4 | 30.4 | 29.9 | 32.4 | 24 | 31.1 | 38.6
4 | 2045000686(Sub Meter) | Irrigation water Tank | 16792 | 16943 | 16966 | 17059 | 17258 | 17466 | 17623 | 17624 | 17830 | 18008 | 18157 | 18288 | 18420 | 18576 | 18610 | 18768 | 18942 | 19096 | 19244 | 19385 | 19497 | 19545 | 19592 | 19783 | 19934 | 20074 | 20202 | 20347 | 20356 | 20537 | 20802
|  |  |  | 151 | 23 | 93 | 199 | 208 | 157 | 1 | 206 | 178 | 149 | 131 | 132 | 156 | 34 | 158 | 174 | 154 | 148 | 141 | 112 | 48 | 47 | 191 | 151 | 140 | 128 | 145 | 9 | 181 | 265
5 | 68864837 | Hotel & Arjaan Spa | 2170.471 | 2172.422 | 2175.549 | 2178.824 | 2181.681 | 2183.514 | 2185.24 | 2187.348 | 2189.096 | 2190.711 | 2192.348 | 2194.453 | 2196.604 | 2198.337 | 2200.28 | 2201.6 | 2204.599 | 2207.284 | 2208.964 | 2210.452 | 2213.201 | 2214.088 | 2215.01 | 2215.8 | 2219.731 | 2221.732 | 2224.985 | 2224.999 | 2229.034 | 2230.681 | 2232.573
|  |  |  | 1.951 | 3.127 | 3.275 | 2.857 | 1.833 | 1.726 | 2.108 | 1.748 | 1.615 | 1.637 | 2.105 | 2.151 | 1.733 | 1.943 | 1.32 | 2.999 | 2.685 | 1.68 | 1.488 | 2.749 | 0.887 | 0.922 | 0.79 | 3.931 | 2.001 | 3.253 | 0.014 | 4.035 | 1.647 | 1.892
6 | 65296485 | Hotel & Arjaan Gym | 2734.482 | 2736.607 | 2738.924 | 2750.229 | 2754.041 | 2755.576 | 2757.511 | 2759.304 | 2761.934 | 2764.238 | 2772.519 | 2773.648 | 2775.52 | 2777.971 | 2780.442 | 2782.7 | 2786.551 | 2787.648 | 2790.892 | 2795.104 | 2797.657 | 2797.657 | 2797.885 | 2798.2 | 2806.802 | 2808.425 | 2811.845 | 2814.792 | 2817.858 | 2820.249 | 2822.791
|  |  |  | 2.125 | 2.317 | 11.305 | 3.812 | 1.535 | 1.935 | 1.793 | 2.63 | 2.304 | 8.281 | 1.129 | 1.872 | 2.451 | 2.471 | 2.258 | 3.851 | 1.097 | 3.244 | 4.212 | 2.553 | 0 | 0.228 | 0.315 | 8.602 | 1.623 | 3.42 | 2.947 | 3.066 | 2.391 | 2.542
| Total Daily Consumption (m3) |  |  | 328.001 | 291.664 | 299.56 | 360.004 | 361.248 | 326.691 | 264.971 | 357.773 | 337.309 | 330.213 | 332.629 | 314.228 | 341.424 | 268.819 | 347.618 | 325.09 | 333.167 | 364.654 | 349.74 | 308.507 | 313.917 | 275.315 | 378.55 | 364.613 | 370.304 | 384.728 | 398.791 | 376.951 | 455.483 | 518.054
| Total Monthly Consumption (m3) |  |  | 1: 10380.016
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest September 2024
Date | Occupied | # Guest
2024-09-01 | 465 | 592
2024-09-02 | 476 | 572
2024-09-03 | 480 | 590
2024-09-04 | 484 | 605
2024-09-05 | 438 | 554
2024-09-06 | 425 | 590
2024-09-07 | 398 | 554
2024-09-08 | 420 | 537
2024-09-09 | 458 | 560
2024-09-10 | 458 | 571
2024-09-11 | 470 | 616
2024-09-12 | 431 | 593
2024-09-13 | 400 | 583
2024-09-14 | 412 | 597
2024-09-15 | 331 | 417
2024-09-16 | 378 | 483
2024-09-17 | 396 | 503
2024-09-18 | 383 | 509
2024-09-19 | 384 | 530
2024-09-20 | 321 | 464
2024-09-21 | 317 | 460
2024-09-22 | 415 | 559
2024-09-23 | 489 | 679
2024-09-24 | 487 | 646
2024-09-25 | 479 | 635
2024-09-26 | 423 | 541
2024-09-27 | 486 | 654
2024-09-28 | 477 | 681
2024-09-29 | 474 | 619
2024-09-30 | 483 | 627
TOTAL MTD | 12938 | 17121