## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 12 | 2024 | 32163.2 | 0.2 | 3807.855 | 1.67 | 298.855 | 7.84 | 414 | 613
Park Rotana and Park Arjaan Abu Dhabi | 2 | 12 | 2024 | 28486.2 | 0.2 | 3834.828 | 1.67 | 210.771 | 7.84 | 464 | 619
Park Rotana and Park Arjaan Abu Dhabi | 3 | 12 | 2024 | 29672.6 | 0.2 | 0 | 1.67 | 247.232 | 7.84 | 451 | 551
Park Rotana and Park Arjaan Abu Dhabi | 4 | 12 | 2024 | 30612 | 0.2 | 7542.08 | 1.67 | 266.674 | 7.84 | 412 | 496
Park Rotana and Park Arjaan Abu Dhabi | 5 | 12 | 2024 | 30531.6 | 0.2 | 3414.175 | 1.67 | 270.472 | 7.84 | 465 | 542
Park Rotana and Park Arjaan Abu Dhabi | 6 | 12 | 2024 | 32565.6 | 0.2 | 3374.733 | 1.67 | 284.354 | 7.84 | 474 | 567
Park Rotana and Park Arjaan Abu Dhabi | 7 | 12 | 2024 | 32245.6 | 0.2 | 178.488 | 1.67 | 229.084 | 7.84 | 485 | 595
Park Rotana and Park Arjaan Abu Dhabi | 8 | 12 | 2024 | 31272.6 | 0.2 | 6943.346 | 1.67 | 266.608 | 7.84 | 476 | 567
Park Rotana and Park Arjaan Abu Dhabi | 9 | 12 | 2024 | 30045.6 | 0.2 | 3161.872 | 1.67 | 282.56 | 7.84 | 461 | 566
Park Rotana and Park Arjaan Abu Dhabi | 10 | 12 | 2024 | 30157.2 | 0.2 | 3533.241 | 1.67 | 271.172 | 7.84 | 464 | 608
Park Rotana and Park Arjaan Abu Dhabi | 11 | 12 | 2024 | 32432.4 | 0.2 | 3365.964 | 1.67 | 292.204 | 7.84 | 467 | 639
Park Rotana and Park Arjaan Abu Dhabi | 12 | 12 | 2024 | 31115 | 0.2 | 3098.454 | 1.67 | 327.393 | 7.84 | 455 | 657
Park Rotana and Park Arjaan Abu Dhabi | 13 | 12 | 2024 | 31444.2 | 0.2 | 3825.689 | 1.67 | 285.785 | 7.84 | 379 | 553
Park Rotana and Park Arjaan Abu Dhabi | 14 | 12 | 2024 | 30893 | 0.2 | 3513.668 | 1.67 | 235.731 | 7.84 | 409 | 581
Park Rotana and Park Arjaan Abu Dhabi | 15 | 12 | 2024 | 29804.8 | 0.2 | 3578.566 | 1.67 | 307.749 | 7.84 | 444 | 596
Park Rotana and Park Arjaan Abu Dhabi | 16 | 12 | 2024 | 29394.4 | 0.2 | 3732.819 | 1.67 | 313.705 | 7.84 | 481 | 656
Park Rotana and Park Arjaan Abu Dhabi | 17 | 12 | 2024 | 29322.8 | 0.2 | 3807.115 | 1.67 | 278.939 | 7.84 | 478 | 684
Park Rotana and Park Arjaan Abu Dhabi | 18 | 12 | 2024 | 29327.4 | 0.2 | 3615.751 | 1.67 | 338.888 | 7.84 | 478 | 702
Park Rotana and Park Arjaan Abu Dhabi | 19 | 12 | 2024 | 28862.2 | 0.2 | 3802.453 | 1.67 | 300.638 | 7.84 | 486 | 769
Park Rotana and Park Arjaan Abu Dhabi | 20 | 12 | 2024 | 29851.8 | 0.2 | 4006.952 | 1.67 | 307.36 | 7.84 | 407 | 680
Park Rotana and Park Arjaan Abu Dhabi | 21 | 12 | 2024 | 29850 | 0.2 | 3912.343 | 1.67 | 283.793 | 7.84 | 350 | 566
Park Rotana and Park Arjaan Abu Dhabi | 22 | 12 | 2024 | 27933 | 0.2 | 4554.404 | 1.67 | 262.903 | 7.84 | 348 | 590
Park Rotana and Park Arjaan Abu Dhabi | 23 | 12 | 2024 | 29240.6 | 0.2 | 3000.737 | 1.67 | 234.564 | 7.84 | 398 | 682
Park Rotana and Park Arjaan Abu Dhabi | 24 | 12 | 2024 | 29386 | 0.2 | 3700.407 | 1.67 | 309.923 | 7.84 | 462 | 820
Park Rotana and Park Arjaan Abu Dhabi | 25 | 12 | 2024 | 29920.8 | 0.2 | 3383.872 | 1.67 | 299.542 | 7.84 | 459 | 813
Park Rotana and Park Arjaan Abu Dhabi | 26 | 12 | 2024 | 30395 | 0.2 | 4024.527 | 1.67 | 338.423 | 7.84 | 460 | 818
Park Rotana and Park Arjaan Abu Dhabi | 27 | 12 | 2024 | 29968.8 | 0.2 | 3590.998 | 1.67 | 279.295 | 7.84 | 441 | 836
Park Rotana and Park Arjaan Abu Dhabi | 28 | 12 | 2024 | 29730.4 | 0.2 | 3612.162 | 1.67 | 312.843 | 7.84 | 482 | 926
Park Rotana and Park Arjaan Abu Dhabi | 29 | 12 | 2024 | 29685.2 | 0.2 | 3634.658 | 1.67 | 302.262 | 7.84 | 478 | 902
Park Rotana and Park Arjaan Abu Dhabi | 30 | 12 | 2024 | 30334.2 | 0.2 | 3631.698 | 1.67 | 349.649 | 7.84 | 442 | 849
Park Rotana and Park Arjaan Abu Dhabi | 31 | 12 | 2024 | 30094.8 | 0.2 | 3627.443 | 1.67 | 311.423 | 7.84 | 438 | 855

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION DECEMBER 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 14129896 | 14152422 | 14172680 | 14193583 | 14215283 | 14236164 | 14257237 | 14278190 | 14299329 | 14320667 | 14341384 | 14363535 | 14385536 | 14407854 | 14430057 | 14451684 | 14472995 | 14494117 | 14515634 | 14536640 | 14558520 | 14580503 | 14600982 | 14622440 | 14643734 | 14665368 | 14687066 | 14708705 | 14730326 | 14751940 | 14773405 | 14794812
|  |  |  | 22526 | 20258 | 20903 | 21700 | 20881 | 21073 | 20953 | 21139 | 21338 | 20717 | 22151 | 22001 | 22318 | 22203 | 21627 | 21311 | 21122 | 21517 | 21006 | 21880 | 21983 | 20479 | 21458 | 21294 | 21634 | 21698 | 21639 | 21621 | 21614 | 21465 | 21407
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 15654891 | 15676345 | 15692798 | 15709097 | 15725701 | 15743690 | 15765451 | 15786747 | 15805844 | 15822787 | 15841690 | 15862517 | 15880584 | 15898686 | 15915911 | 15931885 | 15949273 | 15967647 | 15985489 | 16001092 | 16019311 | 16037377 | 16054429 | 16071680 | 16089437 | 16107602 | 16126254 | 16144363 | 16161884 | 16179434 | 16199617 | 16219487
|  |  |  | 21454 | 16453 | 16299 | 16604 | 17989 | 21761 | 21296 | 19097 | 16943 | 18903 | 20827 | 18067 | 18102 | 17225 | 15974 | 17388 | 18374 | 17842 | 15603 | 18219 | 18066 | 17052 | 17251 | 17757 | 18165 | 18652 | 18109 | 17521 | 17550 | 20183 | 19870
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 10568341 | 10570115 | 10573385 | 10578120 | 10582976 | 10588291 | 10594424 | 10600532 | 10605984 | 10609965 | 10613820 | 10617874 | 10621837 | 10625808 | 10629603 | 10633336 | 10635354 | 10636727 | 10637666 | 10640911 | 10641884 | 10642788 | 10643661 | 10645114 | 10646797 | 10648514 | 10650802 | 10652760 | 10654685 | 10656523 | 10657713 | 10658765
|  |  |  | 1774 | 3270 | 4735 | 4856 | 5315 | 6133 | 6108 | 5452 | 3981 | 3855 | 4054 | 3963 | 3971 | 3795 | 3733 | 2018 | 1373 | 939 | 3245 | 973 | 904 | 873 | 1453 | 1683 | 1717 | 2288 | 1958 | 1925 | 1838 | 1190 | 1052
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3373 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377 | 3377
|  |  |  | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 487 | 490 | 490 | 490 | 490 | 490 | 490 | 491 | 491 | 491 | 491 | 491 | 491 | 491 | 491 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 496 | 497 | 497 | 497
|  |  |  | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1457853 | 1458146 | 1458443 | 1458753 | 1459037 | 1459324 | 1459617 | 1459903 | 1460175 | 1460469 | 1460758 | 1461049 | 1461311 | 1461566 | 1461806 | 1462054 | 1462333 | 1462594 | 1462851 | 1463130 | 1463387 | 1463627 | 1463868 | 1464127 | 1464397 | 1464686 | 1464965 | 1465223 | 1465510 | 1465779 | 1466052 | 1466327
|  |  |  | 293 | 297 | 310 | 284 | 287 | 293 | 286 | 272 | 294 | 289 | 291 | 262 | 255 | 240 | 248 | 279 | 261 | 257 | 279 | 257 | 240 | 241 | 259 | 270 | 289 | 279 | 258 | 287 | 269 | 273 | 275
14 | E5T09D034327 | Hotel Gym S (Kwh) | 386169 | 386215 | 386257 | 386303 | 386347 | 386389 | 386431 | 386475 | 386517 | 386561 | 386609 | 386647 | 386687 | 386729 | 386771 | 386813 | 386855 | 386896 | 386937 | 386975 | 387013 | 387052 | 387095 | 387137 | 387183 | 387228 | 387270 | 387315 | 387359 | 387405 | 387452 | 387496
|  |  |  | 46 | 42 | 46 | 44 | 42 | 42 | 44 | 42 | 44 | 48 | 38 | 40 | 42 | 42 | 42 | 42 | 41 | 41 | 38 | 38 | 39 | 43 | 42 | 46 | 45 | 42 | 45 | 44 | 46 | 47 | 44
| Total Daily Consumption (kw) |  |  | 32163.2 | 28486.2 | 29672.6 | 30612 | 30531.6 | 32565.6 | 32245.6 | 31272.6 | 30045.6 | 30157.2 | 32432.4 | 31115 | 31444.2 | 30893 | 29804.8 | 29394.4 | 29322.8 | 29327.4 | 28862.2 | 29851.8 | 29850 | 27933 | 29240.6 | 29386 | 29920.8 | 30395 | 29968.8 | 29730.4 | 29685.2 | 30334.2 | 30094.8
| Total Monthly Consumption (kw) |  |  | 1: 936739
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) DEEMBER 2024
AREA SERVED | BOILER 1 & 2 |  | MAIN KITCHEN |  | PASTRY KITCHEN |  | GINGER KITCHEN |  | TEATRO |  | COOPER'S KITCHEN
PRESSURE (mBar) | 483 |  | 30 |  | 30 |  | 30 |  | 50 |  | 30
LAST MONTH'S FINAL READING | 127617 |  | 71610.12 |  | 8119.02 |  | 2345 |  | 193533.1 |  | 15354 |  | Daily Consumption
1 | 128616 | 3696.3 | 71621.6 | 42.476 | 8121.21 | 8.103 | 2345.44 | 1.628 | 193544.7 | 42.92 | 15358.44 | 16.428 | 3807.855
2 | 129632 | 3759.2 | 71631.43 | 36.371 | 8122.34 | 4.181 | 2345.83 | 1.443 | 193551.1 | 23.68 | 15361.13 | 9.953 | 3834.828
3 | 129632 | 0 | 71631.43 | 0 | 8122.34 | 0 | 2345.83 | 0 | 193551.1 | 0 | 15361.13 | 0 | 0
4 | 131632 | 7400 | 71644 | 46.509 | 8123.99 | 6.105 | 2346.18 | 1.295 | 193570.7 | 72.52 | 15365.36 | 15.651 | 7542.08
5 | 132537 | 3348.5 | 71651.13 | 26.381 | 8124.43 | 1.628 | 2346.39 | 0.777 | 193578.9 | 30.34 | 15367.13 | 6.549 | 3414.175
6 | 133412 | 3237.5 | 71660.34 | 34.077 | 8126.46 | 7.511 | 2346.39 | 0 | 193592.7 | 51.06 | 15379.18 | 44.585 | 3374.733
7 | 133440 | 103.6 | 71668.14 | 28.86 | 8127.81 | 4.995 | 2346.7 | 1.147 | 193599.56 | 25.382 | 15383.1 | 14.504 | 178.488
8 | 135291 | 6848.7 | 71678.6 | 38.702 | 8128.43 | 2.294 | 2346.92 | 0.814 | 193609.13 | 35.409 | 15387.81 | 17.427 | 6943.346
9 | 136115 | 3048.8 | 71687.84 | 34.188 | 8128.82 | 1.443 | 2346.92 | 0 | 193623.6 | 53.539 | 15394.27 | 23.902 | 3161.872
10 | 137047 | 3448.4 | 71696 | 30.192 | 8129.87 | 3.885 | 2346.92 | 0 | 193633.5 | 36.63 | 15398.09 | 14.134 | 3533.241
11 | 137934 | 3281.9 | 71706.1 | 37.37 | 8130.14 | 0.999 | 2346.96 | 0.148 | 193641.8 | 30.71 | 15402.1 | 14.837 | 3365.964
12 | 138750 | 3019.2 | 71716 | 36.63 | 8130.5 | 1.332 | 2347.02 | 0.222 | 193648.5 | 24.79 | 15406.5 | 16.28 | 3098.454
13 | 139761 | 3740.7 | 71728.03 | 44.511 | 8133.57 | 11.359 | 2347.29 | 0.999 | 193656 | 27.75 | 15406.6 | 0.37 | 3825.689
14 | 140678 | 3392.9 | 71743 | 55.389 | 8134 | 1.591 | 2347.73 | 1.628 | 193668.4 | 45.88 | 15411 | 16.28 | 3513.668
15 | 141612 | 3455.8 | 71756.07 | 48.359 | 8136.63 | 9.731 | 2347.88 | 0.555 | 193680.9 | 46.25 | 15415.83 | 17.871 | 3578.566
16 | 142593 | 3629.7 | 71766.58 | 38.887 | 8137.21 | 2.146 | 2347.98 | 0.37 | 193692.5 | 42.92 | 15420.91 | 18.796 | 3732.819
17 | 143595 | 3707.4 | 71777.82 | 41.588 | 8138.27 | 3.922 | 2348.06 | 0.296 | 193702.9 | 38.48 | 15425.08 | 15.429 | 3807.115
18 | 144548 | 3526.1 | 71785.54 | 28.564 | 8138.87 | 2.22 | 2348.35 | 1.073 | 193716.4 | 49.95 | 15427.2 | 7.844 | 3615.751
19 | 145553 | 3718.5 | 71794.21 | 32.079 | 8139.1 | 0.851 | 2348.51 | 0.592 | 193728.1 | 43.29 | 15429.13 | 7.141 | 3802.453
20 | 146609 | 3907.2 | 71803.23 | 33.374 | 8141.95 | 10.545 | 2348.75 | 0.888 | 193740.5 | 45.88 | 15431.58 | 9.065 | 4006.952
21 | 147636 | 3799.9 | 71814.14 | 40.367 | 8143.16 | 4.477 | 2348.89 | 0.518 | 193753.7 | 48.84 | 15436.51 | 18.241 | 3912.343
22 | 148842 | 4462.2 | 71826.25 | 44.807 | 8145.01 | 6.845 | 2349.05 | 0.592 | 193761.1 | 27.38 | 15439.91 | 12.58 | 4554.404
23 | 149628 | 2908.2 | 71836.24 | 36.963 | 8145.43 | 1.554 | 2349.04 | -0.037 | 193774.1 | 48.1 | 15441.52 | 5.957 | 3000.737
24 | 150601 | 3600.1 | 71850.87 | 54.131 | 8146.65 | 4.514 | 2349.05 | 0.037 | 193782.7 | 31.82 | 15444.17 | 9.805 | 3700.407
25 | 151490 | 3289.3 | 71865.5 | 54.131 | 8147.5 | 3.145 | 2349.5 | 1.665 | 193790 | 27.01 | 15446.5 | 8.621 | 3383.872
26 | 152546 | 3907.2 | 71877.15 | 43.105 | 8148.91 | 5.217 | 2349.5 | 0 | 193804.2 | 52.54 | 15450.95 | 16.465 | 4024.527
27 | 153491 | 3496.5 | 71886.66 | 35.187 | 8150.35 | 5.328 | 2349.58 | 0.296 | 193815.1 | 40.33 | 15454.56 | 13.357 | 3590.998
28 | 154437 | 3500.2 | 71900.17 | 49.987 | 8151.88 | 5.661 | 2349.8 | 0.814 | 193826.5 | 42.18 | 15458.16 | 13.32 | 3612.162
29 | 155391 | 3529.8 | 71913.29 | 48.544 | 8153.27 | 5.143 | 2350.15 | 1.295 | 193838.3 | 43.66 | 15459.84 | 6.216 | 3634.658
30 | 156345 | 3529.8 | 71927.7 | 53.317 | 8154.18 | 3.367 | 2350.28 | 0.481 | 193848.2 | 36.63 | 15462.03 | 8.103 | 3631.698
31 | 157297 | 3522.4 | 71941.77 | 52.059 | 8155.13 | 3.515 | 2350.45 | 0.629 | 193859.1 | 40.33 | 15464.33 | 8.51 | 3627.443
TOTAL Consumption |  | 109816 |  | 1227.105 |  | 133.607 |  | 20.165 |  | 1206.2 |  | 408.221
TOTAL BOILER |  | 109816
TOTAL KITCHEN |  | 2995.298
TOTAL Boiler & Kitchen |  | 112811.298

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) DECEMBER 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 170611 | 170850 | 171052 | 171289 | 171499 | 171708 | 171926 | 172143 | 172360 | 172592 | 172806 | 173038 | 173308 | 173541 | 173764 | 174026 | 174280 | 174507 | 174793 | 175038 | 175289 | 175560 | 175776 | 175995 | 176273 | 176532 | 176831 | 177082 | 177386 | 177651 | 177984 | 178247
|  |  |  | 239 | 202 | 237 | 210 | 209 | 218 | 217 | 217 | 232 | 214 | 232 | 270 | 233 | 223 | 262 | 254 | 227 | 286 | 245 | 251 | 271 | 216 | 219 | 278 | 259 | 299 | 251 | 304 | 265 | 333 | 263
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 408662.6 | 408682 | 408693 | 408704 | 408722 | 408741.3 | 408762.5 | 408776.6 | 408797.7 | 408815.6 | 408836.1 | 408857.5 | 408880.2 | 408898.2 | 408913.1 | 408932.5 | 408951.6 | 408972.3 | 408990.1 | 409007.3 | 409023.9 | 409035.7 | 409049.2 | 409061.5 | 409073.6 | 409089.7 | 409103.9 | 409119.2 | 409129.6 | 409143.4 | 409155.2 | 409169.8
|  |  |  | 19.4 | 11 | 11 | 18 | 19.3 | 21.2 | 14.1 | 21.1 | 17.9 | 20.5 | 21.4 | 22.7 | 18 | 14.9 | 19.4 | 19.1 | 20.7 | 17.8 | 17.2 | 16.6 | 11.8 | 13.5 | 12.3 | 12.1 | 16.1 | 14.2 | 15.3 | 10.4 | 13.8 | 11.8 | 14.6
4 | 2045000686(Sub Meter) | Irrigation water Tank | 27483 | 27590 | 27592 | 27596 | 27696 | 27808 | 27929 | 27929 | 28012 | 28101 | 28198 | 28303 | 28405 | 28478 | 28487 | 28561 | 28656 | 28742 | 28826 | 28927 | 29029 | 29037 | 29109 | 29126 | 29181 | 29247 | 29308 | 29348 | 29348 | 29397 | 29405 | 29483
|  |  |  | 107 | 2 | 4 | 100 | 112 | 121 | 0 | 83 | 89 | 97 | 105 | 102 | 73 | 9 | 74 | 95 | 86 | 84 | 101 | 102 | 8 | 72 | 17 | 55 | 66 | 61 | 40 | 0 | 49 | 8 | 78
5 | 68864837 | Hotel & Arjaan Spa | 2349.798 | 2351.536 | 2353.23 | 2354.872 | 2356.501 | 2357.8 | 2358.853 | 2361.903 | 2363.615 | 2365.113 | 2366.915 | 2368.665 | 2369.12 | 2373.736 | 2374.53 | 2375.6 | 2383.243 | 2386.209 | 2389.77 | 2391.103 | 2393.253 | 2394.652 | 2395.726 | 2397.156 | 2398.068 | 2399.662 | 2401.552 | 2403.858 | 2406.279 | 2408.817 | 2410.52 | 2412.245
|  |  |  | 1.738 | 1.694 | 1.642 | 1.629 | 1.299 | 1.053 | 3.05 | 1.712 | 1.498 | 1.802 | 1.75 | 0.455 | 4.616 | 0.794 | 1.07 | 7.643 | 2.966 | 3.561 | 1.333 | 2.15 | 1.399 | 1.074 | 1.43 | 0.912 | 1.594 | 1.89 | 2.306 | 2.421 | 2.538 | 1.703 | 1.725
6 | 65296485 | Hotel & Arjaan Gym | 2980.313 | 2981.55 | 2982.777 | 2984.617 | 2986.562 | 2987.65 | 2988.961 | 2991.65 | 2992.701 | 2993.658 | 2996.153 | 2997.727 | 2998.55 | 3005.769 | 3006.951 | 3009.6 | 3010.317 | 3011.275 | 3014.792 | 3015.907 | 3016.747 | 3019.231 | 3026.585 | 3027.534 | 3028.35 | 3030.353 | 3034.046 | 3035.15 | 3036.892 | 3043.356 | 3049.392 | 3054.42
|  |  |  | 1.237 | 1.227 | 1.84 | 1.945 | 1.088 | 1.311 | 2.689 | 1.051 | 0.957 | 2.495 | 1.574 | 0.823 | 7.219 | 1.182 | 2.649 | 0.717 | 0.958 | 3.517 | 1.115 | 0.84 | 2.484 | 7.354 | 0.949 | 0.816 | 2.003 | 3.693 | 1.104 | 1.742 | 6.464 | 6.036 | 5.028
| Total Daily Consumption (m3) |  |  | 298.855 | 210.771 | 247.232 | 266.674 | 270.472 | 284.354 | 229.084 | 266.608 | 282.56 | 271.172 | 292.204 | 327.393 | 285.785 | 235.731 | 307.749 | 313.705 | 278.939 | 338.888 | 300.638 | 307.36 | 283.793 | 262.903 | 234.564 | 309.923 | 299.542 | 338.423 | 279.295 | 312.843 | 302.262 | 349.649 | 311.423
| Total Monthly Consumption (m3) |  |  | 1: 8900.794
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest December 2024
Date | Occupied | # Guest
2024-12-01 | 414 | 613
2024-12-02 | 464 | 619
2024-12-03 | 451 | 551
2024-12-04 | 412 | 496
2024-12-05 | 465 | 542
2024-12-06 | 474 | 567
2024-12-07 | 485 | 595
2024-12-08 | 476 | 567
2024-12-09 | 461 | 566
2024-12-10 | 464 | 608
2024-12-11 | 467 | 639
2024-12-12 | 455 | 657
2024-12-13 | 379 | 553
2024-12-14 | 409 | 581
2024-12-15 | 444 | 596
2024-12-16 | 481 | 656
2024-12-17 | 478 | 684
2024-12-18 | 478 | 702
2024-12-19 | 486 | 769
2024-12-20 | 407 | 680
2024-12-21 | 350 | 566
2024-12-22 | 348 | 590
2024-12-23 | 398 | 682
2024-12-24 | 462 | 820
2024-12-25 | 459 | 813
2024-12-26 | 460 | 818
2024-12-27 | 441 | 836
2024-12-28 | 482 | 926
2024-12-29 | 478 | 902
2024-12-30 | 442 | 849
2024-12-31 | 438 | 855
TOTAL MTD | 13808 | 20898