## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 3 | 2024 | 30402.8 | 0.2 | 2492.8065 | 1.65 | 313.789 | 7.84 | 460 | 712
Park Rotana and Park Arjaan Abu Dhabi | 2 | 3 | 2024 | 25934.4 | 0.2 | 2492.8065 | 1.65 | 260.356 | 7.84 | 470 | 705
Park Rotana and Park Arjaan Abu Dhabi | 3 | 3 | 2024 | 27848.6 | 0.2 | 2492.8065 | 1.65 | 274.349 | 7.84 | 465 | 643
Park Rotana and Park Arjaan Abu Dhabi | 4 | 3 | 2024 | 29776 | 0.2 | 2492.8065 | 1.65 | 278.356 | 7.84 | 437 | 607
Park Rotana and Park Arjaan Abu Dhabi | 5 | 3 | 2024 | 30252.4 | 0.2 | 2492.8065 | 1.65 | 269.049 | 7.84 | 480 | 653
Park Rotana and Park Arjaan Abu Dhabi | 6 | 3 | 2024 | 30355.8 | 0.2 | 2492.8065 | 1.65 | 300.202 | 7.84 | 478 | 654
Park Rotana and Park Arjaan Abu Dhabi | 7 | 3 | 2024 | 30477 | 0.2 | 2492.8065 | 1.65 | 326.263 | 7.84 | 471 | 686
Park Rotana and Park Arjaan Abu Dhabi | 8 | 3 | 2024 | 33131 | 0.2 | 2492.8065 | 1.65 | 296.683 | 7.84 | 409 | 629
Park Rotana and Park Arjaan Abu Dhabi | 9 | 3 | 2024 | 28490.2 | 0.2 | 2492.8065 | 1.65 | 310.637 | 7.84 | 356 | 534
Park Rotana and Park Arjaan Abu Dhabi | 10 | 3 | 2024 | 28943.4 | 0.2 | 2492.8065 | 1.65 | 255.496 | 7.84 | 307 | 435
Park Rotana and Park Arjaan Abu Dhabi | 11 | 3 | 2024 | 28752 | 0.2 | 2492.8065 | 1.65 | 208.741 | 7.84 | 322 | 458
Park Rotana and Park Arjaan Abu Dhabi | 12 | 3 | 2024 | 28454.2 | 0.2 | 2492.8065 | 1.65 | 241.017 | 7.84 | 415 | 601
Park Rotana and Park Arjaan Abu Dhabi | 13 | 3 | 2024 | 28011.4 | 0.2 | 2492.8065 | 1.65 | 230.252 | 7.84 | 323 | 439
Park Rotana and Park Arjaan Abu Dhabi | 14 | 3 | 2024 | 31335.8 | 0.2 | 2492.8065 | 1.65 | 229.016 | 7.84 | 252 | 380
Park Rotana and Park Arjaan Abu Dhabi | 15 | 3 | 2024 | 31441.2 | 0.2 | 2492.8065 | 1.65 | 257.62 | 7.84 | 287 | 440
Park Rotana and Park Arjaan Abu Dhabi | 16 | 3 | 2024 | 30782.6 | 0.2 | 2492.8065 | 1.65 | 227.328 | 7.84 | 283 | 444
Park Rotana and Park Arjaan Abu Dhabi | 17 | 3 | 2024 | 31263.2 | 0.2 | 2492.8065 | 1.65 | 361.126 | 7.84 | 288 | 441
Park Rotana and Park Arjaan Abu Dhabi | 18 | 3 | 2024 | 31153.2 | 0.2 | 2492.8065 | 1.65 | 103.327 | 7.84 | 322 | 494
Park Rotana and Park Arjaan Abu Dhabi | 19 | 3 | 2024 | 34360.6 | 0.2 | 2492.8065 | 1.65 | 276.376 | 7.84 | 370 | 535
Park Rotana and Park Arjaan Abu Dhabi | 20 | 3 | 2024 | 31934.2 | 0.2 | 2492.8065 | 1.65 | 280.173 | 7.84 | 362 | 485
Park Rotana and Park Arjaan Abu Dhabi | 21 | 3 | 2024 | 38994.4 | 0.2 | 2492.8065 | 1.65 | 304.663 | 7.84 | 362 | 560
Park Rotana and Park Arjaan Abu Dhabi | 22 | 3 | 2024 | 30357.4 | 0.2 | 2492.8065 | 1.65 | 288.601 | 7.84 | 322 | 508
Park Rotana and Park Arjaan Abu Dhabi | 23 | 3 | 2024 | 30055 | 0.2 | 2492.8065 | 1.65 | 295.295 | 7.84 | 252 | 391
Park Rotana and Park Arjaan Abu Dhabi | 24 | 3 | 2024 | 32577.2 | 0.2 | 2492.8065 | 1.65 | 251.884 | 7.84 | 289 | 443
Park Rotana and Park Arjaan Abu Dhabi | 25 | 3 | 2024 | 33380.4 | 0.2 | 2492.8065 | 1.65 | 295.124 | 7.84 | 271 | 386
Park Rotana and Park Arjaan Abu Dhabi | 26 | 3 | 2024 | 30879.8 | 0.2 | 2492.8065 | 1.65 | 269.26 | 7.84 | 298 | 442
Park Rotana and Park Arjaan Abu Dhabi | 27 | 3 | 2024 | 27913.8 | 0.2 | 2492.8065 | 1.65 | 285.098 | 7.84 | 243 | 339
Park Rotana and Park Arjaan Abu Dhabi | 28 | 3 | 2024 | 29241.2 | 0.2 | 2492.8065 | 1.65 | 320.02 | 7.84 | 323 | 533
Park Rotana and Park Arjaan Abu Dhabi | 29 | 3 | 2024 | 32773.6 | 0.2 | 2492.8065 | 1.65 | 236.022 | 7.84 | 236 | 400
Park Rotana and Park Arjaan Abu Dhabi | 30 | 3 | 2024 | 29384.8 | 0.2 | 2492.8065 | 1.65 | 389.231 | 7.84 | 231 | 367
Park Rotana and Park Arjaan Abu Dhabi | 31 | 3 | 2024 | 29424.2 | 0.2 | 2492.8065 | 1.65 | 117.442 | 7.84 | 283 | 410

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MARCH 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 8095112 | 8118341 | 8138029 | 8159208 | 8181574 | 8203405 | 8225657 | 8247993 | 8269839 | 8291782 | 8312465 | 8333065 | 8353603 | 8373778 | 8395453 | 8417705 | 8438466 | 8459416 | 8480158 | 8502406 | 8522699 | 8545821 | 8567196 | 8588313 | 8609025 | 8630367 | 8651692 | 8671860 | 8692803 | 8716524 | 8737212 | 8757607
|  |  |  | 23229 | 19688 | 21179 | 22366 | 21831 | 22252 | 22336 | 21846 | 21943 | 20683 | 20600 | 20538 | 20175 | 21675 | 22252 | 20761 | 20950 | 20742 | 22248 | 20293 | 23122 | 21375 | 21117 | 20712 | 21342 | 21325 | 20168 | 20943 | 23721 | 20688 | 20395
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 9382937 | 9387034 | 9390537 | 9394338 | 9396217 | 9397078 | 9397873 | 9398695 | 9402560 | 9403465 | 9404425 | 9406031 | 9407875 | 9409585 | 9415072 | 9417403 | 9422985 | 9428866 | 9434050 | 9443270 | 9452143 | 9469620 | 9471564 | 9473199 | 9488821 | 9499293 | 9505461 | 9506802 | 9506813 | 9506984 | 9507275 | 9507844
|  |  |  | 4097 | 3503 | 3801 | 1879 | 861 | 795 | 822 | 3865 | 905 | 960 | 1606 | 1844 | 1710 | 5487 | 2331 | 5582 | 5881 | 5184 | 9220 | 8873 | 17477 | 1944 | 1635 | 15622 | 10472 | 6168 | 1341 | 11 | 171 | 291 | 569
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 4443820 | 4456760 | 4468048 | 4479961 | 4495707 | 4514992 | 4533469 | 4552077 | 4575477 | 4589970 | 4608721 | 4626755 | 4643989 | 4661190 | 4679220 | 4699027 | 4717764 | 4736881 | 4757005 | 4777374 | 4796999 | 4818483 | 4838330 | 4858305 | 4871656 | 4890575 | 4907574 | 4924880 | 4944857 | 4966590 | 4987321 | 5008590
|  |  |  | 12940 | 11288 | 11913 | 15746 | 19285 | 18477 | 18608 | 23400 | 14493 | 18751 | 18034 | 17234 | 17201 | 18030 | 19807 | 18737 | 19117 | 20124 | 20369 | 19625 | 21484 | 19847 | 19975 | 13351 | 18919 | 16999 | 17306 | 19977 | 21733 | 20731 | 21269
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3217 | 3218 | 3218 | 3218 | 3218 | 3218 | 3218 | 3218 | 3218 | 3218 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221 | 3221
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 447 | 447 | 447 | 447 | 447 | 447 | 447 | 447 | 447 | 447 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 448 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451 | 451
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1385453 | 1385759 | 1386037 | 1386368 | 1386686 | 1386996 | 1387334 | 1387651 | 1387977 | 1388313 | 1388635 | 1388881 | 1389118 | 1389349 | 1389558 | 1389844 | 1390091 | 1390357 | 1390600 | 1390833 | 1391031 | 1391272 | 1391493 | 1391736 | 1391966 | 1392202 | 1392446 | 1392690 | 1392945 | 1393185 | 1393429 | 1393679
|  |  |  | 306 | 278 | 331 | 318 | 310 | 338 | 317 | 326 | 336 | 322 | 246 | 237 | 231 | 209 | 286 | 247 | 266 | 243 | 233 | 198 | 241 | 221 | 243 | 230 | 236 | 244 | 244 | 255 | 240 | 244 | 250
14 | E5T09D034327 | Hotel Gym S (Kwh) | 373128 | 373181 | 373233 | 373286 | 373328 | 373381 | 373438 | 373490 | 373543 | 373595 | 373648 | 373698 | 373746 | 373787 | 373831 | 373879 | 373926 | 373974 | 374019 | 374063 | 374107 | 374154 | 374199 | 374244 | 374290 | 374336 | 374380 | 374423 | 374471 | 374522 | 374566 | 374610
|  |  |  | 53 | 52 | 53 | 42 | 53 | 57 | 52 | 53 | 52 | 53 | 50 | 48 | 41 | 44 | 48 | 47 | 48 | 45 | 44 | 44 | 47 | 45 | 45 | 46 | 46 | 44 | 43 | 48 | 51 | 44 | 44
| Total Daily Consumption (kw) |  |  | 30402.8 | 25934.4 | 27848.6 | 29776 | 30252.4 | 30355.8 | 30477 | 33131 | 28490.2 | 28943.4 | 28752 | 28454.2 | 28011.4 | 31335.8 | 31441.2 | 30782.6 | 31263.2 | 31153.2 | 34360.6 | 31934.2 | 38994.4 | 30357.4 | 30055 | 32577.2 | 33380.4 | 30879.8 | 27913.8 | 29241.2 | 32773.6 | 29384.8 | 29424.2
| Total Monthly Consumption (kw) |  |  | 1: 948081.8
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MARCH 2024
LAST MONTH'S FINAL READING | 77277
1 |  | 2492.8065
2 |  | 2492.8065
3 |  | 2492.8065
4 |  | 2492.8065
5 |  | 2492.8065
6 |  | 2492.8065
7 |  | 2492.8065
8 |  | 2492.8065
9 |  | 2492.8065
10 |  | 2492.8065
11 |  | 2492.8065
12 |  | 2492.8065
13 |  | 2492.8065
14 |  | 2492.8065
15 |  | 2492.8065
16 |  | 2492.8065
17 |  | 2492.8065
18 |  | 2492.8065
19 |  | 2492.8065
20 |  | 2492.8065
21 |  | 2492.8065
22 |  | 2492.8065
23 |  | 2492.8065
24 |  | 2492.8065
25 |  | 2492.8065
26 |  | 2492.8065
27 |  | 2492.8065
28 |  | 2492.8065
29 |  | 2492.8065
30 |  | 2492.8065
31 |  | 2492.8065
TOTAL Consumption |  | 77277

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MARCH 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 90177 | 90477 | 90728 | 90990 | 91257 | 91516 | 91806 | 92121 | 92392 | 92689 | 92936 | 93133 | 93365 | 93586 | 93798 | 94033 | 94250 | 94600 | 94692 | 94952 | 95216 | 95505 | 95776 | 96064 | 96310 | 96589 | 96846 | 97123 | 97436 | 97659 | 98041 | 98143
|  |  |  | 300 | 251 | 262 | 267 | 259 | 290 | 315 | 271 | 297 | 247 | 197 | 232 | 221 | 212 | 235 | 217 | 350 | 92 | 260 | 264 | 289 | 271 | 288 | 246 | 279 | 257 | 277 | 313 | 223 | 382 | 102
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 400683.4 | 400703.7 | 400717.1 | 400733.1 | 400750 | 400763.5 | 400774.3 | 400785.2 | 400810.9 | 400825.1 | 400835 | 400845.1 | 400858.4 | 400874.5 | 400906.3 | 400928 | 400943.4 | 400960.5 | 400978.8 | 400998.3 | 401019.5 | 401041.6 | 401058.7 | 401071.1 | 401079.5 | 401110.7 | 401128.8 | 401142.9 | 401158.5 | 401176.2 | 401186.2 | 401203.4
|  |  |  | 20.3 | 13.4 | 16 | 16.9 | 13.5 | 10.8 | 10.9 | 25.7 | 14.2 | 9.9 | 10.1 | 13.3 | 16.1 | 31.8 | 21.7 | 15.4 | 17.1 | 18.3 | 19.5 | 21.2 | 22.1 | 17.1 | 12.4 | 8.4 | 31.2 | 18.1 | 14.1 | 15.6 | 17.7 | 10 | 17.2
4 | 2045000686(Sub Meter) | Irrigation water Tank | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72044 | 72061 | 72061 | 72061 | 72061 | 72061 | 72065 | 72067 | 72067 | 72067 | 72068 | 72068 | 72069 | 72069 | 72069 | 72069 | 72069 | 72069
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 4 | 2 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0
5 | 68864837 | Hotel & Arjaan Spa | 1828.227 | 1829.906 | 1831.416 | 1833.298 | 1836.625 | 1839.825 | 1842.568 | 1846.572 | 1850.358 | 1855.04 | 1858.394 | 1862.464 | 1865.496 | 1867.275 | 1869.401 | 1871.509 | 1873.761 | 1875.346 | 1877.029 | 1878.011 | 1878.703 | 1879.633 | 1880.409 | 1881.416 | 1882.414 | 1883.786 | 1885.801 | 1886.688 | 1886.688 | 1889.625 | 1890.711 | 1891.146
|  |  |  | 1.679 | 1.51 | 1.882 | 3.327 | 3.2 | 2.743 | 4.004 | 3.786 | 4.682 | 3.354 | 4.07 | 3.032 | 1.779 | 2.126 | 2.108 | 2.252 | 1.585 | 1.683 | 0.982 | 0.692 | 0.93 | 0.776 | 1.007 | 0.998 | 1.372 | 2.015 | 0.887 | 0 | 2.937 | 1.086 | 0.435
6 | 65296485 | Hotel & Arjaan Gym | 2211.448 | 2214.423 | 2216.239 | 2219.506 | 2219.93 | 2220.704 | 2223.303 | 2225.657 | 2235.989 | 2238.554 | 2239.241 | 2242.367 | 2242.367 | 2242.595 | 2243.175 | 2246.272 | 2247.418 | 2249.264 | 2250.673 | 2257.292 | 2261.433 | 2265.321 | 2274.451 | 2275.159 | 2275.815 | 2276.527 | 2278.177 | 2279.043 | 2279.043 | 2281.163 | 2282.808 | 2290.075
|  |  |  | 2.975 | 1.816 | 3.267 | 0.424 | 0.774 | 2.599 | 2.354 | 10.332 | 2.565 | 0.687 | 3.126 | 0 | 0.228 | 0.58 | 3.097 | 1.146 | 1.846 | 1.409 | 6.619 | 4.141 | 3.888 | 9.13 | 0.708 | 0.656 | 0.712 | 1.65 | 0.866 | 0 | 2.12 | 1.645 | 7.267
| Total Daily Consumption (m3) |  |  | 313.789 | 260.356 | 274.349 | 278.356 | 269.049 | 300.202 | 326.263 | 296.683 | 310.637 | 255.496 | 208.741 | 241.017 | 230.252 | 229.016 | 257.62 | 227.328 | 361.126 | 103.327 | 276.376 | 280.173 | 304.663 | 288.601 | 295.295 | 251.884 | 295.124 | 269.26 | 285.098 | 320.02 | 236.022 | 389.231 | 117.442
| Total Monthly Consumption (m3) |  |  | 1: 8352.796
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest - March 2024
Date | Occupied | # Guest
2024-03-01 | 460 | 712
2024-03-02 | 470 | 705
2024-03-03 | 465 | 643
2024-03-04 | 437 | 607
2024-03-05 | 480 | 653
2024-03-06 | 478 | 654
2024-03-07 | 471 | 686
2024-03-08 | 409 | 629
2024-03-09 | 356 | 534
2024-03-10 | 307 | 435
2024-03-11 | 322 | 458
2024-03-12 | 415 | 601
2024-03-13 | 323 | 439
2024-03-14 | 252 | 380
2024-03-15 | 287 | 440
2024-03-16 | 283 | 444
2024-03-17 | 288 | 441
2024-03-18 | 322 | 494
2024-03-19 | 370 | 535
2024-03-20 | 362 | 485
2024-03-21 | 362 | 560
2024-03-22 | 322 | 508
2024-03-23 | 252 | 391
2024-03-24 | 289 | 443
2024-03-25 | 271 | 386
2024-03-26 | 298 | 442
2024-03-27 | 243 | 339
2024-03-28 | 323 | 533
2024-03-29 | 236 | 400
2024-03-30 | 231 | 367
2024-03-31 | 283 | 410
TOTAL MTD | 10667 | 15754