## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 7 | 2024 | 41794.6 | 0.2 | 2048.9032 | 1.54 | 318.711 | 7.84 | 478 | 683
Park Rotana and Park Arjaan Abu Dhabi | 2 | 7 | 2024 | 41396 | 0.2 | 2048.9032 | 1.54 | 393.1269 | 7.84 | 478 | 665
Park Rotana and Park Arjaan Abu Dhabi | 3 | 7 | 2024 | 44721.8 | 0.2 | 2048.9032 | 1.54 | 355.9451 | 7.84 | 480 | 668
Park Rotana and Park Arjaan Abu Dhabi | 4 | 7 | 2024 | 42830.6 | 0.2 | 2048.9032 | 1.54 | 311.725 | 7.84 | 479 | 658
Park Rotana and Park Arjaan Abu Dhabi | 5 | 7 | 2024 | 43740 | 0.2 | 2048.9032 | 1.54 | 370.448 | 7.84 | 420 | 608
Park Rotana and Park Arjaan Abu Dhabi | 6 | 7 | 2024 | 42386.6 | 0.2 | 2048.9032 | 1.54 | 272.912 | 7.84 | 460 | 676
Park Rotana and Park Arjaan Abu Dhabi | 7 | 7 | 2024 | 41409.8 | 0.2 | 2048.9032 | 1.54 | 334.648 | 7.84 | 438 | 582
Park Rotana and Park Arjaan Abu Dhabi | 8 | 7 | 2024 | 44224.6 | 0.2 | 2048.9032 | 1.54 | 397.577 | 7.84 | 480 | 691
Park Rotana and Park Arjaan Abu Dhabi | 9 | 7 | 2024 | 45937.6 | 0.2 | 2048.9032 | 1.54 | 354.238 | 7.84 | 450 | 615
Park Rotana and Park Arjaan Abu Dhabi | 10 | 7 | 2024 | 45433.8 | 0.2 | 2048.9032 | 1.54 | 318.355 | 7.84 | 470 | 644
Park Rotana and Park Arjaan Abu Dhabi | 11 | 7 | 2024 | 45911.2 | 0.2 | 2048.9032 | 1.54 | 397.294 | 7.84 | 478 | 665
Park Rotana and Park Arjaan Abu Dhabi | 12 | 7 | 2024 | 46577.4 | 0.2 | 2048.9032 | 1.54 | 317.151 | 7.84 | 425 | 606
Park Rotana and Park Arjaan Abu Dhabi | 13 | 7 | 2024 | 44312.4 | 0.2 | 2048.9032 | 1.54 | 304.148 | 7.84 | 444 | 638
Park Rotana and Park Arjaan Abu Dhabi | 14 | 7 | 2024 | 43187.6 | 0.2 | 2048.9032 | 1.54 | 348.44 | 7.84 | 461 | 646
Park Rotana and Park Arjaan Abu Dhabi | 15 | 7 | 2024 | 45029.6 | 0.2 | 2048.9032 | 1.54 | 312.825 | 7.84 | 486 | 684
Park Rotana and Park Arjaan Abu Dhabi | 16 | 7 | 2024 | 45203.6 | 0.2 | 2048.9032 | 1.54 | 306.172 | 7.84 | 487 | 673
Park Rotana and Park Arjaan Abu Dhabi | 17 | 7 | 2024 | 45421.4 | 0.2 | 2048.9032 | 1.54 | 517.253 | 7.84 | 482 | 682
Park Rotana and Park Arjaan Abu Dhabi | 18 | 7 | 2024 | 45804.4 | 0.2 | 2048.9032 | 1.54 | 363.59 | 7.84 | 474 | 675
Park Rotana and Park Arjaan Abu Dhabi | 19 | 7 | 2024 | 47539.2 | 0.2 | 2048.9032 | 1.54 | 537.846 | 7.84 | 439 | 642
Park Rotana and Park Arjaan Abu Dhabi | 20 | 7 | 2024 | 45993.8 | 0.2 | 2048.9032 | 1.54 | 311.059 | 7.84 | 426 | 604
Park Rotana and Park Arjaan Abu Dhabi | 21 | 7 | 2024 | 44545.2 | 0.2 | 2048.9032 | 1.54 | 405.691 | 7.84 | 433 | 588
Park Rotana and Park Arjaan Abu Dhabi | 22 | 7 | 2024 | 47379 | 0.2 | 2048.9032 | 1.54 | 345.774 | 7.84 | 477 | 691
Park Rotana and Park Arjaan Abu Dhabi | 23 | 7 | 2024 | 47911.4 | 0.2 | 2048.9032 | 1.54 | 390.409 | 7.84 | 477 | 655
Park Rotana and Park Arjaan Abu Dhabi | 24 | 7 | 2024 | 46099.4 | 0.2 | 2048.9032 | 1.54 | 355.093 | 7.84 | 484 | 670
Park Rotana and Park Arjaan Abu Dhabi | 25 | 7 | 2024 | 46340.6 | 0.2 | 2048.9032 | 1.54 | 376.915 | 7.84 | 473 | 646
Park Rotana and Park Arjaan Abu Dhabi | 26 | 7 | 2024 | 44242.6 | 0.2 | 2048.9032 | 1.54 | 376.755 | 7.84 | 440 | 607
Park Rotana and Park Arjaan Abu Dhabi | 27 | 7 | 2024 | 44783.2 | 0.2 | 2048.9032 | 1.54 | 261.413 | 7.84 | 482 | 704
Park Rotana and Park Arjaan Abu Dhabi | 28 | 7 | 2024 | 45017.6 | 0.2 | 2048.9032 | 1.54 | 382.292 | 7.84 | 445 | 639
Park Rotana and Park Arjaan Abu Dhabi | 29 | 7 | 2024 | 47217.2 | 0.2 | 2048.9032 | 1.54 | 313.796 | 7.84 | 488 | 707
Park Rotana and Park Arjaan Abu Dhabi | 30 | 7 | 2024 | 46796.8 | 0.2 | 2048.9032 | 1.54 | 453.056 | 7.84 | 476 | 685
Park Rotana and Park Arjaan Abu Dhabi | 31 | 7 | 2024 | 48622.8 | 0.2 | 2048.9032 | 1.54 | 420.562 | 7.84 | 476 | 709

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION JULY 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 10742168 | 10763298 | 10784826 | 10805895 | 10827563 | 10849167 | 10871335 | 10893060 | 10914955 | 10936844 | 10959136 | 10980779 | 11002823 | 11024957 | 11045616 | 11065980 | 11086539 | 11106922 | 11127585 | 11149460 | 11170154 | 11189981 | 11211365 | 11233075 | 11254861 | 11276921 | 11298747 | 11320438 | 11341697 | 11363680 | 11384954 | 11407375
|  |  |  | 21130 | 21528 | 21069 | 21668 | 21604 | 22168 | 21725 | 21895 | 21889 | 22292 | 21643 | 22044 | 22134 | 20659 | 20364 | 20559 | 20383 | 20663 | 21875 | 20694 | 19827 | 21384 | 21710 | 21786 | 22060 | 21826 | 21691 | 21259 | 21983 | 21274 | 22421
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 11253854 | 11289408 | 11325595 | 11361213 | 11396301 | 11428530 | 11455326 | 11480464 | 11513441 | 11551096 | 11587299 | 11625227 | 11663330 | 11698274 | 11732766 | 11771827 | 11811007 | 11850758 | 11890362 | 11930475 | 11970131 | 12002227 | 12023998 | 12045071 | 12064477 | 12087187 | 12105442 | 12126413 | 12147716 | 12168003 | 12186654 | 12206854
|  |  |  | 35554 | 36187 | 35618 | 35088 | 32229 | 26796 | 25138 | 32977 | 37655 | 36203 | 37928 | 38103 | 34944 | 34492 | 39061 | 39180 | 39751 | 39604 | 40113 | 39656 | 32096 | 21771 | 21073 | 19406 | 22710 | 18255 | 20971 | 21303 | 20287 | 18651 | 20200
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 7132275 | 7147625 | 7160348 | 7183102 | 7200173 | 7222494 | 7245462 | 7268791 | 7290893 | 7312607 | 7333491 | 7355461 | 7377729 | 7397656 | 7418753 | 7440586 | 7462325 | 7484410 | 7506922 | 7530207 | 7553043 | 7581985 | 7624459 | 7668137 | 7708752 | 7745971 | 7782955 | 7818882 | 7856128 | 7898224 | 7942650 | 7987232
|  |  |  | 15350 | 12723 | 22754 | 17071 | 22321 | 22968 | 23329 | 22102 | 21714 | 20884 | 21970 | 22268 | 19927 | 21097 | 21833 | 21739 | 22085 | 22512 | 23285 | 22836 | 28942 | 42474 | 43678 | 40615 | 37219 | 36984 | 35927 | 37246 | 42096 | 44426 | 44582
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3253 | 3253 | 3253 | 3253 | 3253 | 3253 | 3257 | 3257 | 3266 | 3266 | 3266 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269 | 3269
|  |  |  | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 9 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 463 | 463 | 463 | 463 | 463 | 463 | 465 | 465 | 466 | 466 | 466 | 467 | 467 | 467 | 467 | 467 | 467 | 467 | 467 | 467 | 467 | 467 | 467 | 468 | 468 | 468 | 468 | 468 | 468 | 468 | 468 | 468
|  |  |  | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1417786 | 1418047 | 1418307 | 1418569 | 1418822 | 1419092 | 1419357 | 1419612 | 1419857 | 1420114 | 1420376 | 1420638 | 1420980 | 1421167 | 1421418 | 1421674 | 1421915 | 1422169 | 1422416 | 1422672 | 1422926 | 1423178 | 1423426 | 1423677 | 1423935 | 1424194 | 1424469 | 1424750 | 1425042 | 1425272 | 1425513 | 1425754
|  |  |  | 261 | 260 | 262 | 253 | 270 | 265 | 255 | 245 | 257 | 262 | 262 | 342 | 187 | 251 | 256 | 241 | 254 | 247 | 256 | 254 | 252 | 248 | 251 | 258 | 259 | 275 | 281 | 292 | 230 | 241 | 241
14 | E5T09D034327 | Hotel Gym S (Kwh) | 378869 | 378911 | 378955 | 378997 | 379043 | 379089 | 379131 | 379174 | 379217 | 379261 | 379306 | 379349 | 379392 | 379435 | 379477 | 379529 | 379565 | 379615 | 379663 | 379712 | 379761 | 379812 | 379861 | 379910 | 379957 | 380007 | 380053 | 380105 | 380152 | 380203 | 380254 | 380302
|  |  |  | 42 | 44 | 42 | 46 | 46 | 42 | 43 | 43 | 44 | 45 | 43 | 43 | 43 | 42 | 52 | 36 | 50 | 48 | 49 | 49 | 51 | 49 | 49 | 47 | 50 | 46 | 52 | 47 | 51 | 51 | 48
| Total Daily Consumption (kw) |  |  | 41794.6 | 41396 | 44721.8 | 42830.6 | 43740 | 42386.6 | 41409.8 | 44224.6 | 45937.6 | 45433.8 | 45911.2 | 46577.4 | 44312.4 | 43187.6 | 45029.6 | 45203.6 | 45421.4 | 45804.4 | 47539.2 | 45993.8 | 44545.2 | 47379 | 47911.4 | 46099.4 | 46340.6 | 44242.6 | 44783.2 | 45017.6 | 47217.2 | 46796.8 | 48622.8
| Total Monthly Consumption (kw) |  |  | 1: 1397811.8
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) JULY 2024
LAST MONTH'S FINAL READING | 63516
1 |  | 2048.9032
2 |  | 2048.9032
3 |  | 2048.9032
4 |  | 2048.9032
5 |  | 2048.9032
6 |  | 2048.9032
7 |  | 2048.9032
8 |  | 2048.9032
9 |  | 2048.9032
10 |  | 2048.9032
11 |  | 2048.9032
12 |  | 2048.9032
13 |  | 2048.9032
14 |  | 2048.9032
15 |  | 2048.9032
16 |  | 2048.9032
17 |  | 2048.9032
18 |  | 2048.9032
19 |  | 2048.9032
20 |  | 2048.9032
21 |  | 2048.9032
22 |  | 2048.9032
23 |  | 2048.9032
24 |  | 2048.9032
25 |  | 2048.9032
26 |  | 2048.9032
27 |  | 2048.9032
28 |  | 2048.9032
29 |  | 2048.9032
30 |  | 2048.9032
31 |  | 2048.9032
TOTAL Consumption |  | 63516

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) JULY 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 131209 | 131399 | 131675 | 131925 | 132141 | 132422 | 132656 | 132901 | 133191 | 133464 | 133675 | 133944 | 134169 | 134400 | 134669 | 134890 | 135126 | 135559 | 135819 | 136179 | 136390 | 136651 | 136872 | 137136 | 137367 | 137608 | 137847 | 138071 | 138326 | 138488 | 138818 | 139108
|  |  |  | 190 | 276 | 250 | 216 | 281 | 234 | 245 | 290 | 273 | 211 | 269 | 225 | 231 | 269 | 221 | 236 | 433 | 260 | 360 | 211 | 261 | 221 | 264 | 231 | 241 | 239 | 224 | 255 | 162 | 330 | 290
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 403623.1 | 403659.2 | 403692 | 403730.7 | 403764.2 | 403777.5 | 403826.1 | 403857.1 | 403894.1 | 403933.5 | 403975.6 | 404021.9 | 404064.5 | 404103.2 | 404138.5 | 404181.6 | 404220.1 | 404246.5 | 404306.5 | 404352.2 | 404399.1 | 404447.2 | 404492.5 | 404537.1 | 404576.8 | 404615.1 | 404655.2 | 404681.1 | 404720.1 | 404759.1 | 404800.1 | 404845.7
|  |  |  | 36.1 | 32.8 | 38.7 | 33.5 | 13.3 | 48.6 | 31 | 37 | 39.4 | 42.1 | 46.3 | 42.6 | 38.7 | 35.3 | 43.1 | 38.5 | 26.4 | 60 | 45.7 | 46.9 | 48.1 | 45.3 | 44.6 | 39.7 | 38.3 | 40.1 | 25.9 | 39 | 39 | 41 | 45.6
4 | 2045000686(Sub Meter) | Irrigation water Tank | 5589 | 5814 | 6031 | 6216 | 6389 | 6568 | 6586 | 6749 | 6932 | 7070 | 7258 | 7493 | 7639 | 7755 | 7887 | 8040 | 8150 | 8305 | 8470 | 8807 | 8974 | 9237 | 9462 | 9693 | 9927 | 10167 | 10421 | 10471 | 10705 | 10987 | 11213 | 11449
|  |  |  | 225 | 217 | 185 | 173 | 179 | 18 | 163 | 183 | 138 | 188 | 235 | 146 | 116 | 132 | 153 | 110 | 155 | 165 | 337 | 167 | 263 | 225 | 231 | 234 | 240 | 254 | 50 | 234 | 282 | 226 | 236
5 | 68864837 | Hotel & Arjaan Spa | 2050.836 | 2052.082 | 2053.7779 | 2055.113 | 2056.355 | 2057.402 | 2060.06 | 2061.05 | 2066.392 | 2066.392 | 2068.751 | 2069.891 | 2072.545 | 2074.313 | 2076.742 | 2077.782 | 2079.12 | 2080.996 | 2081.994 | 2083.036 | 2085.337 | 2087.762 | 2088.702 | 2089.669 | 2090.12 | 2092.52 | 2093.957 | 2095.004 | 2095.984 | 2098.167 | 2099.13 | 2100.918
|  |  |  | 1.246 | 1.6959 | 1.3351 | 1.242 | 1.047 | 2.658 | 0.99 | 5.342 | 0 | 2.359 | 1.14 | 2.654 | 1.768 | 2.429 | 1.04 | 1.338 | 1.876 | 0.998 | 1.042 | 2.301 | 2.425 | 0.94 | 0.967 | 0.451 | 2.4 | 1.437 | 1.047 | 0.98 | 2.183 | 0.963 | 1.788
6 | 65296485 | Hotel & Arjaan Gym | 2573.518 | 2583.488 | 2586.509 | 2590.454 | 2592.012 | 2593.878 | 2600.162 | 2601.52 | 2604.755 | 2606.163 | 2607.614 | 2608.183 | 2612.81 | 2614.575 | 2616.301 | 2618.841 | 2620.85 | 2621.597 | 2622.939 | 2627.528 | 2629.031 | 2631.302 | 2633.501 | 2634.923 | 2635.4 | 2643.68 | 2647.653 | 2649.864 | 2653.326 | 2658.489 | 2660.432 | 2662.486
|  |  |  | 9.97 | 3.021 | 3.945 | 1.558 | 1.866 | 6.284 | 1.358 | 3.235 | 1.408 | 1.451 | 0.569 | 4.627 | 1.765 | 1.726 | 2.54 | 2.009 | 0.747 | 1.342 | 4.589 | 1.503 | 2.271 | 2.199 | 1.422 | 0.477 | 8.28 | 3.973 | 2.211 | 3.462 | 5.163 | 1.943 | 2.054
| Total Daily Consumption (m3) |  |  | 318.711 | 393.1269 | 355.9451 | 311.725 | 370.448 | 272.912 | 334.648 | 397.577 | 354.238 | 318.355 | 397.294 | 317.151 | 304.148 | 348.44 | 312.825 | 306.172 | 517.253 | 363.59 | 537.846 | 311.059 | 405.691 | 345.774 | 390.409 | 355.093 | 376.915 | 376.755 | 261.413 | 382.292 | 313.796 | 453.056 | 420.562
| Total Monthly Consumption (m3) |  |  | 1: 11225.22
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest July 2024
Date | Occupied | # Guest
2024-07-01 | 478 | 683
2024-07-02 | 478 | 665
2024-07-03 | 480 | 668
2024-07-04 | 479 | 658
2024-07-05 | 420 | 608
2024-07-06 | 460 | 676
2024-07-07 | 438 | 582
2024-07-08 | 480 | 691
2024-07-09 | 450 | 615
2024-07-10 | 470 | 644
2024-07-11 | 478 | 665
2024-07-12 | 425 | 606
2024-07-13 | 444 | 638
2024-07-14 | 461 | 646
2024-07-15 | 486 | 684
2024-07-16 | 487 | 673
2024-07-17 | 482 | 682
2024-07-18 | 474 | 675
2024-07-19 | 439 | 642
2024-07-20 | 426 | 604
2024-07-21 | 433 | 588
2024-07-22 | 477 | 691
2024-07-23 | 477 | 655
2024-07-24 | 484 | 670
2024-07-25 | 473 | 646
2024-07-26 | 440 | 607
2024-07-27 | 482 | 704
2024-07-28 | 445 | 639
2024-07-29 | 488 | 707
2024-07-30 | 476 | 685
2024-07-31 | 476 | 709
TOTAL MTD | 14386 | 20306