## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 5 | 2023 | 35406.6 | 0.2 | 1829.1029 | 1.51 | 179.532 | 7.84 | 261 | 334
Park Rotana and Park Arjaan Abu Dhabi | 2 | 5 | 2023 | 36075.6 | 0.2 | 1829.1029 | 1.51 | 61.514 | 7.84 | 273 | 354
Park Rotana and Park Arjaan Abu Dhabi | 3 | 5 | 2023 | 36985.4 | 0.2 | 1829.1029 | 1.51 | 44.8195 | 7.84 | 356 | 473
Park Rotana and Park Arjaan Abu Dhabi | 4 | 5 | 2023 | 35677.2 | 0.2 | 1829.1029 | 1.51 | 114.7915 | 7.84 | 345 | 485
Park Rotana and Park Arjaan Abu Dhabi | 5 | 5 | 2023 | 36307.4 | 0.2 | 1829.1029 | 1.51 | 342.935 | 7.84 | 322 | 488
Park Rotana and Park Arjaan Abu Dhabi | 6 | 5 | 2023 | 36950.8 | 0.2 | 1829.1029 | 1.51 | 803.061 | 7.84 | 355 | 546
Park Rotana and Park Arjaan Abu Dhabi | 7 | 5 | 2023 | 36867.4 | 0.2 | 1829.1029 | 1.51 | 303.909 | 7.84 | 348 | 497
Park Rotana and Park Arjaan Abu Dhabi | 8 | 5 | 2023 | 36493.2 | 0.2 | 1829.1029 | 1.51 | 728.613 | 7.84 | 418 | 570
Park Rotana and Park Arjaan Abu Dhabi | 9 | 5 | 2023 | 36322.4 | 0.2 | 1829.1029 | 1.51 | 313.131 | 7.84 | 403 | 513
Park Rotana and Park Arjaan Abu Dhabi | 10 | 5 | 2023 | 41057 | 0.2 | 1829.1029 | 1.51 | 393.255 | 7.84 | 436 | 574
Park Rotana and Park Arjaan Abu Dhabi | 11 | 5 | 2023 | 33409.2 | 0.2 | 1829.1029 | 1.51 | 323.708 | 7.84 | 335 | 459
Park Rotana and Park Arjaan Abu Dhabi | 12 | 5 | 2023 | 37166 | 0.2 | 1829.1029 | 1.51 | 190.107 | 7.84 | 287 | 424
Park Rotana and Park Arjaan Abu Dhabi | 13 | 5 | 2023 | 39463.2 | 0.2 | 1829.1029 | 1.51 | 395.429 | 7.84 | 334 | 486
Park Rotana and Park Arjaan Abu Dhabi | 14 | 5 | 2023 | 38721.4 | 0.2 | 1829.1029 | 1.51 | 317.283 | 7.84 | 411 | 552
Park Rotana and Park Arjaan Abu Dhabi | 15 | 5 | 2023 | 37336.6 | 0.2 | 1829.1029 | 1.51 | 269.678 | 7.84 | 471 | 603
Park Rotana and Park Arjaan Abu Dhabi | 16 | 5 | 2023 | 37463.2 | 0.2 | 1829.1029 | 1.51 | 436.162 | 7.84 | 464 | 579
Park Rotana and Park Arjaan Abu Dhabi | 17 | 5 | 2023 | 38587.8 | 0.2 | 1829.1029 | 1.51 | 292.122 | 7.84 | 469 | 600
Park Rotana and Park Arjaan Abu Dhabi | 18 | 5 | 2023 | 37199 | 0.2 | 1829.1029 | 1.51 | 315.101 | 7.84 | 375 | 506
Park Rotana and Park Arjaan Abu Dhabi | 19 | 5 | 2023 | 38785.8 | 0.2 | 1829.1029 | 1.51 | 249.813 | 7.84 | 242 | 357
Park Rotana and Park Arjaan Abu Dhabi | 20 | 5 | 2023 | 38953 | 0.2 | 1829.1029 | 1.51 | 275.775 | 7.84 | 270 | 408
Park Rotana and Park Arjaan Abu Dhabi | 21 | 5 | 2023 | 38163.6 | 0.2 | 1829.1029 | 1.51 | 330.464 | 7.84 | 343 | 456
Park Rotana and Park Arjaan Abu Dhabi | 22 | 5 | 2023 | 39301.8 | 0.2 | 1829.1029 | 1.51 | 288.328 | 7.84 | 407 | 508
Park Rotana and Park Arjaan Abu Dhabi | 23 | 5 | 2023 | 39652.4 | 0.2 | 1829.1029 | 1.51 | 299.757 | 7.84 | 448 | 563
Park Rotana and Park Arjaan Abu Dhabi | 24 | 5 | 2023 | 40191.4 | 0.2 | 1829.1029 | 1.51 | 336.65 | 7.84 | 410 | 528
Park Rotana and Park Arjaan Abu Dhabi | 25 | 5 | 2023 | 38031.4 | 0.2 | 1829.1029 | 1.51 | 356.855 | 7.84 | 391 | 569
Park Rotana and Park Arjaan Abu Dhabi | 26 | 5 | 2023 | 38403.2 | 0.2 | 1829.1029 | 1.51 | 210.339 | 7.84 | 396 | 595
Park Rotana and Park Arjaan Abu Dhabi | 27 | 5 | 2023 | 39014.8 | 0.2 | 1829.1029 | 1.51 | 364.981 | 7.84 | 427 | 618
Park Rotana and Park Arjaan Abu Dhabi | 28 | 5 | 2023 | 40036.2 | 0.2 | 1829.1029 | 1.51 | 360.044 | 7.84 | 260 | 342
Park Rotana and Park Arjaan Abu Dhabi | 29 | 5 | 2023 | 39958.8 | 0.2 | 1829.1029 | 1.51 | 338.166 | 7.84 | 310 | 409
Park Rotana and Park Arjaan Abu Dhabi | 30 | 5 | 2023 | 41532.8 | 0.2 | 1829.1029 | 1.51 | 365.145 | 7.84 | 359 | 453
Park Rotana and Park Arjaan Abu Dhabi | 31 | 5 | 2023 | 41400 | 0.2 | 1829.1029 | 1.51 | 296.577 | 7.84 | 326 | 416

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MAY 2023
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 1358906 | 1381900 | 1404713 | 1428341 | 1451216 | 1474556 | 1498544 | 1521901 | 1544932 | 1567377 | 1592841 | 1613827 | 1636797 | 1660545 | 1684304 | 1706542 | 1729010 | 1751748 | 1773991 | 1796777 | 1819725 | 1841740 | 1864385 | 1887257 | 1910370 | 1932243 | 1954218 | 1976754 | 2000240 | 2023534 | 2047017 | 2070342
|  |  |  | 22994 | 22813 | 23628 | 22875 | 23340 | 23988 | 23357 | 23031 | 22445 | 25464 | 20986 | 22970 | 23748 | 23759 | 22238 | 22468 | 22738 | 22243 | 22786 | 22948 | 22015 | 22645 | 22872 | 23113 | 21873 | 21975 | 22536 | 23486 | 23294 | 23483 | 23325
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 870735 | 889763 | 909454 | 929126 | 942987 | 962723 | 982691 | 1002903 | 1023063 | 1043459 | 1066216 | 1089930 | 1111298 | 1131180 | 1151969 | 1170868 | 1189241 | 1209943 | 1242843 | 1278144 | 1307325 | 1327166 | 1347787 | 1368907 | 1390601 | 1411205 | 1437830 | 1466747 | 1488068 | 1510706 | 1535422 | 1560251
|  |  |  | 19028 | 19691 | 19672 | 13861 | 19736 | 19968 | 20212 | 20160 | 20396 | 22757 | 23714 | 21368 | 19882 | 20789 | 18899 | 18373 | 20702 | 32900 | 35301 | 29181 | 19841 | 20621 | 21120 | 21694 | 20604 | 26625 | 28917 | 21321 | 22638 | 24716 | 24829
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 598070 | 609291 | 622024 | 634933 | 652155 | 664045 | 675624 | 688308 | 701036 | 714381 | 729794 | 736303 | 749610 | 768156 | 783878 | 801863 | 820113 | 838098 | 841763 | 845589 | 855568 | 875266 | 895467 | 915393 | 935490 | 954322 | 967935 | 979350 | 998512 | 1016741 | 1036297 | 1055788
|  |  |  | 11221 | 12733 | 12909 | 17222 | 11890 | 11579 | 12684 | 12728 | 13345 | 15413 | 6509 | 13307 | 18546 | 15722 | 17985 | 18250 | 17985 | 3665 | 3826 | 9979 | 19698 | 20201 | 19926 | 20097 | 18832 | 13613 | 11415 | 19162 | 18229 | 19556 | 19491
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3151 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152 | 3152
|  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 401 | 401 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 402 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403 | 403
|  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1299186 | 1299456 | 1299706 | 1299988 | 1300315 | 1300587 | 1300887 | 1301196 | 1301458 | 1301794 | 1302071 | 1302366 | 1302650 | 1302949 | 1303261 | 1303563 | 1303865 | 1304194 | 1304479 | 1304785 | 1305079 | 1305368 | 1305649 | 1305964 | 1306278 | 1306614 | 1306900 | 1307194 | 1307504 | 1307777 | 1308073 | 1308375
|  |  |  | 270 | 250 | 282 | 327 | 272 | 300 | 309 | 262 | 336 | 277 | 295 | 284 | 299 | 312 | 302 | 302 | 329 | 285 | 306 | 294 | 289 | 281 | 315 | 314 | 336 | 286 | 294 | 310 | 273 | 296 | 302
14 | E5T09D034327 | Hotel Gym S (Kwh) | 358715 | 358757 | 358799 | 358842 | 358884 | 358929 | 358973 | 359016 | 359061 | 359106 | 359154 | 359193 | 359235 | 359280 | 359326 | 359369 | 359413 | 359458 | 359503 | 359546 | 359593 | 359637 | 359684 | 359731 | 359779 | 359827 | 359874 | 359926 | 359973 | 360018 | 360063 | 360108
|  |  |  | 42 | 42 | 43 | 42 | 45 | 44 | 43 | 45 | 45 | 48 | 39 | 42 | 45 | 46 | 43 | 44 | 45 | 45 | 43 | 47 | 44 | 47 | 47 | 48 | 48 | 47 | 52 | 47 | 45 | 45 | 45
| Total Daily Consumption (kw) |  |  | 35406.6 | 36075.6 | 36985.4 | 35677.2 | 36307.4 | 36950.8 | 36867.4 | 36493.2 | 36322.4 | 41057 | 33409.2 | 37166 | 39463.2 | 38721.4 | 37336.6 | 37463.2 | 38587.8 | 37199 | 38785.8 | 38953 | 38163.6 | 39301.8 | 39652.4 | 40191.4 | 38031.4 | 38403.2 | 39014.8 | 40036.2 | 39958.8 | 41532.8 | 41400
| Total Monthly Consumption (kw) |  |  | 1: 1180914.6
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MAY 2023
LAST MONTH'S FINAL READING | 56702.19
1 |  | 1829.1029
2 |  | 1829.1029
3 |  | 1829.1029
4 |  | 1829.1029
5 |  | 1829.1029
6 |  | 1829.1029
7 |  | 1829.1029
8 |  | 1829.1029
9 |  | 1829.1029
10 |  | 1829.1029
11 |  | 1829.1029
12 |  | 1829.1029
13 |  | 1829.1029
14 |  | 1829.1029
15 |  | 1829.1029
16 |  | 1829.1029
17 |  | 1829.1029
18 |  | 1829.1029
19 |  | 1829.1029
20 |  | 1829.1029
21 |  | 1829.1029
22 |  | 1829.1029
23 |  | 1829.1029
24 |  | 1829.1029
25 |  | 1829.1029
26 |  | 1829.1029
27 |  | 1829.1029
28 |  | 1829.1029
29 |  | 1829.1029
30 |  | 1829.1029
31 |  | 1829.1029
TOTAL Consumption |  | 56702.19
Note on B30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: No reading

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MAY 2023
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 3239 | 3304 | 3304 | 3304 | 3336 | 3648 | 4352 | 4454 | 4980 | 5168 | 5435 | 5621 | 5781 | 6014 | 6204 | 6418 | 6624 | 6805 | 7002 | 7188 | 7334 | 7538 | 7707 | 7899 | 8099 | 8316 | 8495 | 8729 | 8954 | 9109 | 9319 | 9491
|  |  |  | 65 | 0 | 0 | 32 | 312 | 704 | 102 | 526 | 188 | 267 | 186 | 160 | 233 | 190 | 214 | 206 | 181 | 197 | 186 | 146 | 204 | 169 | 192 | 200 | 217 | 179 | 234 | 225 | 155 | 210 | 172
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 383022 | 383117.9 | 383213 | 383270.33 | 383320.7 | 383371.5 | 383463.6 | 383617.8 | 383781.1 | 383901.8 | 384032.3 | 384162.6 | 384222.6 | 384389.7 | 384520.1 | 384603.7 | 384816.8 | 384937 | 385020.5 | 385150.9 | 385257.5 | 385390.3 | 385533.6 | 385626.8 | 385835.4 | 385985.4 | 386044.7 | 386163.9 | 386326.2 | 386564.3 | 386746.7 | 386917.4
|  |  |  | 95.9 | 95.1 | 57.33 | 50.37 | 50.8 | 92.1 | 154.2 | 163.3 | 120.7 | 130.5 | 130.3 | 60 | 167.1 | 130.4 | 83.6 | 213.1 | 120.2 | 83.5 | 130.4 | 106.6 | 132.8 | 143.3 | 93.2 | 208.6 | 150 | 59.3 | 119.2 | 162.3 | 238.1 | 182.4 | 170.7
4 | 2045000686(Sub Meter) | Irrigation water Tank | 46677 | 46819 | 46851 | 46887 | 46997 | 46997 | 47103 | 47390 | 47669 | 47815 | 47943 | 48099 | 48099 | 48269 | 48410 | 48440 | 48723 | 48837 | 48992 | 48992 | 49164 | 49306 | 49405 | 49544 | 49636 | 49791 | 49791 | 49953 | 50072 | 50224 | 50367 | 50467
|  |  |  | 142 | 32 | 36 | 110 | 0 | 106 | 287 | 279 | 146 | 128 | 156 | 0 | 170 | 141 | 30 | 283 | 114 | 155 | 0 | 172 | 142 | 99 | 139 | 92 | 155 | 0 | 162 | 119 | 152 | 143 | 100
5 | 68864837 | Hotel & Arjaan Spa | 1324.338 | 1330.378 | 1333.405 | 1335.483 | 1340.248 | 1345.281 | 1349.326 | 1352.399 | 1354.167 | 1358.087 | 1363.553 | 1367.63 | 1370.7 | 1377.668 | 1379.564 | 1381.602 | 1383.218 | 1384.944 | 1387.46 | 1388.485 | 1390.905 | 1392.242 | 1400.318 | 1402.211 | 1402.918 | 1404.893 | 1407.481 | 1409.238 | 1411.021 | 1413.268 | 1414.179 | 1415.812
|  |  |  | 6.04 | 3.027 | 2.078 | 4.765 | 5.033 | 4.045 | 3.073 | 1.768 | 3.92 | 5.466 | 4.077 | 3.07 | 6.968 | 1.896 | 2.038 | 1.616 | 1.726 | 2.516 | 1.025 | 2.42 | 1.337 | 8.076 | 1.893 | 0.707 | 1.975 | 2.588 | 1.757 | 1.783 | 2.247 | 0.911 | 1.633
6 | 65296485 | Hotel & Arjaan Gym | 1509.426 | 1510.863 | 1512.155 | 1512.898 | 1518.758 | 1521.8 | 1527.671 | 1527.967 | 1529.777 | 1530.973 | 1535.437 | 1540.233 | 1540.27 | 1544.036 | 1547.293 | 1549.813 | 1555.114 | 1559.12 | 1567.38 | 1571.488 | 1573.473 | 1574.94 | 1577.157 | 1578.531 | 1579.204 | 1579.834 | 1581.9 | 1584.584 | 1591.26 | 1596.634 | 1604.438 | 1605.567
|  |  |  | 1.437 | 1.292 | 0.743 | 5.86 | 3.042 | 5.871 | 0.296 | 1.81 | 1.196 | 4.464 | 4.796 | 0.037 | 3.766 | 3.257 | 2.52 | 5.301 | 4.006 | 8.26 | 4.108 | 1.985 | 1.467 | 2.217 | 1.374 | 0.673 | 0.63 | 2.066 | 2.684 | 6.676 | 5.374 | 7.804 | 1.129
| Total Daily Consumption (m3) |  |  | 179.532 | 61.514 | 44.8195 | 114.7915 | 342.935 | 803.061 | 303.909 | 728.613 | 313.131 | 393.255 | 323.708 | 190.107 | 395.429 | 317.283 | 269.678 | 436.162 | 292.122 | 315.101 | 249.813 | 275.775 | 330.464 | 288.328 | 299.757 | 336.65 | 356.855 | 210.339 | 364.981 | 360.044 | 338.166 | 365.145 | 296.577
| Total Monthly Consumption (m3) |  |  | 1: 9898.045
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## Occupied & No. of Guest
Occupied Room & Number of Guest May 2023
Date | Occupied | # Guest
2023-05-01 | 261 | 334
2023-05-02 | 273 | 354
2023-05-03 | 356 | 473
2023-05-04 | 345 | 485
2023-05-05 | 322 | 488
2023-05-06 | 355 | 546
2023-05-07 | 348 | 497
2023-05-08 | 418 | 570
2023-05-09 | 403 | 513
2023-05-10 | 436 | 574
2023-05-11 | 335 | 459
2023-05-12 | 287 | 424
2023-05-13 | 334 | 486
2023-05-14 | 411 | 552
2023-05-15 | 471 | 603
2023-05-16 | 464 | 579
2023-05-17 | 469 | 600
2023-05-18 | 375 | 506
2023-05-19 | 242 | 357
2023-05-20 | 270 | 408
2023-05-21 | 343 | 456
2023-05-22 | 407 | 508
2023-05-23 | 448 | 563
2023-05-24 | 410 | 528
2023-05-25 | 391 | 569
2023-05-26 | 396 | 595
2023-05-27 | 427 | 618
2023-05-28 | 260 | 342
2023-05-29 | 310 | 409
2023-05-30 | 359 | 453
2023-05-31 | 326 | 416
TOTAL MTD | 11252 | 15265