## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 3 | 2022 | 28504 | 0.2 | 2144.7819 | 2.21 | 298.279 | 7.84 | 483 | 651
Park Rotana and Park Arjaan Abu Dhabi | 2 | 3 | 2022 | 28907 | 0.2 | 2144.7819 | 2.21 | 275.327 | 7.84 | 467 | 593
Park Rotana and Park Arjaan Abu Dhabi | 3 | 3 | 2022 | 30297 | 0.2 | 2144.7819 | 2.21 | 368.177 | 7.84 | 444 | 540
Park Rotana and Park Arjaan Abu Dhabi | 4 | 3 | 2022 | 30498 | 0.2 | 2144.7819 | 2.21 | 313.2 | 7.84 | 438 | 566
Park Rotana and Park Arjaan Abu Dhabi | 5 | 3 | 2022 | 30317 | 0.2 | 2144.7819 | 2.21 | 349.075 | 7.84 | 409 | 524
Park Rotana and Park Arjaan Abu Dhabi | 6 | 3 | 2022 | 28920 | 0.2 | 2144.7819 | 2.21 | 246.75 | 7.84 | 381 | 436
Park Rotana and Park Arjaan Abu Dhabi | 7 | 3 | 2022 | 31708 | 0.2 | 2144.7819 | 2.21 | 357.91 | 7.84 | 450 | 517
Park Rotana and Park Arjaan Abu Dhabi | 8 | 3 | 2022 | 32509 | 0.2 | 2144.7819 | 2.21 | 290.122 | 7.84 | 465 | 540
Park Rotana and Park Arjaan Abu Dhabi | 9 | 3 | 2022 | 30510 | 0.2 | 2144.7819 | 2.21 | 352.416 | 7.84 | 474 | 585
Park Rotana and Park Arjaan Abu Dhabi | 10 | 3 | 2022 | 33308 | 0.2 | 2144.7819 | 2.21 | 379.016 | 7.84 | 415 | 497
Park Rotana and Park Arjaan Abu Dhabi | 11 | 3 | 2022 | 31704 | 0.2 | 2144.7819 | 2.21 | 283.8 | 7.84 | 370 | 463
Park Rotana and Park Arjaan Abu Dhabi | 12 | 3 | 2022 | 32317 | 0.2 | 2144.7819 | 2.21 | 358.858 | 7.84 | 379 | 483
Park Rotana and Park Arjaan Abu Dhabi | 13 | 3 | 2022 | 34544 | 0.2 | 2144.7819 | 2.21 | 333.956 | 7.84 | 366 | 421
Park Rotana and Park Arjaan Abu Dhabi | 14 | 3 | 2022 | 33457 | 0.2 | 2144.7819 | 2.21 | 338.363 | 7.84 | 426 | 483
Park Rotana and Park Arjaan Abu Dhabi | 15 | 3 | 2022 | 33909 | 0.2 | 2144.7819 | 2.21 | 363.64 | 7.84 | 441 | 531
Park Rotana and Park Arjaan Abu Dhabi | 16 | 3 | 2022 | 35912 | 0.2 | 2144.7819 | 2.21 | 349.79 | 7.84 | 459 | 571
Park Rotana and Park Arjaan Abu Dhabi | 17 | 3 | 2022 | 31510 | 0.2 | 2144.7819 | 2.21 | 330.76 | 7.84 | 433 | 528
Park Rotana and Park Arjaan Abu Dhabi | 18 | 3 | 2022 | 32722 | 0.2 | 2144.7819 | 2.21 | 345.732 | 7.84 | 396 | 477
Park Rotana and Park Arjaan Abu Dhabi | 19 | 3 | 2022 | 30299 | 0.2 | 2144.7819 | 2.21 | 319.682 | 7.84 | 389 | 462
Park Rotana and Park Arjaan Abu Dhabi | 20 | 3 | 2022 | 31099 | 0.2 | 2144.7819 | 2.21 | 259.175 | 7.84 | 377 | 435
Park Rotana and Park Arjaan Abu Dhabi | 21 | 3 | 2022 | 30701 | 0.2 | 2144.7819 | 2.21 | 327.789 | 7.84 | 366 | 421
Park Rotana and Park Arjaan Abu Dhabi | 22 | 3 | 2022 | 32264 | 0.2 | 2144.7819 | 2.21 | 238.162 | 7.84 | 420 | 512
Park Rotana and Park Arjaan Abu Dhabi | 23 | 3 | 2022 | 32886 | 0.2 | 2144.7819 | 2.21 | 282.432 | 7.84 | 440 | 546
Park Rotana and Park Arjaan Abu Dhabi | 24 | 3 | 2022 | 32706 | 0.2 | 2144.7819 | 2.21 | 361.814 | 7.84 | 365 | 428
Park Rotana and Park Arjaan Abu Dhabi | 25 | 3 | 2022 | 33452 | 0.2 | 2144.7819 | 2.21 | 291.24 | 7.84 | 398 | 522
Park Rotana and Park Arjaan Abu Dhabi | 26 | 3 | 2022 | 35272 | 0.2 | 2144.7819 | 2.21 | 400.468 | 7.84 | 444 | 598
Park Rotana and Park Arjaan Abu Dhabi | 27 | 3 | 2022 | 32269 | 0.2 | 2144.7819 | 2.21 | 326.041 | 7.84 | 375 | 464
Park Rotana and Park Arjaan Abu Dhabi | 28 | 3 | 2022 | 32065 | 0.2 | 2144.7819 | 2.21 | 396.359 | 7.84 | 387 | 461
Park Rotana and Park Arjaan Abu Dhabi | 29 | 3 | 2022 | 29678 | 0.2 | 2144.7819 | 2.21 | 279.79 | 7.84 | 426 | 537
Park Rotana and Park Arjaan Abu Dhabi | 30 | 3 | 2022 | 31856 | 0.2 | 2144.7819 | 2.21 | 343.951 | 7.84 | 427 | 531
Park Rotana and Park Arjaan Abu Dhabi | 31 | 3 | 2022 | 31056 | 0.2 | 2144.7819 | 2.21 | 343.889 | 7.84 | 374 | 444

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MARCH 2022
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 85467 | 85488 | 85509 | 85531 | 85554 | 85576 | 85597 | 85620 | 85643 | 85664 | 85687 | 85708 | 85730 | 85753 | 85775 | 85797 | 85821 | 85843 | 85867 | 85889 | 85911 | 85933 | 85955 | 85978 | 86000 | 86022 | 86045 | 86067 | 86090 | 86111 | 86133 | 86155
|  |  |  | 21000 | 21000 | 22000 | 23000 | 22000 | 21000 | 23000 | 23000 | 21000 | 23000 | 21000 | 22000 | 23000 | 22000 | 22000 | 24000 | 22000 | 24000 | 22000 | 22000 | 22000 | 22000 | 23000 | 22000 | 22000 | 23000 | 22000 | 23000 | 21000 | 22000 | 22000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 98040 | 98043 | 98047 | 98051 | 98054 | 98058 | 98062 | 98066 | 98070 | 98075 | 98081 | 98089 | 98096 | 98104 | 98113 | 98121 | 98130 | 98131 | 98133 | 98136 | 98139 | 98142 | 98149 | 98154 | 98162 | 98173 | 98185 | 98193 | 98196 | 98198 | 98206 | 98226
|  |  |  | 3000 | 4000 | 4000 | 3000 | 4000 | 4000 | 4000 | 4000 | 5000 | 6000 | 8000 | 7000 | 8000 | 9000 | 8000 | 9000 | 1000 | 2000 | 3000 | 3000 | 3000 | 7000 | 5000 | 8000 | 11000 | 12000 | 8000 | 3000 | 2000 | 8000 | 20000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 83585 | 83600 | 83615 | 83631 | 83646 | 83662 | 83677 | 83694 | 83713 | 83731 | 83750 | 83768 | 83786 | 83806 | 83824 | 83845 | 83865 | 83887 | 83906 | 83923 | 83942 | 83960 | 83978 | 83997 | 84015 | 84032 | 84050 | 84067 | 84086 | 84105 | 84121 | 84123
|  |  |  | 15000 | 15000 | 16000 | 15000 | 16000 | 15000 | 17000 | 19000 | 18000 | 19000 | 18000 | 18000 | 20000 | 18000 | 21000 | 20000 | 22000 | 19000 | 17000 | 19000 | 18000 | 18000 | 19000 | 18000 | 17000 | 18000 | 17000 | 19000 | 19000 | 16000 | 2000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3090 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093 | 3093
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 357 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 357 | 358 | 358 | 358 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359 | 359
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1187592 | 1187859 | 1188133 | 1188394 | 1188657 | 1188940 | 1189225 | 1189495 | 1189767 | 1190040 | 1190313 | 1190582 | 1190859 | 1191163 | 1191424 | 1191695 | 1191968 | 1192241 | 1192523 | 1192784 | 1193045 | 1193308 | 1193533 | 1193784 | 1194054 | 1194274 | 1194514 | 1194745 | 1194977 | 1195220 | 1195445 | 1195669
|  |  |  | 267 | 274 | 261 | 263 | 283 | 285 | 270 | 272 | 273 | 273 | 269 | 277 | 304 | 261 | 271 | 273 | 273 | 282 | 261 | 261 | 263 | 225 | 251 | 270 | 220 | 240 | 231 | 232 | 243 | 225 | 224
14 | E5T09D034327 | Hotel Gym S (Kwh) | 340853 | 340890 | 340923 | 340959 | 340994 | 341028 | 341063 | 341101 | 341138 | 341175 | 341210 | 341245 | 341285 | 341325 | 341364 | 341401 | 341440 | 341477 | 341513 | 341551 | 341589 | 341627 | 341666 | 341701 | 341737 | 341769 | 341801 | 341839 | 341872 | 341907 | 341938 | 341970
|  |  |  | 37 | 33 | 36 | 35 | 34 | 35 | 38 | 37 | 37 | 35 | 35 | 40 | 40 | 39 | 37 | 39 | 37 | 36 | 38 | 38 | 38 | 39 | 35 | 36 | 32 | 32 | 38 | 33 | 35 | 31 | 32
| Total Daily Consumption (kw) |  |  | 28504 | 28907 | 30297 | 30498 | 30317 | 28920 | 31708 | 32509 | 30510 | 33308 | 31704 | 32317 | 34544 | 33457 | 33909 | 35912 | 31510 | 32722 | 30299 | 31099 | 30701 | 32264 | 32886 | 32706 | 33452 | 35272 | 32269 | 32065 | 29678 | 31856 | 31056
| Total Monthly Consumption (kw) |  |  | 1: 987156
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MARCH 2022
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 296094.9 | 296300.7 | 296509.3 | 296741.8 | 296984.8 | 297214 | 297410.5 | 297616.4 | 297825.4 | 298030.5 | 298247.2 | 298444.4 | 298630 | 298823.8 | 299010.4 | 299192 | 299421.3 | 299623.3 | 299853.9 | 300044.7 | 300232.4 | 300416.6 | 300591.3 | 300777.7 | 300966.7 | 301163.4 | 301403.2 | 301630.9 | 301851.9 | 302048.3 | 302240.1 | 302431
|  |  |  | 205.8 | 208.6 | 232.5 | 243 | 229.2 | 196.5 | 205.9 | 209 | 205.1 | 216.7 | 197.2 | 185.6 | 193.8 | 186.6 | 181.6 | 229.3 | 202 | 230.6 | 190.8 | 187.7 | 184.2 | 174.7 | 186.4 | 189 | 196.7 | 239.8 | 227.7 | 221 | 196.4 | 191.8 | 190.9
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 339476.8 | 339626 | 339747.5 | 339943.8 | 340075.5 | 340264.9 | 340369.2 | 340603.3 | 340760.7 | 340990.6 | 341241.3 | 341418.7 | 341707.4 | 341959.1 | 342231.5 | 342518.4 | 342751.2 | 343011.5 | 343166 | 343353.4 | 343486.9 | 343711.9 | 343845.1 | 344014.5 | 344277.6 | 344457.6 | 344712.9 | 344887.1 | 345141.2 | 345287.1 | 345508 | 345731.2
|  |  |  | 149.2 | 121.5 | 196.3 | 131.7 | 189.4 | 104.3 | 234.1 | 157.4 | 229.9 | 250.7 | 177.4 | 288.7 | 251.7 | 272.4 | 286.9 | 232.8 | 260.3 | 154.5 | 187.4 | 133.5 | 225 | 133.2 | 169.4 | 263.1 | 180 | 255.3 | 174.2 | 254.1 | 145.9 | 220.9 | 223.2
4 | 2045000686(Sub Meter) | Irrigation water Tank | 5345 | 5377 | 5395 | 5493 | 5507 | 5582 | 5583 | 5683 | 5702 | 5791 | 5899 | 5911 | 5998 | 6048 | 6110 | 6221 | 6253 | 6270 | 6368 | 6467 | 6483 | 6574 | 6577 | 6612 | 6730 | 6746 | 6847 | 6876 | 7001 | 7032 | 7140 | 7250
|  |  |  | 32 | 18 | 98 | 14 | 75 | 1 | 100 | 19 | 89 | 108 | 12 | 87 | 50 | 62 | 111 | 32 | 17 | 98 | 99 | 16 | 91 | 3 | 35 | 118 | 16 | 101 | 29 | 125 | 31 | 108 | 110
5 | 68864837 | Hotel & Arjaan Spa | 483.09 | 484.109 | 485.003 | 486.228 | 488.037 | 488.487 | 489.318 | 490.026 | 490.915 | 492.254 | 492.879 | 493.684 | 495.433 | 497.23 | 497.809 | 499.237 | 499.808 | 500.722 | 501.547 | 501.549 | 503.604 | 504.329 | 505.806 | 506.935 | 507.494 | 509.891 | 510.155 | 511.971 | 514.127 | 516.743 | 518.547 | 520.189
|  |  |  | 1.019 | 0.894 | 1.225 | 1.809 | 0.45 | 0.831 | 0.708 | 0.889 | 1.339 | 0.625 | 0.805 | 1.749 | 1.797 | 0.579 | 1.428 | 0.571 | 0.914 | 0.825 | 0.002 | 2.055 | 0.725 | 1.477 | 1.129 | 0.559 | 2.397 | 0.264 | 1.816 | 2.156 | 2.616 | 1.804 | 1.642
6 | 65296485 | Hotel & Arjaan Gym | 630.866 | 640.786 | 643.844 | 645.861 | 648.687 | 649.132 | 651.166 | 652.123 | 652.976 | 655.448 | 655.724 | 656.289 | 658.733 | 661.327 | 662.031 | 663.588 | 664.347 | 667.408 | 668.09 | 668.09 | 670.235 | 670.899 | 671.594 | 674.517 | 675.277 | 679.22 | 679.289 | 684.374 | 686.982 | 688.151 | 690.493 | 691.9
|  |  |  | 9.92 | 3.058 | 2.017 | 2.826 | 0.445 | 2.034 | 0.957 | 0.853 | 2.472 | 0.276 | 0.565 | 2.444 | 2.594 | 0.704 | 1.557 | 0.759 | 3.061 | 0.682 | 0 | 2.145 | 0.664 | 0.695 | 2.923 | 0.76 | 3.943 | 0.069 | 5.085 | 2.608 | 1.169 | 2.342 | 1.407
| Total Daily Consumption (m3) |  |  | 298.279 | 275.327 | 368.177 | 313.2 | 349.075 | 246.75 | 357.91 | 290.122 | 352.416 | 379.016 | 283.8 | 358.858 | 333.956 | 338.363 | 363.64 | 349.79 | 330.76 | 345.732 | 319.682 | 259.175 | 327.789 | 238.162 | 282.432 | 361.814 | 291.24 | 400.468 | 326.041 | 396.359 | 279.79 | 343.951 | 343.889
| Total Monthly Consumption (m3) |  |  | 1: 10105.963
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MARCH 2023
LAST MONTH'S FINAL READING | 66488.24
1 |  | 2144.7819
2 |  | 2144.7819
3 |  | 2144.7819
4 |  | 2144.7819
5 |  | 2144.7819
6 |  | 2144.7819
7 |  | 2144.7819
8 |  | 2144.7819
9 |  | 2144.7819
10 |  | 2144.7819
11 |  | 2144.7819
12 |  | 2144.7819
13 |  | 2144.7819
14 |  | 2144.7819
15 |  | 2144.7819
16 |  | 2144.7819
17 |  | 2144.7819
18 |  | 2144.7819
19 |  | 2144.7819
20 |  | 2144.7819
21 |  | 2144.7819
22 |  | 2144.7819
23 |  | 2144.7819
24 |  | 2144.7819
25 |  | 2144.7819
26 |  | 2144.7819
27 |  | 2144.7819
28 |  | 2144.7819
29 |  | 2144.7819
30 |  | 2144.7819
31 |  | 2144.7819
TOTAL Consumption |  | 66488.24

## Occupied & No. of Guest
Occupied Room & Number of Guest March 2022
Date | Occupied | # Guest
2022-03-01 | 483 | 651
2022-03-02 | 467 | 593
2022-03-03 | 444 | 540
2022-03-04 | 438 | 566
2022-03-05 | 409 | 524
2022-03-06 | 381 | 436
2022-03-07 | 450 | 517
2022-03-08 | 465 | 540
2022-03-09 | 474 | 585
2022-03-10 | 415 | 497
2022-03-11 | 370 | 463
2022-03-12 | 379 | 483
2022-03-13 | 366 | 421
2022-03-14 | 426 | 483
2022-03-15 | 441 | 531
2022-03-16 | 459 | 571
2022-03-17 | 433 | 528
2022-03-18 | 396 | 477
2022-03-19 | 389 | 462
2022-03-20 | 377 | 435
2022-03-21 | 366 | 421
2022-03-22 | 420 | 512
2022-03-23 | 440 | 546
2022-03-24 | 365 | 428
2022-03-25 | 398 | 522
2022-03-26 | 444 | 598
2022-03-27 | 375 | 464
2022-03-28 | 387 | 461
2022-03-29 | 426 | 537
2022-03-30 | 427 | 531
2022-03-31 | 374 | 444
TOTAL MTD | 12884 | 15767