## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 12 | 2022 | 35920 | 0.2 | 2394.4616 | 1.6547 | 306.265 | 7.84 | 378 | 552
Park Rotana and Park Arjaan Abu Dhabi | 2 | 12 | 2022 | 36913 | 0.2 | 2394.4616 | 1.6547 | 237.595 | 7.84 | 462 | 690
Park Rotana and Park Arjaan Abu Dhabi | 3 | 12 | 2022 | 35928 | 0.2 | 2394.4616 | 1.6547 | 259.678 | 7.84 | 415 | 590
Park Rotana and Park Arjaan Abu Dhabi | 4 | 12 | 2022 | 35539 | 0.2 | 2394.4616 | 1.6547 | 280.708 | 7.84 | 365 | 484
Park Rotana and Park Arjaan Abu Dhabi | 5 | 12 | 2022 | 35924 | 0.2 | 2394.4616 | 1.6547 | 241.219 | 7.84 | 433 | 550
Park Rotana and Park Arjaan Abu Dhabi | 6 | 12 | 2022 | 36130 | 0.2 | 2394.4616 | 1.6547 | 316.395 | 7.84 | 433 | 552
Park Rotana and Park Arjaan Abu Dhabi | 7 | 12 | 2022 | 36532 | 0.2 | 2394.4616 | 1.6547 | 225.53 | 7.84 | 446 | 557
Park Rotana and Park Arjaan Abu Dhabi | 8 | 12 | 2022 | 36520 | 0.2 | 2394.4616 | 1.6547 | 395.1 | 7.84 | 427 | 563
Park Rotana and Park Arjaan Abu Dhabi | 9 | 12 | 2022 | 35306 | 0.2 | 2394.4616 | 1.6547 | 278.47 | 7.84 | 356 | 475
Park Rotana and Park Arjaan Abu Dhabi | 10 | 12 | 2022 | 32506 | 0.2 | 2394.4616 | 1.6547 | 374.76 | 7.84 | 365 | 513
Park Rotana and Park Arjaan Abu Dhabi | 11 | 12 | 2022 | 31134 | 0.2 | 2394.4616 | 1.6547 | 260.84 | 7.84 | 316 | 428
Park Rotana and Park Arjaan Abu Dhabi | 12 | 12 | 2022 | 30727 | 0.2 | 2394.4616 | 1.6547 | 296.425 | 7.84 | 295 | 396
Park Rotana and Park Arjaan Abu Dhabi | 13 | 12 | 2022 | 32093 | 0.2 | 2394.4616 | 1.6547 | 245.75 | 7.84 | 300 | 415
Park Rotana and Park Arjaan Abu Dhabi | 14 | 12 | 2022 | 31512 | 0.2 | 2394.4616 | 1.6547 | 296.225 | 7.84 | 321 | 427
Park Rotana and Park Arjaan Abu Dhabi | 15 | 12 | 2022 | 31508 | 0.2 | 2394.4616 | 1.6547 | 352.055 | 7.84 | 297 | 433
Park Rotana and Park Arjaan Abu Dhabi | 16 | 12 | 2022 | 32909 | 0.2 | 2394.4616 | 1.6547 | 350.2 | 7.84 | 282 | 436
Park Rotana and Park Arjaan Abu Dhabi | 17 | 12 | 2022 | 31930 | 0.2 | 2394.4616 | 1.6547 | 418.867 | 7.84 | 282 | 421
Park Rotana and Park Arjaan Abu Dhabi | 18 | 12 | 2022 | 32134 | 0.2 | 2394.4616 | 1.6547 | 356.618 | 7.84 | 262 | 391
Park Rotana and Park Arjaan Abu Dhabi | 19 | 12 | 2022 | 31126 | 0.2 | 2394.4616 | 1.6547 | 430.31 | 7.84 | 334 | 509
Park Rotana and Park Arjaan Abu Dhabi | 20 | 12 | 2022 | 32526 | 0.2 | 2394.4616 | 1.6547 | 252.755 | 7.84 | 288 | 442
Park Rotana and Park Arjaan Abu Dhabi | 21 | 12 | 2022 | 29313 | 0.2 | 2394.4616 | 1.6547 | 314.1 | 7.84 | 254 | 373
Park Rotana and Park Arjaan Abu Dhabi | 22 | 12 | 2022 | 29926 | 0.2 | 2394.4616 | 1.6547 | 370.25 | 7.84 | 246 | 378
Park Rotana and Park Arjaan Abu Dhabi | 23 | 12 | 2022 | 31344 | 0.2 | 2394.4616 | 1.6547 | 278.96 | 7.84 | 317 | 496
Park Rotana and Park Arjaan Abu Dhabi | 24 | 12 | 2022 | 32719 | 0.2 | 2394.4616 | 1.6547 | 288.74 | 7.84 | 276 | 452
Park Rotana and Park Arjaan Abu Dhabi | 25 | 12 | 2022 | 32117 | 0.2 | 2394.4616 | 1.6547 | 313.095 | 7.84 | 257 | 396
Park Rotana and Park Arjaan Abu Dhabi | 26 | 12 | 2022 | 33115 | 0.2 | 2394.4616 | 1.6547 | 290.125 | 7.84 | 353 | 558
Park Rotana and Park Arjaan Abu Dhabi | 27 | 12 | 2022 | 28509 | 0.2 | 2394.4616 | 1.6547 | 200.395 | 7.84 | 341 | 527
Park Rotana and Park Arjaan Abu Dhabi | 28 | 12 | 2022 | 29104 | 0.2 | 2394.4616 | 1.6547 | 263.485 | 7.84 | 346 | 549
Park Rotana and Park Arjaan Abu Dhabi | 29 | 12 | 2022 | 28130 | 0.2 | 2394.4616 | 1.6547 | 282.907 | 7.84 | 350 | 549
Park Rotana and Park Arjaan Abu Dhabi | 30 | 12 | 2022 | 29518 | 0.2 | 2394.4616 | 1.6547 | 227.375 | 7.84 | 301 | 461
Park Rotana and Park Arjaan Abu Dhabi | 31 | 12 | 2022 | 30525 | 0.2 | 2394.4616 | 1.6547 | 308.762 | 7.84 | 302 | 481

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION DECEMBER 2022
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 91762 | 91784 | 91807 | 91829 | 91851 | 91873 | 91896 | 91919 | 91942 | 91965 | 91988 | 92010 | 92032 | 92055 | 92077 | 92099 | 92122 | 92144 | 92167 | 92189 | 92212 | 92233 | 92255 | 92278 | 92302 | 92325 | 92349 | 92370 | 92392 | 92413 | 92435 | 92458
|  |  |  | 22000 | 23000 | 22000 | 22000 | 22000 | 23000 | 23000 | 23000 | 23000 | 23000 | 22000 | 22000 | 23000 | 22000 | 22000 | 23000 | 22000 | 23000 | 22000 | 23000 | 21000 | 22000 | 23000 | 24000 | 23000 | 24000 | 21000 | 22000 | 21000 | 22000 | 23000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 104365 | 104382 | 104400 | 104417 | 104434 | 104451 | 104467 | 104484 | 104500 | 104514 | 104524 | 104540 | 104553 | 104561 | 104570 | 104578 | 104587 | 104593 | 104600 | 104612 | 104634 | 104653 | 104671 | 104689 | 104709 | 104730 | 104740 | 104748 | 104763 | 104778 | 104793 | 104809
|  |  |  | 17000 | 18000 | 17000 | 17000 | 17000 | 16000 | 17000 | 16000 | 14000 | 10000 | 16000 | 13000 | 8000 | 9000 | 8000 | 9000 | 6000 | 7000 | 12000 | 22000 | 19000 | 18000 | 18000 | 20000 | 21000 | 10000 | 8000 | 15000 | 15000 | 15000 | 16000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 88403 | 88420 | 88436 | 88453 | 88469 | 88486 | 88502 | 88518 | 88535 | 88551 | 88564 | 88570 | 88578 | 88592 | 88606 | 88621 | 88636 | 88654 | 88669 | 88679 | 88680 | 88681 | 88682 | 88684 | 88685 | 88686 | 88698 | 88708 | 88710 | 88712 | 88715 | 88717
|  |  |  | 17000 | 16000 | 17000 | 16000 | 17000 | 16000 | 16000 | 17000 | 16000 | 13000 | 6000 | 8000 | 14000 | 14000 | 15000 | 15000 | 18000 | 15000 | 10000 | 1000 | 1000 | 1000 | 2000 | 1000 | 1000 | 12000 | 10000 | 2000 | 2000 | 3000 | 2000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3121 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122 | 3122
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 381 | 381 | 381 | 381 | 381 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 382 | 383 | 383 | 383 | 383 | 383 | 383 | 383 | 383 | 383 | 383 | 383 | 383
|  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1259307 | 1259579 | 1259845 | 1260127 | 1260424 | 1260704 | 1260990 | 1261278 | 1261555 | 1261818 | 1262081 | 1262372 | 1262660 | 1262914 | 1263186 | 1263453 | 1263718 | 1264006 | 1264298 | 1264586 | 1264868 | 1265141 | 1265429 | 1265733 | 1266015 | 1266291 | 1266562 | 1266833 | 1267098 | 1267386 | 1267664 | 1267948
|  |  |  | 272 | 266 | 282 | 297 | 280 | 286 | 288 | 277 | 263 | 263 | 291 | 288 | 254 | 272 | 267 | 265 | 288 | 292 | 288 | 282 | 273 | 288 | 304 | 282 | 276 | 271 | 271 | 265 | 288 | 278 | 284
14 | E5T09D034327 | Hotel Gym S (Kwh) | 352175 | 352223 | 352270 | 352316 | 352358 | 352401 | 352445 | 352489 | 352532 | 352575 | 352618 | 352661 | 352700 | 352739 | 352779 | 352820 | 352864 | 352906 | 352948 | 352986 | 353028 | 353068 | 353106 | 353146 | 353183 | 353224 | 353268 | 353306 | 353345 | 353387 | 353427 | 353468
|  |  |  | 48 | 47 | 46 | 42 | 43 | 44 | 44 | 43 | 43 | 43 | 43 | 39 | 39 | 40 | 41 | 44 | 42 | 42 | 38 | 42 | 40 | 38 | 40 | 37 | 41 | 44 | 38 | 39 | 42 | 40 | 41
| Total Daily Consumption (kw) |  |  | 35920 | 36913 | 35928 | 35539 | 35924 | 36130 | 36532 | 36520 | 35306 | 32506 | 31134 | 30727 | 32093 | 31512 | 31508 | 32909 | 31930 | 32134 | 31126 | 32526 | 29313 | 29926 | 31344 | 32719 | 32117 | 33115 | 28509 | 29104 | 28130 | 29518 | 30525
| Total Monthly Consumption (kw) |  |  | 1: 1009137
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) DECEMBER 2022
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 346468.2 | 346691.2 | 346907.2 | 347141.2 | 347325.5 | 347541.4 | 347748.8 | 347953.2 | 348262.2 | 348522.1 | 348790 | 349040.2 | 349216.9 | 349446.7 | 349726.2 | 349977.1 | 350308.1 | 350634.1 | 350971.1 | 351288.9 | 351524.4 | 351757.1 | 352040.1 | 352302.1 | 352507.1 | 352801.1 | 352996.1 | 353181.1 | 353430.1 | 353630.4 | 353840.6 | 354051.6
|  |  |  | 223 | 216 | 234 | 184.3 | 215.9 | 207.4 | 204.4 | 309 | 259.9 | 267.9 | 250.2 | 176.7 | 229.8 | 279.5 | 250.9 | 331 | 326 | 337 | 317.8 | 235.5 | 232.7 | 283 | 262 | 205 | 294 | 195 | 185 | 249 | 200.3 | 210.2 | 211
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 373823.4 | 373927.1 | 373966.2 | 374006.2 | 374077 | 374112.1 | 374205.2 | 374243.6 | 374320.6 | 374355.2 | 374461 | 374480.2 | 374582.7 | 374613.7 | 374644.2 | 374730.1 | 374766.1 | 374841.2 | 374872.2 | 374984.2 | 375018.1 | 375085.1 | 375164.1 | 375192.9 | 375266.1 | 375297.1 | 375370.7 | 375393.8 | 375417.1 | 375471.1 | 375494.6 | 375563.4
|  |  |  | 103.7 | 39.1 | 40 | 70.8 | 35.1 | 93.1 | 38.4 | 77 | 34.6 | 105.8 | 19.2 | 102.5 | 31 | 30.5 | 85.9 | 36 | 75.1 | 31 | 112 | 33.9 | 67 | 79 | 28.8 | 73.2 | 31 | 73.6 | 23.1 | 23.3 | 54 | 23.5 | 68.8
4 | 2045000686(Sub Meter) | Irrigation water Tank | 35683 | 35757 | 35757 | 35757 | 35892 | 35892 | 36032 | 36035 | 36146 | 36146 | 36271 | 36271 | 36419 | 36419 | 36419 | 36549 | 36549 | 36670 | 36670 | 36802 | 36802 | 36907 | 37013 | 37013 | 37117 | 37117 | 37244 | 37244 | 37244 | 37357 | 37357 | 37496
|  |  |  | 74 | 0 | 0 | 135 | 0 | 140 | 3 | 111 | 0 | 125 | 0 | 148 | 0 | 0 | 130 | 0 | 121 | 0 | 132 | 0 | 105 | 106 | 0 | 104 | 0 | 127 | 0 | 0 | 113 | 0 | 139
5 | 68864837 | Hotel & Arjaan Spa | 898.6 | 899.9 | 899.9 | 903.767 | 906.323 | 910.9 | 913 | 914 | 915 | 918 | 920 | 922 | 926 | 928 | 929 | 932 | 934 | 936.298 | 939.483 | 941 | 943 | 946 | 949 | 953 | 956 | 958.716 | 961 | 963 | 966 | 969.524 | 972.238 | 973.5
|  |  |  | 1.3 | 0 | 3.867 | 2.556 | 4.577 | 2.1 | 1 | 1 | 3 | 2 | 2 | 4 | 2 | 1 | 3 | 2 | 2.298 | 3.185 | 1.517 | 2 | 3 | 3 | 4 | 3 | 2.716 | 2.284 | 2 | 3 | 3.524 | 2.714 | 1.262
6 | 65296485 | Hotel & Arjaan Gym | 1251 | 1253 | 1257 | 1260.811 | 1262.053 | 1267 | 1269 | 1270.5 | 1271 | 1271 | 1272 | 1272 | 1275 | 1275 | 1277 | 1278 | 1279 | 1281.324 | 1283.807 | 1285 | 1285 | 1286 | 1287 | 1287 | 1288 | 1290.429 | 1293 | 1296 | 1297 | 1300.933 | 1304.819 | 1307.809
|  |  |  | 2 | 4 | 3.811 | 1.242 | 4.947 | 2 | 1.5 | 0.5 | 0 | 1 | 0 | 3 | 0 | 2 | 1 | 1 | 2.324 | 2.483 | 1.193 | 0 | 1 | 1 | 0 | 1 | 2.429 | 2.571 | 3 | 1 | 3.933 | 3.886 | 2.99
| Total Daily Consumption (m3) |  |  | 306.265 | 237.595 | 259.678 | 280.708 | 241.219 | 316.395 | 225.53 | 395.1 | 278.47 | 374.76 | 260.84 | 296.425 | 245.75 | 296.225 | 352.055 | 350.2 | 418.867 | 356.618 | 430.31 | 252.755 | 314.1 | 370.25 | 278.96 | 288.74 | 313.095 | 290.125 | 200.395 | 263.485 | 282.907 | 227.375 | 308.762
| Total Monthly Consumption (m3) |  |  | 1: 9313.959
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) DEEMBER 2022
LAST MONTH'S FINAL READING | 74228.31
1 |  | 2394.4616
2 |  | 2394.4616
3 |  | 2394.4616
4 |  | 2394.4616
5 |  | 2394.4616
6 |  | 2394.4616
7 |  | 2394.4616
8 |  | 2394.4616
9 |  | 2394.4616
10 |  | 2394.4616
11 |  | 2394.4616
12 |  | 2394.4616
13 |  | 2394.4616
14 |  | 2394.4616
15 |  | 2394.4616
16 |  | 2394.4616
17 |  | 2394.4616
18 |  | 2394.4616
19 |  | 2394.4616
20 |  | 2394.4616
21 |  | 2394.4616
22 |  | 2394.4616
23 |  | 2394.4616
24 |  | 2394.4616
25 |  | 2394.4616
26 |  | 2394.4616
27 |  | 2394.4616
28 |  | 2394.4616
29 |  | 2394.4616
30 |  | 2394.4616
31 |  | 2394.4616
TOTAL Consumption |  | 74228.31

## Occupied & No. of Guest
Occupied Room & Number of Guest December 2022
Date | Occupied | # Guest
2022-12-01 | 378 | 552
2022-12-02 | 462 | 690
2022-12-03 | 415 | 590
2022-12-04 | 365 | 484
2022-12-05 | 433 | 550
2022-12-06 | 433 | 552
2022-12-07 | 446 | 557
2022-12-08 | 427 | 563
2022-12-09 | 356 | 475
2022-12-10 | 365 | 513
2022-12-11 | 316 | 428
2022-12-12 | 295 | 396
2022-12-13 | 300 | 415
2022-12-14 | 321 | 427
2022-12-15 | 297 | 433
2022-12-16 | 282 | 436
2022-12-17 | 282 | 421
2022-12-18 | 262 | 391
2022-12-19 | 334 | 509
2022-12-20 | 288 | 442
2022-12-21 | 254 | 373
2022-12-22 | 246 | 378
2022-12-23 | 317 | 496
2022-12-24 | 276 | 452
2022-12-25 | 257 | 396
2022-12-26 | 353 | 558
2022-12-27 | 341 | 527
2022-12-28 | 346 | 549
2022-12-29 | 350 | 549
2022-12-30 | 301 | 461
2022-12-31 | 302 | 481
TOTAL MTD | 10400 | 15044