## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 2 | 2021 | 27600 | 0.2 | 2154.6454 | 1.53 | 178.232 | 7.84 | 163 | 210
Park Rotana and Park Arjaan Abu Dhabi | 2 | 2 | 2021 | 28019 | 0.2 | 2154.6454 | 1.53 | 262.645 | 7.84 | 201 | 267
Park Rotana and Park Arjaan Abu Dhabi | 3 | 2 | 2021 | 28409 | 0.2 | 2154.6454 | 1.53 | 231.593 | 7.84 | 240 | 312
Park Rotana and Park Arjaan Abu Dhabi | 4 | 2 | 2021 | 29407 | 0.2 | 2154.6454 | 1.53 | 234.478 | 7.84 | 243 | 315
Park Rotana and Park Arjaan Abu Dhabi | 5 | 2 | 2021 | 28422 | 0.2 | 2154.6454 | 1.53 | 189.604 | 7.84 | 255 | 326
Park Rotana and Park Arjaan Abu Dhabi | 6 | 2 | 2021 | 27420 | 0.2 | 2154.6454 | 1.53 | 265.661 | 7.84 | 255 | 325
Park Rotana and Park Arjaan Abu Dhabi | 7 | 2 | 2021 | 29006 | 0.2 | 2154.6454 | 1.53 | 291.82 | 7.84 | 282 | 355
Park Rotana and Park Arjaan Abu Dhabi | 8 | 2 | 2021 | 29809 | 0.2 | 2154.6454 | 1.53 | 290.409 | 7.84 | 314 | 397
Park Rotana and Park Arjaan Abu Dhabi | 9 | 2 | 2021 | 28408 | 0.2 | 2154.6454 | 1.53 | 251.307 | 7.84 | 330 | 414
Park Rotana and Park Arjaan Abu Dhabi | 10 | 2 | 2021 | 29814 | 0.2 | 2154.6454 | 1.53 | 347.769 | 7.84 | 355 | 451
Park Rotana and Park Arjaan Abu Dhabi | 11 | 2 | 2021 | 30398 | 0.2 | 2154.6454 | 1.53 | 352.134 | 7.84 | 337 | 437
Park Rotana and Park Arjaan Abu Dhabi | 12 | 2 | 2021 | 28808 | 0.2 | 2154.6454 | 1.53 | 261.272 | 7.84 | 311 | 414
Park Rotana and Park Arjaan Abu Dhabi | 13 | 2 | 2021 | 27603 | 0.2 | 2154.6454 | 1.53 | 150.501 | 7.84 | 301 | 396
Park Rotana and Park Arjaan Abu Dhabi | 14 | 2 | 2021 | 27997 | 0.2 | 2154.6454 | 1.53 | 145.127 | 7.84 | 338 | 437
Park Rotana and Park Arjaan Abu Dhabi | 15 | 2 | 2021 | 28393 | 0.2 | 2154.6454 | 1.53 | 15.509 | 7.84 | 345 | 451
Park Rotana and Park Arjaan Abu Dhabi | 16 | 2 | 2021 | 28996 | 0.2 | 2154.6454 | 1.53 | 20.61 | 7.84 | 361 | 475
Park Rotana and Park Arjaan Abu Dhabi | 17 | 2 | 2021 | 29194 | 0.2 | 2154.6454 | 1.53 | 60.006 | 7.84 | 367 | 486
Park Rotana and Park Arjaan Abu Dhabi | 18 | 2 | 2021 | 29840 | 0.2 | 2154.6454 | 1.53 | 1188.287 | 7.84 | 337 | 457
Park Rotana and Park Arjaan Abu Dhabi | 19 | 2 | 2021 | 31414 | 0.2 | 2154.6454 | 1.53 | 251.427 | 7.84 | 352 | 481
Park Rotana and Park Arjaan Abu Dhabi | 20 | 2 | 2021 | 30418 | 0.2 | 2154.6454 | 1.53 | 321.854 | 7.84 | 360 | 478
Park Rotana and Park Arjaan Abu Dhabi | 21 | 2 | 2021 | 31025 | 0.2 | 2154.6454 | 1.53 | 702.69 | 7.84 | 345 | 458
Park Rotana and Park Arjaan Abu Dhabi | 22 | 2 | 2021 | 31210 | 0.2 | 2154.6454 | 1.53 | 313.9 | 7.84 | 362 | 486
Park Rotana and Park Arjaan Abu Dhabi | 23 | 2 | 2021 | 33221 | 0.2 | 2154.6454 | 1.53 | 334.181 | 7.84 | 360 | 493
Park Rotana and Park Arjaan Abu Dhabi | 24 | 2 | 2021 | 31212 | 0.2 | 2154.6454 | 1.53 | 270.334 | 7.84 | 340 | 479
Park Rotana and Park Arjaan Abu Dhabi | 25 | 2 | 2021 | 30401 | 0.2 | 2154.6454 | 1.53 | 227.371 | 7.84 | 323 | 443
Park Rotana and Park Arjaan Abu Dhabi | 26 | 2 | 2021 | 29795 | 0.2 | 2154.6454 | 1.53 | 277.2 | 7.84 | 303 | 424
Park Rotana and Park Arjaan Abu Dhabi | 27 | 2 | 2021 | 29004 | 0.2 | 2154.6454 | 1.53 | 214.938 | 7.84 | 279 | 391
Park Rotana and Park Arjaan Abu Dhabi | 28 | 2 | 2021 | 28398 | 0.2 | 2154.6454 | 1.53 | 218.4962 | 7.84 | 306 | 422
Park Rotana and Park Arjaan Abu Dhabi | 29 | 2 | 2021 | 0 | 0.2 | 0 | 1.53 | 0 | 7.84 | 0 | 0
Park Rotana and Park Arjaan Abu Dhabi | 30 | 2 | 2021 |  | 0.2 | 0 | 1.53 |  | 7.84 | 0 | 0
Park Rotana and Park Arjaan Abu Dhabi | 31 | 2 | 2021 |  | 0.2 | 0 | 1.53 |  | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION FEBRUARY 2021
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 77218 | 77239 | 77260 | 77281 | 77303 | 77324 | 77344 | 77366 | 77388 | 77409 | 77431 | 77454 | 77475 | 77496 | 77517 | 77538 | 77560 | 77581 | 77603 | 77625 | 77646 | 77668 | 77689 | 77712 | 77733 | 77754 | 77776 | 77798 | 77819
|  |  |  | 21000 | 21000 | 21000 | 22000 | 21000 | 20000 | 22000 | 22000 | 21000 | 22000 | 23000 | 21000 | 21000 | 21000 | 21000 | 22000 | 21000 | 22000 | 22000 | 21000 | 22000 | 21000 | 23000 | 21000 | 21000 | 22000 | 22000 | 21000
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383 | 29383
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 90870 | 90884 | 90899 | 90914 | 90930 | 90946 | 90962 | 90977 | 90993 | 91000 | 91003 | 91008 | 91025 | 91040 | 91056 | 91073 | 91089 | 91105 | 91123 | 91141 | 91159 | 91176 | 91193 | 91210 | 91225 | 91240 | 91256 | 91270 | 91285
|  |  |  | 14000 | 15000 | 15000 | 16000 | 16000 | 16000 | 15000 | 16000 | 7000 | 3000 | 5000 | 17000 | 15000 | 16000 | 17000 | 16000 | 16000 | 18000 | 18000 | 18000 | 17000 | 17000 | 17000 | 15000 | 15000 | 16000 | 14000 | 15000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 77433 | 77435 | 77437 | 77440 | 77442 | 77444 | 77446 | 77448 | 77451 | 77462 | 77478 | 77491 | 77493 | 77494 | 77495 | 77496 | 77497 | 77501 | 77502 | 77507 | 77512 | 77517 | 77525 | 77533 | 77543 | 77551 | 77554 | 77557 | 77560
|  |  |  | 2000 | 2000 | 3000 | 2000 | 2000 | 2000 | 2000 | 3000 | 11000 | 16000 | 13000 | 2000 | 1000 | 1000 | 1000 | 1000 | 4000 | 1000 | 5000 | 5000 | 5000 | 8000 | 8000 | 10000 | 8000 | 3000 | 3000 | 3000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3003 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3004 | 3005 | 3005 | 3005 | 3005 | 3006 | 3006 | 3006 | 3006 | 3006 | 3006 | 3006 | 3006 | 3006 | 3006
|  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 326 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 327 | 328 | 328 | 328 | 328 | 328 | 328 | 328 | 328 | 328 | 329
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1109934 | 1110096 | 1110277 | 1110445 | 1110612 | 1110794 | 1110975 | 1111141 | 1111312 | 1111482 | 1111658 | 1111819 | 1111990 | 1112156 | 1112315 | 1112469 | 1112627 | 1112784 | 1112988 | 1113163 | 1113343 | 1113528 | 1113701 | 1113882 | 1114056 | 1114219 | 1114375 | 1114541 | 1114698
|  |  |  | 162 | 181 | 168 | 167 | 182 | 181 | 166 | 171 | 170 | 176 | 161 | 171 | 166 | 159 | 154 | 158 | 157 | 204 | 175 | 180 | 185 | 173 | 181 | 174 | 163 | 156 | 166 | 157
14 | E5T09D034327 | Hotel Gym S (Kwh) | 325478 | 325515 | 325553 | 325594 | 325634 | 325674 | 325713 | 325753 | 325790 | 325828 | 325866 | 325903 | 325940 | 325977 | 326015 | 326053 | 326091 | 326128 | 326164 | 326201 | 326239 | 326279 | 326316 | 326356 | 326394 | 326432 | 326471 | 326509 | 326549
|  |  |  | 37 | 38 | 41 | 40 | 40 | 39 | 40 | 37 | 38 | 38 | 37 | 37 | 37 | 38 | 38 | 38 | 37 | 36 | 37 | 38 | 40 | 37 | 40 | 38 | 38 | 39 | 38 | 40
| Total Daily Consumption (kw) |  |  | 27600 | 28019 | 28409 | 29407 | 28422 | 27420 | 29006 | 29809 | 28408 | 29814 | 30398 | 28808 | 27603 | 27997 | 28393 | 28996 | 29194 | 29840 | 31414 | 30418 | 31025 | 31210 | 33221 | 31212 | 30401 | 29795 | 29004 | 28398
| Total Monthly Consumption (kw) |  |  | 1: 823641
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) FEBRUARY 2021
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 196856 | 196957 | 197121.7 | 197295.3 | 197434.4 | 197582.3 | 197749.8 | 197930.6 | 198113.4 | 198234.9 | 198411.5 | 198645.6 | 198860.6 | 198939.5 | 198978.1 | 198978.7 | 198979.1 | 198980.7 | 200067.7 | 200266.8 | 200300.3 | 200949.1 | 201169.6 | 201447.1 | 201618.5 | 201770.6 | 201995.1 | 202127.8 | 202286.21
|  |  |  | 101 | 164.7 | 173.6 | 139.1 | 147.9 | 167.5 | 180.8 | 182.8 | 121.5 | 176.6 | 234.1 | 215 | 78.9 | 38.6 | 0.6 | 0.4 | 1.6 | 1087 | 199.1 | 33.5 | 648.8 | 220.5 | 277.5 | 171.4 | 152.1 | 224.5 | 132.7 | 158.41
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 259627.1 | 259746.1 | 259897.5 | 260000 | 260147 | 260236.5 | 260390 | 260552.3 | 260719.4 | 260912.5 | 261147.4 | 261320.8 | 261422.1 | 261544.1 | 261686.1 | 261710.8 | 261741 | 261812.3 | 261930.9 | 262039.8 | 262608.4 | 262724.4 | 262927.9 | 263049.5 | 263263.4 | 263427.8 | 263541.3 | 263722.14 | 263852.256
|  |  |  | 119 | 151.4 | 102.5 | 147 | 89.5 | 153.5 | 162.3 | 167.1 | 193.1 | 234.9 | 173.4 | 101.3 | 122 | 142 | 24.7 | 30.2 | 71.3 | 118.6 | 108.9 | 568.6 | 116 | 203.5 | 121.6 | 213.9 | 164.4 | 113.5 | 180.84 | 130.116
4 | 2045000686(Sub Meter) | Irrigation water Tank | 73536 | 73580 | 73642 | 73666 | 73728 | 73728 | 73785 | 73865 | 73935 | 74027 | 74171 | 74241 | 74241 | 74272 | 74363 | 74364 | 74373 | 74426 | 74528 | 74531 | 74575 | 74575 | 74575 | 74575 | 74575 | 74575 | 74575 | 74575 | 74575
|  |  |  | 44 | 62 | 24 | 62 | 0 | 57 | 80 | 70 | 92 | 144 | 70 | 0 | 31 | 91 | 1 | 9 | 53 | 102 | 3 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 68864837 | Hotel & Arjaan Spa | 92.619 | 93.126 | 93.705 | 94.402 | 94.854 | 95.481 | 95.821 | 96.314 | 96.723 | 97.238 | 97.609 | 98.732 | 98.732 | 100.446 | 101.273 | 101.694 | 102.447 | 102.918 | 103.785 | 104.344 | 105.055 | 105.576 | 106.046 | 106.34 | 106.759 | 107.275 | 108.319 | 108.796 | 110.025
|  |  |  | 0.507 | 0.579 | 0.697 | 0.452 | 0.627 | 0.34 | 0.493 | 0.409 | 0.515 | 0.371 | 1.123 | 0 | 1.714 | 0.827 | 0.421 | 0.753 | 0.471 | 0.867 | 0.559 | 0.711 | 0.521 | 0.47 | 0.294 | 0.419 | 0.516 | 1.044 | 0.477 | 1.229
6 | 65296485 | Hotel & Arjaan Gym | 8134.131 | 8137.506 | 8138.842 | 8139.213 | 8140.089 | 8140.891 | 8143.987 | 8145.479 | 8145.984 | 8146.981 | 8147.274 | 8154.655 | 8155.342 | 8156.379 | 8157.229 | 8160.152 | 8161.969 | 8163.969 | 8165.119 | 8166.532 | 8178.505 | 8179.674 | 8181.029 | 8182.696 | 8184.956 | 8185.731 | 8186.312 | 8186.695 | 8187
|  |  |  | 3.375 | 1.336 | 0.371 | 0.876 | 0.802 | 3.096 | 1.492 | 0.505 | 0.997 | 0.293 | 7.381 | 0.687 | 1.037 | 0.85 | 2.923 | 1.817 | 2 | 1.15 | 1.413 | 11.973 | 1.169 | 1.355 | 1.667 | 2.26 | 0.775 | 0.581 | 0.383 | 0.305
| Total Daily Consumption (m3) |  |  | 178.232 | 262.645 | 231.593 | 234.478 | 189.604 | 265.661 | 291.82 | 290.409 | 251.307 | 347.769 | 352.134 | 261.272 | 150.501 | 145.127 | 15.509 | 20.61 | 60.006 | 1188.287 | 251.427 | 321.854 | 702.69 | 313.9 | 334.181 | 270.334 | 227.371 | 277.2 | 214.938 | 218.4962
| Total Monthly Consumption (m3) |  |  | 1: 7869.3552
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) February 2021
LAST MONTH'S FINAL READING | 60330.07
1 |  | 2154.6454
2 |  | 2154.6454
3 |  | 2154.6454
4 |  | 2154.6454
5 |  | 2154.6454
6 |  | 2154.6454
7 |  | 2154.6454
8 |  | 2154.6454
9 |  | 2154.6454
10 |  | 2154.6454
11 |  | 2154.6454
12 |  | 2154.6454
13 |  | 2154.6454
14 |  | 2154.6454
15 |  | 2154.6454
16 |  | 2154.6454
17 |  | 2154.6454
18 |  | 2154.6454
19 |  | 2154.6454
20 |  | 2154.6454
21 |  | 2154.6454
22 |  | 2154.6454
23 |  | 2154.6454
24 |  | 2154.6454
25 |  | 2154.6454
26 |  | 2154.6454
27 |  | 2154.6454
28 |  | 2154.6454
TOTAL Consumption |  | 60330.07

## Occupied & No. of Guest
Occupied Room & Number of Guest - Februray 2021
Date | Occupied | # Guest
2021-02-01 | 163 | 210
2021-02-02 | 201 | 267
2021-02-03 | 240 | 312
2021-02-04 | 243 | 315
2021-02-05 | 255 | 326
2021-02-06 | 255 | 325
2021-02-07 | 282 | 355
2021-02-08 | 314 | 397
2021-02-09 | 330 | 414
2021-02-10 | 355 | 451
2021-02-11 | 337 | 437
2021-02-12 | 311 | 414
2021-02-13 | 301 | 396
2021-02-14 | 338 | 437
2021-02-15 | 345 | 451
2021-02-16 | 361 | 475
2021-02-17 | 367 | 486
2021-02-18 | 337 | 457
2021-02-19 | 352 | 481
2021-02-20 | 360 | 478
2021-02-21 | 345 | 458
2021-02-22 | 362 | 486
2021-02-23 | 360 | 493
2021-02-24 | 340 | 479
2021-02-25 | 323 | 443
2021-02-26 | 303 | 424
2021-02-27 | 279 | 391
2021-02-28 | 306 | 422
TOTAL MTD | 8665 | 11480