## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 2 | 2019 | 31990 | 0.2 | 1896.9268 | 1.29 | 798.916 | 7.84 | 400 | 576
Park Rotana and Park Arjaan Abu Dhabi | 2 | 2 | 2019 | 30967 | 0.2 | 1896.9268 | 1.29 | 330.258 | 7.84 | 365 | 475
Park Rotana and Park Arjaan Abu Dhabi | 3 | 2 | 2019 | 33358 | 0.2 | 1896.9268 | 1.29 | 301.99 | 7.84 | 439 | 589
Park Rotana and Park Arjaan Abu Dhabi | 4 | 2 | 2019 | 31582 | 0.2 | 1896.9268 | 1.29 | 319.414 | 7.84 | 481 | 662
Park Rotana and Park Arjaan Abu Dhabi | 5 | 2 | 2019 | 30790 | 0.2 | 1896.9268 | 1.29 | 253.204 | 7.84 | 468 | 623
Park Rotana and Park Arjaan Abu Dhabi | 6 | 2 | 2019 | 30793 | 0.2 | 1896.9268 | 1.29 | 246.548 | 7.84 | 453 | 594
Park Rotana and Park Arjaan Abu Dhabi | 7 | 2 | 2019 | 29397 | 0.2 | 1896.9268 | 1.29 | 304.545 | 7.84 | 403 | 564
Park Rotana and Park Arjaan Abu Dhabi | 8 | 2 | 2019 | 30774 | 0.2 | 1896.9268 | 1.29 | 267.769 | 7.84 | 457 | 635
Park Rotana and Park Arjaan Abu Dhabi | 9 | 2 | 2019 | 31774 | 0.2 | 1896.9268 | 1.29 | 283.243 | 7.84 | 412 | 578
Park Rotana and Park Arjaan Abu Dhabi | 10 | 2 | 2019 | 30158 | 0.2 | 1896.9268 | 1.29 | 278.715 | 7.84 | 432 | 607
Park Rotana and Park Arjaan Abu Dhabi | 11 | 2 | 2019 | 31591 | 0.2 | 1896.9268 | 1.29 | 262.043 | 7.84 | 426 | 590
Park Rotana and Park Arjaan Abu Dhabi | 12 | 2 | 2019 | 31563 | 0.2 | 1896.9268 | 1.29 | 242.761 | 7.84 | 415 | 584
Park Rotana and Park Arjaan Abu Dhabi | 13 | 2 | 2019 | 32597 | 0.2 | 1896.9268 | 1.29 | 874.573 | 7.84 | 404 | 553
Park Rotana and Park Arjaan Abu Dhabi | 14 | 2 | 2019 | 32961 | 0.2 | 1896.9268 | 1.29 | 346.718 | 7.84 | 384 | 554
Park Rotana and Park Arjaan Abu Dhabi | 15 | 2 | 2019 | 31773 | 0.2 | 1896.9268 | 1.29 | 343.365 | 7.84 | 407 | 565
Park Rotana and Park Arjaan Abu Dhabi | 16 | 2 | 2019 | 30976 | 0.2 | 1896.9268 | 1.29 | 403.674 | 7.84 | 434 | 591
Park Rotana and Park Arjaan Abu Dhabi | 17 | 2 | 2019 | 31565 | 0.2 | 1896.9268 | 1.29 | 317.314 | 7.84 | 450 | 596
Park Rotana and Park Arjaan Abu Dhabi | 18 | 2 | 2019 | 31965 | 0.2 | 1896.9268 | 1.29 | 335.588 | 7.84 | 473 | 629
Park Rotana and Park Arjaan Abu Dhabi | 19 | 2 | 2019 | 30170 | 0.2 | 1896.9268 | 1.29 | 352.716 | 7.84 | 474 | 623
Park Rotana and Park Arjaan Abu Dhabi | 20 | 2 | 2019 | 30192 | 0.2 | 1896.9268 | 1.29 | 302.449 | 7.84 | 451 | 607
Park Rotana and Park Arjaan Abu Dhabi | 21 | 2 | 2019 | 30371 | 0.2 | 1896.9268 | 1.29 | 395.918 | 7.84 | 370 | 525
Park Rotana and Park Arjaan Abu Dhabi | 22 | 2 | 2019 | 30552 | 0.2 | 1896.9268 | 1.29 | 259.744 | 7.84 | 272 | 387
Park Rotana and Park Arjaan Abu Dhabi | 23 | 2 | 2019 | 31182 | 0.2 | 1896.9268 | 1.29 | 367.431 | 7.84 | 325 | 325
Park Rotana and Park Arjaan Abu Dhabi | 24 | 2 | 2019 | 30548 | 0.2 | 1896.9268 | 1.29 | 260.307 | 7.84 | 297 | 391
Park Rotana and Park Arjaan Abu Dhabi | 25 | 2 | 2019 | 29971 | 0.2 | 1896.9268 | 1.29 | 350.022 | 7.84 | 321 | 419
Park Rotana and Park Arjaan Abu Dhabi | 26 | 2 | 2019 | 29751 | 0.2 | 1896.9268 | 1.29 | 217.127 | 7.84 | 311 | 547
Park Rotana and Park Arjaan Abu Dhabi | 27 | 2 | 2019 | 31553 | 0.2 | 1896.9268 | 1.29 | 354.77 | 7.84 | 363 | 504
Park Rotana and Park Arjaan Abu Dhabi | 28 | 2 | 2019 | 31969 | 0.2 | 1896.9268 | 1.29 | 369.356 | 7.84 | 391 | 553
Park Rotana and Park Arjaan Abu Dhabi | 29 | 2 | 2019 | 0 | 0.2 | 0 | 1.29 | 0 | 7.84 | 0 | 0
Park Rotana and Park Arjaan Abu Dhabi | 30 | 2 | 2019 |  | 0.2 | 0 | 1.29 |  | 7.84 | 0 | 0
Park Rotana and Park Arjaan Abu Dhabi | 31 | 2 | 2019 |  | 0.2 | 0 | 1.29 |  | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION FEBRUARY 2019
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 24354 | 24378 | 24401 | 24426 | 24450 | 24474 | 24498 | 24521 | 24545 | 24570 | 24593 | 24617 | 24641 | 24666 | 24691 | 24716 | 24739 | 24763 | 24787 | 24810 | 24833 | 24857 | 24880 | 24904 | 24927 | 24949 | 24972 | 24996 | 25020
|  |  |  | 24000 | 23000 | 25000 | 24000 | 24000 | 24000 | 23000 | 24000 | 25000 | 23000 | 24000 | 24000 | 25000 | 25000 | 25000 | 23000 | 24000 | 24000 | 23000 | 23000 | 24000 | 23000 | 24000 | 23000 | 22000 | 23000 | 24000 | 24000
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 77939 | 77955 | 77971 | 77983 | 77986 | 77989 | 77993 | 77997 | 78001 | 78004 | 78007 | 78010 | 78012 | 78015 | 78018 | 78020 | 78023 | 78026 | 78029 | 78031 | 78034 | 78036 | 78039 | 78045 | 78061 | 78078 | 78093 | 78109 | 78127
|  |  |  | 16000 | 16000 | 12000 | 3000 | 3000 | 4000 | 4000 | 4000 | 3000 | 3000 | 3000 | 2000 | 3000 | 3000 | 2000 | 3000 | 3000 | 3000 | 2000 | 3000 | 2000 | 3000 | 6000 | 16000 | 17000 | 15000 | 16000 | 18000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 65316 | 65319 | 65322 | 65330 | 65345 | 65358 | 65370 | 65381 | 65393 | 65406 | 65420 | 65435 | 65451 | 65466 | 65482 | 65496 | 65512 | 65527 | 65543 | 65558 | 65572 | 65585 | 65600 | 65611 | 65613 | 65615 | 65616 | 65618 | 65619
|  |  |  | 3000 | 3000 | 8000 | 15000 | 13000 | 12000 | 11000 | 12000 | 13000 | 14000 | 15000 | 16000 | 15000 | 16000 | 14000 | 16000 | 15000 | 16000 | 15000 | 14000 | 13000 | 15000 | 11000 | 2000 | 2000 | 1000 | 2000 | 1000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2854 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855 | 2855
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 252 | 252 | 252 | 252 | 252 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 253 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254 | 254
|  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 959536 | 959865 | 960177 | 960482 | 960802 | 961127 | 961461 | 961800 | 962115 | 962428 | 962725 | 963053 | 963356 | 963689 | 963993 | 964301 | 964620 | 964925 | 965228 | 965538 | 965871 | 966183 | 966479 | 966806 | 967098 | 967411 | 967707 | 967999 | 968312
|  |  |  | 329 | 312 | 305 | 320 | 325 | 334 | 339 | 315 | 313 | 297 | 328 | 303 | 333 | 304 | 308 | 319 | 305 | 303 | 310 | 333 | 312 | 296 | 327 | 292 | 313 | 296 | 292 | 313
14 | E5T09D034327 | Hotel Gym S (Kwh) | 290980 | 291041 | 291096 | 291149 | 291211 | 291275 | 291334 | 291392 | 291451 | 291512 | 291573 | 291636 | 291696 | 291759 | 291816 | 291881 | 291938 | 291998 | 292060 | 292119 | 292178 | 292237 | 292293 | 292348 | 292404 | 292462 | 292517 | 292578 | 292634
|  |  |  | 61 | 55 | 53 | 62 | 64 | 59 | 58 | 59 | 61 | 61 | 63 | 60 | 63 | 57 | 65 | 57 | 60 | 62 | 59 | 59 | 59 | 56 | 55 | 56 | 58 | 55 | 61 | 56
| Total Daily Consumption (kw) |  |  | 31990 | 30967 | 33358 | 31582 | 30790 | 30793 | 29397 | 30774 | 31774 | 30158 | 31591 | 31563 | 32597 | 32961 | 31773 | 30976 | 31565 | 31965 | 30170 | 30192 | 30371 | 30552 | 31182 | 30548 | 29971 | 29751 | 31553 | 31969
| Total Monthly Consumption (kw) |  |  | 1: 872833
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) FEBRUARY 2019
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 52116.9 | 52346 | 52561.2 | 52777.8 | 53038.1 | 53280.1 | 53523.4 | 53794.1 | 54055.5 | 54298.8 | 54561.6 | 54801.5 | 55039.1 | 55330 | 55549.7 | 55849.2 | 56080.9 | 56299.6 | 56570.3 | 56774.6 | 57027 | 57274.1 | 57481.03 | 57694.4 | 57896.9 | 58092.2 | 58280.7 | 58484.8 | 58698.8
|  |  |  | 229.1 | 215.2 | 216.6 | 260.3 | 242 | 243.3 | 270.7 | 261.4 | 243.3 | 262.8 | 239.9 | 237.6 | 290.9 | 219.7 | 299.5 | 231.7 | 218.7 | 270.7 | 204.3 | 252.4 | 247.1 | 206.93 | 213.37 | 202.5 | 195.3 | 188.5 | 204.1 | 214
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 57662.2 | 58919 | 59076.1 | 59233.2 | 59352.4 | 59352.4 | 59352.4 | 59352.4 | 59352.4 | 59352.4 | 59352.4 | 59352.4 | 59352.4 | 60540.1 | 60719.4 | 60806.3 | 61042.2 | 61201 | 61335.8 | 61543 | 61634.9 | 61831.5 | 61937 | 62152.2 | 62273.5 | 62502.1 | 62556.6 | 62774.1 | 62996.5
|  |  |  | 1256.8 | 157.1 | 157.1 | 119.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1187.7 | 179.3 | 86.9 | 235.9 | 158.8 | 134.8 | 207.2 | 91.9 | 196.6 | 105.5 | 215.2 | 121.3 | 228.6 | 54.5 | 217.5 | 222.4
4 | 2045000686(Sub Meter) | Irrigation water Tank | 11734 | 11734 | 11802 | 11824 | 11824 | 11841 | 11841 | 11906 | 11906 | 11984 | 12011 | 12054 | 12054 | 12158 | 12251 | 12251 | 12387 | 12438 | 12438 | 12550 | 12550 | 12661 | 12661 | 12781 | 12781 | 12889 | 12889 | 13001 | 13111
|  |  |  | 0 | 68 | 22 | 0 | 17 | 0 | 65 | 0 | 78 | 27 | 43 | 0 | 104 | 93 | 0 | 136 | 51 | 0 | 112 | 0 | 111 | 0 | 120 | 0 | 108 | 0 | 112 | 110
5 | 68864837 | Hotel & Arjaan Spa | 3744.042 | 3746.559 | 3749.481 | 3751.438 | 3753.076 | 3755.014 | 3757.583 | 3759.787 | 3764.491 | 3766.331 | 3768.192 | 3769.848 | 3772.394 | 3773.608 | 3775.722 | 3778.351 | 3779.643 | 3782.493 | 3784.389 | 3785.682 | 3787.12 | 3789.738 | 3792.131 | 3794.185 | 3795.857 | 3797.68 | 3800.506 | 3801.837 | 3803.517
|  |  |  | 2.517 | 2.922 | 1.957 | 1.638 | 1.938 | 2.569 | 2.204 | 4.704 | 1.84 | 1.861 | 1.656 | 2.546 | 1.214 | 2.114 | 2.629 | 1.292 | 2.85 | 1.896 | 1.293 | 1.438 | 2.618 | 2.393 | 2.054 | 1.672 | 1.823 | 2.826 | 1.331 | 1.68
6 | 65296485 | Hotel & Arjaan Gym | 6574.126 | 6575.865 | 6586.706 | 6589.544 | 6593.38 | 6594.996 | 6595.675 | 6598.066 | 6599.731 | 6602.734 | 6604.638 | 6605.775 | 6608.39 | 6609.584 | 6611.953 | 6614.084 | 6617.411 | 6618.765 | 6621.097 | 6624.58 | 6631.836 | 6639.616 | 6642.562 | 6643.729 | 6645.279 | 6646.708 | 6647.984 | 6649.048 | 6653.144
|  |  |  | 1.739 | 10.841 | 2.838 | 3.836 | 1.616 | 0.679 | 2.391 | 1.665 | 3.003 | 1.904 | 1.137 | 2.615 | 1.194 | 2.369 | 2.131 | 3.327 | 1.354 | 2.332 | 3.483 | 7.256 | 7.78 | 2.946 | 1.167 | 1.55 | 1.429 | 1.276 | 1.064 | 4.096
| Total Daily Consumption (m3) |  |  | 798.916 | 330.258 | 301.99 | 319.414 | 253.204 | 246.548 | 304.545 | 267.769 | 283.243 | 278.715 | 262.043 | 242.761 | 874.573 | 346.718 | 343.365 | 403.674 | 317.314 | 335.588 | 352.716 | 302.449 | 395.918 | 259.744 | 367.431 | 260.307 | 350.022 | 217.127 | 354.77 | 369.356
| Total Monthly Consumption (m3) |  |  | 1: 9740.478
Note on B5: New water meter replaced on April 13, 2023
Note on H7: Showing -EP-
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) February 2019
LAST MONTH'S FINAL READING | 53113.95
1 |  | 1896.9268
2 |  | 1896.9268
3 |  | 1896.9268
4 |  | 1896.9268
5 |  | 1896.9268
6 |  | 1896.9268
7 |  | 1896.9268
8 |  | 1896.9268
9 |  | 1896.9268
10 |  | 1896.9268
11 |  | 1896.9268
12 |  | 1896.9268
13 |  | 1896.9268
14 |  | 1896.9268
15 |  | 1896.9268
16 |  | 1896.9268
17 |  | 1896.9268
18 |  | 1896.9268
19 |  | 1896.9268
20 |  | 1896.9268
21 |  | 1896.9268
22 |  | 1896.9268
23 |  | 1896.9268
24 |  | 1896.9268
25 |  | 1896.9268
26 |  | 1896.9268
27 |  | 1896.9268
28 |  | 1896.9268
TOTAL Consumption |  | 53113.95

## Occupied & No. of Guest
Occupied Room & Number of Guest - Februray 2019
Date | Occupied | # Guest
2019-02-01 | 400 | 576
2019-02-02 | 365 | 475
2019-02-03 | 439 | 589
2019-02-04 | 481 | 662
2019-02-05 | 468 | 623
2019-02-06 | 453 | 594
2019-02-07 | 403 | 564
2019-02-08 | 457 | 635
2019-02-09 | 412 | 578
2019-02-10 | 432 | 607
2019-02-11 | 426 | 590
2019-02-12 | 415 | 584
2019-02-13 | 404 | 553
2019-02-14 | 384 | 554
2019-02-15 | 407 | 565
2019-02-16 | 434 | 591
2019-02-17 | 450 | 596
2019-02-18 | 473 | 629
2019-02-19 | 474 | 623
2019-02-20 | 451 | 607
2019-02-21 | 370 | 525
2019-02-22 | 272 | 387
2019-02-23 | 325 | 325
2019-02-24 | 297 | 391
2019-02-25 | 321 | 419
2019-02-26 | 311 | 547
2019-02-27 | 363 | 504
2019-02-28 | 391 | 553
TOTAL MTD | 11278 | 15446