## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 5 | 2019 | 38763 | 0.2 | 2017.96 | 1.48 | 457.534 | 7.84 | 297 | 373
Park Rotana and Park Arjaan Abu Dhabi | 2 | 5 | 2019 | 36149 | 0.2 | 2017.96 | 1.48 | 390.461 | 7.84 | 258 | 362
Park Rotana and Park Arjaan Abu Dhabi | 3 | 5 | 2019 | 36544 | 0.2 | 2017.96 | 1.48 | 297.555 | 7.84 | 218 | 310
Park Rotana and Park Arjaan Abu Dhabi | 4 | 5 | 2019 | 35560 | 0.2 | 2017.96 | 1.48 | 381.826 | 7.84 | 167 | 200
Park Rotana and Park Arjaan Abu Dhabi | 5 | 5 | 2019 | 35995 | 0.2 | 2017.96 | 1.48 | 338.248 | 7.84 | 222 | 294
Park Rotana and Park Arjaan Abu Dhabi | 6 | 5 | 2019 | 36752 | 0.2 | 2017.96 | 1.48 | 339.673 | 7.84 | 176 | 207
Park Rotana and Park Arjaan Abu Dhabi | 7 | 5 | 2019 | 35740 | 0.2 | 2017.96 | 1.48 | 268.869 | 7.84 | 184 | 220
Park Rotana and Park Arjaan Abu Dhabi | 8 | 5 | 2019 | 35322 | 0.2 | 2017.96 | 1.48 | 316.196 | 7.84 | 174 | 211
Park Rotana and Park Arjaan Abu Dhabi | 9 | 5 | 2019 | 36930 | 0.2 | 2017.96 | 1.48 | 347.567 | 7.84 | 131 | 158
Park Rotana and Park Arjaan Abu Dhabi | 10 | 5 | 2019 | 34330 | 0.2 | 2017.96 | 1.48 | 225.4 | 7.84 | 142 | 193
Park Rotana and Park Arjaan Abu Dhabi | 11 | 5 | 2019 | 35729 | 0.2 | 2017.96 | 1.48 | 337.936 | 7.84 | 135 | 154
Park Rotana and Park Arjaan Abu Dhabi | 12 | 5 | 2019 | 36730 | 0.2 | 2017.96 | 1.48 | 346.775 | 7.84 | 166 | 192
Park Rotana and Park Arjaan Abu Dhabi | 13 | 5 | 2019 | 37511 | 0.2 | 2017.96 | 1.48 | 344.095 | 7.84 | 158 | 174
Park Rotana and Park Arjaan Abu Dhabi | 14 | 5 | 2019 | 36752 | 0.2 | 2017.96 | 1.48 | 351.225 | 7.84 | 205 | 260
Park Rotana and Park Arjaan Abu Dhabi | 15 | 5 | 2019 | 36149 | 0.2 | 2017.96 | 1.48 | 351.166 | 7.84 | 194 | 269
Park Rotana and Park Arjaan Abu Dhabi | 16 | 5 | 2019 | 38157 | 0.2 | 2017.96 | 1.48 | 317.013 | 7.84 | 160 | 214
Park Rotana and Park Arjaan Abu Dhabi | 17 | 5 | 2019 | 36164 | 0.2 | 2017.96 | 1.48 | 227.126 | 7.84 | 146 | 193
Park Rotana and Park Arjaan Abu Dhabi | 18 | 5 | 2019 | 37338 | 0.2 | 2017.96 | 1.48 | 310.763 | 7.84 | 139 | 170
Park Rotana and Park Arjaan Abu Dhabi | 19 | 5 | 2019 | 37554 | 0.2 | 2017.96 | 1.48 | 319.45 | 7.84 | 168 | 217
Park Rotana and Park Arjaan Abu Dhabi | 20 | 5 | 2019 | 37954 | 0.2 | 2017.96 | 1.48 | 350.654 | 7.84 | 169 | 205
Park Rotana and Park Arjaan Abu Dhabi | 21 | 5 | 2019 | 39348 | 0.2 | 2017.96 | 1.48 | 357.054 | 7.84 | 178 | 221
Park Rotana and Park Arjaan Abu Dhabi | 22 | 5 | 2019 | 38570 | 0.2 | 2017.96 | 1.48 | 298.522 | 7.84 | 184 | 230
Park Rotana and Park Arjaan Abu Dhabi | 23 | 5 | 2019 | 38935 | 0.2 | 2017.96 | 1.48 | 335.753 | 7.84 | 167 | 232
Park Rotana and Park Arjaan Abu Dhabi | 24 | 5 | 2019 | 34740 | 0.2 | 2017.96 | 1.48 | 266.396 | 7.84 | 177 | 258
Park Rotana and Park Arjaan Abu Dhabi | 25 | 5 | 2019 | 37956 | 0.2 | 2017.96 | 1.48 | 349.768 | 7.84 | 142 | 176
Park Rotana and Park Arjaan Abu Dhabi | 26 | 5 | 2019 | 35545 | 0.2 | 2017.96 | 1.48 | 369.544 | 7.84 | 172 | 213
Park Rotana and Park Arjaan Abu Dhabi | 27 | 5 | 2019 | 39166 | 0.2 | 2017.96 | 1.48 | 383.315 | 7.84 | 185 | 216
Park Rotana and Park Arjaan Abu Dhabi | 28 | 5 | 2019 | 39335 | 0.2 | 2017.96 | 1.48 | 387.14 | 7.84 | 180 | 214
Park Rotana and Park Arjaan Abu Dhabi | 29 | 5 | 2019 | 40102 | 0.2 | 2017.96 | 1.48 | 368.007 | 7.84 | 181 | 233
Park Rotana and Park Arjaan Abu Dhabi | 30 | 5 | 2019 | 38771 | 0.2 | 2017.96 | 1.48 | 357.494 | 7.84 | 144 | 174
Park Rotana and Park Arjaan Abu Dhabi | 31 | 5 | 2019 | 37340 | 0.2 | 2017.96 | 1.48 | 265.991 | 7.84 | 154 | 204

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION MAY 2019
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424 | 66424
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 26480 | 26506 | 26529 | 26552 | 26574 | 26596 | 26618 | 26639 | 26660 | 26681 | 26701 | 26722 | 26744 | 26766 | 26788 | 26809 | 26832 | 26853 | 26874 | 26896 | 26918 | 26941 | 26964 | 26987 | 27007 | 27029 | 27049 | 27071 | 27094 | 27117 | 27139 | 27160
|  |  |  | 26000 | 23000 | 23000 | 22000 | 22000 | 22000 | 21000 | 21000 | 21000 | 20000 | 21000 | 22000 | 22000 | 22000 | 21000 | 23000 | 21000 | 21000 | 22000 | 22000 | 23000 | 23000 | 23000 | 20000 | 22000 | 20000 | 22000 | 23000 | 23000 | 22000 | 21000
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 79153 | 79160 | 79168 | 79188 | 79196 | 79220 | 79253 | 79285 | 79316 | 79351 | 79382 | 79415 | 79448 | 79482 | 79514 | 79546 | 79578 | 79609 | 79643 | 79676 | 79710 | 79747 | 79782 | 79817 | 79850 | 79884 | 79918 | 79956 | 79994 | 80033 | 80072 | 80109
|  |  |  | 7000 | 8000 | 20000 | 8000 | 24000 | 33000 | 32000 | 31000 | 35000 | 31000 | 33000 | 33000 | 34000 | 32000 | 32000 | 32000 | 31000 | 34000 | 33000 | 34000 | 37000 | 35000 | 35000 | 33000 | 34000 | 34000 | 38000 | 38000 | 39000 | 39000 | 37000
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 66063 | 66087 | 66111 | 66124 | 66149 | 66159 | 66162 | 66166 | 66170 | 66174 | 66178 | 66181 | 66184 | 66188 | 66192 | 66197 | 66202 | 66208 | 66214 | 66219 | 66224 | 66227 | 66230 | 66234 | 66237 | 66242 | 66246 | 66250 | 66252 | 66255 | 66257 | 66260
|  |  |  | 24000 | 24000 | 13000 | 25000 | 10000 | 3000 | 4000 | 4000 | 4000 | 4000 | 3000 | 3000 | 4000 | 4000 | 5000 | 5000 | 6000 | 6000 | 5000 | 5000 | 3000 | 3000 | 4000 | 3000 | 5000 | 4000 | 4000 | 2000 | 3000 | 2000 | 3000
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866 | 2866
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 259 | 259 | 259 | 259 | 259 | 259 | 259 | 259 | 259 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 260 | 261 | 261 | 261 | 261 | 261
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 987383 | 987687 | 987979 | 988274 | 988571 | 988909 | 989203 | 989485 | 989748 | 990020 | 990292 | 990563 | 990835 | 991090 | 991386 | 991678 | 991980 | 992290 | 992576 | 992874 | 993173 | 993465 | 993782 | 994062 | 994347 | 994645 | 994939 | 995249 | 995530 | 995774 | 996090 | 996375
|  |  |  | 304 | 292 | 295 | 297 | 338 | 294 | 282 | 263 | 272 | 272 | 271 | 272 | 255 | 296 | 292 | 302 | 310 | 286 | 298 | 299 | 292 | 317 | 280 | 285 | 298 | 294 | 310 | 281 | 244 | 316 | 285
14 | E5T09D034327 | Hotel Gym S (Kwh) | 296069 | 296128 | 296185 | 296234 | 296297 | 296354 | 296412 | 296470 | 296529 | 296586 | 296644 | 296702 | 296760 | 296816 | 296872 | 296929 | 296984 | 297038 | 297090 | 297146 | 297201 | 297257 | 297310 | 297365 | 297420 | 297478 | 297529 | 297584 | 297638 | 297696 | 297751 | 297806
|  |  |  | 59 | 57 | 49 | 63 | 57 | 58 | 58 | 59 | 57 | 58 | 58 | 58 | 56 | 56 | 57 | 55 | 54 | 52 | 56 | 55 | 56 | 53 | 55 | 55 | 58 | 51 | 55 | 54 | 58 | 55 | 55
| Total Daily Consumption (kw) |  |  | 38763 | 36149 | 36544 | 35560 | 35995 | 36752 | 35740 | 35322 | 36930 | 34330 | 35729 | 36730 | 37511 | 36752 | 36149 | 38157 | 36164 | 37338 | 37554 | 37954 | 39348 | 38570 | 38935 | 34740 | 37956 | 35545 | 39166 | 39335 | 40102 | 38771 | 37340
| Total Monthly Consumption (kw) |  |  | 1: 1151931
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) MAY 2019
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 73336.4 | 73588.5 | 73803.3 | 74015.5 | 74196.5 | 74364.5 | 74506 | 74623.8 | 74783.2 | 74946 | 75090 | 75244.4 | 75399 | 75563.5 | 75738.6 | 75913.5 | 76062.9 | 76200.2 | 76344 | 76509.7 | 76631 | 76797 | 76962.8 | 77146.4 | 77294.7 | 77460.3 | 77613.4 | 77773.8 | 77947.7 | 78110.4 | 78259.4 | 78424.7
|  |  |  | 252.1 | 214.8 | 212.2 | 181 | 168 | 141.5 | 117.8 | 159.4 | 162.8 | 144 | 154.4 | 154.6 | 164.5 | 175.1 | 174.9 | 149.4 | 137.3 | 143.8 | 165.7 | 121.3 | 166 | 165.8 | 183.6 | 148.3 | 165.6 | 153.1 | 160.4 | 173.9 | 162.7 | 149 | 165.3
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 75699.8 | 76015.7 | 76262.5 | 76427.5 | 76676.4 | 77012.5 | 77348 | 77599.8 | 77857.7 | 78152.5 | 78325.9 | 78616.9 | 78925.1 | 79220.3 | 79501.2 | 79787.3 | 80057.1 | 80249.8 | 80535 | 80843 | 81148.5 | 81455.6 | 81699 | 81919 | 82176 | 82474.8 | 82826.8 | 83198 | 83538.7 | 83869.4 | 84211 | 84426.6
|  |  |  | 315.9 | 246.8 | 165 | 248.9 | 336.1 | 335.5 | 251.8 | 257.9 | 294.8 | 173.4 | 291 | 308.2 | 295.2 | 280.9 | 286.1 | 269.8 | 192.7 | 285.2 | 308 | 305.5 | 307.1 | 243.4 | 220 | 257 | 298.8 | 352 | 371.2 | 340.7 | 330.7 | 341.6 | 215.6
4 | 2045000686(Sub Meter) | Irrigation water Tank | 17994 | 18118 | 18235 | 18236 | 18420 | 18448 | 18544 | 18622 | 18707 | 18810 | 18811 | 18919 | 19031 | 19129 | 19234 | 19332 | 19424 | 19424 | 19500 | 19528 | 19725 | 19833 | 19879 | 19981 | 19981 | 20085 | 20205 | 20318 | 20440 | 20551 | 20663 | 20663
|  |  |  | 124 | 117 | 1 | 184 | 28 | 96 | 78 | 85 | 103 | 1 | 108 | 112 | 98 | 105 | 98 | 92 | 0 | 76 | 28 | 197 | 108 | 46 | 102 | 0 | 104 | 120 | 113 | 122 | 111 | 112 | 0
5 | 68864837 | Hotel & Arjaan Spa | 3927.036 | 3928.808 | 3932.186 | 3935.487 | 3937.758 | 3939.551 | 3940.87 | 3942.038 | 3943.042 | 3943.925 | 3944.888 | 3945.657 | 3946.884 | 3947.848 | 3948.816 | 3950.061 | 3951.205 | 3952.974 | 3954.533 | 3955.717 | 3957.02 | 3958.578 | 3959.999 | 3961.945 | 3963.26 | 3965.013 | 3967.771 | 3970.212 | 3973.203 | 3975.895 | 3978.277 | 3980.805
|  |  |  | 1.772 | 3.378 | 3.301 | 2.271 | 1.793 | 1.319 | 1.168 | 1.004 | 0.883 | 0.963 | 0.769 | 1.227 | 0.964 | 0.968 | 1.245 | 1.144 | 1.769 | 1.559 | 1.184 | 1.303 | 1.558 | 1.421 | 1.946 | 1.315 | 1.753 | 2.758 | 2.441 | 2.991 | 2.692 | 2.382 | 2.528
6 | 65296485 | Hotel & Arjaan Gym | 6859.84 | 6865.547 | 6874.12 | 6881.474 | 6885.224 | 6889.834 | 6892.513 | 6894.004 | 6895.491 | 6900.365 | 6902.322 | 6905.539 | 6907.397 | 6909.088 | 6910.59 | 6912.766 | 6916.425 | 6917.767 | 6920.631 | 6921.997 | 6923.923 | 6926.624 | 6927.695 | 6933.002 | 6934.133 | 6935.288 | 6936.574 | 6939.158 | 6941.192 | 6945.042 | 6947.034 | 6948.177
|  |  |  | 5.707 | 8.573 | 7.354 | 3.75 | 4.61 | 2.679 | 1.491 | 1.487 | 4.874 | 1.957 | 3.217 | 1.858 | 1.691 | 1.502 | 2.176 | 3.659 | 1.342 | 2.864 | 1.366 | 1.926 | 2.701 | 1.071 | 5.307 | 1.131 | 1.155 | 1.286 | 2.584 | 2.034 | 3.85 | 1.992 | 1.143
| Total Daily Consumption (m3) |  |  | 457.534 | 390.461 | 297.555 | 381.826 | 338.248 | 339.673 | 268.869 | 316.196 | 347.567 | 225.4 | 337.936 | 346.775 | 344.095 | 351.225 | 351.166 | 317.013 | 227.126 | 310.763 | 319.45 | 350.654 | 357.054 | 298.522 | 335.753 | 266.396 | 349.768 | 369.544 | 383.315 | 387.14 | 368.007 | 357.494 | 265.991
| Total Monthly Consumption (m3) |  |  | 1: 10358.516
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) MAY 2019
LAST MONTH'S FINAL READING | 62556.76
1 |  | 2017.96
2 |  | 2017.96
3 |  | 2017.96
4 |  | 2017.96
5 |  | 2017.96
6 |  | 2017.96
7 |  | 2017.96
8 |  | 2017.96
9 |  | 2017.96
10 |  | 2017.96
11 |  | 2017.96
12 |  | 2017.96
13 |  | 2017.96
14 |  | 2017.96
15 |  | 2017.96
16 |  | 2017.96
17 |  | 2017.96
18 |  | 2017.96
19 |  | 2017.96
20 |  | 2017.96
21 |  | 2017.96
22 |  | 2017.96
23 |  | 2017.96
24 |  | 2017.96
25 |  | 2017.96
26 |  | 2017.96
27 |  | 2017.96
28 |  | 2017.96
29 |  | 2017.96
30 |  | 2017.96
31 |  | 2017.96
TOTAL Consumption |  | 62556.76

## Occupied & No. of Guest
Occupied Room & Number of Guest May 2019
Date | Occupied | # Guest
2019-05-01 | 297 | 373
2019-05-02 | 258 | 362
2019-05-03 | 218 | 310
2019-05-04 | 167 | 200
2019-05-05 | 222 | 294
2019-05-06 | 176 | 207
2019-05-07 | 184 | 220
2019-05-08 | 174 | 211
2019-05-09 | 131 | 158
2019-05-10 | 142 | 193
2019-05-11 | 135 | 154
2019-05-12 | 166 | 192
2019-05-13 | 158 | 174
2019-05-14 | 205 | 260
2019-05-15 | 194 | 269
2019-05-16 | 160 | 214
2019-05-17 | 146 | 193
2019-05-18 | 139 | 170
2019-05-19 | 168 | 217
2019-05-20 | 169 | 205
2019-05-21 | 178 | 221
2019-05-22 | 184 | 230
2019-05-23 | 167 | 232
2019-05-24 | 177 | 258
2019-05-25 | 142 | 176
2019-05-26 | 172 | 213
2019-05-27 | 185 | 216
2019-05-28 | 180 | 214
2019-05-29 | 181 | 233
2019-05-30 | 144 | 174
2019-05-31 | 154 | 204
TOTAL MTD | 5473 | 6947