## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | LPG (Liters) | LPG $/Liters | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Capital Centre Arjaan | 1 | 1 | 2025 | 12633.4292 | 0.2 | 75 | 7.84 | 196 | 1.2551 | 4277 | 1.4227 | 242.9938 | 317
Capital Centre Arjaan | 2 | 1 | 2025 | 12818.98 | 0.2 | 93 | 7.84 | 98 | 1.2551 | 3995 | 1.4741 | 237.9951 | 305
Capital Centre Arjaan | 3 | 1 | 2025 | 13599.6194 | 0.2 | 45 | 7.84 | 98 | 1.2551 | 3850 | 1.5296 | 237.0109 | 316
Capital Centre Arjaan | 4 | 1 | 2025 | 11537.7078 | 0.2 | 99 | 7.84 | 98 | 1.2551 | 3571 | 1.6216 | 215.0477 | 279
Capital Centre Arjaan | 5 | 1 | 2025 | 12167.246 | 0.2 | 87 | 7.84 | 98 | 1.2551 | 3411 | 1.6977 | 206.0086 | 253
Capital Centre Arjaan | 6 | 1 | 2025 | 12406.401 | 0.2 | 82 | 7.84 | 98 | 1.2551 | 3773 | 1.5348 | 216.006 | 254
Capital Centre Arjaan | 7 | 1 | 2025 | 12589.602 | 0.2 | 97 | 7.84 | 98 | 1.2551 | 4100 | 1.4363 | 196.9954 | 237
Capital Centre Arjaan | 8 | 1 | 2025 | 11885.8132 | 0.2 | 62 | 7.84 | 98 | 1.2551 | 3884 | 1.5162 | 234.9907 | 281
Capital Centre Arjaan | 9 | 1 | 2025 | 12409.3658 | 0.2 | 91 | 7.84 | 196 | 1.2551 | 3997 | 1.4733 | 201.9941 | 260
Capital Centre Arjaan | 10 | 1 | 2025 | 12635.071 | 0.2 | 71 | 7.84 | 98 | 1.2551 | 4252 | 1.385 | 201.0099 | 260
Capital Centre Arjaan | 11 | 1 | 2025 | 12649.2152 | 0.2 | 81 | 7.84 | 196 | 1.2551 | 4012 | 1.4434 | 221.0047 | 299
Capital Centre Arjaan | 12 | 1 | 2025 | 12081.9128 | 0.2 | 70 | 7.84 | 98 | 1.2551 | 4252 | 1.4542 | 226.9876 | 279
Capital Centre Arjaan | 13 | 1 | 2025 | 12580.5076 | 0.2 | 43 | 7.84 | 98 | 1.2551 | 4146 | 1.4204 | 236.0008 | 284
Capital Centre Arjaan | 14 | 1 | 2025 | 12805.9534 | 0.2 | 101 | 7.84 | 98 | 1.2551 | 4075 | 1.4451 | 242.9938 | 306
Capital Centre Arjaan | 15 | 1 | 2025 | 11412.807 | 0.2 | 69 | 7.84 | 98 | 1.2551 | 4027 | 1.438 | 244.0039 | 289
Capital Centre Arjaan | 16 | 1 | 2025 | 11898.279 | 0.2 | 116 | 7.84 | 98 | 1.2551 | 4424 | 1.3533 | 239.0052 | 281
Capital Centre Arjaan | 17 | 1 | 2025 | 12591.5916 | 0.2 | 99 | 7.84 | 98 | 1.2551 | 3764 | 1.5645 | 204.61 | 240
Capital Centre Arjaan | 18 | 1 | 2025 | 12348.7142 | 0.2 | 39 | 7.84 | 98 | 1.2551 | 3570 | 1.6221 | 216.9902 | 267
Capital Centre Arjaan | 19 | 1 | 2025 | 12611.538 | 0.2 | 75 | 7.84 | 98 | 1.2551 | 3434 | 1.6863 | 224.0091 | 224
Capital Centre Arjaan | 20 | 1 | 2025 | 11736.8574 | 0.2 | 78 | 7.84 | 98 | 1.2551 | 3469 | 1.6693 | 237.9951 | 293
Capital Centre Arjaan | 21 | 1 | 2025 | 12507.5746 | 0.2 | 87 | 7.84 | 98 | 1.2551 | 3642 | 1.59 | 255.0114 | 306
Capital Centre Arjaan | 22 | 1 | 2025 | 12687.733 | 0.2 | 73 | 7.84 | 98 | 1.2551 | 3776 | 1.5336 | 257.0057 | 311
Capital Centre Arjaan | 23 | 1 | 2025 | 12781.4524 | 0.2 | 49 | 7.84 | 98 | 1.2551 | 3753 | 1.543 | 250.9969 | 312
Capital Centre Arjaan | 24 | 1 | 2025 | 12475.0794 | 0.2 | 49 | 7.84 | 98 | 1.2551 | 3488 | 1.6602 | 252.9912 | 329
Capital Centre Arjaan | 25 | 1 | 2025 | 12412.6722 | 0.2 | 77 | 7.84 | 98 | 1.2551 | 3451 | 1.678 | 247.0083 | 310
Capital Centre Arjaan | 26 | 1 | 2025 | 12667.8512 | 0.2 | 49 | 7.84 | 196 | 1.2551 | 3879 | 1.5181 | 213.0016 | 246
Capital Centre Arjaan | 27 | 1 | 2025 | 12689.2842 | 0.2 | 39 | 7.84 | 98 | 1.2551 | 4399 | 1.361 | 249.0026 | 294
Capital Centre Arjaan | 28 | 1 | 2025 | 11878.9092 | 0.2 | 42 | 7.84 | 196 | 1.2551 | 4326 | 1.384 | 250.0127 | 298
Capital Centre Arjaan | 29 | 1 | 2025 | 12423.5072 | 0.2 | 94 | 7.84 | 98 | 1.2551 | 4209 | 1.3991 | 242.0096 | 284
Capital Centre Arjaan | 30 | 1 | 2025 | 12552.6694 | 0.2 | 121 | 7.84 | 98 | 1.2551 | 4019 | 1.4653 | 254.0013 | 308
Capital Centre Arjaan | 31 | 1 | 2025 | 12805.1504 | 0.2 | 78 | 7.84 | 196 | 1.2551 | 3545 | 1.6335 | 259 | 320

## Jan 2025
CAPITAL CENTRE ARJAAN UTILITIES CONSUMPTION - 2024.
DATE | Electricity | [17 empty] | Water | [5 empty] | LP Gas |  |  |  | District Cooling | [8 empty] | Additional Info
| MDB #2 |  | MDB #3 |  |  | MDB #1 MDB-E |  |  | MDB #1 SMDB Kitchen |  | MDB #1 Fire Pump #1 |  |  | MDB #1 Fire Pump #2 |  |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Irrigation water BHP | Water Cons. M3 | Total Water Cons. M3 | Water AED | 1st Floor Kitchen |  | Gas AED | Gas Cylinder purchased (50 litres) | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | Bulk ETS Energy Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl. | Room Nights
| Reading | Cons. | Reading | Cons. | Hotel share 94.38 % | Reading | Cons. | Hotel share 65.36 % | Reading | Cons. | Reading | Cons. | Hotel share 50 % | Reading | Cons. | Hotel share 50 % |  |  |  |  | To be deducted from Hotel Meter. |  |  |  | No of Cylinder | Cons. Ltrs
2025-01-01 | 9737972 | 2325 | 23585928 | 6730 | 6351.774 | 15327958 | 4057 | 2651.6552 | 3683019 | 1305 | 1385 | 0 | 0 | 835 | 0 | 0 | 12633.4292 | 2526.6858 | 79480 | 75 | 36727 | 0 | 75 | 588 | 2 | 196 | 245.9996 | 0 | 82138 | 11 | 3127.795 | 1078.7765 | 5006.264 | 6085.0405 | 2341830 | 4277 | 15.0416 | 93.82% | 317 | 242.9938
2025-01-02 | 9740175 | 2203 | 23592760 | 6832 | 6448.0416 | 15332427 | 4469 | 2920.9384 | 3684266 | 1247 | 1385 | 0 | 0 | 835 | 0 | 0 | 12818.98 | 2563.796 | 79584 | 104 | 36738 | 11 | 93 | 729.12 | 1 | 98 | 122.9998 | 4 | 82147 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2345825 | 3995 | 14.0498 | 91.89% | 305 | 237.9951
2025-01-03 | 9742374 | 2199 | 23599999 | 7239 | 6832.1682 | 15337469 | 5042 | 3295.4512 | 3685539 | 1273 | 1385 | 0 | 0 | 835 | 0 | 0 | 13599.6194 | 2719.9239 | 79636 | 52 | 36745 | 7 | 45 | 352.8 | 1 | 98 | 122.9998 | 0 | 82156 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2349675 | 3850 | 13.5399 | 91.51% | 316 | 237.0109
2025-01-04 | 9744596 | 2222 | 23606596 | 6597 | 6226.2486 | 15340291 | 2822 | 1844.4592 | 3686771 | 1232 | 1401 | 16 | 8 | 845 | 10 | 5 | 11537.7078 | 2307.5416 | 79742 | 106 | 36752 | 7 | 99 | 776.16 | 1 | 98 | 122.9998 | 4 | 82164 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2353246 | 3571 | 12.5587 | 83.03% | 279 | 215.0477
2025-01-05 | 9746704 | 2108 | 23613194 | 6598 | 6227.1924 | 15344292 | 4001 | 2615.0536 | 3687988 | 1217 | 1401 | 0 | 0 | 845 | 0 | 0 | 12167.246 | 2433.4492 | 79838 | 96 | 36761 | 9 | 87 | 682.08 | 1 | 98 | 122.9998 | 0 | 82172 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2356657 | 3411 | 11.996 | 79.54% | 253 | 206.0086
2025-01-06 | 9748792 | 2088 | 23619913 | 6719 | 6341.3922 | 15348475 | 4183 | 2734.0088 | 3689231 | 1243 | 1401 | 0 | 0 | 845 | 0 | 0 | 12406.401 | 2481.2802 | 79947 | 109 | 36788 | 27 | 82 | 642.88 | 1 | 98 | 122.9998 | 0 | 82180 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2360430 | 3773 | 13.2691 | 83.4% | 254 | 216.006
2025-01-07 | 9750935 | 2143 | 23626711 | 6798 | 6415.9524 | 15352711 | 4236 | 2768.6496 | 3690493 | 1262 | 1401 | 0 | 0 | 845 | 0 | 0 | 12589.602 | 2517.9204 | 80054 | 107 | 36798 | 10 | 97 | 760.48 | 1 | 98 | 122.9998 | 4 | 82189 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2364530 | 4100 | 14.4191 | 76.06% | 237 | 196.9954
2025-01-08 | 9752988 | 2053 | 23633093 | 6382 | 6023.3316 | 15356692 | 3981 | 2601.9816 | 3691700 | 1207 | 1401 | 0 | 0 | 846 | 1 | 0.5 | 11885.8132 | 2377.1626 | 80117 | 63 | 36799 | 1 | 62 | 486.08 | 1 | 98 | 122.9998 | 0 | 82198 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2368414 | 3884 | 13.6595 | 90.73% | 281 | 234.9907
2025-01-09 | 9755106 | 2118 | 23639916 | 6823 | 6439.5474 | 15360711 | 4019 | 2626.8184 | 3692925 | 1225 | 1401 | 0 | 0 | 846 | 0 | 0 | 12409.3658 | 2481.8732 | 80214 | 97 | 36805 | 6 | 91 | 713.44 | 2 | 196 | 245.9996 | 0 | 82207 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2372411 | 3997 | 14.0569 | 77.99% | 260 | 201.9941
2025-01-10 | 9757219 | 2113 | 23646933 | 7017 | 6622.6446 | 15364760 | 4049 | 2646.4264 | 3694178 | 1253 | 1401 | 0 | 0 | 846 | 0 | 0 | 12635.071 | 2527.0142 | 80285 | 71 | 36805 | 0 | 71 | 556.64 | 1 | 98 | 122.9998 | 5 | 82216 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2376663 | 4252 | 14.9537 | 77.61% | 260 | 201.0099
2025-01-11 | 9759381 | 2162 | 23653893 | 6960 | 6568.848 | 15368737 | 3977 | 2599.3672 | 3695497 | 1319 | 1401 | 0 | 0 | 846 | 0 | 0 | 12649.2152 | 2529.843 | 80366 | 81 | 36805 | 0 | 81 | 635.04 | 2 | 196 | 245.9996 | 0 | 82224 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2380675 | 4012 | 14.1096 | 85.33% | 299 | 221.0047
2025-01-12 | 9761525 | 2144 | 23660137 | 6244 | 5893.0872 | 15372883 | 4146 | 2709.8256 | 3696822 | 1325 | 1414 | 13 | 6.5 | 853 | 7 | 3.5 | 12081.9128 | 2416.3826 | 80444 | 78 | 36813 | 8 | 70 | 548.8 | 1 | 98 | 122.9998 | 0 | 82236 | 12 | 3412.14 | 1176.8471 | 5006.264 | 6183.1111 | 2384927 | 4252 | 14.9537 | 87.64% | 279 | 226.9876
2025-01-13 | 9763611 | 2086 | 23667131 | 6994 | 6600.9372 | 15376972 | 4089 | 2672.5704 | 3698043 | 1221 | 1414 | 0 | 0 | 853 | 0 | 0 | 12580.5076 | 2516.1015 | 80494 | 50 | 36820 | 7 | 43 | 337.12 | 1 | 98 | 122.9998 | 4 | 82245 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2389073 | 4146 | 14.5809 | 91.12% | 284 | 236.0008
2025-01-14 | 9765799 | 2188 | 23674048 | 6917 | 6528.2646 | 15381205 | 4233 | 2766.6888 | 3699366 | 1323 | 1414 | 0 | 0 | 853 | 0 | 0 | 12805.9534 | 2561.1907 | 80602 | 108 | 36827 | 7 | 101 | 791.84 | 1 | 98 | 122.9998 | 0 | 82254 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2393148 | 4075 | 14.3312 | 93.82% | 306 | 242.9938
2025-01-15 | 9767852 | 2053 | 23679973 | 5925 | 5592.015 | 15385175 | 3970 | 2594.792 | 3700539 | 1173 | 1414 | 0 | 0 | 853 | 0 | 0 | 11412.807 | 2282.5614 | 80680 | 78 | 36836 | 9 | 69 | 540.96 | 1 | 98 | 122.9998 | 0 | 82262 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2397175 | 4027 | 14.1624 | 94.21% | 289 | 244.0039
2025-01-16 | 9769988 | 2136 | 23686110 | 6137 | 5792.1006 | 15389294 | 4119 | 2692.1784 | 3701817 | 1278 | 1414 | 0 | 0 | 853 | 0 | 0 | 11898.279 | 2379.6558 | 80803 | 123 | 36843 | 7 | 116 | 909.44 | 1 | 98 | 122.9998 | 0 | 82272 | 10 | 2843.45 | 980.7059 | 5006.264 | 5986.9699 | 2401599 | 4424 | 15.5586 | 92.28% | 281 | 239.0052
2025-01-17 | 9772153 | 2165 | 23692884 | 6774 | 6393.3012 | 15393583 | 4289 | 2803.2904 | 3703047 | 1230 | 1414 | 0 | 0 | 853 | 0 | 0 | 12591.5916 | 2518.3183 | 80909 | 106 | 36850 | 7 | 99 | 776.16 | 1 | 98 | 122.9998 | 5 | 82281 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2405363 | 3764 | 13.2374 | 79% | 240 | 204.61
2025-01-18 | 9774284 | 2131 | 23699577 | 6693 | 6316.8534 | 15397586 | 4003 | 2616.3608 | 3704312 | 1265 | 1442 | 28 | 14 | 864 | 11 | 5.5 | 12348.7142 | 2469.7428 | 80955 | 46 | 36857 | 7 | 39 | 305.76 | 1 | 98 | 122.9998 | 0 | 82289 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2408933 | 3570 | 12.5552 | 83.78% | 267 | 216.9902
2025-01-19 | 9776437 | 2153 | 23706483 | 6906 | 6517.8828 | 15401643 | 4057 | 2651.6552 | 3705601 | 1289 | 1442 | 0 | 0 | 864 | 0 | 0 | 12611.538 | 2522.3076 | 81038 | 83 | 36865 | 8 | 75 | 588 | 1 | 98 | 122.9998 | 0 | 82297 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2412367 | 3434 | 12.0769 | 86.49% | 224 | 224.0091
2025-01-20 | 9778429 | 1992 | 23712816 | 6333 | 5977.0854 | 15405538 | 3895 | 2545.772 | 3706823 | 1222 | 1442 | 0 | 0 | 864 | 0 | 0 | 11736.8574 | 2347.3715 | 81123 | 85 | 36872 | 7 | 78 | 611.52 | 1 | 98 | 122.9998 | 0 | 82305 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2415836 | 3469 | 12.2 | 91.89% | 293 | 237.9951
2025-01-21 | 9780520 | 2091 | 23719711 | 6895 | 6507.501 | 15409614 | 4076 | 2664.0736 | 3708068 | 1245 | 1442 | 0 | 0 | 864 | 0 | 0 | 12507.5746 | 2501.5149 | 81217 | 94 | 36879 | 7 | 87 | 682.08 | 1 | 98 | 122.9998 | 6 | 82313 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2419478 | 3642 | 12.8084 | 98.46% | 306 | 255.0114
2025-01-22 | 9782639 | 2119 | 23726786 | 7075 | 6677.385 | 15413669 | 4055 | 2650.348 | 3709309 | 1241 | 1442 | 0 | 0 | 864 | 0 | 0 | 12687.733 | 2537.5466 | 81300 | 83 | 36889 | 10 | 73 | 572.32 | 1 | 98 | 122.9998 | 0 | 82321 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2423254 | 3776 | 13.2796 | 99.23% | 311 | 257.0057
2025-01-23 | 9784771 | 2132 | 23733896 | 7110 | 6710.418 | 15417748 | 4079 | 2666.0344 | 3710582 | 1273 | 1442 | 0 | 0 | 864 | 0 | 0 | 12781.4524 | 2556.2905 | 81357 | 57 | 36897 | 8 | 49 | 384.16 | 1 | 98 | 122.9998 | 0 | 82329 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2427007 | 3753 | 13.1988 | 96.91% | 312 | 250.9969
2025-01-24 | 9786832 | 2061 | 23740899 | 7003 | 6609.4314 | 15421678 | 3930 | 2568.648 | 3711818 | 1236 | 1442 | 0 | 0 | 864 | 0 | 0 | 12475.0794 | 2495.0159 | 81413 | 56 | 36904 | 7 | 49 | 384.16 | 1 | 98 | 122.9998 | 5 | 82337 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2430495 | 3488 | 12.2668 | 97.68% | 329 | 252.9912
2025-01-25 | 9788955 | 2123 | 23747798 | 6899 | 6511.2762 | 15425538 | 3860 | 2522.896 | 3713057 | 1239 | 1460 | 18 | 9 | 879 | 15 | 7.5 | 12412.6722 | 2482.5344 | 81497 | 84 | 36911 | 7 | 77 | 603.68 | 1 | 98 | 122.9998 | 0 | 82345 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2433946 | 3451 | 12.1367 | 95.37% | 310 | 247.0083
2025-01-26 | 9791140 | 2185 | 23754846 | 7048 | 6651.9024 | 15429496 | 3958 | 2586.9488 | 3714301 | 1244 | 1460 | 0 | 0 | 879 | 0 | 0 | 12667.8512 | 2533.5702 | 81554 | 57 | 36919 | 8 | 49 | 384.16 | 2 | 196 | 245.9996 | 0 | 82354 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2437825 | 3879 | 13.6419 | 82.24% | 246 | 213.0016
2025-01-27 | 9793289 | 2149 | 23761877 | 7031 | 6635.8578 | 15433545 | 4049 | 2646.4264 | 3715559 | 1258 | 1460 | 0 | 0 | 879 | 0 | 0 | 12689.2842 | 2537.8568 | 81600 | 46 | 36926 | 7 | 39 | 305.76 | 1 | 98 | 122.9998 | 0 | 82364 | 10 | 2843.45 | 980.7059 | 5006.264 | 5986.9699 | 2442224 | 4399 | 15.4706 | 96.14% | 294 | 249.0026
2025-01-28 | 9795378 | 2089 | 23768447 | 6570 | 6200.766 | 15437182 | 3637 | 2377.1432 | 3716771 | 1212 | 1460 | 0 | 0 | 879 | 0 | 0 | 11878.9092 | 2375.7818 | 81651 | 51 | 36935 | 9 | 42 | 329.28 | 2 | 196 | 245.9996 | 5 | 82374 | 10 | 2843.45 | 980.7059 | 5006.264 | 5986.9699 | 2446550 | 4326 | 15.2139 | 96.53% | 298 | 250.0127
2025-01-29 | 9797542 | 2164 | 23775263 | 6816 | 6432.9408 | 15441131 | 3949 | 2581.0664 | 3718016 | 1245 | 1460 | 0 | 0 | 880 | 1 | 0.5 | 12423.5072 | 2484.7014 | 81752 | 101 | 36942 | 7 | 94 | 736.96 | 1 | 98 | 122.9998 | 0 | 82383 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2450759 | 4209 | 14.8024 | 93.44% | 284 | 242.0096
2025-01-30 | 9799645 | 2103 | 23782284 | 7021 | 6626.4198 | 15445117 | 3986 | 2605.2496 | 3719234 | 1218 | 1460 | 0 | 0 | 880 | 0 | 0 | 12552.6694 | 2510.5339 | 81880 | 128 | 36949 | 7 | 121 | 948.64 | 1 | 98 | 122.9998 | 0 | 82392 | 9 | 2559.105 | 882.6353 | 5006.264 | 5888.8993 | 2454778 | 4019 | 14.1342 | 98.07% | 308 | 254.0013
2025-01-31 | 9801748 | 2103 | 23789512 | 7228 | 6821.7864 | 15449107 | 3990 | 2607.864 | 3720506 | 1272 | 1460 | 0 | 0 | 881 | 1 | 0.5 | 12805.1504 | 2561.0301 | 81970 | 90 | 36961 | 12 | 78 | 611.52 | 2 | 196 | 245.9996 | 6 | 82400 | 8 | 2274.76 | 784.5647 | 5006.264 | 5790.8287 | 2458323 | 3545 | 12.4672 | 100% | 320 | 259
|  | 66101 |  |  | 198494.3532 |  |  | 81834.6416 |  | 38792 |  |  | 37.5 |  |  | 23 | 385282.4948 | 77056.499 |  | 2565 |  | 234 | 2331 | 18275.04 | 37 | 3626 | 4550.9926 | 48 |  | 273 | 77626.185 | 26773.2712 | 155194.1831 | 181967.4543 |  | 120770 | 424.7305 | 89.85% | 8842 | 7213.6939
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  |  |  |  | AED |  |  |  | KW | [8 empty] | Water |  | AED |  | M3 |  | Gas | AED | Litres |  | District Cooling |  | AED |  | Ton Hour
| Actual January 2025 |  |  |  |  | 77056.499 |  |  |  | 385282.4948 | [8 empty] | Actual January 2025 |  | 18275.04 |  | 2331 |  | Actual January 2025 | 4550.9926 | 3626 |  | Actual January 2025 |  | 181967.4543 |  | 77626.185 | #VALUE! | [6 empty] | 149225.58
| Budget January 2025 |  |  |  |  | 77595.3686 |  |  |  | 387976.8428 | [8 empty] | Budget January 2025 |  | 14242.6967 |  | 1816.6705 |  | Budget January 2025 | 4317.6851 | 3440.1124 |  | Budget January 2025 |  | 192800.9814 |  | 109036.8172 | #VALUE! | [6 empty] | 37606.7983 | CHW Consumption Charges (Budget 2025 MTD)
| Actual YTD 2025 |  |  |  |  | 77056.499 |  |  |  | 385282.4948 | [8 empty] | Actual YTD 2025 |  | 18275.04 |  | 2331 |  | Actual YTD 2025 | 4550.9926 | 3626 |  | Actual YTD 2025 |  | 181967.4543 |  | 77626.194 | [7 empty] | 26773.2743 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  |  |  |  | 77595.3686 |  |  |  | 387976.8428 | [8 empty] | Budget YTD 2025 |  | 14242.6967 |  | 1816.6705 |  | Budget YTD 2025 | 4317.6851 | 3440.1124 |  | Budget YTD 2025 |  | 192800.9814 |  | 109036.8262 | #VALUE! | [6 empty] | 37606.8014 | CHW Consumption Charges (Budget 2025 YTD)
| Actual January 2024 |  |  |  |  | 75167.11 |  |  |  | 375835.55 | [8 empty] | Actual January 2024 |  | 12277.44 |  | 1566 |  | Actual January 2024 | 3696.02 | 4312.2389 |  | Actual January 2024 |  | 180863.96 |  | 108594.8576 | #VALUE! | [6 empty] | 37378.35 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2024 |  |  |  |  | 75167.11 |  |  |  | 375835.55 | [8 empty] | Actual YTD 2024 |  | 12277.44 |  | 1566 |  | Actual YTD 2024 | 3696.02 | 4312.2389 |  | Actual YTD 2024 |  | 180863.96 |  | 91918.5938 | #VALUE! | [6 empty] | 31638.38 | CHW Consumption Charges (Actual 2024 YTD)
[6 empty] | 2025-01-01 |  | 2025-01-31 | 31
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  | YTD Budget |  |  |  |  | YTD Actual |  |  | Savings | Exceeds | [7 empty] | 155194.18 | CHW Fixed Charges YTD 2025
Electricity | 77595.3686 |  | Electricity |  |  | 2503.0764 |  | Electricity |  |  | 2485.6935 |  | Electricity |  |  |  |  | 77595.3686 |  | Electricity |  | 77056.499 | 538.8696 | Electricity |  | 155190.7371 |  |  | Electricity |  | 154112.9979 | 1077.7392 | -1077.7392 | [7 empty] | 149225.58 | CHW Fixed Charges YTD 2024
Water | 14242.6967 |  | Water |  |  | 459.4418 |  | Water |  |  | 589.5174 |  | Water |  |  |  |  | 14242.6967 |  | Water |  | 18275.04 | -4032.3433 | Water |  | 28485.3935 |  |  | Water |  | 36550.08 | -8064.6865 | 8064.6865 | [7 empty] | 143485.61
Gas | 4317.6851 |  | Gas |  |  | 139.2802 |  | Gas |  |  | 146.8062 |  | Gas |  |  |  |  | 4317.6851 |  | Gas |  | 4550.9926 | -233.3075 | Gas |  | 8635.3701 |  |  | Gas |  | 9101.9852 | -466.6151 | 466.6151
Chilled Water | 192800.9814 |  | Chilled Water |  |  | 6219.3865 |  | Chilled Water |  |  | 5869.9179 |  | Chilled Water |  |  |  |  | 192800.9814 |  | Chilled Water |  | 181967.4543 | 10833.5271 | Chilled Water |  | 385601.9627 |  |  | Chilled Water |  | 363934.9086 | 21667.0541 | -21667.0541
[18 empty] | 288956.7317 |  |  |  | 281849.9859 | 7106.7458 | Total Energy Cost YTD | Total Energy cost | 577913.4634 |  |  |  |  | 563699.9717 | 14213.4917
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  | YTD Actual Vs Last Year |  |  |  |  | MTD Fcast | YTD Fcast |  | MTD Savings Forecast Vs LY | YTD Savings Forecast Vs LY
Electricity | 75167.11 |  | Electricity |  |  | 2424.7455 |  | Electricity |  |  | 75167.11 |  | Electricity |  |  |  | 77056.499 |  |  | Electricity |  | -1889.389 |  | Electricity |  | -1889.389 |  |  | 77056.499 | 378687.259 |  | -1889.389 | -303520.149
Water | 12277.44 |  | Water |  |  | 396.0465 |  | Water |  |  | 12277.44 |  | Water |  |  |  | 18275.04 |  |  | Water |  | -5997.6 |  | Water |  | -5997.6 |  |  | 18275.04 | 78674.4 |  | -5997.6 | -66396.96
Gas | 3696.02 |  | Gas |  |  | 119.2265 |  | Gas |  |  | 3696.02 |  | Gas |  |  |  | 4550.9926 |  |  | Gas |  | -854.9726 |  | Gas |  | -854.9726 |  |  | 4550.9926 | 19790.9126 |  | -854.9726 | -16094.8926
Chilled Water | 180863.96 |  | Chilled Water |  |  | 5834.3213 |  | Chilled Water |  |  | 180863.96 |  | Chilled Water |  |  |  | 181967.4543 |  |  | Chilled Water |  | -1103.4943 |  | Chilled Water |  | -1103.4943 |  |  | 181967.4543 | 902859.5443 |  | -1103.4943 | -721995.5843
| 272004.53 | [9 empty] | 272004.53 | [5 empty] | 281849.9859 |  |  |  |  | -9845.4559 |  |  |  | -9845.4559 |  |  | 281849.9859 | 1380012.1159 |  | -9845.4559 | -1108007.5859
-3.62%