## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 4 | 2025 | 15574 | 0.2 | 33.7824 | 16.875 | 87 | 7.84 | 6458.275 | 0.3449 | 199.9935 | 285
Pearl Rotana Capital Centre | 2 | 4 | 2025 | 15261 | 0.2 | 32.7267 | 16.875 | 92 | 7.84 | 6522.93 | 0.3449 | 264.0015 | 338
Pearl Rotana Capital Centre | 3 | 4 | 2025 | 15661 | 0.2 | 28.5039 | 16.875 | 106 | 7.84 | 7184.93 | 0.3449 | 260.001 | 332
Pearl Rotana Capital Centre | 4 | 4 | 2025 | 16296 | 0.2 | 43.2837 | 16.875 | 110 | 7.84 | 7460.585 | 0.3449 | 251.1495 | 327
Pearl Rotana Capital Centre | 5 | 4 | 2025 | 15620 | 0.2 | 31.671 | 16.875 | 111 | 7.84 | 7031.93 | 0.3449 | 210.987 | 262
Pearl Rotana Capital Centre | 6 | 4 | 2025 | 15746 | 0.2 | 33.7824 | 16.875 | 87 | 7.84 | 7233.93 | 0.3449 | 252 | 270
Pearl Rotana Capital Centre | 7 | 4 | 2025 | 15413 | 0.2 | 39.0609 | 16.875 | 91 | 7.84 | 7329.24 | 0.3449 | 300.006 | 326
Pearl Rotana Capital Centre | 8 | 4 | 2025 | 15974 | 0.2 | 38.0052 | 16.875 | 95 | 7.84 | 7476.895 | 0.3449 | 315 | 353
Pearl Rotana Capital Centre | 9 | 4 | 2025 | 16641 | 0.2 | 40.1166 | 16.875 | 92 | 7.84 | 7326.24 | 0.3449 | 315 | 355
Pearl Rotana Capital Centre | 10 | 4 | 2025 | 15136 | 0.2 | 35.8938 | 16.875 | 105 | 7.84 | 7390.24 | 0.3449 | 300.006 | 359
Pearl Rotana Capital Centre | 11 | 4 | 2025 | 14980 | 0.2 | 39.0609 | 16.875 | 89 | 7.84 | 6448.585 | 0.3449 | 253.9845 | 350
Pearl Rotana Capital Centre | 12 | 4 | 2025 | 15481 | 0.2 | 34.8381 | 16.875 | 92 | 7.84 | 7369.585 | 0.3449 | 178.0695 | 246
Pearl Rotana Capital Centre | 13 | 4 | 2025 | 15125 | 0.2 | 36.9495 | 16.875 | 84 | 7.84 | 7721.585 | 0.3449 | 198.9855 | 239
Pearl Rotana Capital Centre | 14 | 4 | 2025 | 15832 | 0.2 | 43.2837 | 16.875 | 98 | 7.84 | 8390.895 | 0.3449 | 278.9955 | 318
Pearl Rotana Capital Centre | 15 | 4 | 2025 | 14862 | 0.2 | 42.228 | 16.875 | 84 | 7.84 | 7669.24 | 0.3449 | 312.0075 | 342
Pearl Rotana Capital Centre | 16 | 4 | 2025 | 14825 | 0.2 | 39.0609 | 16.875 | 96 | 7.84 | 7357.24 | 0.3449 | 302.9985 | 357
Pearl Rotana Capital Centre | 17 | 4 | 2025 | 15806 | 0.2 | 41.1723 | 16.875 | 96 | 7.84 | 7126.24 | 0.3449 | 285.9885 | 353
Pearl Rotana Capital Centre | 18 | 4 | 2025 | 15897 | 0.2 | 44.3394 | 16.875 | 111 | 7.84 | 7049.93 | 0.3449 | 300.006 | 398
Pearl Rotana Capital Centre | 19 | 4 | 2025 | 16001 | 0.2 | 40.1166 | 16.875 | 107 | 7.84 | 6347.93 | 0.3449 | 293.013 | 393
Pearl Rotana Capital Centre | 20 | 4 | 2025 | 15142 | 0.2 | 38.0052 | 16.875 | 107 | 7.84 | 6527.62 | 0.3449 | 268.002 | 342
Pearl Rotana Capital Centre | 21 | 4 | 2025 | 15323 | 0.2 | 43.2837 | 16.875 | 102 | 7.84 | 7082.585 | 0.3449 | 246.9915 | 315
Pearl Rotana Capital Centre | 22 | 4 | 2025 | 15308 | 0.2 | 35.8938 | 16.875 | 83 | 7.84 | 7624.24 | 0.3449 | 264.0015 | 321
Pearl Rotana Capital Centre | 23 | 4 | 2025 | 15227 | 0.2 | 34.8381 | 16.875 | 101 | 7.84 | 7566.895 | 0.3449 | 258.993 | 331
Pearl Rotana Capital Centre | 24 | 4 | 2025 | 15482 | 0.2 | 36.9495 | 16.875 | 101 | 7.84 | 7849.24 | 0.3449 | 268.002 | 350
Pearl Rotana Capital Centre | 25 | 4 | 2025 | 15415 | 0.2 | 36.9495 | 16.875 | 104 | 7.84 | 8122.24 | 0.3449 | 300.006 | 404
Pearl Rotana Capital Centre | 26 | 4 | 2025 | 14917 | 0.2 | 27.4482 | 16.875 | 111 | 7.84 | 7645.585 | 0.3449 | 300.006 | 395
Pearl Rotana Capital Centre | 27 | 4 | 2025 | 15243 | 0.2 | 35.8938 | 16.875 | 110 | 7.84 | 8294.24 | 0.3449 | 304.0065 | 369
Pearl Rotana Capital Centre | 28 | 4 | 2025 | 15413 | 0.2 | 34.8381 | 16.875 | 103 | 7.84 | 8446.55 | 0.3449 | 310.9995 | 390
Pearl Rotana Capital Centre | 29 | 4 | 2025 | 15451 | 0.2 | 36.9495 | 16.875 | 92 | 7.84 | 8541.55 | 0.3449 | 310.9995 | 377
Pearl Rotana Capital Centre | 30 | 4 | 2025 | 15138 | 0.2 | 35.8938 | 16.875 | 97 | 7.84 | 8586.895 | 0.3449 | 301.9905 | 369

## Submetering
Site Name | Day | Month | Year | MDB#2 | MDB#3 | MDB#1 Façade | Water | Gas Meter#1 GF Kitchen | Gas Meter#2 1st floor Kitchen | District Cooling | District Cooling ETS | Water Main Kitchen | Room Nights | Total Guests
Pearl Rotana Capital Centre | 1 | 4 | 2025 | 7905 | 7542 | 127 | 87 | 18 | 14 | 6458.275 | 7880 | 4 | 199.9935 | 285
Pearl Rotana Capital Centre | 2 | 4 | 2025 | 7923 | 7211 | 127 | 92 | 17 | 14 | 6522.93 | 8229 | 7 | 264.0015 | 338
Pearl Rotana Capital Centre | 3 | 4 | 2025 | 8163 | 7376 | 122 | 106 | 18 | 10 | 7184.93 | 8891 | 5 | 260.001 | 332
Pearl Rotana Capital Centre | 4 | 4 | 2025 | 8492 | 7678 | 126 | 110 | 20 | 20 | 7460.585 | 9451 | 7 | 251.1495 | 327
Pearl Rotana Capital Centre | 5 | 4 | 2025 | 7835 | 7661 | 124 | 111 | 19 | 12 | 7031.93 | 8738 | 5 | 210.987 | 262
Pearl Rotana Capital Centre | 6 | 4 | 2025 | 7974 | 7646 | 126 | 87 | 19 | 12 | 7233.93 | 8940 | 5 | 252 | 270
Pearl Rotana Capital Centre | 7 | 4 | 2025 | 7850 | 7433 | 130 | 91 | 20 | 19 | 7329.24 | 9604 | 7 | 300.006 | 326
Pearl Rotana Capital Centre | 8 | 4 | 2025 | 8007 | 7839 | 128 | 95 | 20 | 16 | 7476.895 | 10036 | 5 | 315 | 353
Pearl Rotana Capital Centre | 9 | 4 | 2025 | 8382 | 8141 | 118 | 92 | 21 | 15 | 7326.24 | 9601 | 5 | 315 | 355
Pearl Rotana Capital Centre | 10 | 4 | 2025 | 7695 | 7321 | 120 | 105 | 20 | 16 | 7390.24 | 9665 | 5 | 300.006 | 359
Pearl Rotana Capital Centre | 11 | 4 | 2025 | 7719 | 7134 | 127 | 89 | 20 | 17 | 6448.585 | 8439 | 6 | 253.9845 | 350
Pearl Rotana Capital Centre | 12 | 4 | 2025 | 7955 | 7399 | 127 | 92 | 17 | 14 | 7369.585 | 9360 | 6 | 178.0695 | 246
Pearl Rotana Capital Centre | 13 | 4 | 2025 | 7692 | 7307 | 126 | 84 | 18 | 10 | 7721.585 | 9712 | 4 | 198.9855 | 239
Pearl Rotana Capital Centre | 14 | 4 | 2025 | 8216 | 7492 | 124 | 98 | 20 | 19 | 8390.895 | 10950 | 5 | 278.9955 | 318
Pearl Rotana Capital Centre | 15 | 4 | 2025 | 7626 | 7112 | 124 | 84 | 19 | 21 | 7669.24 | 9944 | 4 | 312.0075 | 342
Pearl Rotana Capital Centre | 16 | 4 | 2025 | 7595 | 7106 | 124 | 96 | 20 | 18 | 7357.24 | 9632 | 6 | 302.9985 | 357
Pearl Rotana Capital Centre | 17 | 4 | 2025 | 8310 | 7370 | 126 | 96 | 20 | 20 | 7126.24 | 9401 | 4 | 285.9885 | 353
Pearl Rotana Capital Centre | 18 | 4 | 2025 | 8069 | 7704 | 124 | 111 | 20 | 22 | 7049.93 | 8756 | 4 | 300.006 | 398
Pearl Rotana Capital Centre | 19 | 4 | 2025 | 7910 | 7965 | 126 | 107 | 20 | 18 | 6347.93 | 8054 | 8 | 293.013 | 393
Pearl Rotana Capital Centre | 20 | 4 | 2025 | 7924 | 7095 | 123 | 107 | 20 | 17 | 6527.62 | 7665 | 7 | 268.002 | 342
Pearl Rotana Capital Centre | 21 | 4 | 2025 | 8022 | 7174 | 127 | 102 | 18 | 23 | 7082.585 | 9073 | 6 | 246.9915 | 315
Pearl Rotana Capital Centre | 22 | 4 | 2025 | 7925 | 7263 | 120 | 83 | 18 | 17 | 7624.24 | 9899 | 6 | 264.0015 | 321
Pearl Rotana Capital Centre | 23 | 4 | 2025 | 7792 | 7317 | 118 | 101 | 18 | 14 | 7566.895 | 10126 | 6 | 258.993 | 331
Pearl Rotana Capital Centre | 24 | 4 | 2025 | 7984 | 7381 | 117 | 101 | 20 | 16 | 7849.24 | 10124 | 6 | 268.002 | 350
Pearl Rotana Capital Centre | 25 | 4 | 2025 | 7994 | 7308 | 113 | 104 | 20 | 16 | 8122.24 | 10397 | 7 | 300.006 | 404
Pearl Rotana Capital Centre | 26 | 4 | 2025 | 7911 | 6887 | 119 | 111 | 19 | 10 | 7645.585 | 9636 | 7 | 300.006 | 395
Pearl Rotana Capital Centre | 27 | 4 | 2025 | 7752 | 7371 | 120 | 110 | 18 | 17 | 8294.24 | 10569 | 7 | 304.0065 | 369
Pearl Rotana Capital Centre | 28 | 4 | 2025 | 7891 | 7402 | 120 | 103 | 19 | 13 | 8446.55 | 11290 | 8 | 310.9995 | 390
Pearl Rotana Capital Centre | 29 | 4 | 2025 | 7907 | 7424 | 120 | 92 | 18 | 18 | 8541.55 | 11385 | 8 | 310.9995 | 377
Pearl Rotana Capital Centre | 30 | 4 | 2025 | 7820 | 7199 | 119 | 97 | 18 | 15 | 8586.895 | 11146 | 8 | 301.9905 | 369

## Apr 2025
PEARL ROTANA CAPITAL CENTRE UTILITIES CONSUMPTION - APRIL 2025
DATE | Electricity | [7 empty] | Water |  |  | SNG Gas | [8 empty] | District Cooling | [8 empty] | Additional Info |  | Additional Meter
| MDB #2 |  | MDB #3 |  | MDB #1 Façade |  | Total ELE Cons. KW | Electricity AED | Hotel Reading | Water Cons. M3 | Water AED | Gas Meter #1 G Floor Kitchen |  | Gas Meter #2 1st Floor Kitchen |  | Total Gas Cons. M3 | PRS Meter Reading | PRS Meter Cons. M3 | Meter factor (1.05570) | Gas AED | Hotel BTU Meter Energy Reading | District Cooling Cons. MWH | District Cooling Cons. Ton Hour | District Cooling Cons. AED | District Cooling Fixed Charge | District Cooling Total AED | ETS Energy Bulk Meter Reading | ETS Cons. Ton Hours | ETS Cons. MWH | Hotel Occupancy % | Adl. & Chl. | Blue Sky tower Chilled water |  | Electricity MDB-1 |  |  | Electricity MDB-E |  |  | Electricity-MCC Panel Chilled water Secondary Pumps |  |  | Water - Main kitchen |  |  | Water - Swimming Pool |  |  | Water - Bottling Plant
| Reading | Cons. | Reading | Cons. | Reading | Cons. | [5 empty] | Reading | Cons. | Reading | Cons. | [16 empty] | Meter Reading | Cons. MWH | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. KWH | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED | Meter Reading | Cons. M3 | AED
2025-03-01 | 21721732 | 7905 | 22406884 | 7542 | 496217 | 127 | 15574 | 3114.8 | 114963 | 87 | 682.08 | 42392 | 18 | 25649 | 14 | 32 | 63960 | 32 | 33.7824 | 589.9555 | 78633 | 28 | 6458.275 | 2227.459 | 4560.3027 | 6787.7617 | 1371537 | 7880 | 27.7128 | 63.49% | 285 | 21059 | 5 | 15224395 | 4514 | 902.8 | 6966464 | 2114 | 422.8 | 262705 | 564 | 112.8 | 9019 | 4 | 31.36 | 3373 | 1 | 7.84 | 208 | 1 | 7.84
2025-03-02 | 21729655 | 7923 | 22414095 | 7211 | 496344 | 127 | 15261 | 3052.2 | 115055 | 92 | 721.28 | 42409 | 17 | 25663 | 14 | 31 | 63991 | 31 | 32.7267 | 578.29 | 78659 | 26 | 6522.93 | 2249.7586 | 4560.3027 | 6810.0612 | 1379766 | 8229 | 28.9402 | 83.81% | 338 | 21065 | 6 | 15229888 | 5493 | 1098.6 | 6968699 | 2235 | 447 | 263109 | 404 | 80.8 | 9026 | 7 | 54.88 | 3374 | 1 | 7.84 | 209 | 1 | 7.84
2025-03-03 | 21737818 | 8163 | 22421471 | 7376 | 496466 | 122 | 15661 | 3132.2 | 115161 | 106 | 831.04 | 42427 | 18 | 25673 | 10 | 28 | 64018 | 27 | 28.5039 | 531.6281 | 78689 | 30 | 7184.93 | 2478.0824 | 4560.3027 | 7038.385 | 1388657 | 8891 | 31.2684 | 82.54% | 332 | 21071 | 6 | 15235480 | 5592 | 1118.4 | 6970944 | 2245 | 449 | 263564 | 455 | 91 | 9031 | 5 | 39.2 | 3375 | 1 | 7.84 | 210 | 1 | 7.84
2025-03-04 | 21746310 | 8492 | 22429149 | 7678 | 496592 | 126 | 16296 | 3259.2 | 115271 | 110 | 862.4 | 42447 | 20 | 25693 | 20 | 40 | 64059 | 41 | 43.2837 | 694.9449 | 78720 | 31 | 7460.585 | 2573.1558 | 4560.3027 | 7133.4584 | 1398108 | 9451 | 33.2378 | 79.73% | 327 | 21078 | 7 | 15241152 | 5672 | 1134.4 | 6973244 | 2300 | 460 | 264072 | 508 | 101.6 | 9038 | 7 | 54.88 | 3378 | 3 | 23.52 | 210 | 0 | 0
2025-03-05 | 21754145 | 7835 | 22436810 | 7661 | 496716 | 124 | 15620 | 3124 | 115382 | 111 | 870.24 | 42466 | 19 | 25705 | 12 | 31 | 64089 | 30 | 31.671 | 566.6245 | 78750 | 30 | 7031.93 | 2425.3127 | 4560.3027 | 6985.6153 | 1406846 | 8738 | 30.7303 | 66.98% | 262 | 21084 | 6 | 15245585 | 4433 | 886.6 | 6975289 | 2045 | 409 | 264462 | 390 | 78 | 9043 | 5 | 39.2 | 3382 | 4 | 31.36 | 211 | 1 | 7.84
2025-03-06 | 21762119 | 7974 | 22444456 | 7646 | 496842 | 126 | 15746 | 3149.2 | 115469 | 87 | 682.08 | 42485 | 19 | 25717 | 12 | 31 | 64121 | 32 | 33.7824 | 589.9555 | 78780 | 30 | 7233.93 | 2494.9825 | 4560.3027 | 7055.2851 | 1415786 | 8940 | 31.4407 | 80% | 270 | 21090 | 6 | 15250125 | 4540 | 908 | 6977418 | 2129 | 425.8 | 264814 | 352 | 70.4 | 9048 | 5 | 39.2 | 3384 | 2 | 15.68 | 212 | 1 | 7.84
2025-03-07 | 21769969 | 7850 | 22451889 | 7433 | 496972 | 130 | 15413 | 3082.6 | 115560 | 91 | 713.44 | 42505 | 20 | 25736 | 19 | 39 | 64158 | 37 | 39.0609 | 648.2829 | 78810 | 30 | 7329.24 | 2527.8549 | 4560.3027 | 7088.1576 | 1425390 | 9604 | 33.7759 | 95.24% | 326 | 21098 | 8 | 15255759 | 5634 | 1126.8 | 6979656 | 2238 | 447.6 | 265164 | 350 | 70 | 9055 | 7 | 54.88 | 3385 | 1 | 7.84 | 213 | 1 | 7.84
2025-03-08 | 21777976 | 8007 | 22459728 | 7839 | 497100 | 128 | 15974 | 3194.8 | 115655 | 95 | 744.8 | 42525 | 20 | 25752 | 16 | 36 | 64194 | 36 | 38.0052 | 636.6175 | 78841 | 31 | 7476.895 | 2578.7811 | 4560.3027 | 7139.0838 | 1435426 | 10036 | 35.2952 | 100% | 353 | 21107 | 9 | 15261521 | 5762 | 1152.4 | 6981955 | 2299 | 459.8 | 265941 | 777 | 155.4 | 9060 | 5 | 39.2 | 3386 | 1 | 7.84 | 214 | 1 | 7.84
2025-03-09 | 21786358 | 8382 | 22467869 | 8141 | 497218 | 118 | 16641 | 3328.2 | 115747 | 92 | 721.28 | 42546 | 21 | 25767 | 15 | 36 | 64232 | 38 | 40.1166 | 659.9484 | 78873 | 32 | 7326.24 | 2526.8202 | 4560.3027 | 7087.1229 | 1445027 | 9601 | 33.7653 | 100% | 355 | 21115 | 8 | 15267375 | 5854 | 1170.8 | 6984318 | 2363 | 472.6 | 266556 | 615 | 123 | 9065 | 5 | 39.2 | 3387 | 1 | 7.84 | 215 | 1 | 7.84
2025-03-10 | 21794053 | 7695 | 22475190 | 7321 | 497338 | 120 | 15136 | 3027.2 | 115852 | 105 | 823.2 | 42566 | 20 | 25783 | 16 | 36 | 64266 | 34 | 35.8938 | 613.2865 | 78904 | 31 | 7390.24 | 2548.8938 | 4560.3027 | 7109.1965 | 1454692 | 9665 | 33.9904 | 95.24% | 359 | 21123 | 8 | 15272821 | 5446 | 1089.2 | 6986477 | 2159 | 431.8 | 267128 | 572 | 114.4 | 9070 | 5 | 39.2 | 3390 | 3 | 23.52 | 216 | 1 | 7.84
2025-03-11 | 21801772 | 7719 | 22482324 | 7134 | 497465 | 127 | 14980 | 2996 | 115941 | 89 | 697.76 | 42586 | 20 | 25800 | 17 | 37 | 64303 | 37 | 39.0609 | 648.2829 | 78933 | 29 | 6448.585 | 2224.117 | 4560.3027 | 6784.4196 | 1463131 | 8439 | 29.6787 | 80.63% | 350 | 21130 | 7 | 15278144 | 5323 | 1064.6 | 6988653 | 2176 | 435.2 | 267607 | 479 | 95.8 | 9076 | 6 | 47.04 | 3391 | 1 | 7.84 | 217 | 1 | 7.84
2025-03-12 | 21809727 | 7955 | 22489723 | 7399 | 497592 | 127 | 15481 | 3096.2 | 116033 | 92 | 721.28 | 42603 | 17 | 25814 | 14 | 31 | 64336 | 33 | 34.8381 | 601.621 | 78963 | 30 | 7369.585 | 2541.7699 | 4560.3027 | 7102.0725 | 1472491 | 9360 | 32.9178 | 56.53% | 246 | 21137 | 7 | 15282614 | 4470 | 894 | 6990757 | 2104 | 420.8 | 267940 | 333 | 66.6 | 9082 | 6 | 47.04 | 3392 | 1 | 7.84 | 218 | 1 | 7.84
2025-03-13 | 21817419 | 7692 | 22497030 | 7307 | 497718 | 126 | 15125 | 3025 | 116117 | 84 | 658.56 | 42621 | 18 | 25824 | 10 | 28 | 64371 | 35 | 36.9495 | 624.952 | 78995 | 32 | 7721.585 | 2663.1747 | 4560.3027 | 7223.4773 | 1482203 | 9712 | 34.1557 | 63.17% | 239 | 21144 | 7 | 15286965 | 4351 | 870.2 | 6992780 | 2023 | 404.6 | 268323 | 383 | 76.6 | 9086 | 4 | 31.36 | 3394 | 2 | 15.68 | 219 | 1 | 7.84
2025-03-14 | 21825635 | 8216 | 22504522 | 7492 | 497842 | 124 | 15832 | 3166.4 | 116215 | 98 | 768.32 | 42641 | 20 | 25843 | 19 | 39 | 64412 | 41 | 43.2837 | 694.9449 | 79029 | 34 | 8390.895 | 2894.0197 | 4560.3027 | 7454.3224 | 1493153 | 10950 | 38.5096 | 88.57% | 318 | 21153 | 9 | 15292626 | 5661 | 1132.2 | 6995077 | 2297 | 459.4 | 268810 | 487 | 97.4 | 9091 | 5 | 39.2 | 3395 | 1 | 7.84 | 220 | 1 | 7.84
2025-03-15 | 21833261 | 7626 | 22511634 | 7112 | 497966 | 124 | 14862 | 2972.4 | 116299 | 84 | 658.56 | 42660 | 19 | 25864 | 21 | 40 | 64452 | 40 | 42.228 | 683.2794 | 79060 | 31 | 7669.24 | 2645.1209 | 4560.3027 | 7205.4236 | 1503097 | 9944 | 34.9716 | 99.05% | 342 | 21161 | 8 | 15298096 | 5470 | 1094 | 6997278 | 2201 | 440.2 | 269274 | 464 | 92.8 | 9095 | 4 | 31.36 | 3396 | 1 | 7.84 | 221 | 1 | 7.84
2025-03-16 | 21840856 | 7595 | 22518740 | 7106 | 498090 | 124 | 14825 | 2965 | 116395 | 96 | 752.64 | 42680 | 20 | 25882 | 18 | 38 | 64489 | 37 | 39.0609 | 648.2829 | 79091 | 31 | 7357.24 | 2537.5121 | 4560.3027 | 7097.8148 | 1512729 | 9632 | 33.8743 | 96.19% | 357 | 21169 | 8 | 15303538 | 5442 | 1088.4 | 6999478 | 2200 | 440 | 269743 | 469 | 93.8 | 9101 | 6 | 47.04 | 3397 | 1 | 7.84 | 222 | 1 | 7.84
2025-03-17 | 21849166 | 8310 | 22526110 | 7370 | 498216 | 126 | 15806 | 3161.2 | 116491 | 96 | 752.64 | 42700 | 20 | 25902 | 20 | 40 | 64528 | 39 | 41.1723 | 671.6139 | 79119 | 28 | 7126.24 | 2457.8402 | 4560.3027 | 7018.1429 | 1522130 | 9401 | 33.0619 | 90.79% | 353 | 21177 | 8 | 15309254 | 5716 | 1143.2 | 7001789 | 2311 | 462.2 | 270156 | 413 | 82.6 | 9105 | 4 | 31.36 | 3398 | 1 | 7.84 | 223 | 1 | 7.84
2025-03-18 | 21857235 | 8069 | 22533814 | 7704 | 498340 | 124 | 15897 | 3179.4 | 116602 | 111 | 870.24 | 42720 | 20 | 25924 | 22 | 42 | 64570 | 42 | 44.3394 | 706.6104 | 79147 | 28 | 7049.93 | 2431.5209 | 4560.3027 | 6991.8235 | 1530886 | 8756 | 30.7936 | 95.24% | 398 | 21183 | 6 | 15314663 | 5409 | 1081.8 | 7004056 | 2267 | 453.4 | 270543 | 387 | 77.4 | 9109 | 4 | 31.36 | 3401 | 3 | 23.52 | 224 | 1 | 7.84
2025-03-19 | 21865145 | 7910 | 22541779 | 7965 | 498466 | 126 | 16001 | 3200.2 | 116709 | 107 | 838.88 | 42740 | 20 | 25942 | 18 | 38 | 64608 | 38 | 40.1166 | 659.9484 | 79174 | 27 | 6347.93 | 2189.4011 | 4560.3027 | 6749.7037 | 1538940 | 8054 | 28.3247 | 93.02% | 393 | 21189 | 6 | 15318995 | 4332 | 866.4 | 7006142 | 2086 | 417.2 | 271104 | 561 | 112.2 | 9117 | 8 | 62.72 | 3402 | 1 | 7.84 | 224 | 0 | 0
2025-03-20 | 21873069 | 7924 | 22548874 | 7095 | 498589 | 123 | 15142 | 3028.4 | 116816 | 107 | 838.88 | 42760 | 20 | 25959 | 17 | 37 | 64644 | 36 | 38.0052 | 636.6175 | 79202 | 28 | 6527.62 | 2251.3761 | 4560.3027 | 6811.6788 | 1546605 | 7665 | 26.9567 | 85.08% | 342 | 21193 | 4 | 15323380 | 4385 | 877 | 7008255 | 2113 | 422.6 | 271539 | 435 | 87 | 9124 | 7 | 54.88 | 3403 | 1 | 7.84 | 225 | 1 | 7.84
2025-03-21 | 21881091 | 8022 | 22556048 | 7174 | 498716 | 127 | 15323 | 3064.6 | 116918 | 102 | 799.68 | 42778 | 18 | 25982 | 23 | 41 | 64685 | 41 | 43.2837 | 694.9449 | 79232 | 30 | 7082.585 | 2442.7836 | 4560.3027 | 7003.0862 | 1555678 | 9073 | 31.9084 | 78.41% | 315 | 21200 | 7 | 15329007 | 5627 | 1125.4 | 7010529 | 2274 | 454.8 | 272073 | 534 | 106.8 | 9130 | 6 | 47.04 | 3404 | 1 | 7.84 | 226 | 1 | 7.84
2025-03-22 | 21889016 | 7925 | 22563311 | 7263 | 498836 | 120 | 15308 | 3061.6 | 117001 | 83 | 650.72 | 42796 | 18 | 25999 | 17 | 35 | 64719 | 34 | 35.8938 | 613.2865 | 79264 | 32 | 7624.24 | 2629.6004 | 4560.3027 | 7189.9031 | 1565577 | 9899 | 34.8133 | 83.81% | 321 | 21208 | 8 | 15334611 | 5604 | 1120.8 | 7012752 | 2223 | 444.6 | 272724 | 651 | 130.2 | 9136 | 6 | 47.04 | 3405 | 1 | 7.84 | 227 | 1 | 7.84
2025-03-23 | 21896808 | 7792 | 22570628 | 7317 | 498954 | 118 | 15227 | 3045.4 | 117102 | 101 | 791.84 | 42814 | 18 | 26013 | 14 | 32 | 64752 | 33 | 34.8381 | 601.621 | 79296 | 32 | 7566.895 | 2609.8221 | 4560.3027 | 7170.1248 | 1575703 | 10126 | 35.6117 | 82.22% | 331 | 21217 | 9 | 15340292 | 5681 | 1136.2 | 7015045 | 2293 | 458.6 | 273324 | 600 | 120 | 9142 | 6 | 47.04 | 3407 | 2 | 15.68 | 228 | 1 | 7.84
2025-03-24 | 21904792 | 7984 | 22578009 | 7381 | 499071 | 117 | 15482 | 3096.4 | 117203 | 101 | 791.84 | 42834 | 20 | 26029 | 16 | 36 | 64787 | 35 | 36.9495 | 624.952 | 79327 | 31 | 7849.24 | 2707.2029 | 4560.3027 | 7267.5056 | 1585827 | 10124 | 35.6046 | 85.08% | 350 | 21225 | 8 | 15345957 | 5665 | 1133 | 7017345 | 2300 | 460 | 273852 | 528 | 105.6 | 9148 | 6 | 47.04 | 3408 | 1 | 7.84 | 229 | 1 | 7.84
2025-03-25 | 21912786 | 7994 | 22585317 | 7308 | 499184 | 113 | 15415 | 3083 | 117307 | 104 | 815.36 | 42854 | 20 | 26045 | 16 | 36 | 64822 | 35 | 36.9495 | 624.952 | 79360 | 33 | 8122.24 | 2801.3606 | 4560.3027 | 7361.6633 | 1596224 | 10397 | 36.5647 | 95.24% | 404 | 21233 | 8 | 15351500 | 5543 | 1108.6 | 7019613 | 2268 | 453.6 | 274309 | 457 | 91.4 | 9155 | 7 | 54.88 | 3408 | 0 | 0 | 230 | 1 | 7.84
2025-03-26 | 21920697 | 7911 | 22592204 | 6887 | 499303 | 119 | 14917 | 2983.4 | 117418 | 111 | 870.24 | 42873 | 19 | 26055 | 10 | 29 | 64848 | 26 | 27.4482 | 519.9626 | 79393 | 33 | 7645.585 | 2636.9623 | 4560.3027 | 7197.2649 | 1605860 | 9636 | 33.8884 | 95.24% | 395 | 21240 | 7 | 15356065 | 4565 | 913 | 7021780 | 2167 | 433.4 | 274729 | 420 | 84 | 9162 | 7 | 54.88 | 3409 | 1 | 7.84 | 231 | 1 | 7.84
2025-03-27 | 21928449 | 7752 | 22599575 | 7371 | 499423 | 120 | 15243 | 3048.6 | 117528 | 110 | 862.4 | 42891 | 18 | 26072 | 17 | 35 | 64882 | 34 | 35.8938 | 613.2865 | 79426 | 33 | 8294.24 | 2860.6834 | 4560.3027 | 7420.9861 | 1616429 | 10569 | 37.1696 | 96.51% | 369 | 21248 | 8 | 15360726 | 4661 | 932.2 | 7023915 | 2135 | 427 | 275249 | 520 | 104 | 9169 | 7 | 54.88 | 3410 | 1 | 7.84 | 232 | 1 | 7.84
2025-03-28 | 21936340 | 7891 | 22606977 | 7402 | 499543 | 120 | 15413 | 3082.6 | 117631 | 103 | 807.52 | 42910 | 19 | 26085 | 13 | 32 | 64915 | 33 | 34.8381 | 601.621 | 79461 | 35 | 8446.55 | 2913.2151 | 4560.3027 | 7473.5178 | 1627719 | 11290 | 39.7053 | 98.73% | 390 | 21258 | 10 | 15366416 | 5690 | 1138 | 7026186 | 2271 | 454.2 | 275779 | 530 | 106 | 9177 | 8 | 62.72 | 3413 | 3 | 23.52 | 234 | 2 | 15.68
2025-03-29 | 21944247 | 7907 | 22614401 | 7424 | 499663 | 120 | 15451 | 3090.2 | 117723 | 92 | 721.28 | 42928 | 18 | 26103 | 18 | 36 | 64950 | 35 | 36.9495 | 624.952 | 79498 | 37 | 8541.55 | 2945.9806 | 4560.3027 | 7506.2833 | 1639104 | 11385 | 40.0394 | 98.73% | 377 | 21268 | 10 | 15372196 | 5780 | 1156 | 7028461 | 2275 | 455 | 276415 | 636 | 127.2 | 9185 | 8 | 62.72 | 3414 | 1 | 7.84 | 235 | 1 | 7.84
2025-03-30 | 21952067 | 7820 | 22621600 | 7199 | 499782 | 119 | 15138 | 3027.6 | 117820 | 97 | 760.48 | 42946 | 18 | 26118 | 15 | 33 | 64984 | 34 | 35.8938 | 613.2865 | 79533 | 35 | 8586.895 | 2961.6201 | 4560.3027 | 7521.9228 | 1650250 | 11146 | 39.1989 | 95.87% | 369 | 21277 | 9 | 15377869 | 5673 | 1134.6 | 7030693 | 2232 | 446.4 | 277010 | 595 | 119 | 9193 | 8 | 62.72 | 3414 | 0 | 0 | 236 | 1 | 7.84
|  | 238240 |  | 222258 |  | 3692 | 464190 | 92838 |  | 2944 | 23080.96 |  | 572 |  | 483 | 1055 |  | 1056 | 1114.8192 | 18818.5522 |  | 928 | 223184.065 | 76976.184 | 136809.0804 | 213785.2644 |  | 286593 | 1007.9059 | 86.84% | 10166 |  | 223 |  | 157988 | 31597.6 |  | 66343 | 13268.6 |  | 14869 | 2973.8 |  | 178 | 1395.52 |  | 42 | 329.28 |  | 29 | 227.36
AVT Charges should be Zero in the DC invoice - Please notify if not
| Electricity |  | AED |  |  | KW |  |  | Water |  | AED | M3 |  | Gas |  |  | AED |  | M3 |  | Chilled Water |  | AED |  | Ton Hour | [6 empty] | 547236.32 | CHW Fixed Charges YTD 2025
| Actual April 2025 |  | 92838 |  |  | 464190 |  |  | Actual April 2025 |  | 23080.96 | 2944 |  | Actual April 2025 |  |  | 18818.5522 |  | 1114.8192 |  | Actual April 2025 |  | 213785.2644 |  | 223184.065 |  |  |  | 286593 | 63408.935 |  | 526190.2 | CHW Fixed Charges YTD 2024
| Budget April 2025 |  | 95917.5 |  |  | 479587.5 |  |  | Budget April 2025 |  | 27360.552 | 3489.8663 |  | Budget April 2025 |  |  | 20507.8621 |  | 1267.6798 |  | Budget April 2025 |  | 208953.5393 |  | 209175.0053 | [6 empty] | 72144.4593 | CHW Consumption Charges (Budgeted 2025 MTD)
| Actual April 2024 |  | 88856.6 |  |  | 444283 |  |  | Actual April 2024 |  | 22391.04 | 2856 |  | Actual April 2024 |  |  | 17317.05 |  | 978.9186 |  | Actual April 2024 |  | 197947.65 |  | 192911.3887 | [6 empty] | 66400.1 | CHW Consumption Charges (Actual 2024 MTD)
| Actual YTD 2025 |  | 373522 |  |  | 1867610 |  |  | Actual YTD 2025 |  | 92700.16 | 11824 |  | Actual YTD 2025 |  |  | 73101.0922 |  | 24108.9926 |  | Actual YTD 2025 |  | 777426.4844 |  | 667411.3205 | [6 empty] | 230190.1644 | CHW Consumption Charges (Actual 2025 YTD)
| Budget YTD 2025 |  | 365053.5 |  |  | 1825267.5 |  |  | Budget YTD 2025 |  | 104800.022 | 13367.3497 |  | Budget YTD 2025 |  |  | 77088.0221 |  | 25552.2252 |  | Budget YTD 2025 |  | 790575.8493 |  | 705536.4724 | [6 empty] | 243339.5293 | CHW Consumption Charges (Budgeted 2025 YTD)
| Actual YTD 2024 |  | 350300.8 |  |  | 1751504 |  |  | Actual YTD 2024 |  | 95365.76 | 12164 |  | Actual YTD 2024 |  |  | 70420.61 |  | 23138.6824 |  | Actual YTD 2024 |  | 749893.76 |  | 649923.1842 | [6 empty] | 223703.56 | CHW Consumption Charges (Actual 2024 YTD)
[7 empty] | 2025-04-01 | 2025-05-01 | 30
Monthly Budget |  |  | Daily Budget |  |  |  |  | MTD Average |  |  |  |  | MTD Budget | [6 empty] | MTD Actual |  |  |  |  | YTD Budget |  |  |  | YTD Actual |  |  | Savings | Exceeds
Electricity | 95917.5 |  | Electricity |  |  | 3197.25 |  | Electricity |  |  | 3094.6 |  | Electricity |  |  |  | 95917.5 |  |  | Electricity |  | 92838 |  | 3079.5 | Electricity |  | 365053.5 |  | Electricity |  | 373522 | -8468.5 | 8468.5
Water | 27360.552 |  | Water |  |  | 912.0184 |  | Water |  |  | 769.3653 |  | Water |  |  |  | 27360.552 |  |  | Water |  | 23080.96 |  | 4279.592 | Water |  | 104800.022 |  | Water |  | 92700.16 | 12099.862 | -12099.862
Gas | 20507.8621 |  | Gas |  |  | 683.5954 |  | Gas |  |  | 627.2851 |  | Gas |  |  |  | 20507.8621 |  |  | Gas |  | 18818.5522 |  | 1689.3099 | Gas |  | 77088.0221 |  | Gas |  | 73101.0922 | 3986.9299 | -3986.9299
Chilled Water | 208953.5393 |  | Chilled Water |  |  | 6965.118 |  | Chilled Water |  |  | 7126.1755 |  | Chilled Water |  |  |  | 208953.5393 |  |  | Chilled Water |  | 213785.2644 |  | -4831.7251 | Chilled Water |  | 790575.8493 |  | Chilled Water |  | 777426.4844 | 13149.3649 | -13149.3649
| 352739.4535 | [15 empty] | 352739.4535 |  |  |  |  | 348522.7766 |  | 4216.6769 |  | Total Energy cost | 1337517.3935 |  |  |  | 1316749.7366 | 20767.6569
| 4216.6769 | [21 empty] | 1.195% | [7 empty] | 1.553%
Actual Last Year |  |  | Average Daily Consumption Last Year |  |  |  |  | MTD Average Last Year |  |  |  |  | MTD Actual | [6 empty] | MTD Actual Vs Last Year |  |  |  |  | MTD Fcst | YTD Fcst |  |  | MTD Saving Fcst Vs LY | YTD Saving Fcst Vs LY
Electricity | 88856.6 |  | Electricity |  |  | 2961.8867 |  | Electricity |  |  | 88856.6 |  | Electricity |  |  |  | 92838 |  |  | Electricity |  | -3981.4 |  |  | 92838 | 373522 |  |  | -3981.4 | -23221.2
Water | 22391.04 |  | Water |  |  | 746.368 |  | Water |  |  | 22391.04 |  | Water |  |  |  | 23080.96 |  |  | Water |  | -689.92 |  |  | 23080.96 | 92700.16 |  |  | -689.92 | 2665.6
Gas | 17317.05 |  | Gas |  |  | 577.235 |  | Gas |  |  | 17317.05 |  | Gas |  |  |  | 18818.5522 |  |  | Gas |  | -1501.5022 |  |  | 18818.5522 | 73101.0922 |  |  | -1501.5022 | -2680.4822
Chilled Water | 197947.65 |  | Chilled Water |  |  | 6598.255 |  | Chilled Water |  |  | 197947.65 |  | Chilled Water |  |  |  | 213785.2644 |  |  | Chilled Water |  | -15837.6144 |  |  | 213785.2644 | 777426.4844 |  |  | -15837.6144 | -27532.7244
| 326512.34 | [9 empty] | 326512.34 | [5 empty] | 348522.7766 |  |  |  |  | -22010.4366 |  |  | 348522.7766 | 1316749.7366 |  |  | -22010.4366 | -50768.8066
| -22010.4366 | [21 empty] | -6.741%