## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 4 | 2025 | 32863.4 | 0.2 | 2365 | 1.624 | 311.237 | 7.84 | 417 | 736
Park Rotana and Park Arjaan Abu Dhabi | 2 | 4 | 2025 | 31001.8 | 0.2 | 2365 | 1.624 | 347.58 | 7.84 | 478 | 854
Park Rotana and Park Arjaan Abu Dhabi | 3 | 4 | 2025 | 35075.4 | 0.2 | 2365 | 1.624 | 326.408 | 7.84 | 442 | 779
Park Rotana and Park Arjaan Abu Dhabi | 4 | 4 | 2025 | 33662.4 | 0.2 | 2365 | 1.624 | 337.283 | 7.84 | 390 | 675
Park Rotana and Park Arjaan Abu Dhabi | 5 | 4 | 2025 | 34282 | 0.2 | 2365 | 1.624 | 279.479 | 7.84 | 397 | 669
Park Rotana and Park Arjaan Abu Dhabi | 6 | 4 | 2025 | 34850.6 | 0.2 | 2365 | 1.624 | 331.642 | 7.84 | 441 | 605
Park Rotana and Park Arjaan Abu Dhabi | 7 | 4 | 2025 | 35406.8 | 0.2 | 2365 | 1.624 | 152.862 | 7.84 | 464 | 624
Park Rotana and Park Arjaan Abu Dhabi | 8 | 4 | 2025 | 35845 | 0.2 | 2365 | 1.624 | 67.013 | 7.84 | 482 | 647
Park Rotana and Park Arjaan Abu Dhabi | 9 | 4 | 2025 | 36566.8 | 0.2 | 2365 | 1.624 | 51.819 | 7.84 | 482 | 580
Park Rotana and Park Arjaan Abu Dhabi | 10 | 4 | 2025 | 36481 | 0.2 | 2365 | 1.624 | 659.321 | 7.84 | 488 | 576
Park Rotana and Park Arjaan Abu Dhabi | 11 | 4 | 2025 | 35482.4 | 0.2 | 2365 | 1.624 | 745.248 | 7.84 | 386 | 587
Park Rotana and Park Arjaan Abu Dhabi | 12 | 4 | 2025 | 35669 | 0.2 | 2365 | 1.624 | 407.255 | 7.84 | 418 | 619
Park Rotana and Park Arjaan Abu Dhabi | 13 | 4 | 2025 | 34763.8 | 0.2 | 2365 | 1.624 | 303.165 | 7.84 | 419 | 554
Park Rotana and Park Arjaan Abu Dhabi | 14 | 4 | 2025 | 37252 | 0.2 | 2365 | 1.624 | 114.951 | 7.84 | 485 | 665
Park Rotana and Park Arjaan Abu Dhabi | 15 | 4 | 2025 | 37571.2 | 0.2 | 2365 | 1.624 | 533.686 | 7.84 | 478 | 658
Park Rotana and Park Arjaan Abu Dhabi | 16 | 4 | 2025 | 37216.6 | 0.2 | 2365 | 1.624 | 306.039 | 7.84 | 474 | 658
Park Rotana and Park Arjaan Abu Dhabi | 17 | 4 | 2025 | 36245.6 | 0.2 | 2365 | 1.624 | 350.402 | 7.84 | 474 | 666
Park Rotana and Park Arjaan Abu Dhabi | 18 | 4 | 2025 | 34905.4 | 0.2 | 2365 | 1.624 | 344.194 | 7.84 | 470 | 705
Park Rotana and Park Arjaan Abu Dhabi | 19 | 4 | 2025 | 34353.8 | 0.2 | 2365 | 1.624 | 305.7 | 7.84 | 474 | 688
Park Rotana and Park Arjaan Abu Dhabi | 20 | 4 | 2025 | 34778.2 | 0.2 | 2365 | 1.624 | 347.134 | 7.84 | 456 | 611
Park Rotana and Park Arjaan Abu Dhabi | 21 | 4 | 2025 | 35899.8 | 0.2 | 2365 | 1.624 | 347.753 | 7.84 | 473 | 630
Park Rotana and Park Arjaan Abu Dhabi | 22 | 4 | 2025 | 35495.4 | 0.2 | 2365 | 1.624 | 323.709 | 7.84 | 486 | 640
Park Rotana and Park Arjaan Abu Dhabi | 23 | 4 | 2025 | 36168.4 | 0.2 | 2365 | 1.624 | 312.062 | 7.84 | 477 | 642
Park Rotana and Park Arjaan Abu Dhabi | 24 | 4 | 2025 | 37749.2 | 0.2 | 2365 | 1.624 | 344.772 | 7.84 | 484 | 708
Park Rotana and Park Arjaan Abu Dhabi | 25 | 4 | 2025 | 38467.2 | 0.2 | 2365 | 1.624 | 325.21 | 7.84 | 482 | 740
Park Rotana and Park Arjaan Abu Dhabi | 26 | 4 | 2025 | 38155.4 | 0.2 | 2365 | 1.624 | 317.202 | 7.84 | 486 | 728
Park Rotana and Park Arjaan Abu Dhabi | 27 | 4 | 2025 | 37293.4 | 0.2 | 2365 | 1.624 | 334.084 | 7.84 | 449 | 605
Park Rotana and Park Arjaan Abu Dhabi | 28 | 4 | 2025 | 38418.6 | 0.2 | 2365 | 1.624 | 338.985 | 7.84 | 460 | 575
Park Rotana and Park Arjaan Abu Dhabi | 29 | 4 | 2025 | 37660 | 0.2 | 2365 | 1.624 | 324.159 | 7.84 | 478 | 621
Park Rotana and Park Arjaan Abu Dhabi | 30 | 4 | 2025 | 38198 | 0.2 | 2365 | 1.624 | 318.034 | 7.84 | 475 | 616
Park Rotana and Park Arjaan Abu Dhabi | 31 | 4 | 2025 | 0 | 0.2 | 0 | 1.624 | 0 | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION APRIL 2025
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 16745211 | 16767864 | 16788399 | 16810554 | 16832933 | 16855374 | 16877966 | 16900859 | 16923184 | 16946402 | 16969523 | 16992169 | 17014933 | 17036644 | 17059301 | 17082028 | 17104576 | 17127851 | 17150699 | 17173557 | 17196118 | 17219040 | 17241372 | 17263791 | 17286815 | 17310199 | 17333565 | 17356311 | 17379726 | 17402857 | 17425354
|  |  |  | 22653 | 20535 | 22155 | 22379 | 22441 | 22592 | 22893 | 22325 | 23218 | 23121 | 22646 | 22764 | 21711 | 22657 | 22727 | 22548 | 23275 | 22848 | 22858 | 22561 | 22922 | 22332 | 22419 | 23024 | 23384 | 23366 | 22746 | 23415 | 23131 | 22497
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 17265042 | 17286214 | 17308322 | 17334192 | 17359924 | 17385043 | 17411117 | 17437592 | 17466516 | 17495025 | 17523621 | 17550841 | 17578244 | 17606048 | 17638536 | 17672179 | 17705453 | 17733584 | 17757393 | 17780094 | 17804089 | 17829990 | 17856533 | 17884404 | 17914406 | 17945272 | 17975424 | 18005044 | 18037011 | 18068777 | 18103530
|  |  |  | 21172 | 22108 | 25870 | 25732 | 25119 | 26074 | 26475 | 28924 | 28509 | 28596 | 27220 | 27403 | 27804 | 32488 | 33643 | 33274 | 28131 | 23809 | 22701 | 23995 | 25901 | 26543 | 27871 | 30002 | 30866 | 30152 | 29620 | 31967 | 31766 | 34753
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 11470230 | 11473764 | 11477038 | 11482634 | 11484268 | 11487939 | 11491674 | 11495671 | 11499737 | 11503765 | 11507744 | 11511790 | 11515832 | 11519885 | 11523087 | 11525762 | 11528367 | 11531845 | 11537337 | 11542538 | 11548286 | 11554027 | 11559580 | 11565270 | 11571281 | 11577338 | 11583322 | 11589248 | 11593990 | 11597759 | 11601461
|  |  |  | 3534 | 3274 | 5596 | 1634 | 3671 | 3735 | 3997 | 4066 | 4028 | 3979 | 4046 | 4042 | 4053 | 3202 | 2675 | 2605 | 3478 | 5492 | 5201 | 5748 | 5741 | 5553 | 5690 | 6011 | 6057 | 5984 | 5926 | 4742 | 3769 | 3702
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3418 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3419 | 3426 | 3426 | 3426 | 3426 | 3426
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 510 | 510 | 510 | 510 | 510 | 510 | 510 | 510 | 511 | 511 | 511 | 511 | 511 | 511 | 511 | 511 | 511 | 511 | 514 | 514 | 514 | 514 | 514 | 514 | 514 | 515 | 520 | 520 | 520 | 520 | 520
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1490119 | 1490390 | 1490664 | 1490954 | 1491243 | 1491520 | 1491807 | 1492084 | 1492360 | 1492648 | 1492933 | 1493219 | 1493499 | 1493761 | 1494034 | 1494302 | 1494575 | 1494854 | 1495141 | 1495427 | 1495699 | 1495973 | 1496249 | 1496527 | 1496801 | 1497064 | 1497342 | 1497621 | 1497887 | 1498159 | 1498430
|  |  |  | 271 | 274 | 290 | 289 | 277 | 287 | 277 | 276 | 288 | 285 | 286 | 280 | 262 | 273 | 268 | 273 | 279 | 287 | 286 | 272 | 274 | 276 | 278 | 274 | 263 | 278 | 279 | 266 | 272 | 271
14 | E5T09D034327 | Hotel Gym S (Kwh) | 391490 | 391547 | 391587 | 391631 | 391679 | 391727 | 391775 | 391823 | 391870 | 391916 | 391961 | 392005 | 392052 | 392099 | 392145 | 392194 | 392238 | 392286 | 392333 | 392382 | 392430 | 392477 | 392526 | 392573 | 392619 | 392669 | 392714 | 392764 | 392818 | 392861 | 392909
|  |  |  | 57 | 40 | 44 | 48 | 48 | 48 | 48 | 47 | 46 | 45 | 44 | 47 | 47 | 46 | 49 | 44 | 48 | 47 | 49 | 48 | 47 | 49 | 47 | 46 | 50 | 45 | 50 | 54 | 43 | 48
| Total Daily Consumption (kw) |  |  | 32863.4 | 31001.8 | 35075.4 | 33662.4 | 34282 | 34850.6 | 35406.8 | 35845 | 36566.8 | 36481 | 35482.4 | 35669 | 34763.8 | 37252 | 37571.2 | 37216.6 | 36245.6 | 34905.4 | 34353.8 | 34778.2 | 35899.8 | 35495.4 | 36168.4 | 37749.2 | 38467.2 | 38155.4 | 37293.4 | 38418.6 | 37660 | 38198 | 0
| Total Monthly Consumption (kw) |  |  | 1: 1077778.6
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) APRIL 2025
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 200093 | 200383 | 200672 | 200940 | 201214 | 201477 | 201741 | 201825 | 201825 | 201825 | 202471 | 203174 | 203457 | 203673 | 203711 | 204160 | 204393 | 204664 | 204934 | 205222 | 205499 | 205767 | 206014 | 206254 | 206522 | 206768 | 207058 | 207325 | 207582 | 207838 | 208071
|  |  |  | 290 | 289 | 268 | 274 | 263 | 264 | 84 | 0 | 0 | 646 | 703 | 283 | 216 | 38 | 449 | 233 | 271 | 270 | 288 | 277 | 268 | 247 | 240 | 268 | 246 | 290 | 267 | 257 | 256 | 233
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 410671.5 | 410686.9 | 410709.8 | 410734.4 | 410758.1 | 410776.5 | 410802.8 | 410831 | 410858.6 | 410881.8 | 410900.4 | 410919.2 | 410954.3 | 410985.5 | 411006.3 | 411044.5 | 411083.3 | 411111.1 | 411139.7 | 411150.1 | 411181.5 | 411205.5 | 411235 | 411263 | 411293 | 411323.3 | 411344 | 411372.8 | 411404.1 | 411434.2 | 411468.1
|  |  |  | 15.4 | 22.9 | 24.6 | 23.7 | 18.4 | 26.3 | 28.2 | 27.6 | 23.2 | 18.6 | 18.8 | 35.1 | 31.2 | 20.8 | 38.2 | 38.8 | 27.8 | 28.6 | 10.4 | 31.4 | 24 | 29.5 | 28 | 30 | 30.3 | 20.7 | 28.8 | 31.3 | 30.1 | 33.9
4 | 2045000686(Sub Meter) | Irrigation water Tank | 34945 | 34967 | 35065 | 35162 | 35271 | 35280 | 35396 | 35514 | 35629 | 35714 | 35714 | 35781 | 36001 | 36152 | 36295 | 36438 | 36555 | 36698 | 36823 | 36846 | 36956 | 37098 | 37233 | 37358 | 37491 | 37631 | 37659 | 37769 | 37908 | 38024 | 38173
|  |  |  | 22 | 98 | 97 | 109 | 9 | 116 | 118 | 115 | 85 | 0 | 67 | 220 | 151 | 143 | 143 | 117 | 143 | 125 | 23 | 110 | 142 | 135 | 125 | 133 | 140 | 28 | 110 | 139 | 116 | 149
5 | 68864837 | Hotel & Arjaan Spa | 2532.33 | 2533.608 | 2534.848 | 2536.796 | 2538.262 | 2539.905 | 2541.487 | 2542.889 | 2544.069 | 2545.625 | 2547.435 | 2549.663 | 2556.384 | 2558.721 | 2559.85 | 2561.14 | 2562.089 | 2563.23 | 2566.48 | 2566.48 | 2568.213 | 2570.024 | 2571.295 | 2572.629 | 2574.086 | 2575.49 | 2576.428 | 2577.884 | 2579.074 | 2579.841 | 2580.949
|  |  |  | 1.278 | 1.24 | 1.948 | 1.466 | 1.643 | 1.582 | 1.402 | 1.18 | 1.556 | 1.81 | 2.228 | 6.721 | 2.337 | 1.129 | 1.29 | 0.949 | 1.141 | 3.25 | 0 | 1.733 | 1.811 | 1.271 | 1.334 | 1.457 | 1.404 | 0.938 | 1.456 | 1.19 | 0.767 | 1.108
6 | 65296485 | Hotel & Arjaan Gym | 3198.882 | 3202.011 | 3204.946 | 3206.686 | 3208.788 | 3211.294 | 3213.319 | 3214.989 | 3216.652 | 3218.225 | 3221.366 | 3222.776 | 3225.515 | 3228.353 | 3230.465 | 3232.321 | 3234.301 | 3235.702 | 3237.526 | 3240.196 | 3244.967 | 3248.209 | 3249.622 | 3251.5 | 3253.465 | 3254.636 | 3258.985 | 3262.153 | 3266.313 | 3267.96 | 3269.581
|  |  |  | 3.129 | 2.935 | 1.74 | 2.102 | 2.506 | 2.025 | 1.67 | 1.663 | 1.573 | 3.141 | 1.41 | 2.739 | 2.838 | 2.112 | 1.856 | 1.98 | 1.401 | 1.824 | 2.67 | 4.771 | 3.242 | 1.413 | 1.878 | 1.965 | 1.171 | 4.349 | 3.168 | 4.16 | 1.647 | 1.621
| Total Daily Consumption (m3) |  |  | 311.237 | 347.58 | 326.408 | 337.283 | 279.479 | 331.642 | 152.862 | 67.013 | 51.819 | 659.321 | 745.248 | 407.255 | 303.165 | 114.951 | 533.686 | 306.039 | 350.402 | 344.194 | 305.7 | 347.134 | 347.753 | 323.709 | 312.062 | 344.772 | 325.21 | 317.202 | 334.084 | 338.985 | 324.159 | 318.034 | 0
| Total Monthly Consumption (m3) |  |  | 1: 9908.388
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) APRIL 2025
LAST MONTH'S FINAL READING | 70950
1 |  | 2365
2 |  | 2365
3 |  | 2365
4 |  | 2365
5 |  | 2365
6 |  | 2365
7 |  | 2365
8 |  | 2365
9 |  | 2365
10 |  | 2365
11 |  | 2365
12 |  | 2365
13 |  | 2365
14 |  | 2365
15 |  | 2365
16 |  | 2365
17 |  | 2365
18 |  | 2365
19 |  | 2365
20 |  | 2365
21 |  | 2365
22 |  | 2365
23 |  | 2365
24 |  | 2365
25 |  | 2365
26 |  | 2365
27 |  | 2365
28 |  | 2365
29 |  | 2365
30 |  | 2365
31
TOTAL Consumption |  | 70950

## Occupied & No. of Guest
Occupied Room & Number of Guest - April 2025
Date | Occupied | # Guest
2025-04-01 | 417 | 736
2025-04-02 | 478 | 854
2025-04-03 | 442 | 779
2025-04-04 | 390 | 675
2025-04-05 | 397 | 669
2025-04-06 | 441 | 605
2025-04-07 | 464 | 624
2025-04-08 | 482 | 647
2025-04-09 | 480 | 580
2025-04-10 | 488 | 576
2025-04-11 | 386 | 587
2025-04-12 | 418 | 619
2025-04-13 | 419 | 554
2025-04-14 | 485 | 665
2025-04-15 | 478 | 658
2025-04-16 | 474 | 658
2025-04-17 | 474 | 666
2025-04-18 | 470 | 705
2025-04-19 | 474 | 688
2025-04-20 | 456 | 611
2025-04-21 | 473 | 630
2025-04-22 | 486 | 640
2025-04-23 | 477 | 642
2025-04-24 | 484 | 708
2025-04-25 | 482 | 740
2025-04-26 | 486 | 728
2025-04-27 | 449 | 605
2025-04-28 | 460 | 575
2025-04-29 | 478 | 621
2025-04-30 | 475 | 616
TOTAL MTD | 13763 | 19661