## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Park Rotana and Park Arjaan Abu Dhabi | 1 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 353 | 492
Park Rotana and Park Arjaan Abu Dhabi | 2 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 378 | 534
Park Rotana and Park Arjaan Abu Dhabi | 3 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 357 | 464
Park Rotana and Park Arjaan Abu Dhabi | 4 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 369 | 506
Park Rotana and Park Arjaan Abu Dhabi | 5 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 360 | 479
Park Rotana and Park Arjaan Abu Dhabi | 6 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 303 | 381
Park Rotana and Park Arjaan Abu Dhabi | 7 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 299 | 382
Park Rotana and Park Arjaan Abu Dhabi | 8 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 280 | 396
Park Rotana and Park Arjaan Abu Dhabi | 9 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 328 | 416
Park Rotana and Park Arjaan Abu Dhabi | 10 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 389 | 513
Park Rotana and Park Arjaan Abu Dhabi | 11 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 398 | 528
Park Rotana and Park Arjaan Abu Dhabi | 12 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 376 | 494
Park Rotana and Park Arjaan Abu Dhabi | 13 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 336 | 463
Park Rotana and Park Arjaan Abu Dhabi | 14 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 316 | 435
Park Rotana and Park Arjaan Abu Dhabi | 15 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 330 | 487
Park Rotana and Park Arjaan Abu Dhabi | 16 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 356 | 563
Park Rotana and Park Arjaan Abu Dhabi | 17 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 393 | 614
Park Rotana and Park Arjaan Abu Dhabi | 18 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 369 | 550
Park Rotana and Park Arjaan Abu Dhabi | 19 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 400 | 582
Park Rotana and Park Arjaan Abu Dhabi | 20 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 428 | 662
Park Rotana and Park Arjaan Abu Dhabi | 21 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 360 | 514
Park Rotana and Park Arjaan Abu Dhabi | 22 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 387 | 551
Park Rotana and Park Arjaan Abu Dhabi | 23 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 442 | 692
Park Rotana and Park Arjaan Abu Dhabi | 24 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 319 | 466
Park Rotana and Park Arjaan Abu Dhabi | 25 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 336 | 489
Park Rotana and Park Arjaan Abu Dhabi | 26 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 369 | 543
Park Rotana and Park Arjaan Abu Dhabi | 27 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 367 | 558
Park Rotana and Park Arjaan Abu Dhabi | 28 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 328 | 535
Park Rotana and Park Arjaan Abu Dhabi | 29 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 356 | 577
Park Rotana and Park Arjaan Abu Dhabi | 30 | 6 | 2024 | 43785.6967 | 0.2 | 2021.0903 | 1.54 | 282.1293 | 7.84 | 406 | 577
Park Rotana and Park Arjaan Abu Dhabi | 31 | 6 | 2024 |  | 0.2 | 0 | 1.54 |  | 7.84 | 0 | 0

## Electricity
DAILY ELECTRICITY METER READINGS & CONSUMPTION JUNE 2024
S/N | METER NUMBER &LOCATION | AREA SERVED | Last Month Final Readings | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | I5T18D002265/ No. 72039516 | Hotel & Arjaan incomer 1 (Kilowatt) | 10091408 | 10113786 | 10135682 | 10157821 | 10179952 | 10202291 | 10223837 | 10246197 | 10267996 | 10289810 | 10310833 | 10332706 | 10355161 | 10378062 | 10399390 | 10419978 | 10440519 | 10461460 | 10482350 | 10503371 | 10524385 | 10545939 | 10567898 | 10589798 | 10611609 | 10633464 | 10656381 | 10677255 | 10698939 | 10720684 | 10742168
|  |  |  | 22378 | 21896 | 22139 | 22131 | 22339 | 21546 | 22360 | 21799 | 21814 | 21023 | 21873 | 22455 | 22901 | 21328 | 20588 | 20541 | 20941 | 20890 | 21021 | 21014 | 21554 | 21959 | 21900 | 21811 | 21855 | 22917 | 20874 | 21684 | 21745 | 21484
2 | I5T18D002266/ No. 72039517 | Hotel & Arjaan incomer 2 (Kilowatt) | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620 | 620
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | I5T18D002318 / 72039569 | Chillers (SMDB CH 1) (Kilowatt) | 10447885 | 10465232 | 10482907 | 10502939 | 10524361 | 10545593 | 10567810 | 10587756 | 10608053 | 10628831 | 10650168 | 10674079 | 10697438 | 10720902 | 10744489 | 10766518 | 10786315 | 10812276 | 10848779 | 10885535 | 10907689 | 10927695 | 10961120 | 10997778 | 11035176 | 11072389 | 11110087 | 11145634 | 11182820 | 11219672 | 11253854
|  |  |  | 17347 | 17675 | 20032 | 21422 | 21232 | 22217 | 19946 | 20297 | 20778 | 21337 | 23911 | 23359 | 23464 | 23587 | 22029 | 19797 | 25961 | 36503 | 36756 | 22154 | 20006 | 33425 | 36658 | 37398 | 37213 | 37698 | 35547 | 37186 | 36852 | 34182
4 | I5T18D002317 / 72039568 | Chillers (SMDB CH 2) (Kilowatt) | 6282943 | 6319109 | 6355877 | 6388049 | 6420752 | 6452093 | 6473755 | 6505703 | 6536298 | 6569466 | 6604334 | 6637268 | 6668750 | 6700557 | 6731671 | 6756365 | 6785775 | 6817395 | 6838146 | 6860039 | 6890641 | 6926340 | 6953666 | 6980153 | 7001130 | 7021765 | 7043021 | 7062390 | 7087257 | 7111873 | 7132275
|  |  |  | 36166 | 36768 | 32172 | 32703 | 31341 | 21662 | 31948 | 30595 | 33168 | 34868 | 32934 | 31482 | 31807 | 31114 | 24694 | 29410 | 31620 | 20751 | 21893 | 30602 | 35699 | 27326 | 26487 | 20977 | 20635 | 21256 | 19369 | 24867 | 24616 | 20402
7 | E5T09D035490 | Fire Pump 2 S (Kwh) | 3233 | 3233 | 3233 | 3233 | 3233 | 3233 | 3233 | 3233 | 3234 | 3234 | 3234 | 3234 | 3236 | 3236 | 3236 | 3236 | 3236 | 3236 | 3238 | 3238 | 3238 | 3238 | 3238 | 3238 | 3242 | 3242 | 3242 | 3248 | 3253 | 3253 | 3253
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 6 | 5 | 0 | 0
8 | E5TO9D035489 | Fire Pump 1 S (Kwh) | 460 | 460 | 460 | 460 | 460 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 461 | 462 | 462 | 462 | 462 | 462 | 462 | 463 | 463 | 463 | 463 | 463 | 463 | 463
|  |  |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
13 | E5T09D034337 | SMDB Spa S (Kwh) | 1409950 | 1410213 | 1410477 | 1410742 | 1411007 | 1411274 | 1411545 | 1411813 | 1412075 | 1412338 | 1412595 | 1412855 | 1413117 | 1413367 | 1413608 | 1413870 | 1414109 | 1414346 | 1414592 | 1414833 | 1415076 | 1415350 | 1415614 | 1415888 | 1416157 | 1416424 | 1416691 | 1416922 | 1417232 | 1417509 | 1417786
|  |  |  | 263 | 264 | 265 | 265 | 267 | 271 | 268 | 262 | 263 | 257 | 260 | 262 | 250 | 241 | 262 | 239 | 237 | 246 | 241 | 243 | 274 | 264 | 274 | 269 | 267 | 267 | 231 | 310 | 277 | 277
14 | E5T09D034327 | Hotel Gym S (Kwh) | 377523 | 377570 | 377614 | 377659 | 377703 | 377750 | 377794 | 377837 | 377883 | 377928 | 377972 | 378020 | 378064 | 378106 | 378152 | 378194 | 378241 | 378287 | 378333 | 378379 | 378422 | 378467 | 378510 | 378557 | 378604 | 378650 | 378696 | 378737 | 378781 | 378826 | 378869
|  |  |  | 47 | 44 | 45 | 44 | 47 | 44 | 43 | 46 | 45 | 44 | 48 | 44 | 42 | 46 | 42 | 47 | 46 | 46 | 46 | 43 | 45 | 43 | 47 | 47 | 46 | 46 | 41 | 44 | 45 | 43
| Total Daily Consumption (kw) |  |  | 44093.2 | 43981.2 | 43330.6 | 44090 | 43683.2 | 39412.6 | 43428.6 | 42464.8 | 43700.4 | 43806 | 44919 | 44699.4 | 45301.4 | 43495.4 | 39581.2 | 40509.8 | 44256.4 | 44086.6 | 44767.6 | 42402.4 | 44155 | 46566.4 | 47479 | 45482 | 45307.2 | 46811.6 | 43118.4 | 46864.2 | 46654.2 | 43637.6
| Total Monthly Consumption (kw) |  |  | 1: 1322085.4
| Technical Report |  |  | 1: 1313570.9
Note on C5: New Meter for Incomer 1 and 2 Hotel and Arjaan replaced on March 1, 2023. Megawatt change to kilowatt
Note on C9: New meter installed on March 1, 2023. Megawatt change to kilowatt

## Water
DAILY WATER METER READINGS & CONSUMPTION (m3) JUNE 2024
S/N | METER NUMBER & LOCATION | AREA SERVED | LAST MONTH'S FINAL READING | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1 | 48242051 (Hotel & Arjaan Main Meter) | Hotel & Arjaan / Raw Water Tank for Hotel,Arjaan,Kitchen,Laundry,Staff Locker,Hotel Swimming Pool | 121045 | 121430 | 121771 | 122137 | 122528 | 122892 | 123199 | 123558 | 123870 | 124210 | 124597 | 124985 | 125349 | 125718 | 126032 | 126329 | 126624 | 126951 | 127332 | 127661 | 128042 | 128373 | 128723 | 129067 | 129440 | 129794 | 130018 | 130436 | 130748 | 130939 | 131209
|  |  |  | 385 | 341 | 366 | 391 | 364 | 307 | 359 | 312 | 340 | 387 | 388 | 364 | 369 | 314 | 297 | 295 | 327 | 381 | 329 | 381 | 331 | 350 | 344 | 373 | 354 | 224 | 418 | 312 | 191 | 270
3 | EMK17100DA17081056 (Cooling Tower Meter) | Cooling Towers, Irrigation Tank,CHW Make up Line,Residence Pool, Cooling Tower Blow Down | 402587.5 | 402612.5 | 402641.3 | 402671.9 | 402705.5 | 402734.5 | 402768.2 | 402799.5 | 402821.4 | 402853.6 | 402888.3 | 402924.7 | 402965.5 | 403004.9 | 403043.5 | 403081.7 | 403112.8 | 403146.5 | 403177.3 | 403213.4 | 403247.1 | 403283.3 | 403309.9 | 403348.1 | 403389 | 403433.4 | 403479.5 | 403513.2 | 403552 | 403589.6 | 403623.1
|  |  |  | 25 | 28.8 | 30.6 | 33.6 | 29 | 33.7 | 31.3 | 21.9 | 32.2 | 34.7 | 36.4 | 40.8 | 39.4 | 38.6 | 38.2 | 31.1 | 33.7 | 30.8 | 36.1 | 33.7 | 36.2 | 26.6 | 38.2 | 40.9 | 44.4 | 46.1 | 33.7 | 38.8 | 37.6 | 33.5
4 | 2045000686(Sub Meter) | Irrigation water Tank | 1078 | 1133 | 1280 | 1456 | 1660 | 1821 | 1968 | 2137 | 2160 | 2315 | 2506 | 2695 | 2887 | 3057 | 3233 | 3416 | 3517 | 3679 | 3725 | 3905 | 4096 | 4293 | 4313 | 4468 | 4618 | 4786 | 4991 | 5170 | 5362 | 5413 | 5589
|  |  |  | 55 | 147 | 176 | 204 | 161 | 147 | 169 | 23 | 155 | 191 | 189 | 192 | 170 | 176 | 183 | 101 | 162 | 46 | 180 | 191 | 197 | 20 | 155 | 150 | 168 | 205 | 179 | 192 | 51 | 176
5 | 68864837 | Hotel & Arjaan Spa | 2002.448 | 2004.12 | 2006.519 | 2009.255 | 2010.948 | 2011.95 | 2013.914 | 2015.738 | 2017.5 | 2018.166 | 2020.911 | 2022.289 | 2023.226 | 2024.412 | 2025.566 | 2026.659 | 2029.294 | 2030.233 | 2032.249 | 2033.774 | 2035.115 | 2037.232 | 2040.097 | 2041.145 | 2042.32 | 2043.369 | 2044.66 | 2046.756 | 2048.241 | 2049.541 | 2050.836
|  |  |  | 1.672 | 2.399 | 2.736 | 1.693 | 1.002 | 1.964 | 1.824 | 1.762 | 0.666 | 2.745 | 1.378 | 0.937 | 1.186 | 1.154 | 1.093 | 2.635 | 0.939 | 2.016 | 1.525 | 1.341 | 2.117 | 2.865 | 1.048 | 1.175 | 1.049 | 1.291 | 2.096 | 1.485 | 1.3 | 1.295
6 | 65296485 | Hotel & Arjaan Gym | 2473.808 | 2477.85 | 2480.2 | 2485.5 | 2490.5 | 2495.5 | 2495.5 | 2500.67 | 2503.375 | 2505.32 | 2506.629 | 2508.793 | 2510.469 | 2511.589 | 2512.29 | 2514.504 | 2518.434 | 2521.819 | 2524.795 | 2527.968 | 2531.732 | 2535.011 | 2539.316 | 2548.15 | 2550.534 | 2554.087 | 2556.856 | 2564.895 | 2567.399 | 2571.034 | 2573.518
|  |  |  | 4.042 | 2.35 | 5.3 | 5 | 5 | 0 | 5.17 | 2.705 | 1.945 | 1.309 | 2.164 | 1.676 | 1.12 | 0.701 | 2.214 | 3.93 | 3.385 | 2.976 | 3.173 | 3.764 | 3.279 | 4.305 | 8.834 | 2.384 | 3.553 | 2.769 | 8.039 | 2.504 | 3.635 | 2.484
| Total Daily Consumption (m3) |  |  | 426.714 | 424.859 | 467.006 | 504.613 | 455.502 | 390.279 | 456.129 | 336.672 | 426.851 | 492.619 | 492.972 | 471.373 | 465.536 | 412.425 | 399.847 | 361.01 | 419.389 | 420.552 | 430.943 | 487.22 | 441.336 | 378.14 | 440.822 | 462.464 | 454.182 | 341.055 | 523.85 | 419.849 | 235.805 | 368.054 | 0
| Total Monthly Consumption (m3) |  |  | 1: 12808.068
| Technical Report |  |  | 1: 8463.88
Note on B5: New water meter replaced on April 13, 2023
Note on B9: BMS Operator Park Rotana: New meter installed on 26--10-2021
Note on B11: New Meter as of July 8, 2020 by Mohammad Habdeel Hamid from ADDC
Note on B13: Replaced new water meter by ADDC on April 5, 2021

## LPG
DAILY GAS METER READINGS & CONSUMPTION (Liters) JUNE 2024
LAST MONTH'S FINAL READING | 60633
1 |  | 2021.1
2 |  | 2021.1
3 |  | 2021.1
4 |  | 2021.1
5 |  | 2021.1
6 |  | 2021.1
7 |  | 2021.1
8 |  | 2021.1
9 |  | 2021.1
10 |  | 2021.1
11 |  | 2021.1
12 |  | 2021.1
13 |  | 2021.1
14 |  | 2021.1
15 |  | 2021.1
16 |  | 2021.1
17 |  | 2021.1
18 |  | 2021.1
19 |  | 2021.1
20 |  | 2021.1
21 |  | 2021.1
22 |  | 2021.1
23 |  | 2021.1
24 |  | 2021.1
25 |  | 2021.1
26 |  | 2021.1
27 |  | 2021.1
28 |  | 2021.1
29 |  | 2021.1
30 |  | 2021.1
31
TOTAL Consumption |  | 60633
Technical Report |  | 60632.71

## Occupied & No. of Guest
Occupied Room & Number of Guest June 2024
Date | Occupied | # Guest
2024-06-01 | 353 | 492
2024-06-02 | 378 | 534
2024-06-03 | 357 | 464
2024-06-04 | 369 | 506
2024-06-05 | 360 | 479
2024-06-06 | 303 | 381
2024-06-07 | 299 | 382
2024-06-08 | 280 | 396
2024-06-09 | 328 | 416
2024-06-10 | 389 | 513
2024-06-11 | 398 | 528
2024-06-12 | 376 | 494
2024-06-13 | 336 | 463
2024-06-14 | 316 | 435
2024-06-15 | 330 | 487
2024-06-16 | 356 | 563
2024-06-17 | 393 | 614
2024-06-18 | 369 | 550
2024-06-19 | 400 | 582
2024-06-20 | 428 | 662
2024-06-21 | 360 | 514
2024-06-22 | 387 | 551
2024-06-23 | 442 | 692
2024-06-24 | 319 | 466
2024-06-25 | 336 | 489
2024-06-26 | 369 | 543
2024-06-27 | 367 | 558
2024-06-28 | 328 | 535
2024-06-29 | 356 | 577
2024-06-30 | 406 | 577
TOTAL MTD | 10788 | 15443